## Summary
PacifiCorp
State of Washington
Classification of Generation and Transmission Costs
Simple Cycle Combustion Turbine
1 | Fixed Cost per kW @ 2.28% Capacity Factor |  | 48.47
2 | One-half of SCCT Fixed Costs |  | 24.235 | Line 1 X 50%
3 | Fuel Cost per MWh |  | 67.9277
4 | Hours of Operation |  | 200
5 | Total Fuel Costs |  | 13585.5442 | Line 3 X Line 4
6 | Total Cost 1 MW, 200 Hours |  | 37820.5442 | Line 2 X 1000 + Line 5
Combined Cycle Combustion Turbine
7 | 48.7% |  | 87.22
8 | Fuel Cost per MWh |  | 55.6882
9 | Hours of Operation |  | 4266.12 | 48.7%
10 | Total Fuel Costs |  | 237572.5438 | Line 8 X Line 9
11 | 48.7% |  | 324792.5438 | Line 7 X 1000 + Line 10
12 | Demand Component |  | 11.64% | Line 6 / Line 11
13 | Energy Component |  | 88.36% | 100% - Line 12
Notes:
| Lines 1 & 3 | SCCT Total Resource Fixed Costs
Washington Commission Approved - AC Study (2007 12 05)
Adjusted to reflect 2.28% Capacity Factor (200 hours)
| Lines 7 & 8 | CCCT Total Resource Fixed Costs
Washington Commission Approved - AC Study (2007 12 05)

## Table 8
Table 8
Total Cost of Displaceable Resources
Page 1 of 2
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr
| (a) | (b) | (c) | (d) | (e) | (f)
SCCT Frame (2 Frame "F") * (West Side 1,500 feet)
2006 | 454.0855 | 37.8299 | 5.7545 | 13.6637 | 8.4873 | 46.32
2007 |  | 38.8134 | 5.9042 | 14.019 | 8.708 | 47.52
2008 |  | 39.5897 | 6.0222 | 14.2994 | 8.8821 | 48.47
2009 |  | 40.3815 | 6.1427 | 14.5854 | 9.0598 | 49.44
2010 |  | 41.1487 | 6.2594 | 14.8625 | 9.2319 | 50.38
2011 |  | 41.9306 | 6.3783 | 15.1449 | 9.4073 | 51.34
2012 |  | 42.7692 | 6.5059 | 15.4478 | 9.5955 | 52.36
Source: (a)(c)(d) |  | Plant Costs 2007 IRP (Table 5.1)
| (b) | = (a) x Payment Factor
| (e) | = (d) x (8.76 x 2% ) + (c)
| (f) | = (b) + (e)
SCCT Frame (2 Frame "F") * (West Side 1,500 feet)
| 332.42 | MW Plant capacity
| 454.0855 | Plant capacity cost - Average of high and low capital costs in $/kW
| 5.7545 | Fixed O&M plus on-going capital cost
| 13.6637 | Variable O&M Costs in $/MWh (includes Environmental Adders of $3.79/MWh)
| 3.791 | Environmental Adders (Primarily Carbon Tax)
| 8.331% | Payment Factor
| 2.283% | Annual Capacity Factor
| 4% | Capacity Factor - On-peak 2% / 57% (percent of hours on-peak)
Table 8
Total Cost of Displaceable Resources
Page 2 of 2
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | IRP Resource Energy Cost | Total Avoided Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT (Wet "F" 2x1) *
2006 | 651 | 56.1032 | 7.91 | 4.53 | 27.2355 | 83.34
2007 |  | 57.5619 | 8.1157 | 4.6478 | 27.9436 | 85.51
2008 |  | 58.7131 | 8.278 | 4.7407 | 28.5025 | 87.22 | 7.2 | 52.344 | 72.7888
2009 |  | 59.8874 | 8.4435 | 4.8356 | 29.0726 | 88.96 | 7.66 | 55.6882 | 76.5409
2010 |  | 61.0252 | 8.604 | 4.9274 | 29.6249 | 90.65 | 7.56 | 54.9612 | 76.21
2011 |  | 62.1847 | 8.7674 | 5.021 | 30.1878 | 92.37 | 7.4 | 53.798 | 75.45
2012 |  | 63.4284 | 8.9428 | 5.1215 | 30.7916 | 94.22 | 7.29 | 52.9983 | 75.0839
Source: (a)(c)(d) |  | Plant Costs - 2007 IRP (Table 5.1)
| (b) | = (a) x 0.08618
| (e) | = (e) x (8.76 x 48.7%) + (d)
| (f) | = (b) + (e)
| (g) | Gas Price Forecast
| (h) | = 7270 x (g) / 1000
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
2007 IRP (Table 5.1) - CCCT (Wet "F" 2x1) * (West Side 1,500 feet)
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT (Wet "F" 2x1) * |  |  | 492 | 81.73% | 740.52 | 9.5727
| CCCT Duct Firing (Wet "F" 2x1) |  |  | 110 | 18.27% | 248.5758 | 0.5
| Capacity Weighted |  |  | 602 | 100% | 651 | 7.91
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT (Wet "F" 2x1) * |  |  | 492.3267 | 56% | 275.703 | 94% | 4.6371 | 7163.6979
| CCCT Duct Firing (Wet "F" 2x1) |  |  | 110 | 16% | 17.6 | 6.001% | 2.9143 | 8867.8487
| Energy Weighted |  |  | 602.3267 | 48.7% | 293.303 | 100% | 4.53 | 7270
Rounded
| CCCT | Duct Firing | Source: 2007 IRP (Table 5.1)
| 492.3267 | 110 | MW Plant capacity
| 740.52 | 248.5758 | Plant capacity cost - Average of high and low capital costs in $/kW
| 9.5727 | 0.5 | Fixed O&M plus on-going capital cost
| 4.6371 | 2.9143 | Variable O&M Costs in $/MWh includes Environmental Adders (See Below)
| 2.2735 | 2.8143 | Environmental Adders (Primarily Carbon Tax) in $/MWh
| 7163.6979 | 8867.8487 | Heat Rate in btu/kWh
| 8.618% | 8.618% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 48.7% | Energy Weighted Annual Capacity Factor
|  | 85.4% | Capacity Factor - On-peak 49% / 57% (percent of hours on-peak)
Inflation - Quarterly Inflation Update dated August 31, 2007
| 2007 |  | 2.6%
| 2008 |  | 2%
| 2009 |  | 2%
| 2010 |  | 1.9%
| 2011 |  | 1.9%
| 2012 |  | 2%
| 2013 and thereafter |  | 1.9%

## Table 9
Table 9
Gas Price Forecast
$/MMBtu
Burnertip
Year | West Side Gas
Fuel Cost
(a)
2008 | 7.2
2009 | 7.66
2010 | 7.56
2011 | 7.4
2012 | 7.29
Source
Offical Price Forecast dated September 2007

## Source
Natural Gas ($US/MMBtu)
FORWARD PRICE CURVE SUMMARY
Quotes Dated: | 2007-09-28
Sample of source data
Month | West Side Gas | Year
2008-01-01 | 7.2951 | 2008 |  | Annual | No. of
2008-02-01 | 7.4516 | 2008 | Year | Average Price | Months
2008-03-01 | 7.2846 | 2008 |  | $/MMBtu | in Avg
2008-04-01 | 6.7258 | 2008 | 2008 | 7.2031 | 12
2008-05-01 | 6.7743 | 2008 | 2009 | 7.6582 | 12
2008-06-01 | 6.8854 | 2008 | 2010 | 7.5581 | 12
2008-07-01 | 7.0214 | 2008 | 2011 | 7.4032 | 12
2008-08-01 | 7.1112 | 2008 | 2012 | 7.2853 | 12
2008-09-01 | 7.0815 | 2008
2008-10-01 | 7.0609 | 2008
2008-11-01 | 7.6633 | 2008
2008-12-01 | 8.0818 | 2008
2009-01-01 | 8.4661 | 2009
2009-02-01 | 8.4661 | 2009
2009-03-01 | 8.2141 | 2009
2009-04-01 | 7.1642 | 2009
2009-05-01 | 7.0928 | 2009
2009-06-01 | 7.1531 | 2009
2009-07-01 | 7.2781 | 2009
2009-08-01 | 7.3333 | 2009
2009-09-01 | 7.3471 | 2009
2009-10-01 | 7.2938 | 2009
2009-11-01 | 7.8608 | 2009
2009-12-01 | 8.2287 | 2009
2010-01-01 | 8.5058 | 2010
2010-02-01 | 8.5244 | 2010
2010-03-01 | 8.2177 | 2010
2010-04-01 | 7.038 | 2010
2010-05-01 | 6.941 | 2010
2010-06-01 | 7.0002 | 2010
2010-07-01 | 7.1288 | 2010
2010-08-01 | 7.1779 | 2010
2010-09-01 | 7.1895 | 2010
2010-10-01 | 7.1372 | 2010
2010-11-01 | 7.7355 | 2010
2010-12-01 | 8.1011 | 2010
2011-01-01 | 8.3649 | 2011
2011-02-01 | 8.3826 | 2011
2011-03-01 | 8.0782 | 2011
2011-04-01 | 6.8768 | 2011
2011-05-01 | 6.7849 | 2011
2011-06-01 | 6.8441 | 2011
2011-07-01 | 6.9694 | 2011
2011-08-01 | 7.0184 | 2011
2011-09-01 | 7.03 | 2011
2011-10-01 | 6.9848 | 2011
2011-11-01 | 7.5704 | 2011
2011-12-01 | 7.9336 | 2011
2012-01-01 | 8.2258 | 2012
2012-02-01 | 8.2425 | 2012
2012-03-01 | 7.9457 | 2012
2012-04-01 | 6.7761 | 2012
2012-05-01 | 6.6843 | 2012
2012-06-01 | 6.7456 | 2012
2012-07-01 | 6.8637 | 2012
2012-08-01 | 6.9127 | 2012
2012-09-01 | 6.9244 | 2012
2012-10-01 | 6.8897 | 2012
2012-11-01 | 7.4252 | 2012
2012-12-01 | 7.7877 | 2012