## Weather Analysis
ASHRAE Monthly Bin Temp Breakout |  | Annual | 63.2099 | Heating Degree Day (HDD) Base (used to tune HDD to 4,507, per PSE 10-K)
Temp | Avg | Hours of | Temp Diff
Bin | Temp | Occurance | (Base - Avg T) | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Totals
95-99 | 97 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90-94 | 92 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85-89 | 87 | 17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 16 | 0 | 0 | 0 | 0 | 17
80-84 | 82 | 72 |  | 0 | 0 | 0 | 4 | 0 | 1 | 28 | 39 | 0 | 0 | 0 | 0 | 72
75-79 | 77 | 155 |  | 0 | 0 | 0 | 12 | 11 | 21 | 41 | 59 | 11 | 0 | 0 | 0 | 155
70-74 | 72 | 285 |  | 0 | 0 | 0 | 8 | 28 | 43 | 75 | 94 | 36 | 1 | 0 | 0 | 285
65-69 | 67 | 505 |  | 0 | 3 | 4 | 16 | 46 | 88 | 124 | 141 | 67 | 10 | 6 | 0 | 505 |  | HDD
60-64 | 62 | 1001 | 1.2099 | 0 | 5 | 20 | 54 | 101 | 175 | 208 | 183 | 175 | 72 | 8 | 0 | 1001 | Heat Pump Heating | 50.4646
55-59 | 57 | 1479 | 6.2099 | 5 | 40 | 42 | 98 | 168 | 232 | 229 | 168 | 280 | 142 | 74 | 1 | 1479 |  | 382.6876
50-54 | 52 | 1613 | 11.2099 | 28 | 93 | 172 | 205 | 221 | 151 | 38 | 44 | 133 | 297 | 170 | 61 | 1613 |  | 753.4014 | HDD > 35F
45-49 | 47 | 1090 | 16.2099 | 101 | 92 | 179 | 173 | 135 | 9 | 0 | 0 | 16 | 169 | 110 | 106 | 1090 |  | 736.2015 | 4057.5037 | 90.03%
40-44 | 42 | 1338 | 21.2099 | 264 | 135 | 230 | 115 | 32 | 0 | 0 | 0 | 2 | 53 | 222 | 285 | 1338 |  | 1182.4542
35-39 | 37 | 872 | 26.2099 | 201 | 199 | 91 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 120 | 224 | 872 |  | 952.2945
30-34 | 32 | 264 | 31.2099 | 103 | 79 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 66 | 264 | Gas Furnace Heating | 343.3093
25-29 | 27 | 59 | 36.2099 | 39 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 59 |  | 89.0161 | HDD < 35F
20-24 | 22 | 10 | 41.2099 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 |  | 17.1708 | 449.4963 | 9.973%
15-19 | 17 | 0 | 46.2099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-14 | 12 | 0 | 51.2099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 4507 | HDD Total
5-9 | 7 | 0 | 56.2099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0-4 | 2 | 0 | 61.2099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8760 |  | 744 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 8760
[19 empty] | 620 | Weather normalized therms/home (annual)
|  |  |  | Heat Pump Hours = |  | 7393 | 95.69% | of annual heating hours
|  |  |  | Feb: Average HDD per day =; Mar: 0.54883 |  |  |  | Hybrid System Savings (ideal controls)
[19 empty] | 558.1656 | therms replaced by heat pump heating
[19 empty] | 61.8344 | therm usage remaining
|  |  |  | Jan: Gas Furnace Hours =; Mar: 333; Apr: 4.31%; May: of annual heating hours |  |  |  | 90.03% | Savings of direct use of natural gas in a home
[5 empty] | Average HDD per day = | 1.3498
[19 empty] | 88.5% | Region gas AFUE rating
|  |  |  | Feb: Total Heating Hours (hours below 65F) =; Mar: 7726 |  |  |  | 493.9765 | therms load provided by heat pump, accounting for gas furnace efficiency
[19 empty] | 9.5 | Code minimum heat pump efficiency
[19 empty] | 29.3 | Therm to kWh conversion
[19 empty] | 5199.7531 | kWh's required for heat pump therm savings above
In summary, based on Seattle-area weather data, and using a supplemental heat cut out temperature of 35F, a hybrid heating system would potentially cover 90% of the average annual heating load with the heat pump, operating roughly 96% of the annual heating hours. The gas furnace would cover 10% of the annual heating load (in weather <35F), which is about 4% of the annual heating hours.

## RTF Furnace Baseline
https://rtf.nwcouncil.org/measure/residential-gas-furnaces/

## PSE 10K
https://www.pse.com/-/media/PDFs/PugetEnergy/PE-10K-12312021.pdf