## Attachment G-2017 PS
Avista Corp.
Power Supply Pro forma - Washington Jurisdiction
|  | System Numbers - Oct 2014 - Sep 2015 Actual and 2017 Pro Forma | [7 empty] | -367.4913 | -217.9584 | 95.7168 | 20.8533 | 151.7833 | 164.8238 | 13.004 | -68.733 | -73.1691 | -65.4809 | -67.8015 | -104.7796
Test Year Load, Nov 1 Update
[7 empty] | Authorized |  |  | 744 | 672 | 744 | 719 | 744 | 720 | 744 | 744 | 720 | 745 | 720 | 744
Line |  |  | Oct 14 - Sep 15 |  | 2017 |  | Jan 06 - Dec 06
No. |  |  | Actuals | Adjustment | Pro Forma |  | Pro forma | Comment | Total | 2012-12-31 | 2013-01-31 | 2013-02-28 | 2013-03-31 | 2013-04-30 | 2013-05-31 | 2013-06-30 | 2013-07-31 | 2013-08-31 | 2013-09-30 | 2013-10-31 | 2013-11-30
555 PURCHASED POWER
1 | Modeled ST Market Purchases |  | 0 | 8035.1221 | 8035.1221 |  | 20917.019 | model | 8035.1221 | 167916.4282 | 186256.0985 | 386602.9799 | 138744.6699 | 21923.5189 | 448152.5701 | 994662.8483 | 2295339.8135 | 986610.357 | 957912.5538 | 845349.9741 | 605650.2913
2 | Actual ST Market Purchases |  | 84387 | -81010 | 3377 |  |  |  | 3377.16 | 1603679.9622 | 1139520.0195 | 633960.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Actual ST Purchases - Financial M-to-M |  | 0 | -519 | -519 |  |  |  | -519.2326 | -367491.29 | -217958.4113 | 95716.7906 | 20853.3495 | 151783.3141 | 164823.846 | 13003.959 | -68733.0114 | -73169.139 | -65480.8862 | -67801.5454 | -104779.5808
4 | Rocky Reach/Rock Island Purchase |  | 13315 | 558 | 13873 |  |  |  | 13873.0932 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1
5 | Wells - Avista Share |  | 1703 | 185 | 1888 |  | 1177 |  | 1888.105 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833
6 | Wells - Colville Tribe's Share |  | 2482 | -2482 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Priest Rapids Project |  | 7118 | 884.8448 | 8002.8448 |  | 0 | includes Mean Pri & Reas Port | 8002.8448 | 818526.6051 | 673887.2447 | 621498.5369 | 622613.3701 | 720425.6921 | 697747.6561 | 773481.7758 | 683442.6187 | 493631.5322 | 480341.0747 | 649524.4952 | 767724.1947
8 | Douglas Settlement |  | 1211 | 120 | 1331 | check energy | 5512 |  | 1331.4131 | 53014.371 | 40118.4442 | 94456.3935 | 168474.5004 | 209505.187 | 226512.682 | 192940.8765 | 137423.8843 | 56311.9152 | 61593.3044 | 43005.0256 | 48056.5299
9 | Lancaster Capacity Payment |  | 22737 | 533 | 23270 |  |  |  | 23269.8879 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329
10 | Lancaster Variable O&M Payments |  | 2745 | 385.9387 | 3130.9387 |  |  |  | 3130.9387 | 367391.0261 | 304454.1687 | 293699.7764 | 192467.3637 | 105840.6198 | 82601.2846 | 201480.1429 | 273644.6908 | 298560.1631 | 324748.1354 | 321331.6404 | 364719.7099
11 | WNP-3 |  | 13302 | 4458 | 17760 | check energy | -2690 | modeled MWh x Actual | 17759.5391 | 2012-12-31: 3636467.325; 2013-01-31: 3244590; 2013-02-28: 1797334.425; 2013-03-31: 1767237.75; 2013-10-31: 3598202.439; 2013-11-30: 3715707.1275
12 | Deer Lake-IP&L |  | 7 | 0 | 7 |  | 6679.5 |  | 7 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333
13 | Small Power |  | 1290 | 68 | 1358 | check energy | 6132 |  | 1358.4641 | 101777.2172 | 122124.184 | 156259.9753 | 174470.6005 | 168952.8659 | 147730.8645 | 128692.6847 | 78476.7466 | 53427.0969 | 57263.917 | 75352.3677 | 93935.6042
14 | Stimson |  | 1346 | 388 | 1734 | check energy | 6132 | modeled MWh x new contract rate | 1733.56 | 157035.125 | 137359.0773 | 107031.8379 | 95491.9283 | 118924.2655 | 91137.2557 | 170259.1401 | 185136.157 | 155568.7582 | 175218.1457 | 164766.9027 | 175631.3928
15 | Spokane-Upriver |  | 2330 | 540 | 2870 | check energy | 6953.25 |  | 2870.0778 | 351340.8565 | 351203.1251 | 473037.6889 | 369796.1173 | 342852.5793 | 264551.0693 | 94880.8203 | -33904.299 | 8925.8123 | 107947.2197 | 205954.8137 | 333491.9922
16 | Spokane Waste-to-Energy |  | 5562 | 755 | 6317 | check energy |  |  | 6317.0099 | 507486.4636 | 504989.2965 | 461586.114 | 472591.6538 | 488344.6848 | 427274.5902 | 533290.8544 | 619305.5174 | 574355.9627 | 636508.4678 | 549383.9492 | 541892.3638
17 | Non-Monetary |  | 34 | -34 | 0 |  | 921 | normal $0 | 0
18 | Ancillary Services |  | 1654 | -1654 | 0 |  |  |  | 0
19 | Palouse Wind |  | 16541 | 4181 | 20722 | check energy |  |  | 20721.5902 | 2321260.305 | 1812340.6945 | 2126185.3397 | 1817524.2211 | 1599399.1772 | 1282675.1681 | 1098639.945 | 1155240.9984 | 1332899.8008 | 1638197.4741 | 2113291.4766 | 2423935.5806
20 | Total Account 555 |  | 177764 | -64607.0944 | 113156.9056 |  | 0 |  | 113156.5734 | 12971578.2405 | 11552057.7874 | 10500543.7256 | 9093439.3703 | 7181125.7503 | 7086380.8323 | 7454506.8926 | 8578546.9621 | 7140296.1051 | 7627423.2522 | 11751535.3844 | 12219139.0516
3186
| 557 OTHER EXPENSES | [5 empty] | 0
21 | Broker Commission Fees |  | 407 | 0 | 407 |  | 150 |  | 407 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667
22 | WA EIA REC Purchase - 100% WA Allocation |  | 645 | -645 | 0
23 | REC Expenses (offset to REC Revenue) |  | 109 | -109 | 0
24 | Spokane Energy Capacity Payment Adjustment |  | -5310 | 5310 | 0
25 | Rathdrum Solar, Buck-a-Block |  | 1 | -1 | 0
26 | Natural Gas Fuel Purchases |  | 86543 | -86543 | 0 |  | 152 | only gas burned modeled | 0
27 | Total Account 557 |  | 82395 | -81988 | 407 |  |  |  | 407 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667
| 501 THERMAL FUEL EXPENSE | [5 empty] | 78
28 | Kettle Falls - Wood Fuel |  | 6231 | -677.4111 | 5553.5889 |  | 0 | model | 5553.5889 | 585952.9846 | 516232.0786 | 479478.6846 | 392351.4894 | 279329.4144 | 15743.6001 | 426713.4384 | 553466.7278 | 575436.8237 | 574329.4338 | 558587.0033 | 595967.2577
29 | Kettle Falls - Start-up Gas |  | 14 | 0 | 14 |  | 78 |  | 14 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667
30 | Colstrip - Coal |  | 22168 | 1241.5789 | 23409.5789 |  |  | model | 23409.5789 | 2074525.7082 | 1936111.6945 | 2037191.1615 | 1846530.348 | 1664850.9874 | 1569174.5733 | 1991852.7685 | 2055938.9173 | 2042240.5516 | 2078655.6959 | 2035459.0437 | 2077047.4722
31 | Colstrip - Oil |  | 229 | 0 | 229 |  |  |  | 229 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333
32 | Total Account 501 |  | 28642 | 564.1679 | 29206.1679 |  | 8095.4689 |  | 29206.1679 | 2680728.6928 | 2472593.7731 | 2536919.8461 | 2259131.8375 | 1964430.4018 | 1605168.1734 | 2438816.2069 | 2629655.6452 | 2637927.3752 | 2673235.1297 | 2614296.047 | 2693264.7299
0
| 547 OTHER FUEL EXPENSE | [5 empty] | 10682.99
33 | Coyote Springs Gas |  | 42752 | -7261.7536 | 35490.2464 |  | 188 | model | 35490.2464 | 4490942.8956 | 3737640.8581 | 3254387.7231 | 1902175.4371 | 1106665.7204 | 754297.0527 | 2299589.13 | 3158453.7909 | 3402317.6483 | 3426780.7638 | 3610165.0991 | 4346830.2555
34 | Coyote Springs 2 Gas Transportation |  | 6247 | 148 | 6395 |  | 18966.4589 |  | 6395 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667
35 | Lancaster Gas |  | 33676 | -862.916 | 32813.084 |  |  |  | 32813.084 | 4154730.6345 | 3427120.6191 | 3115581.933 | 1855290.8063 | 1023324.7939 | 812929.069 | 2025110.9228 | 2762136.551 | 2979441.4599 | 3231572.388 | 3401386.8079 | 4024458.0111
36 | Lancaster Gas Transportation |  | 5409 | 20 | 5429 |  |  |  | 5429 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667
37 | Actual Financial Gas Transactions M-to-M |  | 0 | -861 | -861 |  |  |  | -860.873 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167
38 | Gas Transpot Optimization |  | 0 | -9000 | -9000 |  |  |  | -9000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000
39 | Gas Transportation for BP, NE and KFCT |  | 53 | 0 | 53 |  |  |  | 53 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667
40 | Rathdrum Gas |  | 1832 | -209.812 | 1622.188 |  |  | model | 1622.188 | 190919.4436 | 151972.5194 | 400.5175 | 0 | 185.9078 | 39288.3554 | 243127.1857 | 446889.3226 | 213999.7131 | 48421.9024 | 104505.7968 | 182477.3675
41 | Northeast CT Gas |  | 50 | 26.2161 | 76.2161 |  |  | model | 76.2161 | 15139.9644 | 8806.7805 | 0 | 0 | 0 | 3456.7373 | 10681.9988 | 21802.1607 | 8832.8394 | 802.2281 | 1822.9187 | 4870.517
42 | Boulder Park Gas |  | 613 | 203.8009 | 816.8009 |  | 59394.3667 | model | 816.8009 | 110522.6408 | 78962.6206 | 25176.2999 | 13970.8159 | 4900.2627 | 16599.979 | 103918.3298 | 130244.4649 | 98703.1378 | 47283.6143 | 79635.4098 | 106883.3743
43 | Kettle Falls CT Gas |  | 156 | 74.9993 | 230.9993 |  | 6240 | model | 230.9993 | 24025.8636 | 19114.1431 | 1023.6696 | 625.7404 | 781.7877 | 5994.3499 | 30054.8438 | 49501.9194 | 34598.2162 | 14228.0049 | 20326.0533 | 30724.6762
44 | Total Account 547 |  | 90788 | -17722.4652 | 73065.5348 |  | 0.11361 |  | 73065.6618 | 9154292.0257 | 7591628.1241 | 6564580.7265 | 3940073.3831 | 2303869.0558 | 1800576.1265 | 4880492.9941 | 6737038.7928 | 6905903.598 | 6937099.485 | 7385852.6688 | 8864254.7851
3237.8011
592.6358
| 565 TRANSMISSION OF ELECTRICITY BY OTHERS | [5 empty] | 480
45 | WNP-3 |  | 894 | 49 | 943 |  | 70026.2328 |  | 943 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333 | 78583.3333
46 | Short-term Transmission Purchases |  | 138 | 0 | 138 |  |  |  | 138 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500
47 | BPA PTP for Colstrip, Coyote & Lancaster |  | 12067 | 151 | 12218 |  | 772 |  | 12217.68 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1022400 | 1022400 | 1022400
48 | BPA Townsend-Garrison Wheeling |  | 1501 | 7 | 1508 | new rate | 49 |  | 1507.716 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643
49 | Avista on BPA - Borderline |  | 1373 | 30 | 1403 |  | 348 |  | 1402.9347 | 152421.6984 | 133564.0044 | 121321.007 | 127511.4637 | 111882.2096 | 83672.4624 | 132712.6336 | 127312.8136 | 108514.7096 | 79664.0104 | 86352.8036 | 138004.8588
50 | Kootenai for Worley |  | 45 | 0 | 45 |  | 8315 |  | 45.222 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5
51 | Sagle-Northern Lights |  | 135 | 5 | 140 |  | 1245 |  | 140 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667
52 | Northwestern for Colstrip |  | 558 | 0 | 558 |  | 1689 |  | 558 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500
53 | PGE Firm Wheeling |  | 643 | 0 | 643 |  | 32.112 |  | 642.588 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549
54 | Total Account 565 |  | 17354 | 242 | 17596 |  | 214 |  | 17595.1407 | 1500352.1984 | 1481494.5044 | 1469251.507 | 1475441.9637 | 1459812.7096 | 1431602.9624 | 1480643.1336 | 1475243.3136 | 1456445.2096 | 1433274.5104 | 1439963.3036 | 1491615.3588
643
| 536 WATER FOR POWER | [5 empty] | 13307.112
55 | Headwater Benefits Payments |  | 997 | 32 | 1029 |  |  |  | 1029 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750
56 | TOTAL EXPENSE |  | 397940 | -163479.3918 | 234460.6082 |  | 133
| 447 SALES FOR RESALE | [5 empty] | 188457.2601 |  |  | 2012-12-31 | 2013-01-31 | 2013-02-28 | 2013-03-31 | 2013-04-30 | 2013-05-31 | 2013-06-30 | 2013-07-31 | 2013-08-31 | 2013-09-30 | 2013-10-31 | 2013-11-30
57 | Modeled Short-Term Market Sales |  | 0 | 39339.6553 | 39339.6553 |  |  |  | 39339.6553 | 5500837.6831 | 4229790.6534 | 3050725.1289 | 3975187.0182 | 3608121.0014 | 2216592.8236 | 2890904.5322 | 1667142.0202 | 2771399.0316 | 1997572.1531 | 3081041.5894 | 4350341.7145
58 | Actual ST Market Sales - Physical |  | 105602 | -105602 | 0 |  |  |  | 0
59 | Actual ST Market Sales - Financial M-to-M |  | 0 | 2370 | 2370 |  |  |  | 2369.6538 | -492939.6555 | -230282.6497 | 602096.3537 | 674536.4891 | 889847.8104 | 846910.7133 | 221260.8333 | -74259.4806 | -20774.8181 | 115492.3486 | -13349.2385 | -148884.9536
60 | Peaker (PGE) Capacity Sale |  | 9501 | -9501 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | Nichols Pumping Sale |  | 1256 | 106.4808 | 1362.4808 | index | 1800 | index | 1362.4808 | 143434.9437 | 122043.7721 | 109417.8968 | 79900.742 | 68917.3085 | 68973.364 | 119524.8108 | 133288.5431 | 127491.2922 | 121066.0309 | 126939.2487 | 141482.8225
62 | Sovereign/Kaiser DES |  | 150 | 6 | 156 |  | -63 |  | 156 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000
63 | Pend Oreille DES & Spinning |  | 525 | 45 | 570 |  | 272 |  | 570 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500
64 | SMUD/Energy America |  | 12149 | 204.8376 | 12353.8376 |  |  |  | 12353.8376 | 1252444.5599 | 1077627.4547 | 1003616.4484 | 774593.456 | 705792.5639 | 699540.8049 | 1072781.4887 | 1182912.1384 | 1131755.4176 | 1087391.1776 | 1127938.4617 | 1237443.5826
65 | COB Optimization |  | 0 | 526 | 526 |  |  |  | 525.6419 | 41169.0284 | 36513.0821 | 40991.7402 | 39135.4859 | 46221.6401 | 64191.0321 | 50951.7426 | 44806.4672 | 39912.8347 | 40562.5112 | 39637.5828 | 41548.7204
66 | Intracompany Generation |  | 1654 | -1654 | 0 |  |  |  | 0
67 | Total Account 447 |  | 130837 | -74159.0263 | 56677.9737 |  | 0 |  | 56677.2693 | 6505446.5596 | 5296192.3126 | 4867347.568 | 5603853.1912 | 5379400.3244 | 3956708.7379 | 4415923.4075 | 3014389.6883 | 4110283.7581 | 3422584.2214 | 4422707.644 | 5682431.8864
|  |  | 130837 |  |  |  | 62060.8909
456 OTHER ELECTRIC REVENUE
68 | Non-WA EIA REC Sales |  | 3245 | -3245 | 0 |  |  |  |  | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333
69 | WA EIA REC Sales |  | 163 | -163 | 0
70 | Gas Not Consumed Sales Revenue |  | 95212 | -95212 | 0 |  | 48
71 | Total Account 456 |  | 98620 | -98620 | 0 |  | 0
0
| 453 SALES OF WATER AND WATER POWER | [5 empty] | 48
72 | Upstream Storage Revenue |  | 418 | 48 | 466 |  |  |  | 466 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333
73 | TOTAL REVENUE |  | 229875 | -172731.0263 | 57143.9737 |  | 24
74 | TOTAL NET EXPENSE |  | 168065 | 9251.6346 | 177316.6346 |  | 62497.8909
5.505%
9300991
[5 empty] | 19.0643 |  |  | ERM Accounts | 158751133.6789 | 18301152.3994 | 16320087.3719 | 14734696.7303 | 9688791.3996 | 6070024.8835 | 6535416.3944 | 10357892.6862 | 14930851.7117 | 12573843.3201 | 13815173.6455 | 17328976.4562 | 18094226.6802
[8 empty] | All Accounts | 177316274.3541 | 19882337.9311 | 17882415.2096 | 16284781.5706 | 11245066.6967 | 7610670.9265 | 8047852.6901 | 11919369.1532 | 16486928.3587 | 14111121.863 | 15329281.4893 | 18849773.0931 | 19666675.3723
Including November Power Supply Update

## Attachment G-2018 PS
Avista Corp.
Power Supply Pro forma - Washington Jurisdiction
|  | System Numbers - Oct 2014 - Sep 2015 Actual and Jul 2017 - Jun 2018 Pro Forma | [7 empty] | -367.4913 | -217.9584 | 95.7168 | 20.8533 | 151.7833 | 164.8238 | 13.004 | -68.733 | -73.1691 | -65.4809 | -67.8015 | -104.7796
Test Year Load, Nov 1 Update
[7 empty] | Authorized |  |  | 744 | 672 | 744 | 719 | 744 | 720 | 744 | 744 | 720 | 745 | 720 | 744
Line |  |  | Oct 14 - Sep 15 |  | Jul 17 - Jun 18 |  | Jan 06 - Dec 06
No. |  |  | Actuals | Adjustment | Pro Forma |  | Pro forma | Comment | Total | 2013-12-31 | 2014-01-31 | 2014-02-28 | 2014-03-31 | 2014-04-30 | 2014-05-31 | 2013-06-30 | 2013-07-31 | 2013-08-31 | 2013-09-30 | 2013-10-31 | 2013-11-30
555 PURCHASED POWER
1 | Modeled ST Market Purchases |  | 0 | 8203.1185 | 8203.1185 |  | 20917.019 | model | 8203.1185 | 326824.8516 | 434655.394 | 342882.891 | 59463.102 | 17650.5287 | 336115.8812 | 994662.8483 | 2295339.8135 | 986610.357 | 957912.5538 | 845349.9741 | 605650.2913
2 | Actual ST Market Purchases |  | 84387 | -84387 | 0 |  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 | Actual ST Purchases - Financial M-to-M |  | 0 | -366.9602 | -366.9602 |  |  |  | -366.9602 | 0 | 0 | 0 | 0 | 0 | 0 | 13003.959 | -68733.0114 | -73169.139 | -65480.8862 | -67801.5454 | -104779.5808
4 | Rocky Reach/Rock Island Purchase |  | 13315 | 923.1746 | 14238.1746 |  |  |  | 14238.1746 | 1216938 | 1216938 | 1216938 | 1216938 | 1216938 | 1216938 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1 | 1156091.1
5 | Wells - Avista Share |  | 1703 | 194.5455 | 1897.5455 |  | 1177 |  | 1897.5455 | 158915.5042 | 158915.5042 | 158915.5042 | 158915.5042 | 158915.5042 | 158915.5042 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833 | 157342.0833
6 | Wells - Colville Tribe's Share |  | 2482 | -2482 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Priest Rapids Project |  | 7118 | 1101.1856 | 8219.1856 |  | 0 | includes Mean Pri & Reas Port | 8219.1856 | 883492.2783 | 712407.4694 | 690439.1986 | 652738.3535 | 728567.4779 | 703395.1498 | 773481.7758 | 683442.6187 | 493631.5322 | 480341.0747 | 649524.4952 | 767724.1947
8 | Douglas Settlement |  | 1211 | 120.4131 | 1331.4131 | check energy | 5512 |  | 1331.4131 | 53014.371 | 40118.4442 | 94456.3935 | 168474.5004 | 209505.187 | 226512.682 | 192940.8765 | 137423.8843 | 56311.9152 | 61593.3044 | 43005.0256 | 48056.5299
9 | Lancaster Capacity Payment |  | 22737 | 678.6287 | 23415.6287 |  |  |  | 23415.6287 | 1963447.4479 | 1963447.4479 | 1963447.4479 | 1963447.4479 | 1963447.4479 | 1963447.4479 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329 | 1939157.329
10 | Lancaster Variable O&M Payments |  | 2745 | 512.3715 | 3257.3715 |  |  |  | 3257.3715 | 376913.8184 | 301241.4905 | 327852.5616 | 245509.6613 | 124597.679 | 96771.7935 | 201480.1429 | 273644.6908 | 298560.1631 | 324748.1354 | 321331.6404 | 364719.7099
11 | WNP-3 |  | 13302 | 4666.4517 | 17968.4517 | check energy | -2690 | modeled MWh x Actual | 17968.4517 | 3709196.6715 | 3309481.8 | 1833281.1135 | 1802582.505 | [6 empty] | 3598202.439 | 3715707.1275
12 | Deer Lake-IP&L |  | 7 | 0 | 7 |  | 6679.5 |  | 7 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333 | 583.3333
13 | Small Power |  | 1290 | 68.4641 | 1358.4641 | check energy | 6132 |  | 1358.4641 | 101777.2172 | 122124.184 | 156259.9753 | 174470.6005 | 168952.8659 | 147730.8645 | 128692.6847 | 78476.7466 | 53427.0969 | 57263.917 | 75352.3677 | 93935.6042
14 | Stimson |  | 1346 | 421.5943 | 1767.5943 | check energy | 6132 | modeled MWh x new contract rate | 1767.5943 | 164599.5812 | 143975.7289 | 112182.1065 | 100086.9076 | 124646.7862 | 95522.6924 | 170259.1401 | 185136.157 | 155568.7582 | 175218.1457 | 164766.9027 | 175631.3928
15 | Spokane-Upriver |  | 2330 | 626.3073 | 2956.3073 | check energy | 6953.25 |  | 2956.3073 | 365420.6097 | 365277.3588 | 491994.3625 | 384599.635 | 356577.505 | 275141.4629 | 94880.8203 | -33904.299 | 8925.8123 | 107947.2197 | 205954.8137 | 333491.9922
16 | Spokane Waste-to-Energy |  | 5562 | 755.0099 | 6317.0099 | check energy |  |  | 6317.0099 | 507486.4636 | 504989.2965 | 461586.114 | 472591.6538 | 488344.6848 | 427274.5902 | 533290.8544 | 619305.5174 | 574355.9627 | 636508.4678 | 549383.9492 | 541892.3638
17 | Non-Monetary |  | 34 | -34 | 0 |  | 921 | normal $0 | 0
18 | Ancillary Services |  | 1654 | -1654 | 0 |  |  |  | 0
19 | Palouse Wind |  | 16541 | 4387.6501 | 20928.6501 | check energy |  |  | 20928.6501 | 2365116.775 | 1846581.9492 | 2166356.1828 | 1851863.4102 | 1629617.2453 | 1306909.2469 | 1098639.945 | 1155240.9984 | 1332899.8008 | 1638197.4741 | 2113291.4766 | 2423935.5806
20 | Total Account 555 |  | 177764 | -66265.0453 | 111498.9547 |  | 0 |  | 111498.9547 | 12193726.9228 | 11120737.401 | 10017175.1847 | 9252264.6146 | 7188344.2452 | 6955258.6488 | 7454506.8926 | 8578546.9621 | 7140296.1051 | 7627423.2522 | 11751535.3844 | 12219139.0516
3186
| 557 OTHER EXPENSES | [5 empty] | 0
21 | Broker Commission Fees |  | 407 | 0 | 407 |  | 150 |  | 407 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667
22 | WA EIA REC Purchase - 100% WA Allocation |  | 645 | -645 | 0
23 | REC Expenses (offset to REC Revenue) |  | 109 | -109 | 0
24 | Spokane Energy Capacity Payment Adjustment |  | -5310 | 5310 | 0
25 | Rathdrum Solar, Buck-a-Block |  | 1 | -1 | 0
26 | Natural Gas Fuel Purchases |  | 86543 | -86543 | 0 |  | 152 | only gas burned modeled | 0
27 | Total Account 557 |  | 82395 | -81988 | 407 |  |  |  | 407 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667 | 33916.6667
| 501 THERMAL FUEL EXPENSE | [5 empty] | 78
28 | Kettle Falls - Wood Fuel |  | 6231 | -623.0886 | 5607.9114 |  | 0 | model | 5607.9114 | 604991.7309 | 522920.9887 | 518409.2394 | 396079.4657 | 265699.263 | 15310.0415 | 426713.4384 | 553466.7278 | 575436.8237 | 574329.4338 | 558587.0033 | 595967.2577
29 | Kettle Falls - Start-up Gas |  | 14 | 0 | 14 |  | 78 |  | 14 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667 | 1166.6667
30 | Colstrip - Coal |  | 22168 | 1135.1791 | 23303.1791 |  |  | model | 23303.1791 | 2035345.0748 | 1897483.5643 | 2020186.2808 | 1853477.613 | 1658019.0044 | 1557473.1334 | 1991852.7685 | 2055938.9173 | 2042240.5516 | 2078655.6959 | 2035459.0437 | 2077047.4722
31 | Colstrip - Oil |  | 229 | 0 | 229 |  |  |  | 229 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333 | 19083.3333
32 | Total Account 501 |  | 28642 | 512.0905 | 29154.0905 |  | 8095.4689 |  | 29154.0905 | 2660586.8057 | 2440654.553 | 2558845.5202 | 2269807.0787 | 1943968.2674 | 1593033.175 | 2438816.2069 | 2629655.6452 | 2637927.3752 | 2673235.1297 | 2614296.047 | 2693264.7299
0
| 547 OTHER FUEL EXPENSE | [5 empty] | 10682.99
33 | Coyote Springs Gas |  | 42752 | -6381.8404 | 36370.1596 |  | 188 | model | 36370.1596 | 4468044.0062 | 3583108.8356 | 3778880.0345 | 2270057.9475 | 1179277.4548 | 846654.6624 | 2299589.13 | 3158453.7909 | 3402317.6483 | 3426780.7638 | 3610165.0991 | 4346830.2555
34 | Coyote Springs 2 Gas Transportation |  | 6247 | 148 | 6395 |  | 18966.4589 |  | 6395 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667 | 532916.6667
35 | Lancaster Gas |  | 33676 | -411.1087 | 33264.8913 |  |  |  | 33264.8913 | 4123780.6019 | 3254781.5872 | 3461030.9776 | 2108049.3738 | 1059337.9991 | 833804.6502 | 2025110.9228 | 2762136.551 | 2979441.4599 | 3231572.388 | 3401386.8079 | 4024458.0111
36 | Lancaster Gas Transportation |  | 5409 | 20 | 5429 |  |  |  | 5429 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667 | 452416.6667
37 | Actual Financial Gas Transactions M-to-M |  | 0 | -942.972 | -942.972 |  |  |  | -942.972 | -85422.5833 | -85422.5833 | -85422.5833 | -85422.5833 | -85422.5833 | -85422.5833 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167 | -71739.4167
38 | Gas Transpot Optimization |  | 0 | -9000 | -9000 |  |  |  | -9000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000 | -750000
39 | Gas Transportation for BP, NE and KFCT |  | 53 | 0 | 53 |  |  |  | 53 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667 | 4416.6667
40 | Rathdrum Gas |  | 1832 | -192.294 | 1639.706 |  |  | model | 1639.706 | 213769.5844 | 115712.6446 | 23808.2756 | 5137.2914 | 1397.0865 | 40459.8097 | 243127.1857 | 446889.3226 | 213999.7131 | 48421.9024 | 104505.7968 | 182477.3675
41 | Northeast CT Gas |  | 50 | 24.7578 | 74.7578 |  |  | model | 74.7578 | 16070.8925 | 6358.3009 | 85.2887 | 0 | 0 | 3430.6167 | 10681.9988 | 21802.1607 | 8832.8394 | 802.2281 | 1822.9187 | 4870.517
42 | Boulder Park Gas |  | 613 | 246.0929 | 859.0929 |  | 59394.3667 | model | 859.0929 | 103790.0169 | 71087.3837 | 55892.9942 | 30516.2112 | 11504.6464 | 19633.2853 | 103918.3298 | 130244.4649 | 98703.1378 | 47283.6143 | 79635.4098 | 106883.3743
43 | Kettle Falls CT Gas |  | 156 | 78.2375 | 234.2375 |  | 6240 | model | 234.2375 | 23420.4728 | 15638.2677 | 6773.7705 | 1792.2823 | 1042.8671 | 6136.0894 | 30054.8438 | 49501.9194 | 34598.2162 | 14228.0049 | 20326.0533 | 30724.6762
44 | Total Account 547 |  | 90788 | -16411.127 | 74376.873 |  | 0.11361 |  | 74376.873 | 9103202.9913 | 7201014.4363 | 7480798.7578 | 4569880.5228 | 2406887.4705 | 1904446.5303 | 4880492.9941 | 6737038.7928 | 6905903.598 | 6937099.485 | 7385852.6688 | 8864254.7851
3237.8011
592.6358
| 565 TRANSMISSION OF ELECTRICITY BY OTHERS | [5 empty] | 480
45 | WNP-3 |  | 894 | 49.2008 | 943.2008 |  | 70026.2328 |  | 943.3012 | 78616.8 | 78616.8 | 78616.8 | 78616.8 | 78616.8 | 78616.8 | 78600.0667 | 78600.0667 | 78600.0667 | 78600.0667 | 78600.0667 | 78600.0667
46 | Short-term Transmission Purchases |  | 138 | 0 | 138 |  |  |  | 138 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500
47 | BPA PTP for Colstrip, Coyote & Lancaster |  | 12067 | 150.68 | 12217.68 |  | 772 |  | 12217.68 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1016720 | 1022400 | 1022400 | 1022400
48 | BPA Townsend-Garrison Wheeling |  | 1501 | 6.716 | 1507.716 | new rate | 49 |  | 1507.716 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643 | 125643
49 | Avista on BPA - Borderline |  | 1373 | 29.9347 | 1402.9347 |  | 348 |  | 1402.9347 | 152421.6984 | 133564.0044 | 121321.007 | 127511.4637 | 111882.2096 | 83672.4624 | 132712.6336 | 127312.8136 | 108514.7096 | 79664.0104 | 86352.8036 | 138004.8588
50 | Kootenai for Worley |  | 45 | 0.222 | 45.222 |  | 8315 |  | 45.222 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5 | 3768.5
51 | Sagle-Northern Lights |  | 135 | 5 | 140 |  | 1245 |  | 140 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667 | 11666.6667
52 | Northwestern for Colstrip |  | 558 | 0 | 558 |  | 1689 |  | 558 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500 | 46500
53 | PGE Firm Wheeling |  | 643 | -0.412 | 642.588 |  | 32.112 |  | 642.588 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549 | 53549
54 | Total Account 565 |  | 17354 | 241.3415 | 17595.3415 |  | 214 |  | 17595.4419 | 1500385.6651 | 1481527.9711 | 1469284.9737 | 1475475.4304 | 1459846.1763 | 1431636.429 | 1480659.867 | 1475260.0469 | 1456461.9429 | 1433291.2438 | 1439980.037 | 1491632.0921
643
| 536 WATER FOR POWER | [5 empty] | 13307.112
55 | Headwater Benefits Payments |  | 997 | 32 | 1029 |  |  |  | 1029 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750 | 85750
56 | TOTAL EXPENSE |  | 397940 | -163878.7403 | 234061.2597 |  | 133
[10 empty] | 233.3045 | 131.2219 | 78.5854 | -176.0337 | -320.9832 | -303.3594
| 447 SALES FOR RESALE | [5 empty] | 188457.2601 |  |  | 2013-12-31 | 2014-01-31 | 2014-02-28 | 2014-03-31 | 2014-04-30 | 2014-05-31 | 2013-06-30 | 2013-07-31 | 2013-08-31 | 2013-09-30 | 2013-10-31 | 2013-11-30
57 | Modeled Short-Term Market Sales |  | 0 | 38716.8266 | 38716.8266 |  |  |  | 38716.8266 | 3992870.0256 | 2959661.1388 | 3587521.7066 | 5107522.377 | 3860261.8542 | 2450588.4336 | 2890904.5322 | 1667142.0202 | 2771399.0316 | 1997572.1531 | 3081041.5894 | 4350341.7145
58 | Actual ST Market Sales - Physical |  | 105602 | -105602 | 0 |  |  |  | 0
59 | Actual ST Market Sales - Financial M-to-M |  | 0 | 436.7492 | 436.7492 |  |  |  | 436.7492 | -233304.5362 | -131221.8837 | -78585.409 | 176033.6949 | 320983.2485 | 303359.4335 | 221260.8333 | -74259.4806 | -20774.8181 | 115492.3486 | -13349.2385 | -148884.9536
60 | Peaker (PGE) Capacity Sale |  | 9501 | -9501 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | Nichols Pumping Sale |  | 1256 | 113.7125 | 1369.7125 | index | 1800 | index | 1369.7125 | 142582.5459 | 117984.8978 | 121835.2672 | 83440.3016 | 67681.3657 | 66395.3663 | 119524.8108 | 133288.5431 | 127491.2922 | 121066.0309 | 126939.2487 | 141482.8225
62 | Sovereign/Kaiser DES |  | 150 | 6 | 156 |  | -63 |  | 156 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000
63 | Pend Oreille DES & Spinning |  | 525 | 45 | 570 |  | 272 |  | 570 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500 | 47500
64 | SMUD/Energy America |  | 12149 | 262.4377 | 12411.4377 |  |  |  | 12411.4377 | 1250364.5335 | 1047541.8875 | 1095645.4094 | 801466.304 | 696076.7544 | 680120.5679 | 1072781.4887 | 1182912.1384 | 1131755.4176 | 1087391.1776 | 1127938.4617 | 1237443.5826
65 | COB Optimization |  | 0 | 528.1707 | 528.1707 |  |  |  | 528.1707 | 42275.3134 | 37443.2191 | 42153.3574 | 40090.9178 | 46525.2358 | 62262.77 | 50951.7426 | 44806.4672 | 39912.8347 | 40562.5112 | 39637.5828 | 41548.7204
66 | Intracompany Generation |  | 1654 | -1654 | 0 |  |  |  | 0
67 | Total Account 447 |  | 130837 | -76648.1033 | 54188.8967 |  | 0 |  | 54188.8967 | 5255287.8822 | 4091909.2594 | 4829070.3317 | 6269053.5953 | 5052028.4586 | 3623226.5713 | 4415923.4075 | 3014389.6883 | 4110283.7581 | 3422584.2214 | 4422707.644 | 5682431.8864
|  |  | 130837 |  |  |  | 62060.8909
456 OTHER ELECTRIC REVENUE
68 | Non-WA EIA REC Sales |  | 3245 | -3245 | 0 | [10 empty] | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333 | 70833.3333
69 | WA EIA REC Sales |  | 163 | -163 | 0
70 | Gas Not Consumed Sales Revenue |  | 95212 | -95212 | 0 |  | 48
71 | Total Account 456 |  | 98620 | -98620 | 0 |  | 0
0
| 453 SALES OF WATER AND WATER POWER | [5 empty] | 48
72 | Upstream Storage Revenue |  | 418 | 48 | 466 |  |  |  | 466 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333 | 38833.3333
73 | TOTAL REVENUE |  | 229875 | -175220.1033 | 54654.8967 |  | 24
74 | TOTAL NET EXPENSE |  | 168065 | 11341.363 | 179406.363 |  | 62497.8909
6.748%
9300991
[5 empty] | 19.289 |  |  | ERM Accounts | 160841021.5275 | 18702228.8376 | 16670497.1309 | 15227749.131 | 9822898.6208 | 6487171.5245 | 6829511.7827 | 10357892.6862 | 14930851.7117 | 12573843.3201 | 13815173.6455 | 17328976.4562 | 18094226.6802
[8 empty] | All Accounts | 179406463.4027 | 20283447.836 | 18232858.4353 | 16777867.438 | 11379207.3845 | 8027851.0342 | 8341981.5451 | 11919385.8865 | 16486945.092 | 14111138.5963 | 15329298.2226 | 18849789.8265 | 19666692.1056
Including November Power Supply Update

## Attachment G-Revenues 2017
Avista Corporation
- Energy Delivery -
Pro Forma Transmission Revenue/Expenses
($000s)
November 2016 Update | [8 empty] | AVISTA REBUTTAL | Net
[8 empty] | Nov Update |  | Change
[6 empty] | A | B | C |  | Nov Update
[6 empty] | Oct-2014 to |  | 2017 | 2017 | 2017
Line | Work | Project | Task |  |  | 2011-09-13 |  | Pro Forma | Pro Forma | Pro Forma
No. | Paper | No. | No. | Org |  | Actual | Adjusted | Period | Period | Period
556 OTHER POWER SUPPLY EXPENSES
1 | B | 9802453 | 556030 | A56 | NWPP | 62 | 21 | 83 | 83
560-71.4, 935.3-.4 TRANSMISSION O&M EXPENSE
2 | C |  |  |  | Colstrip O&M 500kV Lines (Confidential) | 328 | -16 | 312 | 312
3 | D |  |  |  | ColumbiaGrid Funding (Confidential) | 85 | 57 | 142 | 142
4 | E |  |  |  | ColumbiaGrid Planning (PEFA) | 158 | 15 | 173 | 173
5 | F |  |  |  | Order 1000 Functional Agreement | 50 | -25 | 25 | 25
[5 empty] | Total Account 560-71.4, 935.3-.4 | 621 | 31 | 652 | 652
566 TRANSMISSION EXP-OPRN-MISCELLANEOUS
6 | G | 09800542/'221 | 566000/935804 |  | NERC CIP | 107 | -32 | 75 | 75
7 | H | 09802455/'2815 | 566214/566020 | E56 | Columbia Grid OASIS travel expenses | 15 | 0 | 15 | 15
8 | I | 9802455 | 566151/566154 | T08 | PEAK Reliability | 484 | 194 | 678 | 678
9 | J | 9802455 | 566153 | C56 | WECC Dues | 421 | 22 | 443 | 443
10 | K | 9802455 | 566152 | A56 | WECC Loop Flow | 41 | 0 | 41 | 41
[5 empty] | Total Account 566 | 1068 | 184 | 1252 | 1252
570 MAINTENANCE OF STATION EQUIPMENT
11 | L |  |  |  | Addy (BPA substation) | 9 | 0 | 9 | 9
12 | M |  |  |  | Hatwai (BPA substation) | 23 | 0 | 23 | 23
[5 empty] | Total Account 570 | 32 | 0 | 32 | 32
[5 empty] | TOTAL EXPENSE | 1783 | 236 | 2019 | 2019 | 0
456 OTHER ELECTRIC REVENUE
13 | N |  |  |  | Borderline Wheeling Transmission | 5982 | 271 | 6253 | 6253
14 | O |  |  |  | Borderline Wheeling Low Voltage | 1079 | 0 | 1815 | 1079 | 736
15 | P |  |  |  | Borderline Wheeling Ancillary Revenues | 1628 | -6 | 2274 | 1622 | 652
16 | Q |  |  |  | Seattle/Tacoma Main Canal | 360 | 0 | 360 | 360
17 | R |  |  |  | Seattle/Tacoma Summer Falls | 74 | 0 | 74 | 74
18 | S |  |  |  | OASIS Nonfirm & Short-term Firm | 3517 | -690 | 2827 | 2827
19 | T |  |  |  | PacifiCorp - Dry Gulch Wheeling | 247 | -17 | 230 | 230
20 | U |  |  |  | Spokane Waste to Energy Plant | 28 | 0 | 28 | 28
21 | V |  |  |  | Grand Coulee Project Hydro Authority | 8 | 0 | 8 | 8
22 | W |  |  |  | First Wind Transmission | 200 | -200 | 0 | 0
23 | X |  |  |  | Palouse Wind O & M | 52 | 0 | 52 | 52
24 | Y |  |  |  | Stimson Lumber | 9 | 0 | 9 | 9
25 | Z |  |  |  | BPA Parallel Operating Agreement | 3192 | 0 | 3192 | 3192
26 | AA |  |  |  | Morgan Stanley Capital Group | 600 | 0 | 600 | 600
27 | AB |  |  |  | Hydro Tech Systems - Meyers Falls | 6 | 0 | 6 | 6
28 | AC |  |  |  | Kootenai Electric Cooperatiive | 88 | 0 | 94 | 88 | 6
[6 empty] | 17070 | -642 | 17822 | 16428 | 1394
[8 empty] | UPDATED | AS FILED | Net Change
[5 empty] | TOTAL REVENUE | 17070 | -642 | 17822 | 16428 | 1394
[5 empty] | TOTAL NET REVENUE | -15287 | 878 | -15803 | -14409 | -1394
[5 empty] | WA Share of Change |  |  |  | 65.63% | -914.8822
[5 empty] | Revenue Requirement Impact of Transmission Revenue Update |  |  |  |  | -960.2193

## Attachment G-Revenues 2018-6 mo
Avista Corporation
- Energy Delivery -
Pro Forma Transmission Revenue/Expenses | [12 empty] | Net
($000s) | [11 empty] | AVISTA | Change Nov Update
November 2016 Update | [11 empty] | Rebuttal
Nov Update
[6 empty] | A | B | C | D | E | F | G | H
[6 empty] | Oct-2014 to |  | 2017 |  | 2018 | Jan-Jun 2018 | Jan-Jun 2018 | Jan-Jun 2018
Line | Work | Project | Task |  |  | 2011-09-13 |  | Pro Forma |  | Pro Forma | Pro Forma | Pro Forma | Pro Forma
No. | Paper | No. | No. | Org |  | Actual | Adjusted | Period | Adjusted | Period | Period | Period | Period
[5 empty] | 556 OTHER POWER SUPPLY EXPENSES | [5 empty] | Nov
Update
1 | B | 9802453 | 556030 | A56 | NWPP | 62 | 21 | 83 | 0 | 83 | 83 | 83
560-71.4, 935.3-.4 TRANSMISSION O&M EXPENSE
2 | C |  |  |  | Colstrip O&M 500kV Lines (Confidential) | 328 | -16 | 312 | 0 | 312 | 312 | 312
3 | D |  |  |  | ColumbiaGrid Funding (Confidential) | 85 | 57 | 142 | 0 | 142 | 142 | 142
4 | E |  |  |  | ColumbiaGrid Planning (PEFA) | 158 | 15 | 173 | 0 | 173 | 173 | 173
5 | F |  |  |  | Order 1000 Functional Agreement | 50 | -25 | 25 | 0 | 25 | 25 | 25
[5 empty] | Total Account 560-71.4, 935.3-.4 | 621 | 31 | 652 | 0 | 652 | 652 | 652
566 TRANSMISSION EXP-OPRN-MISCELLANEOUS
6 | G | 09800542/'221 | 566000/935804 |  | NERC CIP | 107 | -32 | 75 | 0 | 75 | 75 | 75
7 | H | 09802455/'2815 | 566214/566020 | E56 | Columbia Grid OASIS travel expenses | 15 | 0 | 15 | 0 | 15 | 15 | 15
8 | I | 9802455 | 566151/566154 | T08 | PEAK Reliability | 484 | 194 | 678 | 0 | 678 | 678 | 678
9 | J | 9802455 | 566153 | C56 | WECC Dues | 421 | 22 | 443 | 0 | 443 | 443 | 443
10 | K | 9802455 | 566152 | A56 | WECC Loop Flow | 41 | 0 | 41 | 0 | 41 | 41 | 41
[5 empty] | Total Account 566 | 1068 | 184 | 1252 | 0 | 1252 | 1252 | 1252
570 MAINTENANCE OF STATION EQUIPMENT
11 | L |  |  |  | Addy (BPA substation) | 9 | 0 | 9 | 0 | 9 | 9 | 9
12 | M |  |  |  | Hatwai (BPA substation) | 23 | 0 | 23 | 0 | 23 | 23 | 23
[5 empty] | Total Account 570 | 32 | 0 | 32 | 0 | 32 | 32 | 32
[5 empty] | TOTAL EXPENSE | 1783 | 236 | 2019 | 0 | 2019 | 2019 | 2019 | 0
456 OTHER ELECTRIC REVENUE
13 | N |  |  |  | Borderline Wheeling Transmission | 5982 | 271 | 6253 | 0 | 6253 | 6253 | 6253
14 | O |  |  |  | Borderline Wheeling Low Voltage | 1079 | 0 | 1815 | 0 | 1815 | 1815 | 1079 | 736
15 | P |  |  |  | Borderline Wheeling Ancillary Revenues | 1628 | -6 | 2274 | 0 | 2274 | 2274 | 1622 | 652
16 | Q |  |  |  | Seattle/Tacoma Main Canal | 360 | 0 | 360 | 0 | 360 | 360 | 360
17 | R |  |  |  | Seattle/Tacoma Summer Falls | 74 | 0 | 74 | 0 | 74 | 74 | 74
18 | S |  |  |  | OASIS Nonfirm & Short-term Firm | 3517 | -690 | 2827 | 0 | 2827 | 2827 | 2827
19 | T |  |  |  | PacifiCorp - Dry Gulch Wheeling | 247 | -17 | 230 | 0 | 230 | 230 | 230
20 | U |  |  |  | Spokane Waste to Energy Plant | 28 | 0 | 28 | 0 | 28 | 28 | 28
21 | V |  |  |  | Grand Coulee Project Hydro Authority | 8 | 0 | 8 | 0 | 8 | 8 | 8
22 | W |  |  |  | First Wind Transmission | 200 | -200 | 0 | 0 | 0 | 0 | 0
23 | X |  |  |  | Palouse Wind O & M | 52 | 0 | 52 | 0 | 52 | 52 | 52
24 | Y |  |  |  | Stimson Lumber | 9 | 0 | 9 | 0 | 9 | 9 | 9
25 | Z |  |  |  | BPA Parallel Operating Agreement | 3192 | 0 | 3192 | 0 | 3192 | 3192 | 3192
26 | AA |  |  |  | Morgan Stanley Capital Group | 600 | 0 | 600 | -600 | 0 | 300 | 300
27 | AB |  |  |  | Hydro Tech Systems - Meyers Falls | 6 | 0 | 6 | 0 | 6 | 6 | 6
28 | AC |  |  |  | Kootenai Electric Cooperatiive | 88 | 0 | 94 | 0 | 94 | 94 | 88 | 6
[6 empty] | 17070 | -642 | 17822 | -600 | 17222 | 17522 | 16128 | 1394
[8 empty] | UPDATED |  |  |  | AS FILED | Net Change
[5 empty] | TOTAL REVENUE | 17070 | -642 | 17822 | -600 | 17222 | 17522 | 16128 | 1394
[5 empty] | TOTAL NET REVENUE | -15287 | 878 | -15803 | 600 | -15203 | -15503 | -14109 | -1394
[5 empty] | WA Share of Change | [6 empty] | 65.63% | -914.8822
[5 empty] | Revenue Requirement Impact of Transmission Revenue Update | [7 empty] | -960.2193
(Net reduction in Total Net Revenue for 2018 related to update in 2017 (see page 1). No incremental change in transmission net revenue in 2018.)

## 2017 PF - PS 09.15 load
Avista Corporation |  |  |  | Avista Corporation
WA Power Supply Pro Forma Net Cost |  |  |  | WA Power Supply Pro Forma Net Cost |  |  |  |  | Nov Update | Nov Update
Rate Case Power Supply Adjustment Pro Forma - 09.2015 Historical Loads |  |  |  | Rate Case Power Supply Adjustment Pro Forma - 09.2015 Historical Loads |  |  |  |  | NET | NET
November 2016 PF Update |  |  |  | Per Avista Rebuttal |  |  |  |  | CHANGE | CHANGE
|  | 2017 PF | Column [K] |  |  | 2017 PF |  |  | 2017 PF | 2017 PF
|  | Power | Total |  |  | Power |  | Total | Power | Total
|  | Supply | Washington |  |  | Supply |  | Washington | Supply | Washington
|  | System | Amounts |  |  | System |  | Amounts | System | Amounts
P/T Allocation Percentages |  |  | 65.63% | P/T Allocation Percentages |  |  |  | 65.63% |  | 65.63%
447 Sales for Resale |  | 56678 | 37197.7714 | 447 Sales for Resale |  | 57504 |  | 37739.8752 | -826 | -542.1038
453 Sales of Water and Water Power |  | 466 | 305.8358 | 453 Sales of Water and Water Power |  | 466 |  | 305.8358 |  | 0
454 Misc Rents |  | 0 | 0 | 454 Misc Rents |  | 0 |  | 0 |  | 0
456 Transmission Wheeling Revenue | System | 17822 | 11696.5786 | 456 Transmission Wheeling Revenue | System | 16428 |  | 10781.6964 | 1394 | 914.8822
456 Transmission Wheeling Revenue | Direct WA | 0 | 0 | 456 Transmission Wheeling Revenue | Direct WA | 0 |  | 0 |  | 0
456 Transmission Wheeling Revenue | Direct ID | 0 | 0 | 456 Transmission Wheeling Revenue | Direct ID | 0 |  | 0 |  | 0
456 Other Electric Revenue |  | 0 | 0 | 456 Other Electric Revenue |  | 0 |  | 0 |  | 0
456 Other Electric Revenue-Direct WA |  | 0 | 0 | 456 Other Electric Revenue-Direct WA |  | 0 |  | 0 |  | 0
Total Revenue |  | 74966 | 49200.1858 | Total Revenue |  | 74398 |  | 48827.4074 | 568 | 372.7784
501 Thermal Fuel Expense |  | 29206 | 19167.8978 | 501 Thermal Fuel Expense |  | 29225 |  | 19180.3675 | -19 | -12.4697
546 Other Power Gen Supvsn & Eng |  | 0 | 0 | 546 Other Power Gen Supvsn & Eng |  | 0 |  | 0 |  | 0
547 Other Fuel Expense |  | 73066 | 47953.2158 | 547 Other Fuel Expense |  | 76583 |  | 50261.4229 | -3517 | -2308.2071
536 Water for Power |  | 1029 | 675.3327 | 536 Water for Power |  | 1029 |  | 675.3327 |  | 0
555 Purchased Power |  | 113157 | 74264.9391 | 555 Purchased Power |  | 109783 |  | 72050.5829 | 3374 | 2214.3562
549 Misc Other Gen Expense |  | 0 | 0 | 549 Misc Other Gen Expense |  | 0 |  | 0 |  | 0
550 Rents |  | 0 | 0 | 550 Rents |  | 0 |  | 0 |  | 0
556 System Control & Dispatch |  | 0 | 0 | 556 System Control & Dispatch |  | 0 |  | 0 |  | 0
557 Other Expenses |  | 407 | 267.1141 | 557 Other Expenses |  | 407 |  | 267.1141 |  | 0
XXX Other Expenses-Direct WA |  | 0 | 0 | XXX Other Expenses-Direct WA |  | 0 |  | 0 |  | 0
565 Trans. of Elec. by Others |  | 17596 | 11548.2548 | 565 Trans. of Elec. by Others |  | 17766 |  | 11659.8258 | -170 | -111.571
Total Expense |  | 234461 | 153876.7543 | Total Expense |  | 234793 |  | 154094.6459 | -332 | -217.8916
Net Income Before Income Taxes |  | -159495 | -104676.5685 | Net Income Before Income Taxes |  | -160395 |  | -105267.2385 | 900 | 590.67
Federal Income Tax | 35% |  | -36636.799 | Federal Income Tax | 35% |  |  | -36843.5335 |  | 206.7345
Net Income |  |  | -68040.7695 | Net Income |  |  |  | -68424.705 |  | 383.9355
Net Revenue Requirement Impact | [6 empty] | CF | 0.61931 |  | -619.9407
Net Revenue Requirement Impact (Grossed Down) |  |  |  | [USING HISTRICAL LOADS] | [5 empty] | -610.5992
Including November Power Supply Update
Note on D14: LMA: November 2017 Update - Wheeling Revenue
Note on L14: tlk: Wheeling Revenue in PF Transmission Adjustment PF column

## incremental load expense-2017
ATTRITION ADJUSTMENT RELATED TO RETAIL REVENUE GROWTH AND ASSOCIATED POWER SUPPLY COST
(000'S OF DOLLARS) |  |  |  |  | Both updated with Nov update - same change in expense and revenue should result in no net change
November 2016 Update
|  |  |  | Revenue | Power | Power | Incremental
|  |  |  | Growth | Supply Cost | Supply Cost | Power | Retail
Line |  |  |  | and Power | Test Year | Rate Year | Supply | Revenue
No. |  | DESCRIPTION | (Note 1) | Supply Cost | Load | Load | Cost | Growth
Column [L]
| REVENUES |  |  | (Net - no change)
1 | Total General Business |  |  | 7724.1691 |  |  |  | 7724.1691
2 | Interdepartmental Sales |  |  | 14.5062 |  |  |  | 14.5062
3 | Sales for Resale |  |  | -2524 | 37198 | 34674 | -2524
4 | Total Sales of Electricity |  |  | 5214.6753 | 37198 | 34674 | -2524 | 7738.6753
5 | Other Revenue |  |  | 0 | 12002 | 12002 | 0 | 0
6 | Total Electric Revenue |  |  | 5214.6753 | 49200 | 46676 | -2524 | 7738.6753
EXPENSES
Production and Transmission
7 |  | Operating Expenses |  | 0 | 79612 | 79612 | 0
8 |  | Purchased Power |  | 843 | 74265 | 75108 | 843
9 |  | Depreciation/Amortization
10 |  | Regulatory Amortization
11 |  | Taxes
12 | Total Production & Transmission |  |  | 843 | 153877 | 154720 | 843 | 0
Distribution
13 |  | Operating Expenses
14 |  | Depreciation/Amortization
15 |  | Taxes | 0.038473 | 297.172 |  |  |  | 297.172
16 | Total Distribution |  |  | 297.172 | 0 | 0 | 0 | 297.172
17 | Customer Accounting |  | 0.006739 | 52.0532 |  |  |  | 52.0532
18 | Customer Service & Information
19 | Sales Expenses
Administrative & General
20 |  | Operating Expenses | 0.002 | 15.4483 |  |  |  | 15.4483
21 |  | Depreciation/Amortization
22 |  | Taxes
23 | Total Admin. & General |  |  | 15.4483 | 0 | 0 | 0 | 15.4483
24 | Total Electric Expenses |  |  | 1207.6735 | 153877 | 154720 | 843 | 364.6735
25 | OPERATING INCOME BEFORE FIT |  |  | 4007.0018 | -104677 | -108044 | -3367 | 7374.0018
FEDERAL INCOME TAX
26 | Current Accrual |  |  | 1402 | -36637 | -37815 | -1178 | 2581
27 | Debt Interest
28 | Deferred Income Taxes
29 | Amortized ITC - Noxon
30 | NET OPERATING INCOME |  |  | 2605.0018 | -68040 | -70229 | -2189 | 4793.0018
Note 1: 09.2015 Washington electric revenue conversion factor amounts.
[Adjusts for growth in power supply above historical load]
Including November Power Supply Update

## Nov PF Power Supply 2017 load
Avista Corporation |  |  |  | Avista Corporation
WA Power Supply Pro Forma Net Cost |  |  |  | WA Power Supply Pro Forma Net Cost |  |  |  |  | Nov Update | Nov Update
Rate Case Power Supply Adjustment Pro Forma - 2017 Forecast Loads |  |  |  | Rate Case Power Supply Adjustment Pro Forma - 2017 Forecast Loads |  |  |  |  | NET | NET
November 2016 Update |  |  |  | Per Avista Rebuttal |  |  |  |  | CHANGE | CHANGE
|  | 2017 PF |  |  |  | 2017 PF |  |  | 2017 PF | 2017 PF
|  | Power | Total |  |  | Power | Total |  | Power | Total
|  | Supply | Washington |  |  | Supply | Washington |  | Supply | Washington
|  | System | Amounts |  |  | System | Amounts |  | System | Amounts
P/T Allocation Percentages |  | (1) | 65.63% | P/T Allocation Percentages |  |  | 65.63% |  |  | 65.63%
447 Sales for Resale |  | 52832 | 34673.6416 | 447 Sales for Resale |  | 53658 | 35215.7454 |  | -826 | -542.1038
453 Sales of Water and Water Power |  | 466 | 305.8358 | 453 Sales of Water and Water Power |  | 466 | 305.8358 |  |  | 0
454 Misc Rents |  | 0 | 0 | 454 Misc Rents |  | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | System | 17822 | 11696.5786 | 456 Transmission Wheeling Revenue | System | 16428 | 10781.6964 |  | 1394 | 914.8822
456 Transmission Wheeling Revenue | Direct WA | 0 | 0 | 456 Transmission Wheeling Revenue | Direct WA | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | Direct ID | 0 | 0 | 456 Transmission Wheeling Revenue | Direct ID | 0 | 0 |  |  | 0
456 Other Electric Revenue |  | 0 | 0 | 456 Other Electric Revenue |  | 0 | 0 |  |  | 0
456 Other Electric Revenue-Direct WA |  | 0 | 0 | 456 Other Electric Revenue-Direct WA |  | 0 | 0 |  |  | 0
Total Revenue |  | 71120 | 46676.056 | Total Revenue |  | 70552 | 46303.2776 |  | 568 | 372.7784
501 Thermal Fuel Expense |  | 29206 | 19167.8978 | 501 Thermal Fuel Expense |  | 29225 | 19180.3675 |  | -19 | -12.4697
546 Other Power Gen Supvsn & Eng |  | 0 | 0 | 546 Other Power Gen Supvsn & Eng |  | 0 | 0 |  |  | 0
547 Other Fuel Expense |  | 73066 | 47953.2158 | 547 Other Fuel Expense |  | 76583 | 50261.4229 |  | -3517 | -2308.2071
536 Water for Power |  | 1029 | 675.3327 | 536 Water for Power |  | 1029 | 675.3327 |  |  | 0
555 Purchased Power |  | 114442 | 75108.2846 | 555 Purchased Power |  | 111068 | 72893.9284 |  | 3374 | 2214.3562
549 Misc Other Gen Expense |  | 0 | 0 | 549 Misc Other Gen Expense |  | 0 | 0 |  |  | 0
550 Rents |  | 0 | 0 | 550 Rents |  | 0 | 0 |  |  | 0
556 System Control & Dispatch |  | 0 | 0 | 556 System Control & Dispatch |  | 0 | 0 |  |  | 0
557 Other Expenses |  | 407 | 267.1141 | 557 Other Expenses |  | 407 | 267.1141 |  |  | 0
xxx Other Expenses-Direct WA |  | 0 | 0 | xxx Other Expenses-Direct WA |  | 0 | 0 |  |  | 0
565 Trans. of Elec. by Others |  | 17596 | 11548.2548 | 565 Trans. of Elec. by Others |  | 17766 | 11659.8258 |  | -170 | -111.571
Total Expense |  | 235746 | 154720.0998 | Total Expense |  | 236078 | 154937.9914 |  | -332 | -217.8916
Net Income Before Income Taxes |  | -164626 | -108044.0438 | Net Income Before Income Taxes |  | -165526 | -108634.7138 |  | 900 | 590.67
Federal Income Tax | 35% |  | -37815.4153 | Federal Income Tax | 35% |  | -38022.1498 |  |  | 206.7345
Net Income |  |  | -70228.6285 | Net Income |  |  | -70612.564 |  |  | 383.9355
[8 empty] | CF | 0.61931
Net Revenue Requirement Impact | [9 empty] | -619.9407
Net Revenue Requirement Impact (Grossed Down) | [9 empty] | -610.5992
(1) Added change in each expense and revenue for 2017 update based on historical load to reflect same change using 2017 forecast loads. Reflects no net change in Column [L]
[USING FORECASTED LOADS]
Including November Power Supply Update
Note on D14: LMA: November 2017 Update - Wheeling Revenue
Note on L14: LMA: Wheeling Revenue PF Transmission Adjustment PF column
Note on L15: tlk: from PF Transmission confidential workpapers
Note on L16: tlk: from PF Transmission confidential workpapers

## 2018 PF PS 09.2015 load
Avista Corporation |  |  |  | Avista Corporation
WA Power Supply Pro Forma Net Cost |  |  |  | WA Power Supply Pro Forma Net Cost |  |  |  |  | Nov Update | Nov Update
Rate Case Power Supply Adjustment Pro Forma - 09.2015 Historical Loads |  |  |  | Rate Case Power Supply Adjustment Pro Forma - 09.2015 Historical Loads |  |  |  |  | NET | NET
November 2016 PF Update |  |  |  | Per Avista Rebuttal |  |  |  |  | CHANGE | CHANGE
|  | 2018 PF (12ME 6/2018) | [Column K] |  |  | 2018 PF (12ME 6/2018) |  |  | 2018 PF | 2018 PF
|  | Power | Total |  |  | Power | Total |  | Power | Total
|  | Supply | Washington |  |  | Supply | Washington |  | Supply | Washington
|  | System | Amounts |  |  | System | Amounts |  | System | Amounts
P/T Allocation Percentages |  |  | 65.63% | P/T Allocation Percentages |  |  | 65.63% |  |  | 65.63%
447 Sales for Resale |  | 54189 | 35564.2407 | 447 Sales for Resale |  | 57362 | 37646.6806 |  | -3173 | -2082.4399
453 Sales of Water and Water Power |  | 466 | 305.8358 | 453 Sales of Water and Water Power |  | 466 | 305.8358 |  |  | 0
454 Misc Rents |  | 0 | 0 | 454 Misc Rents |  | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | System | 17522 | 11499.6886 | 456 Transmission Wheeling Revenue | System | 16128 | 10584.8064 |  | 1394 | 914.8822
456 Transmission Wheeling Revenue | Direct WA | 0 | 0 | 456 Transmission Wheeling Revenue | Direct WA | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | Direct ID | 0 | 0 | 456 Transmission Wheeling Revenue | Direct ID | 0 | 0 |  |  | 0
456 Other Electric Revenue |  | 0 | 0 | 456 Other Electric Revenue |  | 0 | 0 |  |  | 0
456 Other Electric Revenue-Direct WA |  | 0 | 0 | 456 Other Electric Revenue-Direct WA |  | 0 | 0 |  |  | 0
Total Revenue |  | 72177 | 47369.7651 | Total Revenue |  | 73956 | 48537.3228 |  | -1779 | -1167.5577
501 Thermal Fuel Expense |  | 29154 | 19133.7702 | 501 Thermal Fuel Expense |  | 29255 | 19200.0565 |  | -101 | -66.2863
546 Other Power Gen Supvsn & Eng |  | 0 | 0 | 546 Other Power Gen Supvsn & Eng |  | 0 | 0 |  |  | 0
547 Other Fuel Expense |  | 74377 | 48813.6251 | 547 Other Fuel Expense |  | 78650 | 51617.995 |  | -4273 | -2804.3699
536 Water for Power |  | 1029 | 675.3327 | 536 Water for Power |  | 1029 | 675.3327 |  |  | 0
555 Purchased Power |  | 111499 | 73176.7937 | 555 Purchased Power |  | 111447 | 73142.6661 |  | 52 | 34.1276
549 Misc Other Gen Expense |  | 0 | 0 | 549 Misc Other Gen Expense |  | 0 | 0 |  |  | 0
550 Rents |  | 0 | 0 | 550 Rents |  | 0 | 0 |  |  | 0
556 System Control & Dispatch |  | 0 | 0 | 556 System Control & Dispatch |  | 0 | 0 |  |  | 0
557 Other Expenses |  | 407 | 267.1141 | 557 Other Expenses |  | 407 | 267.1141 |  |  | 0
XXX Other Expenses-Direct WA |  | 0 | 0 | XXX Other Expenses-Direct WA |  | 0 | 0 |  |  | 0
565 Trans. of Elec. by Others |  | 17595 | 11547.5985 | 565 Trans. of Elec. by Others |  | 18169 | 11924.3147 |  | -574 | -376.7162
Total Expense |  | 234061 | 153614.2343 | Total Expense |  | 238957 | 156827.4791 |  | -4896 | -3213.2448
Net Income Before Income Taxes |  | -161884 | -106244.4692 | Net Income Before Income Taxes |  | -165001 | -108290.1563 |  | 3117 | 2045.6871
Federal Income Tax | 35% |  | -37185.5642 | Federal Income Tax | 35% |  | -37901.5547 |  |  | 715.9905
Net Income |  |  | -69059.905 | Net Income |  |  | -70389.6016 |  |  | 1329.6966
Net Revenue Requirement Impact | [7 empty] | CF | 0.61931 | 2147.0614
[7 empty] | Change per 2017 Update |  |  | 620
[7 empty] | Incremental Decrease for 2018 |  |  | 1527.0614
[USING HISTRICAL LOADS]
Including November Power Supply Update
Note on D14: tlk: Wheeling Revenue in PF Transmission Adjustment PF column
Note on L14: tlk: Wheeling Revenue in PF Transmission Adjustment PF column
Note on D15: tlk: from PF Transmission confidential workpapers
Note on L15: tlk: from PF Transmission confidential workpapers
Note on D16: tlk: from PF Transmission confidential workpapers
Note on L16: tlk: from PF Transmission confidential workpapers

## incremental load expense 2018
ATTRITION ADJUSTMENT RELATED TO RETAIL REVENUE GROWTH AND ASSOCIATED POWER SUPPLY COST |  |  |  |  | Both columns updated with Nov. update - same change in expense and revenue should result in no net change to this adjustment column [L], page 4-5.
(000'S OF DOLLARS)
|  |  | No Change --> | [Column L]
|  |  |  | Revenue | Power | Power | Incremental
|  |  |  | Growth | Supply Cost | Supply Cost | Power | Retail
Line |  |  |  | and Power | Test Year | Rate Year | Supply | Revenue
No. |  | DESCRIPTION | (Note 1) | Supply Cost | Load | Load | Cost | Growth
REVENUES
1 | Total General Business |  |  | 9381.517 |  |  |  | 9381.517
2 | Interdepartmental Sales |  |  | 17.6187 |  |  |  | 17.6187
3 | Sales for Resale |  |  | -3099 | 35564 | 32465 | -3099
4 | Total Sales of Electricity |  |  | 6300.1357 | 35564 | 32465 | -3099 | 9399.1357
5 | Other Revenue |  |  | 0 | 11806 | 11806 | 0 | 0
6 | Total Electric Revenue |  |  | 6300.1357 | 47370 | 44271 | -3099 | 9399.1357
EXPENSES
Production and Transmission
7 |  | Operating Expenses |  | 2 | 80436 | 80438 | 2
8 |  | Purchased Power |  | 1003 | 73177 | 74180 | 1003
9 |  | Depreciation/Amortization
10 |  | Regulatory Amortization
11 |  | Taxes
12 | Total Production & Transmission |  |  | 1005 | 153613 | 154618 | 1005 | 0
Distribution
13 |  | Operating Expenses
14 |  | Depreciation/Amortization
15 |  | Taxes | 0.038473 | 360.9351 |  |  |  | 360.9351
16 | Total Distribution |  |  | 360.9351 | 0 | 0 | 0 | 360.9351
17 | Customer Accounting |  | 0.006739 | 63.222 |  |  |  | 63.222
18 | Customer Service & Information
19 | Sales Expenses
Administrative & General
20 |  | Operating Expenses | 0.002 | 18.763 |  |  |  | 18.763
21 |  | Depreciation/Amortization
22 |  | Taxes
23 | Total Admin. & General |  |  | 18.763 | 0 | 0 | 0 | 18.763
24 | Total Electric Expenses |  |  | 1447.9202 | 153613 | 154618 | 1005 | 442.9202
25 | OPERATING INCOME BEFORE FIT |  |  | 4852.2155 | -106243 | -110347 | -4104 | 8956.2155
FEDERAL INCOME TAX
26 | Current Accrual |  |  | 1698 | -37185 | -38621 | -1436 | 3135
27 | Debt Interest
28 | Deferred Income Taxes
29 | Amortized ITC - Noxon
30 | NET OPERATING INCOME |  |  | 3154.2155 | -69058 | -71726 | -2668 | 5821.2155
Note 1: 09.2015 Washington electric revenue conversion factor amounts.
[Adjusts for growth in power supply above historical load]
Including November Power Supply Update

## PF Power Supply 2018 load
Avista Corporation |  |  |  | Avista Corporation
WA Power Supply Pro Forma Net Cost |  |  |  | WA Power Supply Pro Forma Net Cost |  |  |  |  | Nov Update | Nov Update
Rate Case Power Supply Adjustment Pro Forma - 2018 Forecast Loads |  |  |  | Rate Case Power Supply Adjustment Pro Forma - 2018 Forecast Loads |  |  |  |  | NET | NET
November 2016 PF Update |  |  |  | Per Avista Rebuttal |  |  |  |  | CHANGE | CHANGE
|  | Updated PF |  |  |  | Updated PF |  |  | 2018 PF | 2018 PF
|  | Power | Total |  |  | Power | Total |  | Power | Total
|  | Supply | Washington |  |  | Supply | Washington |  | Supply | Washington
|  | System | Amounts |  |  | System | Amounts |  | System | Amounts
P/T Allocation Percentages |  |  | 65.63% | P/T Allocation Percentages |  |  | 65.63% |  |  | 65.63%
447 Sales for Resale |  | 49467 | 32465.1921 | 447 Sales for Resale |  | 52640 | 34547.632 |  | -3173 | -2082.4399
453 Sales of Water and Water Power |  | 466 | 305.8358 | 453 Sales of Water and Water Power |  | 466 | 305.8358 |  |  | 0
454 Misc Rents |  | 0 | 0 | 454 Misc Rents |  | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | System | 17522 | 11499.6886 | 456 Transmission Wheeling Revenue | System | 16128 | 10584.8064 |  | 1394 | 914.8822
456 Transmission Wheeling Revenue | Direct WA | 0 | 0 | 456 Transmission Wheeling Revenue | Direct WA | 0 | 0 |  |  | 0
456 Transmission Wheeling Revenue | Direct ID | 0 | 0 | 456 Transmission Wheeling Revenue | Direct ID | 0 | 0 |  |  | 0
456 Other Electric Revenue |  | 0 | 0 | 456 Other Electric Revenue |  | 0 | 0 |  |  | 0
456 Other Electric Revenue-Direct WA |  | 0 | 0 | 456 Other Electric Revenue-Direct WA |  | 0 | 0 |  |  | 0
Total Revenue |  | 67455 | 44270.7165 | Total Revenue |  | 69234 | 45438.2742 |  | -1779 | -1167.5577
501 Thermal Fuel Expense |  | 29154 | 19133.7702 | 501 Thermal Fuel Expense |  | 29255 | 19200.0565 |  | -101 | -66.2863
546 Other Power Gen Supvsn & Eng |  | 0 | 0 | 546 Other Power Gen Supvsn & Eng |  | 0 | 0 |  |  | 0
547 Other Fuel Expense |  | 74378 | 48814.2814 | 547 Other Fuel Expense |  | 78651 | 51618.6513 |  | -4273 | -2804.3699
536 Water for Power |  | 1029 | 675.3327 | 536 Water for Power |  | 1029 | 675.3327 |  |  | 0
555 Purchased Power |  | 113028 | 74180.2764 | 555 Purchased Power |  | 112976 | 74146.1488 |  | 52 | 34.1276
549 Misc Other Gen Expense |  | 0 | 0 | 549 Misc Other Gen Expense |  | 0 | 0 |  |  | 0
550 Rents |  | 0 | 0 | 550 Rents |  | 0 | 0 |  |  | 0
556 System Control & Dispatch |  | 0 | 0 | 556 System Control & Dispatch |  | 0 | 0 |  |  | 0
557 Other Expenses |  | 407 | 267.1141 | 557 Other Expenses |  | 407 | 267.1141 |  |  | 0
xxx Other Expenses-Direct WA |  | 0 | 0 | xxx Other Expenses-Direct WA |  | 0 | 0 |  |  | 0
565 Trans. of Elec. by Others |  | 17595 | 11547.5985 | 565 Trans. of Elec. by Others |  | 18169 | 11924.3147 |  | -574 | -376.7162
Total Expense |  | 235591 | 154618.3733 | Total Expense |  | 240487 | 157831.6181 |  | -4896 | -3213.2448
Net Income Before Income Taxes |  | -168136 | -110347.6568 | Net Income Before Income Taxes |  | -171253 | -112393.3439 |  | 3117 | 2045.6871
Federal Income Tax | 35% |  | -38621.6799 | Federal Income Tax | 35% |  | -39337.6704 |  |  | 715.9905
Net Income |  |  | -71726.9769 | Net Income |  |  | -73055.6735 |  |  | 1329.6966
Net Revenue Requirement Impact | [7 empty] | CF | 0.61931 | 2147.0614
[7 empty] | Change per 2017 Update |  |  | 620
[7 empty] | Incremental Decrease for 2018 |  |  | 1527.0614
|  |  | [USING FORECASTED LOADS] |  |  |  | Grossed Down |  |  | 1497.6093
Including November Power Supply Update
Note on D14: LMA: Wheeling Revenue PF Transmission Adjustment PF column
Note on L14: LMA: Wheeling Revenue PF Transmission Adjustment PF column