First Revision of Sheet No. 85-k

Canceling Original

WN U-60	Sheet No. 85-k

# PUGET SOUND ENERGY

## Electric Tariff G

# SCHEDULE 85

LINE EXTENSIONS

(Including construction, ownership and maintenance of Company and

Customer/Applicant Owned Service Lines) (Continued)

- EASEMENTS - PLATS:  When an underground electric distribution extension is to be installed in a platted tract, the owner thereof shall, as a condition to service under this schedule, grant a utility easement to the Company for all facilities to be installed within the plat and shall also record with the plat a restrictive covenant (in a form acceptable to the Company) providing that all permanent electric utility service lines shall be underground.

- EXTENSION FACILITIES AND COST:  The Company, in its sole judgment, shall determine the appropriate location, design, phase, voltage, and capacity for the line extension or service line installed pursuant to this schedule and, where applicable, the Company shall determine line extension costs using its own cost estimating system in conjunction with sound engineering practices.

- LEAST COST DESIGN:  The Company shall determine the location of an Applicant’s service and meter locations in accordance with Company standards and least cost design principles.  Any additional expense incurred by the Company resulting from a different service or meter location requested by the Applicant shall be the responsibility of the Applicant.

- TEMPORARY SERVICE:  This schedule does not apply to temporary service. Such service is subject to the provisions of Schedule 80 in this tariff.

- TRENCHING:  For underground service, the Applicant, owner, or developer shall (a) provide all necessary trenching, including, but not limited to, any or all of the following, whether in public rights-of-way or on private property: breakup of sidewalks, driveways, street surfaces and pavements; disturbance or removal of landscaping; excavating for vaults; trenching for ducts or cable; shoring, flagging, barricading and backfilling; installation of concrete structure around ducts (if necessary); compaction; and restoration of public rights-of-way and private property after accomplishing any of the foregoing; all in accordance with the Company's specifications applicable thereto, or (b) contract with the Company to provide such work at the Company's estimated costs (including overheads).  Payments to the Company for such work shall not be refundable.

- CLEARING AND GRADING:

- It shall be the property owner’s, developers, or Applicant’s responsibility to provide a route for construction that is to final grade, free of all obstructions, and along which all rights-of-way, easements, and property lines are clearly and accurately delineated.

(M) Transferred from Sheet No. 85-j     (K) Transferred to Sheet No. 85-l

(N)

(N)

(M)

|

|

|

|

|

|

|

|

|

|

|

|  (C)

|

|

(M)(C)

(C)

(K)

|

|

|

|

|

|

|

|

|

| (C)

|

(K)

## Issued:  December 19, 2005		Effective:  January 19, 2006

Advice No.:   2005-49

Issued By Puget Sound Energy

| By: |  | Tom DeBoer Title: Director, Rates & Regulatory Affairs |
| --- | --- | --- |