## Cover Page
WASHINGTON
COLLOCATION:
SPACE INQUIRY
QWEST
January 2003
Study ID: 7237
QWEST CORPORATION
Policy and Law

## Table of Contents
Table of Contents
Page
I. Executive Summary |  | 3
| A. Purpose Scope, and Application | 3
| B. Description of Service | 3
| C. Study Methodology | 3
| D. Description of Long Run Incremental Costs | 3
| E. Study Assumptions | 4
II. Rate Elements |  | 5
III. Work Papers |  | 6
| Study Summary | 6
| Input Sheet | 7
| Labor and Materials | 9
| WCP Non-Recurring | 10

## Exec Summary
Executive Summary
A. PURPOSE, SCOPE, AND APPLICATION
The purpose of this study is to determine the non-recurring costs that will be incurred by
Qwest to provide Space Inquiry requests for customers.
This study develops Qwest average costs. Costs are based on a per unit basis depending upon
which element is being requested.
B. DESCRIPTION OF SERVICE
C. Study Methodology
Costs were developed from material, engineering and installation labor costs
provided by Subject Matter Experts (SME's) in Central Office Engineering and Outside Plant
Engineering.
Monthly maintenance costs were developed by taking the element - specific expense and applying
the account - code specific maintenance.
The investments/expenses from the above items were then entered into the WCP (Wholesale
Cost Program) model, developed and used within QWEST Corporation.
D. DESCRIPTION OF LONG RUN INCREMENTAL COSTS
Long Run Incremental Cost (LRIC) is the method QWEST Corporation uses to estimate
product and service costs. It provides a measurement of costs over a period of time long enough to
fully adjust to changes of output (including changes in the size of facilities, levels of investment, etc.)
in order to optimally accommodate this change. This methodology is forward looking in nature
(i.e. LRIC uses the latest technology costs or replacement costs.) Since LRIC is forward looking,
it does not measure historic investment decisions of the corporation.
The Qwest LRIC format disaggregates the cost results on a unitized basis into the components
shown below:
Total Service Long Run Incremental Cost (TSLRIC) --Total Service Long Run Incremental Cost is
the forward looking cost avoided (or added) by discontinuing (or offering) an entire service or group of
services in the most efficient manner, holding constant the production of all other services produced
by the firm. This cost is often referred to in economic terms as direct cost.
Shared Cost (SC)-- The cost associated with the provision of multiple services (service family).
This cost is not volume sensitive and is eliminated only if the entire service family is discontinued.
Total Service Long Run Incremental Costs plus Shared Costs (TSLRIC+SC)--The Total Service
Long Run Incremental Costs for a service plus the Shared Costs of a family of services.
Total Element Long Run Incremental Cost (TELRIC) -- Total Element Long Run Incremental
Cost, as defined by the Federal Communications Commission, is the sum of the forward looking
direct cost incurred in the production of a network element (as opposed to an entire service),
attributed costs considered as shared cost under TSLRIC terminology and selected administrative
costs considered as common under TSLRIC terminology.
Common Cost (CC)
For TSLRIC purposes, common costs are the current cost incurred for the benefit of the enterprise
as a whole. This cost does not vary with the provision of a service or a service family. These costs
are sometimes referred to as general overhead costs. The Common Cost added to the TSLRIC +
SC produces a Fully Allocated Cost (FAC) as required by Commission rules.
For TELRIC purposes, common costs are the current cost incurred for the benefit of the enterprise as
a whole, after those cost that vary with the provisioning of individual network elements are removed.
The costs removed from common for TELRIC purposes are included in the TELRIC itself. Total Long
Run Incremental Cost plus TELRIC common costs (TELRIC + CC) form the basis for pricing
Interconnection network elements. TELRIC + CC is the equivalent of fully allocated cost as the term
is applied to network elements.
Typically, the cost identified by these cost categories include capital costs for depreciation, return, and
income taxes. TSLRIC also includes ongoing operating costs for: administration expense, product
management expense, pre sales expense, and business fees.
E. Study Assumptions
1. All costs are forward looking.
2. See "Inputs" worksheet.
Paragraph 58 of the FCC 706 ruling requires incumbent LECs to provide space availability report to Co-Providers requesting such a report. This report will be generated for one central office at a time.
The space inquiry report contains the following information for each central office requested:
1. Number of Collocators within the office;
2. Amount of Collocation space available (number of equipment bay spaces available);
3. Measures under way to make additional space available for collocation;
4. Modifications in the use of space since the last report;
5. Whether there is sufficient power;
6. Number of CLECs in queue; and
7. Whether the premise is equipped with DS3 capabilities.

## Rate Summary
RATE SUMMARY
| Unit | Investment | NRC | State
SPACE INQUIRY REPORT | Per office | 162.351 | 224.793 | WASHINGTON

## Study Summary
Study Name | Space Inquiry
Study Requester | Vicki Bishara
Type of Study | TELRIC
Study ID | 7237
Cost Factor Group | Interconnection
Study Applications
Completion Date | 2003-01-07
Cost Analyst | Tom Wilkinson
Study Review | Reviewer | Date
| Vicki Bishara | 2003-01-07
Cost Models Used | Model | Version and/or Release Date
| Wholesale Cost Program | 01/08/01 (Version 2.06)
| Cost Factor Databases | 01/02/01 (Vintage: 99WA02E)
Cost Factors Model (TELRIC)
Cost Factors Used | Factor | Effective Date
| Capital Recovery | 01/01
| Maintenance | 01/01
| Ad Valorem | 01/01
Power
Sales Tax
Interest During Construction
| COE Land & Bldg | 01/01
| Directly Assigned Factors | 01/01
| Directly Attributable Factors | 01/01
| Common | 01/01
| Cost Of Money | 9.63%
Inflation
Major Cost Drivers

## Inputs
Study Information |  |  | Value
| Filing Month |  | January
| Filing Year |  | 2003
| State |  | WA
| State Full Name |  | WASHINGTON
| Run Date |  | 2003-01-07
| Factor Vintage |  | 99WA02E
| Study ID |  | 7237
Engineering Rate Inputs |  |  | Value | Source
| COMMON SYSTEMS PLANNING ENGINEERING CENTER (CSPEC) |  | 43.74
| INFRASTRUCTURE AVAILABILITY CENTER (IAC) |  | 56.97
Labor Calculation
COMMON SYSTEMS PLANNING ENGINEERING CENTER (CSPEC)
|  | NUMBER OF COLLOCATORS WITHING THE OFFICE | 0.35 | per hour
|  | AMOUNT OF COLLO SPACE AVAILABLE IN OFFICE | 1.75 | per hour
|  | ADDITIONAL SPACE FOR COLLOCATION | 0.35 | per hour
|  | MODIFICATIONS IN USE OF SPACE SINCE THE LAST REPORT | 0.35 | per hour
Factors |  |  | Value
| WCP Version |  | 2.06
| Cost of Money |  | 9.63%
| Capital Recovery |  | 01/01
| Maintenance |  | 01/01
| Ad Valorem |  | 01/01
Power
Sales Tax
Interest During Construction
| COE Land & Bldg |  | 01/01
| Directly Assigned Factors |  | 01/01
| Directly Attributable Factors |  | 01/01
| Common |  | 01/01
| Vintage |  | 99WA02E
Investment Loadings
| Power |  | 0.0422
| Sales Tax |  | 0.0829
| Interest During Construction |  | 0.0061
COE Land And Building Investment
| Building |  | 0.0679
| Land |  | 0.0028
Investment Based Monthly Direct Costs
| Depreciation |  | 0.090203
| Cost Of Money |  | 0.043242
| Income Tax Expense |  | 0.014796
| Maintenance |  | 0.017681
| Ad Valorem Tax |  | 0.003935
COE Land And Building Cost
| COE Building |  | 0.15082
| COE Land |  | 0.15307
Directly Assigned
| Product Management Expense |  | 0.053904
| Sales Expense |  | 0.013375
| Product Advertising Expense |  | 0
| Business Fees (Other Operating Taxes) |  | 0.042327
Directly Attributed
| Network Operations |  | 0
| Network Support Assets |  | 0
| General Support Assets |  | 0
| General Purpose Computers |  | 0
| Uncollectible |  | 0
| Accounting & Finance Expense |  | 0
| Human Resources Expense |  | 0
| Information Management Expense |  | 0
| Intangibles |  | 0
| State Prescribed Directly Attributed |  | 0.1962
Common
| Executive Expense |  | 0
| Planning Expense |  | 0
| External Relations Expense |  | 0
| Legal Expense |  | 0
| Other Procurement Expense |  | 0
| Research & Development Expense |  | 0
| Other General and Admin Expense |  | 0
| State Prescribed Common |  | 0.0405

## Labor Calculations
LABOR CALCULATIONS
|  | Hours Per | Time |  | Applied Time | Labor |  | Rate
| Work Item | Request | Minutes | Prob | (Minutes) | /Hour | Cost | Calculation
| A | B | C | D | E | F | G
C * D
-COMMON SYSTEMS PLANNING ENGINEERING CENTER (CSPEC)
NUMBER OF COLLOCATORS WITHING THE OFFICE
| Verify and match documentation; determine number of Collocators in office | 0.35 | 21 | 1 | 21 | 43.74 | 15.309 | Space Report
AMOUNT OF COLLO SPACE AVAILABLE IN OFFICE
| Database verification (COEFM), communication with Real Estate, SICM's, CO Techniciaions and IOF if grooming or moving circuits is identified. | 1.75 | 105 | 1 | 105 | 43.74 | 76.545 | Space Report
ADDITIONAL SPACE FOR COLLOCATION
| Check to see if building addition is in any planning stage. Check with switch group to see about any upcoming conversions/removals. | 0.35 | 21 | 1 | 21 | 43.74 | 15.309 | Space Report
MODIFICATIONS IN USE OF SPACE SINCE THE LAST REPORT
| Pull report from COE-FM. | 0.35 | 21 | 1 | 21 | 43.74 | 15.309 | Space Report
Subtotal - COMMON SYSTEMS PLANNING ENGINEERING CENTER (CSPEC) |  |  |  |  | 168 |  | 122.472
-INFRASTRUCTURE AVAILABILITY CENTER (IAC)
QUOTE PREPARATION AND PROCESSING
| Review for completeness resolve discrepancies, Quote Preparation and processing, data basing | 0.7 | 42 | 1 | 42 | 56.97 | 39.879 | Space Report
Subtotal - INFRASTRUCTURE AVAILABILITY CENTER (IAC) |  |  |  |  | 42 |  | 39.879
Total | [6 empty] | 162.351

## Ntwk Compare (hidden)
Loaded
3304.812 | Network
#REF! | Cost Study
38.8385 | Difference
| Network Cost Study |  |  |  |  | Cost Study
|  | CPMC (PMgmt) | 1 | 56.97 | 56.97 | 1 | 56.97 | 56.97
|  | CPMC Quote | 1 | 56.97 | 56.97 | 1 | 56.97 | 56.97
|  | CSPEC | 2 | 46.18 | 92.36 | 2 | 46.18 | 92.36
|  | ENGINEERING | 4 | 51.76 | 207.04 | 4 | 51.76 | 207.04
|  | WALK-THROUGH | 4 | 51.76 | 207.04 | 4 | 51.76 | 207.04
|  | ICC |  |  |  | 2 | 56.97 | 113.94
|  | MATERIAL |  |  |  | 1 | 14.4 | 14.4
|  | INSTALLATION | 41.6923 | 46.22 | 1927.0185 | 34 | 51.76 | 1759.84
|  | TOTAL | 53.6923 |  | 2547.3985 |  |  | 2508.56
3473.3802
Indicates the differences in studies
[9 empty] | 156.96 | 1 | 78.48 | 78.48
[9 empty] | 19.84 | 1 | 78.48 | 78.48
[9 empty] | 2424.2 | 2 | 63.61 | 127.22
[10 empty] | 4 | 71.3 | 285.2
[10 empty] | 4 | 71.3 | 285.2
[10 empty] | 41.6923 | 63.67 | 2424.2
[10 empty] | 53.6923 |  | 3278.78
3455.58
#REF!

## WCP Non-Recurring
WCP Non-Recurring
|  | Space Inquiry | Labor Rate | Labor Rate | Labor Rate | Labor Rate | Ntwk | Ntwk
| Factor Value | Report | 1 | 2 | 3 | 4 | Compare | Compare
Expense |  | 162.351 | #REF! | #REF! | #REF! | #REF! | 2547.3985 | 2508.56
Directly Assigned | [5 empty] | 4 | Compare
Product Management Expense | 0.053904 | 8.7514 | #REF! | #REF! | #REF! | 4 | Compare | 135.2214
Sales Expense | 0.013375 | 2.1714 | #REF! | #REF! | #REF! | 4 | Compare | 33.552
Product Advertising Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Business Fees (Other Operating Taxes) | 0.042327 | 7.3342 | #REF! | #REF! | #REF! | #REF! | 107.8237 | 113.3235
Directly Assigned Costs |  | 18.257 | #REF! | #REF! | #REF! | #REF! | 107.8237 | 282.0969
Total Direct Monthly Costs |  | 180.608 | #REF! | #REF! | #REF! | #REF! | 2655.2222 | 2790.6569
Directly Attributed
Network Operations | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Network Support Assets | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
General Support Assets | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
General Purpose Computers | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Uncollectible | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Accounting & Finance Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Human Resources Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Information Management Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Intangibles | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
State Prescribed Directly Attributed | 0.1962 | 35.4353 | #REF! | #REF! | #REF! | #REF! | 520.9546 | 547.5269
Directly Attributed Costs |  | 35.4353 | #REF! | #REF! | #REF! | #REF! | 520.9546 | 547.5269
TELRIC |  | 216.0433 | #REF! | #REF! | #REF! | #REF! | 3176.1768 | 3338.1838
Common
Executive Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Planning Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
External Relations Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Legal Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Other Procurement Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Research & Development Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
Other General and Admin Expense | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0
State Prescribed Common | 0.0405 | 8.7498 | #REF! | #REF! | #REF! | #REF! | 128.6352 | 135.1964
Common Costs |  | 8.7498 | #REF! | #REF! | #REF! | #REF! | 128.6352 | 135.1964
TELRIC + Common Costs |  | 224.793 | #REF! | #REF! | #REF! | #REF! | 3304.812 | 3473.3802