## DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending April 30.
Please file this report in docket UE-131883.
| Utility Name: | Puget Sound Energy
| Report Year Ending April 30, | 2019
22.4 MW * | Utility's current net metering requirement under RCW 80.60.020
277.3% | Percentage of current requirement installed
8399 | Total number of customers with net metering systems as of April 30, 2019
290 | Total number of customers with meter aggregation as of April 30, 2019
* Requirement as of 4/30/2019, changed to 179.2 MW on July 28, 2019
Net Metering Distributed Generation
Applicable to generation interconnected under Puget Sound Energy's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of April 30, 2019
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 1841 | 15829 | 8.598 | 8348 | 61775 | 7.4
Wind |  |  |  | 29 | 79 | 2.7241
Anaerobic Digester
Micro Hydro | 1 | 56 | 56 | 6 | 101 | 16.8333
Other † |  |  |  | 16 | 161 | 10.0625
Totals | 1842 | 15885 |  | 8399 | 62116
Net Metering Credits
Total number of net metering credits expired after April 30, 2019. | [5 empty] | 2730050
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED: | 52870802
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED: | 21340949
kWh exported to Puget Sound Energy's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 32084953
Note: Some customer-generators with net metering systems do not have a production meter.
*See PSE data definitions and calculations on next tab
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Puget Sound Energy's net metering tariff
that are interconnected to Puget Sound Energy's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of April 30, 2019
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Bio-Methane from Dairy Digester | 7 | 4507 | 643.8571
Bio-Methane from Waste Water Treatment | 2 | 585 | 292.5
Landfill Methane | 2 | 5700 | 2850
Hydro | 5 | 7220 | 1444
PV | 8 | 1614 | 201.75 | 2 | 256 | 128 | Sched 91
Wind | 3 | 4478 | 1492.6667
Truck test facility2 | 2 | 6500 | 3250
Battery Storage | 1 | 2000 | 2000
Totals | 30 | 32604 |  | 2 | 256
* Nameplate capacity reported AC
2 Truck test facility utilizes AC dynamometers for generative braking in multiple stationary test cells
† "Other" includes hybrid technologies interconnected as a single customer-generation system.

## calcs for Annl Enrgy Prod table
| Internal PSE Term | Details | UTC Term on Report | All Net Metered Systems | From Systems where Metered Production > 0
A | Delivered | kWhs from Grid to Customer, measured by Register 1 of Net Meter | N/A | 92479917 | 88642690
B | Returned | kWhs from Customer to Grid, measured by Register 2 of Net Meter | Delivered | 32084953 | 31529853
C | Production | Sum Production Meters behind net meters (includes Production and Production Subtracted registers) | Produced | 52870802 | 52870802
| N/A | Production (C ) - Returned (B) for all with Production > 0 | Consumed |  | 21340949
| Consumption | A Customer's total energy consumption is Production (C ) + Delivered from grid (A) - Returned to grid (B) | N/A |  | 109983639
PSE report pulls from energy BILLED during periods May 2018 - April 2019. "Valid From” field is interpreted as the Net Meter Installation Date. Further, it’s assumed that depending on the date, it takes a month or two for produced/delivered/returned energy to be reflected on a bill. Therefore, If the Net Meter installation is before the 15th of a month, then the billed data for the current month is excluded from the analysis. If the Net Meter installation was after the 15th of a month, then the current + following month is excluded.