## Sheet1
PacifiCorp
State of Washington
Classification of Fixed Generation Costs
Lithium-Ion Battery, 50 MW, 200 MWh
1 | Fixed Cost per kW-year1 | 223.65
2 | Cost per MWh to Charge2 | 75.832
3 | Hours of Operation | 12
4 | Storage Efficiency2 | 85%
5 | Total Cost of Charging | 1.0706 | Line 2 / 1000 / Line 4 X Line 3
6 | Total Cost 1 kW-year, 12 Hours | 224.7206 | Line 1 + Line 5
Medicine Bow, WY, 200 MW Wind, CF: 43.6% (100%PTC)
7 | Fixed Cost per kW-year3 | 120.28
8 | Average Output Requirement @ 65.0% Load Factor4 | 5694 | 8,760 X 85.4%
9 | Output @ 43.6% Capacity Factor3 | 3819.36 | 8,760 X 43.6%
10 | Total kW Capacity Required | 1.4908 | Line 8 / Line 9
11 | Total Fixed Costs | 179.3165 | Line 7 X Line 10
12 | Demand Related Cost @ 30% Capacity Contribution5 | 100.0269 | Line 10 X 30% X Line 1
13 | Total Energy Related Cost | 79.2896 | Line 11 - Line 12
14 | Demand Component | 73.92% | Line 6 / (Line 6 + Line 13)
15 | Energy Component | 26.08% | 100% - Line 14
Footnotes -
1 - See page 177 of PacifiCorp's 2021 Integrated Resource Plan, Volume I.
2 - See page 183 of PacifiCorp's 2021 Integrated Resource Plan, Volume I.
3 - See page 176 of PacifiCorp's 2021 Integrated Resource Plan, Volume I.
4 - 65.0% is the load factor for the PacifiCorp system for the 12 month period ended June 2022.
5 - See page 220 of PacifiCorp's 2021 Integrated Resource Plan, Volume II.