## Sheet1
PacifiCorp
Summary of Average Installed Costs
For Meters and Associated Equipment
WY and WA do not have AMI
Costs are valid for AMI states (2022)
|  | NON-RF |  | RF |  | Bi-Directional |  | AMI including Bi-Directional
| Load Class | Standard | Costs without Travel Time | Standard | Costs without Travel Time | Standard | Costs without Travel Time | Standard | Costs without Travel Time
Residential
| Small Load | DM221A* | 118 | DM221A | 118 | DM221O | 175 | DM221J | 205
| All Electric House | DM221E* | 152 | DM221E | 152 | DM221O | 175 | DM221K | 223
0 - 10 kW
| kW = 0, 1 Phase (sec) | DM221A* | 118 | DM221A | 118 | DM221O | 175 | DM221J | 205
KWH Meter
| kW = 0, 3 Phase (sec) | DM241A* | 236 | DM241A | 236 | DM241A* | 236 | DM241D | 323
KWH Meter
| kW > 1, 1 Phase | DM221B* | 226 | DM221B | 226 | DM221O | 175 | DM221J | 205
Demand Meter
| kW > 1, 3 Phase | DM241B* | 262 | DM241B | 262 | DM241F | 256 | DM241D | 323
Demand Meter
11 - 100 kW
| 1 Phase | DM221B* | 226 | DM221B | 226 | DM221R | 224 | DM221J | 205
| 3 Phase W/O KVAR | na | KVARs are required
rsec
| 3 Phase With KVAR | DM241F | 256 |  |  |  |  | DM241D | 323 | TOU
|  | DM241B* | 262 | DM241B | 262 |  |  | DM241D | 323 | Demand only
100 - 300 kW
| 1 Phase (sec) | DM231GBB | 1075 |  |  |  |  | DM231FBB | 1174 | TOU
| 3 Phase W/O KVAR (sec) | na | KVARs are required
| 3 Phase With KVAR (sec) | DM271AEC | 1598 |  |  |  |  | DM271DEC | 1448
300 kW - 1000 kW
| 1 Phase (sec) | DM231GFE | 1970 | 1970 |  |  |  | DM231FFE | 2069
rsec
| 3 Phase W/O KVAR (sec) | na | KVARs are required
| 3 Phase With KVAR (sec) | DM271AEC | 1598 |  |  |  |  | DM271DEC | 1679
1000 kW and Over
| 3 Phase Secondary Volt | DM271AEG | 2027 |  |  |  |  | DM271DEG | 2108
Primary Metering
| 13.8 kV 3-wire | DM101ACBA | 11138
| 12.47 kV 4-wire Wye | DM121ACJAD | 11798
| 24.9 kV 4-wire Wye | DM121BFIAD | 14134
| 35 kV 4-wire Wye | DM131BBAH | 15795
*RF METER