Second Revision of Sheet No. 85-l

Canceling First Revision

WN U-60	of Sheet No. 85-l

# PUGET SOUND ENERGY

## Electric Tariff G

# SCHEDULE 85

LINE EXTENSIONS

(Including construction, ownership and maintenance of Company and

Customer/Applicant Owned Service Lines) (Continued)

  - The property owner, developer, or Applicant shall provide written notice to the Company that the provisions of 9.a) have been complied with prior to commencement of installation of the line extension.  The property owner, developer, or Applicant shall be responsible for the cost of relocating the facilities installed under this schedule if due to a change in grade within five (5) years of the date the facilities were installed if such grade change is due to errors, omissions or changes by the property owner, developer, Applicant or Customer.

- GOVERNMENTAL AUTHORITY:  The manner and type of construction of any extension or modification of the Company's distribution system shall be subject to applicable governmental authority or law, and any increase in costs resulting therefrom and not reimbursed by an agency of the government or other person or entity shall be paid by the Applicant(s), property owner, or developer served by such extension.

- POINT OF DELIVERY

  - The Primary voltage Point of Delivery will normally be that location which is, in the Company’s reasonable judgment, most conveniently located with respect to the Company’s transmission or distribution facilities.  For service at Primary voltages below 50,000 volts, this Point of Delivery will normally be at a point on the property line of the Premises to be serviced or, if acceptable to the Company, on the Applicant’s or Customer’s Premises adjacent to such property line, where Applicant/Customer and Company facilities interconnect.  For service at Primary voltages of 50,000 volts or more, this Point of Delivery will normally be at the point within a substation or on an electrical line where the Applicant-provided facilities and the Company facilities of 50,000 volts or more interconnect.  Where such substation is not on the Applicant’s Premises, the Applicant-provided facilities connecting to such remote substation must be Applicant-provided overhead or underground dedicated feeder(s) rated at 600 amps or more.  Applicant shall be responsible for all operating rights necessary for such Applicant-provided feeder(s).  The Applicant or Customer may, if acceptable to the Company, provide such feeder(s) through a separate agreement with and acceptable to the Company.  Any such agreement shall only be available as part of the Company’s bundled retail service.  Each Applicant or Customer, regardless of the voltage at which distribution service is provided, shall be deemed to be connected at the Point of Delivery to the Company’s distribution system facilities that are subject to the jurisdiction of the Washington Utilities and Transportation Commission.  The Company shall provide Primary metering facilities at the Point of Delivery, and the incremental cost of such facilities in excess of Secondary metering facilities shall be included in the total costs to provide service under this schedule, and shall not be subject to offset against any Margin Allowance.  The Applicant shall install, own, and maintain all facilities on the Applicant’s (Customer's) side of the Primary metering facilities.

(N)

(N)

(M)(C)

|

|  (C)

|

|

|  (C)

|

|

|  (N)

|

|  (C)

(M)

(N)

(N)

(C)

(C)

(K)  |

|    |

|  (C)

|

|

|  (C)

|

|

|

|

|

|

|  (C)

(K)

(M) Transferred from Sheet No. 85-k    (K) Transferred to Sheet No. 85-m

## Issued:  December 19, 2005		Effective:  January 19, 2006

Advice No.:   2005-49

Issued By Puget Sound Energy

| By: |  | Tom DeBoer Title: Director, Rates & Regulatory Affairs |
| --- | --- | --- |