This 2008 Integrated Resource Plan (IRP) Report is based upon the best available information at the time of preparation. The IRP action plan will be implemented as described herein, but is subject to change as new information becomes available or as circumstances change. It is PacifiCorp’s intention to revisit and refresh the IRP action plan no less frequently than annually. Any refreshed IRP action plan will be submitted to the State Commissions for their information.

For more information, contact:

PacifiCorp

IRP Resource Planning

825 N.E. Multnomah, Suite 600

Portland, Oregon 97232

(503) 813-5245

IRP@PacifiCorp.com

http://www.PacifiCorp.com

This report is printed on recycled paper

Cover Photos (Left to Right):

Wind: Foot Creek 1

Hydroelectric Generation: Yale Reservoir (Washington)

Demand side management: Agricultural Irrigation

Thermal-Gas: Currant Creek Power Plant

Transmission: South Central Wyoming line

Table of Contents

Table of Contents	i

Index of Tables	iii

Index of Figures	iv

Appendix A – Detail Capacity Expansion Results	1

Area Charts: Portfolio Capacity Additions by Resource Type	6

Area Charts: “B-Series” – Portfolio Capacity Additions by Resource Type	30

Core Cases – Pivot Summary	35

Core Cases – 20-Year Summary by Scenario Variable	41

Resource Type Summary	44

Detailed Portfolio Data	52

Renewable Portfolio Summary by Case	52

B-Series Portfolio RPS Summary	100

Portfolio Summary Tables	110

Notes for the Portfolio Resource Tables	110

B-Series Portfolio Summary Tables	171

Resource Differences, B-Series Less Corresponding Original Portfolios	189

2008 Preferred Portfolio	192

Appendix B – Stochastic Production Cost Simulation Results	195

Probability-weighted Stochastic Measure Results	199

Portfolio Measure Rankings and Preference Scores	203

Portfolio PVRR Cost Component Comparison	216

Appendix C – IRP Regulatory Compliance	223

Background	223

General Compliance	223

California	225

Idaho	225

Oregon	225

Utah	225

Washington	226

Wyoming	226

Appendix D – Public Input Process	253

Participant List	253

Commissions	254

Intervenors	254

Others	254

Public Input Meetings	255

General Meetings	255

February 29, 2008	255

May 22, 2008	255

May 23, 2008	255

June 26, 2008	256

November 12, 2008 (Conference Call)	256

December 18, 2008	256

January 7, 2009	256

February 2, 2009	257

March 11, 2009 (Conference Call)	257

March 19, 2009 (Conference Call) Utah Parties	257

State Meetings	257

April 9, 2008 (Utah)	257

April 10, 2008 (Wyoming)	257

April 21, 2008 (Oregon / California)	258

April 22, 2008 (Washington)	258

April 23, 2008 (Idaho)	258

May 14, 2008 (Utah)	258

Parking Lot Issues	259

Public Review of IRP Draft Document	259

Contact Information	259

Appendix E – State Load Forecast	261

Load Forecast 	State Level Summaries	261

State Summaries	261

Oregon	261

Washington	262

California	263

Utah	263

Idaho	265

Wyoming	265

February 2009 Load Forecast Update	267

February 2009 Energy Forecast	267

February 2009 System-Wide Coincident Peak Load Forecast	267

Appendix F – Wind Integration Costs and Capacity Planning Contributions	269

Wind Integration Costs	270

Background	270

Determination of Incremental Reserve (“Intra-Hour”) Requirements	271

Actual Variation	271

Regulate Down	272

Regulate Up	272

System Balancing (“Inter-Hour”) Cost Calculation	272

Day-ahead Variation	272

Hour-ahead variation	274

Determination of Incremental Reserve (“Intra-Hour”) Requirements	275

Incremental Reserve (“Intra-Hour”) Cost Calculation	276

Conclusion	277

Tools, Approaches, And External Opportunities	278

Wind Capacity Planning Contribution	281

Appendix G – DSM Decrement Analysis	285

Class 2 DSM Decrement Analyses	285

Modeling Results	285

Appendix H – Load and Resource Balance with Lake Side II Included as a Planned Resource in 2012	291

Index of Tables

Table A.1 – Core Case Definitions	2

Table A.2 – Sensitivity and Business Plan Reference Case Definitions	3

Table A.3 – Resource Name and Description	4

Table A.4 – Pivot Summary Year 2009 to 2013 (Medium Load Growth Only)	35

Table A.5 – Pivot Summary Year 2014 to 2020 (Medium Load Growth Only)	37

Table A.6 – Pivot Summary Year 2021 to 2028 (Medium Load Growth Only)	39

Table A.7 – 20-year Summary by Scenario Variable, Load Growth	41

Table A.8 – 20-year Summary by Scenario Variable, CO2 level	42

Table A.9 – 20-year Summary by Scenario Variable, Natural Gas Price Forecast	43

Table A.10 – Total Aggregate Capacity Additions for 20 years	44

Table A.11 – Total Wind Aggregate Capacity Additions for 20 years	45

Table A.12 – Total Market Purchases Capacity Additions for 20 years	46

Table A.13 – Total Gas Capacity Additions for 20 years	47

Table A.14 – Total Conventional Coal Capacity Additions for 20 years	48

Table A.15 – Total Clean Coal Capacity Additions for 20 years	49

Table A.16 – Total Demand-side Management Capacity Additions for 20 years	50

Table A.17 – Total Other Capacity Additions for 20 years	51

Table A.18 – Planned Resources	111

Table A.19 – Resource Capacity Differences, Case 2B less Original Case 2 Portfolio	189

Table A.20 – Resource Capacity Differences, Case 5B less Original Case 5 Portfolio	189

Table A.21 – Resource Capacity Differences, Case 5B CCCT Dry less Original Case 5B Portfolio	189

Table A.22 – Resource Capacity Differences, Case 5B CCCT Wet less Original Case 5 Portfolio	190

Table A.23 – Resource Capacity Differences, Case 8B less Original Case 8 Portfolio	190

Table A.24 – Resource Capacity Differences, Case 9B less Original Case 9 Portfolio	190

Table A.25 – Resource Capacity Differences, Case 10B less Original Case 10 Portfolio	191

Table A.26 – Resource Capacity Differences, Case 17B less Original Case 17 Portfolio	191

Table A.27 – Resource Capacity Differences, Case 18B less Original Case 18 Portfolio	191

Table A.28 – Resource Capacity Differences, Case 47B less Original Case 47 Portfolio	192

Table B.1 – Stochastic Mean PVRR by CO2 Tax Level, B Series Portfolios	195

Table B.2 – Stochastic Risk Results by CO2 Tax Level, B Series Portfolios	195

Table B.3 – B Series Cases, Portfolio Emissions Externality Cost by CO2 Adder Level	196

Table B.4 – B Series Cases, CO2 Cost Exposure (non-weighted)	197

Table B.5 – B Series Cases, Customer Rate Impact	197

Table B.6 – B Series Cases, Average Annual Energy Not Served	198

Table B.7 – B Series Cases, Loss of Load Probability for a Major July Event	198

Table B.8 – B Series Cases, Capital Costs for 2009-2018	198

Table B.9 – Original Portfolio Stochastic Cost Results	199

Table B.10 – Stochastic Cost Results based on Probability-weighted CO2 Tax Levels	201

Table B.11 – $15/ton Expected-value CO2 Tax	203

Table B.12 – $20/ton Expected-value CO2 Tax	204

Table B.13 – $25/ton Expected-value CO2 Tax	205

Table B.14 – $30/ton Expected-value CO2 Tax	206

Table B.15 – $35/ton Expected-value CO2 Tax	207

Table B.16 – $40/ton Expected-value CO2 Tax	208

Table B.17 – $45/ton Expected-value CO2 Tax	209

Table B.18 – $50/ton Expected-value CO2 Tax	210

Table B.19 – $55/ton Expected-value CO2 Tax	211

Table B.20 – $60/ton Expected-value CO2 Tax	212

Table B.21 – $65/ton Expected-value CO2 Tax	213

Table B.22 – $70/ton Expected-value CO2 Tax	214

Table B.23 – Alternate Performance Ranking Scheme Including the Upper-Tail Mean PVRR	215

Table B.24 – Core Case: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)	216

Table B.25 – Sensitivity Case: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)	219

Table B.26 – B-Series Cases: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)	221

Table C.1 – Integrated Resource Planning Standards and Guidelines Summary by State	227

Table C.2 – Handling of 2007 IRP Acknowledgement and Other IRP Requirements	230

Table C.3 – Oregon Public Utility Commission IRP Standard and Guidelines	237

Table C.4 – Utah Public Service Commission IRP Standard and Guidelines	243

Table C.5 – Washington Utilities and Trade Commission IRP Standard and Guidelines (WAC 480-100-238)	248

Table E.1 – Forecasted Sales Growth in Oregon	261

Table E.2 – Forecasted Retail Sales Growth in Washington	262

Table E.3 – Forecasted Retail Sales Growth in California	263

Table E.4 – Forecasted Retail Sales Growth in Utah	264

Table E.5 – Forecasted Retail Sales Growth in Idaho	265

Table E.6 – Forecasted Retail Sales Growth in Wyoming	265

Table E.7 – February 2009 Annual Load Growth forecasted in Megawatt-hours	267

Table E.8 – February 2009 Forecasted Coincidental Peak Load in Megawatts	267

Table F.1 – 2008 IRP Preferred Portfolio Wind Resource Additions by Year	269

Table F.2 – Wind Inter-hour Day-Ahead Balancing Transaction Costs	273

Table F.3 – Inter-hour Hour-Ahead Balancing Transaction Cost Ranges	275

Table F.4 – Wind Inter-hour Hour-Ahead Balancing Transaction Costs	275

Table F.5 – Total Wind System Intra-hour Reserve Requirement (MW)	276

Table F.6 – Costs for Wind Intra-hour Incremental Reserves	277

Table F.7 – Wind Integration Costs (2009 Dollars)	278

Table F.8 – Incremental Capacity Contributions from Proxy Wind Resources	282

Table G.1 – Annual Nominal Avoided Costs for Decrements, $8 CO2 Tax, 2010-2017	285

Table G.2 – Annual Nominal Avoided Costs for Decrements, $8 CO2 Tax, 2018-2026	286

Table G.3 – Annual Nominal Avoided Costs for Decrements, $45 CO2 Tax, 2010-2017	287

Table G.4 – Annual Nominal Avoided Costs for Decrements, $45 CO2 Tax,  2018-2026	288

Table H.1 – Capacity Loads and Resources including Lake Side II (12% Target Reserve Margin)	291

Table H.2 – System Capacity Loads and Resources including Lake Side II (15% Target Reserve Margin)	292

Index of Figures

Figure F.1 –Hour-Ahead Variation Frequency Distribution	274

Figure G.1 – East Decrement Price Trends	286

Figure G.2 – West Decrement Price Trends	287

Figure G.3 – East Decrement Price Trends for $45 CO2 Tax Level	288

Figure G.4 – West Decrement Price Trends for $45 CO2 Tax Level	289

Figure H.1 – System Capacity Position Trend including Lake Side II	292

Figure H.2 – East Capacity Position Trend including Lake Side II	293

Figure H.3 – System Average Monthly and Annual Energy Balances including Lake Side II	293

Figure H.4 – East Average Monthly and Annual Energy Balances including Lake Side II	294

Appendix A – Detail Capacity Expansion Results

This appendix provides additional System Optimizer results for each of the cases studied during the 2008 IRP.  A prior version of this appendix was provided to IRP public participants in December 2008 and later updated.  New to this appendix are the additional “B-Series” cases and their respective charts and tables which are at the end of each section of this appendix.  The follow bullets layout this appendix;

Reference Information

- Case Definition List

- Resource Name List

Charts and Pivot Summaries

- Portfolio Area Charts

  - “B-Series” Area Charts

- Core Cases – Pivot Summary

  - 2009 to 2013

  - 2014 to 2020

  - 2021 to 2028

- Core Cases – 20-Year Summary by Scenario Variable

  - CO2 Tax Level

  - Gas Price Curves

  - Load Growth Level

- Core Cases – Resource Type Summary

Detail Portfolio Data

- Portfolio RPS Summary

- Portfolio Summary Tables

- B Series Delta Summary Comparison

Table A.1 – Core Case Definitions

Table A.2 – Sensitivity and Business Plan Reference Case Definitions

Table A.3 – Resource Name and Description

| Plant | Side | Description |
| --- | --- | --- |
| CCS Hunter3 | East | IRP Carbon Capture & Sequestration Hunter 3 |
| Coal Plant Turbine Upgrades | East | Coal Plant Turbine Upgrades |
| UT IGCC CCS | East | IRP Utah Integrated Gasificafication Combine Cycle Carbon Capture & Sequestration |
| UT Pulverized Coal | East | IRP Utah Pulverized Coal |
| UT Pulverized Coal CCS | East | IRP Utah Pulverized Coal Carbon Capture & Sequestration |
| WY IGCC CCS | East | IRP Wyoming Integrated Gasificafication Combine Cycle Carbon Capture & Sequestration |
| WY Pulverized Coal | East | IRP Wyoming Pulverized Coal |
| WY Pulverized Coal CCS | East | IRP Wyoming Pulverized Coal Carbon Capture & Sequestration |
| CCS Bridger1 | West | IRP Carbon Capture & Sequestration Bridger 1 |
| CCS Bridger2 | West | IRP Carbon Capture & Sequestration Bridger 2 |
| CCCT F 1x1 | East / West | Combine Cycle Combustion Turbine F-Machine 1x1 with Duct Firing |
| CCCT F 2x1 | East / West | Combine Cycle Combustion Turbine F-Machine 2x1 with Duct Firing |
| CCCT G 1x1 | East / West | Combine Cycle Combustion Turbine G-Machine 1x1 with Duct Firing |
| CCCT H 2x1 | East / West | Combine Cycle Combustion Turbine H-Machine 2x1 with Duct Firing |
| ICE | East / West | Internal Combustion Engine |
| IC Aero | East / West | Simple Cycle Combustion Turbine Intercooled Aero |
| SCCT Aero | East / West | Simple Cycle Combustion Turbine Aero Dérivative |
| SCCT Frame | East / West | Simple Cycle Combustion Turbine Frame |
| Geothermal | East / West | Geothermal (East-Blundell,East-Greenfield, West-Greenfield) |
| Nuclear | East / West | Nuclear |
| Battery Storage | East / West | Battery Storage |
| Utility Biomass | East / West | Utility Biomass |
| CAES | East / West | Compressed Air Energy Storage |
| CHP - Biomass | East / West | Combined Heat and Power - Biomass |
| CHP - Reciprocating Engine | East / West | Combined Heat and Power - Reciprocating Engine |
| CHP - Kern River | East / West | Combined Heat and Power - Kern River (Recovered Energy Generation) |
| CHP - Other | East / West | Combined Heat and Power - Other |
| Distributed Standby Generation | East / West | Distributed Standby Generation |
| Fuel Cell | East / West | Fuel Cell |
| Pump Storage | East / West | Pump Storage |
| Wave | West | Wave (Hydrokinetic) |
| Solar | East / West | Solar Concentrating (PV) |
| Solar Gas | East / West | Solar Concentrating (PV, Natural Gas Backup) |
| Solar Storage | East / West | Solar Concentrating (Trough, Thermal Storage) |
| Micro Solar | East / West | Micro Solar - Roof-top PV |
| DSM, Class 1, UT-Coolkeeper | East / West | DSM - Class 1 - Utah Coolkeeper |
| DSM, Class 1, [Bubble]-Curtail * | East / West | IRP DSM Class 1 [Bubble] Curtailment |
| DSM, Class 1, [Bubble]-DLC-Com * | East / West | IRP DSM Class 1 [Bubble] Direct Load Control-Commercial |
| DSM, Class 1, [Bubble]-DLC-RES * | East / West | IRP DSM Class 1 [Bubble] Direct Load Control-Residential |
| DSM, Class 1, [Bubble]-DLC-WH * | East / West | IRP DSM Class 1 [Bubble] Direct Load Control-Water Heater |
| DSM, Class 1, [Bubble]-Irrigate * | East / West | IRP DSM Class 1 [Bubble] Irrigation |
| DSM, Class 1, [Bubble]-Sch-TES * | East / West | IRP DSM Class 1 [Bubble] Scheduled-Thermal Energy Storage |
| DSM, Class 3, [Bubble]-CPP-CI * | East / West | IRP DSM Class 3 [Bubble] Critical Peak Pricing-Small commercial |
| DSM, Class 3, [Bubble]-CPP-RES * | East / West | IRP DSM Class 3 [Bubble] Critical Peak Pricing-Residential |
| DSM, Class 3, [Bubble]-DemandB * | East / West | IRP DSM Class 3 [Bubble] Demand Buyback-Ind/Comm |
| DSM, Class 3, [Bubble]-RTP-CI * | East / West | IRP DSM Class 3 [Bubble] Time-of-Use - Small Commercial |
| DSM, Class 3, [Bubble]-TOU-RES * | East / West | IRP DSM Class 3 [Bubble] Time-of-Use - Residential |
| DSM, Class 2, [Bubble] | East | DSM, Class 2, - Goshen, Utah, Total Wyoming, Washington, West Main, Yakima |
| Wind, [Bubble], 24 | East / West | [Bubble] Wind 24% Capacity Factor |
| Wind, [Bubble], 29 | East / West | [Bubble] Wind 29% Capacity Factor |
| Wind, [Bubble], 35 | East / West | [Bubble] Wind 35% Capacity Factor |
| Wind, Project I | East | Wind, Project I |
| Wind, Project II | East | Wind, Project II |
| Wind, Duke Energy PPA | East | Wind, Duke Energy PPA |
| Wind, HighPlains | East | Wind, High Plains |
| Wind PPA | West | Wind Power Purchase Agreement |
| 2012 RFP Lake Side | East | 2012 RFP Lake Side 2 *** |
| East PPA | East | East Power Purchase Agreement |
| Coal & Gas Capacity Upgrades | East | Coal & Gas Capacity Turbine Upgrades |
| Coal Plant Turbine Upgrades | West | Coal Plant Turbine Upgrades |
| Blundell 3 | East | Blundell Geothermal 3 (Expansion) |
| Swift Hydro Upgrades | West | Swift Hydro Upgrades |
| FOT [Market Bubble] Q3 ** | East | Front Office Transaction - 3rd Quarter HLH Product |
| FOT [Market Bubble] Flat ** | East | Front Office Transaction - Flat Annual Product |
| Growth Resource [Bubble] | East / West | Growth Resource (Goshen, Utah North, Wyoming, Walla Walla, West Main, Yakima) |
| Notes on Market and Topology Bubbles: |  |
| Please see the Transmission Topology chart for the "bubbles" used for location of modeled resource options. |
| * Topology Bubbles: Goshen (GO), Utah (UT), WYAE (Wyoming Aeolus), MC (Mid-Columbia), WM (West Main), WW (Walla Walla), YA (Yakima) |
| WYSW (Wyoming Southwest) |  |  |
| ** Market Bubble: Mead, Mona, Utah, California Oregon Border, Mid-Columbia, West Main, Nevada-Utah Border (NUB) |
| *** The 2012 RFP Lake Side 2 resource option was removed in February 2009 during the planning process. |

Test Heading

Area Charts: Portfolio Capacity Additions by Resource Type

Area Charts: “B-Series” – Portfolio Capacity Additions by Resource Type

Core Cases – Pivot Summary

Table A.4 – Pivot Summary Year 2009 to 2013 (Medium Load Growth Only)

Table A.5 – Pivot Summary Year 2014 to 2020 (Medium Load Growth Only)

Table A.6 – Pivot Summary Year 2021 to 2028 (Medium Load Growth Only)

Core Cases – 20-Year Summary by Scenario Variable

This section provides the 47 core cases 20-Year summarization for Load Growth, CO2 Tax Levels and Natural Gas Forward Price Curves.  Additionally a Minimum and Maximum value for each resource group is provide at the bottom.

Table A.7 – 20-year Summary by Scenario Variable, Load Growth

Table A.8 – 20-year Summary by Scenario Variable, CO2 level

Table A.9 – 20-year Summary by Scenario Variable, Natural Gas Price Forecast

Resource Type Summary

In the following tables, resource additions are reported at capacity megawatts accrued as of the year listed.

Table A.10 – Total Aggregate Capacity Additions for 20 years

Table A.11 – Total Wind Aggregate Capacity Additions for 20 years

Table A.12 – Total Market Purchases Capacity Additions for 20 years

Table A.13 – Total Gas Capacity Additions for 20 years

Table A.14 – Total Conventional Coal Capacity Additions for 20 years

Table A.15 – Total Clean Coal Capacity Additions for 20 years

Table A.16 – Total Demand-side Management Capacity Additions for 20 years

Table A.17 – Total Other Capacity Additions for 20 years

Detailed Portfolio Data

Renewable Portfolio Summary by Case

For each case, PacifiCorp generated an RPS compliance report. This report shows the annual system RPS requirements, REC bank balances, REC-adjusted qualifying generation, RPS compliance percentages, and the system load used in the calculations. The report also includes a line chart comparing the RPS compliance and system generation requirements percentages for both the base and high RPS scenarios (Expected REQ and High REQ, respectively).  See Chapter 7 “Representation and Modeling of Renewable Portfolio Standards” for additional information.

B-Series Portfolio RPS Summary

Portfolio Summary Tables

Notes for the Portfolio Resource Tables

- Nameplate Capacity, MW

- Nameplate capacities are reported for wind resources

- Gas resource capacities reflect average annual capability rather than the generator nameplate. For combined-cycle resources, the values shown approximate the July maximum capabilities

- Class 2 DSM resources (energy efficiency) capacities reflect summer peak values

- Capacities shown for the coal plant CCS (carbon capture and sequestration) retrofits represent replacement capacity for an existing unit; the replacement capacity is smaller than the original unit size, which is due to a capacity penalty for capturing the CO2

- Capacities for all other resources represent maximum summer capabilities

- Swift 1 Upgrades – The three Swift upgrade projects (25 MW each) are shown under the year for which they enter commercial service (2012, 2013, and 2014); however, the planned in-service dates occur after the system peaks for these years. They are available to support the summer peak load in 2013, 2014, and 2015, respectively.

- High Plains and Duke PPA Wind Projects – The High Plains wind project has an October December 2009 in-service date, and is therefore shown under the year for which it enters commercial service (2009); the Duke project has a December 2009 in-service date, but is modeled with a start date of January 1, 2010, and is therefore shown in the year it is available to support the summer peak load (2010).

- Front Office Transactions – For the 10- and 20-year total columns, the megawatts represent the annual average values, as these resources are not accumulative over the planning period.

- Growth Stations – For the 20 Year column “Growth Resources” reflect an 8-year average for 2021-2028, the period that these resources are available for selection by the System Optimizer model.

- The resources shown with a zero are less than 0.5 megawatts

- Short-term resource totals at the bottom of the tables comprise the sum of front office transactions and growth resources

Table A.18 – Planned Resources

Note: The 2012 RFP Lake Side resource was removed as a planned resource in February 2009.

B-Series Portfolio Summary Tables

Resource Differences, B-Series Less Corresponding Original Portfolios

Table A.19 – Resource Capacity Differences, Case 2B less Original Case 2 Portfolio

Table A.20 – Resource Capacity Differences, Case 5B less Original Case 5 Portfolio

Table A.21 – Resource Capacity Differences, Case 5B CCCT Dry less Original Case 5B Portfolio

Table A.22 – Resource Capacity Differences, Case 5B CCCT Wet less Original Case 5 Portfolio

Table A.23 – Resource Capacity Differences, Case 8B less Original Case 8 Portfolio

Table A.24 – Resource Capacity Differences, Case 9B less Original Case 9 Portfolio

Table A.25 – Resource Capacity Differences, Case 10B less Original Case 10 Portfolio

Table A.26 – Resource Capacity Differences, Case 17B less Original Case 17 Portfolio

Table A.27 – Resource Capacity Differences, Case 18B less Original Case 18 Portfolio

Table A.28 – Resource Capacity Differences, Case 47B less Original Case 47 Portfolio

2008 Preferred Portfolio

This section consists of tables and charts showing System Optimizer results for the 2008 IRP preferred portfolio.

Appendix B – Stochastic Production Cost Simulation Results

This appendix reports additional results for the Monte Carlo production cost simulations conducted with PacifiCorp’s Planning and Risk model. These results supplement the data presented in Chapter 8 of the main IRP document. The results presented include the following:

- Stochastic risk and other portfolio performance measures for the additional portfolios modeled to support a 2012 gas resource deferral strategy (referred to as the “B series” in this appendix)

- A component cost breakdown of the stochastic mean Present Value of Revenue Requirements (PVRR) reported for all the portfolios.

Table B.1 – Stochastic Mean PVRR by CO2 Tax Level, B Series Portfolios

| Case | CO2 Tax (Million 2009$) |
| --- | --- |
|  | $0/ton | $45/ton | $100/ton | Average |
| 2B | 22,126 | 40,062 | 60,448 | 40,879 |
| 5B | 22,554 | 39,452 | 58,664 | 40,224 |
| 5B_CCCT Dry | 22,462 | 39,369 | 58,751 | 40,194 |
| 5B_CCCT Wet | 22,457 | 39,315 | 58,639 | 40,137 |
| 8B | 23,402 | 39,673 | 57,809 | 40,295 |
| 9B | 22,778 | 39,725 | 59,031 | 40,511 |
| 10B | 23,921 | 40,261 | 58,542 | 40,908 |
| 17B | 25,569 | 40,539 | 56,798 | 40,968 |
| 18B | 25,102 | 40,353 | 57,136 | 40,864 |
| 47B | 22,658 | 40,507 | 60,872 | 41,346 |

Table B.2 – Stochastic Risk Results by CO2 Tax Level, B Series Portfolios

| Case | Risk Measure by CO2 Tax Level (Million 2009$) |
| --- | --- |
|  | Production Cost Standard Deviation | 5th Percentile | 95th Percentile | Upper-Tail Mean |
| $0/ton CO2 Tax |
| 2B | 8,702 | 12,646 | 36,914 | 50,630 |
| 5B | 8,859 | 13,441 | 37,820 | 51,782 |
| 5B_CCCT Dry | 9,140 | 13,595 | 37,386 | 52,993 |
| 5B_CCCT Wet | 9,103 | 13,601 | 37,349 | 52,874 |
| 8B | 8,267 | 14,270 | 37,697 | 50,203 |
| 9B | 8,955 | 13,644 | 38,113 | 52,426 |
| 10B | 8,350 | 14,832 | 38,506 | 51,241 |
| 17B | 7,583 | 16,363 | 38,434 | 49,330 |
| 18B | 7,905 | 15,901 | 38,712 | 50,424 |
| 47B | 8,737 | 13,367 | 37,074 | 51,363 |
| $45/ton CO2 Tax |
| 2B | 11,114 | 25,686 | 59,314 | 73,178 |
| 5B | 11,211 | 25,130 | 59,065 | 73,171 |
| 5B_CCCT Dry | 11,480 | 24,932 | 58,565 | 74,252 |
| 5B_CCCT Wet | 11,433 | 24,917 | 58,391 | 74,029 |
| 8B | 10,593 | 26,224 | 58,397 | 70,946 |
| 9B | 11,303 | 25,304 | 59,415 | 73,857 |
| 10B | 10,720 | 26,463 | 59,354 | 72,143 |
| 17B | 9,825 | 26,977 | 57,866 | 68,742 |
| 18B | 10,178 | 27,621 | 58,429 | 70,111 |
| 47B | 11,165 | 26,098 | 59,398 | 73,800 |
| $100/ton CO2 Tax |
| 2B | 16,792 | 38,762 | 90,087 | 106,209 |
| 5B | 16,817 | 36,998 | 88,526 | 104,917 |
| 5B_CCCT Dry | 17,186 | 37,396 | 88,207 | 106,410 |
| 5B_CCCT Wet | 17,142 | 37,433 | 87,959 | 106,144 |
| 8B | 16,038 | 36,943 | 86,765 | 101,179 |
| 9B | 16,912 | 37,252 | 88,957 | 105,723 |
| 10B | 16,250 | 37,635 | 88,046 | 102,765 |
| 17B | 14,990 | 37,546 | 84,231 | 96,591 |
| 18B | 15,453 | 37,354 | 85,373 | 98,767 |
| 47B | 16,941 | 39,461 | 90,319 | 107,006 |
| CO2 Tax Average |
| 2B | 12,202 | 25,698 | 62,105 | 76,672 |
| 5B | 12,296 | 25,190 | 61,804 | 76,623 |
| 5B_CCCT Dry | 12,602 | 25,308 | 61,386 | 77,885 |
| 5B_CCCT Wet | 12,559 | 25,317 | 61,233 | 77,682 |
| 8B | 11,633 | 25,813 | 60,953 | 74,109 |
| 9B | 12,390 | 25,400 | 62,162 | 77,335 |
| 10B | 11,773 | 26,310 | 61,969 | 75,383 |
| 17B | 10,799 | 26,962 | 60,177 | 71,554 |
| 18B | 11,179 | 26,959 | 60,838 | 73,101 |
| 47B | 12,281 | 26,308 | 62,264 | 77,390 |

Table B.3 – B Series Cases, Portfolio Emissions Externality Cost by CO2 Adder Level

| Case | Incremental Stochastic Mean PVRR by CO2 Tax Level (Million 2009$) |
| --- | --- |
|  | $0/ton | $45/ton | $100/ton | Average |
| 2B | 0 | 17,936 | 38,322 | 28,129 |
| 5B | 0 | 16,898 | 36,110 | 26,504 |
| 5B_CCCT Dry | 0 | 16,907 | 36,289 | 26,598 |
| 5B_CCCT Wet | 0 | 16,858 | 36,182 | 26,520 |
| 8B | 0 | 16,272 | 34,408 | 25,340 |
| 9B | 0 | 16,947 | 36,253 | 26,600 |
| 10B | 0 | 16,340 | 34,620 | 25,480 |
| 17B | 0 | 14,970 | 31,228 | 23,099 |
| 18B | 0 | 15,252 | 32,034 | 23,643 |
| 47B | 0 | 17,848 | 38,214 | 28,031 |

Table B.4 – B Series Cases, CO2 Cost Exposure (non-weighted)

| Case | CO2 Opportunity Loss by CO2 Tax Level, Million Dollars (2009$) | Maximum Loss | Rank |
| --- | --- | --- | --- |
|  | $0/ton | $45/ton | $100/ton |  |  |
| 2B | - | 793 | 3,943 | 3,943 | 9 |
| 5B | 474 | 171 | 2,081 | 2,081 | 4 |
| 5B_CCCT Dry | 360 | 62 | 2,152 | 2,152 | 5 |
| 5B_CCCT Wet | 353 | - | 2,028 | 2,028 | 3 |
| 8B | 1,315 | 359 | 1,139 | 1,315 | 1 |
| 9B | 712 | 461 | 2,470 | 2,470 | 6 |
| 10B | 1,875 | 994 | 1,935 | 1,935 | 2 |
| 17B | 3,520 | 1,198 | - | 3,520 | 8 |
| 18B | 3,066 | 1,040 | 396 | 3,066 | 7 |
| 47B | 541 | 1,242 | 4,379 | 4,379 | 10 |

Table B.5 – B Series Cases, Customer Rate Impact

| Case | Customer Rate Impact by CO2 Tax Level ($/MWh) | Rank |
| --- | --- | --- |
|  | $0/ton | $45/ton | $100/ton | Average |  |
| 2B | 3.00 | 6.42 | 10.12 | 6.51 | 8 |
| 5B | 3.03 | 6.25 | 9.74 | 6.34 | 4 |
| 5B_CCCT Dry | 3.06 | 6.22 | 9.65 | 6.31 | 2 |
| 5B_CCCT Wet | 3.05 | 6.20 | 9.62 | 6.29 | 1 |
| 8B | 3.19 | 6.31 | 9.62 | 6.38 | 5 |
| 9B | 3.02 | 6.24 | 9.73 | 6.33 | 3 |
| 10B | 3.32 | 6.45 | 9.79 | 6.52 | 10 |
| 17B | 3.67 | 6.43 | 9.26 | 6.45 | 7 |
| 18B | 3.59 | 6.40 | 9.32 | 6.44 | 6 |
| 47B | 3.05 | 6.43 | 10.08 | 6.52 | 9 |

Table B.6 – B Series Cases, Average Annual Energy Not Served

| Case | Energy Not Served, Average Annual GWh, 2009-2028 | Rank |
| --- | --- | --- |
| 2B | 132.2 | 3 |
| 5B | 169.7 | 9 |
| 5B_CCCT Dry | 153.7 | 6 |
| 5B_CCCT Wet | 152.4 | 5 |
| 8B | 154.5 | 7 |
| 9B | 184.3 | 10 |
| 10B | 156.7 | 8 |
| 17B | 131.7 | 2 |
| 18B | 144.6 | 4 |
| 47B | 131.3 | 1 |

Table B.7 – B Series Cases, Loss of Load Probability for a Major July Event

| Case | Probability of ENS Event > 25,000 MWh in July (Annual average, 2009-2028) | Rank |
| --- | --- | --- |
| 2B | 16.7% | 1 |
| 5B | 18.2% | 7 |
| 5B_CCCT Dry | 17.8% | 6 |
| 5B_CCCT Wet | 17.8% | 5 |
| 8B | 17.7% | 4 |
| 9B | 19.3% | 10 |
| 10B | 18.4% | 8 |
| 17B | 17.1% | 2 |
| 18B | 17.1% | 2 |
| 47B | 18.5% | 9 |

Table B.8 – B Series Cases, Capital Costs for 2009-2018

| Case | Net Present Value, (Thousand 2009$) | Rank |
| --- | --- | --- |
| 2B | 580,304 | 1 |
| 5B | 1,271,802 | 5 |
| 5B_CCCT Dry | 744,635 | 3 |
| 5B_CCCT Wet | 756,891 | 4 |
| 8B | 2,417,994 | 8 |
| 9B | 1,335,078 | 6 |
| 10B | 2,164,993 | 7 |
| 17B | 3,624,235 | 10 |
| 18B | 3,013,923 | 9 |
| 47B | 641,136 | 2 |

Probability-weighted Stochastic Measure Results

Tables B.9 and B.10 report the stochastic cost results for expected value CO2 tax levels ranging from $15 to $70. The expected value CO2 tax levels reflect probability weights applied to stochastic mean cost values for the three Monte Carlo simulations conducted for each portfolio at $0, $45, and $100 CO2 tax values.

Table B.9 – Original Portfolio Stochastic Cost Results

| Case | Expected Value CO2 Tax ($/ton) |
| --- | --- |
|  | $15 | $20 | $25 | $30 | $35 | $40 | $45 | $50 | $55 | $60 | $65 | $70 |
| Risk-adjusted PVRR, Million Dollars (2009$) |
| 1 | 30,487 | 32,588 | 34,505 | 36,603 | 38,708 | 40,813 | 42,918 | 45,022 | 47,127 | 51,632 | 51,337 | 53,442 |
| 2 | 29,962 | 32,050 | 33,955 | 36,002 | 38,056 | 40,110 | 42,164 | 44,218 | 46,272 | 50,677 | 50,380 | 52,434 |
| 3 | 32,372 | 34,236 | 35,936 | 37,697 | 39,464 | 41,231 | 42,998 | 44,765 | 46,533 | 50,961 | 50,067 | 51,834 |
| 5 | 30,453 | 32,423 | 34,219 | 36,152 | 38,092 | 40,031 | 41,971 | 43,910 | 45,850 | 50,226 | 49,729 | 51,668 |
| 8 | 30,789 | 32,681 | 34,406 | 36,234 | 38,068 | 39,903 | 41,737 | 43,571 | 45,406 | 49,734 | 49,074 | 50,909 |
| 9 | 30,575 | 32,544 | 34,339 | 36,272 | 38,210 | 40,149 | 42,087 | 44,026 | 45,965 | 50,352 | 49,842 | 51,781 |
| 10 | 31,504 | 33,389 | 35,109 | 36,948 | 38,794 | 40,639 | 42,484 | 44,330 | 46,175 | 50,588 | 49,866 | 51,712 |
| 11 | 33,043 | 34,845 | 36,489 | 38,192 | 39,900 | 41,609 | 43,318 | 45,026 | 46,735 | 51,191 | 50,153 | 51,862 |
| 14 | 34,835 | 36,586 | 38,183 | 39,808 | 41,439 | 43,070 | 44,702 | 46,333 | 47,964 | 52,537 | 51,226 | 52,858 |
| 17 | 32,562 | 34,305 | 35,895 | 37,559 | 39,230 | 40,900 | 42,570 | 44,240 | 45,910 | 50,297 | 49,250 | 50,920 |
| 18 | 32,478 | 34,247 | 35,861 | 37,558 | 39,262 | 40,965 | 42,669 | 44,372 | 46,075 | 50,480 | 49,482 | 51,186 |
| 19 | 32,937 | 34,686 | 36,281 | 37,954 | 39,633 | 41,311 | 42,990 | 44,669 | 46,348 | 50,780 | 49,706 | 51,385 |
| 20 | 35,293 | 36,904 | 38,373 | 39,885 | 41,403 | 42,920 | 44,438 | 45,955 | 47,473 | 52,022 | 50,508 | 52,026 |
| 22 | 36,646 | 38,279 | 39,769 | 41,277 | 42,791 | 44,305 | 45,820 | 47,334 | 48,849 | 53,523 | 1,877 | 53,392 |
| 24 | 37,077 | 38,624 | 40,037 | 41,471 | 42,911 | 44,350 | 45,790 | 47,230 | 48,670 | 53,339 | 51,549 | 52,989 |
| 25 | 34,237 | 35,896 | 37,410 | 38,976 | 40,548 | 42,120 | 43,692 | 45,264 | 46,836 | 51,318 | 49,979 | 51,551 |
| 26 | 36,850 | 38,424 | 39,860 | 41,330 | 42,808 | 44,285 | 45,762 | 47,239 | 48,716 | 53,392 | 51,670 | 53,148 |
| 27 | 37,041 | 38,591 | 40,005 | 41,441 | 42,883 | 44,324 | 45,766 | 47,208 | 48,650 | 53,317 | 51,533 | 52,975 |
| 29 | 39,348 | 40,885 | 42,289 | 43,709 | 45,136 | 46,563 | 47,990 | 49,416 | 50,843 | 55,730 | 53,697 | 55,124 |
| 46 | 31,620 | 33,678 | 35,556 | 37,571 | 39,592 | 41,614 | 43,635 | 45,656 | 47,678 | 52,224 | 51,720 | 53,742 |
| 47 | 30,622 | 32,689 | 34,574 | 36,600 | 38,632 | 40,665 | 42,697 | 44,730 | 46,763 | 51,219 | 50,828 | 52,861 |
| Cost Exposure for CO2 Tax Scenarios, Million Dollars (2009$) |
| 1 | 646 | 698 | 745 | 997 | 1,250 | 1,503 | 1,756 | 2,009 | 2,262 | 2,564 | 2,768 | 3,021 |
| 2 | 120 | 160 | 195 | 397 | 599 | 801 | 1,003 | 1,205 | 1,407 | 1,609 | 1,811 | 2,013 |
| 3 | 2,530 | 2,345 | 2,176 | 2,091 | 2,007 | 1,922 | 1,837 | 1,752 | 1,668 | 1,893 | 1,498 | 1,413 |
| 5 | 612 | 532 | 460 | 547 | 634 | 722 | 810 | 897 | 985 | 1,158 | 1,160 | 1,247 |
| 8 | 948 | 790 | 646 | 629 | 611 | 593 | 576 | 558 | 541 | 667 | 505 | 488 |
| 9 | 734 | 653 | 580 | 666 | 753 | 839 | 926 | 1,013 | 1,100 | 1,284 | 1,273 | 1,360 |
| 10 | 1,662 | 1,499 | 1,349 | 1,343 | 1,336 | 1,330 | 1,323 | 1,317 | 1,310 | 1,521 | 1,297 | 1,291 |
| 11 | 3,201 | 2,954 | 2,729 | 2,586 | 2,443 | 2,300 | 2,157 | 2,013 | 1,870 | 2,123 | 1,584 | 1,441 |
| 14 | 4,993 | 4,695 | 4,423 | 4,203 | 3,982 | 3,761 | 3,540 | 3,320 | 3,099 | 3,470 | 2,658 | 2,437 |
| 17 | 2,720 | 2,414 | 2,136 | 1,954 | 1,772 | 1,590 | 1,408 | 1,227 | 1,045 | 1,230 | 681 | 499 |
| 18 | 2,636 | 2,356 | 2,102 | 1,953 | 1,804 | 1,656 | 1,507 | 1,359 | 1,210 | 1,412 | 913 | 765 |
| 19 | 3,096 | 2,795 | 2,521 | 2,348 | 2,175 | 2,002 | 1,829 | 1,656 | 1,483 | 1,713 | 1,137 | 964 |
| 20 | 5,451 | 5,013 | 4,614 | 4,280 | 3,945 | 3,611 | 3,277 | 2,942 | 2,608 | 2,955 | 1,939 | 1,605 |
| 22 | 6,804 | 6,388 | 6,009 | 5,671 | 5,334 | 4,996 | 4,659 | 4,321 | 3,984 | 4,455 | 3,308 | 2,971 |
| 24 | 7,235 | 6,734 | 6,277 | 5,865 | 5,453 | 5,041 | 4,629 | 4,217 | 3,805 | 4,271 | 2,981 | 2,568 |
| 25 | 4,396 | 4,005 | 3,651 | 3,371 | 3,091 | 2,811 | 2,531 | 2,251 | 1,971 | 2,251 | 1,410 | 1,130 |
| 26 | 7,009 | 6,533 | 6,100 | 5,725 | 5,350 | 4,975 | 4,601 | 4,226 | 3,851 | 4,324 | 3,101 | 2,727 |
| 27 | 7,200 | 6,700 | 6,245 | 5,835 | 5,425 | 5,015 | 4,605 | 4,195 | 3,785 | 4,249 | 2,964 | 2,554 |
| 29 | 9,507 | 8,995 | 8,529 | 8,104 | 7,679 | 7,253 | 6,828 | 6,403 | 5,978 | 6,662 | 5,128 | 4,703 |
| 46 | 1,778 | 1,788 | 1,797 | 1,965 | 2,135 | 2,304 | 2,474 | 2,643 | 2,813 | 3,157 | 3,151 | 3,321 |
| 47 | 780 | 798 | 814 | 994 | 1,175 | 1,356 | 1,536 | 1,717 | 1,898 | 2,151 | 2,259 | 2,440 |
| Customer Rate Impact, Dollars per MWh (2009$) |
| 1 | 4.00 | 4.38 | 4.73 | 5.09 | 5.46 | 5.82 | 6.19 | 6.56 | 6.92 | 7.57 | 7.66 | 8.02 |
| 2 | 4.05 | 4.43 | 4.77 | 5.13 | 5.49 | 5.85 | 6.21 | 6.56 | 6.92 | 7.57 | 7.64 | 8.00 |
| 3 | 4.54 | 4.88 | 5.19 | 5.51 | 5.82 | 6.13 | 6.44 | 6.76 | 7.07 | 7.73 | 7.69 | 8.01 |
| 5 | 4.03 | 4.37 | 4.69 | 5.02 | 5.35 | 5.68 | 6.00 | 6.33 | 6.66 | 7.29 | 7.32 | 7.65 |
| 8 | 4.14 | 4.48 | 4.79 | 5.11 | 5.43 | 5.75 | 6.07 | 6.39 | 6.71 | 7.34 | 7.35 | 7.67 |
| 9 | 4.01 | 4.35 | 4.67 | 5.00 | 5.33 | 5.66 | 5.99 | 6.32 | 6.65 | 7.27 | 7.30 | 7.63 |
| 10 | 4.28 | 4.62 | 4.93 | 5.25 | 5.57 | 5.89 | 6.21 | 6.53 | 6.85 | 7.49 | 7.49 | 7.81 |
| 11 | 4.32 | 4.64 | 4.93 | 5.21 | 5.50 | 5.79 | 6.08 | 6.37 | 6.65 | 7.28 | 7.23 | 7.52 |
| 14 | 5.07 | 5.38 | 5.67 | 5.96 | 6.24 | 6.53 | 6.81 | 7.10 | 7.38 | 8.08 | 7.96 | 8.24 |
| 17 | 4.41 | 4.72 | 4.99 | 5.27 | 5.54 | 5.82 | 6.10 | 6.38 | 6.65 | 7.28 | 7.21 | 7.49 |
| 18 | 4.56 | 4.87 | 5.15 | 5.44 | 5.72 | 6.01 | 6.29 | 6.58 | 6.87 | 7.51 | 7.44 | 7.72 |
| 19 | 4.60 | 4.91 | 5.18 | 5.46 | 5.74 | 6.03 | 6.31 | 6.59 | 6.87 | 7.52 | 7.43 | 7.71 |
| 20 | 5.05 | 5.31 | 5.55 | 5.78 | 6.02 | 6.25 | 6.48 | 6.72 | 6.95 | 7.61 | 7.42 | 7.65 |
| 22 | 5.64 | 5.91 | 6.17 | 6.41 | 6.66 | 6.90 | 7.15 | 7.39 | 7.64 | 8.36 | 8.13 | 8.38 |
| 24 | 6.00 | 6.25 | 6.48 | 6.71 | 6.93 | 7.15 | 7.38 | 7.60 | 7.83 | 8.57 | 8.27 | 8.50 |
| 25 | 4.84 | 5.13 | 5.39 | 5.66 | 5.92 | 6.18 | 6.44 | 6.71 | 6.97 | 7.63 | 7.50 | 7.76 |
| 26 | 5.88 | 6.13 | 6.36 | 6.59 | 6.82 | 7.05 | 7.28 | 7.51 | 7.74 | 8.47 | 8.19 | 8.42 |
| 27 | 5.74 | 5.98 | 6.20 | 6.41 | 6.63 | 6.84 | 7.05 | 7.27 | 7.48 | 8.19 | 7.91 | 8.12 |
| 29 | 6.47 | 6.72 | 6.95 | 7.16 | 7.38 | 7.60 | 7.82 | 8.04 | 8.25 | 9.04 | 8.69 | 8.91 |
| 46 | 4.31 | 4.69 | 5.02 | 5.38 | 5.73 | 6.08 | 6.44 | 6.79 | 7.14 | 7.81 | 7.85 | 8.20 |
| 47 | 4.15 | 4.52 | 4.86 | 5.21 | 5.57 | 5.92 | 6.28 | 6.63 | 6.99 | 7.64 | 7.70 | 8.05 |
| Upper-tail Mean PVRR, Million Dollars (2009$) |
| 1 | 65,144 | 67,632 | 69,883 | 72,746 | 75,620 | 78,495 | 81,369 | 84,243 | 87,118 | 95,741 | 92,866 | 95,741 |
| 2 | 58,812 | 61,294 | 63,542 | 66,332 | 69,134 | 71,935 | 74,736 | 77,537 | 80,338 | 88,256 | 85,941 | 88,742 |
| 3 | 51,373 | 53,739 | 55,883 | 58,419 | 60,964 | 63,509 | 66,055 | 68,600 | 71,146 | 78,099 | 76,236 | 78,782 |
| 5 | 60,337 | 62,706 | 64,850 | 67,535 | 70,231 | 72,927 | 75,623 | 78,319 | 81,016 | 89,016 | 86,408 | 89,104 |
| 8 | 56,895 | 59,185 | 61,259 | 63,809 | 66,369 | 68,929 | 71,490 | 74,050 | 76,610 | 84,155 | 81,731 | 84,291 |
| 9 | 60,620 | 62,983 | 65,122 | 67,802 | 70,493 | 73,183 | 75,874 | 78,565 | 81,256 | 89,281 | 86,638 | 89,329 |
| 10 | 59,030 | 61,205 | 63,174 | 65,694 | 68,225 | 70,756 | 73,287 | 75,819 | 78,350 | 86,114 | 83,412 | 85,943 |
| 11 | 51,781 | 54,099 | 56,200 | 58,681 | 61,172 | 63,662 | 66,153 | 68,644 | 71,135 | 78,089 | 76,116 | 78,607 |
| 14 | 51,809 | 54,091 | 56,159 | 58,561 | 60,974 | 63,386 | 65,798 | 68,210 | 70,622 | 77,512 | 75,446 | 77,859 |
| 17 | 55,938 | 58,085 | 60,028 | 62,399 | 64,780 | 67,161 | 69,542 | 71,922 | 74,303 | 81,616 | 79,064 | 81,445 |
| 18 | 56,883 | 59,050 | 61,013 | 63,422 | 65,841 | 68,260 | 70,679 | 73,098 | 75,517 | 82,957 | 80,355 | 82,775 |
| 19 | 56,912 | 59,053 | 60,992 | 63,367 | 65,752 | 8,137 | 70,522 | 72,907 | 75,292 | 82,709 | 80,062 | 82,448 |
| 20 | 53,336 | 55,469 | 57,401 | 59,677 | 61,963 | 64,249 | 66,535 | 68,821 | 71,107 | 78,070 | 75,679 | 77,965 |
| 22 | 52,314 | 54,504 | 56,487 | 58,758 | 61,039 | 63,319 | 65,599 | 67,879 | 70,159 | 76,996 | 74,719 | 76,999 |
| 24 | 53,427 | 55,521 | 57,417 | 59,616 | 61,824 | 64,032 | 66,240 | 68,448 | 70,656 | 77,562 | 75,072 | 77,281 |
| 25 | 54,523 | 56,606 | 58,492 | 60,786 | 63,089 | 65,393 | 67,696 | 70,000 | 72,303 | 79,418 | 76,910 | 79,214 |
| 26 | 54,074 | 56,181 | 58,089 | 60,327 | 62,573 | 64,820 | 67,067 | 69,313 | 71,560 | 78,565 | 76,053 | 78,300 |
| 27 | 53,182 | 55,277 | 57,174 | 59,374 | 61,582 | 63,791 | 66,000 | 68,209 | 70,417 | 77,299 | 74,835 | 77,044 |
| 29 | 55,173 | 57,264 | 59,158 | 61,330 | 63,512 | 65,693 | 67,875 | 70,057 | 72,238 | 79,293 | 76,601 | 78,783 |
| 46 | 59,779 | 62,233 | 64,455 | 67,209 | 69,973 | 72,738 | 75,502 | 78,267 | 81,032 | 89,019 | 86,561 | 89,326 |
| 47 | 59,158 | 61,626 | 63,860 | 66,634 | 69,419 | 72,203 | 74,988 | 77,773 | 80,557 | 88,498 | 86,127 | 88,912 |
| Standard Deviation of Production Costs, Million Dollars (2009$) |
| 1 | 11,320 | 11,591 | 11,837 | 12,259 | 12,683 | 13,107 | 13,531 | 13,955 | 14,379 | 15,852 | 15,227 | 15,651 |
| 2 | 9,650 | 9,929 | 10,181 | 10,601 | 11,023 | 11,445 | 11,867 | 12,289 | 12,711 | 14,012 | 13,555 | 13,977 |
| 3 | 7,287 | 7,548 | 7,784 | 8,165 | 8,547 | 8,929 | 9,311 | 9,694 | 10,076 | 11,106 | 10,840 | 11,223 |
| 5 | 9,911 | 10,186 | 10,434 | 10,850 | 11,268 | 11,685 | 12,103 | 12,521 | 12,938 | 14,263 | 13,774 | 14,192 |
| 8 | 8,916 | 9,188 | 9,433 | 9,835 | 10,239 | 10,642 | 11,046 | 11,450 | 11,853 | 13,065 | 12,661 | 13,064 |
| 9 | 9,941 | 10,213 | 10,459 | 10,873 | 11,288 | 11,704 | 12,119 | 12,534 | 12,950 | 14,276 | 13,781 | 14,196 |
| 10 | 9,294 | 9,535 | 9,753 | 10,145 | 10,539 | 10,932 | 11,326 | 11,719 | 12,113 | 13,362 | 12,900 | 13,294 |
| 11 | 7,274 | 7,526 | 7,754 | 8,126 | 8,499 | 8,872 | 9,244 | 9,617 | 9,990 | 11,013 | 10,736 | 11,109 |
| 14 | 6,837 | 7,075 | 7,290 | 7,643 | 7,998 | 8,353 | 8,708 | 9,063 | 9,418 | 10,383 | 10,128 | 10,483 |
| 17 | 8,241 | 8,502 | 8,738 | 9,121 | 9,506 | 9,891 | 10,276 | 10,661 | 11,045 | 12,174 | 11,815 | 12,200 |
| 18 | 8,463 | 8,726 | 8,964 | 9,352 | 9,741 | 10,130 | 10,520 | 10,909 | 11,298 | 12,453 | 12,077 | 12,466 |
| 19 | 8,362 | 8,621 | 8,855 | 9,237 | 9,620 | 10,004 | 10,388 | 10,771 | 11,155 | 12,295 | 11,922 | 12,306 |
| 20 | 7,058 | 7,293 | 7,505 | 7,850 | 8,196 | 8,542 | 8,888 | 9,234 | 9,580 | 10,559 | 10,272 | 10,618 |
| 22 | 6,538 | 6,758 | 6,958 | 7,286 | 7,616 | 7,946 | 8,276 | 8,606 | 8,936 | 9,852 | 9,596 | 9,926 |
| 24 | 6,602 | 6,828 | 7,033 | 7,363 | 7,695 | 8,026 | 8,357 | 8,689 | 9,020 | 9,942 | 9,682 | 10,014 |
| 25 | 7,567 | 7,814 | 8,038 | 8,400 | 8,764 | 9,129 | 9,493 | 9,857 | 10,221 | 11,266 | 10,949 | 11,313 |
| 26 | 6,810 | 7,043 | 7,254 | 7,592 | 7,931 | 8,271 | 8,610 | 8,949 | 9,289 | 10,237 | 9,967 | 10,307 |
| 27 | 6,578 | 6,801 | 7,003 | 7,329 | 7,656 | 7,983 | 8,310 | 8,637 | 8,964 | 9,880 | 9,618 | 9,945 |
| 29 | 6,575 | 6,787 | 6,980 | 7,294 | 7,611 | 7,927 | 8,243 | 8,559 | 8,875 | 9,783 | 9,507 | 9,823 |
| 46 | 9,483 | 9,761 | 10,012 | 10,431 | 10,851 | 11,271 | 11,691 | 12,111 | 12,531 | 13,814 | 13,371 | 13,791 |
| 47 | 9,573 | 9,854 | 10,108 | 10,531 | 10,955 | 11,379 | 11,803 | 12,227 | 12,651 | 13,945 | 13,499 | 13,923 |

Table B.10 – Stochastic Cost Results based on Probability-weighted CO2 Tax Levels

| Case | Expected Value CO2 Tax |
| --- | --- |
|  | $15 | $20 | $25 | $30 | $35 | $40 | $45 | $50 | $55 | $60 | $65 | $70 |
| Risk-adjusted PVRR, Weighted Averages, Million Dollars (2009$) |
| 2B | 30,457 | 32,553 | 34,459 | 36,501 | 38,550 | 40,599 | 42,649 | 44,698 | 46,747 | 48,796 | 50,845 | 52,896 |
| 5B | 30,558 | 32,534 | 34,330 | 36,256 | 38,188 | 40,120 | 42,052 | 43,985 | 45,917 | 47,849 | 49,781 | 51,716 |
| 5B_CCCT Dry | 30,446 | 32,422 | 34,219 | 36,154 | 38,095 | 40,037 | 41,978 | 43,920 | 45,861 | 47,803 | 49,744 | 51,688 |
| 5B_CCCT Wet | 30,420 | 32,390 | 34,181 | 36,111 | 38,046 | 39,982 | 41,917 | 43,853 | 45,789 | 47,724 | 49,660 | 51,598 |
| 8B | 31,177 | 33,081 | 34,811 | 36,648 | 38,491 | 40,334 | 42,177 | 44,020 | 45,863 | 47,707 | 49,550 | 51,395 |
| 9B | 30,814 | 32,795 | 34,596 | 36,530 | 38,470 | 40,409 | 42,349 | 44,289 | 46,229 | 48,168 | 50,108 | 52,051 |
| 10B | 31,763 | 33,675 | 35,413 | 37,262 | 39,116 | 40,971 | 42,826 | 44,681 | 46,536 | 48,391 | 50,246 | 52,103 |
| 17B | 32,917 | 34,671 | 36,265 | 37,934 | 39,610 | 41,286 | 42,962 | 44,638 | 46,314 | 47,990 | 49,666 | 51,344 |
| 18B | 32,564 | 34,350 | 35,974 | 37,686 | 39,405 | 41,123 | 42,841 | 44,560 | 46,278 | 47,996 | 49,715 | 51,436 |
| 47B | 30,966 | 33,053 | 34,949 | 36,986 | 39,030 | 41,074 | 43,118 | 45,161 | 47,205 | 49,249 | 51,293 | 53,339 |
| Cost Exposure for CO2 Tax Scenarios, Million Dollars (2009$) |
| 2B | 270 | 357 | 437 | 634 | 831 | 1,028 | 1,225 | 1,422 | 1,619 | 1,816 | 2,014 | 2,211 |
| 5B | 371 | 338 | 308 | 388 | 468 | 548 | 629 | 709 | 790 | 870 | 950 | 1,031 |
| 5B_CCCT Dry | 259 | 226 | 196 | 286 | 376 | 465 | 555 | 644 | 734 | 824 | 913 | 1,003 |
| 5B_CCCT Wet | 233 | 194 | 159 | 243 | 326 | 410 | 494 | 578 | 661 | 745 | 829 | 913 |
| 8B | 990 | 885 | 789 | 780 | 772 | 763 | 754 | 745 | 736 | 727 | 718 | 710 |
| 9B | 627 | 599 | 574 | 662 | 750 | 838 | 926 | 1,013 | 1,101 | 1,189 | 1,277 | 1,365 |
| 10B | 1,576 | 1,479 | 1,391 | 1,394 | 1,397 | 1,400 | 1,403 | 1,406 | 1,409 | 1,412 | 1,415 | 1,418 |
| 17B | 2,730 | 2,475 | 2,243 | 2,067 | 1,891 | 1,715 | 1,539 | 1,363 | 1,187 | 1,011 | 835 | 659 |
| 18B | 2,377 | 2,155 | 1,952 | 1,818 | 1,685 | 1,551 | 1,418 | 1,284 | 1,151 | 1,017 | 884 | 750 |
| 47B | 780 | 857 | 927 | 1,118 | 1,310 | 1,502 | 1,694 | 1,886 | 2,078 | 2,270 | 2,462 | 2,654 |
| Customer Rate Impact, Dollars per MWh (2009$) |
| 2B | 4.16 | 4.54 | 4.88 | 5.24 | 5.59 | 5.95 | 6.30 | 6.66 | 7.02 | 7.37 | 7.73 | 8.09 |
| 5B | 4.13 | 4.48 | 4.80 | 5.14 | 5.47 | 5.81 | 6.14 | 6.48 | 6.81 | 7.15 | 7.49 | 7.82 |
| 5B_CCCT Dry | 4.13 | 4.48 | 4.80 | 5.13 | 5.46 | 5.79 | 6.11 | 6.44 | 6.77 | 7.10 | 7.43 | 7.76 |
| 5B_CCCT Wet | 4.12 | 4.47 | 4.78 | 5.11 | 5.44 | 5.77 | 6.10 | 6.43 | 6.75 | 7.08 | 7.41 | 7.74 |
| 8B | 4.26 | 4.60 | 4.91 | 5.23 | 5.55 | 5.87 | 6.20 | 6.52 | 6.84 | 7.16 | 7.48 | 7.80 |
| 9B | 4.11 | 4.47 | 4.79 | 5.12 | 5.46 | 5.80 | 6.13 | 6.47 | 6.80 | 7.14 | 7.47 | 7.81 |
| 10B | 4.38 | 4.73 | 5.04 | 5.36 | 5.69 | 6.01 | 6.33 | 6.66 | 6.98 | 7.30 | 7.63 | 7.95 |
| 17B | 4.61 | 4.91 | 5.19 | 5.47 | 5.75 | 6.02 | 6.30 | 6.58 | 6.86 | 7.14 | 7.42 | 7.70 |
| 18B | 4.55 | 4.86 | 5.14 | 5.42 | 5.71 | 6.00 | 6.28 | 6.57 | 6.85 | 7.14 | 7.43 | 7.71 |
| 47B | 4.20 | 4.57 | 4.91 | 5.26 | 5.61 | 5.96 | 6.31 | 6.66 | 7.01 | 7.37 | 7.72 | 8.07 |
| Upper-tail Mean PVRR, Dollars per MWh (2009$) |
| 2B | 58,307 | 60,787 | 63,042 | 65,810 | 68,589 | 71,368 | 74,147 | 76,926 | 79,705 | 82,484 | 85,263 | 88,047 |
| 5B | 59,065 | 61,417 | 63,556 | 66,203 | 68,859 | 71,516 | 74,173 | 76,830 | 79,486 | 82,143 | 84,800 | 87,462 |
| 5B_CCCT Dry | 60,232 | 62,570 | 64,696 | 67,356 | 70,027 | 72,698 | 75,369 | 78,040 | 80,710 | 83,381 | 86,052 | 88,728 |
| 5B_CCCT Wet | 60,077 | 62,404 | 64,520 | 67,173 | 69,836 | 72,500 | 75,163 | 77,827 | 80,490 | 83,154 | 85,817 | 88,486 |
| 8B | 57,266 | 59,548 | 61,622 | 64,161 | 66,709 | 69,258 | 71,807 | 74,356 | 76,904 | 79,453 | 82,002 | 84,556 |
| 9B | 59,723 | 62,080 | 64,224 | 66,878 | 69,543 | 72,207 | 74,872 | 77,537 | 80,202 | 82,867 | 85,532 | 88,202 |
| 10B | 58,358 | 60,657 | 62,747 | 65,313 | 67,889 | 70,465 | 73,042 | 75,618 | 78,194 | 80,770 | 83,346 | 85,928 |
| 17B | 55,940 | 58,075 | 60,016 | 62,370 | 64,733 | 67,096 | 69,459 | 71,822 | 74,185 | 76,548 | 78,911 | 81,279 |
| 18B | 57,128 | 59,293 | 61,262 | 63,669 | 66,086 | 68,504 | 70,921 | 73,338 | 75,755 | 78,172 | 80,589 | 83,012 |
| 47B | 59,003 | 61,471 | 63,714 | 66,486 | 69,268 | 72,050 | 74,832 | 77,615 | 80,397 | 83,179 | 85,961 | 88,748 |
| Standard Deviation of Production Costs, Million Dollars (2009$) |
| 2B | 9,524 | 9,789 | 10,030 | 10,433 | 10,837 | 11,242 | 11,646 | 12,051 | 12,455 | 12,860 | 13,264 | 13,670 |
| 5B | 9,660 | 9,919 | 10,154 | 10,550 | 10,948 | 11,346 | 11,744 | 12,142 | 12,540 | 12,938 | 13,336 | 13,735 |
| 5B_CCCT Dry | 9,937 | 10,195 | 10,429 | 10,829 | 11,232 | 11,634 | 12,036 | 12,439 | 12,841 | 13,243 | 13,645 | 14,049 |
| 5B_CCCT Wet | 9,897 | 10,154 | 10,387 | 10,787 | 11,189 | 11,591 | 11,992 | 12,394 | 12,796 | 13,198 | 13,600 | 14,003 |
| 8B | 9,059 | 9,315 | 9,548 | 9,935 | 10,323 | 10,712 | 11,101 | 11,489 | 11,878 | 12,266 | 12,655 | 13,044 |
| 9B | 9,755 | 10,013 | 10,248 | 10,644 | 11,042 | 11,440 | 11,838 | 12,236 | 12,634 | 13,031 | 13,429 | 13,828 |
| 10B | 9,158 | 9,418 | 9,655 | 10,049 | 10,444 | 10,839 | 11,234 | 11,629 | 12,024 | 12,419 | 12,814 | 13,209 |
| 17B | 8,347 | 8,593 | 8,818 | 9,186 | 9,557 | 9,927 | 10,297 | 10,668 | 11,038 | 11,409 | 11,779 | 12,150 |
| 18B | 8,680 | 8,930 | 9,157 | 9,533 | 9,910 | 10,287 | 10,665 | 11,042 | 11,420 | 11,797 | 12,174 | 12,553 |
| 47B | 9,564 | 9,831 | 10,074 | 10,482 | 10,893 | 11,303 | 11,713 | 12,123 | 12,533 | 12,944 | 13,354 | 13,765 |

Portfolio Measure Rankings and Preference Scores

Tables (B.11 through B.22) display the portfolio measure ranking and preference scores based on probability-weighted CO2 tax levels from $15/ton to $70/ton at $5 increments (The two non-cost-based measures, average annual ENS and LOLP, are not probability-weighted.) Tables are shown for the original 21 portfolios and the additional 10 portfolios developed to determine the 2012 gas resource deferral strategy associated with the termination of the Lake Side 2 combined-cycle plant construction contract (“B” series portfolios).

Table B.23 shows portfolio measure ranking and preference scores for the additional 10 gas resource deferral strategy portfolios given an alternate importance weighting scheme with the following characteristics:

- The mean PVRR substitutes for the risk-adjusted PVRR measure

- The mean upper-tail PVRR risk measure is added

- The mean PVRR and upper-tail PVRR measures are given importance weights of 25% and 20% respectively (importance weights for all other measures remain unchanged)

The purpose of this alternative ranking scheme is to show the portfolio performance impact of heavily weighting upper-tail risk as a separate measure.

Table B.11 – $15/ton Expected-value CO2 Tax

Table B.12 – $20/ton Expected-value CO2 Tax

Table B.13 – $25/ton Expected-value CO2 Tax

Table B.14 – $30/ton Expected-value CO2 Tax

Table B.15 – $35/ton Expected-value CO2 Tax

Table B.16 – $40/ton Expected-value CO2 Tax

Table B.17 – $45/ton Expected-value CO2 Tax

Table B.18 – $50/ton Expected-value CO2 Tax

Table B.19 – $55/ton Expected-value CO2 Tax

Table B.20 – $60/ton Expected-value CO2 Tax

Table B.21 – $65/ton Expected-value CO2 Tax

Table B.22 – $70/ton Expected-value CO2 Tax

Table B.23 – Alternate Performance Ranking Scheme Including the Upper-Tail Mean PVRR

Portfolio PVRR Cost Component Comparison

Tables B.24 and B.25 show the breakdown of each portfolio’s stochastic mean PVRR by variable and fixed cost components. These costs reflect the $45/ton CO2 cost adder scenario. Table B.23 reports the cost component breakdown for the core case risk analysis portfolios, and table B.24 reports the cost component breakdown for the sensitivity cases.

Table B.26 reports the cost component breakdown for the “B-Series” cases.

Table B.24 – Core Case: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)

Table B.24– continued

Table B.24 – continued

Table B.25 – Sensitivity Case: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)

Table B.25 – continued

Table B.26 – B-Series Cases: Portfolio PVRR Cost Components ($45 CO2 - Tax Strategy)

Table B.26– continued

Appendix C – IRP Regulatory Compliance

Background

Least-cost planning (i.e., Integrated Resource Planning) guidelines were first imposed on regulated utilities by state commissions in the 1980s. Their purpose was to require utilities to consider all resource alternatives—including demand-side measures—on an equal comparative footing, when making resource planning decisions. Integrated resource planning has expanded since then to incorporate the consideration of risk, uncertainty, and environmental externality costs into the resource evaluation framework. Planning rules were also intended to require utilities to involve regulators and the general public in the planning process prior to making resource decisions.

PacifiCorp prepares an IRP for the states in which it provides retail service. While the rules among the jurisdictional states vary in substance and style concerning IRP submission requirements, there is a consistent thread in intent and approach.  PacifiCorp is required to file an IRP every two years with most state commissions.  The IRP must look at all resource alternatives on a level playing field and propose a near-term action plan that assures adequate supply to meet load obligations at least cost, while taking into account risks and uncertainties.  The IRP must be developed in an open, public process and give interested parties a meaningful opportunity to participate in the planning.

This appendix provides a discussion on how the 2008 IRP complies with the various state commission IRP Standards and Guidelines, 2007 IRP acknowledgement requirements, and other commission decisions. Included at the end of this appendix are the following tables:

- Table C.1 – Provides an overview and comparison of the rules in each state for which IRP submission is required.

- Table C.2 – Provides a description of how the 2007 IRP acknowledgement requirements and other commission requests were addressed.

- Table C.3 – Provides an explanation of how this plan addresses each of the items contained in the new Oregon IRP guidelines issued in January 2007.

- Table C.4 – Provides an explanation of how this plan addresses each of the items contained in the Utah Public Service Commission IRP Standard and Guidelines issued in June 1992.

- Table C.5 – Provides an explanation of how this plan addresses each of the items contained in the Washington Utilities and Trade Commission IRP guidelines issued in January 2006.

General Compliance

PacifiCorp prepares the IRP on a biennial basis and files the IRP with the state commissions.  The preparation of the IRP is done in an open public process with consultation between all interested parties, including commissioners and commission staff, customers, and other stakeholders.  This open process provides parties with a substantial opportunity to contribute information and ideas in the planning process, and also serves to inform all parties on the planning issues and approach. The public input process for this IRP, described in Volume 1, Chapter 2, as well as in Appendix E, fully complies with the IRP Standards and Guidelines.

The IRP provides a framework and plan for future actions to ensure PacifiCorp continues to provide reliable and least-cost electric service to its customers. The IRP evaluates, over a twenty-year planning period, the future loads of PacifiCorp customers and the capability of existing resources to meet this load.

To fill any gap between changes in loads and existing resources, the IRP evaluates all available resource options, as required by state commission rules. These resource alternatives include supply-side, demand-side, and transmission alternatives. The evaluation of the alternatives in the IRP, as detailed in Chapters 7 and 8, meets this requirement and includes the impact to system costs, system operations, supply and transmission reliability, and the impacts of numerous risks, uncertainties and externality costs that could occur. To perform the analysis and evaluation, PacifiCorp employs a suite of models that simulate the complex operation of the PacifiCorp system and its integration within the Western Interconnection. The models allow for a rigorous testing of a reasonably broad range of commercially feasible resource alternatives available to PacifiCorp on a consistent and comparable basis. The analytical process, including the risk and uncertainty analysis, fully complies with IRP Standards and Guidelines, and is described at a high level in Chapter 2 and in greater detail in Chapter 7.

The IRP analysis is designed to define a resource plan that is least cost, after consideration of risks and uncertainties.  To test resource alternatives and identify a least-cost, risk adjusted plan, portfolio resource options were developed and tested against each other. This testing included examination of various tradeoffs among the portfolios, such as average cost versus risk, reliability, customer rate impacts, and average annual CO2 emissions.  This portfolio analysis and the results and conclusions drawn from the analysis are described in Chapter 8.

Consistent with the IRP Standards and Guidelines of Oregon, Utah, and Washington, this IRP includes an Action Plan (See Chapter 9). The Action Plan details near-term actions that are necessary to ensure PacifiCorp continues to provide reliable and least-cost electric service after considering risk and uncertainty. Appendix D provides a progress report that relates the 2007 IRP Action Plan with those provided in the 2007 IRP and 2007 IRP Update.

The 2008 IRP and the related Action Plan are filed with each commission with a request for prompt acknowledgement. Acknowledgement means that a commission recognizes the IRP as meeting all regulatory requirements at the time the acknowledgement is made. In the case where a commission acknowledges the IRP in part or not at all, PacifiCorp works with the commission to modify and re-file an IRP that meets acknowledgement standards.

State commission acknowledgement orders or letters typically stress that an acknowledgement does not indicate approval or endorsement of IRP conclusions or analysis results. Similarly, an acknowledgement does not imply that favorable ratemaking treatment for resources proposed in the IRP will be given.

California

Subsection (i) of California Public Utilities Code, Section 454.5, states that utilities serving less than 500,000 customers in the state are exempt from filing an Integrated Resource Plan for California. PacifiCorp serves only 45,072 average customers in the most northern parts of the state. PacifiCorp filed for and received an exemption on July 10, 2003.

Idaho

The Idaho Public Utilities Commission’s Order No. 22299, issued in January 1989, specifies integrated resource planning requirements. The Order mandates that PacifiCorp submit a Resource Management Report (RMR) on a biennial basis. The intent of the RMR is to describe the status of IRP efforts in a concise format, and cover the following areas:

Each utility's RMR should discuss any flexibilities and analyses considered during comprehensive resource planning, such as: (1) examination of load forecast uncertainties; (2) effects of known or potential changes to existing resources; (3) consideration of demand and supply side resource options; and (4) contingencies for upgrading, optioning and acquiring resources at optimum times (considering cost, availability, lead time, reliability, risk, etc.) as future events unfold.

This IRP is submitted to the Idaho PUC as the Resource Management Report for 2007, and fully addresses the above report components. The IRP also evaluates DSM using a load decrement approach, as discussed in Chapters 6 and 7. This approach is consistent with using an avoided cost approach to evaluating DSM as set forth in IPUC Order No. 21249.

Oregon

This IRP is submitted to the Oregon PUC in compliance with its new planning guidelines issued in January 2007 (Order No. 07-002). These guidelines supersede previous ones, and many codify analysis requirements outlined in the Commission’s acknowledgement order for PacifiCorp’s 2004 IRP.

The Commission’s new IRP guidelines consist of substantive requirements (Guideline 1), procedural requirements (Guideline 2), plan filing, review, and updates (Guideline 3), plan components (Guideline 4), transmission (Guideline 5), conservation (Guideline 6), demand response (Guideline 7), environmental costs (Guideline 8, Order No. 08-339), direct access loads (Guideline 9), multi-state utilities (Guideline 10), reliability (Guideline 11), distributed generation (Guideline 12), and resource acquisition (Guideline 13). Consistent with the earlier guidelines (Order 89-507), the Commission notes that acknowledgement does not guarantee favorable ratemaking treatment, only that the plan seems reasonable at the time acknowledgment is given. Table C.3 provides considerable detail on how this plan addresses each of the requirements.

Utah

This IRP is submitted to the Utah Public Service Commission in compliance with its 1992 Order on Standards and Guidelines for Integrated Resource Planning (Docket No. 90-2035-01, “Report and Order on Standards and Guidelines”). Table C.4 documents how PacifiCorp complies with each of these standards.

Washington

This IRP is submitted to the Washington Utilities and Transportation Commission (WUTC) in compliance with its rule requiring least cost planning (Washington Administrative Code 480-100-238), and the rule amendment issued on January 9, 2006 (WAC 480-100-238, Docket No. UE-030311). In addition to a least cost plan, the rule requires provision of a two-year action plan and a progress report that “relates the new plan to the previously filed plan.”

The rule amendment also now requires PacifiCorp to submit a work plan for informal commission review not later than 12 months prior to the due date of the plan. The work plan is to lay out the contents of the IRP, the resource assessment method, and timing and extent of public participation. PacifiCorp filed a work plan with the Commission on February 21, 2006, and had a follow-up conference call with WUTC staff to make sure the work plan met staff expectations.

Finally, the rule amendment now requires PacifiCorp to provide an assessment of transmission system capability and reliability. This requirement was met in this IRP by modeling the company’s current transmission system along with both generation and transmission resource options as part of its resource portfolio analyses. These analyses used such reliability metrics as Loss of Load Probability and Energy Not Served to assess the impacts of different resource combinations on system reliability. The stochastic simulation and risk analysis section of Chapter 7 reports the reliability analysis results.

Wyoming

On October 4, 2001, the Public Service Commission of Wyoming issued an Order and Stipulation requiring PacifiCorp to file annual resource planning and transmission reports for a three-year time period beginning in 2002, each to be submitted on March 31, Each report “will address (1) load and resource planning issues affecting Wyoming, and (2) transmission investment, operation and planning issues affecting Wyoming.” PacifiCorp submitted its last report in March 2004.

In 2009, Wyoming proposed a draft rule 253 for any utility serving Wyoming to file their Integrated Resource Plan with the commission. This rule is still under review and is open for public comment until April 27, 2009 and with a schedule public hearing on May 12, 2009.

Rule 253: Integrated Resource Planning.

Any utility serving in Wyoming required to file an integrated resource plan (IRP) in any

jurisdiction, shall file that IRP with the Wyoming Public Service Commission. The Commission may require any utility serving in Wyoming to prepare and file an IRP when the Commission determines it is in the public interest. Commission advisory staff shall review the IRP as directed by the Commission and report its findings to the Commission in open meeting. The review may be conducted in accordance with guidelines set from time to time as conditions warrant.

Table C.1 – Integrated Resource Planning Standards and Guidelines Summary by State

| Topic | Oregon | Utah | Washington | Idaho |
| --- | --- | --- | --- | --- |
| Source | Order 89-507 Least-cost Planning for Resource Acquisitions, April 20, 1989. Order No. 07-002, Investigation Into Integrated Resource Planning, January 8, 2007. | Docket 90-2035-01 Standards and Guidelines for Integrated Resource Planning June 18, 1992. | WAC 480-100-251 Least cost planning, May 19, 1987, and as amended from WAC 480-100-238 Least Cost Planning Rulemaking, January 9, 2006 (Docket # UE-030311) | Order 22299 Electric Utility Conservation Standards and Practices January, 1989. |
| Filing Requirements | Least-cost plans must be filed with the Commission. | An Integrated Resource Plan (IRP) is to be submitted to Commission. | Submit a least cost plan to the Commission. Plan to be developed with consultation of Commission staff, and with public involvement. | Submit “Resource Management Report” (RMR) on planning status. Also file progress reports on conservation and low-income programs. |
| Frequency | Plans filed biennially. Interim reports on plan progress also required (informational filing only). Order 07-002 requires IRP filing within two years of its previous IRP acknowledgement order. | File biennially. | File biennially. | RMP to be filed at least biennially. Conservation reports to be filed annually. |
| Commission response | Least-cost plan (LCP) acknowledged if found to comply with standards and guidelines. A decision made in the LCP process does not guarantee favorable rate-making treatment. The OPUC may direct the utility to revise the IRP or conduct additional analysis before an acknowledgement order is issued. Note, however, that Rate Plan legislation allows pre-approval of near-term resource investments. | IRP acknowledged if found to comply with standards and guidelines. Prudence reviews of new resource acquisitions will occur during rate making proceedings. | The plan will be considered, with other available information, when evaluating the performance of the utility in rate proceedings. WUTC sends a letter discussing the report, making suggestions and requirements and acknowledges the report. | Report does not constitute pre-approval of proposed resource acquisitions. Idaho sends a short letter stating that they accept the filing and acknowledge the report as satisfying Commission requirements. |
| Process | The public and other utilities are allowed significant involvement in the preparation of the plan, with opportunities to contribute and receive information. Order 07-002 requires that the utility present IRP results to the OPUC at a public meeting prior to the deadline for written public comments. Commission staff and parties should complete their comments and recommendations within six months after IRP filing. Competitive secrets must be protected. | Planning process open to the public at all stages. IRP developed in consultation with the Commission, its staff, with ample opportunity for public input. | In consultation with Commission staff, develop and implement a public involvement plan. Involvement by the public in development of the plan is required. For the amended rules issued in January 2006, PacifiCorp is required to submit a work plan for informal commission review not later than 12 months prior to the due date of the plan. The work plan is to lay out the contents of the IRP, resource assessment method, and timing and extent of public participation. | Utilities to work with Commission staff when reviewing and updating RMRs. Regular public workshops should be part of process. |
| Focus | 20-year plan, with end-effects, and a short-term (two-year) action plan. The IRP process should result in the selection of that mix of options which yields, for society over the long run, the best combination of expected costs and variance of costs. | 20-year plan, with short-term (four-year) action plan. Specific actions for the first two years and anticipated actions in the second two years to be detailed. The IRP process should result in the selection of the optimal set of resources given the expected combination of costs, risk and uncertainty. | 20-year plan, with short-term (two-year) action plan. The plan describes mix of resources sufficient to meet current and future loads at “lowest reasonable” cost to utility and ratepayers. Resource cost, market volatility risks, demand-side resource uncertainty, resource dispatchability, ratepayer risks, policy impacts, and environmental risks, must be considered. | 20-year plan to meet load obligations at least-cost, with equal consideration to demand side resources. Plan to address risks and uncertainties. Emphasis on clarity, understandability, resource capabilities and planning flexibility. |
| Elements | Basic elements include: All resources evaluated on a consistent and comparable basis. Risk and uncertainty must be considered. The primary goal must be least cost, consistent with the long-run public interest. The plan must be consistent with Oregon and federal energy policy. External costs must be considered, and quantified where possible. OPUC specifies environmental adders (Order No. 93-695, Docket UM 424). Identify acquisition strategies for action plan resources, assess advantages/disadvantages of resource ownership versus purchases, and identify benchmark resources considered for competitive bidding. Multi-state utilities should plan their generation and transmission systems on an integrated-system basis. Avoided cost filing required within 30 days of acknowledgement. | IRP will include: Range of forecasts of future load growth Evaluation of all present and future resources, including demand side, supply side and market, on a consistent and comparable basis. Analysis of the role of competitive bidding A plan for adapting to different paths as the future unfolds. A cost effectiveness methodology. An evaluation of the financial, competitive, reliability and operational risks associated with resource options, and how the action plan addresses these risks. Definition of how risks are allocated between ratepayers and shareholders DSM and supply side resources evaluated at “Total Resource Cost” rather than utility cost. | The plan shall include: A range of forecasts of future demand using methods that examine the effect of economic forces on the consumption of electricity and that address changes in the number, type and efficiency of electrical end-uses. An assessment of commercially available conservation, including load management, as well as an assessment of currently employed and new policies and programs needed to obtain the conservation improvements. Assessment of a wide range of conventional and commercially available nonconventional generating technologies An assessment of transmission system capability and reliability (Added per amended rules issued in January 2006). A comparative evaluation of energy supply resources (including transmission and distribution) and improvements in conservation using “lowest reasonable cost” criteria. Integration of the demand forecasts and resource evaluations into a long-range (at least 10 years) plan. All plans shall also include a progress report that relates the new plan to the previously filed plan. | Discuss analyses considered including: Load forecast uncertainties; Known or potential changes to existing resources; Equal consideration of demand and supply side resource options; Contingencies for upgrading, optioning and acquiring resources at optimum times; Report on existing resource stack, load forecast and additional resource menu. |

Table C.2 – Handling of 2007 IRP Acknowledgement and Other IRP Requirements

| Reference | IRP Requirement or Recommendation | How the Requirement or Recommendation is Addressed in the 2008 IRP |
| --- | --- | --- |
| Idaho |
| Acceptance of Filing, Case No. PAC-E-07-11, p. 9 | Staff further recommends that the Company address modifications to its 2007 resource acquisition strategies on a state-by-state basis in the form of periodic updates to its 2007 IRP. | Stakeholder and Bidder meetings are held throughout the RFP process on a periodic basis. |
| Acceptance of Filing, Case No. PAC-E-07-11, p. 9 | Staff also recommends that the Company investigate critical peak pricing programs to augment its existing time-of-use schedule. Staff considers the deployment of advanced metering to be an indispensable part of that investigation. | Critical Peak Pricing (CPP) programs (Class 3 DSM) are included as resource options for portfolio modeling. PacifiCorp developed a sensitivity portfolio with these resources and other price-response programs, and simulated it using its stochastic production cost model (Chapter 8). Class 3 DSM programs are addressed in Item 7 of the IRP action plan (Chapter 9). |
| Acceptance of Filing, Case No. PAC-E-07-11, p. 10 | Given the increasing role of jurisdictional resource mandates in the planning process, Staff further recommends that future IRPs incorporate a section devoted to the impacts, if any, of state policies on the selection of preferred portfolios. | State RPS requirements are explicitly accounted for in resource portfolio modeling, and the company is in the process of implementing capacity expansion modeling enhancements to improve representative of jurisdiction-specific CO2 and RPS rules. Please refer to Chapter 3 RPS discussion and Chapter 7 discussing the Alternative Scenarios. State environmental/energy policies are discussed in Chapters 3, and are addressed in the IRP action plan (Chapter 9) |
| PURPA QF Wind, ID PAC-E-07-07, p. 6 | (PacifiCorp) shall hereafter file notice with the Commission of any changes to its wind integration charge as reflected in subsequent changes to its IRP. | PacifiCorp is preparing an update to its wind integration cost estimates. This updated information will be provided in the final IRP document to be filed with state commissions by May 29, 2009 |
| PURPA QF Wind, ID PAC-E-07-07, p. 6 | Expected wind integration cost information will be included in the Company s integrated resource planning (IRP) process in the same way that costs for other generating resources are included in the IRP. | See slide 2 from the December 2, 2008 Conference, showing the adoption of PGE’s integration cost of $11.75/MWh in 2008 dollars. This value was treated as a placeholder until the company completes its wind integration study |
| PURPA QF Wind, ID PAC-E-07-07, p. 7 | Idaho wind developers will be notified as part of the public meeting process and can contribute their input at those meetings to discuss PacifiCorp s wind integration study and new data related to wind integration costs prior to the publishing of the Company s next (2009) IRP. | PacifiCorp has added several contacts for Idaho wind developers to the participant list. PacifiCorp held a wind integration cost technical conference on December 2, 2008. |
| Oregon |
| Order No. 08-232, LC-42, p. 13 | Staff also recommends further consideration of nuclear passive safety and pumped storage technologies in the next planning cycle. | PacifiCorp included advanced nuclear and pumped storage technologies as resource options in portfolio modeling. See Chapters 6 and 7. |
| Order No. 08-232, LC-42, p. 14 | Addressing a requirement from the last planning cycle, the IRP includes a discussion of how various thermal resources affect wind integration costs. Staff recommends a more thorough discussion in the next resource plan. | See Appendix H for additional information on wind integration costs, to be provided when the IRP is filed May 29, 2009. |
| Order No. 08-232, LC-42, p. 15 | Staff recommends the Company take a hard look at low market price scenarios in analyzing its resource choices. Such possible futures point out the risks of capital-intensive, base load resources. | PacifiCorp developed seven portfolios using low market price assumptions. See Chapter 7 for portfolio input assumptions. |
| Order No. 08-232, LC-42, p. 17 | The IRP includes a cursory discussion of hedging. Staff recommends a more robust discussion of hedging in future resource plans. Commission agrees with staff…”[the] plan should include a more substantive discussion of hedging as specified by Guideline 1c. | See Chapter 9 for a discussion on Use of Physical and Financial Hedging for Electricity Price Risk. |
| Order No. 08-232, LC-42, p. 21 | Staff recommends the Company model market purchases for the later years of the plan in order to consistently compare portfolios, and not inappropriately weight resource decisions in the distant future. | The 2008 IRP extends front office purchases to end of the simulation period (2028), and also specifies Growth Resources, available to the model after 2020, using forward market prices. See the section in Chapter 7, “Modeling Front Office Transactions and Growth Resources”. |
| Order No. 08-232, LC-42, p. 26 | We therefore support the agreed-upon modifications to Action Items 3 and 4 related to demand response resources. [Staff’s concerns that the IRP may have underestimated the level of risk-adjusted, cost-effective demand response.] | See Chapter 6 on Resource Options and the results in Chapter 8. |
| Order No. 08-232, LC-42, p. 29 | Pacific Power’s next plan should further evaluate solar direct use and generating resources. | PacifiCorp complied with this recommendation. See Chapter 6 on the additional solar options included for portfolio development. |
| Order No. 08-232, LC-42, p. 36 | 4. In the next planning cycle, include IGCC plants with carbon capture and sequestration as a resource option for selection. | PacifiCorp included IGCC plants with CCS as resource options in all the portfolios modeled. See Chapter 6 for resource specifications and background information. |
| Order No. 08-232, LC-42, p. 36 | 5. In the next IRP, evaluate intermediate-term market purchases, modeling them as portfolio options that compete with other resource options, and analyze cost and risk. | In formulating market purchase options for the IRP models, the company lacked information with which to discriminate such purchases from the proxy FOT resources already modeled in this IRP. Lacking such information, the company anticipated using bid information from the 2008 All-Source RFP to inform the development of intermediate-term market purchase resources for modeling purposes. The company received no intermediate-term market purchase bids; therefore, such resources could not be reasonably modeled for this IRP. (See Chapter 6, “Resource Options) |
| Order No. 08-232, LC-42, p. 36 | 6. For the 2007 IRP update and next planning cycle, develop a scenario to meet the CO2 emissions reduction goals in Oregon HB 3543, including development of a compliant portfolio that meets the Commission’s best cost/risk standard. | PacifiCorp designed a portfolio analysis to address this requirement, estimating a system-wide hard cap based on Oregon’s HB 3543 emission reduction goals. The company corrected a deficiency with the analysis pointed out by OPUC staff (assigning an emission rate to market purchases). A description of this portfolio scenario (“case 40”) is provided in Chapter 7; modeling results are provided in Chapter 8. |
| Order No. 08-232, LC-42, p. 36 | 7. For the next planning cycle, further develop with stakeholders use of loss of load probability (LOLP) and energy not served (ENS). Fully develop cost and risk metrics of various LOLP and ENS criteria. | See the sections in Chapter 8 discussing the LOLP and ENS modeling results. PacifiCorp will investigate functionality in the company’s capacity expansion optimization model (System Optimizer) to apply an LOLP constraint. This activity is identified in Action Plan item no. 9, Planning Process Improvements. |
| Order No. 08-232, LC-42, p. 36 | 8. For the next planning cycle, consider the impact of forced early retirements of existing coal plants, or retrofits necessary to reduce their CO2 emissions, under stringent carbon regulation scenarios. | Forced early retirement is discussed in Chapter 9 under Managing Carbon Risk for Existing Plants. The option of retrofits is a resource option in the portfolio development process. |
| Order No. 08-232, LC-42, p. 36 | 9. Pursue refinement of CO2 emissions modeling to improve treatment of compliance under various regulatory schemes, including assignment of emissions rates to short-term market transactions. | PacifiCorp is implementing System Optimizer capacity expansion model enhancements for improved representation of CO2 and RPS regulatory requirements at the jurisdictional level. This activity is identified in Action Plan item no. 9, Planning Process Improvements. Development of this functionality was complicated and could not be completed in time for this IRP. |
| Order No. 08-232, LC-42, p. 37 | 1. For the 2007 IRP Update and next IRP, Pacific Power should model other renewable resources in addition to wind. | PacifiCorp included geothermal, biomass, solar, and hydrokinetic technologies as resource options in portfolio modeling. See Chapter 6 “Resource Options” and Chapter 7 “Modeling and Portfolio Evaluation Approach”. |
| Order No. 08-232, LC-42, p. 37 | 2. For the next IRP, Pacific Power should rank portfolios based on the 95th Percentile and Upper-Tail PVRR risk metrics, and explain any inconsistencies between portfolios that rank highest according to these measures and the Company’s preferred portfolio. | PacifiCorp reports the 95th Percentile and Upper-Tail PVRR metrics, along with a new measure called risk-adjusted PVRR, which was used for “2012 Base-load RFP” bid evaluation. The risk exposure measure was dropped from the IRP. See Chapters 7 and 8 for descriptions of the risk measures and the portfolio ranking process, respectively. For portfolio ranking purposes, incorporation of the risk-adjusted PVRR in the preference scoring process addresses the requirement to reflect an upper-tail risk measure in portfolio ranking. However, Table B.23 in the Appendix volume shows an alternate ranking scheme where the upper-tail mean PVRR is included as a separate performance measure and given an importance weight nearly as large as the mean PVRR. This alternate ranking scheme is applied to the final 10 portfolios considered for preferred portfolio selection. |
| Order No. 08-232, LC-42, p. 37 | 3. For the next IRP, in response to concerns noted in this order, Pacific Power should further analyze and discuss the use of hedging, the level of short-term market purchases, projected load growth, modeling of resources to meet loads in the later years of the planning horizon, capital cost risks and assumed economic lives of coal plants, and the appropriate level of distributed generation. | Hedging is addressed in Chapter 9. PacifiCorp modeled market purchases based on several forward price futures (low, medium, high), and applying forward price curves developed at two points in time (See Chapter 7) PacifiCorp modeled alternative load growth scenarios, and conducted portfolio analysis with two load forecasts developed in November 2008 and February 2009 Resources, other than “growth resources”, were allowed as model options for capacity expansion modeling (See Chapter 7) PacifiCorp included 10-year capital costs as a portfolio performance evaluation measure, and developed a portfolio assuming a 20% increase in capital costs Distributed generation resources (CHP and customer standby generation) were included as resource options in all portfolios modeled; the appropriate level of distributed generation is addressed in item no. 9 of the IRP action plan (Chapter 9) |
| Utah |
| UT-07-2035-01, Report & Order, 2-6-08, p. 13 | We direct the Company, in its next IRP process, to convene a public input meeting or technical workgroup session to review its approach to load forecast variation and to address the issue of load forecast error risk. This discussion must include the Committee’s concerns regarding use of 30-year normal temperatures for estimating peak demand, the number of years relied upon for developing stochastic parameters, and the role of planning reserve in managing the risks of forecast error. | PacifiCorp held a load forecasting technical workshop on June 26, 2008. PacifiCorp attended two meetings with Utah parties to discuss various IRP and load forecasting issues (April 9 and May 14, 2008). |
| UT-07-2035-01, Report & Order, 2-6-08, p. 16 | We direct the Company to continue to study the tradeoffs in planning to different planning reserve targets in future IRPs. | PacifiCorp’s planning reserve margin analysis is summarized in Chapter 8. |
| UT-07-2035-01, Report & Order, 2-6-08, p. 17 | We direct the Company to address [the issue of hydro capacity accounting] in its next IRP. For example, it may be useful to conduct sensitivity analysis regarding this assumption to identify potential risks or shortcomings of [using the sustainable one-hour peak capacity method applied for the 2007 IRP] | This requirement is addressed in Chapter 5, Resource Needs Assessment, in the discussion on hydro resources. |
| UT-07-2035-01, Report & Order, 2-6-08, p. 23 | We direct the Company to evaluate a full spectrum of supply-side and demand-side options which have different characteristics regarding size, dispatchability, expected cost, expected risks and lead time for construction. Modeling limitations will need to be addressed. | See Chapter 5 “Resource Options” for a description of the expanded number of resources included in portfolio modeling. |
| UT-07-2035-01, Report & Order, 2-6-08, p. 13 | We direct the Company to host a public input meeting or technical workgroup to examine the reasonableness of the range of CO2 adders for evaluating carbon regulation risk and risk mitigating resource strategies. | PacifiCorp held a public input meeting on modeling CO2 regulations (including specification of CO2 adders) on June 26, 2008. |
| UT-07-2035-01, Report & Order, 2-6-08, p. 13 | We direct the Company to consider the following three-step approach for developing its optimal portfolio: 1) Identify optimal portfolios for a relatively broad, and consistently applied, set of input assumptions; 2) subject all of these optimal portfolios to stochastic risk analysis and identify superior optimal portfolios with respect to the tradeoff between expected cost and risk exposure; 3) examine the cost consequences of the superior portfolios with respect to uncertainty by subjecting them to evaluation under the initial set of relatively broad input assumptions. | See Chapter 7 “Modeling and Portfolio Evaluation Approach”. This three-step approach was implemented for this IRP. The assessment of the value of step 3 is provided in Chapter 8. |
| UT-07-2035-01, Report & Order, 2-6-08, p. 13 | We direct the Company, with public input, to develop a manageable set of potential future conditions, defined by a consistently applied set of input assumptions, and to develop a set of optimal portfolios consistent with these sets of conditions. | PacifiCorp has complied with this directive, and sought public input on the specification of input assumption scenarios at several public meeting during2008. The company initially developed 47 input assumption scenarios (“cases”), developed resource portfolios optimized according to these scenarios, and subjected these portfolios to stochastic (Monte Carlo) production cost simulation. The company subsequently developed another 10 portfolios accounting for the removal of the Lake Side 2 combined-cycle plant as a planned resource in 2012, and using a consistent set of input cases to do so (the cases that yielded the original top-performing portfolios). |
| Washington |
| Letter Order, UE-071062, p. 1 | PacifiCorp does need to identify and better support significant changes it makes to base demand projections relative to previous IRPs. For example, no explanation is given as to why this IRP cut the expected demand growth in Washington by 50 percent. | See Chapter 5 “Resource Needs Assessment” and Chapter 8 for details on the load forecasts used. The company held several conference calls with public stakeholders describing the reason for load forecast adjustments having to do with recessionary impacts. |
| Letter Order, UE-071062, p. 1 | The company should also improve the presentation of its two-year action plan. | The company has provided more detail in the IRP action plan, included an acquisition path analysis, and addressed several resource risk management topics not addressed in previous IRPs. See chapter 9. |
| Letter Order, UE-071062, p. 2 | The Commission expects the company to use the Quantec estimates as the basis for its conservation program achievement objective rather than the one included in the IRP. | PacifiCorp developed energy efficiency supply curves based on the Cadmus Group (previously Quantec LLP) potentials information. See the discussion on supply curve development in Chapter 6. These supply curves served as resource options in the capacity expansion model. |
| Letter Order, UE-071062, p. 2 | In its next plan, the company needs to better explain how it chose the transmission options to study, the process used to integrate the selection of both new generating resources and transmission expansions/enhancements, and how the transmission expansion will affect system operation, dispatch of resources and the flow of electricity throughout PacifiCorp's service territory. | PacifiCorp included a new “Transmission planning” chapter (Chapter 4), and included a separate transmission expansion action plan in Chapter 9. |
| Letter Order, UE-071062, p. 3 | Therefore, we remind the company that any baseload resources put in service after June 30, 2008 to serve Washington customers, or any transmission that allows the output of such resources to reach Washington must comply with this state's statutory requirements. | PacifiCorp will follow state statutory requirements for delivery of energy to Washington. |
| Letter Order, UE-071062, p. 3 | What is unclear from this discussion is how PacifiCorp will determine when a revision in the planning margin is warranted. PacifiCorp needs to identify the metrics it will use or the processes it will monitor that could lead the company to alter its new planning margin. | PacifiCorp will investigate the use of a LOLP capacity constraint in its capacity expansion model to supplement the current planning reserve margin approach (See Chapter 9, action item no. 9). Development of a process to modify planning reserve margins has thus been put on hold. PacifiCorp is also monitoring WECC resource supply adequacy criteria for possible implications to the IRP. |
| Letter Order, UE-071062, p. 4 | As part of its next plan, PacifiCorp should more thoroughly explain why its preferred portfolio provides greater benefits and/or is lower risk than the alternative portfolios. | See chapter 8 for an in-depth discussion on the merits and disadvantages of the preferred portfolio relative to other top-performing portfolios. |
| Letter Order, UE-071062, p. 4 | PacifiCorp should derive avoided cost for transmission and distribution resources. These avoided costs will guide generators or suppliers as they determine if they can supply electricity below the company's avoided cost. | PacifiCorp incorporated a T&D investment deferral cost credit to demand-side management program costs. |
| Letter Order, UE-071062, p. 1 | The action plan needs to provide much more specific information regarding the actual steps the company will take to complete the identified action items. | The IRP action plan provides more detail on procurement approaches for resources identified in the IRP preferred portfolio (See Table 9.2 in Chapter 9). |
| Wyoming |
| The Wyoming Commission provided the following comment: Pursuant to open meeting action taken on January 11, 2008, PacifiCorp d/b/a Rocky Mountain Power’s 2007 Integrated Resource Plan (IRP) is hereby placed in the Commission’s files. No further action will be taken and this docketed matter is closed. |

Table C.3 – Oregon Public Utility Commission IRP Standard and Guidelines

| No. | Requirement | How the Guideline is Addressed in the 2008 IRP |
| --- | --- | --- |
| Guideline 1. Substantive Requirements |
| 1.a.1 | All resources must be evaluated on a consistent and comparable basis: All known resources for meeting the utility’s load should be considered, including supply-side options which focus on the generation, purchase and transmission of power – or gas purchases, transportation, and storage – and demand-side options which focus on conservation and demand response. | PacifiCorp considered a wide range of resources including renewables, demand-side management, distributed generation, energy storage, power purchases, thermal resources, and transmission. Chapters 6 and 7 document how PacifiCorp developed these resources and modeled them in its portfolio analysis. All these resources were established as resource options in the company’s capacity expansion optimization model, and selected by the model based on relative economics, resource size, availability dates, and other factors. |
| 1.a.2 | All resources must be evaluated on a consistent and comparable basis: Utilities should compare different resource fuel types, technologies, lead times, in-service dates, durations and locations in portfolio risk modeling. | All portfolios developed with the capacity expansion optimization model were subjected to Monte Carlo production cost simulation. These portfolios contained a variety of resource types with different fuel types (coal, gas, biomass, nuclear fuel, “no fuel” renewables), lead-times (ranging from front office transactions to nuclear plants), in-service dates, life-times, and locations. |
| 1.a.3 | All resources must be evaluated on a consistent and comparable basis: Consistent assumptions and methods should be used for evaluation of all resources. | PacifiCorp fully complies with this requirement. The company developed generic supply-side resource attributes based on a consistent characterization methodology. For demand-side resources, the company used the Cadmus Group’s supply curve data for representation of DSM and distributed generation resources, which was also based on a consistently applied methodology for determining technical, market, and achievable DSM potentials. All portfolio resources were evaluated using the same sets of price and load forecast inputs. These inputs are documented in Chapters 6 and 7. |
| 1.a.4 | All resources must be evaluated on a consistent and comparable basis: The after-tax marginal weighted-average cost of capital (WACC) should be used to discount all future resource costs. | PacifiCorp applied its after-tax WACC of 7.4 percent to discount all cost streams. |
| 1.b.1 | Risk and uncertainty must be considered: At a minimum, utilities should address the following sources of risk and uncertainty: 1. Electric utilities: load requirements, hydroelectric generation, plant forced outages, fuel prices, electricity prices, and costs to comply with any regulation of greenhouse gas emissions. | PacifiCorp fully complies with this requirement. Each of the sources of risk identified in this guideline is treated as a stochastic variable in Monte Carlo production cost simulation. See the stochastic modeling methodology section in Chapter 7. |
| 1.b.2 | Risk and uncertainty must be considered: Utilities should identify in their plans any additional sources of risk and uncertainty. | PacifiCorp complied with this guideline by discussing resource risk mitigation in Chapter 9. Topics covered include: (1) managing carbon risk for existing plants, (2) the use of physical and financial hedging for electricity price risk, and (3) managing gas supply risk. Regulatory and financial management risks associated with a large capital expenditure program were highlighted in several areas throughout the IRP document. |
| 1.c | The primary goal must be the selection of a portfolio of resources with the best combination of expected costs and associated risks and uncertainties for the utility and its customers (“best cost/risk portfolio”). | PacifiCorp evaluated cost/risk tradeoffs for each of the portfolios considered, significantly expanding its representation of CO2 cost risk and implementing a multi-measure portfolio preference ranking scheme. See Chapter 8 for the company’s portfolio risk analysis and determination of the preferred portfolio. |
| 1.c.1 | The planning horizon for analyzing resource choices should be at least 20 years and account for end effects. Utilities should consider all costs with a reasonable likelihood of being included in rates over the long term, which extends beyond the planning horizon and the life of the resource. | PacifiCorp used a 20-year study period for portfolio modeling, and a real levelized revenue requirement methodology for treatment of end effects consistent with past IRP practice. |
| 1.c.2 | Utilities should use present value of revenue requirement (PVRR) as the key cost metric. The plan should include analysis of current and estimated future costs for all long-lived resources such as power plants, gas storage facilities, and pipelines, as well as all short-lived resources such as gas supply and short-term power purchases. | PacifiCorp fully complies. Chapter 7 provides a description of the PVRR methodology. |
| 1.c.3.1 | To address risk, the plan should include, at a minimum: 1. Two measures of PVRR risk: one that measures the variability of costs and one that measures the severity of bad outcomes. | PacifiCorp uses the standard deviation of stochastic production costs as the measure of cost variability. For the severity of bad outcomes, the company calculates several measures, including stochastic upper-tail PVRR (mean of highest five Monte Carlo iterations) and the 95th percentile stochastic PVRR. |
| 1.c.3.2 | To address risk, the plan should include, at a minimum: 2. Discussion of the proposed use and impact on costs and risks of physical and financial hedging. | A discussion on costs and risks of physical and financial hedging is provided in Chapter 9. |
| 1.c.4 | The utility should explain in its plan how its resource choices appropriately balance cost and risk. | Chapter 8 summarizes the results of PacifiCorp’s cost/risk tradeoff analysis, and describes what criteria the company used to determine the best cost/risk portfolios and the preferred portfolio. |
| 1.d | The plan must be consistent with the long-run public interest as expressed in Oregon and federal energy policies. | PacifiCorp considered both current and expected state and federal energy policies in portfolio modeling. Chapter 7 describes the decision process used to derive portfolios, which includes consideration of state resource policies. The IRP action plan chapter also presents an acquisition path analysis that describes resource strategies based on regulatory trigger events. |
| Guideline 2. Procedural Requirements |
| 2.a | The public, which includes other utilities, should be allowed significant involvement in the preparation of the IRP. Involvement includes opportunities to contribute information and ideas, as well as to receive information. Parties must have an opportunity to make relevant inquiries of the utility formulating the plan. Disputes about whether information requests are relevant or unreasonably burdensome, or whether a utility is being properly responsive, may be submitted to the Commission for resolution. | PacifiCorp fully complies with this requirement. Chapter 2 provides an overview of the public process, while Appendix D documents the details on public meetings held for the 2008 IRP. |
| 2.b | While confidential information must be protected, the utility should make public, in its plan, any non-confidential information that is relevant to its resource evaluation and action plan. Confidential information may be protected through use of a protective order, through aggregation or shielding of data, or through any other mechanism approved by the Commission. | Both IRP volumes provide non-confidential information the company used for portfolio evaluation, as well as other data requested by stakeholders. PacifiCorp also provided stakeholders with non-confidential information to support public meeting discussions via email. |
| 2.c | The utility must provide a draft IRP for public review and comment prior to filing a final plan with the Commission. | PacifiCorp distributed a draft IRP document for external review on April 8, 2009. |
| Guideline 3: Plan Filing, Review, and Updates |
| 3.a | A utility must file an IRP within two years of its previous IRP acknowledgment order. If the utility does not intend to take any significant resource action for at least two years after its next IRP is due, the utility may request an extension of its filing date from the Commission. | This Plan complies with this requirement. |
| 3.b | The utility must present the results of its filed plan to the Commission at a public meeting prior to the deadline for written public comment. | PacifiCorp will adhere to this guideline. |
| 3.c | Commission staff and parties should complete their comments and recommendations within six months of IRP filing. | Not applicable |
| 3.d | The Commission will consider comments and recommendations on a utility’s plan at a public meeting before issuing an order on acknowledgment. The Commission may provide the utility an opportunity to revise the plan before issuing an acknowledgment order. | Not applicable |
| 3.e | The Commission may provide direction to a utility regarding any additional analyses or actions that the utility should undertake in its next IRP. | Not applicable |
| 3.f | Each utility must submit an annual update on its most recently acknowledged plan. The update is due on or before the acknowledgment order anniversary date. Once a utility anticipates a significant deviation from its acknowledged IRP, it must file an update with the Commission, unless the utility is within six months of filing its next IRP. The utility must summarize the update at a Commission public meeting. The utility may request acknowledgment of changes in proposed actions identified in an update. | Not applicable |
| 3.g | Unless the utility requests acknowledgement of changes in proposed actions, the annual update is an informational filing that: 1. Describes what actions the utility has taken to implement the plan; 2. Provides an assessment of what has changed since the acknowledgment order that affects the action plan, including changes in such factors as load, expiration of resource contracts, supply-side and demand-side resource acquisitions, resource costs, and transmission availability; and 3. Justifies any deviations from the acknowledged action plan. | Not applicable |
| Guideline 4. Plan Components (at a minimum, must include…) |
| 4.a | An explanation of how the utility met each of the substantive and procedural requirements | The purpose of this table is to comply with this guideline. |
| 4.b | Analysis of high and low load growth scenarios in addition to stochastic load risk analysis with an explanation of major assumptions | PacifiCorp developed low, medium, and high load growth forecasts for scenario analysis using the System Optimizer model for portfolio development. Stochastic variability of loads was also captured in the risk analysis. See Chapters 5 and 8, and Appendix E, for load forecast information. Chapter 8 also describes how loads are handled in the stochastic modeling. |
| 4.c | For electric utilities, a determination of the levels of peaking capacity and energy capability expected for each year of the plan, given existing resources; identification of capacity and energy needed to bridge the gap between expected loads and resources; modeling of all existing transmission rights, as well as future transmission additions associated with the resource portfolios tested | This Plan complies with the requirement. See Chapter 5 for details on annual capacity and energy balances. Existing transmission rights are reflected in the IRP model topologies, as mentioned in Chapter 7. |
| 4.d | For gas utilities only | Not applicable |
| 4.e | Identification and estimated costs of all supply-side and demand side resource options, taking into account anticipated advances in technology | Chapter 6 identifies the resources included in this IRP, and provides their detailed cost and performance attributes. See Tables 6.2 through 6.10 for supply-side resources, and Tables 6.15 through 6.20 for demand-side resources. |
| 4.f | Analysis of measures the utility intends to take to provide reliable service, including cost-risk tradeoffs | In addition to incorporating a planning reserve margin for all portfolios evaluated, the company used several measures to evaluate relative portfolio supply reliability. These are described in Chapter 7 (Energy Not Served and Loss of Load Probability). PacifiCorp conducted a sensitivity study to determine the cost/risk tradeoff of different planning reserve margin levels. This study is documented in Chapter 8. |
| 4.g | Identification of key assumptions about the future (e.g., fuel prices and environmental compliance costs) and alternative scenarios considered | Chapter 7 describes the key assumptions and alternative scenarios used in this IRP. |
| 4.h | Construction of a representative set of resource portfolios to test various operating characteristics, resource types, fuels and sources, technologies, lead times, in-service dates, durations and general locations – system-wide or delivered to a specific portion of the system | This Plan documents the development and results of 57 portfolios designed to determine resource selection under a variety of input assumptions (Chapter 8). |
| 4.i | Evaluation of the performance of the candidate portfolios over the range of identified risks and uncertainties | Chapter 8 presents the stochastic portfolio modeling results, and describes portfolio attributes that explain relative differences in cost and risk performance. |
| 4.j | Results of testing and rank ordering of the portfolios by cost and risk metric, and interpretation of those results. | Chapter 8 provides tables and charts with performance measure results, including rank ordering. |
| 4.k | Analysis of the uncertainties associated with each portfolio evaluated. | PacifiCorp fully complies with this guideline. See the responses to 1.b.1 and 1.b.2 above. |
| 4.l | Selection of a portfolio that represents the best combination of cost and risk for the utility and its customers. | See 1.c above. |
| 4.m | Identification and explanation of any inconsistencies of the selected portfolio with any state and federal energy policies that may affect a utility’s plan and any barriers to implementation. | This IRP is presumed to have no inconsistencies. |
|  | An action plan with resource activities the utility intends to undertake over the next two to four years to acquire the identified resources, regardless of whether the activity was acknowledged in a previous IRP, with the key attributes of each resource specified as in portfolio testing. | Chapters 9 and 10 presents the 2008 IRP and transmission expansion action plans, respectively. |
| Guideline 5: Transmission |
| 5 | Portfolio analysis should include costs to the utility for the fuel transportation and electric transmission required for each resource being considered. In addition, utilities should consider fuel transportation and electric transmission facilities as resource options, taking into account their value for making additional purchases and sales, accessing less costly resources in remote locations, acquiring alternative fuel supplies, and improving reliability. | PacifiCorp evaluated proxy transmission resources on a comparable basis with respect to other proxy resources in this IRP. Fuel transportation costs were factored into resource costs. |
| Guideline 6: Conservation |
| 6.a | Each utility should ensure that a conservation potential study is conducted periodically for its entire service territory. | A multi-state demand-side management potentials study was completed in June 2007, and those results were incorporated into this plan. |
| 6.b | To the extent that a utility controls the level of funding for conservation programs in its service territory, the utility should include in its action plan all best cost/risk portfolio conservation resources for meeting projected resource needs, specifying annual savings targets. | PacifiCorp’s energy efficiency supply curves incorporate Oregon resource potential. Oregon potential estimates were provided by the Energy Trust of Oregon. See Chapter 6, “Class 2 DSM, Capacity Supply Curves” |
| 6.c | To the extent that an outside party administers conservation programs in a utility’s service territory at a level of funding that is beyond the utility’s control, the utility should: 1. Determine the amount of conservation resources in the best cost/risk portfolio without regard to any limits on funding of conservation programs; and 2. Identify the preferred portfolio and action plan consistent with the outside party’s projection of conservation acquisition. | See the response for 6.b above. |
| Guideline 7: Demand Response |
| 7 | Plans should evaluate demand response resources, including voluntary rate programs, on par with other options for meeting energy, capacity, and transmission needs (for electric utilities) or gas supply and transportation needs (for natural gas utilities). | PacifiCorp evaluated demand response resources (Class 3 DSM) on a consistent basis with other resources in a portfolio study, and simulated the portfolio containing class 3 DSM resources using its stochastic production cost model (Chapter 8). Class 3 DSM programs are addressed in Item 7 of the IRP action plan in Chapter 9. |
| Guideline 8: Environmental Costs |
| 8 | Base Case and Other Compliance Scenarios Testing Alternative Portfolios Against the Compliance Scenarios Trigger Point Analysis Oregon Compliance Portfolio | This IRP fully complies with the CO2 compliance cost analysis requirements in Order No. 08-339. Performance results for CO2 compliance scenario portfolios are reported in Chapter 8, as well as an Oregon compliance scenario (See Table C.2). Chapter 9 presents a discussion on “whether a CO2 regulatory future that is equally or more stringent than the identified trigger point will be mandated” as required in Guideline 8c. |
| Guideline 9: Direct Access Loads |
| 9 | An electric utility’s load-resource balance should exclude customer loads that are effectively committed to service by an alternative electricity supplier. | PacifiCorp continues to plan for load for direct access customers. |
| Guideline 10: Multi-state Utilities |
| 10 | Multi-state utilities should plan their generation and transmission systems, or gas supply and delivery, on an integrated system basis that achieves a best cost/risk portfolio for all their retail customers. | The 2008 IRP conforms to the multi-state planning approach as stated in Chapter 2. |
| Guideline 11: Reliability |
| 11 | Electric utilities should analyze reliability within the risk modeling of the actual portfolios being considered. Loss of load probability, expected planning reserve margin, and expected and worst-case unserved energy should be determined by year for top-performing portfolios. Natural gas utilities should analyze, on an integrated basis, gas supply, transportation, and storage, along with demand-side resources, to reliably meet peak, swing, and base-load system requirements. Electric and natural gas utility plans should demonstrate that the utility’s chosen portfolio achieves its stated reliability, cost and risk objectives. | PacifiCorp fully complies with this guideline. See the response to 1.c.3.1 above. Chapter 8 describes the role of reliability, cost, and risk measures in determining the preferred portfolio. Scatter plots of portfolio cost versus risk at different CO2 cost adder levels were used to inform the cost/risk tradeoff analysis. (Chapter 8). |
| Guideline 12: Distributed Generation |
| 12 | Electric utilities should evaluate distributed generation technologies on par with other supply-side resources and should consider, and quantify where possible, the additional benefits of distributed generation. | PacifiCorp evaluated several types of distribution generation, including combined heat and power and customer-owned standby generation. The results of these evaluations are documented in Chapter 8. |
| Guideline 13: Resource Acquisition |
| 13.a | An electric utility should, in its IRP: 1. Identify its proposed acquisition strategy for each resource in its action plan. 2. Assess the advantages and disadvantages of owning a resource instead of purchasing power from another party 3. Identify any Benchmark Resources it plans to consider in competitive bidding | Chapter 9 outlines the procurement approaches for resources identified in the preferred portfolio. A discussion of the advantages and disadvantages of owning a resource instead of purchasing it is included in Chapter 9. Company resources included in RFPs is addressed in the action plan (Table 9.2 and accompanying narrative). |
| 13.b | For gas utilities only | Not applicable |

Table C.4 – Utah Public Service Commission IRP Standard and Guidelines

| No. | Requirement | How the Standards and Guidelines are Addressed in the 2008 IRP |
| --- | --- | --- |
| Procedural Issues |
| 1 | The Commission has the legal authority to promulgate Standards and Guidelines for integrated resource planning. | Not addressed; this is a Utah Public Service Commission responsibility |
| 2 | Information Exchange is the most reasonable method for developing and implementing integrated resource planning in Utah. | Information exchange has been conducted throughout the IRP process. |
| 3 | Prudence Reviews of new resource acquisitions will occur during ratemaking proceedings. | Not addressed; ratemaking occurs outside of the IRP process |
| 4 | PacifiCorp's integrated resource planning process will be open to the public at all stages. The Commission, its staff, the Division, the Committee, appropriate Utah state agencies, and other interested parties can participate. The Commission will pursue a more active-directive role if deemed necessary, after formal review of the planning process. | PacifiCorp’s public process is described in Chapter 2. A record of public meetings is provided as Appendix D. |
| 5 | Consideration of environmental externalities and attendant costs must be included in the integrated resource planning analysis. | PacifiCorp used a scenario analysis approach along with externality cost adders to model environmental externality costs. See Chapter 7 for a description of the methodology employed, including how CO2 cost uncertainty is factored into the determination of relative portfolio performance. |
| 6 | The integrated resource plan must evaluate supply-side and demand-side resources on a consistent and comparable basis. | Supply, transmission, and demand-side resources were evaluated on a comparable basis using PacifiCorp’s capacity expansion optimization model. Also see the response to number 4.b.ii below. |
| 7 | Avoided Cost should be determined in a manner consistent with the Company's Integrated Resource Plan. | Consistent with the Utah rules, PacifiCorp determination of avoided costs will be handled in a manner consistent with the IRP, with the caveat that the costs may be updated if better information becomes available. |
| 8 | The planning standards and guidelines must meet the needs of the Utah service area, but since coordination with other jurisdictions is important, must not ignore the rules governing the planning process already in place in other jurisdictions. | This IRP was developed in consultation with parties from all state jurisdictions, and meets all formal state IRP guidelines. |
| 9 | The Company's Strategic Business Plan must be directly related to its Integrated Resource Plan. | Chapter 2 outlines the IRP/business plan alignment effort that was initiated in 2008 and will continue through 2009. Chapter 9 also describes recent IRP/business planning alignment activities associated with selection of a preferred portfolio. |
| Standards and Guidelines |
| 1 | Definition: Integrated resource planning is a utility planning process which evaluates all known resources on a consistent and comparable basis, in order to meet current and future customer electric energy services needs at the lowest total cost to the utility and its customers, and in a manner consistent with the long-run public interest. The process should result in the selection of the optimal set of resources given the expected combination of costs, risk and uncertainty. | PacifiCorp implemented a highly transparent portfolio preference scoring methodology that incorporates numerous portfolio performance measures and considers CO2 cost uncertainty in the portfolio ranking process. This IRP also addresses concerns expressed by Utah stakeholders and the Utah commission concerning comprehensiveness of resources considered, consistency in applying input assumptions for portfolio modeling, and explanation of PacifiCorp’s decision process for selecting top-performing portfolios and the preferred portfolio. |
| 2 | The Company will submit its Integrated Resource Plan biennially. | The company submitted its last IRP on May 30, 2007, and filed this IRP on May 29, 2009. PacifiCorp planned to file the IRP with all commissions on March 31 in each odd-numbered year. However, the Lake Side 2 decision prompted the company to revise the IRP accordingly, including conducting additional portfolio analysis. |
| 3 | IRP will be developed in consultation with the Commission, its staff, the Division of Public Utilities, the Committee of Consumer Services, appropriate Utah state agencies and interested parties. PacifiCorp will provide ample opportunity for public input and information exchange during the development of its Plan. | PacifiCorp’s public process is described in Chapter 2. A record of public meetings is provided as Appendix D. |
| 4.a | PacifiCorp's integrated resource plans will include: a range of estimates or forecasts of load growth, including both capacity (kW) and energy (kWh) requirements. | PacifiCorp implemented a load forecast range for both capacity expansion optimization scenarios as well as for stochastic short-term and long-term variability. Details concerning the load forecasts used in the 2008 IRP are provided in Chapters 5 and 8, and Appendix E. Figures 7.3 and 7.4 in Chapter 7 show the range of forecasts used for capacity expansion modeling. Figures 7.22 through 7.26 show the range of stochastic loads modeled for each load area by the Monte Carlo production cost simulations. |
| 4.a.i | The forecasts will be made by jurisdiction and by general class and will differentiate energy and capacity requirements. The Company will include in its forecasts all on-system loads and those off-system loads which they have a contractual obligation to fulfill. Non-firm off-system sales are uncertain and should not be explicitly incorporated into the load forecast that the utility then plans to meet. However, the Plan must have some analysis of the off-system sales market to assess the impacts such markets will have on risks associated with different acquisition strategies. | Price risk associated with market sales is captured in the company’s stochastic simulation results. Current off-system sales agreements are included in the IRP models. |
| 4.a.ii | Analyses of how various economic and demographic factors, including the prices of electricity and alternative energy sources, will affect the consumption of electric energy services, and how changes in the number, type and efficiency of end-uses will affect future loads. | Chapter 5 documents how demographic and price factors are used in PacifiCorp’s new load forecasting methodology. |
| 4.b | An evaluation of all present and future resources, including future market opportunities (both demand-side and supply-side), on a consistent and comparable basis. | Resources were evaluated on a consistent and comparable basis using the System Optimizer model and Planning and Risk production cost model. |
| 4.b.i | An assessment of all technically feasible and cost-effective improvements in the efficient use of electricity, including load management and conservation. | PacifiCorp included supply curves for Class 1 DSM (dispatchable/schedulable load control) and Class 2 DSM (energy efficiency measures) in its capacity expansion model. Details are provided in Chapter 6. |
| 4.b.ii | An assessment of all technically feasible generating technologies including: renewable resources, cogeneration, power purchases from other sources, and the construction of thermal resources. | PacifiCorp considered a wide range of resources including renewables, cogeneration (combined heat and power), customer standby generation, power purchases, thermal resources, energy storage, and transmission. Chapters 6 and 7 document how PacifiCorp developed and assessed these technologies. |
| 4.b.iii | The resource assessments should include: life expectancy of the resources, the recognition of whether the resource is replacing/adding capacity or energy, dispatchability, lead-time requirements, flexibility, efficiency of the resource and opportunities for customer participation. | PacifiCorp captures and models these resource attributes in its IRP models. Resources are defined as providing capacity, energy, or both. The DSM supply curves and distributed generation resources used for portfolio modeling explicitly incorporate estimated rates of program and event participation. Dispatchability is accounted for in both IRP models used; however, the Planning and Risk model provides a more detailed representation of unit dispatch than System Optimizer, and includes modeling of unit commitment and reserves. |
| 4.c | An analysis of the role of competitive bidding for demand-side and supply-side resource acquisitions | A description of the role of competitive bidding and other procurement methods is provided in Chapter 9. |
| 4.d | A 20-year planning horizon. | This IRP uses a 20-year study horizon (2009-2028) |
| 4.e | An action plan outlining the specific resource decisions intended to implement the integrated resource plan in a manner consistent with the Company's strategic business plan. The action plan will span a four-year horizon and will describe specific actions to be taken in the first two years and outline actions anticipated in the last two years. The action plan will include a status report of the specific actions contained in the previous action plan. | The IRP action plan is provided in Chapter 9. As mentioned in the chapter, the major preferred portfolio resources were evaluated for financial and rate impacts by the PacifiCorp Energy Finance Department in alignment with business planning protocols. A status report of the actions outlined in the previous action plan (2007 IRP update) is provided in Chapter 9 as well. The action plan (Table 9.2) also identifies actions anticipated to extend beyond the next two years, or occur after the next two years |
| 4.f | A plan of different resource acquisition paths for different economic circumstances with a decision mechanism to select among and modify these paths as the future unfolds. | Chapter 9 includes an acquisition path analysis that presents broad resource strategies based on regulatory trigger events, combinations of load growth and gas price futures, and procurement delays. The decision mechanism for pursuing the resource strategies is the outcome of the annual business planning process, which will be informed by portfolio modeling using the IRP models and updated input assumptions. |
| 4.g | An evaluation of the cost-effectiveness of the resource options from the perspectives of the utility and the different classes of ratepayers. In addition, a description of how social concerns might affect cost effectiveness estimates of resource options. | PacifiCorp provides resource-specific utility and total resource cost information in Chapter 7. The IRP document addresses the impact of social concerns on resource cost-effectiveness in the following ways: Portfolios were evaluated using a range of CO2 cost futures A discussion of environmental policy status and impacts on utility resource planning is provided in Chapter 3. |
| 4.h | An evaluation of the financial, competitive, reliability, and operational risks associated with various resource options and how the action plan addresses these risks in the context of both the Business Plan and the 20-year Integrated Resource Plan. The Company will identify who should bear such risk, the ratepayer or the stockholder. | The handling of resource risks is discussed in Chapter 9, and covers the following topics: (1) managing carbon risk for existing plants, (2) the use of physical and financial hedging for electricity price risk, and (3) managing gas supply risk. Regulatory and financial management risks associated with a large capital expenditure program were highlighted in several areas throughout the IRP, and in relation to IRP and business plan alignment. Resource capital cost uncertainty and technological risk is addressed in Chapter 6 (“Handling of Technology Improvement Trends and Cost Uncertainty”). For reliability risks, the stochastic simulation model incorporates stochastic volatility of forced outages for new thermal plants and hydro availability. These risks are factored into the comparative evaluation of portfolios and the selection of the preferred portfolio upon which the action plan is based. Identification of the classes of risk and how these risks are allocated to ratepayers and investors is discussed in Chapter 9. |
| 4.i | Considerations permitting flexibility in the planning process so that the Company can take advantage of opportunities and can prevent the premature foreclosure of options. | Flexibility in the planning and procurement processes is highlighted in Chapter 9 and the action plan (Table 9.2). In Chapter 8, PacifiCorp discusses how planning flexibility came into play for the timing of preferred portfolio resources such as wind. |
| 4.j | An analysis of tradeoffs; for example, between such conditions of service as reliability and dispatchability and the acquisition of lowest cost resources. | PacifiCorp examined the trade-off between portfolio cost and risk. This trade-off analysis is documented in Chapter 8, and highlighted through the use of scatter plot graphs showing the relationship between expected and upper-tail stochastic PVRR. |
| 4.k | A range, rather than attempts at precise quantification, of estimated external costs which may be intangible, in order to show how explicit consideration of them might affect selection of resource options. The Company will attempt to quantify the magnitude of the externalities, for example, in terms of the amount of emissions released and dollar estimates of the costs of such externalities. | PacifiCorp estimated environmental externality costs for CO2, NOX, SO2, and mercury with use of cost adders and assumptions regarding the form of compliance strategy (for example, cap-and-trade versus a per-ton tax for CO2). For CO2 externality costs, the company used scenarios with various cost adder levels to capture a reasonable range of cost impacts. These adders are described in Chapter 7. |
| 4.l | A narrative describing how current rate design is consistent with the Company's integrated resource planning goals and how changes in rate design might facilitate integrated resource planning objectives. | The role of Class 3 DSM (price response programs) at PacifiCorp and how these resources are modeled in the IRP are described in Chapter 6. |
| 5 | PacifiCorp will submit its IRP for public comment, review and acknowledgement. | PacifiCorp distributed the draft IRP document for public review and comment on April 8, 2009. |
| 6 | The public, state agencies and other interested parties will have the opportunity to make formal comment to the Commission on the adequacy of the Plan. The Commission will review the Plan for adherence to the principles stated herein, and will judge the merit and applicability of the public comment. If the Plan needs further work the Commission will return it to the Company with comments and suggestions for change. This process should lead more quickly to the Commission's acknowledgement of an acceptable Integrated Resource Plan. The Company will give an oral presentation of its report to the Commission and all interested public parties. Formal hearings on the acknowledgement of the Integrated Resource Plan might be appropriate but are not required. | Not addressed; this is a post-filing activity. |
| 7 | Acknowledgement of an acceptable Plan will not guarantee favorable ratemaking treatment of future resource acquisitions. | Not addressed; this is not a PacifiCorp activity. |
| 8 | The Integrated Resource Plan will be used in rate cases to evaluate the performance of the utility and to review avoided cost calculations. | Not addressed; this refers to a post-filing activity. |

Table C.5 – Washington Utilities and Trade Commission IRP Standard and Guidelines (WAC 480-100-238)

| No. | Requirement | How the Standards and Guidelines are Addressed in the 2008 IRP |
| --- | --- | --- |
| (4) | Work plan filed no later than 12 months before next IRP due date. | PacifiCorp filed the IRP work plan on January 18, 2008; at that time, the anticipated IRP filing date was January 20, 2009. |
| (4) | Work plan outlines content of IRP. | See pages 1-2 of the Work Plan document for a summarization of IRP contents. |
| (4) | Work plan outlines method for assessing potential resources. (See LRC analysis below) | See pages 2-3 of the Work Plan document for a summarization of resource analysis. |
| (5) | Work plan outlines timing and extent of public participation. | See Figure 2, page 6 of the Work Plan document for the IRP schedule. |
| (4) | Integrated resource plan submitted within two years of previous plan. | The Commission issued an Order on December 11, 2008, under Docket no. UE-070117, granting the Company permission to file its IRP on March 31 of each odd numbered year. On March 26, 2009, the Commission granted PacifiCorp a temporary exemption from the March 31st deadline allowing the Company to file its 2008 integrated resource plan on May 29, 2009 (Docket No. UE-081475). |
| (5) | Commission issues notice of public hearing after company files plan for review. | Not applicable |
| (5) | Commission holds public hearing. | Not applicable |
| (2)(a) | Plan describes the mix of energy supply resources. | Chapter 8 describes the 2008 IRP preferred portfolio. For example, see Tables 8.44 and 8.45, as well as Figures 8.29 and 8.30. |
| (2)(a) | Plan describes conservation supply. | See Chapter 8, Tables 8.44 and 8.45, as well as Figures 8.29 and 8.30. |
| (2)(a) | Plan addresses supply in terms of current and future needs. | The 2008 IRP preferred portfolio was based on a resource needs assessment that accounted for forecasted load growth, expiration of existing power purchase contracts, resources under construction, contract, or reflected in the Company’s capital budget, as well as a capacity planning reserve margin. Details on PacifiCorp’s findings of resource need are described in Chapter 5. For example, see Table 5.20 for PacifiCorp’s capacity load and resource balance. |
| (2)(b) | Plan uses lowest reasonable cost (LRC) analysis to select the mix of resources. | PacifiCorp uses portfolio performance measures based on the Present Value of Revenue Requirements (PVRR) methodology. See the section on portfolio performance measures in Chapter 7. |
| (2)(b) | LRC analysis considers resource costs. | Chapter 6, Resource Options, provides detailed information on costs and other attributes for all resources analyzed for the IRP. For example, see Tables 6.2 through 6.10, 6.15 through 6.18, and 6.20. |
| (2)(b) | LRC analysis considers market-volatility risks. | PacifiCorp employs Monte Carlo production cost simulation with a stochastic model to characterize market price and gas price volatility. See the section entitled, “Monte Carlo Production Cost Simulation” in Chapter 7 for a summary of the modeling approach. |
| (2)(b) | LRC analysis considers demand side resource uncertainties. | PacifiCorp captured demand-side resource uncertainties through the development of numerous portfolios based on different sets of input assumptions. |
| (2)(b) | LRC analysis considers resource dispatchability. | PacifiCorp uses two IRP models that simulate the dispatch of existing and future resources based on such attributes as heat rate, availability, fuel cost, and variable O&M cost. The chronological production cost simulation model also incorporates unit commitment logic for handling start-up, shutdown, ramp rates, minimum up/down times, and run up rates, and reserve holding characteristics of individual generators. |
| (2)(b) | LRC analysis considers resource effect on system operation. | PacifiCorp’s IRP models simulate the operation of its entire system, reflecting dispatch/unit commitment, forced/unforced outages, access to markets, and system reliability and transmission constraints, |
| (2)(b) | LRC analysis considers risks imposed on ratepayers. | PacifiCorp explicitly models risk associated with uncertain CO2 regulatory costs, wholesale electricity and natural gas price escalation and volatility, load growth uncertainty, resource reliability, renewable portfolio standard requirement uncertainty, plant construction cost escalation, and resource affordability. These risks and uncertainties are handled through stochastic modeling and scenarios depicting alternative futures. In addition to risk modeling, the IRP discusses a number of resource risk topics not addressed in the IRP system simulation models. For example, Chapter 9 covers the following topics: (1) managing carbon risk for existing plants, (2) the use of physical and financial hedging for electricity price risk, and (3) managing gas supply risk. Regulatory and financial management risks associated with a large capital expenditure program were highlighted in several areas throughout the IRP, and in relation to IRP and business plan alignment. |
| (2)(b) | LRC analysis considers public policies regarding resource preference adopted by Washington state or federal government. | The IRP modeling incorporates resource expansion constraints tied to renewable portfolio standards (RPS) currently in place for Washington, Oregon, California, and Utah. (See Chapter 7, “Representation and Modeling of Renewable Portfolio Standards”, as well as Appendix A for RPS compliance reports developed for each resource portfolio assessed for the IRP). PacifiCorp also evaluated various CO2 regulatory schemes, including a CO2 tax, hard cap, and cap-and-trade. Future modeling enhancements are planned for improved representation of state-level resource regulations. |
| (2)(b) | LRC analysis considers cost of risks associated with environmental effects including emissions of carbon dioxide. | A description of PacifiCorp’s modeling of CO2 cost risk is provided in Chapter 7, “Carbon Dioxide Compliance Strategy and Costs”. Chapter 9 also discusses the implications of CO2 cost uncertainty on resource acquisition plans. See Table 9.3. |
| (2)(c) | Plan defines conservation as any reduction in electric power consumption that results from increases in the efficiency of energy use, production, or distribution. | A description of how PacifiCorp classifies and defines energy conservation is provided in Chapter 6, “Demand-side Resources”. |
| (3)(a) | Plan includes a range of forecasts of future demand. | PacifiCorp implemented a load forecast range for both capacity expansion optimization scenarios as well as for stochastic short-term and long-term variability. Details concerning the load forecasts used in the 2008 IRP are provided in Chapters 5 and 8, and Appendix E. Figures 7.3 and 7.4 in Chapter 7 show the range of forecasts used for capacity expansion modeling. Figures 7.22 through 7.26 show the range of stochastic loads modeled for each load area by the Monte Carlo production cost simulations. |
| (3)(a) | Plan develops forecasts using methods that examine the effect of economic forces on the consumption of electricity. | PacifiCorp’s load forecast methodology employs econometric forecasting techniques that include such economic variables as household income, employment, and population. See Chapter 5, “Load Forecast”, for a description of the load forecasting methodology. |
| (3)(a) | Plan develops forecasts using methods that address changes in the number, type and efficiency of electrical end-uses. | Residential sector load forecasts use a statistically-adjusted end-use model that accounts for equipment saturation rates and efficiency. See Chapter 5, “Load Forecast”, for a description of the residential sector load forecasting methodology. |
| (3)(b) | Plan includes an assessment of commercially available conservation, including load management. | PacifiCorp conducted a comprehensive system-wide demand-side management potential study in 2007, which served as the basis for developing DSM resource supply curves for resource portfolio modeling. The supply curves account for technical and achievable (market) potential, while the IRP capacity expansion model identifies a cost-effective mix of DSM resources based on these limits and other model inputs. The DSM potential study is posted on PacifiCorp’s Web page: http://www.pacificorp.com/Article/Article75535.html, and has been provided to the WUTC on a CD. |
| (3)(b) | Plan includes an assessment of currently employed and new policies and programs needed to obtain the conservation improvements. | A description of the current status of DSM programs and on-going activities to implement current and new programs is provided in Chapter 5, Resource Needs Assessment (“Existing Resources”). |
| (3)(c) | Plan includes an assessment of a wide range of conventional and commercially available nonconventional generating technologies. | PacifiCorp considered a wide range of resources including renewables, cogeneration (combined heat and power), customer standby generation, power purchases, thermal resources, energy storage, and transmission. Chapters 6 and 7 document how PacifiCorp developed and assessed these technologies. |
| (3)(d) | Plan includes an assessment of transmission system capability and reliability (as allowed by current law). | PacifiCorp modeled transmission system capability to serve its load obligations, factoring in updates to the representation of major load and generation centers, regional transmission congestion impacts, import/export availability, external market dynamics, and significant transmission expansion plans (See the “Transmission System Representation” section in Chapter 7). System reliability given transmission capability was analyzed using stochastic production cost simulation and measures of insufficient energy and capacity for a load area (Energy Not Served and Unmet Capacity, respectively). |
| (3)(e) | Plan includes a comparative evaluation of energy supply resources (including transmission and distribution) and improvements in conservation using LRC. | PacifiCorp’s capacity expansion optimization model (System Optimizer) is designed to compare alternative resources—including transmission expansion options—for the least-cost resource mix. System Optimizer was used to develop numerous resource portfolios for comparative evaluation on the basis of cost, risk, reliability, and other performance attributes. The DSM potentials study considered improvements in conservation Distribution considered alternative transmission expansion options. |
| (3)(f) | Demand forecasts and resource evaluations are integrated into the long range plan for resource acquisition. | PacifiCorp integrates demand forecasts, resources, and system operations in the context of a system modeling framework described in Chapter 7. Portfolio evaluation covers a 20-year period (2009-2028). PacifiCorp developed its preferred portfolio of resources judged to be least-cost after considering load requirements, risk, uncertainty, supply adequacy/reliability, and government resource policies in accordance with this rule. |
| (3)(g) | Plan includes a two-year action plan that implements the long range plan. | See Table 9.2, Chapter 9, for PacifiCorp’s 2008 IRP action plan. |
| (3)(h) | Plan includes a progress report on the implementation of the previously filed plan. | A status report on action plan implementation is provided in the “Progress on Previous Action Plan Items” section of Chapter 9. |
| (5) | Plan includes description of consultation with commission staff. (Description not required) | Chapter 2 includes a summary of the 2008 IRP public process, while Appendix D provides deals on specific meetings held with Commission staff and the general public. |
| (5) | Plan includes description of completion of work plan. (Description not required) | Not applicable; the IRP schedule was modified to accommodate significant planning events. See the response to WAC 480-100-238(4). |

Appendix D – Public Input Process

A critical element of this resource plan is the public input process.  PacifiCorp has pursued an open and collaborative approach involving the Commissions, customers and other stakeholders in PacifiCorp’s planning process prior to making resource planning decisions. Since these decisions can have significant economic and environmental consequences, conducting the resource plan with transparency and full participation from Commissions and other interested and affected parties is essential.

The public has been involved in this resource plan from its earliest stages and at each decisive step. Participants have both shared comments and ideas and received information. As reflected in the report, many of the comments provided by the participants have been adopted by PacifiCorp and have contributed to the quality of this resource plan. PacifiCorp will adopt further comments going forward, either as elements of the Action Plan or as future refinements to the planning methodology.

The cornerstone of the public input process has been full-day public input meetings held approximately throughout the year-long plan development period. These meetings have been held jointly in two locations—Salt Lake City, Utah and Portland Oregon—using telephone and video conferencing technology.

A key change to the IRP public process occurring during the analysis preparation phase was the state stakeholder dialogue sessions from mid-March through April 2008. (For prior IRPs, the Company relied solely on general public meetings open to all participants.) These goal of these sessions, targeting a state-specific audience, were to (1) capture key resource planning issues of most concern to each state, and discuss how these can be tackled from a system planning perspective, (2) ensure that stakeholders understand PacifiCorp’s planning principles and the logic behind its planning process, and (3) set expectations for what can be accomplished in the current IRP/business planning cycle. This change in public process enhance interaction with stakeholders early on in the planning cycle, and provided a forum to directly address stakeholder concerns regarding equitable representation of state interests during general public meetings.

As far as agenda setting is concerned, PacifiCorp solicited recommendations from the state stakeholders in advance of the session, as well as allowing open time to ensure that participants had adequate time for dialogue. Some follow-up activities arising from the sessions were addressed in subsequent public meetings or another state meeting.

The 2008 public input meetings were augmented by a series of focused technical workshops to provide an opportunity to discuss complex topics for a multi-state utility in more detail.

Participant List

Among the organizations that were represented and actively involved in this collaborative effort were:

Commissions

- Idaho Public Utilities Commission

- Oregon Public Utilities Commission

- Public Service Commission of Utah

- Washington Utilities and Transportation Commission

- Wyoming Public Service Commission

Intervenors

- Brigham Young University

- Citizen’s Utility Board of Oregon

- Committee for Consumer Services State of Utah

- ECOS Consulting

- Energy Trust of Oregon

- Energy Strategies, LLC

- Health Environment Alliance of Utah (HEAL)

- Horizon Wind Energy

- Industrial Customers of Northwest Utilities

- Kennecott

- Mountain West Consulting, LLC

- Northwest Power and Conservation Council

- NW Energy Coalition

- Oregon Department of Energy

- Renewables Northwest Project

- Salt Lake City

- Salt Lake Community Action Program

- Southwest Energy Efficiency Project

- Sierra Club , Utah Chapter

- Utah Association of Energy Users

- Utah Clean Energy Alliance

- Utah Division of Air Quality

- Utah Division of Public Utilities

- Utah Energy Office

- Utah Geological Survey

- Wasatch Clean Air Coalition

- Western Resource Advocates

- West Wind Wires

- Wyoming Industrial Energy Consumers

- Wyoming Office Of Consumer Advocacy

Others

- Portland General Electric (PGE)

- Avista Utilities

- Cadmus Group Inc. – Stuart McMenamin

- John Klingele (Washington Customer)

PacifiCorp extends its gratitude for the time and energy these participants have given to the resource plan.  Your participation has contributed significantly to the quality of this plan, and your continued participation will help as PacifiCorp strives to improve its planning efforts going forward.

Public Input Meetings

PacifiCorp hosted five full-day public input meetings, two half day meetings, one conference call and six state meetings during the 2008.  During the 2008 IRP process presentations and discussions covered various issues including inputs and assumptions, risks, modeling techniques, and analytical results.  Below are the agendas from the public input meetings and the technical workshops.

General Meetings

February 29, 2008

- IRP Regulatory Compliance

- IRP Process Improvements

  - IRP/Business Plan Alignment Strategy

  - Public Process Changes

  - IRP Report Changes

- 2008 IRP Modeling Plan

- 2008 IRP Activity Timeline

- 10-Year Business Planning Process

- Resource Portfolio Development for the IRP Update/2008-2017 Business Plan

  - Load Forecast

- Demand-side Management Resources

- Capacity Load and Resource Balance

- Resource and Other Input Assumptions

- Resource Additions

May 22, 2008

- Update to the 2008 IRP Modeling Plan

- Case Definitions for Portfolio Development

- Natural Gas and Electricity Forecasts

- Resource Characterization

  - Supply side resources

  - DSM Supply Curves

May 23, 2008

- Proposed Oregon Public Utility Commission IRP guidelines on CO2 risk

- Range and timing of CO2 costs represented in the IRP

- Overview of the IPM (Integrated Planning Model) and usage for the IRP

- Overview of the EPRI study on CO2 policy impacts on western power markets

June 26, 2008

- Long-Term Load Forecast

  - Overview of the June 2008 Long Term Load Forecast

  - Total Company Profile

    - Forecast summary and Growth rate comparisons

    - Energy by State and Energy by Class

  - Rocky Mountain Power

    - Energy by Class

    - Utah, Wyoming, Idaho

  - Pacific Power

    - Energy by Class

    - Oregon, Washington,  California

  - Risks to the Forecast

- Load and Resource Balance

- Update on portfolio development cases and modeling process

ITRON Agenda

- Modeling weather response using multi-part slopes and load research data

- Defining daily normal weather for weather normalization of energy

- Overview of the Statistically Adjusted End Use (SAE) approach

- Overview of sales models

- Overview of peak models and normal peak producing weather

- Overview of typical weather scenarios and hourly model forecasts

November 12, 2008 (Conference Call)

- IRP/ Business Plan Alignment

- IRP Development Status and Schedule

- Load Forecast

December 18, 2008

- Updated Schedule

- Updated Load Forecast

- Capacity Load and Resource Balance

- Portfolio Modeling Set-up

- Portfolio Development Results

Handout – Portfolio Development Results Package

January 7, 2009

(Repeat of 12/18/08 for Washington / Idaho participants that missed the earlier meeting)

- Updated Schedule

- Updated Load Forecast

- Capacity Load and Resource Balance

- Portfolio Modeling Set-up

- Portfolio Development Results

Handout – Portfolio Development Results Package

February 2, 2009

- Cover questions on portfolio development

- Stochastic simulation and top-performing portfolio selection approach

- Stochastic simulation results

  - Alternative capacity planning reserve margin analysis

- Portfolio ranking and preference scores

- Preferred portfolio selection

  - Scenario risk analysis

March 11, 2009 (Conference Call)

- IRP Schedule

March 19, 2009 (Conference Call) Utah Parties

- IRP Filing Extension

State Meetings

April 9, 2008 (Utah)

- DSM and enabling technologies

- Range of resource options

- Renewable energy resource analysis

  - Bramble (SB 202) renewables act and other renewable portfolio standards

  - Wind integration

  - Optimal wind amount under stochastic analysis

- Feedback on IRP/Business Plan Improvement Paper (distributed via email on 3/7/08)

- Load forecast

April 10, 2008 (Wyoming)

- DSM and enabling technologies

- Range of resource options

- Renewable energy resource analysis

- Feedback on IRP/Business Plan Improvement Paper (distributed via email on 3/7/08)

- Load forecast

- Planning reserve margin studies

- Regional capacity adequacy/market depth

- Environmental policy

  - CO2 costs/regulations

  - Other environmental externalities

- Other miscellaneous issues

April 21, 2008 (Oregon / California)

- DSM

- Range of supply-side resource options

- Feedback on the IRP/Business Plan improvement paper (distributed via email on 3/7/08)

- Impacts of the Oregon Commission 2008 IRP acknowledgment order

- Renewable energy resource analysis

- Planning reserve margin

- Environmental policy

  - Pending IRP environmental cost guideline no. 8 (UM 1302)

  - CO2 costs/regulations

- Load forecast

- Other miscellaneous issues

April 22, 2008 (Washington)

- DSM

- Range of supply-side resource options

- Feedback on the IRP/Business Plan improvement paper (originally distributed via email on 3/7/08)

- Renewable energy resource analysis and Renewable Portfolio Standards

- Planning reserve margin

- Environmental policy

- Load forecast

- Other miscellaneous issues

April 23, 2008 (Idaho)

- DSM

- Range of supply-side resource options

- Feedback on the IRP/Business Plan improvement paper (originally distributed via email on 3/7/08)

- Environmental/renewable regulatory resource constraints

- Planning reserve margin

- Load forecast

- Other miscellaneous issues

May 14, 2008 (Utah)

- Planning reserve margin studies

- Regional capacity adequacy/market depth

- Hydro capacity assumptions/sensitivity analysis

- Environmental policy

  - CO2 costs/regulations

  - Other environmental externalities

- Other miscellaneous issues

Parking Lot Issues

During the course of the public input meetings, certain concerns or questions needed additional follow-up from PacifiCorp. These questions or issues were taken off-line, addressed at a subsequent public input meeting or workshop, or assembled into a “parking lot” and responded to via a parking lot response document that is emailed to IRP participants. A number of public participants recommended that responses to individual information requests made through the IRP email “mailbox” or other means be made available to all IRP participants. PacifiCorp is investigating a process for doing do that is least burdensome to the company.

Public Review of IRP Draft Document

PacifiCorp distributed the draft version of the IRP document on April 8, 2009, for public review, and requested written comments by May 6, 2009. Parties that submitted comments include:

- Renewable Northwest Project

- Oregon Department of Energy

- Public Utility Commission of Oregon Staff

- Washington Utilities and Transportation Commission Staff

- Utah Association of Energy Users (UAE)

In addition to these comments, a number of Utah parties submitted data requests prior to the filing of the final IRP document under the Utah commission’s 2008 IRP acknowledgment docket (Docket No. 09-2035-01) established on April 27, 2009. These parties included the Utah Department of Public Utilities, the Utah Office of Consumer Services (formerly the Utah Committee of Consumer Services), Utah Association of Energy Users, and Utah Clean Energy.

Clarifications and information requested through the written comments and data requests were incorporated in the final version of the IRP to the extent that PacifiCorp had time to do so.

Contact Information

PacifiCorp’s IRP internet website contains many of the documents and presentations that support the 2003, 2004, 2007 and 2008 Integrated Resource Plans.  To access it, please visit the company’s website at http://www.PacifiCorp.com , click on the menu “News & Info” and select “Integrated Resource Planning”.

PacifiCorp requests that any informal request be sent in writing to the following address or email address below.

PacifiCorp

IRP Resource Planning

825 N.E. Multnomah, Suite 600

Portland, Oregon 97232

Electronic Email Address:

IRP@PacifiCorp.com

Phone Number:

(503) 813-5245

Appendix E – State Load Forecast

Load Forecast 	State Level Summaries

This section provides state-level forecasted retail sales summaries. The tables below show retail sales values after the load reduction impacts of Class 2 DSM programs included in the 2008 IRP preferred portfolio are deducted.  For purposes of the 2008 IRP this version of the data is known as “Post-DSM”.   Chapter 5 provides the forecast information for each state and the system as a whole by year for 2009 through 2018 before Class 2 DSM load reductions are applied.

State Summaries

Oregon

Table E.1 summarizes Oregon state forecasted sales growth by customer class.

Table E.1 – Forecasted Sales Growth in Oregon

| Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 5,401 | 4,819 | 2,781 | 266 | 38 | 0 | 13,304 |
| 2010 | 5,439 | 4,836 | 2,816 | 265 | 37 | 0 | 13,393 |
| 2011 | 5,445 | 4,849 | 2,816 | 265 | 37 | 0 | 13,413 |
| 2012 | 5,476 | 4,872 | 2,853 | 265 | 37 | 0 | 13,504 |
| 2013 | 5,435 | 4,892 | 2,891 | 265 | 37 | 0 | 13,520 |
| 2014 | 5,413 | 4,924 | 2,915 | 265 | 37 | 0 | 13,554 |
| 2015 | 5,390 | 4,955 | 2,936 | 265 | 37 | 0 | 13,583 |
| 2016 | 5,388 | 4,999 | 2,961 | 265 | 37 | 0 | 13,651 |
| 2017 | 5,351 | 5,016 | 2,980 | 265 | 37 | 0 | 13,651 |
| 2018 | 5,376 | 5,040 | 3,000 | 265 | 37 | 0 | 13,718 |
| Average Annual Growth Rate |
| 2009-2018 | (0.1)% | 0.5% | 0.8% | (0.0)% | (0.1)% | N/A | 0.3% |

The forecast of residential sales is expected to grow at a slower rate of 0.9% annually compared to average annual growth rate of around 2% experienced past five years. This slow down is mainly due to housing market slowdown and impact of worsening economic conditions. Population growth is expected to continue in the service area, which is driving some of the growth, while usage per customer in the residential class is expected to decline due to economic slowdown during earlier years. Starting with 2012, use per customer is expected to decline mainly due to the impact of long-term lighting efficiency gains resulting from 2007 Federal Energy legislation and other conservation programs.

Over the first two years of forecast horizon, forecasted commercial class sales are projected to grow at a slower average annual growth rate of 1.3% compared to historical periods due to the impact of worsening economic conditions. Educational, health service, and government related commercial activity are only sectors expected to still grow during the next two years. During the remaining years of the forecast horizon, commercial sales are expected to grow at a higher average annual rate of 1.7%, which is similar to the average growth rate experienced historically. Usage per customer is projected to decline slightly due to increased equipment efficiency.

Forecasted industrial class sales are projected to decline at an average annual rate of 3.2% during 2009 and 2010 due to impacts of the housing market slowdown and current economic recession affecting mostly wood products and semi-conductor manufacturing. Starting with 2011, industrial sales is expected to grow again at an average annual growth rate of 1.7% reflecting recovery in special food processing and wood products sector, along with continued diversification in the manufacturing base in the state.

The factors influencing the forecasted sales growth rates are also influencing the forecasted peak demand growth rates.

Washington

Table E.2 summarizes Washington state forecasted sales growth by customer class.

Table E.2 – Forecasted Retail Sales Growth in Washington

| Retail Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 1,556 | 1,379 | 806 | 159 | 10 | 0 | 3,910 |
| 2010 | 1,554 | 1,382 | 810 | 158 | 10 | 0 | 3,915 |
| 2011 | 1,559 | 1,388 | 807 | 158 | 10 | 0 | 3,922 |
| 2012 | 1,571 | 1,398 | 809 | 158 | 10 | 0 | 3,947 |
| 2013 | 1,564 | 1,408 | 812 | 158 | 10 | 0 | 3,952 |
| 2014 | 1,562 | 1,420 | 815 | 158 | 10 | 0 | 3,965 |
| 2015 | 1,561 | 1,432 | 819 | 158 | 10 | 0 | 3,980 |
| 2016 | 1,567 | 1,448 | 823 | 158 | 10 | 0 | 4,006 |
| 2017 | 1,564 | 1,458 | 826 | 158 | 10 | 0 | 4,015 |
| 2018 | 1,574 | 1,465 | 827 | 158 | 10 | 0 | 4,035 |
| Average Annual Growth Rate |
| 2009-2018 | 0.1% | 0.7% | 0.3% | (0.0)% | 0.1% | N/A | 0.4% |

The forecast of residential sales is expected to grow at a slower average annual growth rate of 0.4% compared to recent historical growth rates of around 1% due to the impact of housing market slowdown and economic recession. The slight growth in residential class sales is due to continuing customer growth driven by population growth and household formation in the PacifiCorp’s service area. Usage per customer is expected to decrease slightly during the early years due to worsening economic conditions. Starting with 2012, use per customer is expected to decline mainly due to the impact of long-term lighting efficiency gains resulting from 2007 Federal Energy legislation.

Over the first two years of forecast horizon, forecasted commercial class sales are projected to grow at a slower rate of 0.8% compared to historical periods due to the impact of current economic recession. Beyond 2010, commercial sales are expected to grow at a higher average annual rate of 1.5%, which is close to average annual growth rate experienced historically.

The industrial class sales are projected to decline for the first four years of forecast horizon mainly due to housing market slowdown affecting wood products sector. For the remaining part of the forecast period industrial sales are expected to grow slightly reflecting recovery in wood products and food processing sectors.

California

Table E.3 summarizes California state forecasted sales growth by customer class.

Table E.3 – Forecasted Retail Sales Growth in California

| Retail Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 387 | 298 | 51 | 98 | 2.49 | 0 | 838 |
| 2010 | 389 | 301 | 51 | 98 | 2.47 | 0 | 841 |
| 2011 | 391 | 308 | 71 | 98 | 2.47 | 0 | 871 |
| 2012 | 396 | 319 | 81 | 98 | 2.48 | 0 | 897 |
| 2013 | 394 | 327 | 88 | 98 | 2.47 | 0 | 910 |
| 2014 | 395 | 337 | 91 | 98 | 2.47 | 0 | 924 |
| 2015 | 397 | 348 | 91 | 98 | 2.47 | 0 | 936 |
| 2016 | 399 | 359 | 91 | 98 | 2.48 | 0 | 950 |
| 2017 | 400 | 368 | 91 | 98 | 2.47 | 0 | 960 |
| 2018 | 405 | 378 | 91 | 98 | 2.47 | 0 | 975 |
| Average Annual Growth Rate |
| 2009-2018 | 0.5% | 2.7% | 6.6% | 0.0% | (0.1)% | N/A | 1.7% |

The rate of growth in residential class sales is driven, by the continuing growth in population in this part of PacifiCorp’s service area. Usage per customer in the residential class is expected to decline due to increasing adoption of more efficient appliances and  the impact of long-term lighting efficiency gains resulting from 2007 Federal Energy legislation effective in 2012. .

The continuing population growth also affects sales in the commercial sector through continued commercial customer growth. Additionally, commercial usage per customer is increasing due to greater square footage per building in new construction, increases in the number of offices, and the increasing use of office equipment in all commercial structures. However, some of this growth is being offset from increased equipment efficiency over the forecast horizon.

Declines over the decade in the lumber and wood product industries production resulted in an overall decline in the industrial sales; however, there are indications that this trend has ended and growth in other businesses are expected to continue. During first four years of forecast horizon, industrial sales are expected to grow due to the addition of new industrial customers. For the remaining years sales are expected to remain flat.

Utah

Table E.4 summarizes Utah state forecasted sales growth by customer class.

Table E.4 – Forecasted Retail Sales Growth in Utah

| Retail Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 6,556 | 7,410 | 7,337 | 189 | 76 | 437 | 22,005 |
| 2010 | 6,687 | 7,589 | 7,364 | 189 | 76 | 436 | 22,341 |
| 2011 | 6,807 | 7,826 | 7,700 | 189 | 76 | 436 | 23,034 |
| 2012 | 6,965 | 8,074 | 7,905 | 189 | 76 | 437 | 23,646 |
| 2013 | 6,978 | 8,271 | 8,241 | 189 | 76 | 436 | 24,192 |
| 2014 | 7,048 | 8,528 | 8,626 | 189 | 76 | 436 | 24,904 |
| 2015 | 7,123 | 8,788 | 9,007 | 189 | 76 | 436 | 25,618 |
| 2016 | 7,217 | 9,064 | 9,251 | 189 | 76 | 437 | 26,234 |
| 2017 | 7,278 | 9,300 | 9,331 | 189 | 76 | 436 | 26,610 |
| 2018 | 7,440 | 9,564 | 9,414 | 189 | 76 | 436 | 27,119 |
| Average Annual Growth Rate |
| 2009-2018 | 1.4% | 2.9% | 2.8% | 0.0% | 0.0% | 0.0% | 2.3% |

Utah continues to see natural population growth that is faster than many of the surrounding states. During the historical period, Utah experienced rapid population growth with a high rate of in-migration. However, the rate of population growth is expected to be lower in the coming decade as in-migration into the state slows down. Over the forecast horizon, residential sales are expected to grow at a slower rate of 1.7% compared to what has been experienced historically due to slow down in-migration and housing market slowdown in near-term. Usage per customer in the residential class is expected to decline due to recent economic recession during early part of the forecast horizon. Beyond 2012, the decline in use per customer is driven by the impact of long-term lighting efficiency gains resulting from 2007 Federal Energy legislation and other energy efficiency and conservation programs.

The continuing population growth also affects sales in the commercial sector by continued commercial customer growth. Usage per customer is projected to decline due to recent economic recession during early part of the forecast horizon, and starts increasing again during later years with new construction having greater square footage per building and increasing usage of office equipment. However, some of this growth is being offset from equipment efficiency gains over the forecast horizon.

The industrial class has been experiencing significant industrial diversification in the state and will continue to cause sales growth in the sector. Utah has a strategic location in the western half of the United States, which provides easy access into many regional markets. The industrial base has become more linked to the region and is less dependent on the natural resource base within the state. This provides a strong foundation for continued growth into the future. For the first two years of forecast horizon, industrial sales are expected grow at a much slower rate of 0.6% annually compared to historical average annual growth rate of 3.5% experienced over the past five years. Expansions by mining and natural resources are projected to slowdown with continuing downturn in manufacturing. Starting 2011, industrial sales are expected to grow again at higher rates similar to what was experienced historically, reflecting expected improvement in overall economic conditions.

Idaho

Table E.5 summarizes Idaho state forecasted sales growth by customer class.

Table E.5 – Forecasted Retail Sales Growth in Idaho

| Retail Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 711 | 409 | 1,637 | 616 | 2.47 | 0 | 3,375 |
| 2010 | 719 | 414 | 1,648 | 615 | 2.51 | 0 | 3,400 |
| 2011 | 731 | 422 | 1,651 | 615 | 2.55 | 0 | 3,421 |
| 2012 | 747 | 432 | 1,657 | 615 | 2.59 | 0 | 3,454 |
| 2013 | 749 | 438 | 1,772 | 615 | 2.64 | 0 | 3,577 |
| 2014 | 756 | 450 | 1,856 | 615 | 2.68 | 0 | 3,681 |
| 2015 | 764 | 462 | 1,863 | 615 | 2.74 | 0 | 3,707 |
| 2016 | 776 | 475 | 1,871 | 615 | 2.80 | 0 | 3,740 |
| 2017 | 784 | 485 | 1,877 | 615 | 2.81 | 0 | 3,764 |
| 2018 | 802 | 497 | 1,884 | 615 | 2.87 | 0 | 3,800 |
| Average Annual Growth Rate |
| 2009-2018 | 1.3% | 2.2% | 1.6% | (0.0)% | 1.7% | N/A | 1.3% |

The recent migration to Idaho has led the residential sales to grow at an average annual growth rate of around 4.0% during past five years. Over the forecast horizon, the residential sales are still projected to grow but at a slower rate of 1.5% annually compared to historical periods due to expected slow-down in in-migration. Usage per customer is expected to decline mainly due to recent economic recession during earlier years, and due to increased energy efficiency and conservation programs for the later years.

The growth rate for commercial class sales is expected to continue to be strong due to customer growth in response to the increasing residential customer growth resulting further growth in service sectors such as education and health care services. Usage per customer is projected to increase, which has been influenced in part by new construction,, increased air conditioning saturation, office equipment, and exterior lighting. However, this growth is somewhat offset by equipment efficiency gains over the forecast horizon.

Industrial sales are expected to decline in 2009 due the impact of worsening economic conditions, and remain flat until the end of 2012. Industrial sales are expected to increase again in 2013 due to some new customers in the service area.

Wyoming

Table E.6 summarizes Wyoming state forecasted sales growth by customer class.

Table E.6 – Forecasted Retail Sales Growth in Wyoming

| Retail Sales – Gigawatt Hour (GWh) |
| --- |
|  | Residential | Commercial | Industrial | Irrigation | Lighting | Other | Total |
| 2009 | 1,054 | 1,493 | 6,898 | 21 | 12 | 0 | 9,478 |
| 2010 | 1,079 | 1,510 | 7,296 | 21 | 11 | 0 | 9,918 |
| 2011 | 1,098 | 1,537 | 7,742 | 21 | 11 | 0 | 10,410 |
| 2012 | 1,122 | 1,569 | 8,283 | 22 | 11 | 0 | 11,008 |
| 2013 | 1,132 | 1,597 | 8,617 | 22 | 11 | 0 | 11,379 |
| 2014 | 1,148 | 1,629 | 8,951 | 23 | 11 | 0 | 11,762 |
| 2015 | 1,166 | 1,660 | 9,276 | 23 | 11 | 0 | 12,138 |
| 2016 | 1,193 | 1,698 | 9,632 | 24 | 11 | 0 | 12,559 |
| 2017 | 1,217 | 1,729 | 9,903 | 24 | 11 | 0 | 12,884 |
| 2018 | 1,258 | 1,763 | 10,168 | 25 | 11 | 0 | 13,225 |
| Average Annual Growth Rate |
| 2009-2018 | 2.0% | 1.9% | 4.4% | 2.2% | (0.5)% | N/A | 3.8% |

Residential sales is expected to grow at a slower average annual rate of 0.8%, compared to an average annual growth rate of around 3% experienced during past five years. Population growth is still expected to continue in the service area, which causes some of the sales growth. Usage per customer in the residential class is expected to decline due to recent economic recession during earlier years. During later years of the forecast horizon, use per customer is expected to decline due to impact of long-term lighting efficiency gains resulting from the 2007 federal energy legislation, effective in 2012.

Over the forecast horizon, commercial class sales are also projected to grow at a slower annual growth rate of 1.3% compared to historical periods. Sales growth is driven mainly by the customer growth in response to still continuing residential customer growth and the growth of the office sector.

Wyoming industrial sales growth, driven by expansion in oil and gas extraction industries, is expected to continue, but at a much reduced rate due to declines in energy prices and worsening economic conditions. Continuing growth in industrial customers in the service area also contributes to the load growth in the residential and commercial customer sectors.

February 2009 Load Forecast Update

PacifiCorp prepared a new load forecast in February 2009 after reviewing actual loads through January 2009. With continuing worsening economic conditions, the Company reviewed the loads in PacifiCorp’s service territories, and revised the forecast accordingly to reflect the latest impact on loads and latest forecast of economic variables.  Below are the capacity and energy tables similar to those found in Chapter 5. These forecasts are net of DSM-related load reductions.

February 2009 Energy Forecast

Table E.7 – February 2009 Annual Load Growth forecasted in Megawatt-hours

| Year | Total | OR | WA | CA | UT | WY | ID | SE-ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2009 | 60,513,585 | 14,717,735 | 4,339,279 | 966,290 | 24,066,263 | 10,167,695 | 3,718,077 | 2,538,247 |
| 2010 | 61,603,833 | 14,810,829 | 4,344,912 | 966,218 | 24,522,312 | 10,646,811 | 3,750,820 | 2,561,930 |
| 2011 | 63,263,930 | 14,921,509 | 4,371,402 | 1,004,954 | 25,404,577 | 11,188,878 | 3,785,957 | 2,586,655 |
| 2012 | 65,029,943 | 15,115,696 | 4,417,268 | 1,037,281 | 26,168,642 | 11,845,914 | 3,829,464 | 2,615,678 |
| 2013 | 66,466,245 | 15,159,619 | 4,424,099 | 1,055,642 | 26,884,446 | 12,253,897 | 3,974,809 | 2,713,732 |
| 2014 | 67,979,096 | 15,223,467 | 4,443,316 | 1,071,104 | 27,682,221 | 12,674,296 | 4,088,986 | 2,795,706 |
| 2015 | 69,346,652 | 15,283,484 | 4,463,835 | 1,084,175 | 28,492,384 | 13,088,772 | 4,118,092 | 2,815,910 |
| 2016 | 70,712,194 | 15,382,412 | 4,496,642 | 1,100,268 | 29,188,167 | 13,549,959 | 4,154,171 | 2,840,577 |
| 2017 | 71,559,345 | 15,402,000 | 4,506,713 | 1,109,880 | 29,596,661 | 13,908,106 | 4,178,291 | 2,857,694 |
| 2018 | 72,717,605 | 15,513,152 | 4,542,282 | 1,126,645 | 30,141,988 | 14,293,815 | 4,215,982 | 2,883,742 |
| Annual Average Growth Rate |
| 2009-18 | 2.1% | 0.6% | 0.5% | 1.7% | 2.5% | 3.9% | 1.4% | 1.4% |
| 2018-28 | 1.1% | 0.5% | 0.6% | 1.3% | 1.5% | 1.3% | 0.8% | 0.8% |
| 2009-28 | 1.6% | 0.5% | 0.6% | 1.5% | 2.0% | 2.5% | 1.1% | 1.1% |

February 2009 System-Wide Coincident Peak Load Forecast

Table E.8 – February 2009 Forecasted Coincidental Peak Load in Megawatts

| Year | Total | OR | WA | CA | UT | WY | ID | SE-ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2009 | 9,941 | 2,362 | 728 | 158 | 4,440 | 1,268 | 625 | 361 |
| 2010 | 10,161 | 2,395 | 737 | 158 | 4,546 | 1,307 | 649 | 368 |
| 2011 | 10,481 | 2,419 | 746 | 166 | 4,710 | 1,371 | 674 | 395 |
| 2012 | 10,805 | 2,446 | 782 | 172 | 4,838 | 1,439 | 705 | 423 |
| 2013 | 11,024 | 2,462 | 763 | 176 | 4,968 | 1,490 | 737 | 428 |
| 2014 | 11,179 | 2,486 | 775 | 177 | 5,126 | 1,538 | 683 | 395 |
| 2015 | 11,425 | 2,501 | 783 | 180 | 5,262 | 1,585 | 708 | 406 |
| 2016 | 11,690 | 2,517 | 790 | 183 | 5,382 | 1,635 | 746 | 436 |
| 2017 | 11,876 | 2,530 | 798 | 189 | 5,478 | 1,678 | 759 | 443 |
| 2018 | 12,110 | 2,551 | 837 | 189 | 5,581 | 1,722 | 770 | 461 |
| Annual Average Growth Rate |
| 2009-2018 | 2.2% | 0.9% | 1.6% | 2.0% | 2.6% | 3.5% | 2.3% | 2.8% |
| 2018-2028 | 1.2% | 0.7% | 0.8% | 1.5% | 1.6% | 1.3% | 0.7% | 0.4% |
| 2009-2028 | 1.7% | 0.8% | 1.1% | 1.7% | 2.0% | 2.3% | 1.5% | 1.5% |

Appendix F – Wind Integration Costs and Capacity Planning Contributions

This appendix summarizes the results of PacifiCorp’s latest wind integration cost analysis, which will continue to be refined and expanded.  This appendix also presents updated wind capacity contribution values using a statistical estimation methodology that was applied for the first time in the Company’s 2007 IRP.

For the wind integration cost study, PacifiCorp developed a methodology to support the costs associated with resource portfolio analysis for the IRP as well as costs used in the evaluation of cost effective renewable resources. This approach decomposes the estimation of inter-hour (hour to hour) and intra-hour (within the hour) costs to integrate intermittent renewable resources. For inter-hour costs, these components include day-ahead and hour-ahead wind forecast variability, or what was referred to as system balancing costs in the 2007 IRP. For intra-hour costs, the components include actual forecast variation, “regulation up” requirements, and “regulation down” requirements. These latter costs pertain to operational assessment and planning of wind variability down to 10-minute intervals or less. In addition to this cost breakdown, PacifiCorp reports integration costs for wind added in the PacifiCorp eastern balancing authority area (PACE), the PacifiCorp west balancing authority area (PACW), and a system weighted-average based on installed capacity in each control area.

The wind integration cost section first provides background on these cost components and then describes the estimation methodologies and cost results. Study caveats and areas for further research are also summarized. The costs results are expressed as a function of the amount and timing of wind included in the 2008 IRP preferred portfolio as well as existing wind (Table F.1). The section concludes with a discussion on future tools, approaches, and external coordination opportunities that PacifiCorp is actively considering or exploring to address the consequences of adding large quantities of wind.

Table F.1 – 2008 IRP Preferred Portfolio Wind Resource Additions by Year

| Year | Capacity Additions (MW) | Capacity Factor | Region |
| --- | --- | --- | --- |
| Existing and Planned through 2010 | 1,284 | -- | System |
| 2011 | 100 | 29% | Walla Walla |
| 2011 | 100 | 29% | Yakima |
| 2012 | 100 | 35% | Southwest Wyoming |
| 2013 | 100 | 35% | Southwest Wyoming |
| 2014 | 100 | 35% | Aeolus Wyoming |
| 2015 | 150 | 35% | Aeolus Wyoming |
| 2016 | 100 | 35% | Aeolus Wyoming |
| 2017 | 100 | 35% | Southwest Wyoming |
| 2018 | 50 | 35% | Southwest Wyoming |
| 2019 | 200 | 35% | Southwest Wyoming |
| 2020 | 200 | 35% | Southwest Wyoming |
| 2021 | 150 | 35% | Southwest Wyoming |
| TOTAL | 2,734 |  |

Due to a number of project schedules, this wind study was not completed in time to be incorporated into the 2008 IRP portfolio modeling. As discussed in Chapter 7 of Volume 1, a value of $11.75/MWh—based on Portland General Electric Company’s latest wind integration study—was used for IRP capacity expansion optimization modeling purposes. While the Company acknowledged the differences between the PacifiCorp and PGE systems and the caveats associated with the PGE study, PacifiCorp believed that the PGE value represented a reasonable proxy until its own study could be completed. If the wind integration cost study yields a significantly different total value, the Company commits to perform a sensitivity study with the System Optimizer capacity expansion model and the 2008 IRP preferred portfolio modeling assumptions to determine the wind resource selection impact of the updated cost value.

Wind Integration Costs

Background

In power planning and dispatch, any period in which load or generation varies from a steady value results in an increased cost for the utility to balance out this variation. Variations in the load and wind generation forecasts are managed with balancing activities. Once the hour-ahead schedule is given to the real-time staff, actual variation in load and wind generation within the hour is balanced using system generation resources. Current balancing activities treat wind forecast variations similarly to load forecast deviation; however, special attention is required for the greater percentage variability and near-term volume growth of wind generation.

The components of wind variability which give rise to integration costs can be divided into two groups: inter-hour and intra-hour. The inter-hour components of wind variability are:

- Day-ahead forecast variation: deviation of the long-term wind forecast (prior energy expectations) to the day-ahead forecast for the day prior to power delivery.

- Hour-ahead forecast variation: deviation of hour-ahead forecast from day-ahead forecast for the hour prior to delivery.

The rebalancing or closure of open positions generated as new load and wind forecast data becomes available requires the payment of transaction costs.

The other set of costs to be considered is associated with the intra-hour (within the hour) components of wind variability:

- Actual forecast variation: deviation of actual hourly average energy from the hour-ahead forecast,

- Regulate down: deviation of hourly maximum energy from the energy at the beginning of the hour, measured with ten minute granularity,

- Regulate up: deviation of hourly minimum energy from the energy at the beginning of the hour, measured with ten minute granularity,

- Automatic Generation Control (AGC): fine scale variation of energy over a one to two minute time scale.

These intra-hour factors require the holding of additional reserves above the standard requirement of 5 percent on wind generation. Due to the small impact, yet large analytical requirement, to determine reserves for AGC, this cost component is not addressed in the wind integration study; however, this issue may be pursued in the future as the company gains more experience in this area.

These inter- and intra-hour factors do not include long-term shaping effects. While benefits or costs may arise due to the hourly difference between expected future energy in moving from a flat-dispatched unit such as geothermal to a shaped profile unit such as wind, on a longer-term view, these differences are only the effect of different hourly prices or expected value on the forecasted future energy; therefore, no actual costs are incurred from balancing a new long-term wind pattern with system resource redispatch.

Determination of Incremental Reserve (“Intra-Hour”) Requirements

Before all reserve costs can be estimated, the megawatt (MW) quantity of reserves required to maintain system reliability as additional wind in the Eastern and Western balancing authority areas of PacifiCorp’s service region must be calculated. In previous wind integration studies, PacifiCorp has not captured the increased load-following reserve requirements caused by wind forecast error within the hour. Increasing the magnitude of wind resources on the system results in an increased reserve requirement due to the fact that wind forecasts are inherently inaccurate, particularly at within-hour granularity. Intra-hour wind variability requires the dispatch of existing units to balance the system as there is no intra-hour market.

Actual Variation

The deviation of the actual hourly average energy from the hour-ahead forecast can be computed given the historical hour-ahead wind generation forecast and actual hourly energy values. This produces statistical hourly distributions of the forecast versus actual energy. If this was the only source of the intra-hour uncertainty, the quantities of reserves may be easier to estimate by taking the 97.5th percentile of the variation distribution which represents two standard deviations of forecast error and the approximate PacifiCorp performance under Control Performance Standard II (CPS II)). Reporting levels of reserves required with a 97.5% confidence interval adds an important reliability dimension to the calculation.  While actual day-to-day balancing operations may require less reserves than suggested in this study, attention to tail events is an important consideration for overall system reliability. Additional considerations include the correlation between forecast error and two additional sources of intra-hour uncertainty: “regulate down” and “regulate up”.

Regulate Down

For the purposes of this study, regulate down is the difference between the maximum wind energy within the hour (using 10-minute interval wind generation data) and the energy at the beginning of the hour. When wind energy moves up within an hour, other generation resources are required to reduce their output to compensate for this intra-hour energy deviation. The analysis of 10-minute interval wind generation data yields a statistical distribution of the difference between the wind energy at the beginning of the hour and the ten-minute period of maximum energy within the hour. Taking two standard deviations of the resultant statistical distribution allows reserves associated with this factor to be estimated at a confidence interval consistent with PacifiCorp’s CPS II standard.

Regulate Up

For the purposes of this study, regulate up is the difference between the minimum wind energy within the hour (using 10-minute interval wind generation data) and the energy at the beginning of the hour. When wind energy moves down within an hour, other resources on the system are required to increase output to compensate for this intra-hour energy deviation. The analysis of 10-minute interval wind generation data yields a statistical distribution of the difference between the wind energy at the beginning of the hour and minimum energy within the hour. Taking two standard deviations of the resultant statistical distribution allows reserves associated with this factor to be estimated at a confidence interval consistent with PacifiCorp’s CPS II standard.

These three intra-hour factors for different locations are not independent of each other and tend to exhibit some positive and negative correlations that are taken into account when measuring the standard deviation of the simultaneous and combined effect of these factors. Before estimating the total reserves requirement for intra-hour integration, correlations are estimated and applied to determine the total combined uncertainty on a regional level. Two standard deviations for the total probability distribution allowed for computation of reserves associated with all intra-hour factors in the Eastern and Western control areas.

System Balancing (“Inter-Hour”) Cost Calculation

The shape of a wind energy delivery pattern is different than the delivery patterns of other generation resources. The wind is intermittent and variable, so a wind pattern that is input as a forecast of expected generation differs considerably from the actual generation delivered.  Alternatively, a dispatchable resource, like a CCCT, does maintain a flat schedule of energy delivery so generation units on the system do not have to redispatch and balancing activities do not have to occur to compensate for a block of flat energy. When a short-term wind forecast is created and compared to a longer-term wind energy expectation, balancing activities may have to occur to balance the deviation between the wind forecasts and realized output.

Day-ahead Variation

Because a day-ahead forecast of hourly wind energy always differs from the expected future energy level by some amount, the ideal of delivering a balanced energy profile on a day-ahead basis requires some adjustment in the energy position via transactional balancing. While deviation from a perfectly balanced schedule is normal, estimation of the impacts are assumed to be eliminated by balancing activities to the extent possible.

Fixing the imbalance in real-time is generally more expensive and, to this end, this study assumes that all forecast imbalances are addressed in the day-ahead market.  This is limited by the size and availability of standard 25 MW blocks for standard 16-hour or 8-hour (on-peak and off-peak) delivery patterns. PacifiCorp incurs transaction costs every time it trades a block of 25 MW. These transaction costs may vary depending on the time of day and location and are currently estimated to be about $0.50 per MWh over market for purchases to cover a shortfall in forecast, and under market for sales to cover a forecast excess during most transactional hours. This internal assumption is generally accepted by balancing staff and is consistent with the assumption used in Portland General Electric’s wind integration study.  Given the hourly difference between the long-term expected wind generation and the historical wind generation forecasts at the day-ahead horizon, these costs may be estimated.

To calculate the transactional costs associated with balancing the hourly long-term expected wind generation to the hourly day-ahead wind schedule, the variation was calculated as the absolute value of the difference between the two forecasts.  For October 2008 through April 2009, a sample week of hourly data from all existing wind plants on the system (for which data was available) was chosen for each month.  The distinction of costs between the Eastern and Western side of the system is reflective of different degrees of forecast accuracy.  The existing data was scaled up to reflect the planned East and West additions to the system, 200 and 1,250 MW, respectively, for a total of 773 MW on the West and 1,784 MW on the East.  The total deviation was found for each day for both heavy load and light load hours.

For example, on Day 1, the deviation for all heavy-load hours was added.  The same was done for light-load hours.  The resulting totals were rounded up to the nearest 25 MW increment to reflect actual transaction sizes available in the day-ahead market. The total daily variation was added up for each sample week and multiplied by an estimated bid-ask spread of $0.50 per MWh.  PacifiCorp’s front office provided this bid-ask spread estimate. The total transaction costs incurred for all sample weeks was divided by the total MWh of long-term expected generation for the same sample weeks and presented on a $/expected MWh basis provided in Table F.2.  Transaction costs in the table below are lower in the Eastern control area and may be the result of more accurate forecasting, a more uniform wind pattern, and higher locational diversity.

Table F.2 – Wind Inter-hour Day-Ahead Balancing Transaction Costs

| System | Wind Expected to Day-Ahead ($/Expected MWh) |
| --- | --- |
| West | $0.41 |
| East | $0.23 |

Hour-ahead variation

Similar to the day-ahead variation, the rebalancing of energy to close open positions due to the change in forecasted wind energy from the day-ahead schedule to the hour-ahead schedule also adds transaction costs. Hour-ahead transactions assume transactions in 1 MW increments, but transactions costs are up to twenty-five percent of the per-MWh energy costs.  The precise percentage depends on then–current market conditions and the amount of energy traded.

In order to derive the hour-ahead forecast used by real-time for scheduling, a persistence methodology was used.  When the real-time traders schedule wind for the upcoming hour, it is assumed that the actual wind generation level from the previous hour will persist for the next hour.  In this study, the hour-ahead schedule was based on persistence.  The existing October 2008 through April 2009 data was scaled up to reflect the planned East and West additions to the system, 200 and 1,250 MW, respectively, for a total of 773 MW on the West and 1,784 MW on the East.  The total deviation was found for each day for both heavy load and light load hours.

The day-ahead to hour-ahead balancing transaction costs were calculated in largely the same fashion with the exception of the bid-ask spread used.  Transactions undertaken to correct an imbalance, due to variations between the day-ahead and hour-ahead forecast, are of higher cost, which is dependent upon the quantity of power needed and market conditions. Figure F.1 shows the hourly frequency of various imbalance sizes based on 1,300 hourly deviations, which is constitutes the total number of sample hours.

Figure F.1 –Hour-Ahead Variation Frequency Distribution

It is also generally accepted in the hour-ahead market that, as the size of the transaction increases, the costs associated with transactions increases.  Based on the frequency distribution above, a smaller cost is required for transactions of about 50 MW, which are transacted much more frequently. The distribution also indicates that, in general, transaction costs on the west portion of the system will be higher due to lower forecast accuracy. Specific transaction assumptions are listed in Table F.3.

Table F.3 – Inter-hour Hour-Ahead Balancing Transaction Cost Ranges

| Trade Size (MW) | Transaction Cost (Bid-ask) Percentage by Region |
| --- | --- |
| Lower Bound | Upper Bound | West | East |
| 0 | 100 | 5% | 5% |
| 101 | 200 | 10% | 10% |
| 201 | 1,000 | 25% | 15% |

Table F.3 indicates that as more wind projects are added to the system, forecast improvements are necessary in order to prevent large variations which come with a higher market transaction cost.  Consider, on an average basis, if a 100 MW wind project is added to the system, the shape of the distribution of the size of hourly errors will be about the same.  As the distribution of error increases in a linear fashion, the cost associated with rebalancing does not. Since costs are greater as the size of transactions increases, the distribution of errors may increase on a linear basis, but costs will increase faster.

Once the hourly variance from the day-ahead forecast to the hour-ahead forecast has been calculated, the specific hourly variance is applied to the corresponding hourly real-time price from an independent energy information company that publishes hourly wholesale power indices. For PACE, Four Corners was used and for PACW, Mid-Columbia was used. The size of the variance determines the transaction cost, which is the product of the hourly price and the corresponding variance percentage. In Table F.4 below, the day-ahead to hour-ahead transaction cost is presented along with the total inter-hour cost for the east and west balancing authority areas.

Table F.4 – Wind Inter-hour Hour-Ahead Balancing Transaction Costs

| System | Wind Expected to Day-Ahead ($/Expected MWh) | Wind Day-Ahead to Hour-Ahead ($/Expected MWh) | Total Wind Inter-hour ($/Expected MWh) |
| --- | --- | --- | --- |
| West | $0.41 | $2.80 | $3.21 |
| East | $0.23 | $1.89 | $2.12 |

Determination of Incremental Reserve (“Intra-Hour”) Requirements

The indicated MW of additional reserves needed to balance the total intra-hour wind generation variations on PacifiCorp’s system due to incremental wind addition is unique to each region of PacifiCorp’s system.  These values were derived by multiplying the within-hour standard deviation from all wind projects in each of the three regions in this study by a Z score of 1.96 (which is representative of the 97.5% confidence interval and PacifiCorp’s CPS II requirement) and is inclusive of all three sources of inter-hour variation discussed.  Table F.5 presents the corresponding reserve volumes for each region in the system and reflects fixed volumes of new annual wind projects spread through 2021 consistent with the company’s general long-term wind acquisition strategy.

Table F.5 – Total Wind System Intra-hour Reserve Requirement (MW)

| Resources | Capacity Additions | Total Reserve Requirement | Incremental Increase | Cumulative Increase |
| --- | --- | --- | --- | --- |
| Existing and Planned through 2010 | 1,284 | 295.4 |  |
| 2011 | 200 | 312.7 | 17.3 | 17.3 |
| 2012 | 100 | 331.2 | 18.5 | 35.8 |
| 2013 | 100 | 339.1 | 7.9 | 43.7 |
| 2014 | 100 | 349.1 | 9.9 | 53.6 |
| 2015 | 150 | 367.8 | 18.8 | 72.4 |
| 2016 | 100 | 380.5 | 12.6 | 85.0 |
| 2017 | 100 | 385.1 | 4.6 | 89.7 |
| 2018 | 50 | 402.0 | 16.9 | 106.6 |
| 2019 | 200 | 420.9 | 18.9 | 125.5 |
| 2020 | 200 | 433.2 | 12.3 | 137.7 |
| 2021 | 150 | 452.9 | 19.7 | 157.5 |

Incremental Reserve (“Intra-Hour”) Cost Calculation

The previous section described the calculation of MW quantities associated with adding wind generation resources. In this section, the calculation of the cost associated with wind additions is described.

As the company installs larger volumes of wind resource generation, the company’s cost to integrate these intermittent resources is anticipated to increase.  This is because more and more non-wind resources must be held back to allow flexibility to follow the intra-hour volatility of the wind generation.  Resources with greatest dispatch flexibility that are not already in use to serve load are typically used for integration.

The hour-to-hour dispatch of non-wind resources is not a trivial decision.  The company’s owned hydro plants with storage capability and the Mid-Columbia hydro contracts often provide the needed flexibility. However, these hydro resources are not of adequate size to integrate all of the anticipated wind variability.  Partially loaded gas turbines provide additional flexibility.  Due to its low cost, it is economically preferable that coal is fully utilized to serve load rather than backed off to provide wind integration.

The study assumes that PacifiCorp would balance the intermittency of the wind by holding additional reserves on existing and future flexible resources. A reserve resource stack model was developed that is used to estimate both in-the-money and out-of-the-money reserve costs.  The modeling of reserves added the requirements for load and reduced the requirement for hydro and contract reserves in the valuation. In-the-money reserve costs are measured by calculating market prices less the cost of thermal dispatch (fuel, variable O&M, CO2 emission costs, and SO2 emission costs). Out-of-the-money reserve costs are estimated by calculating the above-market operating costs of a unit dispatched at minimum capacity divided by the total amount of reserve capability available once at minimum load.  The reserve requirement is then filled by the lowest cost in-the-money or out-of-the-money thermal resource considering the resource reserve capacities and unit ramp rates. PacifiCorp used market prices at Mona, Mid-Columbia, and Four Corners with the $45 CO2 October 2008 price curve (2013 is the assumed start of CO2 regulation).

The wind reserve results reported in Table F.6 are at the system level and include both existing and incremental wind projects. The reserve results are levelized on a real basis (with inflation effects removed) for the study period 2009 to 2030 by dividing the reserve cost by the wind expected megawatt-hour generation. The existing reserve available data ended in April 2014 so the data was escalated using the prior three-year average. The reserve study considered heavy load and light load hour for the analysis but was limited by the wind reserves calculated on an annual basis.

Table F.6 – Costs for Wind Intra-hour Incremental Reserves

| Wind Existing and Incremental Approximately (MW) | System Wind Intra-hour Reserves |
| --- | --- |
| 2,734 | $9.40 |

To determine the cost impact of using a lower CO2 cost, PacifiCorp estimated the intra-hour reserve cost assuming an $8 CO2 tax. The wind reserve costs dropped to $7.51/MWh, expressed in $2009, representing a 20-percent decline relative the cost under the $45 CO2 cost study.  It is not necessarily true; however, that increasing the cost of CO2 equates to a higher reserve cost.  This relationship may be a function of near-term natural gas price curves.

Conclusion

The wind integration cost results are presented in Table F.7, and range from $9.96/MWh to $11.85/MWh for PacifiCorp’s system in 2009 dollars, depending on the CO2 tax level scenario. The inter-hour wind results were developed by weighting the PACW inter-hour wind costs by 30% (the PACW MW share of the system total) and the PACE wind costs by 70%, then adding the system wind reserves.

Table F.7 – Wind Integration Costs (2009 Dollars)

| CO2 Cost Scenario | System Balancing Cost (Inter-hour) | Intra-hour Cost ($/Expected MWh) | Total ($/Expected MWh) |
| --- | --- | --- | --- |
|  | Expected to Day-Ahead Cost ($/Expected MWh) | Day-Ahead to Hour-Ahead Cost ($/Expected MWh) | Total Cost ($/Expected MWh) |  |  |
| $8 tax | $0.28 | $2.17 | $2.45 | $7.51 | $9.96 |
| $45 tax | $0.28 | $2.17 | $2.45 | $9.40 | $11.85 |

The system wind integration costs are in line with the $11.75/MWh proxy value used for 2008 IRP portfolio modeling. Consequently, PacifiCorp did not conduct a wind resource sensitivity study using PacifiCorp’s updated values.

Tools, Approaches, And External Opportunities

There are a number of wind integration tools, approaches, and potential external coordination opportunities that the Company has implemented or is actively investigating. These include the following.

- Real-Time Balancing: PacifiCorp has significantly advanced its forecasting process. At present, forecasts in advance of real-time scheduling are done at 40 to 45-minutes prior to the delivery hour and on a persistence forecast. Operational experience has shown that persistence based scheduling in real-time significantly reduces forecast error from using model-based techniques in advance of 40 to 45-minutes prior to the delivery hour.

- Day-to-Day Balancing - PacifiCorp has retained an external firm to prepare forecasts every six hours for the primary purpose of day-to-day balancing activities. Finding tools to enhance/improve the day-to-day forecast is likely to lead to enhanced real-time forecasting and, therefore, reduced load following reserve requirements during most hours. Specific tools that will require ongoing investigation and/or capital allocation may include: enhanced wind project status feedback (to the external forecasting contractor); on-site radar devices; and/or contracting with third parties who can provide regional real-time wind data or pooling information with other control area operators to obtain consolidated forecasts.

- Peer Review – PacifiCorp will consider incorporating the concept of the peer group review for evaluation of its ongoing refinement of wind integration cost estimation methods as part of the IRP public participation process. At present, the industry is suffering from the lack of standardized wind integration study methods. As a result, it is necessary to examine each such study to unravel its assumptions and methodology to be able to understand how it compares to other studies.

- Curtailment Tools – A number of tools exist for either curtailing wind project output during those hours where a critical need exists or limiting the impact of wind resources on the system during unusual ramping events. Such tools may include:

- Ramp Rate Limiters: PacifiCorp’s General Electric wind turbines in Wyoming include a ramp rate limiter option. This option enables PacifiCorp operators to set a maximum rate by which a wind project’s output will change over time (MW/minute) during periods when the wind is ramping up

- Curtailment - PacifiCorp’s General Electric wind turbines in Wyoming include a curtailment option. This option enables PacifiCorp operators to curtail or limit the output of wind projects on short notice.

- Power Purchase Agreements (PPA) - Many of PacifiCorp’s PPAs include provisions enabling the Company to curtail output for certain reliability events or for other reasons. New PPAs all have such provisions. For example, PPAs entered into via the RFP process all contain such curtailment provisions.  Additionally, the company will continuously review and refine PPA contractual requirements for output forecasting, outage reporting and curtailment.

- Large Generator Interconnection Agreements (LGIA) – Federal Energy Regulatory Commission LGIAs all contain provisions enabling the transmission provider to curtail or disconnect generation if necessary for reliability reasons.

- Mid-Hour Scheduling Practices – At present, the practice of the WECC only compels mid-hour schedule changes when there is an “emergency” on the sink balancing authority area. PacifiCorp currently has other third Party wind generators who schedule wind generation for export out of PACW and PACE. There is no established practice compelling mid-hour schedule changes when the source balancing authority area is having an “emergency” which results in other than comparable service for point-to-point transmission customers as compared to network transmission customers. An evolution of mid-hour scheduling practices at WECC for emergencies involving wind generation could lead to a reduction in load following reserves being held. As the level of wind resources being scheduled for export out of a balancing authority area increases, the need for mid-hour schedule changes can be expected to significantly increase.

- Transmission Tariffs – A variety of new tariffs and/or tariff adjustments can be expected to evolve over time:

- Integration Tariff: At present, PacifiCorp does not have an integration tariff. An integration tariff may be appropriate when a transmission provider must integrate wind projects on an hourly basis that are scheduled off-system. As the demand for renewable resources continues to grow in the WECC, PacifiCorp may see a growing preponderance of interconnected wind projects being scheduled for export out of the balancing authority area. This is the main reason that BPA created an integration tariff. Integration tariffs attempt to appropriately capture the cost of intra-hour integration costs. An integration tariff also sends an appropriate price signal to generator owners regarding the value of good forecasting.

- Imbalance Tariff: PacifiCorp’s imbalance tariff should be reviewed to determine if it provides an appropriate price signal to generation owners for good forecasting practices.  It may be through the combination of an integration tariff and an imbalance tariff with increasing penalties that wind generation owners will have the incentive to deploy effective forecasting tools.

- LGIA: It may be necessary to evolve FERC standard LGIA language to capture the forecasting diligence and curtailment flexibility required of wind resources by transmission operators who also operate as the balancing authority.

- Incentives: If a transmission operator is also a regulated utility with load service obligation and is subject to RPS, it may be necessary for FERC to consider incentives for the entity who is the recipient of intermittent renewable resources (such as wind) to also be the entity responsible for providing the load-following reserves. Since RPS requirements are load-based, a fair application may be to require the load (i.e., sink control area) receiving the intermittent resource to either provide the load-following reserves necessary or telemeter the resource into its own balancing authority area.

- Wind-only Balancing Authorities – Some entities in the Pacific Northwest appear willing to pursue formation of a wind-only balancing authority. Here, an entity would contribute their wind resource into the balancing authority, schedule out of the balancing authority, and be responsible for their pro-rata share of intra-hour integration costs. Any entity in the market would be eligible to bid in load-following services to perform the balancing. This effort is only at the conceptual stage.

- Reserve Sharing: The creation of bilateral arrangements in addition to that found in the NWWP.

- Balancing Market: The creation of a 10-minute balancing market would provide accurate and appropriate price signals to owners of wind generation and would most likely be incorporated into integration tariffs in lieu of capacity costs.

- ACE Pooling: ACE pooling is yet another way to spread or socialize volatility associated with wind resources across multiple balancing authority areas.

- Independent System Operator (ISO): A reassessment of combining multiple balancing authorities.

- Flexible Resources: Creating more accurate forecasts, curtailing wind resources when necessary, and deploying one or more of the tools discussed above, can be expected to help optimize and minimize the amount of load-following reserves that a control area must carry to integrate wind resources. Ultimately, this will not be enough, leading to the need for significant transmission investments and/or an ISO. It is reasonable to expect that flexible resources will be required to manage the significant influx of wind resources that is likely to result from a Federal RPS, or to respond to increasing RPS standards in states like California. A significant policy issue centers on the payment for these flexible resources when they are required to maintain control area reliability. A time honored alternative is to apply the costs on a causation basis or socialize them in some fashion as deemed by the Federal Energy Regulatory Commission.

Wind Capacity Planning Contribution

For the 2008 IRP, PacifiCorp used the Z statistic method for estimating peak load capacity contributions on a monthly basis for incremental 100 MW blocks of wind capacity at each site reflected in the IRP models. This method is based on estimating the effective load carrying capability of wind. No changes to the methodology took place for the capacity contribution update; wind output data was updated based on new information obtained for resources added to PacifiCorp’s system.

The results of the updated analysis as applied to the proxy (100-megawatt) wind resource options are shown in Table F.8. The July peak load carrying capability (PLCC) values are highlighted, since these are used by the capacity expansion model for determining how capacity reliability constraints are met.

Key observations from these results include the following:

The incremental capacity contribution within an area declines due to correlations (lack of diversity) among wind projects in an area.

The capacity contribution decline is greatest for projects with more variability of their on-peak contributions.

The capacity contribution varies over the year, primarily due to expected on-peak generation.

Table F.8 – Incremental Capacity Contributions from Proxy Wind Resources

*The generation data used to determine the PLCC for the generic Utah wind resource was derived from a single bid from the 2003 Renewables RFP.  When compared to generation from qualifying facilities within the general region, the estimates appear reasonable.

Appendix G – DSM Decrement Analysis

Class 2 DSM Decrement Analyses

This section presents the results of the Class 2 demand-side management decrement analysis. For this analysis, the preferred portfolio was used to calculate the decrement value of various types of Class 2 programs following the methodology described in Chapter 7. PacifiCorp will use these decrement values when evaluating the cost-effectiveness of potential new programs between IRP cycles. Note that for the next IRP, the company intends to model Class 2 DSM programs as options in the CEM.

Modeling Results

For the 2008 IRP, results are provided for both the $8 and $45 CO2 tax levels to provide a perspective on CO2 tax impacts on DSM Decrement values.  For each tax level there are two tables and two charts providing an east and west nominal dollar per megawatt values. Tables G.1 and G.2 show the nominal results of the 12 11 decrement cases for each year of the 2017-year study period. Although no resources were deferred or eliminated from the portfolio due to the addition of Class 2 decrements, there is value in having to produce less generation to meet a smaller load. Consistent with the results for the 2007 IRP, the residential air conditioning decrements produce the highest value for both the east and west locations. The commercial lighting, residential lighting, and system load shapes provide the lowest avoided costs. Much of their end use shapes reduce loads during a greater percentage of off-peak hours than the other shapes and during all seasons, not just the summer.

Table G.1 – Annual Nominal Avoided Costs for Decrements, $8 CO2 Tax, 2010-2017

| Decrement Name | Actual Load Factor | Decrement Values (Nominal $/MWh) |
| --- | --- | --- |
|  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 |
| EAST |
| Residential Cooling | 7% | 52.83 | 58.07 | 61.88 | 73.26 | 69.99 | 75.43 | 82.86 | 93.08 |
| Residential Lighting | 60% | 36.26 | 42.45 | 45.74 | 52.64 | 52.19 | 54.07 | 57.62 | 65.19 |
| Residential Whole House | 46% | 36.61 | 42.33 | 45.54 | 52.09 | 52.12 | 53.99 | 57.92 | 65.67 |
| Commercial Cooling | 16% | 44.08 | 49.76 | 53.28 | 59.67 | 58.96 | 61.71 | 67.75 | 76.04 |
| Commercial Lighting | 49% | 37.02 | 43.44 | 46.09 | 52.92 | 52.77 | 54.55 | 58.36 | 65.96 |
| System East System Load Shape | 65% | 35.01 | 40.62 | 43.85 | 50.50 | 50.66 | 52.16 | 55.99 | 63.10 |
| WEST |
| Residential Cooling | 20% | 45.46 | 54.20 | 57.77 | 65.81 | 65.06 | 73.29 | 81.77 | 87.30 |
| Residential Heating | 28% | 40.65 | 50.96 | 53.06 | 55.86 | 56.89 | 61.13 | 66.48 | 71.37 |
| Residential Lighting | 60% | 41.67 | 50.08 | 52.78 | 58.11 | 58.11 | 64.22 | 71.04 | 75.78 |
| Commercial Cooling | 16% | 44.37 | 52.76 | 56.47 | 63.35 | 63.35 | 71.19 | 78.97 | 84.60 |
| Residential Whole House | 35% | 40.86 | 49.54 | 52.44 | 57.27 | 57.90 | 63.27 | 69.45 | 73.94 |
| Commercial Lighting | 49% | 40.94 | 49.62 | 52.39 | 57.38 | 58.28 | 63.77 | 69.64 | 74.96 |
| System West System Load Shape | 67% | 40.46 | 48.34 | 50.81 | 56.11 | 56.41 | 62.06 | 68.65 | 73.05 |

Table G.2 – Annual Nominal Avoided Costs for Decrements, $8 CO2 Tax, 2018-2026

| Decrement Name | Decrement Values (Nominal $/MWh) |
| --- | --- |
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |
| EAST |
| Residential Cooling | 102.24 | 112.31 | 121.93 | 112.80 | 112.66 | 124.13 | 124.39 | 135.27 | 145.24 |
| Residential Lighting | 70.62 | 78.45 | 79.26 | 78.82 | 80.00 | 85.72 | 89.19 | 95.44 | 98.77 |
| Residential Whole House | 71.16 | 79.20 | 80.09 | 78.90 | 80.18 | 86.15 | 88.88 | 95.27 | 98.67 |
| Commercial Cooling | 84.04 | 92.00 | 96.26 | 92.70 | 95.08 | 100.60 | 104.44 | 116.81 | 122.93 |
| Commercial Lighting | 70.47 | 78.29 | 78.36 | 78.19 | 79.21 | 84.77 | 87.05 | 94.65 | 98.23 |
| System East System Load Shape | 68.27 | 75.81 | 76.78 | 75.78 | 77.21 | 83.04 | 85.74 | 92.24 | 95.51 |
| WEST |
| Residential Cooling | 93.85 | 94.81 | 95.96 | 91.33 | 93.32 | 98.57 | 105.22 | 102.35 | 104.04 |
| Residential Heating | 74.67 | 72.50 | 71.74 | 72.95 | 73.76 | 79.03 | 84.11 | 86.21 | 86.37 |
| Residential Lighting | 80.32 | 79.57 | 79.66 | 78.89 | 79.65 | 85.08 | 89.11 | 91.42 | 91.06 |
| Commercial Cooling | 89.91 | 90.65 | 92.57 | 88.36 | 91.16 | 95.41 | 101.51 | 102.57 | 101.83 |
| Residential Whole House | 78.50 | 77.34 | 77.06 | 76.33 | 78.12 | 83.98 | 86.93 | 87.72 | 87.72 |
| Commercial Lighting | 79.57 | 79.13 | 78.92 | 78.38 | 79.88 | 85.30 | 87.32 | 89.74 | 90.80 |
| System West System Load Shape | 77.82 | 76.59 | 77.55 | 75.90 | 77.41 | 82.75 | 85.88 | 88.18 | 88.50 |

Figures G.1 and G.2 show the decrement costs, at the $8 CO2 tax level, for each end use along with the average annual forward market price for that location: Palo Verde (PV) for the east and Mid-Columbia (Mid-C) for the west.

Figure G.1 – East Decrement Price Trends

Figure G.2 – West Decrement Price Trends

Table G.3 – Annual Nominal Avoided Costs for Decrements, $45 CO2 Tax, 2010-2017

| Decrement Name | Actual Load Factor | Decrement Values (Nominal $/MWh) |
| --- | --- | --- |
|  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 |
| EAST |
| Residential Cooling | 7% | 53.70 | 73.94 | 74.98 | 117.68 | 116.62 | 122.25 | 135.21 | 144.46 |
| Residential Lighting | 60% | 31.96 | 52.07 | 56.66 | 94.01 | 95.14 | 99.41 | 104.35 | 111.92 |
| Residential Whole House | 46% | 32.57 | 51.83 | 56.38 | 93.24 | 94.45 | 99.71 | 105.21 | 112.12 |
| Commercial Cooling | 16% | 43.18 | 63.20 | 65.63 | 102.02 | 104.76 | 109.17 | 117.81 | 124.47 |
| Commercial Lighting | 49% | 32.54 | 52.90 | 57.46 | 93.25 | 96.33 | 100.21 | 104.79 | 111.92 |
| East System Load Shape | 65% | 30.75 | 49.99 | 54.65 | 91.53 | 92.74 | 96.96 | 101.58 | 109.26 |
| WEST |
| Residential Cooling | 20% | 59.03 | 72.98 | 74.52 | 109.12 | 112.50 | 120.10 | 130.56 | 137.63 |
| Residential Heating | 28% | 48.29 | 61.90 | 64.46 | 92.60 | 96.72 | 103.87 | 109.12 | 117.53 |
| Residential Lighting | 60% | 52.62 | 65.45 | 66.90 | 97.27 | 100.74 | 108.47 | 116.47 | 123.88 |
| Commercial Cooling | 16% | 57.25 | 71.28 | 73.28 | 104.00 | 109.54 | 116.75 | 127.23 | 133.53 |
| Residential Whole House | 35% | 50.99 | 63.52 | 65.63 | 95.82 | 99.57 | 107.75 | 113.38 | 120.46 |
| Commercial Lighting | 49% | 49.80 | 63.75 | 65.81 | 94.58 | 99.59 | 107.17 | 114.58 | 122.07 |
| West System Load Shape | 67% | 51.08 | 63.26 | 64.58 | 94.71 | 98.48 | 105.64 | 113.12 | 120.18 |

Table G.4 – Annual Nominal Avoided Costs for Decrements, $45 CO2 Tax,  2018-2026

| Decrement Name | Decrement Values (Nominal $/MWh) |
| --- | --- |
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |
| EAST |
| Residential Cooling | 152.82 | 158.52 | 180.89 | 165.62 | 172.36 | 178.33 | 172.47 | 185.17 | 188.46 |
| Residential Lighting | 116.88 | 125.76 | 130.84 | 129.93 | 134.57 | 141.52 | 140.90 | 143.71 | 144.93 |
| Residential Whole House | 116.75 | 124.37 | 132.11 | 129.20 | 133.77 | 141.87 | 141.18 | 143.20 | 144.61 |
| Commercial Cooling | 132.18 | 141.85 | 150.46 | 146.17 | 152.92 | 158.08 | 158.57 | 166.04 | 170.87 |
| Commercial Lighting | 115.94 | 124.05 | 129.78 | 127.73 | 133.24 | 138.94 | 140.62 | 142.57 | 145.73 |
| East System Load Shape | 114.21 | 121.38 | 127.20 | 125.65 | 130.03 | 136.92 | 136.81 | 139.36 | 140.93 |
| WEST |
| Residential Cooling | 142.50 | 145.06 | 152.31 | 146.21 | 150.59 | 156.77 | 159.62 | 152.27 | 148.50 |
| Residential Heating | 120.50 | 118.93 | 122.56 | 123.06 | 127.82 | 133.85 | 136.06 | 133.37 | 130.60 |
| Residential Lighting | 126.32 | 127.27 | 132.71 | 130.32 | 135.19 | 140.90 | 141.74 | 138.77 | 136.02 |
| Commercial Cooling | 138.41 | 139.31 | 146.46 | 140.89 | 148.89 | 152.79 | 158.48 | 149.99 | 147.43 |
| Residential Whole House | 124.10 | 122.40 | 129.88 | 126.73 | 132.48 | 138.68 | 139.15 | 134.55 | 132.83 |
| Commercial Lighting | 124.51 | 124.80 | 131.95 | 128.38 | 134.59 | 139.90 | 141.22 | 136.24 | 134.93 |
| West System Load Shape | 123.39 | 122.35 | 129.20 | 125.80 | 131.20 | 137.05 | 137.61 | 134.76 | 132.21 |

Figures G.1 3 and G.2 3 show the decrement costs, at the $45 CO2 tax level, for each end use along with the average annual forward market price for that location: Palo Verde (PV) for the east and Mid-Columbia (Mid-C) for the west.

Figure G.3 – East Decrement Price Trends for $45 CO2 Tax Level

Figure G.4 – West Decrement Price Trends for $45 CO2 Tax Level

Appendix H – Load and Resource Balance with Lake Side II Included as a Planned Resource in 2012

The following tables and charts report load and resource balance information for capacity and energy assuming that the Lake Side II combined-cycle plant (with a 596 MW summer capability) is included as a planned resource in 2012. As noted in the IRP main volume, PacifiCorp’s initial portfolio analysis assumed the inclusion of this resource.

Table H.1 – Capacity Loads and Resources including Lake Side II (12% Target Reserve Margin)

Table H.2 – System Capacity Loads and Resources including Lake Side II (15% Target Reserve Margin)

Figure H.1 – System Capacity Position Trend including Lake Side II

Figure H.2 – East Capacity Position Trend including Lake Side II

Figure H.3 – System Average Monthly and Annual Energy Balances including Lake Side II

Figure H.4 – East Average Monthly and Annual Energy Balances including Lake Side II

# Footnotes

California and Wyoming requirements are not summarized in Table C.1. The Wyoming requirements are discussed in the chapter text. California guidelines exempt a utility with less than 500,000 customers in the state from filing an IRP.

PacifiCorp, 2007 Integrated Resource Plan, Appendix J, pp. 193-4.

The CPS II standard refers to the compliance bounds for the 10-minute average of the Area Control Error.

This period was chosen due to limited data availability.

Values expressed are representative of the average cost to transact for the October 2008 through April 2009 period.

Persistence based scheduling is the practice of scheduling production for the next hour based on then-current production.

Appendix G to the LGIA

See, Dragoon, K., Dvortsov, V, “Z-method for power system resource adequacy applications” IEEE Transactions on Power Systems (Volume 21, Issue 2, May 2006), pp. 982 – 988.