EXHIBIT NO. ___(ZDJ-1T)
DOCKET NO. UE-111048/UG-111049
2011 PSE GENERAL RATE CASE
WITNESS:  ZANA D. JONES

BEFORE THE

WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION

| WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION, Complainant, v. PUGET SOUND ENERGY, INC., Respondent. |  | Docket No. UE-111048 Docket No. UG-111049 |
| --- | --- | --- |

PREFILED REBUTTAL TESTIMONY (NONCONFIDENTIAL) OF
ZANA D. JONES

ON BEHALF OF PUGET SOUND ENERGY, INC.

JANUARY 17, 2012

PREFILED REBUTTAL TESTIMONY (NONCONFIDENTIAL) OF
ZANA D. JONES

CONTENTS

I.	INTRODUCTION	1

II.	SUMMARY OF METER AND BACK-BILLING ISSUES	2

A.	Background	2

B.	Meters and Back-billing	7

1.	Stopped Meters	8

2.	Unassigned Energy Usage (“UEU”)	12

3.	Scope and Duration of Back-billing	14

III.	A REVISED PERFORMANCE STANDARD IS NEEDED	17

A.	The Performance Standard Should Be Revised	17

B.	The Company’s Proposed Revised Performance Standard	20

IV.	CONCLUSION	27

# PUGET SOUND ENERGY, INC.

PREFILED REBUTTAL TESTIMONY
(NONCONFIDENTIAL) OF
ZANA D. JONES

# I.	INTRODUCTION

Q.	Please state your name, business address and present position with Puget Sound Energy, Inc.

A.	My name is Zana D. Jones.  My business address is 19900 North Creek Parkway, Bothell, Washington 98011.  I am the Manager, Corporate Billing for Puget Sound Energy, Inc. (“PSE” or the “Company”).

Q.	Have you prepared an exhibit describing your education, relevant employment experience, and other professional qualifications?

A.	Yes, I have. It is Exhibit No. ___(ZDJ-2).

Q.	What are your duties as Manager, Corporate Billing?

A.	As Manager, Corporate Billing, I am responsible for several billing processes such as exception billing and manual billing for commercial customers.  In addition, my specific duties include overseeing back-billing issues.

Q.	Please provide a brief summary of your rebuttal testimony.

A.	My rebuttal testimony addresses concerns articulated by Commission Staff witness Roger Kouchi regarding meter and billing performance standards.  Section II of my testimony summarizes the background of meter and back-billing issues faced by the Company and development of the current performance standards, demonstrates that the Company has a very high percentage of timely-issued customer bills (99.88 percent for the first six months of 2011) and responds to certain statements in Mr. Kouchi’s testimony.  Section III of my testimony describes the revised performance standards and reporting requirements proposed by Mr. Kouchi, explains the reasons a new performance standard is needed and describes the revised performance standard and reporting requirements the Company is proposing in this proceeding.

# II.	SUMMARY OF METER AND BACK-BILLING ISSUES

## A.	Background

Q.	Do you agree with the background information Mr. Kouchi provided concerning the existing meter and billing performance standards?

A.	Basically, yes.   However, I believe that additional information is necessary in order to put the current meter and billing performance standards into perspective.  As described below, the performance standards were designed to improve PSE’s ability to issue accurate and timely bills to its customers, but were not designed to specifically address the issue of reducing the duration of back-bills.

Q.	Please describe the genesis of the current meter and billing performance standards.

A.	In the Company’s 2007 general rate case, Docket Nos. UE-072300/UG-072301, Commission Staff raised concerns related to meter and back-billing issues.  Those issues were ultimately resolved through a partial settlement that included the establishment of the current meter and billing performance standards (“Partial Settlement”).

At that time, PSE had approximately 1.8 million natural gas and electric meters in service.  To put these meter and billing issues in context, it is important to note that out of this total meter population, only a fraction of one percent was creating back-billing challenges that resulted in customer complaints regarding back-bills.  As noted in the testimony supporting the Partial Settlement, PSE was among the first utilities to adopt automated meter reading (“AMR”) technology and among the first to work through operational challenges related to the AMR equipment.  PSE had identified the underlying issues resulting in the issuance of back-bills, but, at the time of execution of the Partial Settlement, PSE was still in the process of implementing operating procedures to address and resolve various meter and back-billing issues.

Q.	Please describe the meter and billing performance standards that were agreed to and approved in the Partial Settlement.

A.	The Partial Settlement included a phase-in period, quarterly reporting requirements, a revenue adjustment, and performance standards for identifying and resolving meter-related problems.  More specifically, as of June 30, 2008, the Company had identified potential problems with 17,276 meters.  PSE committed to resolve 75 percent of that legacy population by December 31, 2008 and to resolve 100 percent by June 30, 2009.  PSE also agreed to resolve new gas and electric meter and billing problems identified between July 1, 2008 and December 31, 2008 by June 30, 2009.  In addition, as described by Mr. Kouchi, the Company agreed to resolve potential gas meter and billing problems for each monthly vintage within four months of identification and to resolve 75 percent within two months of identification.  The Company also agreed to resolve identified potential electric meter and billing problems for each monthly vintage within two months of identification and to resolve 50 percent within one month of identification.  Per the Partial Settlement, potential meter and billing issues identified within the same month would be of the same vintage.

Furthermore, the Company agreed to track and report monthly vintages of potential meter and billing issues.  The Company was to apply the meter and billing performance standards as of January 1, 2009 and to report to the Commission its performance on the standards on a quarterly basis for periods ending March 31, June 30, September 30 and December 31.  The first quarterly report was to be submitted by October 31, 2008 for the period ending September 30, 2008.

Q.	Do you agree with the statement in Mr. Kouchi’s testimony that the goal of the performance plan established in the Partial Settlement was to “improve PSE’s ability to issue accurate and timely bills to its customers in order to decrease the number and duration of back-bills.”

A.	I do not agree with Mr. Kouchi’s statement in its entirety.  The performance plan addressed a number of meter and billing issues, including timely resolution of the backlog and a means to improve issuance of accurate and timely bills to customers.  The standards established in the performance plan explicitly state that resolution will be measured within defined months of “identification” of the “problem” meter or billing problem.  The Partial Settlement provides that the performance plan “sets forth standards to measure potential problems in PSE’s metering system and improves PSE’s ability to issue accurate and timely bills to its customers.”  In the referenced direct testimony, Mr. Kouchi added the phrase referring to decreasing the number and duration of back-bills – language that was not expressly included in the Partial Settlement.

Q.	Why is this distinction important?

A.	Mr. Kouchi concedes in his testimony that PSE is in compliance with the existing performance standards.  However, in support of his recommendation to revise the performance standards, Mr. Kouchi also claims Commission Staff had an “expectation” that the performance standards would decrease the duration of back-bills to a “reasonable” level, an expectation that he says is not being met.  As is shown below, PSE has improved its ability to issue accurate and timely bills – consistent with the goals of the existing performance standards – and has reduced the duration of back-bills.  However, given that the existing performance standards measure compliance from the time of “identification” of an issue, the goal of the Partial Settlement was to reduce the length of time from the time the issue (e.g., stopped meter) was identified to the time the issue was resolved with the customer.  The performance standards were not designed to measure the duration of the back-bill as Mr. Kouchi implies and any expected reduction in that duration was misplaced.

Q: 	Even though the duration of back-bills was not the focus of the existing performance standard, do you believe it would be a useful metric?

A: 	Yes, modifying the performance standard to measure the duration of back-bills would be a useful metric as it directly relates to the time and amounts for which a customer is back-billed.  The duration of a back-bill depends not only on how quickly PSE is able to address the metering or account issues (as is measured by the existing performance standard), but also on PSE’s ability to quickly identify the issue.  In the following section, I will provide some background on PSE’s meter and back-billing process.

## B.	Meters and Back-billing

Q.	What are the leading causes of back-billing by the Company?

A.	As explained by Mr. Kouchi, the leading causes of back-bills are stopped meters and unassigned energy usage ("UEU") meters.  However, UEU is not a meter-related issue and as described below, under the Partial Settlement had its own unique challenges associated with identification.

### 1.	Stopped Meters

Q.	Can PSE do anything to reduce the time it takes to identify stopped meters?

A.	Yes.  PSE has and will continue to improve its ability to identify stopped meters.  However, as described below, the Company will always have customers that are not consuming energy in a given time period and will continue to face the challenge of filtering this “valid zero-consumption” usage from zero-consumption usage caused by a stopped meter.

Q.	Please describe the challenges PSE faces in identifying stopped meters.

A.	At any given time, a large percentage of the meters (particularly gas meters) on PSE’s system that show no usage are not stopped meters, but rather are valid zero consumption, e.g., gas heat-only accounts showing no natural gas usage during the summer months.  For example, during August 2011, out of the more than 781,000 gas meters on PSE’s system, close to 62,000 showed zero usage in that month.  The vast majority of these meters were not stopped meters, but without sending a technician to physically go out and test the meter, there is no way to be certain until the customer turns their heat back on in October.  Valid zero-consumption usage is not unique to PSE.  All utilities have some customers that at one time or another will be using little or no natural gas or electricity and are considered valid zero-consumption usage since no consumption is expected.

Given the volume of valid zero-consumption accounts that appear on AMR system reports it is not feasible (from both a human resources and cost perspective) for the Company to send a service technician out to investigate every zero-consumption meter.  Identifying which zero-consumption accounts are valid or a “probable stopped meter” is a very time-consuming and data-intensive process that complicates stopped meter identification and is a challenge for the Company.  Ultimately, the question boils down to what is a reasonable, cost-effective timeframe and procedure for determining which meters are actually stopped.

Q.	Please describe the tools the Company utilizes to identify potential or probable stopped meters.

A.	The Company uses two analytical tools to identify whether zero-consumption usage is valid or indicates a probable stopped meter.  The first tool, Zero Consumption Application (“ZCON”), was developed to monitor daily metered consumption stored in PSE’s meter data warehouse and to detect unexpected usage patterns.  The ZCON process flags for further manual review, a meter that has recorded a set number of days of zero-consumption.  As part of this manual review, PSE uses prior usage patterns, information from the customer and field visits to differentiate valid “zero-consumption meters” from “probable stopped meters.”  The ZCON tool was developed and implemented by PSE starting in the fall of 2008.

A second tool used by the Company is DataRaker, an analytical tool developed to address meter exceptions.  PSE uses a DataRaker zero-consumption module that looks at customer usage patterns, normalized for weather conditions and history and can flag for further investigation a probable stopped meter or module within ten days from the last date of consumption.  PSE began using DataRaker in January of 2011.

The ZCON and DataRaker tools reduce the number of valid zero-consumption meters that PSE has to investigate in the field and should enhance PSE’s ability to focus attention on the meters identified as probable stopped meters.  As described more fully below, PSE has not been able to take full advantage of the technological advances offered by these tools due to the inclusion of interim targets in the current performance standard.

Q.	Please describe the process that is undertaken once the information from the ZCON or DataRaker tools has been reviewed and a probable stopped meter is identified.

A.	When a probable stopped meter has been identified, a service order for a field inspection is created.  The service orders are prioritized and assigned to field personnel who perform a field inspection to determine whether the issue is a malfunctioning module or meter.  If the issue is only a malfunctioning module, the module is repaired or replaced during the field visit.  If the module is not the only cause of the issue, a second field visit is required to replace the meter.  A meter replacement often requires scheduling the time for the meter exchange with the customer.  Once the module or meter issue has been repaired, the billing department reviews the data needed to create the corrected bill.  The billing department then calls the customer to notify them of the issue.  After notification, the corrected bill (the back-bill), the bill detail and an explanatory letter are prepared and sent to the customer.

Q.	Please describe how stopped meters result in back-billing.

A.	As described by Mr. Kouchi’s discussion of stopped meters, when a meter or module fails, the meter or module stops sending accurate energy usage data and often sends no usage data at all, indicating zero-consumption.  Since there are numerous instances where zero-consumption is valid, the time required to identify the meter as a probable stopped meter can be lengthy. For example, a customer with seasonal usage, i.e., that is away for the summer months or is a natural gas “heat only” customer is expected to have zero or very little consumption during the summer months.  In the gas-only heat example, if that customer’s meter fails in June, the Company is not likely to identify an unusual consumption pattern until the October timeframe because identification will depend on weather conditions (i.e., based on past usage patterns, PSE expects to see no energy usage in the summer months and usage begins again when the cold weather returns).  By the time DataRaker would flag this account as a probable stopped meter, four or five months could have passed.  These four or five months are in addition to the time that will be needed to investigate and confirm the meter has stopped.

### 2.	Unassigned Energy Usage (“UEU”)

Q:	 Why does UEU occur on the Company’s system?

A:	UEU results from a meter that is correctly recording and transmitting energy usage but does not have an assigned customer in the PSE Customer Information System (“CIS”) for billing purposes.  UEU commonly occurs with rental properties; a tenant moves in but does not contact the Company in a timely manner to initiate the billing process.  In general, UEU occurs because PSE does not physically disconnect the meter when one customer terminates service.  The Company generally does not disconnect the meter because of the cost involved in physical disconnects and reconnects and to avoid the delay of service resulting from reconnection when the new customer moves in.  This UEU process is a cost-effective and efficient way for the Company to manage the move-in/move out process that ultimately benefits all customers by keeping costs down.  The downside of this process is that if the new customer does not contact PSE and set up an account when they move in, the first bill they receive is a back-bill that will include the unbilled usage (unassigned energy) from the time they moved in until they set up the account.

Q.	Please describe how UEU results in back-billing under the Partial Settlement process.

A.	UEU is “identified” per the Partial Settlement when energy usage reaches a consumption threshold of 1000 kWh (for residential electric), 7150 kWh (for commercial electric) or 100 ccf (for residential or commercial gas).  Once the usage threshold is triggered, PSE will first try to contact the new customer by sending a letter requesting the information needed to establish an account for billing purposes.  If the new customer does not respond to the letter and establish an account, the Company will physically disconnect the meter.  Disconnection typically prompts the new customer to contact the Company and establish an account.  If a new customer account is established, PSE calculates and issues a back-bill for the unbilled energy (the unassigned energy) used by the customer from the time the customer moved in.

Q.	How do the consumption thresholds affect the time it takes to identify UEU?

A.	Under the Partial Settlement procedure, UEU identification depends upon how quickly the customer’s usage reaches the consumption thresholds.  Typically, a customer’s usage will exceed the consumption threshold in one or two months, however, there are situations where usage is so low that it takes additional months to detect.

### 3.	Scope and Duration of Back-billing

Q.	Will it ever be possible for PSE to avoid all back-bills?

A.	No. As described in Mr. Kouchi’s testimony, meters and modules stop working. The meters and the modules are pieces of mechanical equipment and it is unreasonable to expect 100 percent of the meters and modules to operate perfectly at all times; nor is it reasonable to expect that the meters and modules will never stop.  In addition, there will always be some customers that move in and do not contact the Company to initiate the billing process.  As mentioned earlier, the company has 1.8 million meters.  The number of stopped meters that resulted in back-bills represented less than one percent of the total meter population (0.4 percent) in 2010.  Similarly, the number of UEU accounts that resulted in back-bills during 2010 was relatively small, representing only 0.54% of the total meter population.

PSE already has a very high percentage of timely-issued customer bills; based on January through June 2011 data, 99.88 percent of the Company’s bills did not involve a back-bill.  The Company can and will strive to do better, but efforts to improve beyond 99.88 percent may not be cost-effective.

Q. 	Can PSE reduce the number of back-bills in the future?

A. 	Maybe, but the extent of the potential reduction would likely be quite small.  As described above, the number of meters identified as actual stopped meters and UEU is a very small percentage of the overall meter population.  Some percentage of meters and modules will always stop working, and there will always be a delay from the time some customers move in and the time those customers sign up for service.  When either of these occurs, a back-bill will need to be issued.

Q: 	Can PSE continue to reduce the duration of back-bills?

A: 	Yes, PSE can and will continue to make improvements that should reduce the duration of back-bills.  However, these improvements are limited.

I will address these limitations in the later discussion regarding the Company’s proposed performance standard. Although PSE believes it may be able to reduce the duration of back-bills, it will never be possible to issue one hundred percent of customer bills within the regular billing cycle.

Q.  	Have the number and duration of back-bills been decreasing?

A.  	Yes, as demonstrated in Exhibit No.___(ZDJ-3), both the number of back-bills and the duration of back-bills have been decreasing.  Exhibit No. __ (ZDJ-3), utilizes the same information reported by Mr. Kouchi in Exhibit No. __ (RK-7), however Exhibit No. __ (ZDJ-3) reflects data for the January to June periods only to ensure an apples-to-apples comparison.  Mr. Kouchi’s analysis utilized the January through June 2011 results and assumed that by simply doubling the information, a comparison to annual 2009 and 2010 information would be appropriate.  However, this is not the case, since identification and correction of meter issues is typically higher during the first half of the year because of the winter weather.  When the information for similar January to June periods is compared year over year, it is clear that both the number and the average duration of the back-bills have improved.  Exhibit No. __ (ZDJ-3) shows that since 2009 the number of back-bills has decreased by 49 percent and the average duration of the back-bills has decreased by 30 percent.

Q.	Has the number of complaints to the Commission regarding the Company’s back-billing been decreasing?

A.	Yes.  According to Mr. Kouchi’s response to PSE Data Request No. 030 to WUTC Staff, Exhibit No. ___(ZDJ-4), the number of complaints to the Commission concerning back-billing (or retroactive billing) has gone from 211 in 2009, to 130 in 2010 and to 94 through November 2011.

# III.	A REVISED PERFORMANCE STANDARD IS NEEDED

## A.	The Performance Standard Should Be Revised

Q.	Do you agree with Mr. Kouchi that the performance standard should be revised to include only stopped meters and UEU?

A.	Yes, I agree that the performance standards should measure only back-billing related to stopped meters and UEU.  I also agree that meter mixed/other and lost meters should be eliminated from the performance standard.  I am, however, proposing a different revised performance standard than Mr. Kouchi.

Q.	Please describe the revised performance standard that Mr. Kouchi proposes.

A.	To summarize, Mr. Kouchi’s proposed performance standard is structurally very similar to the existing standard, but adds two months to the existing performance standard time frames and requires that PSE identify and correct all stopped meter and UEU meter billing issues within the revised timeframes.  As Mr. Kouchi described his proposal, the Company would be required to:

(1) identify and correct 100 percent of all stopped gas meter and unassigned usage gas meter problems within six months from the initial occurrence of the problem and 75 percent of the gas meter problems within two months from the initial occurrence of the problem; and

(2)  identify and correct 100 percent of all stopped electric meter and unassigned usage electric meter problems within four months from the initial occurrence of the problem and 50 percent of the electric meter problems within one month from the initial occurrence of the problem.

In short, Mr. Kouchi would add two months only to the period in which 100 percent of the stopped meters and UEU meters must be identified and corrected.  In addition, Mr. Kouchi does not propose to extend the length of time to meet the interim target periods for both gas and electric meters.  This means that 75 percent of stopped and UEU gas meters must be identified and corrected within two months and that 50 percent of stopped and UEU electric meters must be identified and corrected within one month.  In light of the difficulties I have described concerning identification of stopped meters and UEU, such a proposed performance standard is unreasonable.

Q.	Do you agree with Mr. Kouchi’s proposal to include the identification of the meter issue in the performance standard?

A.	Yes.  PSE is agreeable to including identification of the meter issue in the performance standard, however, more than an additional 60 days is necessary.  This is particularly true in light of the number of valid zero-consumption meters on the PSE system and the need to distinguish between “valid zero-consumption meters” and “probable stopped meters.”  As described below, PSE is proposing a different performance standard for stopped meters and UEU that would include the time required to identify the meter issue.

Q.	Do you agree with Mr. Kouchi’s statement that it is reasonable for the Company to identify all gas and electric stopped meters and UEU within two months?

A.	No.  Mr. Kouchi has not provided any analytical or other basis in support of his statement.  In Commission Staff's response to PSE Data Request No. 31, Exhibit No. __ (ZDJ-05), seeking supporting documents, data, calculations or analyses, Mr. Kouchi responded that his statement is based on his “judgment” in light of three factors: (1) that PSE installed the AMR meters to provide increased efficiencies, reduce estimated billing issues and increase read accuracy; (2) that PSE has a duty to maintain and assure accurate meters and meter reading; and (3) that Customers expect their bills to be accurate. These three factors, however, have no relationship to the length of time it might take the Company to determine that a meter has stopped or is recording UEU that should be billed to a customer.  In the absence of any supporting data, the Commission should reject Mr. Kouchi’s proposal to revise the performance standard by simply adding 60 days to the timeframes for “identifying and correcting” 100 percent of all natural gas and electric stopped meters and UEU meters.

Q.	Is Mr. Kouchi also proposing to revise the current quarterly reporting requirements?

A.	Yes.  PSE is amenable to most of the changes Mr. Kouchi proposes to the quarterly reporting requirements.  I discuss PSE’s proposed changes to the quarterly reporting requirements in the next section.

## B.	The Company’s Proposed Revised Performance Standard

Q.	Why should the performance standard be revised?

A.	There are two reasons the performance standard should be revised: (1) the current performance standard does not measure PSE’s ability to identify and correct stopped meters and UEU; and (2) to comply with the existing standard PSE must execute suboptimal processes, which inhibit the Company’s ability to provide the desired level of customer service.

Q.	How does the implementation of the existing standard result in PSE executing suboptimal processes?

A.	The performance standard was established to address the legacy population of potential problem meters as well as to address ongoing stopped meters and UEU that result in back-bills.  The Company was able to resolve the legacy population of potential problem meters, including potential problems that were identified between July 1 and December 31, 2008, by June 30, 2009, as required by the performance standard.   Given the absence of a large backlog of stopped meter and UEU back-bills at this time, it is no longer necessary to treat the potential stopped meters and UEU on the basis of vintages with interim targets.

An unintended consequence of the interim targets in the current meter and billing performance standards is that PSE prioritizes its workload to meet the interim target dates which reduces overall process efficiency.  As a result, resolution of metering issues that are found during the later part of the month, may be delayed by two to four months in order for the Company to focus on meeting the next month’s interim target.   If the interim targets were eliminated from the performance standard, PSE would also be able to maximize its use of technology tools such as DataRaker to prioritize and repair known stopped meters in a more timely manner.  By looking at each meter individually and optimizing processes around problem occurrence, location, issue type, in a modified first-in/first-out (“FIFO”) approach,  PSE could work more efficiently to reduce the time it takes to resolve stopped meters and UEU.

Q.	Since the Company has stated that Mr. Kouchi’s performance standard is untenable, please describe the revised performance standard the Company is proposing at this time.

A.	PSE is currently issuing 99.88 percent of its bills to customers on time.  Although PSE recognizes there is room for improvement, we are concerned that improving this percentage will likely be difficult to achieve and may come at significant cost.  PSE does believe, however, that by revising the performance standards, the Company may be able to increase the percentage of correct bills to above 99.88 percent and reduce the duration of the back-bills issued.  PSE proposes to establish the new performance standard based on the duration of the Back-billing Process, which would include the time that PSE takes to identify a stopped meter or UEU, fix the meter issue, and correct the customer’s account.  The length of the back-bill is something the Company currently reports to the Commission.  In addition, PSE’s proposal is consistent with Mr. Kouchi’s proposal to add the time it takes to identify stopped meters and UEU  to the performance standard.  The Company proposes to establish the meter and back-bill performance standard as follows:

- Natural Gas:  The duration of the Back-billing Process associated with Stopped Meters and UEU will not exceed six months for at least 80 percent of annual stopped meter and UEU population.

- Electric:  The duration of the Back-billing Process associated with Stopped Meter and UEU will not exceed six months for at least 80 percent of annual stopped meter and UEU population.

The Company is also proposing to include in the performance standard a provision which would terminate any meter and billing performance standard at the point PSE has issued 99.95 percent of its total bills on time for two consecutive quarters.

I have prepared Exhibit No. __ (ZDJ-6) to present the performance standards the Company is proposing.

Q.	Please explain why PSE is proposing percentages less than 100 percent as part of its proposed performance standard for stopped meters and UEU.

A.	While it is possible for PSE to identify the majority of meter issues within a few months, some meter issues are impossible to identify in that timeframe.  As mentioned earlier, a customer with seasonal usage, i.e., that is away for the summer months or is a natural gas “heat only” customer is expected to have zero or very little consumption during those months.  If that customer’s meter fails in April, the Company is not likely to identify an unusual consumption pattern until the October to December timeframe because identification depends on weather conditions (i.e., PSE expects to see energy usage when we have cold weather).  By the time PSE is aware of a probable stopped meter, at least five months would have passed and this does not include the time needed to investigate and confirm the meter has stopped, nor the time needed to fix the meter.  Although the customer would only be billed for the months it was expected to have usage, the duration of the back-billing process could fall outside the proposed performance standard of six months.  This same situation could occur if a customer moves in during the summer and PSE is unable to detect the change in usage until the winter months.  When the customer contacts PSE and establishes their account, they will receive a back-bill for their usage prior to setting up the account.  A second example is a slow meter, which eventually becomes a stopped meter.  In its review of that stopped meter, the Company would see that the meter had been recording minimal usage for some number of months previously.  The back-bill would include the months in which the meter was recording minimal usage as well as the months during which it was stopped which could be longer than six months and the back-billing process would fall outside the proposed performance standard.

Q.	How does the Company propose to implement the proposed revised performance standard?

A.	The Company is proposing to phase out the existing performance standards, including the interim percentages and vintages, over a period not to exceed six months from the time of the Commission Order approving the performance standard.  This will allow the Company time to document processes, modify reports and tracking systems, train employees and ensure an appropriate effective date (e.g., the first day of a month).  PSE is also proposing to start tracking the revised performance standard in the first month of the phase-out period.

PSE agrees with Mr. Kouchi that there should not be automatic penalties for failure to meet the new performance standard, particularly during the period the existing performance standards are being phased out and the new performance standard is being implemented.

Q.	You mentioned earlier that Mr. Kouchi has proposed changes to the quarterly reporting requirements.  Is the Company proposing changes to the quarterly reporting requirements?

A.	Yes.  The Company agrees with Mr. Kouchi that the quarterly reporting format should be revised.  Although not explicitly stated in Mr. Kouchi’s testimony, PSE understands Mr. Kouchi’s proposal would remove “meter mix/other” and “lost meters” from the reporting categories.  PSE supports this proposal based on their very small numbers.  Consistent with its proposal to revise the performance standard as described above, the Company is proposing to eliminate the use of vintage dates and interim targets in the report.  PSE would continue to report on meter and back-billing issues on a quarterly basis.

Q.	Please describe the information PSE is proposing to include in the quarterly report.

A.	My answer is at an overview level since this is an area where the Company and Commission Staff need to work together to develop a meaningful report.  Mr. Kouchi stated that Commission Staff is committed to work with the Company to design a report that is not burdensome yet provides the information necessary for proper monitoring.  The Company is similarly committed to work with Commission Staff on that endeavor.

The Company proposes to continue reporting on a quarterly schedule.  Gas meters would be reported separately from electric meters and residential and commercial meters would be reported separately within the gas meter data and electric meter data.  Consistent with Mr. Kouchi’s proposal, in addition to reporting on its compliance with the performance standard, PSE is amenable to reporting for stopped meters and UEU: (1) the number of back-bills issued in each month; and (2) the average length of back-bills issued each month.  PSE is also amenable to reporting the shortest and longest back-bill, in months, issued in each month.  Although Mr. Kouchi suggested reporting this metric in weeks, the PSE bills are issued in billing cycles that closely resemble months, not weeks, so reporting the data as if it is managed on a weekly basis distorts reality and is not meaningful.

PSE does not agree with Mr. Kouchi’s proposal to report the duration of each back-bill issued for stopped and UEU meters with an explanation why the duration exceeded the performance standard.  This proposal would not directly advance the goal of reducing the number or duration of back-bills.  In addition, the PSE system does not capture an explanation of why a billing issue exceeded the performance standard.  Processes and computer systems would need to be modified to capture and report this information.  The Company does not believe this requirement is cost effective or that it would add any benefit to the process.

# IV.	CONCLUSION

Q.	Does that conclude your prefiled rebuttal testimony?

A.	Yes, it does.

The Partial Settlement was approved in Order 12, Docket Nos. UE-072300/UG-072301 (October 8, 2008).

Exh. No. Joint-6T, p. 6, Docket Nos. UE-072300/UG-072301.

Id.

Partial Settlement, Docket Nos. UE-072300/UG-072301, ¶¶ 33-34.

The Partial Settlement included specific definitions of “identified” for stopped meters and for unassigned energy usage.  Mr. Kouchi’s proposal would eliminate the definition of “identified” by including the time needed for identification in the standard.

Id. ¶¶ 31-32.

Id. ¶¶ 34 and 36.

Exh. No. ___(RK-1T), p. 10 line 21 through p. 11 line 1.

Partial Settlement, Docket Nos. UE-072300/UG-072301 ¶ 29.

See Exh.No. ___ (RK-1T), p. 12 lines 19-22.

Id. p. 13 line 11 through p. 14 line 2.

For purposes of my testimony, the term “stopped meter” includes a meter or module that is not reporting energy usage even though energy is being consumed by the customer.

See Exh. No. ___ (RK-1T), p. 11 line 18 through p. 12 line 8.

This percentage was calculated by dividing the number of back-bills issued during the period by the number of meters billed during the period.

See PSE quarterly report dated July 31, 2009 in Docket Nos. UE-072300/UG-072301.

For purposes of the revised performance standard proposed by PSE, the term "Back-billing Process" is defined to include the time required to identify the stopped meter or UEU through the time PSE issues a correct bill to the customer.