0022

1                  BEFORE THE WASHINGTON STATE

UTILITIES AND TRANSPORTATION COMMISSION

2   ________________________________________________________

)

3       WASHINGTON UTILITIES AND     )

TRANSPORTATION COMMISSION,   )

4                                    )

Complainant            )

5                                    )

vs.             )DOCKET UG-110723

6                                    )

PUGET SOUND ENERGY,          )

7                                    )

Respondent.            )

8   _______________________________________________________

9

VOLUME II

10

Pages 22 - 287

11

EVIDENTIARY HEARING BEFORE

12

ADMINISTRATIVE LAW JUDGE GREGORY J. KOPTA

13   ________________________________________________________

14                           9:20 a.m.

15                       November 17, 2011

16

Washington Utilities and Transportation Commission

17           1300 South Evergreen Park Drive Southwest

Olympia, Washington 98504-7250

18

19

20

REPORTED BY:  SHERILYNN V. McKAY, RMR, CCR #3236

21   Buell Realtime Reporting, LLC

1411 Fourth Avenue

22   Suite 820

Seattle, Washington 98101

23   206.287.9066 | Seattle

360.534.9066 | Olympia

24   800.846.6989 | National

25   www.buellrealtime.com

0023

1                     A P P E A R A N C E S

2

ADMINISTRATIVE LAW JUDGE:

3                  GREGORY J. KOPTA, ESQ.

WASHINGTON UTILITIES AND

4                  TRANSPORTATION COMMISSION

1300 S. Evergreen Park Drive S.W.

5                  P.O. Box 47250

Olympia, Washington 98504

6                  gkopta@utc.wa.gov

7   WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION:

JEFFREY GOLTZ, CHAIRMAN

8                  PATRICK J. OSHIE, COMMISSIONER

PHILIP B. JONES, COMMISSIONER

9

FOR WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION:

10                  ROBERT D. CEDARBAUM, ESQ.

ASSISTANT ATTORNEY GENERAL

11                  1400 S. Evergreen Park Drive, S.W.

Olympia, Washington 98504

12                  bcedarba@wutc.wa.gov

13   FOR PUGET SOUND ENERGY:

SHEREE STROM CARSON, ESQ.

14                  PERKINS COIE, LLP

10885 N.E. 4th Street

15                  Suite 700

Bellevue, Washington 98004

16                  scarson@perkinscoie.com

17   FOR THE NORTHWEST INDUSTRIAL GAS USERS:

TOMMY A. BROOKS, ESQ.

18                  CABLE HUSTON

1001 SW Fifth Avenue

19                  Suite 2000

Portland, Oregon  97204-1136

20                  tbrooks@cablehuston.com

21   PUBLIC COUNSEL:

SIMON J. FFITCH, ESQ.

22                  SENIOR ASSISTANT ATTORNEY GENERAL

800 5th Avenue

23                  Suite 2000

Seattle,Washington 98104

24                  simonf@atg.wa.gov

25                            *******

0024

1                           I N D E X

2    EXAMINATION                                        PAGE

TOM DeBOER

3      DIRECT EXAMINATION BY MS. CARSON...............   48

CROSS-EXAMINATION BY MR. CEDARBAUM.............   49

4      CROSS-EXAMINATION BY MR. FFITCH................   64

CROSS-EXAMINATION BY MR. CEDARBAUM.............  113

5

DUANE HENDERSON

6      DIRECT EXAMINATION BY MS. CARSON...............  121

CROSS-EXAMINATION BY MR. CEDARBAUM.............  124

7      CROSS-EXAMINATION By MR BROOKS.................  131

CROSS-EXAMINATION BY MR. FFITCH................  135

8      REDIRECT EXAMINATION BY MS. CARSON.............  204

RECROSS-EXAMINATION BY MR. FFITCH..............  206

9      FURTHER REDIRECT EXAMINATION BY MS. CARSON.....  209

10     JOHN STORY

DIRECT EXAMINATION BY MS. CARSON...............  210

11      CROSS-EXAMINATION BY MR. CEDARBAUM.............  210

CROSS-EXAMINATION BY MR. BROOKS................  216

12      CROSS-EXAMINATION BY MR. FFITCH................  219

REDIRECT EXAMINATION BY MS. CARSON.............  234

13      RECROSS-EXAMINATION BY MR. CEDARBAUM...........  236

14     DAVID LYKKEN (Appearing via telephone)

DIRECT EXAMINATION BY MR. CEDARBAUM............  239

15

ANDREA CRANE

16      DIRECT EXAMINATION BY MR. FFITCH...............  255

17     DONALD SCHOENBECK

DIRECT EXAMINATION BY MR. BROOKS...............  275

18

19

20

- - -

21

22

REQUESTS

23     Record Requisition No. 1                         227

Bench Request No. 1                              234

24     Bench Request No. 2                              283

25

0025

1                            EXHIBITS

2     EXHIBIT   OFD   AD             DESCRIPTION

3     TAD-1T          38   Prefiled Direct Testimony of

Tom DeBoer

4

TAD-2           38   Professional Qualifications of

5                          Tom DeBoer

6     TAD-3           38   American Gas Association Report

on Infrastructure Cost Recovery

7                          (May 2011)

8     TAD-4T          38   Prefiled Rebuttal Testimony of

Tom DeBoer

9

TAD-5           38   US Department of Transportation

10                          Announcement on Pipeline Safety

Action Plan (April 4, 20111)

11

TAD-6           38   Written Statement of Cynthia L.

12                          Quarterman, Pipeline and

Hazardous Materials Safety

13                          Administration to U.S. House of

Representatives Subcommittee on

14                          Energy and Power (June 16,

2011)

15

TAD-7           38   Open Letter from Cynthia L.

16                          Quarterman Pipeline and

Hazardous Materials Safety

17                          Administration (March 31, 2011)

18     TAD-8           38   PSE Response to WUTC Staff

Informal Data Request No. 7

19

TAD-9           38   PSE Response to Public Counsel

20                          Data Request No. 035 (Excerpt)

21     TAD-9           284  (Supplemental) PSE Response to

Public Counsel Data Request

22                          No. 035

23     TAD-10          38   PSE Response to Public Counsel

Data Request No. 36

24

TAD-11          38   PSE Response to Public Counsel

25                          Data Request No. 37

0026

1

TAD-12          38   PSE Response to Public Counsel

2                          Data Request No. 38

3     DAH-1T          38   Prefiled Direct Testimony of

Duane A. Henderson

4

DAH-2           38   Professional Qualifications of

5                          Duane A. Henderson

6     DAH-3           38   PSE's Evolving Gas Pipeline

Integrity Programs

7

DAH-4T          38   Prefiled Rebuttal Testimony of

8                          Duane A. Henderson

9     DAH-5           38   PSE Response to WUTC Staff

Informal Data Request No. 5

10

DAH-6     122   126  PSE Response to WUTC Staff

11                          Informal Data Request No. 6

12     DAH-7           38   PSE Response to WUTC Staff Data

Request No. 22

13

DAH-8           38   PSE Response to WUTC Staff Data

14                          Request No. 2

15     DAH-9           38   PSE Response to WUTC Staff Data

Request No. 3

16

DAH-10          38   PSE Response to WUTC Staff Data

17                          Request No. 7

18     DAH-11          38   PSE Response to Public Counsel

Data Request No. 002

19

DAH-12          38   PSE Response to Public Counsel

20                          Data Request No. 003

21     DAH-13          38   PSE Response to Public Counsel

Data Request No. 004

22

DAH-14          38   PSE Response to Public Counsel

23                          Data Request No. 005

24     DAH-15          38   PSE Response to Public Counsel

Data Request No. 006

25

0027

1     DAH-16          38  PSE Response to Public Counsel

Data Request No. 007

2

DAH-17          38  PSE Response to Public Counsel

3                         Data Request No. 008

4     DAH-18          38  PSE Response to Public Counsel

Data Request No. 010

5

DAH-19          38  PSE Response to Public Counsel

6                         Data Request No. 20

7     DAH-20          38  PSE Response to Public Counsel

Data Request No. 24

8

DAH-21          38  PSE Response to Public Counsel

9                         Data Request No. 030

10     DAH-22          38  PSE Response to Public Counsel

Data Request No. 44

11

DAH-23          38  PSE Response to Public Counsel

12                         Data Request No. 045 and page 5

of Attachment A

13

DAH-27          38  PSE Response to UTC Staff

14                         Informal Data Request No. 05

15     DAH-28          38  PSE Response to UTC Staff

Informal Data Request No. 06

16

DAH-29          38  PSE Response to Public Counsel

17                         Data Request No. 009

18     DAH-30          38  PSE Response to Public Counsel

Data Request No. 031

19

20     JHS-1T          38  Prefiled Direct Testimony of

John H. Story

21

JHS-2           38  Professional Qualifications of

22                         John H. Story

23     JHS-3           38  Letter from Tom DeBoer to David

Danner re:  Docket UG-110723

24                         Substitute Natural Gas Tariff

Sheets and Enclosures

25

0028

1     JHS-4           38  Revenue Requirement Calculation,

Summary - Pipeline Integrity

2                         Programs

3     JHS-5           38  Revenue Requirement Calculation,

Wrapped Steel Assessment

4

JHS-6           38  Revenue Requirement Calculation,

5                         Wrapped Steel Mains

6     JHS-7           38  Revenue Requirement Calculation,

Older Polyethylene Plastic Pipe

7

JHS-8           38  Pipeline Integrity Program

8                         (PIP), Allocated Cost of Service

and Rates for November 1, 2011 -

9                         October 31, 2012

10     JHS-9           38  Puget Sound Energy, Natural Gas

Schedule No. 134, Pipeline

11                         Integrity Program tariff sheets

12     JHS-10T         38  Prefiled Rebuttal Testimony of

John H. Story

13

JHS-11          38  PSE Response to WUTC Staff Data

14                         Request No. 6

15     JHS-12          38  PSE Response to WUTC Staff Data

Request No. 11

16

JHS-13          38  PSE Response to Public Counsel

17                         Data Request No. 028

18     JHS-14          38  PSE Response to Public Counsel

Data Request No. 042

19

JHS-15    230       PSE Response to WUTC Data

20                         Request No. 23

21     MV-IT           38  Testimony of Mark Vasconi

22     MV-2            38  Qualifications and Experience of

Mark Vasconi

23

DL-1T           38  Testimony of David Lykken

24

25     ACC-1T          38  Direct testimony of Andrea C.

0029

1

2     ACC-2               The Columbia Group, Inc.,

testimonies of Andrea C. Crane

3

DWS-1T              Response testimony of Donald W.

4                         Schoenbeck

5

6

7                             - - -

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

0030

1           JUDGE KOPTA:  Let's be on the record, in

2   Document UG-110723, entitled Washington Utilities and

3   Transportation Commission versus Puget Sound Energy,

4   Inc.

5           It's November 17th, 2011.  We are here for

6   evidentiary hearings, and our first order of business,

7   let's take appearances, brief appearances for the

8   record, beginning with the company.

9           MS. CARSON:  Good morning.  Sheree Strom Carson

10   with Perkins Coie representing Puget Sound Energy.

11           MR. BROOKS:  Good morning.  My name is Tommy

12   Brooks with Cable Huston representing the Northwest

13   Industrial Gas Users.

14           MR. FFITCH:  Simon ffitch, Senior Assistant

15   Attorney General, on behalf of Public Counsel.

16           MR. CEDARBAUM:  Robert Cedarbaum, representing

17   Commission staff.

18           JUDGE KOPTA:  Thank you.

19           Anyone else wanting to make an appearance?

20           Hearing none.

21           We have some preliminary matters that we need to

22   address before we start to take testimony, specifically

23   issues involving exhibits that have been identified as

24   cross-examination exhibits.  We are going to take those

25   up at this point to resolve any objections.

0031

1           Ms. Carson, I believe, you have objections to

2   three exhibits that have been designated by other

3   parties as cross-examination exhibits for two of your

4   witnesses.  Correct?

5           MS. CARSON:  Correct.  Those are DAH-6, DAH-26,

6   and JHS-15.  Each one of these exhibits was a response

7   from Puget Sound Energy to an informal WUTC staff data

8   request.  They were all responded to in May or

9   June before PSE revised its PIP program in response to

10   discussions with stakeholders and parties in this case.

11           So the responses -- and we have not asked for

12   all the cross-exam exhibits that are from this time

13   period to the excluded, but we have selected the three

14   where there are discussions, substantive discussions of

15   the programs where the program has changed, and was

16   changed as filed in July.  So because these are no

17   longer an accurate reflection of the program as filed,

18   they should not be admitted into evidence.

19           JUDGE KOPTA:  I notice that these are offered by

20   staff and Public Counsel.

21           Staff, Mr. Cedarbaum, do you have a response?

22           MR. CEDARBAUM:  Yes, Your Honor.  I'm speaking

23   just to DAH-6, which is the staff informal data request

24   that we've designated for Mr. Henderson as a cross

25   exhibit.

0032

1           I guess I have three responses pointing towards

2   asking the Bench to overrule the objection and allow the

3   exhibit.

4           First of all, it's just a matter of timing.  My

5   understanding of the process from some e-mail that you

6   sent around earlier this week was that any matters to be

7   brought during this session, before the evidentiary

8   session should have been notified to you earlier than

9   this morning.  This morning was the first time that I

10   heard about a specific objection, so this was somewhat

11   of a surprise.

12           But as to the merits, yes, this was an informal

13   data request proposed to the company before the tariff

14   was amended in July; however, the company, as its usual

15   practice is, is for the company to supplement its

16   responses to data requests.  It did not do that in this

17   case when it had a full opportunity to do so, and should

18   have, but did not.

19           Second of all, I think the remedy for this is

20   not to exclude the exhibit, but to just have the witness

21   explain any changes to the data request that are

22   necessary because of the amendment to the tariff filing

23   from July when the bare steel program was removed from

24   the tariff.

25           So that's not a matter of excluding the exhibit.

0033

1   That's just a matter of redirect on the exhibit.  I

2   think that's fair.  So we would ask that the exhibit be

3   allowed into evidence.

4           JUDGE KOPTA:  Mr. ffitch?

5           MR. FFITCH:  Your Honor, first, I would echo the

6   initial time limits objection, and add to that the fact

7   that Ms. Carson was specifically asked yesterday morning

8   whether she was able to stipulate on behalf of the

9   company to exhibits.

10           We were advised after 9 o'clock this morning of

11   these objections, and I find that troubling in terms of

12   both professional courtesy and the process that the

13   bench had set up.  I'm literally still trying to look

14   through and examine the specific exhibits that have been

15   listed by company counsel to, you know, figure out how

16   to respond.  So the first objection is to timeliness.

17           Secondly, I would note that these are ongoing

18   requests.  As is typical with our discovery, the company

19   could have supplemented those.

20           Thirdly, I would note that the company had the

21   opportunity to file rebuttal after these were provided,

22   and again it could have addressed any updating that was

23   necessary in rebuttal.

24           And, fourthly, I would agree with Mr. Cedarbaum

25   that the obvious remedy is just to have the witnesses,

0034

1   you know, comment on what needs to be changed.

2           JUDGE KOPTA:  Ms. Carson?

3           MS. CARSON:  Yes, I'd like to respond to those

4   three points.

5           First of all, I do not recall seeing any

6   instructions that objections to cross-examination

7   exhibits were due prior to today.

8           We did not receive cross-exam exhibits until

9   Tuesday, so we've only had 48 hours to look through all

10   the cross-exam exhibits, and they were fairly extensive,

11   particularly from Public Counsel.

12           It's not unusual in rate cases, and in past

13   cases we have notified parties the morning of the

14   hearing that we have objections, because it just is very

15   time consuming in the way the schedule is compacted.

16   There's no ample opportunity before the hearing day to

17   have reviewed all the cross-exam exhibits and notify

18   parties.

19           In regard to Mr. ffitch's allegation that I

20   didn't tell parties that there were objections, that may

21   not have gone to Mr. ffitch, but I know that I did send

22   an e-mail to Mr. Cedarbaum saying that we would

23   stipulate to the testimony on prefiled exhibits coming

24   in, but we would have objections to some cross-exam

25   exhibits.

0035

1           In terms of supplementing these, I think it's

2   important to remember these are informal data requests

3   that were sent by staff under their staff's audit rights

4   back in May and June, before this was an adjudicative

5   proceeding.

6           Frankly, the people at PSE were very surprised

7   to see these as cross-exam exhibits because they weren't

8   thinking of them in the scope of data requests in the

9   adjudicative proceeding, and it did take some time to

10   look at them and consider how to proceed.  So they are

11   not the type of data requests that we would normally

12   necessarily think about supplementing when the program

13   has changed.  And everybody was aware that the program

14   had changed after these data requests were responded to.

15           MR. FFITCH:  Your Honor?

16           JUDGE KOPTA:  Yes, Mr. ffitch.

17           MR. FFITCH:  May I be heard on one of the

18   specific exhibits?  My previous comments were general in

19   nature, and there's one I'd like to address

20   specifically.

21           JUDGE KOPTA:  Not at the moment, because I think

22   I'm going to reserve ruling on these three exhibits at

23   this point.

24           I understand the concern in terms of timeliness.

25   My instruction was to try and get an idea of issues that

0036

1   might be raised that might need a court reporter.  That

2   was merely my main objective in trying to get that

3   information, as opposed to anything specific to

4   requiring objections at that point, so I'm not going to

5   hold PSE to what I consider to be a rather vague

6   instruction.

7           I agree that an informal data request is a

8   little bit different animal than a regular data request,

9   but I also agree that, in general, any document that's

10   offered to a witness, as long as it's one that will be

11   involved in the cross-examination itself can be

12   explained by the witness, and at that point if there is

13   a continuing objection we can take it up at that time.

14           So my ruling at this point is to hold off on

15   those objections, hold them in abeyance, not admit those

16   exhibits, wait until they are actually offered and

17   discussed during cross-examination, and if counsel for

18   PSE after the opportunity for redirect continues to

19   object to their admission, then they can take them up at

20   that point.

21           Are there any other objections to the exhibits

22   on the exhibit list that were circulated yesterday?

23           Hearing none.

24           We had also discussed before we went on the

25   record admitting all of the exhibits that have been

0037

1   identified, with the exception of those two, which

2   objections have been made.  Is that still the

3   willingness of the parties to do?

4           MR. CEDARBAUM:  It is for staff.

5           MR. FFITCH:  Yes, Your Honor.

6           MR. BROOK:  It's okay with NWIGU.

7           MS. CARSON:  Yes, Your Honor.

8           JUDGE KOPTA:  All right.  Then we will admit the

9   exhibits that have been identified as follows with one

10   caveat:  When witnesses take the stand, they still will

11   have the opportunity to make any corrections that need

12   to be made to these exhibits, even though they have been

13   admitted.

14           So these are admitted subject to any corrections

15   that will be made when the witness actually appears on

16   the stand.

17           So the exhibits are Exhibits TAD-1T through

18   TAD-12; DAH-1T through DAH-5; DAH-7 through DAH-23;

19   DAH-27; DAH-29; and DAH-30; JHS-1T through JHS-14;

20   MV-1T, MV-2, DL-1T, ACC-1T, ACC-2, and DHS-1T.

21           I also note that there were some duplicates in

22   cross-examination, exhibits that were identified by

23   different parties, and for that reason Exhibits DAH-24,

24   DAH-25, and DAH-28 are not offered and are not admitted.

25           Have I stated that correctly?

0038

1           MR. CEDARBAUM:  Your Honor, before we went on

2   the record, I think when I was trying to cross-reference

3   duplicative cross exhibits.  I think I did miss DAH-27,

4   which is duplicative of DAH-5.

5           JUDGE KOPTA:  All right.  Do other counsel agree

6   that those are the same document?

7           MR. FFITCH:  I'm confused, Your Honor.  I

8   thought at an earlier moment 24 was listed as the

9   duplicate of DAH-5.

10           MR. CEDARBAUM:  24 is duplicative of DAH-8.  It

11   may be that DAH-25 is not duplicative, and that I was

12   mistaken before.  But DAH-27 is duplicative of DAH-5.

13   DAH-28 is duplicative of DAH-6.

14           JUDGE KOPTA:  Let's go off the record.

15           (Discussion off the record.)

16           JUDGE KOPTA:  While we were off the record,

17   Public Counsel suggested that we resolve this issue at

18   the end of the proceedings, and I think that's the way

19   we will proceed.

20           So at the moment the exhibits that I have

21   identified have been admitted; those that I have stated

22   are not admitted are not admitted, and we can make any

23   corrections, add or subtract exhibits from the record,

24   as necessary at the conclusion of the proceedings.

25           The second area of discussion is some documents

0039

1   that Public Counsel has requested that the Commission

2   take official notice in an e-mail communication to me

3   yesterday.

4           Mr. ffitch, if you would like to expand on that

5   request, now would be the time.

6           MR. FFITCH:  Thank you, Your Honor.

7           We made this request in an excess of caution.

8   It's not entirely clear to me whether the Bench needs to

9   take official notice of these documents.  They are a

10   matter of public record from another commission

11   proceeding, but I wanted to, in the interests of

12   fairness and notice to the bench and the parties, make

13   known the fact that we did intend to cite them and

14   discuss them in our brief.

15           One of them is the Commission's own order in the

16   2006 general rate case, and the other two are copies of

17   Puget Sound Energy testimony.  All of this has a bearing

18   on the depreciation tracker proposal that was made in

19   the previous case, or in the 2006 case.

20           The depreciation tracker proposal has been

21   discussed, has been raised by us in both the open

22   meeting phase of this proceeding and also addressed by

23   Ms. Crane in her testimony, so the fact that we believe

24   that's relevant to this case shouldn't come as a

25   surprise to Puget Sound Energy.  And we feel that these

0040

1   are appropriate documents to have in the record.

2           In terms of the official notice rule itself, I

3   think these are judicially cognizable.  The specifically

4   enumerated documents in the judicial notice ruling, I

5   don't think this falls quite into a category of a tariff

6   or other kind of enumerated document in the rule, but I

7   think it's clearly the type of document that the Bench

8   could take official notice of, and I think it will be

9   helpful to the record.

10           JUDGE KOPTA:  Ms. Carson?

11           MS. CARSON:  As for the order in the 2006

12   general rate case, I don't see any reason for the

13   Commission to take judicial notice of that.  That can be

14   cited as any other Commission order.

15           I agree it's not clear whether or not testimony

16   from another proceeding should be an exhibit or can be

17   cited to, like as an order is.  I guess PSE's primary

18   concern is that these weren't presented to us until

19   yesterday.  Public Counsel has chosen a few exhibits, a

20   few pieces of testimony from that proceeding.  There may

21   be other pieces of testimony that PSE would like to

22   point to in that proceeding.

23           So if the Commission is going to take judicial

24   notice of some testimony, we ought to be able to also

25   point to other testimony and ask the Commission to take

0041

1   judicial notice or official notice of it in our brief as

2   well.  So I guess I would ask for the same courtesy to

3   be applied to other parties.

4           JUDGE KOPTA:  Mr. ffitch?

5           MR. FFITCH:  No objection to that, Your Honor.

6           JUDGE KOPTA:  Well, I took a look at our rule,

7   and you are correct that testimony is not enumerated,

8   certainly.  And I also observe that in

9   WAC 480-07-495(2), that discusses official notice, in

10   listing those items of which the Commission may take

11   official notice, the general category of (a)(1) is any

12   judicially cognizable fact.  Examples of such facts

13   include but are not limited to rules, regulations,

14   administrative rulings, and orders exclusive of findings

15   of fact of the Commission and other government agencies.

16           My concern is that testimony is fact.  If we are

17   excluding in our rule findings of fact, unless there's a

18   specific cognizable fact in that testimony that you

19   would like the Commission to take official notice of, I

20   am hesitant to take official notice of testimony.

21           I've looked at some of the testimony; it is

22   extensive.  And I agree with counsel for Puget Sound

23   Energy that they should have the same ability.  If we

24   get into an opening of that particular Pandora's box, we

25   may end up with a lot more in this record than we

0042

1   actually need to make a determination.

2           I think testimony is something that would be

3   more appropriately designated as a cross-examination

4   exhibit.  If that was your intent to introduce it into

5   the record, at this point I'm not willing to expand the

6   Commission's procedural rules to include taking official

7   notice of testimony, at least under the circumstances

8   that they're presented here.

9           If you would like, we can take official notice

10   of the order.  I tend to agree with Ms. Carson that it

11   is the Commission order, and therefore can be cited like

12   any other Commission order without the necessity of

13   taking official notice and making it a part of the

14   evidentiary record.

15           So I will leave that to you, Mr. ffitch, whether

16   you believe it's necessary to take official notice, or

17   whether it's sufficient to know that you may cite to

18   that order in your brief.

19           MR. FFITCH:  That's sufficient, Your Honor, with

20   respect to the order.

21           With respect to the testimony, we would request

22   the opportunity to conduct cross-examination on the

23   testimony.  Frankly, in the interests of efficiency, we

24   had thought that rather than go that route, which seemed

25   rather formalistic, we would simply ask that we be able

0043

1   to cite matters of public record, and that's why we

2   brought these forward.  If we can't do that, then we'd

3   like to conduct cross-examination with respect to the

4   testimony.

5           JUDGE KOPTA:  I understand the desire to

6   expedite proceedings, but at some point we can't go

7   there, and this is one of those points.

8           Ms. Carson, would you have an objection to those

9   testimonies being used as cross-examination exhibits of

10   your witnesses?

11           MS. CARSON:  Well, yes, we would object to that.

12   The witnesses have not fully reviewed that testimony.  I

13   believe two pieces of that testimony is testimony of Sue

14   McLain, who's not here, so I'm not sure who would be the

15   appropriate person to cross-exam on her testimony.

16           I just think they should have been -- if they're

17   going to be cross-exam exhibits, they should have been

18   submitted with cross-exam exhibits so we had adequate

19   notice to review them, and so I object.

20           JUDGE KOPTA:  I'm going to sustain that

21   objection.

22           I think they should have been designated

23   earlier, and, particularly, given the nature of the

24   information, if you really are offering it for the legal

25   issue, as you've stated in your e-mail, of single-issue

0044

1   rate making, then I'm even less inclined to explore that

2   as a matter of fact, as opposed to a matter of law or

3   policy.

4           So to the extent that there are items in that

5   testimony that any of the witnesses that are here today

6   have discussed in their testimony here, then I would

7   allow some latitude in terms of questioning them on

8   their other testimony that they may have given in other

9   circumstances to the extent that it's consistent or

10   inconsistent with the testimony they're giving here

11   today.  But at this point, I think it's not appropriate

12   to try and bring in that testimony from another case.

13           MR. BROOKS:  Your Honor, if we're done with

14   Mr. ffitch's request, I have a similar related request,

15   which I think has a small distinction.  If it's

16   appropriate now I'd like to raise it.

17           MR. FFITCH:  Your Honor, I had one final

18   request, with respect to the 2006 testimony, and that is

19   the opportunity to make an offer of proof with respect

20   to the testimony for the record.

21           JUDGE KOPTA:  Yes, you may do that.

22           MR. FFITCH:  And I'm open to the Bench's

23   preference about how to do that.  We could do that

24   during the evidentiary proceeding, or --

25           JUDGE KOPTA:  That would be my preference.  That

0045

1   way we can do it in the context of the witness'

2   testimony, so that we have an idea of the extent to

3   which it's relevant to that testimony and probative of

4   issues that need to be resolved by the Commission.

5           MR. FFITCH:  Thank you, Your Honor.

6           JUDGE KOPTA:  Mr. Brooks?

7           MR. BROOKS:  You'll recall when we were

8   assembling the exhibit list, I'd initially identified an

9   exhibit that was subject to a protective order from

10   a different matter.  We since concluded that we didn't

11   need that exhibit in order to conduct our

12   cross-examination, but it does relate to a confidential

13   filing from a prior docket, a 1995 rate case, in which

14   special contracts were included with the order.

15           We would like the Commission to take official

16   notice of that order, including those confidential

17   filings, so that we can maintain the confidentiality of

18   those filings.  If there's not a protective order in

19   place in this case, then we can brief it if we're given

20   the opportunity to brief, and both sides will be able to

21   do that.

22           I think it's a little bit different, because

23   it's not in the nature of testimony.  I think the

24   document stands on its own, and we'd like to be able to

25   rely on that.

0046

1           JUDGE KOPTA:  Well, certainly with respect to

2   the order, that is something that the Commission can

3   take official notice of, or, as I indicated with

4   Mr. ffitch, we can always cite Commission orders without

5   the need to take official notice.

6           I am not willing to take official notice of

7   anything that's confidential in another docket for two

8   reasons:  One, we do not have a protective order here,

9   as you referenced, and so it would not be appropriate to

10   take official notice of a confidential document in this

11   proceeding, because we don't have any means for

12   protecting it.

13           No. 2, the confidentiality of that is covered by

14   a protective order in another docket, and I am not

15   willing to extend that to use in another docket,

16   particularly at this stage.  Certainly if you had an

17   agreement with the company about the use of that

18   document, that would be one thing, but at this point I

19   hear no agreement.  And so that document you obviously

20   will need to work out with the company whether your

21   intended use of it during your cross here or reference

22   or using information in the document is consistent with

23   the protective order in the docket in which it was

24   entered.  I will leave that to you and the company to

25   resolve.  But at this point I'm not going to admit or

0047

1   consider any confidential information in this

2   proceeding.

3           Anything else that needs to come before us

4   before we are joined by the commissioners?

5           Hearing nothing, we can go off the record.

6           (A break was taken from 9:41 a.m. to 9:47 a.m.)

7           JUDGE KOPTA:  I'm joined on the Bench by

8   Chairman Jeffrey Goltz and Commissioners Patrick Oshie

9   and Phillip Jones.

10           We are now prepared to have presentation of the

11   witnesses, and we'll start with Puget Sound Energy,

12   Ms. Carson.

13           MS. CARSON:  Yes, Your Honor.

14           We would like to present Mr. Tom DeBoer as our

15   first witness.

16           JUDGE KOPTA:  Okay.

17           Mr. DeBoer, would you stand and raise your right

18   hand?

19                          TOM DeBOER

20           Witness herein, having been first duly sworn on

21   oath, was examined and testified as follow:

22           THE WITNESS:  Yes.

23           JUDGE KOPTA:  Be seated.

24

25

0048

1                       DIRECT EXAMINATION

2   BY MS. CARSON:

3       Q.  Mr. DeBoer, please state your name and title and

4   spell your name for the court reporter.

5       A.  Tom DeBoer, D-E-B-O-E-R.  I'm director of

6   Federal and State Regulatory Affairs for Puget Sound

7   Energy.

8       Q.  Do you have before you what's been marked for

9   identification as Exhibit Nos. TAD-1 through TAD-3 and

10   Exhibit Nos. TAD-3 through Exhibit Nos. TAD-14 through

11   TAD-7?

12       A.  Yes.

13       Q.  Do you have any changes to your prefiled direct

14   and rebuttal testimony?

15       A.  No.

16           MS. CARSON:  Your Honor, we ask that -- in fact,

17   I believe the testimony has already been admitted into

18   evidence.

19           JUDGE KOPTA:  That is correct.

20           Anything further.

21           MS. CARSON:  No.

22           JUDGE KOPTA:  Then the witness is available for

23   cross-examination.

24           Let's begin with Commission staff.

25           MR. CEDARBAUM:  Thank you, Your Honor.

0049

1                       CROSS-EXAMINATION

2   BY MR. CEDARBAUM:

3       Q.  Good morning, Mr. DeBoer.

4       A.  Good morning.

5       Q.  I have one area of questions on your direct

6   testimony, and then we'll move to your rebuttal.

7           In your direct testimony, which is TAD-1, at the

8   bottom of page 3, line 21, you were asked the question:

9           Please describe the processes by which PSE

10   communicated the proposed Pipeline Integrity Program

11   tariff to stakeholders.

12           And then your answer on the next page discusses

13   some meetings and other communications.

14           Do you see that?

15       A.  Yes.

16       Q.  In the last sentence of that paragraph, the

17   sentence beginning on page 9, you state:

18           Subsequent to this filing, PSE responded to a

19   number of informal data requests which were shared with

20   the other interested parties.

21           Do you see that?

22       A.  Yes.

23       Q.  And you were in the hearing room before we went

24   on the evidentiary phase of this record.  Correct?

25       A.  Yes.

0050

1       Q.  You heard your attorney's objection to a number

2   of informal data requests that have been marked as cross

3   exhibits by Public Counsel and staff.  Is that right?

4       A.  Yes.

5       Q.  Are those informal data requests the informal

6   data requests that you reference in your testimony?

7       A.  Yes.

8       Q.  Turning to your rebuttal testimony, which is

9   Exhibit TAD-4T, at page 4, line 15, and this is in the

10   context of your discussion of developments on the

11   federal level involving Pipeline Safety, and then at

12   line 15 you refer to:

13           Recent pipeline explosions in San Bruno,

14   California, and then Philadelphia and Allentown,

15   Pennsylvania.

16           Correct?

17       A.  Yes.

18       Q.  Do you know what type of pipeline was involved

19   in the San Bruno, California explosion?

20       A.  No.

21       Q.  So you don't know whether or not the pipeline

22   that was involved is the type of pipeline covered by the

23   Pipeline Integrity Management tariff proposed by the

24   company in this case?

25       A.  No.

0051

1       Q.  With respect to the Philadelphia and Allentown

2   incidents, do you know what type of pipeline was

3   involved with those accidents?

4       A.  No.

5       Q.  So you're not sure whether or not the pipeline

6   involved with those accidents is included in the tariff

7   program proposed by the company in this case?

8       A.  No.  But the tariff program is designed to be

9   flexible to encompass, you know, beyond what's proposed

10   in this year, depending on subsequent discussions with

11   stakeholders.

12       Q.  Do you know whether or not the pipeline involved

13   in the Philadelphia and Allentown accidents is the type

14   of pipeline that's even in the company's system any

15   longer?

16       A.  I don't know.

17       Q.  At page 11 of your rebuttal testimony,

18   lines 2 to 5, you state:

19           The PIP program provides staff and others an

20   opportunity to participate and advocate for work they

21   would like to see done and look in detail at the

22   projects in small bites rather than a general rate case.

23           Do you see that?

24       A.  Yes.

25       Q.  When you refer to "staff" there, you're

0052

1   referring to the Pipeline Safety staff?

2       A.  No.  This is to Energy staff or Pipeline Safety

3   staff or any of the other stakeholders in the meetings

4   we proposed to be part of this proposal.

5       Q.  Well, when you refer to work, what type of work

6   are you talking about?

7       A.  Work, pipeline replacement, anything that would

8   be included in the program for the following year.

9       Q.  Is it correct that the Pipeline Safety staff has

10   ongoing communications with the company with regard to

11   the safety of the company's pipeline system?

12       A.  Yes.

13       Q.  And is there anything preventing staff in those

14   existing communications from advocating for work they

15   would like to see the company do?

16       A.  No.

17       Q.  Are you aware of any instances in which the

18   staff, the pipeline staff, has done that, in other

19   words, advocate for work the company would like to see

20   the company do?

21       A.  Well, that's what sort of drove us to this PIP

22   proposal, Pipeline Safety staff and our pipeline folks

23   began communications about how we could get additional

24   work done in a collaborative way, rather than through

25   Commission complaints and orders.  So that's really what

0053

1   drove us to this filing in the first place.

2       Q.  Those types of communications can happen without

3   the tariff proposal?

4       A.  Sure, the communications can happen, but whether

5   the programs can be implemented is a different story.

6       Q.  When you say "implemented," do you mean recovery

7   of the cost to implement those programs?

8       A.  And putting the pipe in the ground.  I mean,

9   it's -- both Pipeline Safety staff and PSE believe

10   additional work can be done.  It's just a matter of

11   having it approved and being able to get recovery for

12   it.

13       Q.  At page 12 of your rebuttal, lines 5 to 7, you

14   refer to the Commission's final order and the company's

15   2006 general rate case.  You state, citing paragraph 51

16   of the order, that the commission noted that recovery of

17   infrastructure replacement could be undertaken outside

18   of a general rate case.

19           First of all, just to place this into context,

20   the 2006 general rate case order on this subject was

21   discussing the company's proposed depreciation tracker.

22   Is that right?

23       A.  Yes, that's right.

24       Q.  And that proposal was a tracker for the company

25   to recover depreciation expense for transmission and

0054

1   distribution investment that the company makes in

2   between general rate cases?

3       A.  Yes.  Yes, that's right.

4       Q.  As I stated before, in your footnote on the page

5   you draw attention to paragraph 51 of Order 08.  If you

6   need a copy of it, I can provide it to you.

7       A.  I have one.  Thanks.

8       Q.  Okay.  Good.

9           If we could turn to paragraph 51, which is on

10   page 19.  I think what you're referring to is the

11   language that says:

12           Although we find this record insufficient to

13   support out-of-period adjustments, there is nothing that

14   precludes PSE from seeking additions to rate base

15   between rate cases so long as the amounts are not so

16   large as to trigger a general rate proceeding under our

17   rules.

18           That's where you're referring to?

19       A.  Yes.

20       Q.  Is it correct that in the next sentence the

21   Commission states:

22           If the investments are shown to be prudent, the

23   amounts are reasonable, and the plant demonstrates to be

24   used and useful, the Commission may exercise its

25   discretion to allow recovery in rates.

0055

1           Is that what the order says?

2       A.  Yes.

3       Q.  Now, with respect to the tariff proposal on the

4   current case, the pipeline integrity proposal, the

5   mechanism proposed by the company includes a true-up

6   process.  Is that right?

7       A.  That's right.

8       Q.  Prior to that true-up, isn't it correct that the

9   tariff would recover facilities that have not undergone

10   a prudence review by the Commission?

11       A.  It depends on when prudence is determined.  I

12   can't answer that question.

13       Q.  My understanding of how the tariff works is that

14   there are, at least for this initial year, and I think

15   for subsequent years, that the rate is based upon actual

16   costs for a period of time, and then forecasted costs

17   for a period of time.  Is that correct?

18       A.  That's right.

19       Q.  Okay.  Now, those forecasted costs, those have

20   not undergone a prudence review until a later filing

21   when the true-up occurs.  Is that right?

22       A.  Well, I don't know, you know, factually or

23   legally when that happens, but keep in mind what is

24   happening here is we are replacing an existing pipe and

25   these are projects that will be agreed to in advance by

0056

1   the State quota group, will be approved by the

2   Commission when we implement the rate before any pipe

3   goes in the ground.

4           So the parties and the Commission have had an

5   opportunity to look at the facilities that will be going

6   in.  They've approved the -- in rates, and in the

7   following year they'll be trued-up and looked at again.

8   So, again, I can't imagine after that point -- I suppose

9   there's theoretically a risk of imprudence after the

10   fact, but I can't imagine the situation that that could

11   occur.

12       Q.  But the forecasted costs that are included in

13   the recovery refers to costs that may or may not be

14   incurred by the company.

15       A.  But they're for projects that have been approved

16   or agreed to before we collect the money.  So people

17   have looked at what the pipe -- the projects will be,

18   and have agreed that these make sense, so to me that's

19   prudence.

20       Q.  Your rebuttal testimony at page 7, at the

21   bottom, beginning at line 20, you state:

22           In addition, it provides -- "it," meaning the

23   mechanism -- provides a process to review the programs

24   after the fact as part of the annual true-up.

25           So what's to review after the fact?

0057

1       A.  The parties get an opportunity to go back and

2   look, did you actually put in everything you said you

3   were going to do, true-up the costs, and you look at it

4   again to make sure that -- and maybe there was more put

5   in, maybe there was a project that couldn't get

6   permitted that didn't get in, and look at it again.  I

7   mean, it actually provides more of an opportunity for

8   parties to look at these specific projects than less.

9       Q.  So parties can look at the prudence of what the

10   company did or didn't do after the fact?

11       A.  Sure.

12       Q.  And if I understand your testimony, you're

13   saying that the parties will agree upon projects ahead

14   of time, and those will be included in the rate, so the

15   Commission would be signing off at the time that the

16   tariff is filed with the Commission, later filings come

17   before the Commission, the Commission would be signing

18   off on projects with respect to the safety of the

19   company's pipeline system?

20           MS. CARSON:  Object to the form of the question.

21   Ambiguous.

22   BY MR. CEDARBAUM:

23       Q.  I understood your testimony to say, Mr. DeBoer,

24   that it would be the process under which the parties

25   would agree to the projects that the company would

0058

1   engage in to improve the safety of the pipelines, of the

2   company's pipeline system.  Is that correct?

3       A.  These investments are intended to improve

4   safety, that's right.

5       Q.  But you're saying the parties would have the

6   opportunity to agree to the specific projects that would

7   accomplish that goal?

8       A.  The parties would agree, and it would be brought

9   before the Commission before the tariff is implemented

10   and it would be approved at the commission beforehand,

11   and then it would be trued-up after the fact.

12           It's very similar, in my mind, to what happens

13   in the conservation area, where they approve programs,

14   collect the money, and then we true it up the following

15   year.  It's really, in my mind, no different.

16       Q.  So at the time the Commission approves the

17   tariff, the commissioner would be essentially approving

18   safety-related projects?

19       A.  I'll leave that to the Commission to decide what

20   they're approving.

21       Q.  And again, the tariff, as I understand it, the

22   mechanism and how the rate is developed, there's a

23   portion of the costs are the forecasted costs?

24       A.  That's right.

25       Q.  And so that involves facilities that have, again

0059

1   until the true-up occurs, that involves facilities that

2   have not yet been placed in service since they were

3   forecasted?

4       A.  Well, they'll be placed in over the course of

5   the year as you're collecting the costs.

6       Q.  Right.  But rate payers begin to pay the rate at

7   the beginning of the PIP period, and the rate they pay

8   includes forecasted cost for a plant that has not been

9   installed?

10       A.  Perhaps.  It just depends on the timing.  They

11   may be -- there may be more pipe in the ground, and

12   they're paying for that, or depending on the timing of

13   the construction it's not going to be a perfect match,

14   but over the course of the year there's a match.

15       Q.  I have a few questions for you about

16   Mr. Henderson's testimony, his direct testimony.  I

17   believe you have that in front of you.  It's DAH-1T.

18   The table that he shows on page 10.  And I understand

19   this isn't your testimony.  I'm not going to ask you

20   questions about the details or the numbers, but just the

21   general context.

22           The first column on the left, under bare steel,

23   those are the facilities that were removed from the

24   tariff in the amended filing from this past summer.  Is

25   that right?

0060

1       A.  That's right.

2       Q.  And these are costs the company has spent and

3   then budgeted or planned to replace the bare steel

4   pipeline system in accordance with a prior Commission

5   order involving ordering the replacement of those

6   facilities?

7       A.  Yes, for the bare steel.

8       Q.  And would you agree or can you accept subject to

9   check that that was docket PG-030080?

10           MS. CARSON:  I object to that use of "subject to

11   check."  It's not a calculation.

12           MR. CEDARBAUM:  I'm just trying to get the

13   docket number in the record.  It's not a trick question.

14           CHAIRMAN GOLTZ:  I got you.

15           THE WITNESS:  I don't know if that's correct or

16   not.

17   BY MR. CEDARBAUM:

18       Q.  Okay.  But in any event, the bare steel is the

19   subject of a Commission order replacement program, so

20   these numbers relate to complying with that order.  Is

21   that right?

22       A.  Yes.

23       Q.  Is it correct that the amounts that are shown as

24   actually expended from 2003 to 2010 have been addressed

25   in general rate proceedings, the recovery has been

0061

1   addressed in the general rate proceedings?

2       A.  With the possible exception of the 2010 costs,

3   which are --

4       Q.  Pending?

5       A.  -- pending.

6       Q.  And rate recovery of those amounts was granted

7   to the company by the Commission, other than 2010?  I

8   understand the wrinkle.

9       A.  Yes.

10       Q.  Is it also correct that the amounts that are

11   shown -- well, the 2010 through 2014 amounts will also

12   be addressed through the general rate case process?

13       A.  Most likely, yes.

14       Q.  Assuming the company files general rate cases?

15       A.  Or it doesn't get included in some sort of PIP

16   proposal at some point.

17       Q.  So it's possible that the PIP as currently

18   proposed, the company could request expansion of the

19   proposal to include bare steel or something else?

20       A.  Yes.  Our filing is intended to be flexible

21   every year, depending on what the parties think should

22   be the priorities for the following year.

23       Q.  The tariff itself is included in Mr. Story's

24   exhibits, but as I read it, and you correct me if I'm

25   wrong, I didn't read the tariff to preclude the company

0062

1   from proposing an expansion of the mechanism, even

2   without the agreement of other parties.

3       A.  No.  I think practically speaking that's

4   correct; however, if we want to get the filing approved

5   by the Commission, it probably is in our best interest

6   to at least have the consensus of some, if not all, of

7   the parties.

8       Q.  Going back to Mr. Henderson's table, with

9   respect to the 2010 through 2014 costs, I think you

10   agreed that those will be addressed in general rate

11   proceedings, assuming the company files, which it sounds

12   more likely than not, and so the company in those cases

13   will have to demonstrate prudence and reasonableness of

14   those costs.  Is that correct?

15       A.  Yes.

16       Q.  And if the company carries that burden, do you

17   see any reason why cost recovery would not be allowed?

18       A.  No.

19       Q.  Now, turning to the other three columns, wrap

20   steel, mains, wrap steel services of older plastic pipe,

21   these are the three categories of pipelines that are

22   included in the proposed mechanism.  Is that right?

23       A.  That's correct.

24       Q.  And the amounts shown up through 2009 are

25   amounts that have been addressed in general rate

0063

1   proceedings?

2       A.  Yes.

3       Q.  Okay.  And 2010 is pending with respect to the

4   current general rate case?

5       A.  Correct.

6       Q.  If the tariff, the proposed tariff, was not

7   approved by the Commission, the company would come

8   before the Commission in general rate proceedings for

9   the remaining costs that are shown through 2015.  Is

10   that right?

11       A.  Not necessarily.  These are forecasted costs in

12   the outer years, and they could vary significantly from

13   what's listed here.

14       Q.  Okay.  The costs that the company spends on wrap

15   steel main service and plastic pipe replacement would be

16   the subject of general rate proceedings to come for

17   those later years?

18       A.  Yes.  Actual expenditures would be, yes.

19       Q.  If the company were to demonstrate the prudence

20   and the reasonableness of those costs, do you have any

21   reason to believe the Commission would deny recovery of

22   those costs?

23       A.  No.

24           MR. CEDARBAUM:  Your Honor, those are my

25   questions.

0064

1           Thank you, Mr. DeBoer.

2           I'm assuming that the Staff cross exhibit -- I

3   think we only had one -- has been admitted.

4           JUDGE KOPTA:  It has.

5           MR. CEDARBAUM:  Thank you.  That completes my

6   cross-examination.

7           JUDGE KOPTA:  Thank you, Mr. Cedarbaum.

8           Mr. ffitch, your examination?

9           MR. FFITCH:  Thank you, Your Honor.

10                       CROSS-EXAMINATION

11   BY MR. FFITCH:

12       Q.  Good morning, Mr. DeBoer.

13       A.  Good morning.

14       Q.  Could I get you, please, to turn to your

15   cross-examination exhibit that's marked TAD-10.  Are you

16   there?

17       A.  Yes, it's Public Counsel Data Request 36.  Is

18   that right?

19       Q.  Correct.

20       A.  Yes.

21       Q.  And there we asked you to provide a reference to

22   any UTC order that has disallowed recovery for natural

23   gas pipe of the type covered by the PIP proposal, and

24   you answered PSE is not aware of any such order.

25   Correct?

0065

1       A.  That's right.

2       Q.  You state in your rebuttal testimony, and I can

3   give you a cite if you'd like, that Puget Sound Energy

4   has never claimed that it has not recovered the cost to

5   replace the type of facilities involved in this pipeline

6   replacement program.

7       A.  That's right.  Again, that's not the focus of

8   our proposal here.

9       Q.  Can you please turn to TAD-11.  That's Public

10   Counsel Data Request No. 37.

11       A.  Yes.

12       Q.  In there, in response to discover, you state:

13           Puget Sound Energy is not aware of any UTC

14   order, advice, directive or other action that has

15   prevented Puget from replacing any unsafe or defective

16   pipeline in its system.

17           Correct?

18       A.  Yes.  I'd be shocked if such an order existed.

19       Q.  I'd like you to, if you will now, assume a

20   hypothetical, Mr. DeBoer.  Assume that the Commission

21   orders a collaborative process identical to the proposed

22   PIP process that you have outlined in your request here.

23   Do you have that in mind?

24       A.  Yes.

25       Q.  And further assume that the collaborative

0066

1   decides on a specific proactive accelerated replacement

2   plan for a particular type of pipe, let's say, older PE,

3   older plastic pipe.  Okay?

4       A.  I'm with you.

5       Q.  Now, assume that that plan is implemented, costs

6   are suspended, and the plan is prudent.  Can the

7   Commission authorize recovery of those pipeline costs in

8   a general rate case?

9       A.  Yes.  But PSE probably wouldn't agree to it

10   under the factual -- or that hypothetical.

11       Q.  Let me vary the hypothetical just a little bit.

12   If the collaborative process and the proactive

13   replacement plan were not ordered but were done

14   voluntarily, could the Commission still authorize

15   recovery of prudently incurred costs and rates?

16       A.  Yes.

17       Q.  Can you tell the Commission, Mr. DeBoer, how

18   many rate cases Puget Sound Energy has filed in the past

19   ten years in Washington state?

20       A.  I think you probably know more than me.

21   Several.  I don't know the exact number.

22       Q.  You're the director of regulatory affairs for

23   the company?

24       A.  Yes.

25       Q.  And you don't know the number of rate cases the

0067

1   company has filed?

2           MS. CARSON:  I'd like to point out that

3   Mr. DeBoer has not been the director of rates for the

4   past ten years at PSE.

5   BY MR. FFITCH:

6       Q.  So you don't have any knowledge of what happened

7   before you became the director of rates?

8       A.  I don't know how many exactly we filed in the

9   last ten years.  That's all I'm saying.

10       Q.  But you would agree that the filings have been

11   frequent and virtually annual in recent years, would you

12   not?

13       A.  Generally speaking, yes.

14       Q.  Is it fair to assume that PSE will continue to

15   file rate cases at a similar frequency in the

16   foreseeable future?

17       A.  Don't know, but probably, yes.

18       Q.  So does Puget have plans to file a rate case

19   during 2012?

20       A.  We haven't finalized our 2012 plans, but

21   tentatively, yes.

22       Q.  So I take it that Puget Sound Energy is not

23   proposing any kind of stay-out period in connection with

24   PIP?

25       A.  No.

0068

1           MR. FFITCH:  I apologize, Your Honor.  I'm

2   falling into the shorthand reference of "PIP," and I'm

3   not sure what we should do during the hearing with

4   regard to that.  I'd be happy to say P-I-P, if that

5   would be better for the court reporter.

6           JUDGE KOPTA:  I think she's now aware that PIP

7   is P-I-P, also, and not a character out of a Dickens

8   novel.

9           MR. FFITCH:  I did swear at the beginning of

10   this case that I wasn't going to refer to PIP, I was

11   going to say the full name, but I've succumbed.

12   BY MR. FFITCH:

13       Q.  Mr. DeBoer, can I now get you to turn to

14   Exhibit TAD-9.  We have a revised version of that

15   exhibit, distributed by your counsel this morning.

16       A.  I have it, yes.

17           COMMISSIONER OSHIE:  Counsel, would you please

18   repeat the reference?

19           MR. FFITCH:  This is TAD-9.

20   BY MR. FFITCH:

21       Q.  I think, actually, Mr. DeBoer, if you wouldn't

22   mind using the version submitted by Public Counsel,

23   because that's what my page numbers have, and then if

24   you need to go and use the revised one at another time,

25   that would be okay.

0069

1       A.  I've got it.

2       Q.  I think it will be easier for folks to follow

3   along.

4           The TAD-9 is the company's response to our

5   request for recent Wall Street analysts' reports on the

6   company.  Correct?

7       A.  Yes.

8       Q.  The exhibit that we've provided has the Moody's

9   Investor Service Report from March 17th, starting on

10   page 2, and then the Standard and Poor's Report starting

11   on page 7, and I'll ask you a few questions about those.

12       A.  Yes, that's right.

13       Q.  First of all, could you please turn to page 3 of

14   the news report.  That's page 3 of the exhibit.  My

15   page numbers are exhibit pages.  You'll see there's a

16   heading on that page, Recent Events.

17       A.  Yes.

18       Q.  And that states, does it not, that Moody's has

19   updated the long-term ratings of Puget Energy and Puget

20   Sound Energy and assigned them a stable outlook.

21   Correct?

22       A.  That's right.

23       Q.  If you could please turn to the next page,

24   page 4 of the exhibit, you'll see a heading, "What is

25   PSE Spending Capital On," which I found delightfully

0070

1   casual for a Wall Street analyst's report.

2           In that section of the report, Moody's

3   recognizes Puget's expected high capital expenditures in

4   the next 12 to 24 months.  Correct?

5       A.  Yes.

6       Q.  They also go on to say that periodic rate cases

7   are expected to minimize the effect of regulatory lag

8   for the company, did they not?

9           MS. CARSON:  I object to the extent counsel is

10   reading from the report and not otherwise asking

11   questions of the witness.

12           JUDGE KOPTA:  Mr. ffitch?

13           MR. FFITCH:  Your Honor, I'm working up to a

14   question.  I just have a couple more lead-ups.

15           JUDGE KOPTA:  Okay.  All right.  But I tend to

16   agree with Ms. Carson that simply reading excerpts from

17   an exhibit into the record is not the best use of our

18   time this morning, so if you would lay your foundation

19   and ask your question expeditiously, we'd appreciate

20   that.

21           MR. FFITCH:  I appreciate the guidance, Your

22   Honor.  I am trying to highlight some things in the

23   report for the Bench, and Mr. DeBoer had an opportunity

24   to elaborate on these if he wants to or disagree with

25   these findings.

0071

1           JUDGE KOPTA:  I understand, but I'm assuming we

2   will have briefing after this, which will be an

3   opportunity to highlight things in documents as opposed

4   to getting testimonies from witnesses, which is our

5   primary objective this morning.

6           MR. FFITCH:  Thank you, Your Honor.  I'll try to

7   work through this quickly.

8   BY MR. FFITCH:

9       Q.  You'll note on, also, in that same section, that

10   Moody's indicates that the ownership consortium has

11   contributed no equity to the company since the

12   acquisition.  You see that?

13           MS. CARSON:  Where are you referring to?

14           MR. FFITCH:  This is in the same section, "What

15   is PSE Spending Capital On."  It's in the last paragraph

16   in the second line.

17           THE WITNESS:  Yes, I see it.

18   BY MR. FFITCH:

19       Q.  Mr. DeBoer, are you aware of any reference in

20   this analyst's report to perceived need on the part of

21   Moody's for a new tracker for Puget Sound Energy for

22   infrastructure investment?

23       A.  I don't know.  I mean, this is a Moody's

24   investment report that I've read, but I'm not all that

25   familiar with what underlies it.

0072

1       Q.  Could you please turn to the S&P report.

2   Starting on page 9, S&P also notes the high capital

3   requirements of Puget, does it not?  It specifically

4   mentions infrastructure replacement.  That's in the

5   second paragraph on page 9 of the exhibit, page 3 of the

6   report.

7       A.  Yes.

8       Q.  Again, do you see any reference in this report

9   to a need for infrastructure tracker for Puget Sound

10   Energy in order to justify this credit rating?

11       A.  It's not in there, but I wouldn't expect it to

12   be.  That's not their role.

13       Q.  All right.  I'll move on to another topic.

14           Let's go to the direct testimony.  That's

15   TAD-1T.  Page 6, please, lines 16 through 19.  In there

16   you're testifying that the Commission should not reduce

17   Puget's ROE because of the PIP tariff, essentially

18   because other comparable companies have various forms of

19   risk adjustment mechanisms.  Correct?

20       A.  Correct.

21       Q.  You aren't suggesting that accelerated cost

22   recovery coupled with the true-up has no impact on Puget

23   Sound Energy's financial risk, are you?

24       A.  No.

25       Q.  Would you say that accelerated cost recovery

0073

1   increases Puget's financial risk or decreases it?

2       A.  It improves our recovery, yes.

3       Q.  Well, the question is does it increase or

4   decrease your financial risk.

5       A.  I don't know what you mean by "financial risk."

6       Q.  The type of risk upon which the setting of ROE

7   is based.

8       A.  You'll have to rephrase that question.  I don't

9   understand what you're asking.

10       Q.  So you don't know whether or not it would

11   increase or decrease the financial risk?

12       A.  I don't understand your question.

13       Q.  All right.  Let's try it this way.  Does it make

14   it a riskier company for shareholders or owners,

15   investors, or does it make it a less risky company for

16   investors?

17           MS. CARSON:  I object to this line of

18   questioning.  Mr. DeBoer is not a cost of capital

19   witness or a financial witness.

20           MR. FFITCH:  Your Honor, Mr. DeBoer provided

21   testimony in this case, which we have in front of us,

22   regarding the company's ROE.

23           JUDGE KOPTA:  I will allow the question, if

24   Mr. DeBoer can answer it.

25           THE WITNESS:  The point of my testimony here is

0074

1   that ROE -- setting ROE is not a scientific -- it's more

2   art, and it's -- you don't build up a return based on

3   the mechanisms or your -- even the regulatory

4   environment you exist in.  I mean, it's developed based

5   on comparable companies across the country, all of which

6   have different operating parameters, different

7   regulatory regimes, different mechanisms.  And so that's

8   how ROEs are set.  And so to take one little piece of

9   this mechanism and say, yep, that results in a deduction

10   to your ROE, doesn't fit how ROEs are calculated.  That

11   was the point of my testimony.

12   BY MR. FFITCH:

13       Q.  But you're not testifying that it has no impact

14   on Puget's financial risk?

15       A.  No.

16       Q.  You just don't want to say whether it's good or

17   bad?

18       A.  No.  That's not the point of the testimony.

19       Q.  All right.  We'll move along.

20           Let me ask you to turn to your rebuttal on

21   page 3, please.

22           JUDGE KOPTA:  That's Exhibit TAD-4T?

23           MR. FFITCH:  TAD-4T.

24   BY MR. FFITCH:

25       Q.  Do you have that on page 3, line 3?

0075

1       A.  Yes.

2       Q.  And there you testify that the cost to customers

3   of the PIP is small, and I take it your point is that

4   it's not as relatively minimal in terms of customer

5   impact.  Correct?

6       A.  Yes.  In relationship to the safety benefit they

7   receive.

8       Q.  Would you agree that the size of this charge is

9   in the same ballpark as the merger credit provided to

10   customers as a result of the Puget Sound Energy sale?

11       A.  I don't recall exactly, but it's probably

12   somewhere in that vicinity, yes.

13       Q.  So under 50 cents on every bill, approximately?

14       A.  I would guess, but I don't recall.

15       Q.  Are you aware what the ROE impact of the merger

16   credit is on the Puget ownership consortium?

17       A.  No.

18       Q.  Would you accept subject to check that the ROE

19   impact was stated by Puget in that proceeding to be

20   approximately 24 basis points?

21           MS. CARSON:  I object to the use of "subject to

22   check."  It's not a calculation, which is the point of

23   that rule.

24           MR. FFITCH:  I have the testimony here, Your

25   Honor.  I can show it to counsel and the witness.

0076

1           JUDGE KOPTA:  Is that reflected in the

2   Commission's order approving the transaction?

3           MR. FFITCH:  I'm not sure if it is, Your Honor.

4   I'm not sure one way or the other.  It may not be

5   specifically mentioned in the order itself.

6           JUDGE KOPTA:  I'm just thinking if there's some

7   easily referable reference that Mr. DeBoer can check.

8   I'm concerned about having him go through testimony in a

9   prior rate case in order to come up with that

10   information.

11           MR. FFITCH:  Well, I have a copy right here I

12   can hand to counsel and the witness.  It's very clear

13   stated in testimony by the joint applicants in that

14   proceeding.

15           JUDGE KOPTA:  I will allow that question.

16           MR. FFITCH:  Would you like me to provide that

17   at this point?  Or would you like to check that on a

18   break?

19           THE WITNESS:  We don't have -- we don't have any

20   of the merger testimony with us today, so maybe you

21   should provide it.

22           JUDGE KOPTA:  We can do that at a break rather

23   than at this point.

24           MR. FFITCH:  All right.

25

0077

1   BY MR. FFITCH:

2       Q.  Would you agree that the ROE impact of the PIP

3   has been calculated at approximately 28 basis points in

4   this case?

5       A.  No.  I think that's an error.  That was based on

6   our previous proposal.  Mr. Story can address that in

7   more detail of what the current proposal effect would

8   be.

9       Q.  Okay.  But up until today that was the number in

10   the record of this case.  Right?

11       A.  No.  That was an informal data request that was

12   based on a previous proposal that no longer is the

13   proposal.

14       Q.  All right.  Well, we can get that straightened

15   out with Mr. Story.

16       A.  Yes.

17       Q.  Now, the 16 cent amount you provide in your

18   testimony is based on the current year of the PIP, or

19   the first phase of the PIP, so that would end up

20   collecting about $5.7 million.  Is that correct?

21       A.  I don't know the dollar amount.  Mr. Story could

22   probably address that.

23       Q.  Okay.

24           MR. FFITCH:  I think those are all the questions

25   I have, Your Honor.

0078

1           JUDGE KOPTA:  All right.  Thank you.

2           Let's move to Mr. Brooks.

3           Do you have any questions for this witness?

4           MR. BROOKS:  I have no questions for Mr. DeBoer.

5           JUDGE KOPTA:  All right.  Thank you.

6           I wanted to clarify something before we go to

7   the commissioners, Mr. DeBoer.  You had a discussion

8   with Mr. Cedarbaum about how the program is going to

9   actually be implemented, if it's approved by the

10   Commission, and I'm focusing on what exactly you're

11   going to ask the Commission to do.

12           Is it your anticipation that you would present

13   to the Commission after the collaborative process

14   specific projects that the company proposes to undertake

15   as part of this program?

16           THE WITNESS:  Yes.  There would be a list of

17   projects and budgets attached to those projects as well

18   as a total amount, and their rate to collect that

19   amount.

20           JUDGE KOPTA:  And you would be asking the

21   Commission to approve that list of projects and

22   expenditures?

23           THE WITNESS:  That's the detail we have -- that

24   gets into when is prudence determined, and, you know,

25   again, we see it much like the electric conservation

0079

1   tariff where we provide here's what we're going to do

2   over the next year, here's the budgets, here's the rate

3   to collect that, and then it's trued-up the following

4   year.  So I don't know if it's approved on the initial

5   filing, approved on the true-up.  We would probably ask

6   for it to be approved in the initial filing.

7           JUDGE KOPTA:  And if there is a dispute among

8   stakeholders as to the projects that are on that list,

9   and they present that to the Commission, on what basis

10   would you anticipate that the Commission would decide

11   what to approve and what not to approve?

12           THE WITNESS:  Well, again, we would anticipate,

13   you know, coming to the Commission with an agreed-upon

14   proposal.  There may be, particularly with staff, if we

15   didn't have agreement on what we were going forward

16   with, we probably wouldn't bring anything forward.

17   There may be other parties that have a particular

18   dispute with a project, one or two projects on the list,

19   and they would have an opportunity, if we decided to

20   proceed on that basis, have an opportunity in the tariff

21   filing to present evidence that that shouldn't be on the

22   list.  And then if the Commission did order it, or did

23   approve it to be on the list, then they have another

24   opportunity the following year to say that shouldn't

25   have been done, it was imprudent.

0080

1           JUDGE KOPTA:  I guess the point of my questions

2   are to explore the extent to which you would propose

3   that the Commission be involved in determining which

4   specific projects the company undertakes under this

5   program.  And obviously it would be nice to think that

6   it will always be an agreed set of projects, but my

7   lawyer's paranoia makes me think what happens if that's

8   not the case.

9           Based on testimony in the record, there is a

10   fair amount of pipe that would be subject to this

11   program that might be replaced at some point in the

12   future, and the concern that I have is if there's a pool

13   of possible projects and the company believes it wants

14   to designate a certain number of those for the coming

15   year and staff or another party thinks there ought to be

16   a different set, who's the ultimate determiner of which

17   projects get done?  Is it the company, or is it the

18   Commission?

19           THE WITNESS:  Well, I can't imagine that the

20   company could proceed with a list of projects that

21   didn't have the Commission -- at least initial approval

22   in the tariff filing.  I mean, my understanding, you

23   know, Northwest Natural has had this kind of mechanism

24   in Oregon for many years.  In talking with the Northwest

25   Natural staff, they haven't had significant disputes of

0081

1   what goes into the program for the following year.

2           Again, these are replacement projects that are

3   already on a list to be replaced.  It's just a matter of

4   when in the timing.  For the most part, there are some

5   that may ultimately come off the list, but, you know,

6   these are replacement of pipe that have significant

7   safety risks.  So I can't -- I'm having a hard time

8   envisioning having significant dispute on what should or

9   should not be on the list, but I suppose it's possible.

10           JUDGE KOPTA:  As part of the collaborative

11   process, would you envision just providing parties with

12   the list of projects that the company proposes to

13   undertake for the coming year, or would there be also

14   some greater, larger list that would be shared with

15   those other parties and then the company would say of

16   these things that need to be done at some point, here's

17   what we're proposing to do this year?

18           THE WITNESS:  Well, we can certainly provide

19   either.  I don't know specifically whether we would -- I

20   would assume we would come in with a list, an initial

21   list, saying, here's the projects we're proposing for

22   next year to begin the discussion.  And then we have, as

23   Mr. Henderson provided in his testimony, there is, you

24   know, a thousand miles of plastic pipe out there,

25   there's a hundred miles that we sort of identified as

0082

1   being the highest risk, and then out of that would be a

2   subset of the next year's projects, which might be five

3   miles, ten miles, whatever we come up with.

4           So that list does exist.  The data does exist.

5   I'm sure we'd be happy to share that as part of the

6   collaborative process, and, you know, people could have

7   a potpourri of selections of pipe to choose from.

8           JUDGE KOPTA:  Is that more or less how the

9   energy conservation program works now in terms of a

10   collaborative process?

11           THE WITNESS:  PSE brings in a proposal, it's

12   discussed in the Conservation Resource Advisory Group.

13   There's some give and take, and then ultimately, you

14   know, we -- we haven't always reached a hundred percent

15   agreement, and then we bring it to the Commission for

16   approval as the projects and the budget.  So we see it

17   as working fairly similarly, and it's worked well in the

18   CRAG process for quite a few years.

19           JUDGE KOPTA:  When there isn't agreement, how do

20   you resolve any disputes as part of that process?

21           THE WITNESS:  Well, I can only think of one that

22   we didn't get resolved, and it was most recently in the

23   setting the conservation targets, and that went to a

24   litigated proceeding.

25           JUDGE KOPTA:  All right.  Thank you.

0083

1           Commissioners, anyone want to start first?

2           COMMISSIONER OSHIE:  I have a follow-up

3   question, Judge Kopta, because I want to clear the

4   record.

5           I thought I heard Mr. DeBoer in response to one

6   of your questions state that the projects that the

7   company anticipate being included in the PIP are

8   projects that I wrote down that have a significant

9   safety risk associated with them.

10           Did you testify to that just now, or did I just

11   not hear you correctly?

12           In fact, we can go back through the record and

13   look at it.

14           THE WITNESS:  There's a list of pipe that has --

15   is a safety concern.  That's why it's on the list.

16   Whether -- if I said "significant," I think that's what

17   Mr. Lykken testified to, that the plastic pipe is a

18   significant safety risk.

19           COMMISSIONER OSHIE:  I'm asking you, significant

20   safety risk, how do you -- if you're going to testify to

21   that, then how do you define it?

22           THE WITNESS:  There is a known risk for plastic

23   pipe, and it's evaluated through our Integrity

24   Management Program and the risks are ranked and we

25   address the most serious risk pipe first, but there's

0084

1   always other pipe further down the list.

2           COMMISSIONER OSHIE:  And so if you have

3   significant safety risks now existing and on system, the

4   company's management is choosing not to address that?

5   And you're asking us today that you'll only address it

6   if we give you some beneficial regulatory treatment?  Is

7   that your testimony?

8           THE WITNESS:  No.  Our system is safe.

9           COMMISSIONER OSHIE:  That's what I thought from

10   the earlier testimony.  But now I'm -- you know, now I

11   have some concerns.  "Significant safety risk."

12           THE WITNESS:  We address our -- our system is

13   safe.  We address safety through the Integrity

14   Management Proposal.  You can never -- you can always be

15   safer.  You're never going to be at that point where you

16   say you are a hundred percent safe.  That's just a fact

17   of life, the fact of operating both either our

18   electrical or gas system.

19           What we're talking about here is accelerating

20   projects that are riskier or less safe than other things

21   on our system based on their history, their leak

22   failure, everything we know about the system.

23           COMMISSIONER OSHIE:  So give me an example.

24   What's the riskiest section of pipe now on your system?

25           THE WITNESS:  I'd have to defer that to

0085

1   Mr. Henderson, who's our pipeline expert, but I'm

2   sure --

3           COMMISSIONER OSHIE:  Has Mr. Henderson told you

4   that there exists on the system significant safety

5   risks, risks that aren't being addressed by the company?

6           THE WITNESS:  No.

7           COMMISSIONER OSHIE:  Then how do you come to

8   your conclusion?

9           THE WITNESS:  That there's a significant safety

10   risk?

11           COMMISSIONER OSHIE:  Yes.

12           THE WITNESS:  It's riskier.  I mean, maybe I

13   misspoke.  That's my word, "significant."  That's not

14   Mr. Henderson's word.  I'm a lawyer, not a pipeline

15   expert.

16           COMMISSIONER OSHIE:  All right.  Thank you,

17   Mr. DeBoer.  I may have other questions.  I'll defer to

18   other commissioners.

19           JUDGE KOPTA:  Okay.  Commissioner Jones, would

20   you like to ask?

21           COMMISSIONER JONES:  Sure.

22           Good morning.

23           THE WITNESS:  Good morning.

24           COMMISSIONER JONES:  I'd like to go back to kind

25   of first principles here.  So let's talk about the

0086

1   purpose and the policy frameworks surrounding this.  And

2   I don't like the word "PIP."  I'm going to call it

3   integrity tariff or something like that.

4           I think on page 4 and 5 of your direct

5   testimony, TAD-1T, you talk about -- first of all, this

6   is not, Mr. DeBoer, this program, the fundamental goal

7   is not to replace pipe under the Distribution Integrity

8   Management Program.  It's not to come up with a program

9   that's fundamentally different from the DIMP, which is

10   stipulated by PHMSA, is it?

11           THE WITNESS:  No.  We have implemented DIMP, and

12   we have operated under those principles for years.  So

13   this will not change that.

14           COMMISSIONER JONES:  Okay.  So isn't it true

15   that the whole purpose of this is to accelerate

16   replacement of pipe?

17           THE WITNESS:  Yes.

18           COMMISSIONER JONES:  Then I think on pages 4 and

19   5, here you state on page 5 that PSE believes this

20   accelerated funding is appropriate, and you cite two

21   reasons there.  We're going to talk about these a little

22   bit.  I have some questions on these.  So you quote

23   local and national issues, and then the age and

24   performance of PSE system.

25           So I guess my fundamental, my basic question,

0087

1   before we get to this, is why is the acceleration of the

2   pipe replacement program in this integrity tariff in the

3   public interest.  And you can either cite to state laws

4   or safety laws or whatever you wish.  Why is it in the

5   public interest?

6           THE WITNESS:  Well, we know -- I mean, there's

7   -- nationally, we know there are issues with

8   some plastic pipe.  We know that on our own system that

9   we have, you know, various gradations of areas of

10   plastic pipe that we would like to replace.

11           We rank it through the Integrity Management

12   Program.  We have limited capital.  We address the

13   issues in order to maintain our -- you know, our utility

14   obligation, but ultimately there's more you can do.

15           So if you can remove some of that pipe that's

16   next on the list, the next pipe that will be replaced

17   next year based on all the parameters that Mr. Henderson

18   can describe, and you move that up a year, the system is

19   going to be safer.  It's not to say it's not safe now.

20   It will be safer.

21           COMMISSIONER JONES:  And I will address this to

22   Mr. Henderson as well.  But is there any such thing -- I

23   realize you're a lawyer, not an engineer, but is there

24   any concept that you understand as absolute safety?

25           THE WITNESS:  No.

0088

1           COMMISSIONER JONES:  So is it correct to assume

2   that all safety issues are based on a relative basis,

3   based on risk models?

4           THE WITNESS:  Yes.

5           COMMISSIONER JONES:  Okay.  Let's turn to the

6   capital budgeting process, and I think you address this

7   on page 3 of your direct, where on line 3 you state:

8           While in a perfect world PSE would have

9   unlimited dollars to immediately address all facets of

10   these spending programs, the company does not.

11           And I think Mr. ffitch referred you to credit

12   ratings reports that describe your capital expenditure

13   program for 2011 and '12, which are substantial.  One

14   estimate is 2.5 billion over three years, and, according

15   to my math, the other is about 1.8 billion in two years.

16   So those are substantial capital expenditure programs by

17   any stretch, isn't it?

18           THE WITNESS:  Yes.  I think in 2011 we're over a

19   billion in capital, and we're projected to spend almost

20   700 million in capital in 2012.

21           COMMISSIONER JONES:  Could you describe a little

22   more specifically about how you internally budget for

23   these capital expenditure dollars and why under a normal

24   rate making process that you may not get sufficient

25   dollars to fund the Pipeline Safety integrity program?

0089

1           THE WITNESS:  Well, again this is a bit of --

2   this proposal is a very small piece of our overall gas

3   and electric operation.  We have -- they have to

4   compete -- the gas side has to compete with the electric

5   side for capital dollars.  There's compliance programs

6   on both sides of the business.  The integrity management

7   model will generate what are the riskiest projects, and

8   then they propose a budget to address -- to maintain our

9   utility obligations.

10           But the money for all these programs has to

11   compete with the capital from all other programs within

12   the company, and, you know, there isn't unlimited

13   capital available; even if we had the capital, unlimited

14   capital, you know, that would have a rate impact.

15           So we have to address the highest risk issues

16   first, and then we defer things that can be deferred.

17           COMMISSIONER JONES:  Has there been an example

18   in the past where Mr. Henderson's budget has not been

19   adequately funded, to the extent that he wants, going

20   into the -- when he goes into the capital budgeting

21   process with this amount, and then it gets reduced to a

22   certain amount?  I guess that's my question.

23           THE WITNESS:  Well, Mr. Henderson can address

24   that directly.  But that goes on in every department of

25   the company, that there's always more things on the wish

0090

1   list to spend capital on than ultimately get budgeted

2   and paid for, in every department.

3           COMMISSIONER JONES:  Let's go back to the second

4   part of your reason you think this integrity tariff is

5   important, and that is the national framework.

6           What sorts of -- and I know you cited to a

7   letter from Cynthia Quarterman, the director of PHMSA,

8   in one of your exhibits, did you not?

9           THE WITNESS:  Yes, in my rebuttal.

10           COMMISSIONER JONES:  Okay.  So I think some of

11   the parties in this case allege in some way that the

12   national policy framework, or safety work, hasn't

13   changed recently, or is not scheduled or not anticipated

14   to change in the next few years.  So I'd like you to

15   comment generally on how you interpret the national

16   framework as changing.

17           THE WITNESS:  Well, I think we've obviously had

18   some tragic explosions recently.  We have, you know,

19   ongoing pipeline legislation pending at the federal

20   level.  I think there's an increased focus on the fact

21   that there's a lot of old infrastructure in the ground,

22   and that it's going to take a long time to get to.  It's

23   no different than, you know, bridges, the roads.  I

24   mean, all infrastructure is aging.  Unfortunately, gas

25   pipelines have more of an immediate safety impact and

0091

1   that's been highlighted by some of these explosions.

2           COMMISSIONER JONES:  Do you anticipate those

3   requirements to become more stringent and require more

4   capital investments in the future or become less

5   stringent or be about the same?

6           THE WITNESS:  I would guess, just guessing, it's

7   probably going to become more stringent on a federal

8   level.

9           COMMISSIONER JONES:  Okay.  Let's talk about

10   other cases, in terms of TAD-3, where you cite American

11   Gas Association, descriptions of states with

12   infrastructure, cost recovery rate mechanisms.

13           So I'd like to focus maybe on a couple of states

14   there and contrast your proposal with their proposal.

15   You talked a little bit about the state of Oregon.

16   Which companies in Oregon qualify for the infrastructure

17   tracker?  Is it just Northwest Natural or --

18           THE WITNESS:  I believe it's just Northwest

19   Natural.

20           COMMISSIONER JONES:  Could you contrast that

21   tracking mechanism briefly with your revised proposal,

22   not the original proposal with bare steel in it, but

23   with the revised proposal?

24           THE WITNESS:  I don't have all that familiarity

25   with the actual details, but their program is actually

0092

1   much broader and much more, I think in many ways,

2   complicated than ours.  They include, as I understand,

3   O&M cost.  It's more than just capital cost that is

4   included in their program.

5           They do have a forward looking piece to it,

6   although much of it is more historical, but it's trued

7   up to the actuals.

8           COMMISSIONER JONES:  Does it have a cap here?

9   Let me pose a few questions to you.  Does it have a soft

10   cap or a hard cap, if you understand --

11           THE WITNESS:  Yes, it does have a cap.  It's ten

12   or 12 million dollars, I think.

13           COMMISSIONER JONES:  Is there any adjustment in

14   there for O&M, offsetting O&M, which may be produced as

15   a result of a tracker?

16           THE WITNESS:  There is a -- I don't know what

17   the exact term is.  There is sort of a dead band there

18   at the beginning.  They bear a certain number, amount of

19   costs before they start collecting, but I can't recall

20   whether that was due to O&M or whether there was other

21   reasons for that.

22           COMMISSIONER JONES:  Is bare steel in that

23   program or out of the program?

24           THE WITNESS:  I don't recall.

25           COMMISSIONER JONES:  Okay.  This may be unfair.

0093

1   I was going to ask you to refer to the Ohio program.

2   Are you familiar with the Ohio program at all --

3           THE WITNESS:  No.

4           COMMISSIONER JONES:  -- whether it has a cap and

5   offsetting O&M adjustments?

6           THE WITNESS:  None of those things.

7           COMMISSIONER JONES:  Okay.  This will be my last

8   line of questioning.

9           Let's go back.  This refers to O&M costs.  It's

10   page 4 and 5 of either your rebuttal or direct.  I think

11   it's in your direct.  I apologize.

12           Do you recall whether you addressed the --

13           THE WITNESS:  It's on page 7 of my direct.

14           COMMISSIONER JONES:  Okay.  Thank you.

15           Yes, thank you.

16           So in there you state that you don't believe

17   that there should be an offsetting O&M adjustment.

18   Correct?

19           THE WITNESS:  Yes.

20           COMMISSIONER JONES:  Could you briefly

21   summarize -- just as a, from a commonsense perspective,

22   one would assume that if you -- let's take the PE pipe,

23   the pre '86 PE pipe, that has some history of leaks.

24   Leak surveys have to be done perhaps at a higher rate

25   than otherwise.

0094

1           From a commonsense perspective, at least I would

2   conclude that perhaps the leaks surveys would go down,

3   that you wouldn't have to perform as much maintenance on

4   newer pipe than older pipe.  So that's what's driving my

5   question here, where you suggest that leak surveys will

6   have to continue at the same pace as before in the

7   pre '86 PE pipe, for example.

8           THE WITNESS:  Well, two things.  One, what we're

9   talking about here is replacing fairly short segments of

10   pipe, so the leak surveys, while on that particular

11   short section you might not have to go out for a leak

12   report, you still have to do the leak survey on that

13   piece as well as the surrounding system.  So from a leak

14   survey standpoint, it probably has a minimal effect.

15           Now, if you actually had a leak and didn't have

16   to go repair that leak, of course you would save those

17   costs.  But there's also O&M related to putting in the

18   new pipe that offsets some of those savings.  So in the

19   net, while there may be minor O&M savings, we don't

20   think they're very significant.

21           COMMISSIONER JONES:  So in your revised

22   proposal, I guess what you're telling me is that you're

23   not willing to accept an O&M adjustment in any -- let's

24   say if we were to prove an integrity tracker, that you

25   would not accept an O&M adjustment as appropriate?

0095

1           THE WITNESS:  Well, we don't -- I don't know if

2   I would say we wouldn't accept it.  We just -- it hasn't

3   been quantified, and we think it's very minimal.

4           COMMISSIONER JONES:  Okay.  That's all I have,

5   Judge.

6           JUDGE KOPTA:  Mr. Oshie, did you have any other

7   questions?

8           COMMISSIONER OSHIE:  I'll wait for the chairman.

9           JUDGE KOPTA:  All right.

10           COMMISSIONER OSHIE:  Other than most of my

11   questions that I actually thinking about asking were

12   covered by previous people who were cross-examining the

13   witness, other than the statement that he made to you

14   when you asked him a clarifying question.

15           JUDGE KOPTA:  Okay.

16           Mr. Chairman?

17           CHAIRMAN GOLTZ:  Thank you.

18           Mr. DeBoer, on page 3 of your rebuttal

19   testimony, you made the analogy of a -- try to I guess

20   justify the statement that the system is safe, but it

21   could be safer, and used the analogy of driving on the

22   freeway.

23           THE WITNESS:  Yes.

24           CHAIRMAN GOLTZ:  Are you basically saying that

25   driving on the freeway is a high risk proposition, but

0096

1   if you drive with a three-second gap between you and the

2   vehicle in front of you, you'll be safe?

3           THE WITNESS:  I mean, that's the basic

4   recommendation from experts, and, I mean, you got to

5   leave some room between you and the car in front to

6   react to it.

7           CHAIRMAN GOLTZ:  So what we have here is

8   testimony by you or Mr. Henderson, and perhaps

9   Mr. Lykken, that this plastic pipe is high risk, but yet

10   it's safe at the same time.  And so those are two

11   concepts that, I submit, 99 percent of the people would

12   have trouble reconciling.

13           THE WITNESS:  Yes.  I mean, that is a difficult

14   concept to wrap your head around, but, you know,

15   particularly with a plastic pipe, I mean, it can, as

16   Mr. Henderson can testify to, it can be fine, depending

17   on ground conditions, you know, what's happened around

18   it over the years, it could be fine for decades;

19   however, in the right conditions it could fail, and

20   generally fail more quickly than leaks that happen in

21   other -- in bare steel, for instance.

22           So it is, you know, it's part of the integrity

23   management.  It's an analysis, and you don't have

24   perfect information.  You look at the leak history.  You

25   look at what you know about the area, of ground

0097

1   conditions, and you make your best guess.  But we do

2   know -- the one thing we do know is that certain

3   vintages of pipe made with certain plastics have a

4   higher risk of failure than others.

5           CHAIRMAN GOLTZ:  Just offhand, do you know if

6   the Oregon system includes plastic pipe?

7           THE WITNESS:  I don't know.  I am sure they do,

8   but I don't know for sure.

9           CHAIRMAN GOLTZ:  You're sure, but you don't know

10   for sure.  Is that like safe and not safe?

11           THE WITNESS:  I think Mr. Henderson could

12   testify plastic is the future, so I'm sure they have

13   plastic on their system.  I don't know if they have any

14   of the DuPont pipe.

15           CHAIRMAN GOLTZ:  Okay.  So going to your direct

16   testimony on page 5, you talk about the stakeholder

17   process, and you've had some questions about that.  And

18   who besides Pipeline staff would be in the stakeholder

19   group, the Commission Pipeline staff?  Who besides the

20   Commission Pipeline staff would be in this stakeholder

21   group?

22           THE WITNESS:  Oh, anybody that -- I mean, if

23   Energy staff wanted to participate, they're certainly

24   welcome.  It isn't a mandatory, you have to come.  It's

25   we'll have a meeting, you'll be invited.  You're invited

0098

1   to participate.

2           CHAIRMAN GOLTZ:  Practically, is it basically

3   you and Mr. Lykken's staff?

4           THE WITNESS:  I would think so, yes.

5           CHAIRMAN GOLTZ:  But it's not as if there's

6   some -- you aren't going to get members of the public

7   showing up.  There's not some retired pipeline engineers

8   out there that are donating their time.  It's basically

9   Puget Sound -- Mr. Henderson, Mr. Lykken, and their

10   respective staffs are going to get together?  Is that

11   what you envision?

12           THE WITNESS:  Basically, I would think so, yes.

13           CHAIRMAN GOLTZ:  When you say "basically,"

14   that's it, isn't it?  Is there anybody else you could

15   envision showing up?

16           THE WITNESS:  I don't know if any Energy staff

17   will want to participate just based on --

18           CHAIRMAN GOLTZ:  Other than Commission staff and

19   Mr. Henderson's staff, is there anyone else that would

20   show up for this?  Is it basically just when you say a

21   stakeholder group, you're really talking about

22   Commission staff, and Puget staff?

23           THE WITNESS:  That's -- maybe.  I mean, Public

24   Counsel will be invited, could show up, the NWIGU will

25   be invited.  I think they participate, Oregon -- Oregon

0099

1   NWIGU and then Oregon Northwest Natural collaborators

2   that they have.  It's, you know, again, similar to the

3   Conservation Resource Advisory Group, where there's lots

4   of groups represented beyond just Commission staff.

5   Now, whether it will attract enough interest for them to

6   you show up is a different question.

7           CHAIRMAN GOLTZ:  But basically, as I understand

8   it -- and if you want to defer this to Mr. Henderson,

9   that's fine -- basically this is an engineering

10   function.  Correct?

11           THE WITNESS:  Yes, I would think so.

12           CHAIRMAN GOLTZ:  So probably if a bunch of

13   lawyers show up, that's not going to be too productive.

14           THE WITNESS:  I don't plan on attending.

15           CHAIRMAN GOLTZ:  Yeah, no, but -- but seriously,

16   you're looking for some highly specialized types of

17   people, because you're basically, even though you

18   referred to it as your best guess, you're basing this

19   guess as to which pipeline segments should be replaced

20   and when based on some serious engineering technical

21   judgments.  Is that correct?

22           THE WITNESS:  Yes.  Yes, that's right.

23           CHAIRMAN GOLTZ:  And, again, defer this to

24   Mr. Henderson if you want, but what sort of time

25   commitment is this?

0100

1           I mean, you talk about finite dollars.  We have

2   finite numbers of pipeline staff that are -- have

3   statewide responsibilities and a lot of things with a

4   lot of systems, and how much time do you envision this

5   stakeholder -- pardon me, this Commission staff process,

6   being to make these -- to analyze in a technical manner

7   these priorities, or do you know?

8           THE WITNESS:  I would envision the process, the

9   company would develop a list and bring it in as a

10   proposal, with whatever background data required, but I

11   would -- I would point out that in discussions with

12   pipeline staff, you know, this is exactly why we

13   proposed it, is because they want us to do this process

14   with them.

15           So I think they're willing and able to

16   generate -- to devote the time to do it, at least from

17   the pipeline staff perspective.

18           CHAIRMAN GOLTZ:  Right.  But right now -- again,

19   it will help me to ask Mr. Henderson, but I don't want

20   him to defer it back to you -- but right now when you're

21   making these judgments, you know, daily, weekly,

22   monthly -- correct?

23           THE WITNESS:  Yes.

24           CHAIRMAN GOLTZ:  And now does Puget staff pick

25   up the phone and ask the engineers on the Commission

0101

1   Pipeline staff for, "What do you think?"

2           THE WITNESS:  I defer to Mr. Henderson on that

3   question.

4           CHAIRMAN GOLTZ:  Okay.

5           Now, at your proposal, you started talking about

6   this collaborative process to result in a prudence

7   determination.  Is that what you're envisioning?

8           THE WITNESS:  In an ideal world, yes.

9           CHAIRMAN GOLTZ:  But that's not necessarily your

10   proposal, or is it your proposal?

11           THE WITNESS:  Well, no -- I don't know that

12   we -- we haven't got to that level of detail.  I guess

13   in discussions here, you know, in the initial filing, we

14   would say here's our list of proposals, here's the

15   budgets that go with them, here's the rate to collect

16   it.  And whether we say, you know, as part of the order

17   we want a prudence determination or whether that waits

18   until the true-up in the following year, we haven't --

19   we haven't gotten that far.

20           CHAIRMAN GOLTZ:  Because I envisioned sort of a

21   continuum of Commission staff -- Commission involvement.

22   At one end would be nothing, but slightly further along

23   the continuum would be a phone call with Mr. Henderson,

24   or maybe some document exchanges, informal collaboration

25   with Mr. Lykken or the Commission's pipeline engineers

0102

1   about what do you think of us replacing this or not

2   replacing that, and some informal feedback.

3           At the other end of the continuum is a

4   Commission order saying we approve the PSE replacing

5   the, you know, the pipeline segments described in more

6   detail in Appendix A.  And I read your proposal as being

7   a little bit unclear as to where on that continuum it

8   is.  And I view it as being more toward the informal

9   side.  But your testimony earlier sounded like you kind

10   of wanted to nudge it up to the more formal side.

11           THE WITNESS:  Well, I would just point out we

12   have never got an order from the Commission, to my

13   knowledge, approving a particular piece of pipe as being

14   prudent, even in a general rate case.  So, you know,

15   what is -- when does prudence happen for a pipeline

16   replacement.

17           I'm comfortable not asking for, you know, a

18   Commission approved this as prudent in initial filing

19   and leave it for later.  I think -- I tend to agree with

20   you that, you know, we would file, here's the list of

21   projects, here's the budget, you true it up, and, you

22   know, no one complains and says you shouldn't have

23   replaced that.

24           Do you really need an order saying, yeah, these

25   were all prudent.  That will happen, you know, when it's

0103

1   rolled into general rates in the next rate case, I'm

2   assuming it's prudent, but I don't know that we really

3   need a prudence determination.

4           CHAIRMAN GOLTZ:  But would your mechanism, as

5   proposed, work if you were way at the informal end of

6   the continuum I described; that is to say that

7   Mr. Henderson and his staff had informal conversations

8   with Mr. Lykken and his staff about what you're planning

9   to do, not dissimilar to, I believe, what is happening

10   now?

11           THE WITNESS:  I'm comfortable with that, as long

12   as -- I mean, what it really boils down to is what's in

13   the filing when you say here's the budget and here's the

14   rate we want to collect in this filing, and how much

15   backup or, you know, the Commission or parties to that

16   proceeding want to see backing up that rate.  I'm

17   comfortable without the list.

18           CHAIRMAN GOLTZ:  If we did go our more formal

19   basis, where there was a review and either a staff

20   approval or some more formal approval of the list, then

21   wouldn't there also have to be some post pipeline

22   replacement audit of all of that?

23           THE WITNESS:  In the true-up, yes.

24           CHAIRMAN GOLTZ:  And so you'd be asking us, the

25   Commission staff, to review the budget, approve the

0104

1   budget, and then go in and review the actuals and

2   approve the actuals?

3           THE WITNESS:  Yes.

4           CHAIRMAN GOLTZ:  Is that kind of the way, I

5   guess, a future test year works?

6           THE WITNESS:  I don't know about that.  But, I

7   mean, that's how the conservation program works on the

8   electric side.

9           CHAIRMAN GOLTZ:  But the conservation program

10   doesn't have the same sort of detailed engineering

11   analysis, does it, that you're expecting here?

12           THE WITNESS:  Well, it's got a lot more paper

13   and a lot more dollars attached to it than this

14   proposal.

15           CHAIRMAN GOLTZ:  Let me ask you about the budget

16   process.  One of the arguments that both you and

17   Mr. Henderson make is that the budget that Puget had --

18   that right now that replacement of pipeline

19   infrastructure has to compete with everything else going

20   on in the company.  Is that correct?

21           THE WITNESS:  Correct, yes.

22           CHAIRMAN GOLTZ:  So I guess my question is how

23   the budgets work.  Are you saying that the dollar amount

24   is determined and from that you determine the needs, or

25   do you determine the needs and from that determine the

0105

1   dollar amount?

2           THE WITNESS:  It's a bit of an iteration of

3   both.  Mr. Henderson could probably explain it much

4   better than me.  But basically they'll come in with a

5   proposal for the following year based on what their

6   integrity management program says needs to be replaced,

7   and they'll come into the budget process with, you know,

8   here's what we propose to spend on each particular

9   project, and then it's up to management to prioritize,

10   you know, where the dollars go.

11           CHAIRMAN GOLTZ:  So you're saying Mr. Henderson

12   comes into the budget process with a -- based on their

13   integrity management process, and says we need to

14   replace, in my professional judgment --

15           THE WITNESS:  Right.

16           CHAIRMAN GOLTZ:  -- they need -- in

17   Mr. Henderson's professional judgment they need to

18   replace, let's say, $10 million, spend $10 million, and

19   you're saying that in the budget process, because it

20   competes, that might get knocked down to 7 million --

21           THE WITNESS:  It could.  But, again, remember

22   that the list of projects on that list is based on a

23   risk model.  It's not an absolute that, you know, if you

24   don't replace this piece of pipe this year it's going to

25   fail catastrophically.  It's a very complex risk model,

0106

1   and somewhere along that continuum you cut it off in a

2   given year.

3           CHAIRMAN GOLTZ:  And do you know of any example

4   in the past since these pipeline budget requests have

5   been made where the company has funded less than what

6   was requested?

7           THE WITNESS:  I don't know, but Mr. Henderson

8   may.

9           CHAIRMAN GOLTZ:  If I don't bring that up, maybe

10   you could mention that just voluntarily, Mr. Henderson.

11           Once the budget is determined -- and when is the

12   budgeted determined?  What's the budget year?  Is it a

13   calendar year?

14           THE WITNESS:  Calendar year, yes.

15           CHAIRMAN GOLTZ:  Okay.  So when is a budget

16   determined for a given calendar year?

17           THE WITNESS:  Usually in early November.

18           CHAIRMAN GOLTZ:  Okay.  So let's say the budget

19   is determined in early November, get into January,

20   sometime in the middle of the year, there is --

21   Mr. Henderson determines that there is a pipeline

22   segment, a significant one, that's not on the list, and

23   he needs another $3 million to replace that.  How does

24   that get processed?

25           THE WITNESS:  That -- in that particular

0107

1   example -- and things like that happen all the time.  I

2   mean, we have a generator unit that goes out, and we

3   need to spend money on repairing it, so we have to go

4   back and reprioritize the budget.  It has to come from

5   somewhere.  The budget is approved, so we don't go

6   beyond the capital budget.  It's taken from somewhere

7   else.

8           CHAIRMAN GOLTZ:  So you're saying once the

9   budget is approved, the capital budget is approved for

10   the company-wide, that no matter what the capital needs,

11   no matter what the safety needs, you will not go beyond

12   that budget?

13           THE WITNESS:  I don't know if it's that

14   absolute, but, generally speaking, we try to stick to

15   the capital budget for the year.

16           So if there were an immediate safety need and we

17   didn't have any dollars, the dollars would be spent and

18   we'd worry about it later.

19           CHAIRMAN GOLTZ:  You agree that it's your

20   statutory obligation to provide safe and reliable

21   service?

22           THE WITNESS:  Oh, absolutely.

23           CHAIRMAN GOLTZ:  Okay.  And so if it's

24   determined that you need to replace a pipeline segment,

25   not in the budget, and that it's necessary for safe and

0108

1   reliable gas service, you would get the money from some

2   other of the pipeline money, or what?

3           THE WITNESS:  It could come out of the electric

4   side, on a plant.  It could come from anywhere within

5   the company.  It's one big bucket of money in the end.

6           CHAIRMAN GOLTZ:  But you're ambivalent about

7   whether you could just increase the budget?

8           THE WITNESS:  I suppose that could happen, but,

9   generally speaking, we look for cuts elsewhere in order

10   to fund those unexpected expenditures.

11           CHAIRMAN GOLTZ:  You mentioned that the proposal

12   is flexible, and although it does not as filed include

13   bare steel, it could be expanded to that.  Is it your

14   view that that expansion takes place, under your

15   proposal, takes place in the stakeholder process, or is

16   it your view that that would get expanded only after

17   some other commission process and an order amending

18   either whatever we come up with or a new docket.

19           THE WITNESS:  I think it would be both.  It

20   would be vetted in the stakeholder process, and

21   ultimately have to be approved, that's part of the

22   initial filing.

23           CHAIRMAN GOLTZ:  So, in other words, your

24   proposal does not allow bare steel replacement dollars

25   to get put into mechanism without a subsequent order

0109

1   from the Commission to extend that.

2           THE WITNESS:  Yes, that's correct.

3           CHAIRMAN GOLTZ:  Looking at your rebuttal

4   testimony at page 8 -- and I've messed up.  This is

5   not -- my quote is not from page 8.  I'll go on to

6   something else.

7           On page 11, on line 16, you get into some

8   discussion of authorizing return on equity.  And you

9   said on line 16 and 17 that the PIP provides PSE an

10   opportunity to avoid exacerbating the chasm between its

11   authorized return and its actual return on equity while

12   accelerating replacement of higher risk pipe.  Okay.

13           So turning to Mr. Story's rebuttal, which is

14   JHS-10, at page 6, and looking at the table on page 6,

15   if I understand this correctly, and I may not, Mr. Story

16   will correct me, but in the bottom row, where you

17   referred to Docket UG-090705, and it had allowed rate of

18   return and adjusted results of operations, and there's

19   two numbers there, 7.6 percent and 8.10 percent, is that

20   the chasm you're talking about?

21           THE WITNESS:  Yes.

22           CHAIRMAN GOLTZ:  I have no further questions.

23           COMMISSIONER OSHIE:  Just one follow-up

24   question, and that deals with your comparison to the

25   conservation program, your comparison of the

0110

1   conservation program to this proposal, Mr. DeBoer.

2   Would the trackers work in the same way?  I know the

3   subject matter is completely different, but how does the

4   conservation program work as a general rule?  Does it

5   include a return on any investment that would be made by

6   the company, if it had any in conservation?

7           THE WITNESS:  No.  The conservation is just O&EM

8   dollars, not capital.

9           COMMISSIONER OSHIE:  So it's expensed, isn't it?

10           THE WITNESS:  Yes.

11           COMMISSIONER OSHIE:  So why wouldn't that work

12   in this situation, if we chose to go that route?  Why

13   wouldn't we just expense any improvements?  You know,

14   what's being proposed here, at least initially, it's

15   quite small, it's under 2 million, so wouldn't we just

16   expense that?

17           THE WITNESS:  With the recovery on a monthly

18   basis?  Without the return?  I'm not following your

19   question.

20           COMMISSIONER OSHIE:  Without the return.  Just

21   treat it as an expense, like the conservation program.

22           THE WITNESS:  Well, that doesn't provide the --

23   I mean, the whole purpose of -- what's driving the

24   acceleration is the ability to actually recover those

25   dollars.  If we don't recover the dollars, there isn't a

0111

1   real driver for the company to accelerate the programs.

2           COMMISSIONER OSHIE:  What if you recovered the

3   dollars -- we could set it up -- you, hypothetically,

4   how would you want to recover them?  Upfront?  And then

5   expense?  Wouldn't that take management's, any reticence

6   they have at improving the safety for the public off the

7   table?

8           THE WITNESS:  But it doesn't remove the lag of

9   the recovery on the investment.

10           COMMISSIONER OSHIE:  Upfront recovery wouldn't

11   remove the lag?

12           THE WITNESS:  I'm not following your proposal,

13   Commissioner Oshie.

14           COMMISSIONER OSHIE:  I probably filled the gap,

15   because I asked you for a hypothetical, how do you want

16   it, and then there was silence, so I just said how about

17   upfront.  We can make anything up here.

18           But, you know, doesn't expensing the cost take

19   management's reticence to make the system safer for the

20   benefit of the public off the table?

21           THE WITNESS:  But these are not expensed costs.

22   This is capital.  We haven't asked for any O&M dollars.

23   And we earn upon our capital.

24           COMMISSIONER OSHIE:  If we allowed you to

25   recover it as an expense, then it's not capital invested

0112

1   by the company, is it?  You'd be treated as an expense.

2           THE WITNESS:  Sure.

3           COMMISSIONER OSHIE:  So that would remove the

4   company's management's reticence to improve the system

5   for the benefit of the public if we expensed the costs

6   that are in question here.

7           THE WITNESS:  And then what do you do with the

8   plant?

9           COMMISSIONER OSHIE:  Well, it's not in rate

10   base, because it's been expensed, year over year.  You

11   don't earn return on it.  You'll get a return of, as in

12   the conservation program.  There would be a tariff set,

13   there would be projected cost, it would be recovered

14   from rate payer, true up at the end of the year.

15           THE WITNESS:  I'd have to think about that, but

16   I don't think we would support that proposal.

17           COMMISSIONER OSHIE:  That's fair.

18           Thank you.

19           JUDGE KOPTA:  We will take a brief recess for

20   five minutes.  Please be back at 11:25.

21           (A break was taken from 11:18 a.m. to 11:28 a.m.)

22           JUDGE KOPTA:  Ms. Carson, do you have redirect

23   for this witness?

24           MS. CARSON:  I have no redirect.

25           MR. CEDARBAUM:  Your Honor, I'm sorry.

0113

1           JUDGE KOPTA:  Yes, Mr. Cedarbaum?

2           MR. CEDARBAUM:  I do have some follow-up

3   questions based on the commissioners' questions, if they

4   could be permitted.

5           JUDGE KOPTA:  Any objection?

6           MS. CARSON:  No, objection.

7           JUDGE KOPTA:  Go ahead, Mr. Cedarbaum.

8           MR. CEDARBAUM:  I understand Ms. Carson may have

9   redirect after that.

10           JUDGE KOPTA:  We will give her that opportunity.

11                       CROSS-EXAMINATION

12   BY MR. CEDARBAUM:

13       Q.  Mr. DeBoer, two or three questions.  You

14   answered some questions about expanding the scope of the

15   pipeline of the proposed tariff mechanism, and I think

16   you indicated that -- let me ask you this.  There's

17   nothing in the tariff that prohibits, with Commission

18   approval, the company from requesting an expansion of

19   the types of pipeline systems covered by the mechanism,

20   for example, to include bare steel.  Is that correct?

21       A.  Yes.  Although I can't imagine including bare

22   steel, but it is flexible to include things, yes.

23       Q.  Again, you wouldn't have to have other parties'

24   and stakeholders' agreement to expand the proposal.  Is

25   that right?  To request to expand the proposal?

0114

1       A.  No.  But again we have to make a filing, and if

2   we want to get a filing approved, it would be in our

3   best interest to have at least the pipeline safety staff

4   onboard, if not others.

5       Q.  Is the same true with respect to the capital

6   expenditure dollar limit that's currently in the

7   proposal?  Right now it's capped at 25 million capital

8   expenditures.  Is it correct that the company could ask

9   Commission approval to increase that number?

10       A.  Yes.

11       Q.  And that could be done with or without other

12   parties' agreement?

13       A.  Yes.

14       Q.  You were asked some questions about the

15   consultation process in terms of determining what

16   projects would be involved, and I believe you answered

17   that your expectation would be that it would involve

18   mostly the engineer-type folks.  Is that correct?

19       A.  I would presume that would be the case, yes.

20       Q.  There are costs attached to each of the projects

21   that the engineers are looking at.  Is that right?

22       A.  Yes, and that's why Energy and Rate staff would

23   be invited and they could look at those costs.

24       Q.  So there may be Energy, Regulatory Services

25   Section and other parties, such as Public Counsel, and

0115

1   other intervenors who aren't necessarily interested in

2   the actual engineering aspects might be interested in

3   the cost and expense aspects of things?

4       A.  I would expect that to be the case.

5       Q.  If they had any disputes with respect to any

6   item, whether from an engineering or cost perspective,

7   they would have to come to an open meeting where filing

8   is presented to the Commission and argue for suspension

9   of the filing.  Is that right?

10       A.  I don't know about suspension.  They would have

11   to argue whatever they're going to argue at the open

12   meeting that it would be addressed.

13       Q.  If they didn't want the tariff to go into

14   effect, they would have to ask the Commission to either

15   reject it or suspend it?

16       A.  That's probably true, yes.

17       Q.  You were asked questions about -- Chairman Goltz

18   put it to you in the sense of continuum, as in a context

19   in determining the projects to be included in the cost

20   recovery.  At one end there was this more formal process

21   with pipeline safety staff, at the other end there was a

22   very formal process of the list of projects to be

23   approved by the Commission.  If I understood your

24   testimony, if it were on the informal end of things,

25   then the prudence review of the projects that the

0116

1   company implements comes later on.  Is that right?

2       A.  I suppose so.  Again, where prudence is

3   determined is a bit of a -- even in a rate case, a bit

4   of a mystery to me.  But I don't know where prudence

5   would be determined.

6       Q.  There's no prudence review that occurs on the

7   informal end of things.  Is that correct?

8       A.  I don't know.  I mean, it could be.

9       Q.  On the formal side, the other end of the

10   extreme, where the company comes before the Commission

11   with a list of specific projects and costs attached to

12   those projects, and that's presented in an open meeting

13   presumably, at first.  At that point in time, would

14   there be a Commission determination as to the prudence

15   of those projects?

16       A.  There would be a Commission order approving the

17   cost recovery and the true-up.

18       Q.  But that cost recovery relies upon specific

19   projects that the company has presented to the

20   Commission?

21       A.  That's correct.

22       Q.  So implicit in that approval would be the

23   Commission's assessment that the projects were prudent

24   for the company to implement?

25       A.  I would think so.  Implicitly, yes.

0117

1       Q.  And then there's the true-up later on, and we

2   have an after-the-fact review of the actual cost that

3   the company spends on the projects?

4       A.  Oh, I'm sorry.  When I answered earlier I

5   thought you were talking about the true-up process.  You

6   were talking about the initial filing?

7       Q.  Yes, I was.

8       A.  Oh.  What I was referring to was the true-up

9   after the fact, that the Commission would be approving,

10   you know, the true-up to the actual dollars spent, and

11   at that point I would think there would be implicitly an

12   approval of the projects.  Not at the front end, I'm

13   sorry.

14       Q.  Okay.  Let's say we're again at this formal, you

15   know, the specific list of projects.  Presumably there

16   can be addresses for homes or businesses on that list

17   where the pipeline that serves that property, there's an

18   incident involving that property, there's an explosion,

19   I mean, there's nothing about putting the property on

20   the list that precludes there being a safety hazard

21   there.  Let me restate the question.

22           The list of projects that the company has

23   presented to the Commission may have properties on it

24   where the pipeline fails despite being on the list, and

25   despite having the replacement occur?

0118

1       A.  So after the pipeline is replaced it fails?

2       Q.  Correct.

3       A.  Yes, that's always possible.

4       Q.  And there could be properties served by the

5   company that are excluded from the list and don't have

6   pipeline replacements where the pipeline fails?

7       A.  Yes.

8       Q.  Finally, you were asked questions about public

9   interest and whether you thought the company's proposal

10   was consistent with the public interest.  It's correct,

11   is it not, that the company has an obligation to provide

12   a safe pipeline system?

13       A.  Yes.

14       Q.  And do you believe that the company's proposal

15   in this case is consistent with that obligation?

16       A.  Yes.

17       Q.  Is it the company's position that unless the

18   Commission grants it the type of recovery mechanism

19   proposed in this docket that the company will not do the

20   work to implement that program?

21       A.  No.  As we covered in both my prefiled and

22   rebuttal, we will maintain a safe system, there's no

23   question about that.

24       Q.  I guess my question is will the company

25   implement, do the necessary work to make the system

0119

1   safer, even without this recovery mechanism?

2       A.  I was with you until you said "safer."  We will

3   maintain a safer system.  What we're talking about here

4   is accelerating to improve on that safety.  It's no

5   question we will do what we need to do and spend what we

6   need to spend to maintain a safe system.  But again it's

7   not a point, it's a continuum.  And you can't say you're

8   safe now and you're not safe here.  So we will maintain

9   a safe system.

10       Q.  But I thought you answered, and maybe I just

11   stated the question poorly, I thought you answered that

12   the proposed mechanism with the company's obligation to

13   provide a safe system.  My question is will the company

14   not fulfill that obligation unless the Commission

15   approves this tariff mechanism?

16       A.  I took your initial question to mean is this

17   proposal inconsistent with our obligation to maintain a

18   safe system, and it's not.  It will improve safety,

19   improve upon safety, but it's in addition to our

20   obligation to maintain a safe system.

21           MR. CEDARBAUM:  Thank you.

22           JUDGE KOPTA:  Anything further from the

23   commissioners?

24           CHAIRMAN GOLTZ:  I have one question,

25   Mr. DeBoer.  In reviewing your options for making this

0120

1   filing, did you consider filing a petition for rule

2   making?  And I ask that because we have a number of gas

3   local distribution companies in the state, and they may

4   all be facing some of the issues that you're posing

5   here.  Would it make more sense to do this as a rule

6   making so it's applicable to the other companies as

7   well?

8           THE WITNESS:  We didn't -- we talked about it.

9   We did not ultimately obviously decide to request a rule

10   making.  We think it would be very difficult to do this

11   in a rule making.  Each utility is different.  It's much

12   like some other contentious issues we have, but we -- we

13   do not, and we do not think -- you know, rule making

14   takes a long time.

15           CHAIRMAN GOLTZ:  Not like this.

16           JUDGE KOPTA:  Anything else from the Bench?

17           COMMISSIONER JONES:  Just on that point.  When

18   did you originally come up with this proposal, on the

19   timeline?  Wasn't it like nine, ten months ago?

20           THE WITNESS:  Oh, actually discussions have been

21   going on between our operations staff and pipeline

22   safety staff going back to 2008 with implementation of

23   the integrity management program.  They became much

24   more, much more serious late last fall and early this

25   year when we started actually having discussions with

0121

1   stakeholders.

2           COMMISSIONER JONES:  So a rule making might have

3   been faster in that context.

4           That's all I have.

5           JUDGE KOPTA:  Ms. Carson, anything further for

6   this witness?

7           MS. CARSON:  No, Your Honor.

8           JUDGE KOPTA:  Thank you.

9           Mr. DeBoer, you're excused.  Thank you for your

10   testimony.

11           Ms. Carson, you may call your next witness.

12           MS. CARSON:  PSE calls Mr. Duane Henderson to

13   the stand.

14                        DUANE HENDERSON

15           Witness herein, having been first duly sworn on

16   oath, was examined and testified as follow:

17           THE WITNESS:  Yes.

18           JUDGE KOPTA:  You may be seated.

19                       DIRECT EXAMINATION

20   BY MS. CARSON:

21       Q.  Mr. Henderson, please state your name and title

22   and spell your name for the court reporter.

23       A.  My name is Duane Henderson, D-U-A-N-E,

24   H-E-N-D-E-R-S-O-N.  I'm the manager of gas system

25   integrity for Puget Sound Energy.

0122

1       Q.  Mr. Henderson, do you have before you your

2   prefiled direct and rebuttal testimony in this

3   proceeding?

4       A.  I do.

5       Q.  Do you have any corrections to that testimony?

6       A.  I do not.

7           MS. CARSON:  Your Honor, we offer Mr. Henderson

8   for cross-examination.

9           JUDGE KOPTA:  Thank you.

10           Mr. Cedarbaum?

11           MR. CEDARBAUM:  Thank you, Your Honor.

12           I just wanted to be sure to address the

13   company's objection to DAH-6.  I would offer that

14   exhibit.

15           JUDGE KOPTA:  You had identified that as being

16   in conjunction with this particular witness.  Were you

17   going to ask him any questions about it?

18           MR. CEDARBAUM:  No, I wasn't.  I was just going

19   to offer it into evidence.  He's designated as the

20   person who prepared the response, so I was just

21   offering.

22           JUDGE KOPTA:  Ms. Carson, do you maintain your

23   objection?

24           MS. CARSON:  I do maintain my objection.  Shall

25   I restate it?

0123

1           JUDGE KOPTA:  No.  I believe we have it for the

2   record.

3           MR. CEDARBAUM:  Your Honor, if I could just add

4   to my response, though.  This morning, Mr. DeBoer, I

5   specifically pointed him to set -- a part of his direct

6   testimony in which he referred to the informal responses

7   that the company provided to parties in this case.  It

8   seems to me that if he's going to testify about that, I

9   should be able to make any of those informal data

10   requests an exhibit in the case.

11           JUDGE KOPTA:  Well, as I understand Ms. Carson's

12   objection, it just goes to one aspect of it, which is

13   the fact it is an informal data request as opposed to

14   formal data request.  But her other objection is that

15   this, as I understand it, is referring to an earlier

16   version of the proposal that's no longer before the

17   Commission, and therefore is not relevant.  That's why I

18   was going to give you the opportunity to explore with

19   this witness the relevance of this request and how it

20   relates to the issues that are before the Commission.

21           So my preference at this point would be for you

22   to ask the witness questions about this exhibit that you

23   have designated for him to demonstrate that it is, in

24   fact, relevant.

25           MR. CEDARBAUM:  Why don't I start with that

0124

1   then.

2           JUDGE KOPTA:  Thank you.

3                       CROSS-EXAMINATION

4   BY MR. CEDARBAUM:

5       Q.  Good morning, Mr. Henderson.

6       A.  Good morning.

7       Q.  If you could refer to Exhibit DAH-6, which is

8   Company's response to Informal Data Request No. 6.  Do

9   you have that?

10       A.  Yes, I do.

11       Q.  This question, we asked you basically to define

12   what the company intended by suggesting the proposed

13   tariff is meant to be flexible with respect to the scope

14   of programs to be included in the future.  Do you see

15   that?

16       A.  Yes, I do.

17       Q.  This morning before you testified Mr. DeBoer

18   testified with respect to the flexibility of the tariff

19   schedule.  Did you hear his testimony?

20       A.  Yes, I did.

21       Q.  Anything to dispute about what he said?

22       A.  No, I do not.

23       Q.  Does it matter to what he said that bare steel

24   pipeline was removed from the structure of the tariff?

25       A.  As far as this response, I think that it does

0125

1   not.  I would offer that I think the example of using

2   bare steel as something that would be included at a

3   later date, perhaps there's other programs that are out

4   there that might be more demonstrative of how the

5   program could expand.

6           Integrity management is about identifying risk

7   to your system and devising means to mitigate those

8   risks, and we do not currently have other programs that

9   we would bring forward.  But we believe that the

10   mechanism as proposed would allow in the future setting

11   that if some other items -- there may be another type of

12   pipe that's identified, for example, that that could be

13   brought forward, and they could be included under this

14   same mechanism.

15       Q.  Is there anything about your response to the

16   data request that changes because bare steel was

17   removed?

18       A.  No, it does not.

19           MR. CEDARBAUM:  Your Honor, I'd offer

20   Exhibit DAH-6.

21           MS. CARSON:  Well, I guess maybe I disagree a

22   little bit with Mr. Henderson.  I think there may be

23   other things here in this that have changed since the

24   program was revised in July; specifically the way that

25   the collaborative process is described.  I don't know if

0126

1   you want me to speak to this or Mr. Henderson.

2           JUDGE KOPTA:  At this juncture, as I read the

3   response, and listen to Mr. Henderson's response to

4   questions from counsel, I believe this is consistent

5   with testimony that's been given, and I will allow you

6   to explore on redirect if you want to correct, but at

7   this point I see no reason not to admit the exhibit, so

8   Exhibit DAH-6 will be admitted.

9           MR. CEDARBAUM:  Thank you, Your Honor.

10   BY MR. CEDARBAUM:

11       Q.  Mr. Henderson, if you could turn to your

12   rebuttal, DAH-1T, at page 4, line 7.  It's DAH-4.  And I

13   apologize again, I'm in your direct testimony.  That is

14   DAH-1, page 4.

15       A.  Page 4.

16       Q.  If you return to the bare steel replacement

17   program, beginning at line 7, do you see that?

18       A.  Yes.

19       Q.  That replacement program came about because of a

20   Commission complaint in a prior pipeline safety

21   document.  Is that correct?

22       A.  That's correct.

23       Q.  And specifically in that case, the company, and

24   the Commission's Pipeline Safety staff, reached

25   agreement on the complaint, and then their agreement

0127

1   included a number of remedial steps, to include the

2   safety of the company's system, including the bare steel

3   replacement program.

4       A.  That's correct.

5       Q.  So that document is an example of Pipeline

6   Safety staff at the Commission, and counterparts with

7   the Company and their safety section, where agreement

8   was reached on improving pipeline replacement, and

9   having that brought to the Commission and approved?

10       A.  Correct.

11       Q.  Does a similar situation happen with respect to

12   the company's cast-iron system at an earlier time than

13   the bare steel?

14       A.  Yes.  I believe in the early '90s that a similar

15   situation presented itself.  An agreement was reached

16   between us and Pipeline Safety staff.

17       Q.  So again -- and for the record, hopefully this

18   won't raise an objection -- the docket is UG-920487.  In

19   that case, the staff and Company agreed to a schedule

20   for replacement of the cast-iron system presented to the

21   Commission, the Commission approved it.  The cast-iron

22   system has been replaced since then.  Is that right?

23       A.  Correct.

24       Q.  Do you know what the total cost was to replace

25   the cast-iron system?

0128

1       A.  I do not.

2       Q.  If we look at Exhibit DAH-13, that's a

3   cross-examination exhibit from Public Counsel.

4       A.  Which?

5       Q.  It's DAH-13, Exhibit DAH-13, which is the

6   company's response to Public Counsel Data Request 4.  Do

7   you have that?

8       A.  Yes, I do.

9       Q.  And on page 1, at the bottom, there's a table

10   that goes onto page 2, that lists the capital

11   expenditures to replace the cast-iron system.

12       A.  Yes.

13       Q.  So we just add up those numbers to get the total

14   cost?

15       A.  That would give us the total.

16       Q.  Also, switching to a different topic, in your

17   direct testimony, you indicate that you're the manager

18   of the company's gas system integrity group.  Right?

19       A.  Yes.

20       Q.  And part of your duties and the duties of other

21   people in your section is to meet with members of the

22   Commission's Pipeline Safety staff with respect to

23   safety issues.  Is that right?

24       A.  Yes.

25       Q.  Can you tell me how often those types of

0129

1   meetings occur?

2       A.  We do meet on a very regular basis, and it takes

3   a number of forms.  There is, you know, a quarterly

4   meeting where myself and folks from other departments in

5   the company get together to talk about not only pipeline

6   safety issues but consumer issues, electric issues, and

7   what not.  That's one forum.  On a monthly basis one of

8   my peer managers or myself get together with Pipeline

9   Safety staff to go over and just -- as much to continue

10   our professional relationship and talk about issues that

11   are current and germane to what's happening at the time.

12       Q.  Who from the Commission's pipeline section are

13   involved in those meetings?

14       A.  Typically it's attended by Mr. Lykken.

15   Mr. Subsits often is in attendance at the monthly

16   meetings.  The quarterly meetings would include

17   Mr. King, Ms. Wallace may attend, in some instances, and

18   we've had representatives from the energy side, or the

19   rate side.

20       Q.  Mr. Henderson, those were people on the

21   Commission side that get involved.  Who on the company's

22   side other than yourself?

23       A.  Myself and Ms. Cheryl McGrath, who's our manager

24   of gas compliance and regulatory audits, is a regular

25   attendee.  We include at the quarter meetings directors

0130

1   of our electrical side, director of our -- of

2   compliance.  Ms. Kathy Coke is another regular attendee

3   at that.  And depending on the subjects, we may bring

4   people in from our call center or other departments as

5   the agenda might dictate.

6       Q.  You've listed some of the subject matters that

7   these discussions involved.  I take it then that the

8   meetings and the companies provide staff the opportunity

9   to communicate any concerns they have with respect to

10   pipeline replacement, pipeline operation, any matter

11   addressing safety?

12       A.  It certainly is one form for that to happen,

13   yes.

14       Q.  Would you expect that to change if the

15   Commission were to deny the proposed tariff mechanism?

16       A.  No, I don't believe so.

17           MR. CEDARBAUM:  Thank you.  That's all my

18   questions.

19           JUDGE KOPTA:  Thank you, Mr. Cedarbaum.

20           We are now at 5 to 12.  It seems like it might

21   be a good point for a break for lunch.  So let's be off

22   the record.

23           (Discussion off the record.)

24           (A luncheon recess was taken from 11:54 a.m. to

25           12:45 p.m.)

0131

1           JUDGE KOPTA:  Let's be back on the record.  We

2   are back after our lunch recess, and we'll resume

3   cross-examination of Mr. Henderson.

4           Mr. ffitch, I believe it is your turn.

5           MR. FFITCH:  Your Honor, with your indulgence,

6   I've conferred with Mr. Brooks, and he asked if he could

7   go before me.  He has very short questioning, and I

8   indicated that would be okay with me.  If it's all right

9   with the Bench.

10           JUDGE KOPTA:  Okay by us.  Mr. Brooks?

11           MR BROOKS:  Thank you.

12                       CROSS-EXAMINATION

13   By MR BROOKS:

14       Q.  Good afternoon, Mr. Henderson.

15       A.  Good afternoon.

16       Q.  Do you have Exhibit DAH-29 in front of you?

17       A.  Give me a moment.

18           Yes, I do.

19       Q.  The document footer indicates that it's Response

20   to Public Data Request 009.  Is that your understanding

21   of this document?

22       A.  Yes.

23       Q.  Did you prepare this response?

24       A.  I did, yes.

25       Q.  I just want to ask you a few questions about the

0132

1   statements that are made in this.

2           Since the time you initially prepared the

3   response to this data request, has Puget undertaken any

4   cost benefit studies relating to the acceleration of its

5   pipe replacement program?

6       A.  We have not.

7       Q.  Does Puget currently engage stakeholders,

8   including commission staff, with respect to pipeline

9   replacement initiatives?

10       A.  I would say that specifically we don't, but as

11   discussed earlier, we do meet with staff regularly, and

12   as part of those discussions, issues around pipeline

13   integrity and pipeline replacement may be discussed.

14       Q.  Does Puget currently have a process for

15   determining its risk reduction objectives?

16       A.  The whole integrity management approach is

17   really kind of in its infancy as far as how we've been

18   implementing it with MPSE, so we have risk models that

19   do provide for us a scoring, if you will, of that, of

20   risk, and that helps us to prioritize our intention on

21   what work needs to be done.  We have not yet identified

22   a reduction objective or a threshold, if you will, that

23   we're striving for.

24           Many of the programs, the risk models vary from

25   bare steel to plastic pipe to our wrap steel, and we're

0133

1   still kind of calibrating the various risk models.

2       Q.  What's the difference between an objective and

3   determining your prioritization, I think is what you

4   said?

5       A.  I think the prioritization will put it into an

6   order with which we are intending to address the work.

7   The objective in my mind tells me that there's a certain

8   level, a certain score that we're trying to get to and

9   we have not gotten to a point where we can say that a

10   risk score of -- any number, is what we are driving

11   towards.  The various risk models do still, as they're

12   being -- becoming matured, balance different risks

13   differently for the different types of materials.

14       Q.  Does Puget currently establish which pipe

15   segment should be replaced the following year?

16       A.  Yes, we do.

17       Q.  Do you have before you Exhibit DAH-30?

18       A.  Yes, I do.

19       Q.  The footer on this exhibit indicates that it's

20   PSE's response for Public Counsel Data Request 031.  Is

21   that your understanding of this document?

22       A.  Yes.

23       Q.  Did you prepare the response in this document?

24       A.  Yes, I did.

25       Q.  The answer provided here states that customer

0134

1   benefits are, quote, generally qualitative, unquote.

2   Has Puget undertaken any analysis to determine any

3   nonqualitative customer benefits?

4       A.  We have not, no.

5       Q.  In light of that answer that you have not

6   analyzed any nonqualitative benefits, what do you mean

7   by generally qualitative as opposed to, for example,

8   purely qualitative?

9       A.  As we've discussed, or heard discussion earlier

10   today, the primary benefit is around improving safety,

11   and it's very difficult to put a numerical value to what

12   safety is.  As Mr. DeBoer has testified, safety is a

13   continuum, and we do operate a safe system.  I'll say

14   that benchmark, that initial benchmark is established by

15   the state and federal regulations on pipeline safety.

16   Through integrity management, we're trying to move

17   beyond just the minimum requirements of those

18   regulations.  And -- but to say where we're going to

19   land on that continuum is still, as we see today, up for

20   some debate as to how safe is safe.

21       Q.  Are you able to quantify the minimum

22   requirements that you just spoke of?

23       A.  The pipeline safety regulations would be that

24   benchmark, but they aren't -- again, in the sense of a

25   number, numerical value, it can't be done.  It's a

0135

1   compendium of a number of different requirements that

2   all go into establishing what the minimum safe level is.

3           MR. BROOKS:  That's all the questions I have.

4           JUDGE KOPTA:  Thank you, Mr. Brooks.

5           Mr. ffitch?  Cross-examination.

6           MR. FFITCH:  Thank you, Your Honor.

7                       CROSS-EXAMINATION

8   BY MR. FFITCH:

9       Q.  I'm going to start out with some questions,

10   Mr. Henderson.  And good afternoon, Mr. Henderson.

11       A.  Good afternoon.  Thanks.

12       Q.  I'm going to direct you to Exhibit DAH-7, which

13   is the 2010 continuing surveillance annual report for

14   Puget Sound Energy.  Do you have that?

15       A.  Yes, I do.

16       Q.  I want to spend a little bit of time with this,

17   with this document, without trying to get too bogged

18   down in the weeds, and without reading it back to you,

19   which I am sensitive to the bench's direction on that.

20           Can you first of all just tell us what we're

21   looking at here?  This is essentially a comprehensive

22   report of Puget Sound Energy's safety program for its

23   gas distribution and -- distribution pipeline.  Correct?

24       A.  That is correct.

25       Q.  I'll let you put that in your own words.

0136

1       A.  Yeah.  So the continuing surveillance annual

2   report is a part of our overall distribution integrity

3   program.  We have a written program, and it tells us --

4   there is the boilerplate of the different activities

5   that we're going to undertake.  One of those activities

6   is to measure or analyze and report on progress that

7   we're making identifying the risks and mitigating those

8   risks.

9           So the continuing surveillance annual report is

10   intended to provide that analysis of the work that we're

11   performing in identifying the risks, speaking in terms

12   of the different programs that we've implemented over

13   time, and describe at least at a high level how that is

14   moving -- or helping us to mitigate the pipeline safety

15   risks that we've identified.

16       Q.  And the report describes plans to initiate new

17   proactive measures, does it not?

18       A.  It does.

19       Q.  And also to enhance existing proactive measures.

20   Is that correct?

21       A.  Correct.

22       Q.  And the report also states that if you discover

23   a need for new added or enhanced measures, they would be

24   incorporated in the budget process.  Correct?

25       A.  They would be put forward as a plan, and would

0137

1   be subject to our normal budgeting process, correct.

2       Q.  Can I ask you to look at page 9 of the exhibit,

3   which is the forward, spelled in an interesting fashion.

4       A.  Written by engineers.

5       Q.  Were you one of the authors of this document?

6       A.  I was one of the reviewers of the document, yes.

7       Q.  Just following up on my last question about

8   budgeting, could you read the last sentence of the

9   forward, please.  I think it's a little different than

10   the answer you just gave.

11       A.  "If additional or enhanced measures" -- I'll

12   read it to myself.

13           I don't know that that is different.  It will

14   be -- the plans will be incorporated, so it becomes part

15   of the budgeting process.  The process -- the output of

16   that process is the funding levels that we will go

17   forward, but --

18       Q.  So it's your testimony that Puget could be

19   presented with an additional or enhanced measure that

20   was needed for public safety, but they may or may not

21   decide to adopt it in the budget process?

22       A.  Again, as to the amount that it gets funded,

23   it's up for competition amongst many other projects, and

24   it may not be funded at the entire level that was

25   requested.  If it's not funded at that level, we will go

0138

1   back and revise our plans and look at do we change

2   scope, do we trade for other projects that are in that

3   portfolio that gets approved.

4       Q.  So it's possible that it would not be funded at

5   the level that would be necessary to achieve public

6   safety?

7       A.  No, I would not say that.  I would say that it

8   would be furnished at a level that's different than the

9   initial plan.  We can -- that plan may go beyond the

10   minimum requirements for public safety.

11           MR. FFITCH:  There will be some pauses here as I

12   try to add up my cross on the fly, Your Honor.

13   Hopefully we'll have a net benefit at the end.  Some of

14   the questions I had intended to ask have been covered.

15   BY MR. FFITCH:

16       Q.  I'd like to start just briefly looking at the

17   executive summary, Mr. Henderson.  And that starts on

18   page 11.  That tells us that the majority of the Puget

19   system was installed after improved standards and

20   regulations went into effect.  Correct?

21       A.  Yes.

22       Q.  And if we look sort of halfway down page 11, we

23   see a heading System Performance Measures and Trends.

24   It's true that Puget has developed the specific baseline

25   against which to measure its program, its various safety

0139

1   programs.  Correct?

2       A.  Yes.

3       Q.  All right.  And we'll come back to that in a bit

4   more detail.

5           Overall, your hazardous leaks are declining.

6   Correct?

7       A.  That is correct.

8       Q.  One thing I wanted to ask you about, at the very

9   last sentence on the page, it's actually kind of a long

10   sentence, but there's a reference there to your

11   significant reduction of grade B leaks.  Perhaps you

12   could just remind us what a grade B leak is.  Maybe you

13   should just go through A, B, C so we can get that out

14   there.

15       A.  Right.  So the grading classification, the state

16   regulations require that we have the grading

17   classification in place.  The highest grade that we use

18   is a class A grade.  That requires our immediate

19   attention and we must continue to work it.  It's an

20   immediate hazard, and we must work the leak until it's

21   been repaired.

22           The B class leaks are leaks that are hazardous,

23   but we've determined that they can exist for some time

24   before repair activity occurs.  And we've put some sub

25   classifications on those that we may determine that we

0140

1   can come back the next working day, we may come back

2   30 days, we may come back six months later to reevaluate

3   those leaks, and at the end of a certain period, 18

4   months -- 15 months, I'm sorry, they must be repaired

5   unless there's a replacement project where we can get a

6   six-month extension.

7           So the idea is that you determine that a repair

8   is required and you keep monitoring them until the time

9   that you've removed them from the system.

10           The grade C leaks are nonhazardous at the time

11   they were discovered, and you don't expect them to

12   become hazardous.  These are small, I would describe

13   them as nuisance leaks.  They're very small

14   concentrations of gas.  They may be a weeping gas from

15   fretted fittings, gas migration, and due to the location

16   of the pipe does not present any hazard to the public or

17   the property.  And those we just monitor on an annual

18   basis.

19       Q.  Who makes the determination -- and let's focus

20   on grade B leaks -- who makes the determination about

21   which category to put those leaks in, whether it be B-1,

22   B-2, or whatever?

23       A.  We have some field employees that are qualified

24   in leak evaluation.  They are either performing part of

25   their normal leak surveys or they're going out

0141

1   specifically to monitor those leaks if they've already

2   been previously identified.

3       Q.  All right.  So that's determined by field

4   employees and they evaluate it on a technical basis and

5   determine what is the appropriate leak rating --

6       A.  Correct.

7       Q.  -- from a public safety perspective.

8           And they're not assigning a leak rating on the

9   basis of Puget Sound Energy's budget, are they?

10       A.  No, they are not.

11       Q.  I guess just to recap generally the question of

12   the vintage of your system, the oldest pipe that you had

13   was cast-iron, and that's been completely replaced.

14   Correct?

15       A.  That is correct.

16       Q.  You inherited that from Washington Natural Gas,

17   your old employer?

18       A.  That's right.

19       Q.  And then the next oldest is bare steel.  Is that

20   correct?

21       A.  You describe it as if it's a sequential age.

22   There was bare steel put in at the same time as some of

23   the newer cast-iron was put in.  So there's overlap in

24   the ages.  Generally if you think in terms of periods,

25   cast-iron was some of the earlier pipe, bare steel was

0142

1   the next early.

2       Q.  And then wrap steel mains, older wrap steel

3   mains, and then older plastic.  Is that sort of the

4   general -- I know there's some overlaps.

5       A.  Yes.

6       Q.  -- general vintage situation?  Is that correct?

7       A.  Correct.

8       Q.  Puget Sound Energy has programs for all of these

9   types of pipe.  Correct?

10       A.  When you say "programs," can you clarify?

11   Replacement programs or --

12       Q.  Either replacement or leak survey programs.  We

13   can come to that as we go through the report.

14       A.  Yes, all of that pipe is under continual

15   inspection and monitoring, yes.

16       Q.  And that's because there's sort of two key

17   components, two major components anyway, to your

18   approach, and one of them is replacement, the other is

19   leak management?  That's all an important part of system

20   safety, isn't it?

21       A.  It is.  And I'm trying to -- it's difficult to

22   separate replacement and repairs.  It's all part of the

23   overall management of our system and our system safety.

24   And so we can elect to go out and repair leaks and just

25   address the immediate concern, or if the pipe is of the

0143

1   condition or we want to remove certain safety risks from

2   the -- from the system, we might consider a more

3   comprehensive replacement.  It might be many feet, it

4   might be a block of pipe, it might be a whole

5   neighborhood of pipe.

6       Q.  And you have undertaken all those different

7   kinds of remedial actions?

8       A.  Those have all been part of our program, yes.

9       Q.  So basically you're saying that it's not just

10   replacement, that leak management is also an important

11   part of the picture, and they work together?

12       A.  Yes, yes.

13       Q.  And the report shows that Puget's having really

14   positive trends in terms of leak management.  Correct?

15   I'm looking at page 13 of the report.  Just generally

16   speaking, your trends are positive for leak management?

17           CHAIRMAN GOLTZ:  13 of the report or 13 of the

18   exhibit?

19           MR. FFITCH:  13 of the exhibit.  I'm just solely

20   using --

21           CHAIRMAN GOLTZ:  I know you are, but you said

22   report.  Confused me.

23           MR. FFITCH:  Oh, I'm sorry.  Okay.  You're

24   correct, Your Honor.  Page 13 of the exhibit.

25           THE WITNESS:  Yes, our overall focus has been on

0144

1   driving the number of active leaks down, and as the

2   report indicates, we are making progress in that area.

3   BY MR. FFITCH:

4       Q.  If I can get you to turn ahead to page 20 of the

5   exhibit, and that is in the section on system

6   performance measures and trends.  It's the second

7   page of that section.

8       A.  Correct.

9       Q.  And we're coming back to measurement here.

10   Again, the report states that Puget has performance

11   measures that are specifically required by DIMP, does it

12   not?

13       A.  These are our first performance measures that

14   we've identified, yes.

15       Q.  And there's two specific ones mentioned here,

16   both based on five-year averages, one is average leaks

17   repaired per mile by leak cause, and the other is by

18   leak material.  Correct?  That's the paragraph under the

19   table.

20       A.  Correct.

21       Q.  The report concludes that the performance

22   measures and other indicators listed in the report

23   validate the policies and mitigation actions that are

24   currently in place?

25       A.  That is correct.

0145

1       Q.  Can I get you to turn to Exhibit DAH-21, please.

2   If I can find that also.  Do you have that?

3       A.  Yes, I do.

4       Q.  We asked you there if any specific performance

5   criteria and benchmarks were proposed by the company for

6   the use of determining if the PIP is successful relative

7   to current practices.  Right?

8       A.  Yes.

9       Q.  Kind of to summarize your answer, you're not

10   proposing any additional specific performance criteria

11   or metrics or measurements for the PIP, you're stating

12   that the evaluation would be based on trending leak

13   performance?

14       A.  That is the primary driver of our integrity

15   assessment, yes.

16       Q.  And so which specific trending leak performance

17   are you talking about in that answer?

18       A.  Well, I think there's many dimensions that we

19   need to look at in our leak evaluations; not only is it

20   the number of current active leaks, it would be things

21   like the number of new leaks found per, say, mile of

22   survey -- mile of facility surveyed.  We also need to

23   look at some granularity.  If we look at our entire

24   system, and let's use plastic pipe for an example, we

25   have over 6,000 miles of plastic pipe in the system.  If

0146

1   you look at average numbers, it might tend to lead you

2   to a conclusion that the system is performing adequately

3   and no additional work is required, but as we drill down

4   on whether it's vintages or even specific areas, we may

5   find different numbers.  And some of that granularity is

6   going to be important as we go forward in our integrity

7   management assessment.

8           Now, some of the tools that we have currently

9   don't support that level of analysis, but we are in the

10   midst of upgrading our mapping system to GIS,

11   geographical information system.  That will help us to

12   see the performance of pipe at a much more granular

13   level than we currently are able to see.  So these

14   performance measures may evolve as we are able to kind

15   of peel back the onion and look at pipe at sub material

16   level.

17       Q.  Could you turn to page 22 of the exhibit,

18   please.

19           I'm sorry, I'm jumping back to the report,

20   DAH-7.

21       A.  Which page?

22       Q.  Twenty-two.  I promise we won't jump around a

23   whole lot.

24           So that page has a list of your different leak

25   trend measures.  Right?

0147

1       A.  Yes.

2       Q.  Now, I asked you a little bit ago about specific

3   baseline measures that you had adopted pursuant to the

4   DIMP program, and I take it from your answer that you

5   would not be simply looking at those baseline measures,

6   you'd also be looking at the universe of your other leak

7   trend measurement.  Is that right?

8       A.  Yes.

9       Q.  Does that include all of these different types

10   of measures listed on this page?

11       A.  Yes.

12       Q.  Do any of these have a baseline connected with

13   them that you're using?

14       A.  So the baseline would be -- and back to the kind

15   of our system -- high level system averages.  I think as

16   we develop our reporting systems in more detail, we'll

17   be able to break that down and come up with new

18   baselines for specific materials or specific locations.

19       Q.  Okay.  But for right now, these trend measures

20   that are shown on page 22, you don't have a baseline

21   developed at this point?

22       A.  No.

23       Q.  So essentially your kind of big picture answer

24   is if we want to know how the PIP is doing, whether it's

25   a success or not, we would look at the same different

0148

1   kinds of measurements that you're using now?

2       A.  At this time, our systems limit us to that, yes.

3   I think the success of the PIP, though, would also be

4   are we lowering the amount of some of these higher risk

5   pipes in our system.  That's not a leak metric, that's

6   just an overall kind of inventory metric.

7       Q.  Well, you already have that inventory metric

8   available to you, don't you?

9       A.  That is true, yes.

10       Q.  And, in fact, you're lowering the amount of the

11   pipeline you refer to at the present time.  Correct?

12       A.  At a certain pace we are.

13       Q.  All right.  So there really isn't any way to

14   tell if the PIP were to be enacted whether things are

15   turning out any differently than they would have

16   otherwise under the operation of Puget's current

17   programs, including the DIMP?

18       A.  That is one of the challenges of the DIMP

19   program, the D-I-M-P program, especially as it relates

20   to plastic pipe.  The manner in which these leaks

21   develop do not slowly appear and grow in hazard over

22   time.  They appear all of the sudden.  So as we replace

23   pipe, we can't assess how many leaks we would have

24   avoided, necessarily, by replacing that piece of pipe.

25       Q.  Let's stay on that page, and towards the bottom

0149

1   of the page there's a discussion of your leak survey

2   program, and I have a couple of questions about that.

3       A.  All right.

4       Q.  What's the sort of general standard frequency

5   that's required for inspection of gas pipeline?

6       A.  There's numerous survey frequencies defined in

7   the regulations, depending on the material type and

8   where the pipe is located.  The baseline which would

9   cover the majority of our system is a minimum of every

10   five years.  We actually survey at an increased

11   frequency of three years so that we can do some

12   additional work at the same time.

13           Business districts, which are your more highly

14   occupied areas, wall-to-wall paving, are at an annual

15   frequency.  And the bare steel system, the cathodically

16   unprotected system, is every six months.

17       Q.  So you do more than the minimum in terms of your

18   more general survey frequency?

19       A.  Yes.

20       Q.  And Puget actually has the discretion, as long

21   as they meet the minimum requirements, you've got the

22   discretion to decide to conduct inspections of any

23   material more frequently than the regulations require,

24   don't you?

25       A.  Yes.  And that is a big part of our integrity

0150

1   management risk mitigation strategy on those areas where

2   maybe replacement isn't called for but we still have

3   some question about it, we may actually employ increased

4   frequencies in our leak service.

5       Q.  You've actually done that with respect to wrap

6   steel, have you not?

7       A.  Wrap steels, yes.

8       Q.  What's the leak frequency, leak survey

9   frequency, for older PE pipe?

10       A.  It's currently at a three-year cycle, although

11   we do use in some areas an annual, either because it's

12   in a business district or because it's -- has been

13   identified as a candidate for replacement, but we

14   aren't -- it's not in our current year's funding.

15       Q.  And it's Puget's belief that your current

16   regimen for leak survey frequency for the different

17   types of pipe materials and locations is appropriately

18   assigned.  Isn't that correct?

19       A.  That is correct.

20       Q.  One last area of the report I'd like to look at,

21   and that is part four of the gas maintenance programs,

22   and that starts on page 53 of the exhibit.  Gas

23   maintenance programs are centralized planning activity,

24   correct, of the company?

25       A.  Yes.

0151

1       Q.  Let take a look at the bare steel program which

2   is there on the same page.  I know that is no longer in

3   the proposal before the commission, but I wanted to just

4   discuss the last paragraph.  The report notes that Puget

5   identified some opportunities here to integrate the bare

6   steel approach with the wrap steel services program,

7   which is part of PIP.  Correct?

8       A.  Yes.

9       Q.  Could you just describe what PSE did in this

10   situation?

11       A.  So this was two types of our system.  So we have

12   bare steel and we have wrap steel services.

13           In this case we may have wrap steel services, so

14   those are generally newer services, relatively new

15   services that were installed off of existing bare steel

16   systems, and so what we started to do is to fold in the

17   performance of those wrap steel services into the

18   overall risk ranking of our bare steel so that we could

19   take advantage of reducing the risk not only on the bare

20   steel mains in this case, but also the existing wrap

21   steel services, and we created, you know, some synergies

22   by looking at the two materials together.

23       Q.  All right.  So can you describe how that would

24   work in a particular job if you're replacing a section

25   of bare steel, are you replace the wrap --

0152

1       A.  What we wanted to do was to get the

2   prioritization -- to combine the prioritization of both

3   the service replacements and the main together, so that

4   we were doing it efficiently, and at the same time, and

5   not having multiple trips, one to go out and replace a

6   service, only to follow up a short time later to replace

7   the main.

8       Q.  Okay.  So the main might be -- well, in this

9   case, it looks like the main would be bare steel because

10   this is a reference to the --

11       A.  Wrap steel.

12       Q.  -- the wrap steel service, so the service would

13   be connected to that bare steel main, and you would then

14   take that opportunity while you've got it opened up,

15   basically, to make a replacement that you might not

16   otherwise make if you're just looking at those in

17   isolation?

18       A.  Correct.

19       Q.  You list some benefits to that here in the

20   report:  Reducing disruption to the customers, fewer

21   paving cuts, et cetera.  And you also indicate this

22   involved working with commission pipeline staff, did it

23   not?

24       A.  Yes.

25       Q.  Can you elaborate on what type of collaboration

0153

1   was involved in that instance?

2       A.  It was an overall discussion of the, just the

3   combination of doing the work in concert with each other

4   and not adhering strictly to the requirements that were

5   outlined in the risk models and the programs that had

6   been presented.  So they agreed that it made sense to do

7   things in combination with each other.

8       Q.  To go a little bit beyond what the risk model

9   itself might have mandated?

10       A.  Yes.

11       Q.  So this integration approach here, which sounds

12   really positive, this was not required by state or

13   federal regulations?

14       A.  No.  It was how we chose to manage our work in a

15   more efficient manner.

16       Q.  If you could turn the page to page 54 of the

17   exhibit.  Let's see if I have questions about this.

18           I guess just to kind of maybe, you know, add

19   some clarity to the record, there's been some discussion

20   about the risk model and the mitigation categories, and

21   we see that on this page.  That's in the case of wrap

22   steel, the risk model matrix, if you will, is that

23   you -- I'm going to ask you if I've got this right --

24   you do your analysis, you do your leak survey, and then

25   things are categorized by priority, schedule

0154

1   replacement, increased leak survey or standard

2   mitigation, depending on the level of risk.  Is that

3   right?

4       A.  It is, yes.  The risk model produces a risk

5   number for each of the individual services.  We stack

6   those up from one to in this case 91,000 services, and

7   we look at the risk scores and look for kind of the

8   breaks or the trends in those risk scores that will help

9   us identify whether replacement is required, and if

10   replacement is required, is it something that we should

11   do on a priority basis or something that we can do on a

12   more scheduled basis.

13           One of the challenges of the risk model is it is

14   highly dependent on the data that we have available, and

15   that data is improving all the time, but to deal -- I'm,

16   as an interrogating management person, I'm more

17   interested if we were to draw the line and say No. 100,

18   I'm more interested in No. 101, 102, to understand why

19   that one isn't part of the replacement effort.  And so

20   we've applied an increased leak survey to a number, kind

21   of on the marrying of where we've determined replacement

22   is appropriate, so that we can satisfy ourselves that we

23   haven't missed anything due to the some uncertainty

24   around the data.

25       Q.  And if you do that additional leak survey and if

0155

1   it looks like it should be bumped up to scheduled

2   replacement or priority, then you bump it up into those

3   groupings?

4       A.  In the next model, the next year's model run,

5   that information then is part of the new data set that

6   the risk model is run on.

7       Q.  For purposes of the wrap steel service program,

8   you had a goal of mitigating all the services in the two

9   highest priority categories and you met that goal almost

10   completely.  Right?  I think there were a couple of

11   exceptions with permitting problems.

12       A.  Yeah, there were two services that we were still

13   working due to either permitting or customer issues.

14       Q.  And it's true, isn't it, that Puget very

15   thoroughly analyzed this kind of risk model and how it

16   was working and concluded that no adjustments were

17   needed to the model?

18       A.  That is correct.

19       Q.  And you're going to continue to use it and

20   you're going to integrate it into your DIMP program?

21       A.  It is part of our DIMP program, and we're using

22   that as a model as well for some of the other risk

23   models that we're using.

24       Q.  Okay.  You're anticipating where I was going,

25   because I was going to ask you -- which is fine -- I was

0156

1   going to ask you next, you've actually taken this sort

2   of four-part risk model and been using it with other

3   categories of pipe.  Correct?

4       A.  You described a four-part risk model.  It's not

5   a four-part risk model.  That the mitigation strategies

6   that come out of that risk model are four-part.

7   Correct.

8       Q.  I understand the distinction.

9           You've taken that framework, and now you're

10   using it for wrap steel mains and for older PE also.  Is

11   that correct?

12       A.  Yes.

13       Q.  Let's turn to page -- let's see if I've got

14   these pages correctly here -- page 55.  The next page is

15   the description of the wrap steel main replacement

16   program.  In the last paragraph -- I just want to pursue

17   this a little bit -- I believe that discusses this point

18   that you just made that you've taken those mitigation

19   categories and you're using them for wrapped steel.  It

20   doesn't mention priority of replacement specifically

21   there.  Is that an intentional -- or priority.  It

22   doesn't mention the priority category.  Is that an

23   intentional omission?  Does it use all four?

24       A.  I'm at a loss at the moment as to whether that

25   does include all four, but in concept it's replacement,

0157

1   increased leak survey, and I'll say the standard

2   mitigation or status quo application.

3           The priority for the service lines was more

4   focused on they are service lines and they're in close

5   proximity to structures, so those were things we wanted

6   to get to rather soon.  Main replacements are much more

7   involved than a service replacement, so we treat it more

8   in concept as if it's a scheduled replacement, because

9   we have to plan a lot more of the work around that

10   aspect.  So we just may not have that top category of

11   the priority replacements.

12       Q.  In the real world, though, I would assume, I

13   would hope that if you found a section of wrapped steel

14   main that needed priority replacement that would receive

15   immediate attention, wouldn't it?

16       A.  If there were hazardous leaks, we would take the

17   appropriate action to make sure that those hazardous

18   leaks are addressed with -- in an appropriate fashion.

19   We can address the leaks and still have the pipe exist

20   out there and come back in a more planned approach to

21   replace that pipe, the remaining pipe.

22       Q.  Is that the case for other types of main as

23   well?

24       A.  That general approach applies to the other types

25   of mains, but again the manner in which steel leaks

0158

1   present themself is more along the lines of a small leak

2   that grows over time, whereas plastic pipe doesn't give

3   us necessarily that forewarning, so it pushes us more

4   into a take action and replace pipe versus the steel

5   wrap pipe which you have a little more time to plan

6   things out.

7       Q.  We'll come back to the plastic.  I just want to

8   stay on this page.

9           The first paragraph under the heading indicates

10   that you have an integrated approach as well for wrap

11   steel mains and wrap steel services.  Can you describe

12   that a little more?

13       A.  Again, similar to what we described with the

14   bare steel mains is to work the two in concert with each

15   other so that we can take advantage of essentially the

16   crews out there, one move-in, one pavement restoration,

17   do all the work at one time.

18       Q.  I'm trying to understand the next paragraph.

19   Oh, this is for mains that are not adjacent to wrap

20   steel services that you're addressing, and it states

21   that those are designated as DIMP mains.  Can you

22   explain the different treatment that you give to those

23   nonadjacent mains?

24       A.  The treatment really isn't any different.  The

25   approach is the same.  Those that are adjacent to the

0159

1   wrap steel services were really part of the agreement

2   that we had with the UTC that -- around the whole wrap

3   steel service program.  It says address your services,

4   but then also come back and look at those mains that are

5   in proximity to those services.

6           The next step that we took here, and this wasn't

7   part of the agreement, or required in the agreement, was

8   then to take that approach more broadly across all of

9   our wrap steel mains.

10       Q.  Okay.  So it wasn't required by the Commission,

11   it wasn't required by federal or state regulations?

12       A.  No.

13       Q.  Let's go to the plastic.  It's not next in line.

14   We have to go through some other programs.  Let's see.

15   Go to page 60 of the exhibit.

16           I guess I was curious why the older PE pipe

17   replacement was not more to the front of this section.

18   It seems to be somewhat buried with a whole lot of other

19   programs that the company is doing, all of which looked

20   important, but is there a reason why it's not given this

21   same prominence as the other programs we just discussed?

22       A.  No intent other than the other programs were

23   part of an order and we wanted to draw specific

24   attention to those requirements.

25       Q.  So this program, the older PE pipe replacement

0160

1   program in general, is focused on replacement of

2   pre-1986 PE pipe, especially the DuPont pipe.  Is that

3   right?

4       A.  Correct.

5       Q.  Because that is identified to have a higher risk

6   factor than other types of pipe?

7       A.  That's correct.

8       Q.  Now, a majority, about two-thirds of your system

9   is plastic pipe.  Right?

10       A.  Yes.

11       Q.  And it's not all this risky or older PE, is it?

12       A.  No.  There's been several manufacturers of pipe

13   over the years that we've employed in our system, both

14   manufacturers and the -- the classification of plastic

15   pipe, whether it's high density or medium density pipe.

16       Q.  Would you characterize the older PE as a

17   minority of your system?  I could just ask you --

18       A.  Yes.

19       Q.  Yes?

20       A.  Yes.

21       Q.  Do you have a percentage in mind of --

22       A.  I don't.  I was trying to do the calculation,

23   but I wasn't quick enough.  Of the DuPont pipe, it's

24   about a thousand miles of that, two-thirds of our

25   system, so, you know, that's a thousand miles out of

0161

1   roughly 800.  A thousand miles out of 8,000 of plastic.

2       Q.  Of the pre-1986 pipe?

3       A.  No.  Of our total complement of plastic pipe.

4   Two-thirds of our entire system, two-thirds of

5   12,000 miles of our system is plastic pipe.

6       Q.  So that's 8,000.

7       A.  And of that a thousand was manufactured by

8   DuPont.

9       Q.  All right.  And is all of that DuPont pipe sort

10   in this high risk category that we've been talking

11   about?

12       A.  It's demonstrated that it's part of this high

13   risk population.  The distinction is that some of this

14   pipe, and we've seen this over time as well, nationally,

15   because of the installation environment, is still

16   performing well and we expect to continue to perform

17   well, and that's part of the reason why we are not

18   proposing an all out replacement of a thousand miles of

19   pipe.  It's more of a planned approach or a risk

20   mitigation approach where we've identified either past

21   performance or environmental conditions that would

22   warrant the replacement.

23       Q.  Am I correct that the federal regulatory

24   authorities identified the problem with brittleness in

25   plastic pipe in 1998, issued a notice about it?

0162

1       A.  That sounds right when the first notice came out

2   on it.  They've issued several notices on some of these

3   older vintages of plastic pipe.

4       Q.  Sort of looking back at the report here at this

5   paragraph, this also indicates that Puget found an

6   integration opportunity with older PE efforts and steel

7   main replacement.  Is that correct?

8       A.  There's -- the integration effort is, in using

9   similar models, in ranking these, so that we are

10   establishing a relative risk, or between the different

11   types of materials.  This is to help us prioritize

12   across dissimilar materials where our dollars should go.

13       Q.  That's the only integration --

14       A.  Yes.

15       Q.  -- program --

16       A.  Because typically you don't have, as we

17   described earlier, where you have a wrap steel off of

18   plastic, we don't have steel service lines off of

19   plastic.

20       Q.  As I'm reading this report, it indicates that in

21   2010 you implemented a new policy to replace pre-1986 PE

22   services as part of a larger main replacement program

23   such as bare steel --

24       A.  I'll let you finish.  I'm story.

25       Q.  Perhaps you see where I'm going.  I was asking

0163

1   you about that integration program.

2       A.  I had in mind more of the mains, but you're

3   right, on the service lines we've also taken advantage

4   of the need to be out there to replace mains in the

5   street, and taken that opportunity to replace the

6   service lines rather than just test -- or tying them

7   over and having a need perhaps later to come back and

8   replace it.

9       Q.  And that policy was put in place due to the

10   additional risk the services posed, instead of spending

11   money to keep them active and repair them later?

12       A.  Yes.

13       Q.  So, I'm sorry, you may have answered this

14   already, but what is the leak survey frequency for the

15   older PE mains versus older PE services?

16       A.  They would be on the same frequency, and it's

17   depending, for plastic pipe, on their location.  Either

18   for our company a three-year cycle, or a one-year cycle.

19       Q.  The one-year, is that in what's known as a high

20   consequence area?

21       A.  Yeah.  Or business districts, yes.

22       Q.  So you, again, you could increase the frequency

23   of those surveys for the older plastic pipe if you

24   wanted to, could you not?

25       A.  That could be a risk mitigation strategy.

0164

1       Q.  Do you think those need to be increased at this

2   time?

3       A.  Again, we're evaluating how that -- how that

4   fits in for plastic pipe, and again it's a lot -- a lot

5   of it is because of the way that pipe present -- the

6   leaks present themselves.  We could survey it today and

7   it's fine, and tomorrow we have a very, you know, a

8   large grade leak or a high grade leak on it.  So we're

9   employing that as a strategy in evaluating as to how

10   successful that is in helping us determine those leaks.

11           One of the -- in the -- I'm not sure, I can't

12   refer specifically in the continuing surveillance

13   report, but one metric that we are looking at is who --

14   or how are these leaks found.  And we determined that

15   the majority of the higher grade leaks, which are

16   indicative of plastic pipe-type failures, actually are

17   reported by the public and not found on our leak

18   surveys.  Again, that's due to the odorant that we put

19   in the gas and the way the leaks present themselves.

20           The lower grade leaks, which is what you would

21   typically find on steel piping, on the early stages

22   anyways, are typically found via the leak surveys.

23   That's factoring in how we might use additional leak

24   survey frequencies in mitigating some of these risks,

25   and why we believe that expanding the amount of pipe

0165

1   that we replace, plastic pipe, becomes important,

2   because it helps us to head off the future leak.  We

3   aren't dealing with the existing leak so much, we're

4   dealing with the future leak we're trying to avoid.

5       Q.  Now we've kind of skimmed over this.  The report

6   includes a pretty comprehensive description of the

7   company's practices, its integrity management practices,

8   so I'll ask you a general question.  Does Puget Sound

9   Energy plan to discontinue any of its integrity

10   management practices that are described in this report

11   if the pipeline integrity program is not approved?

12       A.  That is not our intent.

13       Q.  I'd like to turn to another area now.  Do you

14   have Mr. DeBoer's exhibits that -- they were exhibits to

15   his rebuttal testimony, and they relate to the

16   Department of Transportation press releases.

17       A.  If not, I'm sure I'll get them pretty quick.

18       Q.  That's TAD-5, 6 and 7.

19           Do you have that?

20       A.  I do.

21       Q.  Looking at page 2 of TAD-5, the second paragraph

22   relates that Secretary LaHood asked the CEOs of major

23   pipeline companies to review their systems, identify the

24   highest risk pipelines, and prioritize critical repair

25   needs.  Do you see that?

0166

1       A.  Yes.

2       Q.  Did Puget Sound Energy do that, or has the

3   company done that?

4       A.  That is what we're doing as part of our

5   distribution integrity management program.

6       Q.  This exhibit goes on, starting at page 5 of the

7   exhibit, to lay out an action plan or describe the

8   action plan that the Department of Transportation is

9   advocating.  Correct?

10       A.  Yes.

11       Q.  Are you familiar with the action plan from the

12   Department of Transportation?

13       A.  Not in detail, no.

14       Q.  Are you familiar with this exhibit?

15       A.  I have read it, yes.

16       Q.  It's the case, isn't it, that the examples of

17   risky pipe that are provided in here are cast-iron,

18   copper and bare steel?

19       A.  Those are specifically mentioned, yes.

20       Q.  If we look at page 3 of the exhibit, there's

21   specific reference to Pennsylvania, New York and

22   Connecticut systems.  Correct?

23       A.  I do see that at the bottom of the page, yes.

24       Q.  And just generally speaking, for Pennsylvania

25   and New York, specifically reference to cast-iron

0167

1   systems that are many, many decades old, and not

2   expected to be replaced for many, many decades into the

3   future.  Correct?

4       A.  At their current rate, that's correct, yes.

5       Q.  And that's not Puget Sound Energy's situation,

6   is it?

7       A.  We do not have any cast-iron pipe in our system,

8   no.

9       Q.  Mr. DeBoer was asked earlier about the accidents

10   in California and Pennsylvania that he referenced in his

11   testimony.  I believe they were also referenced in the

12   cover letter with the original filing.  Is Puget Sound

13   Energy representing that the specific factual situations

14   which caused the California and Pennsylvania accidents

15   are present in the Puget Sound Energy system?

16       A.  I don't believe that was the intent of

17   mentioning those specific examples.  Those were just

18   illustrative of incidents that have occurred nationwide

19   that have raised the attention on the need to take more

20   proactive actions with all of our aging infrastructure.

21   We could have easily used some -- or could have updated

22   that with some recent incidences in Cupertino,

23   California, where plastic pipe was an issue.

24           But, again, it's just the laying the groundwork

25   that there is a much greater awareness about pipeline

0168

1   safety issues and it's incumbent upon the operators to

2   identify whatever the highest risk.  And if cast-iron

3   isn't in our system, we need to look at the next highest

4   risk, make sure that our programs are addressing those

5   adequately.

6       Q.  So you haven't presented any evidence in this

7   case derived from the California or Pennsylvania

8   accidents that link those accidents in any way to the

9   specifics of the PIP proposal, have you?

10       A.  We have not.

11       Q.  And are you aware that the California accident

12   in San Bruno involved transportation pipeline?

13       A.  I believe you mean transmission pipeline?

14       Q.  Transmission, pardon me.

15       A.  Yes.

16       Q.  Transmission pipeline.

17       A.  Yes.

18       Q.  That was approximately 50 years old?

19       A.  Seems about the right vintage, yes.

20       Q.  And Puget is not including transmission pipeline

21   in this proposal, is it?

22       A.  It is not.

23       Q.  Are you aware that the Allentown, Pennsylvania

24   accident involved cast-iron pipe that was installed in

25   1928?

0169

1       A.  Yes, I am.

2       Q.  And that the utility in that case had not had a

3   rate case for 15 years?

4       A.  I was not aware of that.

5       Q.  Mr. Henderson, are you aware of any unsafe

6   conditions that Puget Sound Energy is not addressing at

7   this time because there's no pipeline integrity program?

8       A.  No.  We take whatever actions are necessary to

9   make sure that we have a safe system, from leak repairs

10   to pipe replacement.

11       Q.  Is it your testimony that if the PIP is not

12   approved, PSE will decline to remedy unsafe conditions

13   in its system?

14       A.  Could you repeat that?  I'm not sure if I

15   flopped something there.

16       Q.  I'll repeat it.  If the PIP is not approved,

17   will Puget decline to remedy any unsafe conditions in

18   its system?

19           MS. CARSON:  I'm going to object to the form of

20   the question.  That's ambiguous.

21           JUDGE KOPTA:  Do you want to rephrase that?  Or

22   I believe it may be duplicative of questions you've

23   already asked.

24           MR. FFITCH:  I'll move on to another question,

25   Your Honor.

0170

1   BY MR. FFITCH:

2       Q.  Mr. Henderson, will PSE decline to pursue

3   improvements in the safety of its natural gas system in

4   the pipeline integrity program is not approved?

5       A.  We will continue to operate a safe system.

6       Q.  Will you decline to pursue improvements if the

7   Commission does not approve this proposal?

8           MS. CARSON:  Objection.  Vague, ambiguous as to

9   "improvements."

10           MR. FFITCH:  Your Honor, if the company could

11   present us with some more specifics about the kind of

12   improvements which are promised under this proposal

13   perhaps my questions could be more pointed or directed.

14           JUDGE KOPTA:  Would you ask the witness what his

15   understanding is of improvements as the company has

16   proposed them as part of this program?

17           MR. FFITCH:  Your Honor, I think we've got

18   plenty of testimony on that, and that's really not my

19   question.

20           JUDGE KOPTA:  Mr. Henderson, do you understand

21   the question that he's asking?

22           THE WITNESS:  I believe I understand what he's

23   getting at, and I'll try to offer a response.

24           The company will continue to make investments in

25   its system to ensure minimum levels of safety are met.

0171

1   As far as our ability to move the dial on this continuum

2   of safety and replace things in a much more proactive

3   manner, the absence of a PIP mechanism will not be

4   removing the existing barriers that we operate under and

5   our ability to fund pipeline replacements to a higher

6   level.

7   BY MR. FFITCH:

8       Q.  You're going beyond the bare minimum now, aren't

9   you, Mr. Henderson?

10       A.  To some degree, we are.

11       Q.  Is it your testimony that Puget Sound Energy

12   only does the bare minimum required to make its system

13   safe for the public?

14       A.  No.  We do go beyond.

15       Q.  Is it your testimony that there are no proactive

16   programs that Puget Sound Energy is currently operating?

17           MS. CARSON:  Objection.  Asked and answered.

18           JUDGE KOPTA:  Sustained.

19           MR. FFITCH:  May you have a moment, Your Honor?

20           JUDGE KOPTA:  Certainly.

21           MR. FFITCH:  I'm getting to the end.

22           I don't have any further questions.  Thank you,

23   Mr. Henderson.

24           JUDGE KOPTA:  One clarifying question that I

25   have.  Mr. ffitch, are you still intending to offer

0172

1   DAH-26?

2           MR. FFITCH:  No, Your Honor, we're agnostic as

3   to whether that comes in.  I think that it's duplicative

4   of the report, the surveillance report that I was just

5   examining on, and Mr. Henderson is nodding.

6           JUDGE KOPTA:  All right.  That was not admitted,

7   it was objected to, so it will not be admitted.

8           Questions from the commissioners?  Commissioner

9   Jones?

10           COMMISSIONER JONES:  Thank you.

11           I'm going to start with the length of time for

12   PE pipe replacement.  So could you turn to page 4 of

13   your rebuttal testimony.

14           I'm getting a little bit confused by these

15   numbers.  As I understand it, your total PE pipe system

16   is 8,000 miles, and of that, 1,000, approximately

17   1,000 miles is the pre '86, what you call DuPont pipe,

18   or pre '86 PE pipe?

19           THE WITNESS:  I'll provide a little

20   clarification here.  The 12,000-mile overall system is

21   our mainline piping.  So the mains in the streets.

22           Over the period of time that we were purchasing

23   DuPont pipe, we purchased in excess of a thousand miles

24   of pipe.  Some of that pipe is service piping, that is

25   not included in that overall mileage.  But our records

0173

1   only tell us how many miles of pipe we purchase, not

2   whether it was service -- used for services or for

3   mains.  So we use as a rough number that we have as much

4   as a thousand miles of DuPont pipe in our system.  And

5   it could be mains or it could be services.

6           COMMISSIONER JONES:  And you mentioned that the

7   data is very important for the risk models to produce

8   accurate assessments, so how is that classified in the

9   data that you use?  Is it clearly labeled DuPont pipe,

10   or is it -- or not?

11           THE WITNESS:  It is not.  It is only marked in

12   our system as to an age of pipe, and as I mentioned

13   before, our efforts in implementing a GIS system is

14   going to help us to identify the locations of that older

15   pipe, but it could be from any one of a number of

16   manufacturers that were purchased from at the time.

17           COMMISSIONER JONES:  Okay.  So in this testimony

18   on lines, what is it, 15 through the balance of the

19   page, you talk about the current pace of replacement

20   under the current DIMP system.  Correct?

21           THE WITNESS:  Correct.

22           COMMISSIONER JONES:  So you identify 14 new

23   miles identified for replacement each year.  So are

24   those new miles in addition to the 100 miles or are they

25   included in the 100 miles?

0174

1           THE WITNESS:  Those are in addition to the

2   100 miles.

3           COMMISSIONER JONES:  So there's a possibility

4   that this could go on -- this number to be replaced

5   under the current risk modeling system could go up and

6   up?

7           THE WITNESS:  It could, yes.

8           COMMISSIONER JONES:  And you also state that it

9   takes you two years to replace six miles of pipe.  Now

10   being the country mathematician that I am, that's about

11   three miles a year, roughly.  And I think in 2011 you

12   say you replaced 23,615 feet of pipe, so that's a little

13   bit over four miles.  So somewhere in the three to

14   four-mile range is your current replacement program?

15           THE WITNESS:  That's correct.

16           COMMISSIONER JONES:  So your testimony is

17   without the integrity tariff, without a financial

18   incentive to align your incentives financial with that

19   of safety, it would take you several decades at this

20   pace to complete that replacement?

21           THE WITNESS:  That is correct.

22           COMMISSIONER JONES:  And I use four years, four

23   miles a year, would be 25 years.

24           THE WITNESS:  If we remained at a hundred miles

25   only it would be 25 years.

0175

1           COMMISSIONER JONES:  If you do it at three miles

2   a year it would be 33 years?

3           THE WITNESS:  Yes.

4           COMMISSIONER JONES:  If you identify 14 miles

5   every year, that number could increase.

6           THE WITNESS:  Yeah.  We're filling the bathtub

7   faster than we're draining it.

8           COMMISSIONER JONES:  So when you respond to

9   questions of Public Counsel and others about safety, and

10   is the system safe, is your testimony that because

11   safety is a relative continuum, and because the risk

12   models and the assessments are changing, it's dynamic,

13   it's difficult to obtain a precise number as to what is

14   safe for the system?

15           THE WITNESS:  That is correct.

16           COMMISSIONER JONES:  Let's go to page 13 of your

17   direct testimony.  I want to talk about budget.  And

18   this is a graph that talks about the annual process for

19   budgeting.  Correct?

20           THE WITNESS:  Yes.

21           COMMISSIONER JONES:  Would this process also

22   apply to plastic piping?

23           THE WITNESS:  Yes.  And the flow chart that we

24   have here, as you see about the middle of the page, it

25   breaks into three separate columns.  And those three

0176

1   columns line up with bare steel, wrap steel, and then

2   the older plastic pipe on the right side.

3           COMMISSIONER JONES:  So I think in one part of

4   your testimony when you talk about the process, the

5   collaborative process with pipeline safety staff --

6           THE WITNESS:  Yes.

7           COMMISSIONER JONES:  -- that the biggest change

8   with the integrity tariff will be that the capital

9   budget issue will be removed as an issue.

10           THE WITNESS:  Yes.

11           COMMISSIONER JONES:  Is that correct?  Okay.

12           So let's go through the current process.

13   Specifically you see that box labeled budget process on

14   the right-hand side about halfway down?

15           THE WITNESS:  Yes.

16           COMMISSIONER JONES:  Mr. DeBoer testified

17   earlier that all projects, whether electric or gas, have

18   to go to the senior management and the CFO for approval.

19   Is that correct?

20           THE WITNESS:  The overall budget dollars go to

21   that level for approval.  There is lower level

22   management that deals with the breakout of that number

23   into the different kind of allocation to the different

24   portfolios.

25           COMMISSIONER JONES:  So who is the chair of

0177

1   this -- this box labeled budget process?  I would assume

2   that would be your CFO.

3           THE WITNESS:  At the highest level, yes.

4           COMMISSIONER JONES:  Correct.  And then who

5   makes the decision on project funded, that box below?

6   Does that go to the board of directors, the CFO, the

7   CEO?  Who makes that determination?

8           THE WITNESS:  So based on what the CF -- in your

9   scenario what the CFO says is our funding level, we at

10   lower levels look at what dollars that needs are

11   available in any one of the categories of the overall

12   portfolio, and we determine whether the projects that

13   were presented early on in the process were fully funded

14   or if there's not enough dollars to cover all of those.

15   Then we are left in a position of determining do we

16   scale back, do we defer, do we institute some other

17   mitigation strategies, until we can come back the next

18   year.

19           COMMISSIONER JONES:  And I think Mr. DeBoer

20   testified earlier that there are perhaps some of the --

21   because certain projects are played off against each

22   other, electrical gas and vegetation -- well, vegetation

23   management may be separate, but let's just take cap X,

24   capital expenditures, that some may be funded and some

25   not through this process?

0178

1           THE WITNESS:  Yes.

2           COMMISSIONER JONES:  So are there examples where

3   some of the gas pipeline safety projects that you

4   supervise have not been funded when they go through this

5   budget process?

6           THE WITNESS:  There have been examples where we

7   have not received the full funding that was requested,

8   and that forced us to go back and rescope some of those

9   projects so that we could take care of the highest

10   safety risk portion of a project and leave some of the

11   other pipe for a later date.

12           COMMISSIONER JONES:  So if we approve an

13   integrity tariff as you propose, with the financial

14   incentive with a rate of return, and deferred taxes,

15   everything that you propose, how would this flow chart

16   look?  I assume it would look something -- like you

17   responded to Chairman Goltz earlier about an annual

18   process, with a true-up, you would submit something to

19   staff, or staff and stakeholders would review it.  So

20   what would happen?  What would this approval process

21   look like?

22           THE WITNESS:  As the budget process then becomes

23   less of a -- I'll use the word "discretionary" in the

24   sense that we will establish what the funding level is

25   going to be, and that input from the collaborative will

0179

1   help us determine what the funding level needs to be.

2   It removes it from the competition side with all the

3   other projects.  It will still look similar in that it

4   will receive the same amount of visibility throughout

5   our organization, but it won't be subject to the same

6   competition for the dollars that the other projects

7   would be.

8           COMMISSIONER JONES:  So it would still go

9   through the overall budgeting process, and of course

10   because of your capital needs and the need to raise debt

11   and equity, the senior management, CFO, would examine

12   it, it would be included in those totals, but it

13   wouldn't be subject to the competition to various needs.

14           THE WITNESS:  Correct.

15           COMMISSIONER JONES:  My last two questions.  If

16   you could go back to your rebuttal testimony on page 7,

17   I just have a couple more questions.  And this is when

18   you talk about Mr. Lykken's testimony.  So you refer to

19   Mr. Lykken's direct testimony and the summary, and you

20   seem to be agreeing with a certain part of his

21   statements -- and I know he's on the phone, I don't want

22   to speak for his testimony now -- but what part of his

23   testimony are you agreeing with in your advocacy of the

24   integrity tariff here?  And specifically this old

25   vintage PE type.

0180

1           THE WITNESS:  We're acknowledging or agreeing

2   with the fact that this pipe has performance.  We've

3   identified performance issues with this pipe.  As he

4   described the advisory bulletins from PHMSA, this is a

5   national issue, and we're acknowledging that that is an

6   exposure that we have, albeit as we describe here it's a

7   small portion of our overall system mileage.  It is

8   something that we're subject to.

9           COMMISSIONER JONES:  When you say on line 18

10   there, you say there still exists an increased concern,

11   that's in the passive voice.  So are you meaning to say

12   that Puget Sound Energy has an increased concern?

13           THE WITNESS:  Yes.

14           COMMISSIONER JONES:  And by only a fraction, on

15   line 17 you are referring to the 100 miles of this older

16   vintage pipe?

17           THE WITNESS:  Yes.

18           COMMISSIONER JONES:  My last question is on

19   page 9, referring to the materials in the older vintage

20   PE pipe.  And I'm not an engineer, but I just want to

21   try to understand your statement in lines 10 through 21

22   there.  And these are the grade C hazardous leaks that

23   you detect, which you say are nonhazardous, but even

24   though they're nonhazardous, because of the brittle-like

25   nature of the PE pipe you're saying that they can be

0181

1   particularly dangerous to human health, or to the

2   overall safety of the pipe?  What are you trying to say

3   here?

4           THE WITNESS:  What we're saying here, I've tried

5   to describe this previously, and I think beginning on

6   line 15, where we say:

7           More than 75 percent of the leaks found on

8   plastic pipe require immediate or next day repair unless

9   a small percentage, less than two percent, are the grade

10   C or nonhazardous leaks.

11           So again that's, as we hone in on the types of

12   pipe we're looking at, plastic pipe, when it does fail,

13   tends to fail suddenly, and with a higher hazard to the

14   public.

15           COMMISSIONER JONES:  I get it.  Okay.  Thank

16   you.

17           That's all.  That's the end of my requests.

18           JUDGE KOPTA:  Mr. Oshie?

19           COMMISSIONER OSHIE:  Mr. Henderson, the

20   $25 million cap that Puget has advocated for this

21   program, these additional 14 miles of plastic pipe that

22   you've identified in your testimony, does the

23   $25 million cover the cost of that kind of replacement,

24   the total, the 14 miles?  Or just a portion of it?

25           THE WITNESS:  And just for clarification, the

0182

1   14 miles is new pipe identified each year that is of

2   concern and requires some additional mitigation.

3           We have already identified over a hundred miles

4   of this plastic pipe that requires some additional

5   mitigation, or is candidates for additional mitigation.

6           COMMISSIONER OSHIE:  So that's pipe that you've

7   brought to management's attention but management has

8   refused to fund its replacement?

9           THE WITNESS:  The pipe that we've identified

10   that are candidates for replacement from the standpoint

11   of perhaps somewhere on that system a historical leak

12   has occurred, and that is one of our first flags that

13   this is an area that needs to be looked at.  The pipe

14   itself may be performing fine today.  We may propose

15   some additional mitigation like we discussed earlier,

16   increased leak surveys, but we have not yet proposed

17   those for replacement.

18           COMMISSIONER OSHIE:  You haven't proposed those

19   for replacement to who?  To your management?

20           THE WITNESS:  To our budgeting process.

21           COMMISSIONER OSHIE:  Through your budging

22   process.

23           THE WITNESS:  Right.

24           COMMISSIONER OSHIE:  So going back to your

25   testimony on the budget process.  So you've identified

0183

1   these possible risks, because you say the pipe is

2   performing as designed right now, you've identified

3   these possible risks to who within the management chain,

4   and then at what level, I should say, and then their

5   response has been to not fund or have you suggested that

6   within your judgment that they need to be replaced or is

7   it -- or have you told your management that we've

8   identified these pipelines, but they do not need to be

9   replaced?  How do you characterize that with your

10   company?

11           THE WITNESS:  I would characterize the

12   identification of this pipe as these are areas of which

13   we've got increased concern, we have not yet proposed

14   them for replacement.  In part this -- the budgeting

15   process -- we know going in what the realistic

16   magnitudes of the dollars are going to be, that will be

17   available, and we prioritize those hundred miles and

18   identify the first amount that we can get achieved, or

19   get replaced with those -- the dollars that we expect to

20   be available.

21           We propose, and communicate through that

22   continuing surveillance annual report, that there are

23   additional mitigation that's required on this pipe.  So

24   if we're not going to replace it, we do the leak

25   surveys.

0184

1           We think we're managing, we believe we're

2   managing that risk appropriately, but as we want to move

3   the dial on pipeline safety, as I've said before, we

4   would like to get ahead of this and be proactive in that

5   replacement before we are dealing with a leak.

6           COMMISSIONER OSHIE:  So are you saying that your

7   management will not approve this proactive approach to

8   public safety without some kind of extraordinary rate

9   making treatment that would afford them a greater return

10   over a period of time than they otherwise would have

11   earned based on our traditional regulatory mechanisms in

12   place here in the state?

13           THE WITNESS:  What I'm saying is that there are

14   practical limits given the current mechanism that we

15   have in place to what we can find, and we manage within

16   those bounds.

17           COMMISSIONER OSHIE:  Have you ever gone to

18   management and said that we have some potential pipeline

19   that we would like to replace or that we believe could

20   be replaced, and management -- you'll have to identify

21   what level if this is true -- management has said, well,

22   we're not going to earn our return in this period, and

23   so for that reason we're not going to -- we're not going

24   to mitigate that pipe in question at this time?

25           THE WITNESS:  Those types of conversations have

0185

1   not taken place.

2           COMMISSIONER OSHIE:  So you're saying management

3   has never been faced with that particular question at

4   your level?

5           THE WITNESS:  Correct.

6           COMMISSIONER OSHIE:  And I would imagine that if

7   you went to management and you said I think that this

8   pipeline needs to replaced, or it needs to be mitigated,

9   their response would be go ahead?

10           THE WITNESS:  On a case-by-case basis, there

11   would be money made available.

12           COMMISSIONER OSHIE:  And if we have a

13   $25 million cap -- let's go back to that question.  So

14   you've got a hundred miles of pipeline.  You're

15   identifying 14 annually.  Over, you know, over five

16   years, that's going to be another 70 miles.  So what

17   does the $25 million cap provide you as far as being

18   able to correct this particular PE pipeline, if that's

19   where it's going to be devoted?

20           THE WITNESS:  Round number, we use about a

21   million dollars per mile for pipeline replacement, so

22   that would get us about 25 miles a year.

23           COMMISSIONER OSHIE:  And what would be the cost

24   to rate payers of that 25?  Is that for Mr. Story?

25           THE WITNESS:  I would defer to Mr. Story on

0186

1   that.

2           COMMISSIONER OSHIE:  It's a little under

3   2 million for this particular period, you know, and it's

4   like 16 a month, so --

5           THE WITNESS:  Might be, you know, less than 50

6   cents a month.

7           COMMISSIONER OSHIE:  So it would be easier for

8   the company if we just order the company to replace the

9   plastic pipeline on some structured schedule and that

10   way you wouldn't have to fight the budget fights that

11   are alluded to here?

12           THE WITNESS:  I don't know that it's easier,

13   because that presents other challenges.  As we're

14   managing bare steel, that's not an easy program to

15   manage.

16           COMMISSIONER OSHIE:  When you first reached a

17   settlement with staff on the bare steel program, what

18   was the timeline for replacement of the pipe in

19   question?  How many years did the company forecast that

20   it would take to replace the bare steel that was covered

21   by the settlement?

22           THE WITNESS:  Oh, ten years.

23           COMMISSIONER OSHIE:  Has the company asked for

24   more time to get that job done?

25           THE WITNESS:  Not for bare steel, no.

0187

1           COMMISSIONER OSHIE:  Not for bare steel.  To any

2   section of pipeline that it was required to replace?

3           THE WITNESS:  No.

4           COMMISSIONER OSHIE:  I seem to remember a

5   petition by the company, and I just can't recall whether

6   it was bare steel or one of the other, some other

7   cathodic protection, where the company came in a few

8   years after the original settlement was made and they

9   said we can't get this done in the timeline proposed, so

10   we want an extension of time.

11           THE WITNESS:  That was the isolated facilities

12   program, which was not a pipe replacement program.  That

13   was an investigation program to identify and then

14   remediate things in our system.  And we did

15   underestimate the amount of effort that it would require

16   to take on that investigation.

17           COMMISSIONER OSHIE:  Do you like fighting the

18   budget fights that have been alluded to here to try to

19   get your job done as the pipeline integrity manager?

20           THE WITNESS:  Do I like them?  No, that's not

21   something that any one of us I would say would like to

22   do.  But I also understand the responsibilities that we

23   have to make some decisions around prioritizing where we

24   spend our dollars and how far we can make them go.

25           COMMISSIONER OSHIE:  Has any piece of pipe that

0188

1   needs to be replaced ever not been replaced because you

2   couldn't get management to approve the money to do it?

3           THE WITNESS:  Not to my knowledge.

4           COMMISSIONER OSHIE:  I do want to clear the

5   record.  Do you agree with Mr. DeBoer that there's a

6   significant safety risk that's inherent in your pipeline

7   that have not been corrected --

8           THE WITNESS:  No.

9           COMMISSIONER OSHIE:  -- with the pipeline

10   program?

11           THE WITNESS:  Not significant risks.  I think

12   what Mr. DeBoer was alluding to, in Mr. Lykken's

13   testimony he refers to this plastic pipe risk as a

14   significant -- it presents a significant risk.  But I

15   think we are taking the appropriate steps to mitigate

16   that, so it does not present an immediate hazard to

17   anybody.

18           COMMISSIONER OSHIE:  Do you think our rules

19   should be changed that would provide more remedial tools

20   to the company in the event they determine that there's

21   a particular risk that's identified with PE pipe that's

22   not already included in the rules?

23           THE WITNESS:  I don't know that additional

24   regulation or additional rules would -- is necessary

25   there.

0189

1           COMMISSIONER OSHIE:  How long have the rules

2   been in place that we are operating under now?  Well, at

3   the state level.

4           THE WITNESS:  They go way back.  Before my time

5   in the industry.

6           COMMISSIONER OSHIE:  Before my time as well.

7           THE WITNESS:  Okay.

8           COMMISSIONER OSHIE:  We'd have to get Mr. Lykken

9   up here.

10           THE WITNESS:  I think it's before his time too.

11           COMMISSIONER OSHIE:  Strike that.

12           All right.  I have no other questions.  Thank

13   you.

14           JUDGE KOPTA:  Chairman Goltz?

15           CHAIRMAN GOLTZ:  Thank you.

16           Mr. Henderson, could you turn to page 10 of your

17   direct opening testimony, where you have the pipeline

18   replacement program capital costs in the table.

19           THE WITNESS:  All right.

20           CHAIRMAN GOLTZ:  So looking ahead to, say, the

21   2013, 2014, 2015 rows, for wrapped steel, WSSAP services

22   and older PE, is that the plan with the PIP or without

23   the PIP?

24           THE WITNESS:  That is absent the PIP.

25           CHAIRMAN GOLTZ:  So with the PIP, maybe you said

0190

1   this somewhere else, but how would those numbers change?

2           THE WITNESS:  It's a little early to say.  I

3   would expect them to go up.  And the reason I say it's

4   early to say, I call it the machine that it requires to

5   get this pipe replaced, not only the upfront design,

6   project management, but also the downstream construction

7   of it, the machine that's in place is geared to a

8   certain level of bare steel and all of these other

9   programs.  As we increase, or project to increase, we

10   need to start tooling up our capabilities to get that

11   work done as well.

12           So I would expect that if a program such as the

13   PIP were put into place, that we would see initially a

14   ramp-up, probably out in 2013 and 2014, and then to

15   establish a new level, a new burn rate, if you will,

16   that our crews and our capabilities are able to install.

17           CHAIRMAN GOLTZ:  So the amount of dollars that

18   would be included in the recovery mechanism under the

19   PIP would, and let's say in 2013, 2014, 2015, would be

20   these dollars on your table, plus some more, up to

21   25 million?

22           THE WITNESS:  Yes.

23           CHAIRMAN GOLTZ:  So what we have in front of us

24   then is a proposal where you're going to a basic level

25   of replacement, and that basic level of replacement is

0191

1   increasing every year according to this chart.  Correct?

2           THE WITNESS:  There is some increase, yes.

3           CHAIRMAN GOLTZ:  And then there's drop off in

4   the bare steel, so actually probably in year 2015, and

5   even 2014, the aggregate replacement for the company

6   would be less than in some -- a couple years prior than

7   that?

8           THE WITNESS:  Yes.

9           CHAIRMAN GOLTZ:  So what I'm trying to get at is

10   the -- your testimony is the system is safe, that PIP

11   will make it safer, and so the safe level, if I'm

12   correct, is embodied in this table, and the safer level

13   goes beyond that.

14           THE WITNESS: (Witness nods head.)

15           CHAIRMAN GOLTZ:  But your recovery mechanism

16   would recover not just the safer amount, but also some

17   of the safe.

18           THE WITNESS:  Yes, as you've described it, yes.

19           CHAIRMAN GOLTZ:  As you have proposed it.

20           THE WITNESS:  Sure.

21           CHAIRMAN GOLTZ:  So another way to cut this

22   which would be is if the company is kind of going to a

23   basic level of ensuring safety, that we could say, okay,

24   that goes under the existing mechanism, but if you

25   want -- but if we want you to accelerate that for good

0192

1   policy reasons, that might be a candidate for some

2   additional recovery.  Would that be another way to slice

3   this?

4           THE WITNESS:  That would be another way to slice

5   it, certainly.  That's not our proposal.

6           CHAIRMAN GOLTZ:  I understand.  The details

7   might get a little complicated.

8           To whom do you report in your company?  We

9   talked a lot about budgeting.  How do you get to the

10   decision makers on the budget?  Where do you go

11   upstream.

12           THE WITNESS:  Up through the director of

13   planning, the vice-president of operation services, on

14   to the senior vice-president of -- I forget her title

15   now, it's a new one, but it's engineering and planning

16   and --

17           CHAIRMAN GOLTZ:  Who is that.

18           THE WITNESS:  Marla Mellies.

19           CHAIRMAN GOLTZ:  And she would be involved in

20   the actual budget decision making then?

21           THE WITNESS:  Yes.

22           CHAIRMAN GOLTZ:  So again, as I understand it we

23   had a safe system, but every year you identify

24   approximately 14 more miles of pipe as problematic.  Is

25   that -- and under current pace, you're replacing less

0193

1   than 14 miles?

2           THE WITNESS:  Yes.

3           CHAIRMAN GOLTZ:  So is it fair to conclude from

4   that that as time goes on, if you don't change the

5   current pace of replacement the system will become less

6   safe?

7           THE WITNESS:  I think we would -- if nothing

8   changed, if we were to change nothing in our approach,

9   that could be an outcome of that.  But, again, I think

10   as new pipe is identified, we look at ways to scale,

11   perhaps scale back on other jobs, to identify what

12   absolutely needs to be replaced to maintain that safe

13   level.

14           CHAIRMAN GOLTZ:  So you have a thousand miles of

15   DuPont pipe steel main replacement.  Every year you

16   identify about 14 more miles of DuPont pipe that is

17   problematic?

18           THE WITNESS:  Of pre-1986 pipe.  It's primarily

19   DuPont pipe.  There may be some other pipe there.

20           CHAIRMAN GOLTZ:  Is it fair to say that, say,

21   last year's 14 miles is identified, all of that will

22   have to be replaced at some point in the future?

23           THE WITNESS:  It's likely that that would be the

24   case, yes.

25           CHAIRMAN GOLTZ:  So is it likely that all of

0194

1   that 1,000 miles of DuPont pipe will have -- or let me

2   rephrase that -- all of the pre-1986 pipe will have to

3   be replaced at some point in the future?

4           THE WITNESS:  At some point in the future, yes.

5   I don't know how soon that will be.  I think there's

6   plenty of that pipe that is still performing well, and

7   again as I described due to the environmental

8   conditions, will continue to perform very well.  It's

9   where you've got the environmental conditions.  I say

10   that it's -- generally it's rockier soils, and a

11   combination of the rockier soils and the plastic pipe

12   that creates the problem for us.  In other areas we

13   expect continued long life out of that pipe.

14           CHAIRMAN GOLTZ:  So looking back at your table

15   on page 10, it looks like in the next couple of years

16   you are having a fairly significant ramp-up of pipeline

17   replacement if you include the bare steel.

18           THE WITNESS:  Yes.

19           CHAIRMAN GOLTZ:  Is there a problem with getting

20   the work force to do that, or are they just out there

21   waiting to go?

22           THE WITNESS:  It is a challenge, it is a

23   challenge to make sure that our contractors are geared

24   up with the staff to do the work we're asking.  They've

25   pulled in, you know -- they're starting to pull in from

0195

1   outside of the state.  They can draw on other areas of

2   the country to help in this area.  So we are maxing out

3   the local pool of skilled craftsman.

4           CHAIRMAN GOLTZ:  I gather by that that we must

5   be replacing pipeline faster than other parts of the

6   country then.

7           THE WITNESS:  There may be a bit of that going

8   on.  I think that, as you may be aware, we've

9   transitioned to a new service provider.  As they were

10   gearing up in the beginning of the year, they weren't

11   achieving the productivity that we had set out to

12   achieve, and so we've fallen behind a little bit.  And

13   with an eye towards 2014 as our drop dead date for

14   getting bare steel done, we're ramping up to make sure

15   we meet that date.

16           CHAIRMAN GOLTZ:  Given that you're ramping up to

17   2014 to get the bare steel replaced, is there, putting

18   aside the $25 million cap in this program, is there a

19   practical limit on how much you can do, just because

20   everyone is going to be either replacing bare steel or

21   going to be out of state replacing pipe there?

22           THE WITNESS:  There may be a limit that we start

23   to reach here.  I don't know what that is, but there may

24   be that, yes.

25           CHAIRMAN GOLTZ:  Right now you said you have

0196

1   quarterly meetings with -- you have monthly meetings and

2   quarterly meetings with various sets of Commission

3   staff.

4           THE WITNESS:  Yes.

5           CHAIRMAN GOLTZ:  But I thought I also heard you

6   say that you don't really consult with Commission staff

7   now on specific replacement plans for specific pipeline

8   segments.

9           THE WITNESS:  We currently are not sitting down

10   and reviewing our list of projects that we're replacing,

11   no.

12           CHAIRMAN GOLTZ:  So that would be a major change

13   between the existing practice and the future practice?

14           THE WITNESS:  That would be.

15           CHAIRMAN GOLTZ:  If that process would benefit

16   the Company and the public safety by consulting with

17   Commission staff, why hasn't it been done yet?

18           THE WITNESS:  Well, it's, again, in the context

19   of these other meetings that we have going on, and even

20   just day-to-day conversations with Pipeline Safety

21   staff.  This is a lot about conversation and

22   understanding where people's relative risk comfort is

23   at, and so as far as what's shaping our proposals as

24   we're working now, we do consider that, but we don't

25   have the formal process in place where we sit down and

0197

1   actually review the identified projects to be replaced.

2           The other piece of this that's -- provides some

3   change is this whole integrity management approach.  The

4   rule just went into place this last August.  It requires

5   the operators to do some things to identify those risks

6   and to try to go beyond what the regulations would

7   otherwise require.  I think it's putting both the

8   operators and the regulators in a different relationship

9   than they've been in in the past, in requiring some more

10   upfront discussion.

11           We saw that the PIP program and that

12   collaborative would in part go a long ways towards

13   resolving that; that we can talk about our relative risk

14   strategies and what we would like to see, and through

15   that process influence how our programs develop.

16           CHAIRMAN GOLTZ:  So you're saying one of the

17   drivers behind the proposal for enforced consultation

18   process is the federal regulations?

19           THE WITNESS:  In part the integrity management

20   program encourages that kind of dialogue to take place,

21   yes.

22           CHAIRMAN GOLTZ:  Looking at page 13 on your

23   direct testimony, DAH-1T, and forgive me if you've

24   testified to this before, or if it's embodied in another

25   document, just refer me to that, that would be fine.

0198

1           The second box from the top says data entered

2   into risk model.  Is there some really shorthand

3   description of what the risk model is and what's in

4   there?  Because it seems a little black-boxish to me.

5           THE WITNESS:  In some ways it might appear that

6   way to us as well.  The risk model is essentially a

7   large spreadsheet, and it's got a lot of formulas built

8   into it, and we're entering in data about cathodic

9   protection history, we're entering data about our -- the

10   leak activity or leak history, we're entering data

11   from -- that we gather from exposed pipe condition

12   reports.  And this model then assesses all of the

13   different attributes that we've entered in to arrive at

14   a risk score.

15           CHAIRMAN GOLTZ:  Is this a model that is in

16   common usage around the country?

17           THE WITNESS:  Not to my knowledge.  We work very

18   closely with Pipeline Safety staff and a consultant when

19   we develop the risk model for the WSSAP program.  As

20   we've talked about, that's become a bit of the

21   foundation of the development for some other models.

22           CHAIRMAN GOLTZ:  So even though you don't

23   consult with Commission staff on a case-by-case basis on

24   specific projects, you've consulted on the risk model?

25           THE WITNESS:  Their input has been in there as

0199

1   well.

2           CHAIRMAN GOLTZ:  Okay.  In a box below that, it

3   says review of the risk and public improvement

4   opportunities.  Is that supposed to be public

5   involvement opportunity?

6           THE WITNESS:  No.  So another driver of our work

7   are the external agencies.  So pick on the City.  The

8   City of Renton is putting a new sewer in, and they're

9   tearing up the street and there's an opportunity for us

10   to get in there while the digging is good, get our work

11   done and get out of there and not -- and so that public

12   improvement opportunity may adjust the priority or the

13   scheduling of any one of those projects.

14           CHAIRMAN GOLTZ:  Sure.  Okay.  So you meant

15   public improvement opportunity.  I thought I found a

16   mistake.

17           THE WITNESS:  I did.

18           CHAIRMAN GOLTZ:  And then where on the table is

19   the determination made on which pipe will be replaced?

20           THE WITNESS:  So it's from that box to the kind

21   of the next -- the three boxes along there where we

22   start to identify the replacements plan for bare steel.

23   Again, bare steel is working under a different kind of

24   criteria, where we have to get certain mileage done each

25   year to meet our end date.  Likewise with WSSAP, it's a

0200

1   little more prescribed as far as the process, and so as

2   they migrate up to that priority or scheduled

3   replacement, those are planned for and budgeted for.

4           It's the boxes to the right where we have a

5   little bit more discretion.  Plastic pipe and the DIMP

6   steel mains are prioritized, and we determine what we

7   think we -- is the appropriate level to go.

8           CHAIRMAN GOLTZ:  Sorry to go back to the budget

9   process.  But I see three budget processes here.

10           THE WITNESS:  Yes.

11           CHAIRMAN GOLTZ:  Is the one that competes with

12   everything else in the company, is it all three of

13   these, or is it just the one on the right with dealing

14   with --

15           THE WITNESS:  It's really the one on the right,

16   where there's competition.

17           CHAIRMAN GOLTZ:  I asked Mr. DeBoer about the

18   process, consultation process, and I just want to make

19   sure you agreed with him that what you were really

20   talking about is involvement with Commission staff.

21   When you say stakeholders, you aren't talking about

22   other people exterior to the Commission staff or Puget

23   staff?

24           THE WITNESS:  Certainly I would anticipate that

25   the Commission staff, Pipeline Safety staff, will have

0201

1   the most interest in that dialogue.  It is not limited

2   to just that group.

3           CHAIRMAN GOLTZ:  But you don't know of any other

4   group that would be in there?  I'll trying to envision

5   the room.

6           THE WITNESS:  I don't know what Public Counsel's

7   or NWIGU's interest might be in participating in that

8   discussion.

9           CHAIRMAN GOLTZ:  In your rebuttal on page 3, so

10   that's DAH-4T, you're responding to Ms. Crane, witness

11   for Public Counsel, and the issue of whether the

12   collaborative process is an attempt to dilute PSE's

13   responsibility for managing its pipeline replacement

14   activities, and you disagree with that characterization.

15           THE WITNESS:  Absolutely.  That's our

16   responsibility.

17           CHAIRMAN GOLTZ:  Is it possible, though, that

18   it's going to just -- the opposite is going to happen,

19   that if the Commission were to approve this, and approve

20   extra funds, would there be enhanced expectation of

21   pipeline safety on the part of Puget and actually your

22   responsibilities for a safer system just have been

23   ratcheted up a little bit?  You turned the dial up, so

24   to speak?

25           THE WITNESS:  I think that's a fair

0202

1   characterization, yes, we have turned the dial up on

2   pipeline safety.

3           CHAIRMAN GOLTZ:  I have no further questions.

4           Thank you.

5           JUDGE KOPTA:  Are you going to have any

6   redirect?

7           MS. CARSON:  Yes, I do.

8           JUDGE KOPTA:  All right.  Well, let's take our

9   afternoon recess.  It's now ten after 3.  Please be back

10   at 20 minutes past the hour.

11           We'll be off the record.

12           (A break was taken from 3:10 p.m. to 3:22 p.m.)

13           JUDGE KOPTA:  After our afternoon recess, the

14   Chairman has one additional question for this witness.

15           CHAIRMAN GOLTZ:  Might be a couple more.

16           You testified, sir, you received notices around

17   1998.  Was that about the DuPont pipe?

18           THE WITNESS:  I'm aware that there were notices

19   around that time frame, around older vintages of plastic

20   pipe.  It wasn't specific to DuPont pipe, but that there

21   was --

22           CHAIRMAN GOLTZ:  When you mean notices, you mean

23   there is information from federal authorities that there

24   was a problem with the durability of this pipe?

25           THE WITNESS:  Yes.

0203

1           CHAIRMAN GOLTZ:  I'm trying to figure out when

2   the company, at some management level, was aware that

3   there might be a potential problem going forward with

4   that pipe that may trigger at some point a replacement

5   issue.

6           THE WITNESS:  Right.  It was when those notices

7   first came out in the late '90s, I think there's been a

8   series of three notices between then and just recently.

9   When that notice first came out, we started to look for

10   that type of a problem in our system.

11           Now, plastic pipe ages with time, and we weren't

12   seeing any marked trend or anything with the performance

13   of the pipe that we had.  We had seen some instances

14   where there were issues, mostly from a workmanship

15   standpoint, and not the types of brittle-like cracking

16   that they were describing, but over time, since we are

17   now aware of it and we were looking for that, we did

18   start to identify that those were risks that existed in

19   our system.

20           CHAIRMAN GOLTZ:  So when did you start to see

21   the trend line go up that indicated risks in your

22   system?

23           THE WITNESS:  I don't have an exact date as to

24   when that occurred, but as our chart shows, and my

25   testimony, it was in the mid part of this decade that --

0204

1           CHAIRMAN GOLTZ:  Last decade?

2           THE WITNESS:  That we started to begin paying

3   action to address that.

4           CHAIRMAN GOLTZ:  Okay.  Thank you.

5           JUDGE KOPTA:  Now, Ms. Carson?

6           MS. CARSON:  Thank you.  And that removes one of

7   my redirect questions.

8                      REDIRECT EXAMINATION

9   BY MS. CARSON:

10       Q.  Mr. Henderson, you were asked by Mr. ffitch

11   about some examples of agreements with Commission staff

12   on replacement schedules.  Specifically you were asked

13   about bare steel and cast-iron and weren't those

14   agreements with the Commission Pipeline Safety staff

15   about the schedule for replacement.  Do you recall those

16   questions?

17       A.  Yes, I do.

18       Q.  How did those agreements for those schedules

19   come about?

20       A.  So those in both cases, those were the result of

21   complaints filed by Pipeline Safety staff, and as a

22   result of the processing of those complaints, settlement

23   agreements were arrived at to resolve the issues at

24   hand.

25       Q.  And in those cases, there were some allegations

0205

1   that there were violations of regulations.  Is that

2   right?

3       A.  Yes.

4       Q.  And have you had any allegations of violations

5   of plastic pipe that isn't being replaced?

6       A.  There are none currently.

7       Q.  I'd like you to turn your attention to page 10

8   of your testimony.  You were questioned about this

9   chart.

10           JUDGE KOPTA:  That's the direct testimony,

11   Exhibit --

12           MS. CARSON:  That is the direct testimony,

13   DAH-1T.

14           THE WITNESS:  Yes.

15   BY MS. CARSON:

16       Q.  I believe that you said that the numbers that

17   show up on wrapped steel mains, services, and older PE

18   planned 2012 through 2015 are the safe level.  Are you

19   saying that these numbers represent the bare minimum to

20   meet a level of safety?

21       A.  No.  I did not mean to represent that.  These

22   are the minimum amounts required to take care of the

23   pipe that we've identified, but by way of example, the

24   minimum requirement might be to replace ten feet of

25   pipe.  These numbers represent typically a

0206

1   block-to-block approach of those pipe replacements, and

2   that's how we arrived at the planned, or plan number

3   here.

4       Q.  And is planned the same as budgeted?

5       A.  Plan is not the same as budgeted.  This would be

6   our budget request, and only through the budget process,

7   as we talked about earlier, would an amount be arrived

8   at.

9           MS. CARSON:  Thank you.

10           I have no further questions.

11           JUDGE KOPTA:  All right.

12           MR. FFITCH:  Your Honor, may I have one or two

13   follow-ups on a particular question that Ms. Carson

14   asked?

15           JUDGE KOPTA:  Very briefly.

16                      RECROSS-EXAMINATION

17   BY MR. FFITCH:

18       Q.  Mr. Henderson, you were asked about the genesis

19   of some of the cooperative arrangements we discussed

20   just a moment ago by Ms. Carson.  Your testimony in

21   general was that those resulted from settlements or

22   Commission orders.  Correct?

23       A.  Correct.

24       Q.  I'd like to take you back through those briefly

25   and just get clarification.  And I'm looking at

0207

1   Exhibit DAH-7, which is the surveillance report.  I'm

2   looking at page 53, the last paragraph.  And this is

3   where Puget identified an opportunity to reduce risks

4   and then integrated service replacement with bare steel

5   replacement.  You didn't mention an order or settlement

6   when we discussed that earlier.  Are you now saying that

7   that specific arrangement was required by a Commission

8   order or a provision in the settlement?

9       A.  The arrangement of combining services with the

10   bare steel?

11       Q.  Right.

12       A.  That was not -- that was not the subject of an

13   order.

14       Q.  I understand, and I'm not disputing that there

15   was an order with regard to wrap steel services and bare

16   steel, but this particular opportunity, and then the

17   arrangement which yielded benefits for consumers, was

18   above and beyond the requirements of the settlement, was

19   it not?

20       A.  Yes.

21       Q.  All right.  If you turn the page to page 54.

22   Actually, go all the way to page 55, under wrap steel

23   mains, and the last paragraph there.  I'm sorry, not the

24   last paragraph.  The first paragraph discusses another

25   integrated arrangement where wrapped steel mains

0208

1   adjacent to wrapped steel services are replaced when

2   it's convenient.  Is that required by the Commission

3   order or settlement?

4       A.  That was included in the order, yes.

5       Q.  That the adjacent mains be replaced when perhaps

6   those services were replaced?

7       A.  Not that they be replaced but that they be

8   reviewed; that wrap steel main adjacent to wrap steel

9   services that were being replaced be reviewed to

10   determine whether the mains should be replaced as well.

11       Q.  But that wasn't required by any other federal

12   regulation or state regulation?

13       A.  No.

14       Q.  I don't know if we need to go to the page, but

15   there under the -- older PE pipe, that is on page 60,

16   there you testified about a policy of replacing old PE

17   pipe as part of a larger main replacement program.  That

18   was not required by a Commission order or settlement

19   provision, was it?

20       A.  There was not.

21           MR. FFITCH:  Thank you.  Those are my questions.

22           JUDGE KOPTA:  All right.  Thank you.

23           Anything further for this witness?

24           MS. CARSON:  Yes.  Just a couple more questions.

25

0209

1                  FURTHER REDIRECT EXAMINATION

2   BY MS. CARSON:

3       Q.  Mr. Henderson, back to this bare steel and

4   wrapped steel program integrating those two

5   replacements, was there any kind of expansion of

6   replacement of bare steel or the wrapped steel services

7   as a part of that or was it just combining the two?

8       A.  It was just combining the two.

9       Q.  Was there any new schedule set in terms of when

10   these replacement would be done, or was it the same

11   schedule that was agreed to?

12       A.  It still operated under the same schedule.

13       Q.  And in terms of the wrapped steel service

14   assessment program, did that come out of a settlement as

15   well?

16       A.  Yes, that was a settlement as well.

17           MS. CARSON:  No further questions.

18           JUDGE KOPTA:  Thank you.  Thank you for your

19   testimony, Mr. Henderson.  You're excused.

20           Ms. Carson, you may call your next witness.

21           MS. CARSON:  Puget Sound Energy calls John Story

22   to the stand.

23           JUDGE KOPTA:  Would you raise your right hand.

24                          JOHN STORY

25           Witness herein, having been first duly sworn on

0210

1   oath, was examined and testified as follow:

2           THE WITNESS:  Yes.

3                      DIRECT EXAMINATION

4   BY MS. CARSON:

5       Q.  Mr. Story, could you please state your name and

6   title and spell your name for JUDGE KOPTA reporter?

7       A.  Yes.  My name is John Story, J-O-H-N, S-T-O-R-Y,

8   and I'm director of cost and regulation.

9       Q.  Mr. Story, do you have before you your prefiled

10   direct and rebuttal testimony and exhibits?

11       A.  Yes, I do.

12       Q.  Do you have any corrections to those exhibits?

13       A.  No.

14           MS. CARSON:  Your Honor, PSE offers John Story

15   for cross-examination.

16           JUDGE KOPTA:  Thank you.

17           Mr. Cedarbaum?

18           MR. CEDARBAUM:  Thank you, Your Honor.

19                       CROSS-EXAMINATION

20   BY MR. CEDARBAUM:

21       Q.  Hello, Mr. Story.

22       A.  Good afternoon.

23       Q.  I'd like to ask you questions first of all about

24   the table on page 10 of Mr. Henderson's direct

25   testimony.  Let's talk about some rate making issues on

0211

1   that.  Let me know when you're there.

2       A.  I have it, yes.

3       Q.  And on the left-hand side of the page, there are

4   dates from 2003 to 2015.  Right?

5       A.  That's correct.

6       Q.  Is it correct that the company filed a general

7   rate case for its electric and gas operations in 2004?

8       A.  Yes.

9       Q.  And that it also filed a general rate case for

10   its electric and gas operations in 2006?

11       A.  Yes.

12       Q.  And again in 2007?

13       A.  I believe so, yes.

14       Q.  And again in 2009?

15       A.  That's correct.

16       Q.  And then there was a gas only general rate case

17   in 2010.  Is that right?

18       A.  That's correct.

19       Q.  And currently pending before the Commission is a

20   general rate case for both size of the business with a

21   2011 filing.  Is that right?

22       A.  That's correct.

23       Q.  Over the same period of time, were there also

24   some power cost only rate case filings?

25       A.  Two or three, yes.

0212

1       Q.  And Mr. Henderson in response to the Chair's

2   questions indicated that the numbers on this page for

3   wrapped steel main services and older PE are absent the

4   PIP proposal.  Were you present for that testimony?

5       A.  Yes, I was.

6       Q.  And if the company were to ramp up those -- the

7   costs for the replacement of these facilities without

8   pipeline integrity proposal -- actually, let me back up.

9           Mr. DeBoer also indicated in his testimony this

10   morning that he expected the company would file another

11   general rate case in 2012.

12       A.  Yes.

13       Q.  Do you recall that?  I apologize for that.  I

14   did digress.

15           To the extent that these numbers for wrapped

16   steel main services and the older PE are increased, and

17   if the company doesn't have a PIP program in place,

18   wouldn't those costs, including the additional costs, be

19   addressed in any of the general rate cases that come

20   before the Commission in 2012 and forward?

21       A.  Yeah.  That's one of the concerns we have.

22       Q.  Mr. Story, I just asked you a simple question,

23   yes or no.

24       A.  Twenty-seven months after the fact, yes.

25       Q.  Twenty-seven months after what fact?

0213

1       A.  Of actually putting the pipe in the ground, up

2   to 27 months.

3       Q.  Well, to the extent that the 2012 general rate

4   case is based on a test year in 2011 that will include

5   pipeline, all pipeline costs?

6       A.  And it would be settled in 2013, right, or

7   finalized in 2013.

8       Q.  And any additional rate cases after 2012 you

9   have the same answer?

10       A.  Yes.

11       Q.  But nevertheless, the rate recovery of those

12   costs would be addressed in general rate proceedings?

13       A.  Yes.

14       Q.  If we could turn to your rebuttal testimony,

15   which is JHS-10T.

16       A.  Yes.

17       Q.  Your answer on page 2 is in response to a

18   question that begins on page 1 in which you dispute

19   Public Counsel's testimony that customers under the PIP

20   are prepaying for plant that is not yet in service, and

21   Mr. Vasconi's testimony, questioning whether the PIP

22   violates the use and useful statute.  Is that correct?

23       A.  Right.

24       Q.  On line ten you refer to the Commission's

25   historical approval of future costs for rate base

0214

1   additions for using average or monthly average rate base

2   for new electric production facilities.  Correct?

3       A.  That's correct.

4       Q.  Earlier I've referred to the power cost only

5   rate case mechanism the company currently has.  Do you

6   recall that?

7       A.  That's correct.

8       Q.  Isn't an intent of that process is to try to

9   synchronize the recovery of costs associated with new

10   generation with the in-service date of that

11   regeneration?

12       A.  That would be part of it, yes.

13       Q.  The final question I have for you involves

14   Exhibit JHS-12.  That's a cross-examination exhibit.

15       A.  I have it.

16       Q.  The company's response to Staff Data Request 11.

17   And here we asked the company to provide a list of all

18   regulatory mechanisms for accounting treatment in part

19   A, and then part B, other regulatory mechanisms and

20   procedures that serve to reduce regulatory lag.  Is that

21   right?

22       A.  That's correct.

23       Q.  In addition to the list that you included of

24   those deferred accounting mechanisms, the company has

25   the power cost only rate case mechanism, correct, that

0215

1   we've discussed?

2       A.  That's correct.

3       Q.  The company also has a power cost adjustment

4   mechanism.  Is that right?

5       A.  What was your first one?

6       Q.  The power cost only rate case mechanism.

7       A.  PCOR, right.

8       Q.  And then the company has a PCA as well?

9       A.  Well, they're basically the same thing.

10       Q.  Well, my understanding is the PCOR was adopted

11   as part of the PCA, but the PCA mechanism operates

12   separately under annual filings from the company --

13       A.  That's right.  No rate adjustment with a PCA.

14       Q.  There hasn't been yet?

15       A.  No.

16       Q.  There can be?

17       A.  There could be, yes.

18       Q.  And then the company also has, I think as was

19   discussed at other times today, a tariff rider for

20   conservation expenses.  Correct?

21       A.  Correct.

22       Q.  And the company also has a tariff rider for low

23   income?

24       A.  Right.  And we also have a tariff rider for

25   Schedule 95T, which is the PTC's -- we have one for REC,

0216

1   for the, you know, the environmental.  There's several

2   of those type of riders which are included in these

3   numbers here.

4           MR. CEDARBAUM:  Thank you.

5           Those are all my questions.

6           JUDGE KOPTA:  To clarify, PTC stands for?

7           THE WITNESS:  Production tax credit.

8           JUDGE KOPTA:  And REC is?

9           THE WITNESS:  I knew somebody would ask that.

10           MS. CARSON:  Renewable energy credit.

11           JUDGE KOPTA:  For the record.  Thank you.

12           Mr. Brooks, do you have any questions for

13   Mr. Story?

14           MR. BROOKS:  I do, just a few.

15                       CROSS-EXAMINATION

16   BY MR. BROOKS:

17       Q.  Good afternoon, Mr. Story.

18       A.  Good afternoon.

19       Q.  Does the proposed PIP include a surcharge on

20   customers that have a special contract with Puget?

21       A.  I'm sorry?

22       Q.  The PIP as it's proposed, does that include a

23   surcharge for customers that have a special contract?

24       A.  Yes, it does.

25       Q.  What is the initial amount of that proposed

0217

1   surcharge?

2       A.  It's about $36,000.

3       Q.  How did you arrive at that amount?

4       A.  It was allocated based on the same way the 2009

5   allocations were done for pipe.  It was factors were

6   used to allocate the different revenue dollars to the

7   different classes of customers, and then those dollars

8   were spread based on estimated therms.

9       Q.  When you say it was allocated in the same ways

10   as in 2009, did you mean relied on the cost of service

11   study?

12       A.  That the company had used, yes.

13       Q.  In calculating the amount for special contracts

14   customers, did you use just the results of that cost of

15   service study, or did you actually segregate out the

16   pipeline as part of the PIP and run it through that cost

17   of service study?

18       A.  We did not segregate the pipeline.

19       Q.  When the cost of service study was used as part

20   of that '09 rate case, was that part of a stipulated

21   settlement that was presented to the Commission?

22       A.  Yes, it was.

23       Q.  Would that have included language that indicated

24   the parties intended to use the cost of service study

25   only for that rate case and not for setting precedents?

0218

1       A.  Yeah, that's what my testimony is.

2       Q.  If the Commission does not approve the PIP,

3   would the cost of replacing the pipeline segments

4   otherwise contemplated in that proposal get passed on to

5   special contracts customers?

6       A.  It could, depending on the price -- or the type

7   of pipe.

8       Q.  Are there any other factors that would determine

9   how it gets passed on to those customers?

10       A.  It would be just part of the normal allocations.

11   I would say it would be under the cost of service study.

12       Q.  As you were calculating the amount that would be

13   charged to special contracts customers for the PIP, did

14   you review any of the special contracts that Puget has?

15       A.  They were reviewed, yes.  I didn't do it

16   personally.

17       Q.  In your rebuttal testimony, which is JHS-10T,

18   page 6, I believe line eight, concludes that

19   supplemental schedules do apply.  Was that your

20   conclusion?

21       A.  Yes.  I was shown the section on the contract

22   that would support that.

23       Q.  So you did review the contracts?

24       A.  You asked prior to us filing, and after there

25   was testimony saying that that shouldn't be allocated I

0219

1   did look at it, yes.

2       Q.  Do the special contracts typically contain

3   provisions that would run -- I guess without the PIP, if

4   you were going to pass these costs on to those

5   customers, do they contain calculations or formulas that

6   would determine what the ultimate amount is that gets

7   charged for a special contracts customer?

8       A.  Well, depends on the contract.  Some have

9   formulas, some have statements saying additional costs

10   that are approved by the Commission could be added to

11   the contract price.  Most of them would have that type

12   of provision.

13           MR BROOKS:  That's all the questions I have.

14           JUDGE KOPTA:  Thank you, Mr. Brooks.

15           Mr. ffitch?

16           MR. FFITCH:  Thank you, Your Honor.

17                       CROSS-EXAMINATION

18   BY MR. FFITCH:

19       Q.  Good afternoon, Mr. Story.

20       A.  Good afternoon.

21       Q.  I'd like you first to turn to your

22   Exhibit JHS-4.  That's the third exhibit to your direct.

23       A.  I have that, yes.

24       Q.  And page 1, it's a one-page exhibit.

25       A.  Yes.

0220

1       Q.  And I just want to ask you a couple of questions

2   about the first column, the summary column of that

3   exhibit.

4           This is essentially the revenue requirement

5   calculation behind the surcharge proposal.  Correct?

6       A.  That's correct.

7       Q.  And year one of the program includes

8   16.4 million of capital costs.  That's at the top, line

9   one.

10       A.  That's an average, a monthly average number.

11       Q.  Okay.  And what covers actual and forecasts of

12   replacements through October 31, 2012?

13       A.  That's correct.

14       Q.  And the PIP then includes the recovery of

15   $1.9 million through the surcharge.  We see that number

16   on the bottom on line 14.  Correct?

17       A.  That's correct.

18       Q.  And of that 1.9 million, 586 million --

19   thousand, is depreciation.  Correct?

20       A.  That's correct.

21       Q.  You can see that on the chart on line ten.

22           And then the return is 1.23 million --

23   1.237 million.  Right?

24       A.  No.  The return is 804,000.  The one million two

25   is the return plus taxes.

0221

1       Q.  Those are taxes associated with that return.

2   Correct?

3       A.  That's correct.

4       Q.  And that amount is going to the shareholders or

5   investors.  Correct?

6       A.  No.  Part of it is going to taxes.

7       Q.  And the IRS, excuse me.

8       A.  Yeah, right.

9       Q.  So this shows us, doesn't it, that if the

10   company spends $16.4 million on plant, it only recovers

11   586,000 in depreciation expense, the return of its

12   capital.  Where did you get the other 15.8 million that

13   it paid for the replacement pipe, the 16.4 million at

14   the top?

15       A.  That would come from the funds that are

16   generated day to day.  It includes income that's coming

17   in from customers, it includes financing, it includes

18   equity, all sorts of -- it's whatever the source of

19   funds are.  You're not going to have dollars that are

20   coded, you know, that these are long-term debt dollars,

21   these are equity dollars.  It's all put together, and

22   it's been discussed on the budget.  The dollars are

23   allocated out to capital and O&M.

24       Q.  That would include a combination of debt and

25   equity, just like any other capital project?

0222

1       A.  Well, debt and equity and short-term debt,

2   depreciation, you know, the funds coming in from

3   depreciation, all sorts of things, yes.

4       Q.  In the 2006 general rate case, Mr. Story, Puget

5   Sound Energy proposed the depreciation tracker, did they

6   not?

7       A.  Yes.

8       Q.  You were witness in that proceeding on a number

9   of issues including in support of the depreciation

10   tracker.  Right?

11       A.  Yes, I was.

12       Q.  The tracker was proposed essentially to meet a

13   need for capital investment in replacement and upgrade

14   of transmission and distribution facilities.  Is that

15   right?

16       A.  I did not review that testimony, but if that's

17   what the testimony says, yes.  It's been five years,

18   four years.

19       Q.  The testimony was provided, the citations were

20   provided to your counsel in advance of the hearing, but

21   you haven't reviewed the testimony to prepare for this

22   hearing?

23       A.  I reviewed the testimony, yes.  Those came in

24   yesterday.  I was reviewing testimony and exhibits.

25       Q.  You accept that that was the basic rationale for

0223

1   the --

2       A.  I'll accept it.

3       Q.  And also timely recovery of that investment, the

4   argument was made, would provide an incentive to the

5   company to make those investments on behalf of

6   customers?

7       A.  That's what the testimony says, yes.

8       Q.  Do you recall in that case that another party's

9   witness described the proposal as unusual and extreme?

10       A.  There were all sorts of descriptions on that

11   program, yes.

12       Q.  Isn't it the case that you responded to that by

13   pointing out that the company was not asking for a

14   return on the investment, but that that proposal simply

15   asked for a return of the investment?

16       A.  That's correct.

17           MR. FFITCH:  I want to ask now about an exhibit,

18   Your Honor, that is subject to objection by Ms. Carson.

19   That would be JHS-15.  I'd like to just inquire of the

20   witness in aid of resolving the objection, if I can.

21           JUDGE KOPTA:  That is appropriate, yes.

22   BY MR. FFITCH:

23       Q.  Mr. Story, I guess first of all just explain to

24   us what we're looking at here.  Just give us the

25   context.

0224

1       A.  This exhibit was the program that we had

2   proposed earlier in the year where bare steel was

3   included, and the program included building in bare

4   steel, wrap steel, may -- services and plastic pipe and

5   the other item also.  We took what was built into rates,

6   took it out into the rate year, and then also added the

7   additions, added the depreciation, deferred taxes

8   associated with that, and came up with a total revenue

9   requirement for the programs.  So we were adjusting what

10   was included in rates for wrapped -- or bare steel and

11   the other three programs in this.

12       Q.  All right.  And you also calculated the return

13   on equity increase that would result from the program,

14   and that's shown in the bottom right-hand corner as 28

15   basis points.  Correct?

16       A.  That's not correct.

17       Q.  Doesn't the exhibit say 28 basis points on it?

18       A.  But that's not on the return on equity in total

19   company, that's only on the return on equity in the rate

20   base that we were adding that we were looking at for

21   bare steel and the other three programs.

22           The $347 million is not rate based for gas.  Gas

23   rate base is about 1.6 billion, so this was measuring

24   the return on equity only on those programs.

25       Q.  The top line shows revenue requirement and it

0225

1   shows a difference on the far right-hand side of

2   731,000.  It's a revenue deficiency number.  Is that

3   correct?

4       A.  That's correct.  It's for four months, that's

5   July through October of 2011, because this original

6   program had the rates starting in July of 2011, so this

7   was only for those months.

8       Q.  So the correct number that we would put in there

9   now, which we would see from your JHS-4, would be

10   1.9 million, approximately?

11       A.  That's correct.

12       Q.  And how would that affect the 28 basis point

13   number that's shown at the bottom of the page?

14       A.  The correct basis point for what we're

15   requesting and for a full year and on total equity would

16   be seven basis points.

17       Q.  We would request that the company update the

18   exhibit.  Are you able to do that, Mr. Story?

19       A.  Yes.  The calculation is available from the

20   numbers you have.  We can provide the calculation.

21       Q.  Ms. Crane referenced this --

22           JUDGE KOPTA:  Just a moment, Mr. ffitch.

23           Do you have an objection to --

24           MS. CARSON:  I do have an objection.  This is

25   again response to informal data request back when it was

0226

1   a completely different program, it includes bare steel,

2   it includes time period that's past.

3           JUDGE KOPTA:  Well, I'm referring specifically

4   to Public Counsel's request that the company essentially

5   update this table to reflect the current proposal.

6           MS. CARSON:  So it would be a completely new

7   table.

8           JUDGE KOPTA:  It would.

9           THE WITNESS:  Yeah, I'd just clarify that.  I

10   wouldn't update this table.  It's not set up in a manner

11   to calculate return on equity in total.  I'll give you

12   the calculation.

13           MR. FFITCH:  What we're asking for, Your Honor,

14   is to have this data request answered based on the

15   company's current proposal.

16           MS. CARSON:  I think we're happy to do that.  It

17   may look a little bit different.  Mr. Story, I believe,

18   it was on vacation when this was done, and has a few

19   different ideas about how it should be formatted.  Bob

20   Williams prepared this, so it might look slightly

21   different, but it would cover our current proposal.

22           JUDGE KOPTA:  We'll identify that as Record

23   Requisition No. 1, which would be -- I will let Public

24   Counsel, since it's your request, state the request for

25   the record so that the company understands exactly what

0227

1   it is you're asking for.

2           MR. FFITCH:  I would simply restate it in the

3   words of the Staff Data Request No. 23, which is before

4   Mr. Story and it's in the record, would that be the same

5   wording.

6           JUDGE KOPTA:  All right.  Ms. Carson, do you

7   understand, and Mr. Story, do you understand the

8   request?

9           THE WITNESS:  I understand the request, but

10   the -- normally what happens in an informal data request

11   is there's been some discussions, and that's why this is

12   most probably in this format, with staff.  The -- as

13   long as we're in agreement that it is on total equity of

14   the company and for a year, I understand the request.

15           JUDGE KOPTA:  Does that reflect your

16   understanding Mr. ffitch?

17           MR. FFITCH:  Yes.

18           JUDGE KOPTA:  All right.  Then we have an

19   understanding.  So that is Record Requisition No. 1.

20           With respect to this exhibit, are you finished

21   asking your questions about this exhibit?

22           MR. FFITCH:  Your Honor, I have a couple more

23   questions about the exhibit.

24           JUDGE KOPTA:  Okay.  Then I'll let you continue.

25

0228

1   BY MR. FFITCH:

2       Q.  Ms. Crane referenced this response in her direct

3   testimony, citing the 28 basis points on October 25th,

4   did she not?

5       A.  Yes, she did.

6       Q.  So you, Puget Sound Energy, were aware that the

7   parties were relying on that number, weren't you?

8       A.  Yes.  And as Ms. Carson indicated earlier, we're

9   not really sure where it came from, until we saw the

10   exhibit.  We saw the reference to Staff Request 23, we

11   didn't have a Staff Request 23.  We have a Staff

12   Informal Request 23.  So it was kind of a surprise to

13   see this.  But it really didn't make any difference,

14   because the equity is nowhere close when you talk about

15   these kind of basis points, it's nowhere close to what

16   the company is already behind on equity in its normal

17   earnings.

18       Q.  Mr. Story, you're going way beyond my question.

19       A.  I'm just saying why we didn't respond to it.

20       Q.  You were aware that Ms. Crane had relied on

21   that.  The company could have pretty easily figured out

22   by looking at the number of data requests in this case

23   where that number came from, couldn't it?

24       A.  We weren't looking at informal data requests,

25   and she didn't provide a copy with her testimony.

0229

1       Q.  You did not update this data response for

2   whatever reason, did you?

3           MS. CARSON:  I object to this line of

4   questioning.  As we discussed earlier when we objected

5   to this exhibit, this was response to an informal data

6   request before this was an adjudicative proceeding,

7   before the program became what it is today as part of

8   this adjudicative proceeding, and the company did not

9   think about going back and looking at the informal data

10   requests that had been issued prior to the commencement

11   of the new program in July.

12           MR. FFITCH:  I just have one more question on

13   this line, Your Honor.

14           JUDGE KOPTA:  Well, I have to agree with

15   Ms. Carson.  I don't see any obligation under the rules

16   to update any informal data requests.  If you have any

17   more questions along those lines, then I don't think

18   that that's appropriate, but if you have a different

19   question, then you may ask it.

20           MR. FFITCH:  I think it's a different question,

21   Your Honor.

22           JUDGE KOPTA:  Then proceed, please.

23   BY MR. FFITCH:

24       Q.  You referenced Ms. Crane's testimony on this

25   point in your rebuttal without asserting that it needed

0230

1   to be corrected.  Isn't that correct?

2       A.  I just used the same number she used.

3           MR. FFITCH:  I think those are all my questions.

4           Just one more minute.  Let me check my notes,

5   Your Honor.

6           JUDGE KOPTA:  Of course.

7           MR. FFITCH:  No more questions.

8           Thank you, Mr. Story.

9           JUDGE KOPTA:  Thank you, Mr. ffitch.

10           Are you going to offer Exhibit show offered

11   JHS-15?

12           MR. FFITCH:  Well, Your Honor, just for

13   completeness of the record, I would offer it.  I think

14   we're going to get a bench request that updates it, but

15   since we talked about the witness' referring to it, I

16   would offer it.

17           JUDGE KOPTA:  Ms. Carson?

18           MS. CARSON:  I renew my objection.

19           JUDGE KOPTA:  I'm going to sustain the

20   objection.  I don't see anything in this exhibit that's

21   probative of the case that is currently before us.  I

22   understand there's been some discussion, there may have

23   been some misunderstandings, but that's certainly beside

24   the point of proceedings.  So at this point I'm not

25   going to admit this particular exhibit.

0231

1           Questions from the commissioners?  Commissioner

2   Jones?

3           COMMISSIONER JONES:  No questions.

4           JUDGE KOPTA:  Mr. Oshie?

5           COMMISSIONER OSHIE:  No questions.

6           JUDGE KOPTA:  Chairman Goltz?

7           CHAIRMAN GOLTZ:  Just a couple.

8           Mr. Story, would be fair to characterize the

9   proposal as an attrition adjustment?

10           THE WITNESS:  If you define attrition adjustment

11   as including future looking numbers, yes, and that's

12   been defined in this state that way, yes.

13           CHAIRMAN GOLTZ:  Looking at Mr. Henderson's

14   testimony, the table on page 10 of his testimony --

15           JUDGE KOPTA:  His direct testimony?

16           CHAIRMAN GOLTZ:  His direct testimony.

17           JUDGE KOPTA:  Exhibit DAH-1T for the record.

18           CHAIRMAN GOLTZ:  We've looked at this a lot this

19   afternoon, and this morning.  And it basically shows the

20   actual and planned expenditures for various classes of

21   pipeline replacement.  Is that correct?

22           THE WITNESS:  That's correct.

23           CHAIRMAN GOLTZ:  So for the wrap steel WSSAP

24   services and older PE, do you happen to know offhand

25   what the depreciable -- what the life is for

0232

1   depreciation purposes of that sort of plan?

2           THE WITNESS:  For distribution, or wrap steel

3   mains, it's 3.27 percent, plastic it's 2.77 percent, and

4   distribution services plastic is 4.58 percent.

5           CHAIRMAN GOLTZ:  So depreciable life would be

6   between three and four and a half years for that type of

7   pipe, about?  I'm -- sorry.

8           THE WITNESS:  No, 30 --

9           CHAIRMAN GOLTZ:  Between 25 and 30 or so?

10           THE WITNESS:  Twenty-five and thirty-five,

11   right.

12           CHAIRMAN GOLTZ:  Right.  So currently is the

13   company taking their depreciation experience expense for

14   some of this pipe that's in the ground already?

15           THE WITNESS:  It is.

16           CHAIRMAN GOLTZ:  Do you know offhand how much

17   that would be for the various classes of pipe?

18           THE WITNESS:  In total?

19           CHAIRMAN GOLTZ:  Either in total or by class of

20   pipe.

21           THE WITNESS:  I do not have that number in

22   total, but for that -- if you're talking about the total

23   distribution or the pipe in 376 and 380 --

24           CHAIRMAN GOLTZ:  Tell me with 376 and 380.

25           THE WITNESS:  Those are just the accounts that

0233

1   we keep the plastic and steel pipe in.

2           CHAIRMAN GOLTZ:  Right.

3           THE WITNESS:  I do not have what the total

4   depreciation is on this, no.

5           CHAIRMAN GOLTZ:  Do you know, looking at the

6   planned expenditures on that table on page 10 of DAH-1T,

7   does it come close to approaching those figures?

8           THE WITNESS:  Most probably the easiest thing to

9   look at is the Exhibit 4.  For adding this $16 million

10   of pipe on an average of, monthly average basis --

11           JUDGE KOPTA:  Excuse me, Mr. Story.  What

12   exhibit are you looking at?

13           THE WITNESS:  I'm looking at JHS-4.

14           Now, this is pipe going up from June of 2010 up

15   through October of 2012.  The one year depreciation on

16   that pipe is about $600,000.  It's on line ten.

17           CHAIRMAN GOLTZ:  Right.

18           THE WITNESS:  Line ten.  So --

19           CHAIRMAN GOLTZ:  That's $16 million worth of

20   pipe.

21           THE WITNESS:  Right.

22           CHAIRMAN GOLTZ:  So to get to the overall

23   amount, you'd have to figure out how much overall pipe

24   there is in the ground.

25           THE WITNESS:  Right.

0234

1           CHAIRMAN GOLTZ:  Which is undepreciated, which

2   is not yet depreciated.

3           THE WITNESS:  Depreciation is taken on your

4   gross plant, so accumulated depreciation offsets it.  We

5   can provide that number.  I just don't have it.

6           CHAIRMAN GOLTZ:  We may ask for it.

7           Can you just give us that?

8           JUDGE KOPTA:  This will be Bench Request No. 1.

9   Do you understand what it is that has been requested?

10           THE WITNESS:  Yes.  You'd like the total

11   depreciation expense associated with these three

12   programs.

13           JUDGE KOPTA:  Yes.

14           CHAIRMAN GOLTZ:  Why don't you go ahead and

15   throw in bare steel too as long as you're in the books.

16           I have no further questions.

17           JUDGE KOPTA:  Any redirect?

18           MS. CARSON:  Yes.

19                     REDIRECT EXAMINATION

20   BY MS. CARSON:

21       Q.  Mr. Story, earlier you stated that special

22   contracts customers would pay $36,000 of the total

23   1.9 million.  I'd like you to take a look at

24   Exhibit JHS-8, page 1.

25       A.  Yes.

0235

1       Q.  Can you confirm if that's the correct number?

2       A.  No.  It's only 10,715.  The 36,000 was '86 and

3   '87 together.  So 10,700 it would be special contracts.

4       Q.  Is it the 10,715 or is it the number at the

5   bottom of the page, 8,574?

6       A.  You're correct.  It's 8,574.

7       Q.  Mr. Story, earlier you testified that the PIP is

8   an attrition adjustment.  Is that the purpose of the

9   PIP, an attrition adjustment?

10       A.  No, it's not.  The purpose of the PIP is to put

11   an emphasis on this program to enhance safety and

12   reliability of the system.  One of the benefits of

13   having the PIP program makes it an earning asset

14   earlier, which helps us in both financing this

15   construction and other construction.

16       Q.  Earlier in response to a question from

17   Mr. ffitch about recovery of replacement of pipes in

18   rates, you said 27 months after the fact.  What did you

19   mean by that?

20       A.  I believe that was Mr. Cedarbaum, but it's -- if

21   you were to take the first month of your test year, and

22   you inserted pipe in that first month, you would have

23   that, the value of that pipe for the full test year, so

24   that's 12 months.  Generally it takes three to four

25   months to prepare a case to file before the Commission,

0236

1   so you're up to 15 to 16 months.  And it takes 11 months

2   to resolve a rate case.  So that's the 27 months before

3   it gets built into the rates.

4       Q.  Thank you.

5           MS. CARSON:  I have no further questions.

6           MR. CEDARBAUM:  I just have one follow-up.

7           JUDGE KOPTA:  Yes, one follow-up.

8                      RECROSS-EXAMINATION

9   BY MR. CEDARBAUM:

10       Q.  On that last point, Mr. Story, during that

11   27-month period of time, there are rates currently in

12   effect that -- in which are embedded pipeline costs.

13   Correct?

14       A.  That's correct.  But they're not at the rate to

15   replace -- to cover the revenues required for the new

16   replacement.  They are based on historical plant.

17       Q.  But eventually they will be based on higher

18   costs if the company accelerates the replacement?

19       A.  Eventually they get built in, up to 27 months

20   later.

21       Q.  Again, during that 27-month period of time,

22   whatever is embedded in rates continues to get recovered

23   by the company?

24       A.  Well, you got to recall that the pipe we're

25   talking about is '85 or older.  Most of that, just from

0237

1   Chairman Goltz's questions, that's 25 years, it's mostly

2   depreciated, so what's in rate base is the depreciated

3   value.  Some of that pipe is totally depreciated, and

4   some may even have a reserve against it that makes it a

5   credit amount.  So if you look at those individuals

6   pipes, there's not very much money in there for recovery

7   on rate base.

8           You're also talking about pipe that's 30 years

9   old, much cheaper to put into service 30 years ago than

10   it is today.  So when we replace pipe today, the revenue

11   requirement on the new pipe is much higher than what was

12   built in the rates.

13           MR. CEDARBAUM:  Thank you.

14           JUDGE KOPTA:  Anything further for this witness?

15           MS. CARSON:  No.

16           JUDGE KOPTA:  Thank you, Mr. Story.  You are

17   excused.  We appreciate your testimony.

18           I believe that concludes the company's

19   witnesses.  Is that correct?

20           MS. CARSON:  That's correct.

21           JUDGE KOPTA:  All right.  We would move on to

22   Commission staff.  I note that, Ms. Carson, you said you

23   have no cross for any of the staff witnesses?

24           MS. CARSON:  That's correct.

25           JUDGE KOPTA:  I don't believe the commissioners

0238

1   have questions for Mr. Vasconi.

2           COMMISSIONER JONES:  Correct.

3           CHAIRMAN GOLTZ:  Correct.

4           JUDGE KOPTA:  His testimony has already been

5   admitted.

6           We thank you for attending.  You will not need

7   to stand for cross, for questioning.

8           I believe, however, staff has one other witness.

9   If you would like to call that witness, hopefully he is

10   available on the phone.

11           MR. CEDARBAUM:  I hope so too.

12           MR. LYKKEN:  I am.

13           JUDGE KOPTA:  Excellent.

14           MR. CEDARBAUM:  Before turning to Mr. Lykken I

15   would like to make one correction to Mr. Vasconi's

16   testimony for the record.  We discussed this before we

17   went on the record this morning.

18           On page 1 of his testimony, line 9, the word

19   "acting" should be removed.

20           JUDGE KOPTA:  We will make that correction.

21           CHAIRMAN GOLTZ:  Then you have to change the

22   next sentence too, though.

23           MR. FFITCH:  It's spiralling out of control.

24           JUDGE KOPTA:  I think that is a fact of which we

25   can take official notice.

0239

1           MR. CEDARBAUM:  I shouldn't have started.

2           Mr. Lykken, are you there?

3           THE WITNESS:  Yes.

4           MR. CEDARBAUM:  I'm not sure if he's been sworn

5   in.

6           JUDGE KOPTA:  He has not.

7           Mr. Lykken, I will ask that you stand and raise

8   your right hand.

9            DAVID LYKKEN (Appearing via telephone)

10           Witness herein, having been first duly sworn on

11   oath, was examined and testified as follow:

12           THE WITNESS:  I do.

13           JUDGE KOPTA:  Thank you.

14           Mr. Cedarbaum?

15                       DIRECT EXAMINATION

16   BY MR. CEDARBAUM:

17       Q.  If you can please state your full name, spelling

18   your last name.

19       A.  My name is David Lykken, L-Y-K-K-E-N.

20       Q.  And you are the pipeline safety director for the

21   Commission?

22       A.  Yes, I am.

23       Q.  And you prepared direct testimony in this

24   proceeding.  Is that correct?

25       A.  Yes, I have.

0240

1       Q.  Is that testimony true and correct to the best

2   of your knowledge and belief?

3       A.  Yes, it is.

4           MR. CEDARBAUM:  Your Honor, I think this

5   testimony has already been admitted, and I would like to

6   confirm that, and I'll make Mr. Lykken available for

7   questioning.

8           JUDGE KOPTA:  It has been admitted, thank you.

9           There is no cross for Mr. Lykken, but we may

10   have a question or two from the bench.

11           Commissioner Jones, do you have anything for

12   Mr. Lykken?

13           And I would caution Mr. Lykken if you would

14   speak close to the phone and speak up, because you're a

15   little bit faint.

16           THE WITNESS:  Never been accused of that before.

17           JUDGE KOPTA:  That's much better.  Thank you.

18           COMMISSIONER JONES:  Mr. Lykken, this is

19   Commissioner Jones.  Can you hear me?

20           THE WITNESS:  Yes, I can.

21           COMMISSIONER JONES:  Okay.  Do you have your

22   testimony in front of you?

23           THE WITNESS:  I do.

24           COMMISSIONER JONES:  I'm going to ask you a

25   couple of questions based on pages 6 and 7.  Tell me

0241

1   when you're there.

2           THE WITNESS:  I am there.

3           COMMISSIONER JONES:  On line 20 of page 6, you

4   were talking about the PE pipe, or you are talking about

5   the PE pipe in that section, are you not?

6           THE WITNESS:  Yes, I am.

7           COMMISSIONER JONES:  And you state that the

8   level of exposure, quote/unquote, is unclear, since

9   historical documents such as material requisitions,

10   construction and maintenance records do not provide

11   sufficient detail to determine quantities purchased and

12   location of installations.

13           So can you explain that a little bit more in

14   detail?  Is it poor data, is it the fact that the GIS

15   system is not properly in place?  What's the reason for

16   this?

17           THE WITNESS:  Well, based on my discussions with

18   the company, there are not adequate records to fully

19   understand the magnitude of the issue.  I understand

20   from Mr. Henderson's testimony that they estimated

21   approximately a thousand miles of this pipe as being

22   installed, but yet he also goes on to say that there's a

23   hundred miles that they know definitively that have

24   potential issues.

25           My experience with working for the company while

0242

1   I was at Washington Natural Gas is that, you know, there

2   were many forms of pipe, various forms of pipe went into

3   the ground at that time; not just DuPont, you know,

4   Drisco pipe and other brands of pipe put in at that

5   time.  I think the documentation needs to be more

6   closely scrutinized to determine exactly the extent of

7   the exposure of this pipe to the public.

8           COMMISSIONER JONES:  So it's your

9   understanding -- so you base -- you base this statement

10   both on your experience in the industry working for WNG

11   and working here at the Pipeline Safety staff?

12           THE WITNESS:  That's correct.

13           COMMISSIONER JONES:  And so you go on to state

14   the DuPont pipe was not used exclusively and constitutes

15   only a fraction of the total mileage.  So when you say

16   fraction -- so you are calling into question too this

17   calculation of, A, 100 miles of pre '86 PE pipe could be

18   in question.

19           THE WITNESS:  No, I'm not questioning that.

20   This is actually the first time I've heard that they've

21   established a number of miles of this pipe.  It was my

22   understand in the past that they didn't have a full

23   understanding of the quantity of pipe that was in the

24   ground with respect to the DuPont pipe.

25           COMMISSIONER JONES:  And there are other high

0243

1   quality PE materials that were used during that time.

2           THE WITNESS:  There are.

3           COMMISSIONER JONES:  But you are stating that

4   you really don't know or the company doesn't know, and

5   the staff hasn't vetted exactly what's in the ground and

6   what vintage that pipe is?

7           THE WITNESS:  I won't speak for the company, but

8   I know that I believe that those quantities could become

9   into question about exactly how much of this pipe has

10   been installed.

11           COMMISSIONER JONES:  Okay.  My last question is

12   on the risk model.  On page 7, on lines nine through 16,

13   you go on to talk about the risk model.  And I think the

14   commissioners had some questions on this before.

15           Mr. Henderson describes this as a very

16   complicated, large spreadsheet.  Is that your

17   understanding as well?

18           THE WITNESS:  It is my understanding.

19           COMMISSIONER JONES:  Have you participated in

20   the development of this risk model?

21           THE WITNESS:  I have not.  Other engineering

22   staff within the organization, the pipeline safety

23   section, have been involved in that, in those

24   discussions, and evaluation of that risk model.

25           COMMISSIONER JONES:  Is it the same sort of risk

0244

1   model that was used to rank the main segments for the

2   bare steel program?

3           THE WITNESS:  There are elements that are

4   similar and it's -- the model is also consistent with

5   other models that I've seen with respect to other

6   companies, in particular interstate transmission

7   pipeline companies.  They do follow similar

8   characteristics, although they're unique in that they

9   were involved with distribution piping.

10           COMMISSIONER JONES:  Do you think that the

11   collaborative process proposed in this integrity tariff

12   would allow you to engage, quote, more proactively both

13   on the risk model and on the line segments to be

14   replaced in the PE program?

15           THE WITNESS:  I believe our level of

16   collaboration really goes to evaluation of the DIMP

17   program and the risk model itself.  We do have

18   familiarity with the risk model and what it's capable of

19   doing, but as Mr. Henderson noted in his testimony, we

20   will be challenging those projects where they come out

21   within the risk model.

22           He alluded to the top 100, and, you know, we

23   would want to check those others, that's all outside

24   that, to see why they didn't fall into the upper tier of

25   replacement program.  So we won't evaluate every

0245

1   project, but we'll evaluate the high level, middle

2   level, and the lower level ones and make a determination

3   of whether the model is working the way we think it

4   should be.

5           COMMISSIONER JONES:  And in the processes

6   proposed by the company in this integrity tariff, you

7   would be working with the company upfront in a

8   collaborative way to work out those line segments and

9   both the data inputs into the risk model and what came

10   out of the risk model.  Correct?

11           THE WITNESS:  That's correct.  We'd be

12   evaluating the model itself and make a determination

13   that it's working as designed to do, knowing the

14   different characteristics of the different projects, and

15   why they fall out where they do, but, you know, once

16   we've made a determination that the model is working for

17   us, if there's certain projects that rise to the top,

18   and then we'll be comfortable that those are the ones

19   that the company will be moving forward with.

20           COMMISSIONER JONES:  That's the end of my

21   questions, Judge.

22           JUDGE KOPTA:  Thank you, Commissioner Jones.

23           Commissioner Oshie, do you have any questions?

24           COMMISSIONER OSHIE:  I just have a couple of

25   follow-up questions for Mr. Lykken.

0246

1           Now, you went into some detail about describing,

2   you know, staff's participation in the company's

3   evaluation of the safety of the pipeline system.  So are

4   you testifying that without approval of their proposal

5   staff would not conduct the same investigation that you

6   described in your earlier testimony this afternoon?

7           THE WITNESS:  No, that evaluation would happen

8   regardless of what happens as a result of this hearing.

9           COMMISSIONER OSHIE:  Thank you.

10           No further questions.

11           JUDGE KOPTA:  Thank you Commissioner Oshie.

12           Mr. Chairman?

13           CHAIRMAN GOLTZ:  So, Mr. Lykken, that answers

14   part of my question about the staff participation.  In

15   what you described in response to the questions from

16   Commissioner Jones, was that the participation that's

17   going on now with their current plastic pipe replacement

18   efforts, or is that what you would do if the PIP is

19   approved?

20           THE WITNESS:  We would do that regardless of

21   whether or not the tariff filing was approved or not.

22   Mr. Henderson alluded to the fact that the DIMP

23   regulations went into effect in August.  We have yet to

24   fully evaluate that program and how the risks, existing

25   risk model will roll into the more global DIMP program.

0247

1   So regardless of what happens here, we'll be doing a

2   thorough review of the DIMP program overload.

3           CHAIRMAN GOLTZ:  In the course of that review,

4   at least your current, how you currently envision it,

5   would that involve approval of proposed pipeline

6   replacements, or just involve an understanding of the

7   plans?

8           THE WITNESS:  It would essentially involve

9   approving the understanding of the plans themselves, and

10   whether they meet the intent of the regulation.

11           CHAIRMAN GOLTZ:  Okay.  But were you

12   envisioning -- or do the Federal Rules envision state

13   regulator approval of these replacement?  Or state

14   regulator involvement in the process is I guess what I'm

15   asking.

16           THE WITNESS:  No.  There's nothing in the rules

17   that require outright replacement of pipes.  It's one of

18   the mitigating measures or strategies.  We will, as part

19   of distribution integrity management, but nowhere in the

20   regulation is there a requirement to replace pipe

21   outright.

22           CHAIRMAN GOLTZ:  No, but I mean is there a

23   requirement where there is pipeline replacement, that

24   the state regulators approve that replacement?

25           THE WITNESS:  No.

0248

1           CHAIRMAN GOLTZ:  A couple of just clarification

2   questions starting on page 5 of your testimony, where

3   you talk about serious pipeline incidences associated

4   with plastic pipe.  I see that on lines 13 and 14.  And

5   these are serious incidents -- this does not include

6   San Bruno or the Pennsylvania explosion that have been

7   referred to earlier today.  Correct?

8           THE WITNESS:  It does not.

9           CHAIRMAN GOLTZ:  You state on line 20 and 21, or

10   starting on 21, that operators in several states, and

11   you list six, had replaced thousands of miles of this

12   higher risk plastic pipe.  I believe Mr. Henderson said

13   that generally it's a million dollars a mile.  So are

14   you saying that in those states there have been billions

15   of dollars spent replacing this pipe?

16           THE WITNESS:  I can't answer that question as

17   far as the costs associated with those projects.

18   Obviously the cost per foot, if you will, has a lot to

19   do with the environment that the existing pipeline

20   resides in, if there's hard surface across the board --

21   I mean, it just depends on the situation.

22           CHAIRMAN GOLTZ:  And then on the top of page 6,

23   you reference in the same paragraph where -- let me just

24   compare the first sentence and the last sentence of that

25   carryover paragraph from page 5 to 6.  The first one

0249

1   says:  The vulnerability of this material to premature

2   cracking represents a serious hazard to public safety.

3   And the last sentence says:  Failures associated with

4   incidents in these states have been tied back to poor

5   construction practices at the time of installation.

6           So my question is is this a high -- this serious

7   hazard to public safety, to what extent is it a function

8   of poor construction practices and what would those

9   practices be?

10           THE WITNESS:  Well, it has been a testament to

11   the companies in this state that do have this pipe in

12   the ground that at the time of original installation

13   they took care to properly bed the pipe, that it wasn't

14   exposing -- the pipe wasn't exposed to rocky soil that

15   may cause rock impingement, that do in turn cause these

16   crack growth defects.  So that's a testament to the

17   companies for doing the correct thing at the time of the

18   original installation.  However, this stuff -- excuse

19   me, this material is susceptible to any kind of

20   excessive bending, other point loading issues, that come

21   down to other people working around this pipe.

22           The company has control over what it does when

23   it installs this pipe.  It doesn't have that control

24   when there's others working around these pipes.  Later

25   on that's where we typically find these other damages.

0250

1   And lately, the last couple that have been related,

2   federally reported incidents, have been related to

3   others that work around this pipe.

4           The Odessa incident, and also there was another

5   one in Spokane, where there were sewer work going on,

6   and they crossed over the service, put undue loading on

7   the pipe when they backfilled it in, eventually caused a

8   failure later on.

9           CHAIRMAN GOLTZ:  I guess standing alone, the

10   first sentence of that paragraph, the vulnerability of

11   this material to premature cracking represents a serious

12   hazard to public safety, standing by itself, that's a

13   scary statement.

14           THE WITNESS:  It is.

15           CHAIRMAN GOLTZ:  But I don't know if that's an

16   accurate reflection of what your real testimony is

17   because in the same paragraph you talked about in these

18   other states that the failures had been associated with

19   poor construction practices, and you said that's not --

20   that poor construction practices issue is not an issue

21   in this state.

22           THE WITNESS:  Well, what I'm alluding to is the

23   volitability of the pipe itself.  We should be glad that

24   we don't have the construction-type issues that the

25   other states are seeing; nonetheless, the pipe is

0251

1   susceptible to these kinds of failures, and not at the

2   hands of the operator themselves, but there's other

3   opportunities for this pipe to fail that are outside the

4   control of the pipeline operator.

5           If I can, since everybody is using the driving

6   analogy, that, you know --

7           CHAIRMAN GOLTZ:  Actually, only Mr. DeBoer is

8   using it.

9           THE WITNESS:  Only Mr. DeBoer.  I'll use one.

10   I've had some time to think about this.

11           My apologies to the Ford.  But if you think

12   about the Pinto, you know, I'm sure a fine vehicle for

13   most of those folks that owned them.  No issues with the

14   vehicles unless you got rear-ended.  Yes, maybe if you

15   got rear-ended it would develop a leak in the gas tank.

16   Even worse, maybe the vehicle caught fire.

17           But the analogy is we have some pipe here, on

18   the face it's fine, it's in an environment where there's

19   no harm to be done to it, but nonetheless, we recognize

20   across the country where there's other people having

21   issues with this pipe that it is susceptible to

22   problems.

23           CHAIRMAN GOLTZ:  Just one other nitpicky sort of

24   question.  You refer, for example, in several places,

25   and one example is on page 5, line 9, to pre-1985 PE

0252

1   pipe.  And then over on page 7, line 14, you talk about

2   pre-1986 PE pipe.  Mr. Henderson also talked about

3   pre-1986.  Is that just a typo or is there a distinction

4   there?

5           THE WITNESS:  You know, I can't answer that,

6   Mr. Chairman.  Typically we refer to pre-1985 pipe, but

7   I don't think there's a distinction there that that's

8   important.

9           CHAIRMAN GOLTZ:  Okay.  That's fine.

10           I have no further questions.

11           COMMISSIONER OSHIE:  I have a follow-up

12   question, Judge.

13           JUDGE KOPTA:  All right.  Mr. Oshie?

14           COMMISSIONER OSHIE:  So, Mr. Lykken, given, you

15   know, your testimony, both in response to cross and also

16   your written testimony, which I agree with the chairman

17   seems to be sending out kind of mixed messages here,

18   but, you know, if staff is really concerned about the

19   quality of the PE, the DuPont pipe that's in the system,

20   pre-'85, pre-'86, whatever it may be, but let's just

21   say, you know, if it's pre-'86 it covers '85, so we'll

22   just go with that one.  Why doesn't the staff just

23   recommend that the company replace it and then let the

24   Commission decide based on the evidence and the risk

25   presented that they would be ordered to do it?  Why

0253

1   leave it up to the company to decide whether it's going

2   to do it or not and then you always questioning whether

3   or not it's actually being accomplished?  Why not just

4   tell them to do it?  Or order them to do it.

5           THE WITNESS:  Well, you -- I'm sorry.  I talked

6   over you.

7           COMMISSIONER OSHIE:  Excuse me.  Or tell them to

8   do it equals order them to do it.

9           THE WITNESS:  That's certainly a mechanism that

10   can be considered.  What I struggle with is the fact

11   that there aren't a high number of leaks associated with

12   this pipe, nor is there a high rate of incidence with

13   this pipe in this state.  So I try to balance that with

14   the need to get other pipe replaced, such as the bare

15   steel and the cast-iron which the company has been

16   working on, and which has devoted primarily, most of

17   their resources at this time.  Now we're getting into

18   the end of that program, and we're seeing where there's

19   other opportunities to tackle, and this is one of them.

20           COMMISSIONER OSHIE:  Do you think the company

21   would be where it's at in its current bare steel

22   replacement program if it weren't ordered to do it by

23   the Commission?

24           THE WITNESS:  You know, I have a hard time

25   answering that.  I wasn't here at the time that that

0254

1   order was put into place, or I was just beginning to

2   work here.

3           COMMISSIONER OSHIE:  Okay.  So do you think it's

4   better to -- as a general rule, are you more comfortable

5   for the purpose of replacement of any kind of pipe in

6   the system if the Commission leaves it to the discretion

7   of the company to get it done, or the Commission orders

8   them to do it on a regulated schedule to accomplish that

9   task?  What gives you more assurance as a regulator that

10   that task will be completed?

11           THE WITNESS:  Good question.  I guess the

12   assurance would come in the Commission order.

13           COMMISSIONER OSHIE:  All right.  Thank you,

14   Mr. Lykken.  No other questions.

15           JUDGE KOPTA:  Anything further from the bench?

16   I think not.

17           Mr. Cedarbaum, do you have any further?

18           MR. CEDARBAUM:  (Shakes head in the negative.)

19           JUDGE KOPTA:  Thank you, Mr. Lykken.  You are

20   excused.  We appreciate your testimony.

21           This concludes staff's witnesses.

22           Which leads us to Public Counsel, Mr. ffitch.

23           MR. FFITCH:  Your Honor, I understand there's

24   some questions for Ms. Crane, and I would call her to

25   the stand.

0255

1           JUDGE KOPTA:  All right.  Ms. Crane, raise your

2   right hand.

3                         ANDREA CRANE

4           Witness herein, having been first duly sworn on

5   oath, was examined and testified as follow:

6           THE WITNESS:  Yes, I do.

7                      DIRECT EXAMINATION

8   BY MR. FFITCH:

9       Q.  Good afternoon, Ms. Crane.

10       A.  Good afternoon.

11       Q.  Could you please state your full name and spell

12   your last name for the record.

13       A.  Yes.  My name is Andrea C. Crane, C-R-A-N-E.

14       Q.  Could you please provide your business address?

15       A.  Yes.  My business address is the Columbia Group,

16   90 Grove Street, Suite 211, Ridgefield, Connecticut,

17   06877.

18       Q.  Were you retained by Public Counsel to review

19   the company proposal in this case?

20       A.  Yes, I was.

21       Q.  Did you prepare the testimony that's been marked

22   as ACC-1 and the exhibit that's been marked as ACC-2 in

23   the case?

24       A.  I did.

25           MR. FFITCH:  Your Honor, those have already been

0256

1   admitted by previous stipulation.

2           JUDGE KOPTA:  They have.

3   BY MR. FFITCH:

4       Q.  Ms. Crane, do you have any corrections or

5   changes to that exhibit?

6       A.  I do not.

7       Q.  Or those exhibits?

8       A.  I do not.

9           MR. FFITCH:  Your Honor, Ms. Crane is available

10   for questions.

11           JUDGE KOPTA:  All right.  There is no

12   cross-examination, but there may be some questions from

13   the bench.

14           Mr. Jones?

15           COMMISSIONER JONES:  No questions.

16           JUDGE KOPTA:  Mr. Oshie?

17           COMMISSIONER OSHIE:  Ms. Crane, welcome.

18           THE WITNESS:  Thank you.

19           COMMISSIONER OSHIE:  You know, I guess my only

20   question, and I'll -- it's going to be very broad.  I

21   just want to get a better sense of the Public Counsel's

22   objection to this proposal.  And, you know, is it that

23   the -- is it that there aren't -- maybe -- it is -- it's

24   captured by the bullets, but what's really the driver in

25   your opinion of Public Counsel's position here in this

0257

1   case?  Is it that the safety concerns do not rise to the

2   level of creating this particular mechanism, or -- I

3   think that's how I really took it.  And then there were

4   objections about the mechanism itself and how it

5   operated.

6           So let's start with the first.  I mean, can you

7   describe what you believe in developing this testimony,

8   what is the most significant weakness of the proposal

9   that Puget has made, which we're reviewing this

10   afternoon?

11           THE WITNESS:  Yes.  And it certainly is not the

12   safety issue, because we feel very strongly that safety

13   is very important.  I feel that personally, and I think

14   Public Counsel also feels that safety is a concern.

15           I do not feel that this mechanism as structured

16   provides really any benefit to rate payers, nor does it

17   really adequately address the safety issue.  For

18   example, we just went through one of Mr. Story's

19   exhibits that showed that out of $1.9 million that you

20   would collect from rate payers only 580,000 of that is

21   actually going to replacement of the plant.  The bulk of

22   that is going to return on investment or to the IRS.

23           Now, the IRS probably needs all the help it can

24   get, but frankly the bulk of that is going into return

25   or taxes on that return.  It's not going into plant on

0258

1   the ground.

2           In fact, out of that -- if they are going to put

3   16.4 million of plant in the ground, and I recognize

4   that that is based on the average of the monthly

5   averages, but let's just use that number as an example.

6   If they're going to put $16.4 million of plant in the

7   ground in year one, the bulk of that, frankly, is being

8   financed through the same -- with the same pot as

9   Mr. Story acknowledged that all their other capital

10   expenditures are being financed from.

11           The fact is that, you know, dollars are

12   fungible.  They're not labeled, they're not color coded

13   as to what programs they are to be used for.  So I think

14   there's a basic flaw with the surcharge as structured.

15   It's really an accelerated recovery for investors as

16   opposed to an accelerated replacement program for pipe.

17   And that's my primary concern.

18           The other thing is he's talking about a cap of

19   $25 million, capital -- a cap on capital expenditures of

20   $25 million a year.  The total budget we heard today, I

21   think it was in 2011, is $1 billion.  Now, you know,

22   frankly, I don't believe that if they have an entire

23   budget of $1 billion that they're constrained from a

24   capital perspective to making the improvements that they

25   feel need to be made.

0259

1           I mean, if replacements have to be made, they

2   should be made, you know.  And rate payers should pay

3   for them if they're prudent.  But when you're talking

4   about budgets that are of a billion, certainly the

5   funding for this replacement program can be found

6   through normal channels.

7           This is a company also that comes in almost

8   every year for a rate case.  This isn't a company that

9   comes in every five years.  You know, if that were the

10   case then I think some of the concerns about regulatory

11   lag, for example, might be more valid.  This is a

12   company that's going to be before you basically every

13   year anyway.

14           This is also a company that has managed large

15   replacement programs in the past and is in the process

16   of managing a large one right now through the normal

17   rate making process.  And by all accounts, they're doing

18   it very well.

19           So, you know, I view this as the tip of the

20   iceberg.  There's been talking about expansion.  This is

21   in my view a way to expand shareholder return to get

22   that return on plant that isn't even providing service

23   yet, isn't even used and useful, and they're going to

24   start collecting that from rate payers.  I just don't

25   think, A, it's appropriate, and, B, I don't think it's

0260

1   necessary.  There hasn't been any proof in this record,

2   and I'm not an attorney, but as a financial analyst and

3   as a person who testifies a lot on regulatory policy,

4   there has not been any evidence that I have seen that

5   would indicate that they need this program in order to

6   replace pipe and make the system safe.

7           COMMISSIONER OSHIE:  All right.  I don't think I

8   have any other questions.

9           Maybe just one on your testimony.  There's

10   spending in the capital budget that they must accomplish

11   for a variety of reasons, and in particular those two

12   comply with the regulatory requirements, whether imposed

13   on them by the state or by FERC or any other regulatory

14   body that may have jurisdiction.  Then there's

15   discretionary funds.  And my impression from the

16   company's testimony, both in this record, the written

17   record, and on cross-examination, that there's -- that

18   this, you know, that the monies that are being described

19   here as -- that could be spent for safety improvements

20   are being treated as discretionary monies, and that's

21   why they have to compete with the other funds in their

22   capital, in that discretionary capital pot, so to speak.

23           Is that your impression from listening and

24   reading the testimony as well, or do you think I'm maybe

25   misreading what has been expressed or stated or written?

0261

1           THE WITNESS:  Right.  Well, I have heard that.

2   I mean, certainly that is part of their argument, that

3   they want to pull these programs, these replacement

4   programs out of their normal budgeting process so that

5   these programs don't have to compete.

6           I guess I'm a little confused by that statement

7   for two reasons.  I mean, one is we've also had

8   testimony today that, in fact, they do more than the

9   absolute minimum level that is required.  You know,

10   Mr. Henderson testified that, in fact, they do more than

11   that minimum level already.  So there's already some

12   discretionary spending in that regard.

13           The other thing that I'm curious about, as a

14   finance person, is going back to this issue of you have

15   to finance these replacements somehow.  I mean, the fact

16   of the matter is rate payers, even if you approve this,

17   are only going to be providing $1.9 million in year one,

18   for example, in a program that they're going to spend

19   16.4 million to put plant in the ground.  They've got to

20   get that money from somewhere.  Where are they going to

21   get it from?  Because only $586,000 of that 1.9 million

22   is going to actually be used for plant, as I indicated

23   earlier.  The rest of that has to come from their normal

24   financing process.

25           I mean, that has -- plant is financed through --

0262

1   in the short term you can use short term debt.

2   Ultimately, generally that short term debt is replaced

3   with long term debt, and then you also use equity.  And

4   that equity can come from either an outside source or it

5   can come from retained earnings, it can come from the

6   cash that's generated by the business, the -- the

7   earnings generated by the business.  But there's no

8   separate financing process for these capital

9   expenditures.

10           They're not going to go out and they're not

11   going to, you know, necessarily say to their

12   shareholders, well, you know, you provide me $10 million

13   so that I can do this replacement program, you know, and

14   you provide me a separate pot so that I can take care of

15   my -- the other parts of my distribution system.

16           I mean, their financing all comes basically from

17   the same sources, and so frankly I don't think that when

18   you have a rider you really are eliminating the need to

19   consider those costs in your overall budgeting process,

20   because you still have to get the funds from someplace,

21   and ultimately that comes from either your debt

22   investors or your equity investors.

23           COMMISSIONER OSHIE:  You do a lot of work in

24   other jurisdictions, at least based on your written

25   testimony.  And have you testified on, you know,

0263

1   specifically about, you know, about pipeline safety

2   issues and the management practices that are used to

3   accomplish that?

4           THE WITNESS:  No.  I have testified on the

5   financial implications of pipeline safety programs, but

6   I've not testified on the management of the programs

7   themselves or the engineering aspects of the programs.

8           COMMISSIONER OSHIE:  Okay.  My question -- maybe

9   you may know this.  Are there other commissions that

10   approve pipeline safety projects prior to their

11   construction and in that way get actively involved in

12   the management of the pipeline safety program of the

13   company?

14           THE WITNESS:  There are several commissions that

15   approve projects, and I'm thinking primarily, though,

16   things like generation projects that are preapproved.

17           COMMISSIONER OSHIE:  Excuse me.  If I can

18   interrupt.  Are those states that have a requirement for

19   the company to come in and seek a certificate of

20   necessity -- or, you know, convenience and necessity is

21   another way of expressing it.  They have to come to the

22   Commission and say here's what we want to do, here's our

23   need, here's why we want to build it, where we want to

24   build it, how we want to finance it, and here's what we

25   want to accomplish that?

0264

1           THE WITNESS:  I'm actually thinking more of

2   states that have statutes that permit although do not

3   require a utility to come in literally for preapproval

4   of like a large generating facility.  Some states also

5   will permit preapproval of things like renewable

6   generation resources, you know, in order, frankly, to

7   reduce the risk to shareholders, and to give

8   shareholders some added assurance that those costs,

9   provided they come in within the budget that was

10   presented to the Commission, will ultimately be included

11   in rates.  So it's a preapproval.  Rate payers don't,

12   however, start to actually pay for those projects until

13   those projects are actually in service.

14           Now, there is -- you know, I have seen, as I

15   believe I may have mentioned in my testimony, I am

16   familiar with a situation, for example, in New Jersey,

17   where the governors, the former governor, in an attempt

18   to stimulate the work force there, introduced a $500

19   million program whereby he encouraged infrastructure

20   acceleration by the utilities.  It's a limited program

21   with a set number of programs and a number of full-time

22   equivalent employees that must be -- that must be added

23   to the work force associated with those programs.

24           Those types of infrastructure programs are due

25   to expire.  They have a limited life.  In that case,

0265

1   however, the costs are based on estimates, so there was

2   some recovery, you know, prior to all of that plant

3   being completed.  That's -- it's usually on an annual

4   basis those programs are approved.

5           COMMISSIONER OSHIE:  Thank you.

6           I don't have any other questions, Judge.

7           THE WITNESS:  Thank you.

8           CHAIRMAN GOLTZ:  I just have a couple, since you

9   brought your umbrella to the Pacific Northwest.  Thanks

10   for coming.

11           You had testified just now in response to a

12   question that you saw no reason -- that there's no

13   evidence to demonstrate the necessity of this recovery

14   mechanism.  I understand your testimony on that.  We

15   talked a lot about that today.  But you also, on page 14

16   of your testimony, in the last sentence on that page, go

17   beyond that, as I read it, and you say there there is no

18   evidence to suggest that any increase over currently

19   projected expenditures is even necessary or desirable.

20           And there it sounds like you're saying that on

21   the -- that sounds like you're testifying as a pipeline

22   engineer, which you're not.  You heard Mr. Lykken say

23   that some of this pipeline was like driving a Pinto.

24           I guess my question is is that really your

25   testimony, or is it based on some sort of review, your

0266

1   professional opinion on the status of pipelines in the

2   state of Washington, or is it based on your review of

3   the testimony that you read, and if that's true, would

4   that testimony change based on the testimony you've

5   heard.

6           THE WITNESS:  Well, in the interests of full

7   disclosure, I must tell you my first car was a red

8   Pinto, and it treated me very well.

9           But in terms of that, in terms of that sentence,

10   I was basing that sentence on the testimony, and I would

11   stand by that sentence today.  It's important to recall

12   that all the numbers that have been provided by the

13   company in terms of either their budget or their planned

14   expenditures for this program are the costs that are

15   already projected by the company, even if you -- even if

16   you deny the program.  Okay.  So the company has not

17   provided you, or us, with any estimate or with any

18   quantitative program as to what the PIP -- what the PIP

19   would look like.

20           They have not indicated how much their

21   replacement would actually be accelerated.  All they've

22   really shown is that their recovery of certain costs

23   that they have already projected, you know, the recovery

24   of that would be accelerated.  All -- so I have not

25   seen -- I'm just by looking at the testimony in this

0267

1   case, I have not seen anyone say, okay, right now we're

2   planning to spend, you know, $5 million, but if you give

3   us the PIP we're going to spend another $10 million, and

4   here's the way we're going to spend it, and here's why

5   we need to spend that $10 million, and here's why we

6   can't get that through our normal capital channels, and

7   here's what's going to happen to our bond rating if you

8   don't give us this recovery mechanism.

9           I mean, that is, you know, none of that is in

10   the testimony in this case.  And so I'm saying they have

11   not demonstrated -- even though I'm not an engineer, you

12   know, just by reading what's in the record, they have

13   not demonstrated that they need additional amounts over

14   and above what they have already planned for.

15           In fact, we heard that, A, it may be very

16   difficult for them to ramp up.  It's going to probably

17   take them a couple of years to ramp up to an accelerated

18   program.  We heard that it may be difficult to get labor

19   to implement the program.

20           We also heard that their bare steel project,

21   which is very expensive, frankly -- I mean, it is,

22   they're spending a lot of money on that program.  We

23   heard that that program is going to be completed soon,

24   and presumably that would free up a rather large source

25   of capital that could then be directed towards some

0268

1   other program, like replacement of the older plastic

2   pipe.

3           So I have seen nothing that would indicate that

4   this program is actually necessary from a safety

5   perspective at this point in time.

6           CHAIRMAN GOLTZ:  But you also said desirable,

7   which seems to me to be a stretch, because what you're

8   saying there, I think, in that language, would be, as

9   Commissioner Oshie said to Mr. Lykken, you know, well,

10   what if the Commission ordered them to

11   accelerate replacement and didn't do anything about the

12   cost recovery.  The cost recovery would be under

13   existing law.  I read in your statement there as saying

14   even if it was an order, and there's no change in the

15   recovery mechanism, they'd still have all this up to

16   27-month lag, you'd say that's not desirable.  That

17   sounds like you're making a safety judgment on that.

18           THE WITNESS:  Uh-huh.  Well, if they can

19   demonstrate that they, A, have, you know, have to do

20   additional capital programs, and, B, that they can do

21   them, that they have the work force out there, that they

22   have the materials, that would enable them to actually

23   implement those programs.  If they can demonstrate that,

24   then I do think that certainly those costs and that

25   acceleration should be considered.  Obviously I believe

0269

1   that with annual rate cases there's already a mechanism

2   in place that would allow you to consider that.

3           So, you know, I would certainly be willing to

4   entertain an acceleration of the program, you know,

5   provided they quantified what they wanted to do, and

6   demonstrated that they had the resources to actually

7   implement it.

8           CHAIRMAN GOLTZ:  Thank you.  I have no further

9   questions.

10           JUDGE KOPTA:  Mr. Jones?

11           COMMISSIONER JONES:  Ms. Crane, have you ever

12   advised a company on how to manage a capital expenditure

13   program?  Or is the basis of your testimony as a

14   consumer advocate?

15           THE WITNESS:  The basis of my testimony is as a

16   consumer advocate.

17           COMMISSIONER JONES:  So you aren't disputing the

18   fact -- I think it was one of the data requests from

19   Public Counsel, that the company is a very aggressive

20   capital program?  I think it was in the Moody's.

21           THE WITNESS:  Absolutely, they have an

22   aggressive capital program, and they have the means to

23   fund that.

24           COMMISSIONER JONES:  Well, I'm not asking the

25   latter.  I'm asking the former.

0270

1           I think in the Moody's exhibit -- just read

2   through a few of these -- Lower Snake River project.

3   I'm reading from TAD-8.  This is your data request.

4   Lower Snake River project, 840 million, Snoqualmie Falls

5   redevelopment, 240 million estimated cost.

6           MR. FFITCH:  Your Honor, excuse me.  Could I

7   hand the witness the exhibit?

8           COMMISSIONER JONES:  Sure.

9           JUDGE KOPTA:  I believe this is TAD 9.

10           COMMISSIONER JONES:  Is it 9?

11           MR. FFITCH:  I think that's correct.

12           COMMISSIONER JONES:  You are correct, Judge, not

13   8, but 9.

14           THE WITNESS:  I have it, thank you.

15           COMMISSIONER JONES:  I'm on page 411.

16           MR. FFITCH:  Your Honor, I just wanted to point

17   out for the record, that although the witness' copy is

18   on yellow paper, that is not confidential.  It's a

19   function of what came out of our copy machine.  And

20   that's just my personal working copy, so the Standard &

21   Poors' report is not confidential.

22           JUDGE KOPTA:  So noted.

23           CHAIRMAN GOLTZ:  Does it ever go the other way,

24   where white paper comes out when you think it's yellow?

25           JUDGE KOPTA:  That's really scary.

0271

1           COMMISSIONER JONES:  You're not contesting that,

2   are you?

3           So have you had a chance to review this, what

4   their total capital expenditure program is?

5           THE WITNESS:  I have, actually.

6           COMMISSIONER JONES:  Because you made a

7   statement, something to the effect that capital is

8   abundant or it's fungible, it's one pot of money that

9   comes from debt, equity, internal cash flow, and seemed

10   to be a conclusion that they have an abundance of money,

11   and why do they need a PIP program.  That was your

12   testimony.

13           THE WITNESS:  Sure.  I'd love to respond to

14   that.

15           The fact of the matter is we're talking here

16   about, as you have indicated, a very large capital

17   program, independent of these replacements.  They need

18   to -- they're going to have to spend quite a bit.  $1

19   billion in 2011 was the number.  That's a lot of money.

20   $25 million as a percent of that is a very small number.

21           Now, if they can finance a million dollars, I've

22   never seen a company -- I'm sorry, a billion.  Never

23   seen a company that can finance a billion dollars but

24   can't find an extra $25 million.  So in my view the fact

25   that they have a large program to finance actually

0272

1   indicates they probably can absorb that $25 million as

2   well.

3           In addition, if you read these, you'll see that

4   they also discuss some of the funding that's available.

5   For example, Puget Energy's $1 billion committed cap X

6   facility is available through February of 2014 to

7   support the planned utility investments as well.  And it

8   goes on.  As of December 31st, 2010, there was $742

9   million of unused capacity under the parent's cap X

10   facilities.

11           COMMISSIONER JONES:  Sure.

12           THE WITNESS:  We've also heard that the parent

13   has failed to provide any additional equity in the

14   utility since the merger.  So I'm not denying that they

15   face a huge capital program.  They absolutely do.  What

16   I'm saying is the fact that they are facing a huge

17   capital program in my view does, you know, does not mean

18   that they need a special rate making mechanism for

19   another $25 million a year.

20           COMMISSIONER JONES:  I'm aware of all that.  But

21   the question was the competing needs of capital in the

22   company.  We had a discussion today of competing needs

23   of capital within the company.  So are you portraying

24   yourself as an expert today of how internal, not

25   external, but internally how a company manages a capital

0273

1   expenditure budget?

2           THE WITNESS:  For a utility, in terms of utility

3   financing, yes, I am.  I do testify on cost of capital.

4   I'm very familiar with the way that a utility finances

5   its capital investment.

6           As I indicated earlier, Commissioner, this

7   program actually won't finance the replacements.  What

8   it will do is it will accelerate return and actually

9   only -- I keep going back to this -- but only $586,000

10   of that $1.9 million is actually going to be plant in

11   the ground.

12           They have got to finance, even by their own

13   accounts, $15.8 million -- and I'm rounding -- through

14   some other mechanism.  What is that mechanism?  That

15   mechanism is the same mechanism they're going to use to

16   finance any other capital project for the utility.  It's

17   the same mechanism, it's going to be the same, you know,

18   the same sources of capital, be it debt capital or

19   equity capital.

20           So this program doesn't even do what they're

21   telling you it's going to do.  All it's going to do is

22   put -- you know, is return earnings to shareholders

23   faster, and to debt holders.  And a little bit, it will

24   give them a little bit, that one year depreciation

25   expense.  That's what they're really getting in terms of

0274

1   dollars that they can put in the ground.

2           The rest, you know, the rest, it just doesn't do

3   what even, you know, what you may want it to do.  You

4   know, we may want it to be a good financing vehicle to

5   accelerate replacements, but this program doesn't get

6   you there.

7           COMMISSIONER JONES:  I understand your

8   perspective.  But my point was in the context of a

9   billion dollar cap X program, in a 12 to 25 million

10   dollar pipeline integrity program, you could have two

11   responses.  One is, in my view, one, it's significant,

12   one, it's not significant.  And couldn't another

13   response be that 20 million out of a billion dollars is

14   not much to worry about?  Why all this fuss?

15           THE WITNESS:  Exactly.  I agree with you.  Why

16   all this fuss?  Why do we need a special -- why do we

17   need, A, to set up a collaborative process, which is

18   going to take a lot of resources for a lot of parties,

19   why are we going to set up another rider on somebody's

20   bill?  Why are we going to have to come before the

21   Commission, not only to approve, A, an initial rider,

22   but then to do a true-up, you know, 12 months later?

23           I mean, why are we going to undertake a process

24   for $25 million when the bulk of that is going to be

25   directed back into the investors' pockets as opposed to

0275

1   being directed in the ground in terms of plant?

2           COMMISSIONER JONES:  I was going the other way

3   with that, but -- my answer, Ms. Crane, would be safety,

4   but I'll leave it at that.

5           Thank you, Judge.

6           JUDGE KOPTA:  Anything further from the bench?

7           Mr. ffitch, do you have anything further?

8           MR. FFITCH:  No redirect, Your Honor.

9           JUDGE KOPTA:  Thank you, Ms. Crane.  I

10   appreciate your testimony.  You're excused.

11           THE WITNESS:  Thank you.

12           JUDGE KOPTA:  And last but not least,

13   Mr. Brooks?

14           MR BROOKS:  The Northwest Industrial Gas Users

15   would call Donald Schoenbeck.

16                       DONALD SCHOENBECK

17           Witness herein, having been first duly sworn on

18   oath, was examined and testified as follow:

19           THE WITNESS:  Yes, I do.

20           JUDGE KOPTA:  You may be seated.

21           Mr. Brooks?

22                      DIRECT EXAMINATION

23   BY MR. BROOKS:

24       Q.  Mr. Schoenbeck, can you state your name and

25   affiliation for the record, and spell your last name,

0276

1   please.

2       A.  Certainly.  My name is Donald W. Schoenbeck.

3   That's S-C-H-O-E-N-B-E-C-K.  I'm president of Regulatory

4   and Cogeneration Services.  I'm here representing the

5   Northwest Industry Gas Users.

6       Q.  Do you sponsor the response testimony of Donald

7   W. Schoenbeck which is now labeled as DWS-1T?

8       A.  Yes, I did.

9       Q.  That's been admitted to the record already.

10           Do you have any corrections or changes you'd

11   like to make to that testimony?

12       A.  No, I do not.

13           MR. BROOKS:  Your Honor, Mr. Schoenbeck is

14   available for questions.

15           JUDGE KOPTA:  All right.  Thank you.  No cross.

16   But questions from the bench?

17           Mr. Jones?

18           COMMISSIONER JONES:  The time is getting late,

19   and I do want to get home as well, Dr. Schoenbeck.  Nice

20   to you.  Spokane and now Olympia.

21           THE WITNESS:  Good to see you too, Commissioner

22   Jones.

23           COMMISSIONER JONES:  On page 6 of your testimony

24   you talk about the fundamental differences between the

25   Northwest Natural in Oregon and the program proposed

0277

1   here.  But also in the fundamental, I'm going to just --

2   I think you supported the program, ICNU supported the

3   Northwest Natural program in Oregon, did you not?

4           THE WITNESS:  Yes, they did.

5           COMMISSIONER JONES:  Did you support the bare

6   steel that was initiated in 2001?

7           THE WITNESS:  Even before that, I believe we

8   did, and of course as we said in the testimony, the

9   major part for supporting the 2003 program was because

10   of the eight-year stayout period.

11           COMMISSIONER JONES:  So part of your objection

12   to this particular mechanism is that because the company

13   has the ability to come in frequently, every year, year

14   and a half, it's perhaps not necessary?

15           THE WITNESS:  Yes, we certainly look at it as

16   just an accelerated investment return to their

17   shareholders, and we don't see a commensurate

18   quantifiable benefit for rate payers.

19           COMMISSIONER JONES:  But if Puget would agree to

20   do a stayout, or if other elements of the Oregon

21   program, like an O&M offset were included in a cap X

22   tracker mechanism, could you possibly support such a

23   program?

24           THE WITNESS:  We'd definitely would consider

25   such a program if it did contain a substantial stayout

0278

1   period, absolutely.

2           COMMISSIONER JONES:  Just on the gas side or the

3   electric side?

4           THE WITNESS:  Well, this is speaking on behalf

5   of the Northwest Industrial Gas Users.  I'm talking just

6   gas.  I'm not here on behalf of the Industrial Customers

7   of Northwest Utilities.

8           COMMISSIONER JONES:  I know you wear many hats.

9           I think that's it.  I had a few more questions,

10   but they're related more to safety and uncertainties in

11   the process, so I will end my questions here.

12           JUDGE KOPTA:  All right.  Thank you,

13   Commissioner Jones.

14           Commissioner Oshie?

15           COMMISSIONER OSHIE:  Now that the can has been

16   opened.  So how long of a stay would you like,

17   Mr. Schoenbeck?  Is eight years sufficient?

18           THE WITNESS:  Well, eight years certainly worked

19   with respect to Northwest Natural.  We haven't had any

20   focus discussion, but just in my mind it certainly would

21   be refreshing not to see PSE for three years.

22           COMMISSIONER OSHIE:  I accept that.  Thank you.

23           No more questions.

24           JUDGE KOPTA:  Thank you, Commissioner Oshie.

25           Mr. Chairman?

0279

1           CHAIRMAN GOLTZ:  Mr. Schoenbeck, thanks for

2   patiently waiting all morning and afternoon.

3           So you testified that this is not similar to

4   Oregon's program.  Can you refer us to a good

5   description of the Oregon program?

6           THE WITNESS:  It's described rather briefly and

7   succinctly in their 10-K application before the SEC, but

8   I don't think it goes into the detail that you're

9   probably looking for.  So I don't think there is a

10   publicly available document I could point you to at this

11   moment that would contain it.  I'm sure we could come up

12   with a settlement and provide it to if you'd be

13   interested in seeing a detailed description.

14           CHAIRMAN GOLTZ:  I assume that settlement was

15   approved by Commission order, Oregon Commission order.

16           THE WITNESS:  Yes, it was.

17           CHAIRMAN GOLTZ:  We could probably find that.

18   Is that what you're referring to?

19           THE WITNESS:  Yes, uh-huh.

20           CHAIRMAN GOLTZ:  Just a couple of questions.

21   Does the Oregon program include plastic pipe?

22           THE WITNESS:  There's been, with respect to the

23   northwest -- focusing on Northwest Natural, there was

24   originally a bare steel program.  If you go back to

25   about 2000, then in around 2003 you had the transmission

0280

1   program come in, and then with respect to 2006, '-7 and

2   '-8 you had the distribution program come in. So now

3   there's been consolidation of all three of those

4   separate pipeline integrity programs into a single

5   program.  So when you say in terms of there is a

6   distribution integrity program, that would include all

7   their distribution mains, which would certainly include

8   plastic pipe as well.

9           CHAIRMAN GOLTZ:  Okay.  But this is a pipeline

10   infrastructure replacement program, the Oregon one.

11           THE WITNESS:  Both transmission and distribution

12   is what I'm trying to say.  Again, Northwest Natural has

13   a substantial transmission segment, as opposed to PSE

14   who has less than 30 miles.

15           CHAIRMAN GOLTZ:  That is one of the points you

16   make as to why they're different proposals.

17           THE WITNESS:  That's correct.

18           CHAIRMAN GOLTZ:  Presumably because the

19   transmission element, the transmission pipeline has a

20   higher -- higher potential hazard.

21           THE WITNESS:  Higher pressure.

22           CHAIRMAN GOLTZ:  Higher hazard.

23           THE WITNESS:  I'd say higher pressure.  You'd

24   look more at different federal regulations applied to

25   the pressure of the lines.

0281

1           CHAIRMAN GOLTZ:  So when you said on page 7 of

2   your testimony, as I recall it, this does not treat rate

3   payers fairly relative to shareholders, I assume that

4   Mr. Henderson or Mr. DeBoer or Mr. Story would say,

5   well, from a dollar perspective you just can't look at a

6   dollar perspective, you have to balance a little bit

7   apples and oranges, it's imprecise quantification of

8   safety benefits with dollars for shareholders.  Were you

9   just, in your testimony were you just talking about sort

10   of dollars or were you talking about safety as well?

11           THE WITNESS:  I was primarily focused on the

12   dollars, because I'm not a safety engineer.  But when

13   you do look at their testimony, it is basically just

14   asking for an accelerated capital recovery of an

15   individual single-issue program.  They clearly state

16   that their existing level of cap X expenditures for

17   pipeline replacement is within the guidelines to

18   maintain a safe system.  So that's what I'm relying on.

19   I'm relying on their characterization of how safe their

20   system is.

21           CHAIRMAN GOLTZ:  Just one more question with the

22   Oregon program.  Did you say that the Oregon settlement

23   also included an agreement by Northwest Natural to stay

24   out for eight years?

25           THE WITNESS:  The 2003 settlement did that, yes.

0282

1           CHAIRMAN GOLTZ:  And so was there anything else

2   in the settlement as well?  Was it basically just the

3   infrastructure replacement program plus the stayout, or

4   were there other elements as well?

5           THE WITNESS:  Well, there were other elements.

6   Giving, you know, to the extent there might be

7   extraordinary circumstances, they could come in and ask

8   for rate relief.  The basic deal was an eight-year

9   stayout program.  Eight year stayout period.

10           CHAIRMAN GOLTZ:  But I guess I'm asking is that

11   basically it.  It was the pipeline replacement program,

12   eight-year stayout, those are the two elements of the

13   deal done?

14           THE WITNESS:  Well, again, there is some

15   additional elements, but those were the significant

16   ones.

17           CHAIRMAN GOLTZ:  Thank you.  I have nothing

18   else.

19           JUDGE KOPTA:  Anything further?

20           Mr. Brooks?

21           MR. BROOKS:  Only to note that before this

22   docket was suspended I think we had submitted to the

23   Commission the Northwest Natural -- a description of

24   that program, which was both in their tariff and the

25   settlement agreement.  If that's something we need to

0283

1   resubmit as part of the bench request to get that into

2   the record, we can do that.

3           JUDGE KOPTA:  Yes, I think that would be wise.

4   Just because it's in the docket doesn't mean it's in the

5   evidentiary record.

6           MR. BROOKS:  Right.

7           JUDGE KOPTA:  We'll make that bench request

8   No. 2.  All right.

9           MR. BROOKS:  That's all I have.

10           JUDGE KOPTA:  Thank you, Mr. Brooks.

11           Thank you, Mr. Schoenbeck.  You are excused.  We

12   appreciate your testimony.

13           I believe that concludes the evidentiary portion

14   of this hearing.  We have a couple of housekeeping

15   matters we need to take care of on the record, but we'll

16   go off the record right now so the commissioners can go

17   on to other things.  So we'll be off the record.

18           (Discussion off the record.)

19           JUDGE KOPTA:  The commissioners are no longer on

20   the bench, and we have a few administrative items that

21   we need to take care of.

22           First, from an evidentiary standpoint, Puget

23   Sound Energy -- or let's start first with saying Public

24   Counsel designated an excerpt of Public Counsel Data

25   Request No. 35, a response from the company that has

0284

1   been admitted as TAD-9, and the company requested that

2   the entire response be included as an exhibit, which we

3   will do.  It will be TAD-9 supplemental, which is the

4   entire response from the company to the Public Counsel

5   Data Request No. 35.  This will be admitted, so that

6   there will be both the original document that Public

7   Counsel designated and the full response given, that

8   with the examination that Public Counsel did with the

9   witness it will be too confusing to have just one

10   document given the page number references.

11           The second issue has to do with

12   cross-examination Exhibits DAH-24, 25, 27, and 28,

13   clarifying which exhibits have been admitted and which

14   are not offered because they're duplicative of other

15   documents.  Given the lateness of the hour, we will not

16   address that at this point, but will take care of that

17   tomorrow, hopefully, but subsequently, so that we can

18   get that correct, so that we have the accurate list of

19   exhibits that are part of the record.  Mr. Cedarbaum is

20   going to undertake to identify which exhibits should be

21   in the record and which should be excluded.

22           Third, there was one record requisition and two

23   bench requests during the hearings.  Discussing off the

24   record, we established a date of Tuesday, November 23rd,

25   for those to be submitted to the Commission.  They will

0285

1   be given exhibit numbers and admitted into the record.

2           And finally, post hearing briefs.  The parties

3   agreed on opening, simultaneous opening and simultaneous

4   reply briefs.  The opening briefs would be due on

5   December 16th, 2011, the reply briefs would be due on

6   January 6th, 2012.

7           And I believe Public Counsel also had a

8   statement to make to tie up an issue that we had

9   discussed before we engaged in our evidentiary portion

10   of the hearing.

11           MS. CARSON:  Your Honor, before we do that, I

12   believe that you said for the records requisition and

13   bench requests Tuesday the 23rd of November.  I believe

14   it's the 22nd.

15           JUDGE KOPTA:  All right.  Then I stand

16   corrected.  You can have until the 23rd if you'd like.

17           MS. CARSON:  I believe the 22nd will work.

18           JUDGE KOPTA:  Then let's correct that to having

19   both the record requisition and the bench requests

20   submitted on Tuesday, November 22nd.

21           Now, Mr. ffitch?

22           MR. FFITCH:  Thank you, Your Honor.  Public

23   Counsel's request to make an offer of proof with respect

24   to documents from the 2006 general rate case is

25   withdrawn.  The issue has been addressed in testimony.

0286

1           JUDGE KOPTA:  Thank you.  I believe that takes

2   care of all of the issues that I had to discuss.

3           Anything further before we adjourn?

4           Hearing nothing, we are adjourned.  Thank you.

5           (Proceedings concluded at 5:26 p.m.)

6                             -o0o-

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

0287

1                     C E R T I F I C A T E

2

3

STATE OF WASHINGTON  )

4                         )

COUNTY OF KING       )

5

6         I, SHERILYNN V. McKAY, a Certified Shorthand

7   Reporter in and for the State of Washington, do hereby

8   certify that the foregoing transcript of the proceedings

9   on November 17, 2011, is true and accurate to the best

10   of my knowledge, skill and ability.

11         IN WITNESS WHEREOF, I have hereunto set my hand

12   and seal November 21, 2011.

13

14

15

16

17

18         SHERILYNN V. McKAY, RMR, CRR

19

20

21

22

23