Kittitas County

Emergency Response Plan

Table of Contents

Kittitas

Users guide	2

How it will be served	3	Regular business hours	3

After hours	3

## PSE Staff

Who reside in and around Kittitas	3,4

Facilities

Driving directions	4

Kittitas base	5,6,7

Maps of Distribution and supply system	7

Roles and Responsibilities

###### Service providers	 7

Mutual aid agreement	7,8

Williams Pipeline	8

Material / tool List

Weld Equipment	8

Emergency Trailer	8

###### Tool Room	9

Backhoe	9

Users Guide

Dispatch

PSE Staff	3,4

Facilities	4,5,6

Material / tool List	8,9

Maps of Distribution and supply system	7

Roles and responsibility of Service Providers	7

Agreement between PSE/City of Ellensburg	7,8

First Responders

PSE Staff	3,4

Facilities	4,5,6

Material / tool List	8,9

Maps of Distribution and supply system	7

Roles and responsibility of Service Providers	7

Agreement between PSE/City of Ellensburg	7,8

CFS

PSE Staff	3,4

Facilities	4,5,6

Maps of Distribution and supply system	7

Material / tool List	8,9

Roles and responsibility of Service Providers	7

Gas Control

PSE Staff	3,4

Facilities	4,5,6

Material / tool List	8,9

Maps of Distribution and supply system	7

Emergency Response Plan

# Kittitas - GAS

#### How Kittitas is served

Regular business hours:

During regular business hours we will utilize employees who are working in Kittitas.  This could include Gas First Response personnel or SC&P.

After Hours:

Outside of normal business hours we will first contact the Gas First Response employees who live in Kittitas.  Two of these employees are expected to provide 24 hour 7 days per week coverage on an alternating week basis.  If one of the four resident employees is not going to be available, we will move a First Responder from the west side of the mountains.  If none of these people are available, use the normal callout procedure, calling the closest person(s) to the emergency.

What to do if the pass is closed and support is needed:

The primary link between the Kittitas service territory and the rest of the company is I-90.  If inclement weather has the pass closed and support personnel or material are required form the West side, call the System Manager at xxxxxxx, xxxxxxxxxxxxx or xxxxxxxxxxxxx to make arrangements for aerial transport to Ellensburg.

#### PSE gas staff who reside in/near Kittitas

|  | Home | Cell | Pager | Pvt ID | Addr | Job |
| --- | --- | --- | --- | --- | --- | --- |
| xxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxx | xxxxxxxxxxxxxxxxx, Ellensburg | CFS Tech |
| xxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxx | xxxxxxxxxxxxxxxxxxxx, Ellensburg | Fitter |
| ###### xxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx xxxxxxxxxxxx | xxxx | xxxxxxxxxxxxxx, Ellensburg | PI Inspector |
| xxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxx | xxxxxxxxxxxxxxxxxx, Cle Elum | PI Inspector |
| xxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx | xxxxxxxxxxxx xxxxxxxxxxxx | xxxx | xxxxxxxxxxxxxxxxxxxxx, Selah | Supervisor |

- These personnel have received basic training on regulator station operations and using the main line valves to control the 16” high pressure main.

PUBLIC VERSION

PSE support Staff in Kittitas –

Knowledge of area and keys to facilities

|  | Home | Cell | Pager | Nextel | Addr | Job |
| --- | --- | --- | --- | --- | --- | --- |
| xxxxxxx | xxxxxxxxxxx |  |  |  | Kittitas | CSR1 |
| xxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx xxxxxxxxxxx |  | xx | Cle Elum | Field Rep |
| xxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx |  |  | Ellensburg | Comm Rel MGR |
| xxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx |  |  | Ellensburg | Operations Support Specialist |

xxxxxxxxxxx, xxxxxxxxxxxx, and xxxxxxxxxxx all carry current flagging cards, as do the electric servicemen xxxxxxxxxxxxxxx and xxxxxxx noted below.

PSE Electric servicemen in Kittitas

|  | Dispatch | After hours | Sys Mgr | Addr | Job |
| --- | --- | --- | --- | --- | --- |
| xxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx | Cle Elum | Serviceman |
| xxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx | xxxxxxxxxxx | Cle Elum | Serviceman |

## Facilities

Puget Sound Energy’s Kittitas Base is located just Off I-90 at Exit 101 West of Ellensburg.

Address

xxxxxxxxxxxxxxxxxxxxxxxx, Thorp

Map and Driving Directions to Facility

xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

PUBLIC VERSION

REDACTED

PUBLIC VERSION

PUBLIC VERSION

REDACTED

PUBLIC VERSION

PUBLIC VERSION

Key Number

xxxxx fits the door and electronic gate

xxxxx opens the door to the tool room

Access Card – unlocks all keypad readers

You will need a PSE xxxxx or access card to enter the facility – Note there is a Lock Box near the front door that a xxxx Key will open.  In the lock box is an access card as well as a key to the front door/Yard as well as the tool room.

Material

PSE maintains a trailer at our Kittitas facility, which will be used to carry Tools and materials needed in case of a gas emergency (see Material and Tool List Available at the Facility, page 8,9).

Map of Distribution and Supply System

See the following OP (Operations) maps:

264.230 (City of Thorp) 	268.230 (Dist Reg and svc center)

272.230	272.236	272.248	 272.254

276.230	276.236	276.242	 276.248 (gate station)

276.254 (City of Kittitas) 	280.230

280.236	280.242 (river crossing) 280.248	284.248	284.254 264.224 (Taneum creek crossing) 260.224 260.218 256.218 252.212  248.212 (CleElum river x’ing  and DR) 248.206 (Cle Elum) 248.200 (Suncadia resort) 244.200 248.194 244.194 (Tumble Creek resort)

Roles and Responsibilities of the Service Providers and others

PSE performs the installation of new customer construction on both residential and commercial gas services, as well as, gas system operation and maintenance. Infrasource Contractors (IFS) responds to breaks at the request of PSE Gas Dispatch.

###### Mutual Assistance Agreement City of Ellensburg:

PUBLIC VERSION

PSE has entered into a mutual aid agreement with the municipal natural gas utility at the City of Ellensburg.  In the case of emergency they can be reached through the following numbers.

City of Ellensburg natural gas (daytime)       xxxxxxxxxxxx

### Kittitas County 911 (dispatch after hours)    xxxxxxxxxxxx

xxxxxxxxxx City of Ellensburg Gas engineer	xxxxxxxxxxxx

Williams Pipeline:

xxxxxxxxxxxxxxx – Operations Technician

Cell		xxxxxxxxxxxx

Office	xxxxxxxxxxxx

Sat		xxxxxxxxxxxx

Material and Tool List Available at the Facility

Kittitas Emergency Supply

Equipment

# Weld Equipment

# Oxy/acetylene - One bottle each of oxygen and acetylene will be stored at the facility in the warehouse.

#### Equipment store on the trailer at PSE’s facility

Squeeze Tools:

4” and 6” PE Squeeze Machines and Hydraulic pump

Breathing Air:

4 – 1 hour bottles

4 – 5 min bottles

4 – large face masks

Electrofusion:

2”, 4” and 6” clamps

1 – 2500 watt generator

Electrofusion machine

Leak Clamps:

Full circle clamps - 2” by 12” long - two

Full circle clamps - 4” by 12” long - two

Full circle clamps – 6” by 12“ long - one

PUBLIC VERSION

Incidental equipment:

Wood plugs – variety of sizes

### Fire Extinguisher

### Tool Room Inventory:

Shoring: - in tool room

Three 24” spreaders and pump

Four - 4 X 4’ sheets of board (in PSE secured parking)

Four – 4 x 8’ sheets of board (in PSE secured parking)

Fusion:

2” and 4” plates facer etc.

Flagging:

Signs and standards – Available in PSE secured parking in area next to pre-tested pipe

Covered Storage next to covered parking:

Pre tested pipe 1¼”, 2”, 4” and 6” pipe.

Valve Keys

Backhoe

PSE does not maintain a backhoe at the Kittitas facility.  When a backhoe has been required one has been either rented from Potelco (who co-occupies the base) or United Rentals located in Ellensburg.

In the case of an emergency where a backhoe is required on site the following options are presented:

- The PSE electric shift operators at xxxxxxx or xxxxxxxxxxxxxx who regularly dispatch electric outage work to Potelco in Kittitas.  As such, they would notify Potelco of an immediate need for a backhoe and the location for it to be delivered.  If so specified, they could provide an IBEW operator as well.

PUBLIC VERSION

The City of Kittitas has an operator and hoe that can be used for emergencies within the city limits of Kittitas if they can be reached and the equipment is available. They can be reached at xxxxxxxxxxxx during normal working hours.  The operator’s name is xxxxxxxxxx.