Comparison of Levelized Cost of Energy, $/MWh

Market Purchase vs. Continued Operation of Naches

Base Case Expenditures

| Generation Scenario –MWhs/Year | Total Operating Cost | “Mid-C” Market Purchase Medium BASE CASE | “Mid-C” Market Purchase – High Case | “Mid-C” Market Purchase – Low Case |
| --- | --- | --- | --- | --- |
|  | A | B | C | D |
| BASE CASE (225 CFS limit) 27,393 MWhs/Year | 65.08 | 48.8 | 59.98 | 40.8 |
| High Case (125 CFS limit) 28,330 MWhs/Year | 62.93 | 48.8 | 59.93 | 40.82 |
| Low Case (300 CFS limit) 26,919 MWhs/Year | 66.23 | 48.8 | 59.89 | 40.78 |

Comparison of Levelized Cost of Energy, $/MWh

Market Purchase vs. Continued Operation of Naches

Reduced Expenditures

| Generation Scenario –MWhs/Year | Total Operating Cost | “Mid-C” Market Purchase – Medium BASE CASE | “Mid-C” Market Purchase – High Case | “Mid-C” Market Purchase – Low Case |
| --- | --- | --- | --- | --- |
|  | A | B | C | D |
| BASE CASE (225 CFS limit) 27,393 MWhs/Year | 46.58 | 48.8 | 59.98 | 40.8 |
| High Case (125 CFS limit) 28,330 MWhs/Year | 45.04 | 48.8 | 59.93 | 40.82 |
| Low Case (300 CFS limit) 26,919 MWhs/Year | 47.41 | 48.8 | 59.89 | 40.78 |

Comparison of Levelized Cost of Energy, $/MWh

Market Purchase vs. Continued Operation of Naches,

Base Case Expenditures

Minimum FERC Re-licensing Expenditures and Generation Impact

| Generation Scenario –MWhs/Year | Total Operating Cost | “Mid-C” Market Purchase – Medium BASE CASE | “Mid-C” Market Purchase – High Case | “Mid-C” Market Purchase – Low Case |
| --- | --- | --- | --- | --- |
|  | A | B | C | D |
| FERC BASE CASE (300 CFS limit) 26,919 MWhs/Year | 73.08 | 48.8 | 59.89 | 40.78 |

Comparison of Levelized Cost of Energy, $/MWh

Market Purchase vs. Continued Operation of Naches

Minimal Expenditures,

Minimum FERC Re-licensing Expenditures and Generation Impact

| Generation Scenario –MWhs/Year | Total Operating Cost | Market Purchase – Medium BASE CASE | Mid-C Market Purchase – High Case | Mid-C Market Purchase – Low Case |
| --- | --- | --- | --- | --- |
|  | A | B | C | D |
| FERC BASE CASE (300 CFS limit) 26,919 MWhs/Year | 53.69 | 48.8 | 59.89 | 40.78 |