0001

1                BEFORE THE WASHINGTON STATE

2       UTILITIES AND TRANSPORTATION COMMISSION

3   ---------------------------------------------------

4   RULEMAKING ADOPTION HEARING )

5                               )

6   Rulemaking to Review Rules  ) Docket UE-112133

7   for Interconnection with    )

8   Electric Generators.        )

9                               )

10       ______________________________________________

11                  PUBLIC HEARING - VOLUME I

12                        PAGES 1 - 126

13                    CHAIRMAN DAVID DANNER

14       ----------------------------------------------

15                       1:30 p.m. - 4:15 p.m.

16                        June 13, 2013

17           Washington Utilities and Transportation

18                          Commission

19                1300 South Evergreen Park Drive SW

20                            Room 206

21                        Olympia, Washington

22

23

24

25   Mary M. Paradise, CSR 2469

0002

1                        A P P E A R A N C E S

2

3   COMMISSIONERS:     David Danner, Chairman

4                      Philip B. Jones, Commissioner

5                      Jeffrey Goltz, Commissioner

6                      1300 S. Evergreen Park Drive SW

7                      Olympia, Washington 98504-7250

8

9   Also Present:      Ann E. Rendahl, Director Policy

10                        and Legislation, UTC

11                      Yochanan Z. Zakai, Policy

12                        Advisor, Policy and

13                        Legislation, UTC

14                      David Nightingale, CEM, Senior

15                        Regulatory Engineering

16                        Specialist, UTC

17                      Robert Cedarbaum, Attorney

18                        General's Office

19

20

21

22

23

24

25

0003

1               OLYMPIA, WASHINGTON; JUNE 13, 2013

2                             1:30 p.m.

3                               -oOo-

4

5                       P R O C E E D I N G

6

7           CHAIRMAN DANNER:  Okay.  Good afternoon.

8   It is June 13th, 2013, and we are here today for an

9   adoption hearing on a rulemaking to consider

10   standards for interconnection with electric

11   generators in Washington Administrative Code

12   480-108, and this is Docket UE-112133.

13           I'm David Danner, chair of the

14   Commission.  With me are Commissioners Philip Jones

15   and Jeffrey Goltz.  So why don't we just get right

16   into it.  Yochanan Zakai from Commission staff.

17           MR. ZAKAI:  Good afternoon, Chairman and

18   Commissioners.  My name is Yochanan Zakai, and I'm

19   a policy advisor with the Commission.  We're here

20   today regarding the adoption of rules on

21   interconnection to the electric system.  By way of

22   background, the Commission started this whole

23   discussion on distributed electric generation with

24   a study that was requested by the House Technology,

25   Energy & Communications Committee.

0004

1           This study was completed in October 2011,

2   and one of the recommendations in the study was

3   that we launch this rulemaking to consider

4   revisions to the interconnection rules.  The

5   Commission initiated this rulemaking in December of

6   2011, and a work group was formed to recommend

7   changes to the rule.

8           I'd like to take a moment right now to

9   acknowledge and thank all of the hard work that

10   members of that work group put in creating a set of

11   model rules.  These model rules were distributed in

12   July 2012, and we received comments on these model

13   rules, as well as three separate set of comments on

14   proposed rules that we distributed for feedback.

15           Based upon these comments, these model

16   rules and these drafts you have before you, a CR

17   102 version, as well as several minor modifications

18   which have been proposed to that, as indicated in

19   the strike-through in attachment A.  Overall, the

20   goal of these rules is to simplify and streamline

21   the application process for interconnecting

22   distributed generation with the electrical system.

23           The way that the model rules do that and

24   the way that our rules incorporate the model rules

25   suggestions are to establish a three tier procedure

0005

1   for connecting to the electric system.

2   Applications fall into the first tier if their

3   inverter based system is under 25 kilowatts, and

4   that is the quickest form of approval available in

5   the rules.

6           Under the second tier, projects up to 500

7   kilowats are eligible, and this form of approval is

8   available without costly or time-consuming system

9   impact studies.  The third tier, for projects up to

10   5 megawatts, provides procedures for the timing and

11   cost allocation of system impact studies for large

12   systems, as well as for systems which are proposed

13   to connect to circuits, which have already achieved

14   their capacity for distributed generation.

15           All the stakeholders agree that the rules

16   before you today represent an improvement, a

17   simplification and a streamlining of the

18   Commission's procedures.  I expect the stakeholders

19   here today will focus their comments on three

20   distinct issues.  The first will be the use of a

21   disconnect switch on inverter-based systems.  The

22   second is the rule's clarification of the

23   definition of interconnection customer, that an

24   interconnection customer may lease or purchase

25   power from a third-party owner of a net metered

0006

1   system.

2           And finally, I expect stakeholders here

3   today will comment on the Commission's jurisdiction

4   to regulate third-party owners as public service

5   companies.  I'd like to point out that we have a

6   court reporter here with us today, so when we have

7   a discussion of the Commission's jurisdiction, we

8   will have a transcript that we're able to cite to.

9   Accordingly, I'd like to remind all the parties to

10   please state their name at the beginning of their

11   presentations, as well as to speak slowly and

12   explain all acronyms.

13           I hope I have modeled this.  I ask each

14   company to provide the capacity of net-metered

15   systems connected to their electrical system right

16   now, and what the statutory -- what percentage of

17   the statutory cap that interconnection represents.

18           RCW 80.60 provides that this cap will

19   double on January 1st, 2014.  I have been informed

20   that representatives from PacifiCorp are available

21   on the bridge line to provide a response to the

22   information that I've requested, as well as to

23   answer any questions that you may have.  We also

24   have stakeholders who are signed up to make

25   comments as well.  I'm available to answer any

0007

1   questions you may have.  Thank you.

2           CHAIRMAN DANNER:  All right.  Are there

3   any questions for Mr. Zakai at this time?

4           COMMISSIONER GOLTZ:  No.

5           COMMISSIONER JONES:  No.

6           CHAIRMAN DANNER:  Okay.  Commissioners,

7   what is your preference on this?  We've basically

8   divided -- people have had signed in with regard

9   three issues.  First, the disconnect switch, the

10   clarification of the definition of interconnection

11   customer and how it applies to third-party

12   ownership, and then the third issue is the

13   jurisdictional question, does the Commission have

14   jurisdiction to regulate third-party owners.

15           We could break it down so we ask people to

16   come up and speak only to the disconnect switch

17   first, and then the other issues?  Is that okay, or

18   would you rather have people come up and speak to

19   all three?  It's okay either way?

20           COMMISSIONER GOLTZ:  Either one is fine.

21           CHAIRMAN DANNER:  I think my preference

22   would be, let's trifurcate this, so --

23           COMMISSIONER GOLTZ:  Is that a word?

24           CHAIRMAN DANNER:  Commissioner Goltz has a

25   dictionary.  So I think I would like to take it, if

0008

1   folks don't mind, let's start just -- let's break

2   it down issue by issue.  So we'll start with the

3   matter of the disconnect switch requirement, and

4   then if there are other issues besides the

5   disconnect switch and the third-party ownership and

6   the jurisdictional questions, we'll just sort of

7   save them until the end, and we'll have a wrap-up

8   on other issues that may arise.

9           So let's start.  David Meyer from Avista,

10   do you want to go first and talk about the

11   disconnect switch requirements?  Good afternoon.

12           MR. MEYER:  Good afternoon.

13   Commissioners, Mr. Chairman, my name is David

14   Meyer, and I am a vice president and chief counsel

15   for regulatory affairs for Avista Corporation.  And

16   as we work through this afternoon, we may need to

17   call on others that we've brought from Avista.

18           We have Linda Gervais here.  She is

19   manager of regulatory policy.  We have Patrick

20   Ehrbar, who is a manager of rates and tariffs;

21   Shawn Bonfield, a regulatory analyst, and John

22   Rothlin, who is a manager of Washington

23   governmental relations.  So to the extent we get

24   into legislative versus commission issues, or we

25   get into technical cost shifting issues, we're

0009

1   happy to volunteer what we know and speak to your

2   concerns.

3           CHAIRMAN DANNER:  Very good.  Thank you

4   very much.

5           MR. MEYER:  You bet.  So you'll see me

6   three times today, and this is the first, and

7   you'll --

8           COMMISSIONER GOLTZ:  Can we consider that

9   allocation?

10           MR. MEYER:  Last offer.  The first two

11   issues, I'll be very brief on, because there really

12   doesn't remain controversy with respect to Avista's

13   position on the first two issues.  Although -- and

14   I do wish to express my appreciation for the

15   workmanlike job that the Commission and the parties

16   have done in this rulemaking process.  It's been

17   quite a -- quite a process.  As I've acquainted

18   myself with it more so in the last few weeks, I've

19   come to realize a lot of work, good work has been

20   done.

21           So with respect to the external disconnect

22   switch, after further discussions within the

23   company, we've determined that the Commission

24   should not require such a switch for the tier 1

25   customers.  We believe we can -- and we understand,

0010

1   in the process, of course, that rule, as written,

2   provides for the Washington Department of Labor &

3   Industries to also assess the situation, and so

4   there is that -- that measure of reassurance or

5   comfort that they will step in, if need be.

6           We think we can manage our way through it

7   either by doing work at the transformer or by

8   pulling the meter, but we can make this work.  And

9   enough said, I suppose, on that first issue.  Thank

10   you.

11           CHAIRMAN DANNER:  All right.  Well, thank

12   you.  Any questions for Mr. Meyer?  Okay.  Bob -- I

13   can't read your last name -- Guenther?

14           MR. GUENTHER:  Guenther.

15           CHAIRMAN DANNER:  Guenther.

16           MR. GUENTHER:  And I'm going to defer to

17   Lou, all right?  Lou Walters.

18           CHAIRMAN DANNER:  Okay.

19           MR. GUENTHER:  Thank you.

20           CHAIRMAN DANNER:  Thank you.  Mr. Walter?

21           MR. WALTER:  Thank you.

22           CHAIRMAN DANNER:  Mr. Walters, or is it --

23           MR. WALTER:  No, it's Walter.  German, not

24   French -- or English, I should say.  I hope that

25   hasn't dissuaded or caused me any difficulty.

0011

1   Thank you, Commissioners.  I appreciate the

2   opportunity to come down here and give testimony on

3   this.  I represent the International Brotherhood of

4   Electrical Workers, Local Union 77.  We represent

5   approximately 7,000 utility workers in the state of

6   Washington, Northern Idaho and Northwest Montana.

7           This is a very important issue to us, and

8   what we want to state is that, you know, in

9   electrical work, what we're seeing, that if we do

10   not have a disconnect switch, we're actually

11   allowing safety of the workers, or the people that

12   are determined to do the work, to be subordinate to

13   the technology.

14           And I know that the industry will come in

15   and talk about the ability of this, to isolate and

16   to read and to understand when the energy from the

17   utility is somehow interrupted, that this will

18   isolate the generation facility so that it will not

19   be what we call backfeed onto the system.  Which

20   means they can provide -- if -- if the inverter

21   fails, it can provide electrical potential on the

22   system and while workers are working on it.

23           Avista is correct when they talk about one

24   thing, and that is that if it's a primary system,

25   we can isolate through the transformers, the

0012

1   cutouts, those kind of things, if we have to do

2   work.  What we're interested in is on the secondary

3   surface between the transformer and the customer.

4   The Avista comment was that you can use the

5   disconnect as -- the meter is a disconnect.

6           Unfortunately, even though that does --

7   those practices are out there, the industry, the

8   meter manufacturers are not going to say that's

9   okay, because they're going to say their meters are

10   not made to be able to pick up or interrupt load.

11   And if they do fail, it can be quite catastrophic.

12           Again, in every situation we talk about

13   within the state of Washington where we have

14   workers who work on electrical systems or other

15   systems which have sources of energy which could

16   cause them injury or harm, there is a way to either

17   lock out, tag out, open disconnect, where we have

18   assurance that there is no way for that backfeed

19   situation to come in and cause injury or fatality

20   to one of our members or the utility's employees.

21           The other factor, when I'm taking a look,

22   is that we want to make sure that, you know, none

23   of this stops or alleviates the employers to meet

24   their general duty and responsibility under

25   OSHA/WISHA rules to provide a safe workplace from

0013

1   all known hazards.  And everybody would admit the

2   possibility of backfeed is a known hazard.  The

3   standard performance from Labor & Industries, as

4   far as I'm aware of, has been open disconnect in

5   some procedure or policy to be able to assure that

6   the energy has been disconnected, and no way can

7   provide a hazard to the people who need to work on

8   it is -- has always been the standard of an open

9   disconnect where you can take a look and visibly

10   see that the system is disconnected.

11           Inverters are usually -- you know,

12   depending on the particular installation, they're

13   -- they're inside the residence or the customer's

14   property, and that makes it very difficult.  And in

15   any case, about all you're going to get is maybe a

16   light indicator, but you're not going to be able to

17   see if the system is actually physically

18   disconnected.

19           In looking at that, you know, there's two

20   things.  It's a new technology.  It relies on

21   microprocessing to be able to separate the

22   circuit.  It's, again, something that we don't --

23   at least our performance standard has been that

24   does not satisfy our need to have a safe

25   workplace.  So we would really urgently or ask

0014

1   indulgence on the part of the Commission that they

2   do include that -- that performance standard with

3   regard to disconnect.

4           The other thing is those disconnects, when

5   you take a look at putting a solar project on to

6   your house, you're taking a look at maybe a

7   significant amount of capital to be invested in

8   that, but yet, when you -- you know, the disconnect

9   switch is very inexpensive compared to that.  It's

10   maybe a 3 or $400 piece of hardware to apply to the

11   system.  When we get into the larger ones, most of

12   these utilities already ask for that, 10 KW and

13   above or 5 KW and above in larger services, they

14   already provide those disconnects.

15           The potential is exactly -- the hazard is

16   the same regardless if you're talking about the

17   size, because you're talking about the exposure to

18   the hazard of electricity or voltage.  I'd just be

19   repeating myself after this.

20           CHAIRMAN DANNER:  And the court reporter

21   was able to get that all down?  Great.

22           MR. WALTER:  Thank you very much.

23           CHAIRMAN DANNER:  Thank you.  Are there

24   questions for Mr. Walter?

25           COMMISSIONER GOLTZ:  No.

0015

1           CHAIRMAN DANNER:  Okay.  Actually, I did

2   have a question, Mr. Walter.

3           MR. WALTER:  Yes.

4           CHAIRMAN DANNER:  In California, they do

5   not -- have not required disconnect switches, and

6   that's been for some time.  Have they been having

7   problems down there, that you're aware of, or how

8   do they deal with it?

9           MR. WALTER:  I don't know, unless it's

10   anecdotal.  But I'm going to say this about other

11   jurisdictions.  I think at the time that we were in

12   the stakeholders workshop, I was told from the

13   industry, we've got about 160,000 of these

14   installations in the country throughout the United

15   States.

16           CHAIRMAN DANNER:  Installations?

17           MR. WALTER:  Installations of the

18   inverters, and so on.  There's -- you know, there

19   is no ability to be able to -- at this point,

20   they're brand new.  The issue is going to be -- I'm

21   sure the technology, you know, has some ability to

22   work.  So we don't have any data, but what we're

23   saying is from the standard of exposure to the

24   hazard, and not that we hurt anybody yet, but the

25   exposure to the hazard, we say that we want the 100

0016

1   percent fail-safe, and that's the disconnect.

2           If you take a look at those instances, we

3   don't -- the other thing is there's no requirement

4   for the customer, when he installs these, to

5   maintain.  There's no testing requirement that I'm

6   aware of.  You know, so if you said -- and the box

7   sits there and it doesn't have to activate for five

8   or ten years, doesn't mean that it's going to be

9   like it was the day they took it out of the box --

10   you know, installed it and tested it at that

11   point.

12           So there's a lot of criteria on this that

13   is not in place or not going to be required, and I

14   don't think the industry is proponing that they

15   should have these testing standards out there and

16   maintenance standards.  So we just say, we don't --

17   let the customer do what they want, give us the

18   disconnect, and we can go to work and repair

19   whatever we need to do.

20           CHAIRMAN DANNER:  Thank you.  Commissioner

21   Goltz.

22           COMMISSIONER GOLTZ:  Yes.  Thank you.  So

23   regarding the Washington Department of Labor &

24   Industries, as I understand your testimony, this

25   could become a requirement -- there could be a

0017

1   requirement from L&I, either through a specific

2   requirement for an external disconnect switch or

3   through application of the general duty clause?

4           MR. WALTER:  Yes.  It would be the general

5   duty clause, which doesn't alleviate the employer

6   the responsibility for a safe workplace.

7           COMMISSIONER GOLTZ:  Right.  So my -- but

8   it also could be a specific thing?  There could be

9   a specific requirement from L&I as well, correct?

10           MR. WALTER:  Yes.  What -- what they would

11   do in that -- and I don't want to speak for L&I.

12           COMMISSIONER GOLTZ:  Right.

13           MR. WALTER:  Okay.  If -- if you're

14   looking at that, what they would say is there's

15   certain ways to -- the safe workplace is more of a

16   performance standard, and there's many ways that

17   you can achieve that.  In these kind of cases, it's

18   usually a disconnect point, an open disconnect that

19   provides that.  I can't speak for what L&I -- what

20   kind of ruling they would have on that.

21           COMMISSIONER GOLTZ:  I guess what I'm

22   wondering is, has your organization been in contact

23   with L&I about this issue in this context?

24           MR. WALTER:  I think everybody has, and

25   good luck with that, but that's fine.

0018

1           COMMISSIONER GOLTZ:  Okay.  And one more

2   question.

3           MR. WALTER:  I know that's going to cost

4   me dearly.

5           COMMISSIONER GOLTZ:  We do have a court

6   reporter here, you understand.  We used to use a

7   tape recroder.  But to implement the general duty

8   clause, is there a process at L&I, that you're

9   aware of, where you would go to L&I and say, hey,

10   look -- assuming we don't require an external

11   disconnect switch for the lower -- the first

12   tier --

13           MR. WALTER:  No.

14           COMMISSIONER GOLTZ:  -- is there a process

15   for which you would go to L&I and say, hey, wait a

16   second, these are unsafe, take some action?

17           MR. WALTER:  What we would do is we would

18   demand from the employers that they make their duty

19   -- their general duty clause one -- see, here's one

20   of the problems.  We know that we have these out

21   there.  I go talk to servicemen, you kow, the

22   utility workers.  They have no idea where these

23   locations are.  Some -- some -- I'm being told

24   that, yes, they have that.

25           The first thing is that, you know, if I'm

0019

1   an employee out there, I think the employer has the

2   responsibility to tell me where these are.  And

3   then, you know, the second piece, whether there's a

4   disconnect or not a disconnect, they have to come

5   up with a policy and procedure that provides myself

6   with a safe workplace.  And they have to train me

7   to that.  You know, these are things are out there

8   already, and none of that, that I'm aware of, has

9   happened.

10           COMMISSIONER GOLTZ:  Thank you.

11           MR. WALTER:  And I don't know if that

12   answers your question or not.  Thank you.

13           CHAIRMAN DANNER:  All right.  Any

14   questions?  All right.  Thank you, very much,

15   Mr. Walter.  All right.  Dave Warren from

16   Washington PUD Association.

17           MR. WARREN:  Thank you, Mr. Chairman.  I

18   am Dave Warren, director of energy services for the

19   Washington PUD Association.  And for the record, I

20   must state I'm very reluctant to come to the podium

21   in front of you.  I've resisted this for ten years,

22   and --

23           CHAIRMAN DANNER:  Is that part of the UTC

24   doesn't regulate public power thing?

25           MR. WARREN:  Something along those lines.

0020

1           COMMISSIONER GOLTZ:  That's the only

2   reason we have the court reporter here today.

3           MR. WARREN:  Well, I've fallen, and my

4   record is no longer pure.  Thank you, Mr. Chairman

5   and members of the Commission.  We -- I also appear

6   here today as one of the four co-chairs of the

7   interconnection standards work group.  You're aware

8   of this, we -- we did this procedure five, six,

9   seven years ago.  We submitted comments to you in

10   this docket to re-create what we did.  I look

11   around the room and notice I'm only the only

12   co-chair here in attendance.  So I might have

13   something to the other four or other three --

14           CHAIRMAN DANNER:  Who were the other

15   co-chairs?

16           MR. WARREN:  Pardon?

17           CHAIRMAN DANNER:  Who were the other

18   co-chairs?

19           MR. WARREN:  Richard Damiano, who is the

20   chief engineer from Inland Power & Light; Tom

21   DeBoer from Puget Sound Energy, and Jason Keyes,

22   from Interstate Renewable Energy Council.

23           CHAIRMAN DANNER:  Thank you.

24           MR. WARRNE:  And we wrestled with this

25   issue.  As you know now, both public power and your

0021

1   rules require that disconnect switch.  We

2   specifically formed a technical subcommittee to

3   look at this.  We got all the utility engineers in

4   the room, and advocates, and -- and skeptics, and

5   they spent a lot of time on this issue.  We really

6   looked hard.

7           As one of my managers said, when I brought

8   up to our membership, he said, remember, the reason

9   these are required in the first place is because

10   lives were lost before they were required.  And

11   after a lot of deliberation, and hearing about the

12   California experience, we asked and looked for

13   studies on these to see if the data was out there

14   on the failure rates of these inverters.  We were

15   not -- nobody was able to produce any.

16           We acknowledge, however, that this is a

17   coming technology, and it is being deployed, and

18   there are performance data out there on these, and

19   as we begin to collect them, we'll get a better

20   idea of it.  And we also realize that we're going

21   to have to deal with these protective devices as we

22   electrify.

23           So the consensus -- not unanimous, but the

24   consensus was that we would recommend in the model

25   rule that the utility have the option to require

0022

1   this.  And the reason for that is, as Mr. Walter

2   said, we have staff protection and safety.  We also

3   have a lot of very smart engineers that are looking

4   at this.  And as the utilities become more familiar

5   with the actual performance, as we see failure

6   rates, or not, of the inverters over the long term,

7   then we'll begin to get more comfortable with its

8   technology.

9           And as we do so, some utilities who have

10   more solar and have more of these on their system

11   may get more familiar more quickly and get to trust

12   these, and then -- and then agree.  And they will

13   also know their customers better and know which

14   ones are going to inspect and test their inverters

15   on an annual basis, versus the ones, that as

16   Mr. Walter said, might ignore them for ten years

17   and then they're going to be expected to perform.

18           The other consideration we have is that

19   often, in these circumstances, these line crews are

20   out there in very extreme weather conditions, and I

21   can't imagine what it's like being out there

22   working around electricity, but we certainly

23   respect the people that do, and to add this

24   question and a hazard to them, we thought it was

25   just premature at this time to completely remove

0023

1   it.

2           So we thought it was a good first step

3   forward to go from requiring it in all

4   circumstances to utility option, as we get familiar

5   with the technology, as we start to see some

6   studies on failure rates and long term performance,

7   we could ease back more and more.  And so that's

8   where the work group came down, and that's where we

9   came up with the utility option.

10           I know a lot of my members are reluctant

11   right now to adopt a rule, and as you know, we will

12   take your deliberations and your final product,

13   incorporate it into the model rule, and then send

14   it out to the public power governing boards.  They

15   will probably be reluctant to release all

16   requirements for it, but I think they will want to

17   look at it case by case.  So in the name of sort of

18   standardization, we would ask that you put the

19   utility option back in, but we realize that you're

20   going to -- going to --

21           CHAIRMAN DANNER:  Put it in all three

22   tiers?

23           MR. WARREN:  Well, no, put the utility

24   option in tier 1.  Don't remove the requirement

25   entirely, but put it optional, so as we become

0024

1   familiar with these inverters and their

2   performance, we're going to pull back more and more

3   on the requirement to have the disconnect as we we

4   get to rely on these inverters and know they're

5   going to perform over the long term as well as over

6   the short term.  And that's it.  And know the

7   customers who are installing them as well.

8           So I can see gradually, the disconnect

9   will become rarer and rarer for tier 1, but we

10   didn't want to remove the requirement entirely

11   right now, or the option for the utility to require

12   it.

13           CHAIRMAN DANNER:  Thank you.  Are there

14   questions for Mr. Warren?

15           COMMISSIONER JONES:  Yes.  Yes, just a

16   couple.  Dave, I find it a little hard to believe

17   that you couldn't find any studies with -- on this

18   issue of failure of inverters.  You know, these are

19   UL 1741 certified systems, so UL or one of the

20   engineering bodies or IEEE, or certainly, some of

21   the utilities in California, I would think, would

22   have some sort of data on failure rates and how

23   deployment has been.

24           MR. WARREN:  And we requested that the

25   proponents of removing the requirement on tier 1

0025

1   projects produce some of these studies.  They

2   weren't able to, as I recall.  Now, I may be

3   corrected, and there may have been some references

4   to studies, but our engineers, at least, were not

5   comfortable that there was a body of data yet, that

6   we would want to risk the safety of the line crews

7   that are out there.  So -- but we acknowledge it's

8   coming and that those studies will -- will be out

9   there, will be produced, and this technology will

10   become more and more reliable.

11           COMMISSIONER JONES:  And that at least for

12   tier 1, you do recognize the substantial advances

13   in technology that's been made in the last four,

14   six, eight years.

15           MR. WARREN:  They have been made.  They

16   are -- they are progressing along.  We've also got

17   utilities -- among my members, for instance,

18   Klickitat PUD is almost at a half percent net

19   meter.  They have a lot of these systems deployed.

20   I have other members with one, maybe two

21   net-metered facilities.  So there is different

22   levels of comfort, as well as long term actual

23   performance data within their -- within their

24   utility.

25           So each utility, I think, becomes familiar

0026

1   with the technology and is able to rely on it, and

2   their -- the staff, the line crews as well, as they

3   learn to trust the technology as the performance

4   comes.  I think we'll -- we'll ease into it.  We

5   just didn't feel it was time yet to completely rely

6   and trust inverters yet, when our people's safety

7   is at stake.

8           COMMISSIONER JONES:  Okay.

9           CHAIRMAN DANNER:  Any other questions for

10   Mr. Warren?

11           COMMISSIONER GOLTZ:  No.

12           CHAIRMAN DANNER:  Okay.  So that was the

13   first step on the slippery slope towards full UTC

14   regulation of the PUDs.

15           MR. WARRNE:  Was that the form of a

16   question?

17           CHAIRMAN DANNER:  It was a joke.  It was a

18   joke.

19           COMMISSIONER JONES:  I would like to hear

20   from those experiences of Klickitat County PUD, for

21   the record.  No, that's a joke.

22           CHAIRMAN DANNER:  All right.  Moving on.

23   Tim Stearns from Commerce.  Good afternoon.

24           MR. STEARNS:  Commerce would like to be

25   regulated by the UTC, and I'm happy to say that.

0027

1           CHAIRMAN DANNER:  I'll discuss it with

2   Mr. Bon later tomorrow.

3           MR. STEARNS:  We're sending him to Paris

4   Friday.  You would have to talk to him then.

5   Chairman Danner, Past Chair Goltz -- I don't

6   remember what your title is now, Mr. Jones.

7           COMMISSIONER JONES:  President.  Just call

8   me president.

9           MR. STEARNS:  I've been running a project

10   for the last -- the past year called the Evergreen

11   State Solar Partnership, and it's one of 22

12   projects around the country trying to move towards

13   standardizing and streamlining four areas;

14   permitting, interconnection, planning, zoning,

15   signing and financing.

16           And part of the goal is to see if the

17   United States can accelerate deployment of solar in

18   this country, but also dramatically reduce the

19   costs, about three-quarters is the goal.  And we've

20   seen evidence from Germany and others that by

21   standardizing the streamlining, it's possible.  But

22   we all recognize we're a different democracy than

23   Germany, Spain, Japan, that is much more kind of

24   top down, and these 22 projects, I think, represent

25   trying to do it from the grassroots up.

0028

1           And I will say that DOE listened to that.

2   So what's the question here?  Commerce isn't going

3   to tell you to require a disconnect switch or not,

4   but I'd more ask a question of how do we develop

5   good policy in this safety area?  We all agree our

6   linemen, line people ought to be safe, and I know

7   when they're out in terrible weather, we want them

8   to be safe.

9           But the real question is, what's the best

10   way in time to intervene?  Is it a policy?  Is it

11   at training?  Is it at rules that require labeling,

12   mapping, equipment?  Is it that emergency procedure

13   level?  And I have to tell you that, you know,

14   Commerce -- I've been dealing with electric cars,

15   bio fuels, I must admit that the largest group of

16   complaints I've ever dealt with are generators.

17           Any time there's that power outage, a

18   bunch of nitwits go out and buy a generator, and

19   they put them in their garage, they hook them up

20   with jumper cables, they do crazy things.  So I

21   guess I would try to put out or ask the question to

22   the Commission, as we go through this -- I mean, I

23   don't have any problem or any question about

24   whether we all ought to wear a belt, suspenders,

25   coveralls and be in the dark so that we don't have

0029

1   any excess exposure, but to suggest that no --

2   there have been no studies of this or no other

3   states -- California has done an extensive list of

4   what inverters and their performance levels.

5           You know, we mention that in the

6   proceeding, and I -- I must admit, I did not

7   provide the internet links.  I must admit that,

8   also, when we talked with California utilities to

9   ask them about their experience, they said it was

10   really not that big a deal, that they had worked it

11   through with their -- with their crews.  And

12   recognize, all these inverters are UL approved.

13           So one of the questions I guess I'd like

14   to submit with -- with the Commission to think

15   about is, where in the supply chain or value chain

16   are we smartest to intervene?  And as much as I

17   understand the utility option notion, it continues

18   to create a fragmented marketplace.  So over time,

19   I think it's an issue, you know, we're going to be

20   back on talking about distributed generation, I'm

21   hoping, about every three years, about every time

22   we deal with building codes, and the technology is

23   going to change.

24           But one of the questions I would ask you

25   about, in regards to this issue, is the dialogue we

0030

1   had was really too anecdotal.  There was no data

2   gathered of historical experience in Washington,

3   and if we're going to have the conversation again

4   in three years, let's have some requirements for

5   gathering data so that we can make decisions that

6   are informed.

7           Thank you, and good luck, and I guess I

8   would finally just praise that I do think the rules

9   are a good step forward.  Do they go as far -- far

10   enough, fast enough?  Probably not, but I think the

11   dialogue we had was quite valuable.  But I think it

12   was also a little bit loose, and I will tell you

13   that last summer, getting installers to participate

14   did not happen.

15           It's the peak of their season.  You know,

16   the sales tax was coming to expire, so it really

17   wasn't as representative of a body as I would like

18   to have that dialogue.  So just think of that as

19   food for thought as we set up informal work groups

20   in the future.  Thank you.

21           CHAIRMAN DANNER:  Thank you.  So

22   Mr. Stearns, are you asking for reporting

23   requirements to be included in the rules?

24           MR. STEARNS:  We urge two -- two things in

25   our previous comments.  One was setting up some

0031

1   type of reporting or data structure.  I must admit

2   that with our budget and the agency, we didn't

3   volunteer to be that repository.  You know, we

4   would like to see the Commission think about

5   setting up a common structure and have utilities

6   provide it, and then we could certainly play a role

7   in aggregating and analyzing it at the end.

8           And I will say that even what we do under

9   the production incentive system right now provides

10   us a lot of data.  How much -- how many -- how many

11   things were -- how many systems were installed,

12   generally by county or utility, but to protect

13   private -- privacy, we mostly do that on

14   aggregation, but we don't get down to the specific

15   widget.

16           And I will also say, one of the other odd

17   things is if we've had inverter problems, I will

18   say the largest inverter problems we continue to

19   have have been communication ones, where these are

20   supposed to be able to provide you information over

21   another system, part of which you regulate and part

22   of which you don't.  So part of it is I just -- you

23   know, we do need quality control across the board.

24           And let me just say that linemen are --

25   line people are important.  I don't know what our

0032

1   right term is, but line people, but we need safety

2   and quality across the whole value chain.  I mean,

3   I don't really want to have a shut-off to protect

4   one group of people and then have people install

5   junk in their houses that creates other problems.

6   So we just need to figure out how to have that

7   quality and safety across the whole value chain.

8           CHAIRMAN DANNER:  All right.  Thank you.

9           MR. STEARNS:  Thank you.

10           CHAIRMAN DANNER:  Are there questions for

11   Mr. Stearns?

12           COMMISSIONER JONES:  No.

13           CHAIRMAN DANNER:  All right.  Thank you

14   very much.  So that is the comments on discorrect.

15   Oh, PacifiCorp is on the bridge line.  Is there

16   anything that you would like to add to this

17   discussion?

18           MS. WINKE:  Yes.  Hi, this is Mary Winke

19   for PacifiCorp.  We don't have anything specific to

20   add with respect to the disconnect switch.  We have

21   been pleased with our --

22           (Interruption by the court reporter.)

23           CHAIRMAN DANNER:  Let me be the go-between

24   here.  Can you pick it up after "we have been

25   pleased"?

0033

1           MS. WINKE:  I'm sorry, can you repeat

2   that?

3           CHAIRMAN DANNER:  Yes, the court reporter

4   asked if you could -- if you could resume after you

5   said "we have been pleased."

6           MS. WINKE:  We have been pleased with

7   working with staff on developing these rules, and

8   we are comfortable with how they are developed and

9   how they are being proposed, and so we don't have

10   any specific comments at this time on the

11   disconnect switch issue.

12           CHAIRMAN DANNER:  All right.  Thank you

13   very much.  Before we leave this issue, I would

14   like to give an opportunity for folks to respond to

15   other -- other comments they have heard.  So

16   Mr. Meyer, is there anything you want to respond?

17           MR. MEYER:  Nothing further.

18           CHAIRMAN DANNER:  Mr. Walter?

19           MR. WALTER:  Yes, I do have one comment.

20   Lou Walter, IBEW Local 77.  I do agree that when

21   we've participated in the stakeholder, it was -- it

22   was a good -- it was a good opportunity, and we

23   talked about these issues.  A lot of things -- we

24   don't have skin in the game, obviously, but this

25   disconnect, we do.  One of the things that brought

0034

1   up, you know, that we talked about was that -- two

2   things.

3           When the customer puts the inverter in,

4   and I'm a worker working for the utility, and the

5   inverter fails and I'm harmed at some point, does

6   that create a break in the covenant with regards to

7   third-party suits?  Does that -- is the person who

8   has the converter that failed and caused the injury

9   to the utility worker then subject to potential

10   litigation by the worker?

11           And if you look at the cost ratio and what

12   it can prevent, I've just got to insist that I

13   think the disconnect, if you talk to a customer and

14   you're selling the customer on a 25,000, $30,000

15   installation, that when they see a 3 or $400

16   disconnect can alleviate of that lot of that

17   exposure, I think that's a good investment.

18           Again, Dave talked about from the PUDs,

19   they're looking at the optional system.  We're just

20   saying we want to make sure we have a safe

21   workplace for the people that I represent.  And I

22   do agree with Commerce, that you can take a look at

23   the total aspect of the industry, you will -- I

24   mean, whether communications and the -- the thing

25   that I know the Commission should be familiar with

0035

1   is another technology, the automated meter reader.

2           Okay.  And we have a tremendous amount of

3   failures, of actual physical failure of those

4   meters that some of the utilities that I represent,

5   and also, their failure to be able to even

6   communicate or to be properly interrogated.

7   Technology is a wonderful thing, but at some point

8   in time, you need to have some sort of physical

9   disconnect so we do not expose that energy source.

10           Thank you for the opportunity to get up

11   here and talk to you again.

12           CHAIRMAN DANNER:  Any questions for

13   Mr. Walter?  All right.  All right.  Is there

14   anyone else who wants to speak on this subject?

15   All right.  Then we are going to move on to the

16   next question, should the Commission clarify the

17   definition of interconnection customer -- should

18   the Commission clarify that the definition of

19   interconnection customer does not include a third-

20   party owner of a net-metered system.

21           So once again, Mr. Meyer for Avista.

22   Welcome back.

23           MR. MEYER:  Glad to be back for round

24   two.  Thank you.  My comments here, as well, will

25   be brief, but before I answer that question, let me

0036

1   furnish the information that Yochi had asked for

2   and the Commission had asked for, in terms of the

3   number of net-metered interconnections we have on

4   our system.  And these were -- thank you, Linda,

5   for supplying this.  This is not just lawyer math

6   at work here.

7           System-wide, Washington and Idaho, we have

8   196, 80 percent of which, approximately, are

9   solar.  The balance consists of wind, or some

10   combination of solar and wind.  In the state of

11   Washington, of that 196, we have 159

12   installations.  Of the 159 installations, tier 1

13   installations are 113.

14           Let me translate all of this into the cap

15   and the megawatts.  The current statutory cap,

16   until the changes come January '14, is .25 percent

17   of our peak demand in 1996.  That is 3.8 megawatts

18   for Avista.  The installed capacity, based on the

19   number of installations I gave you, is .786

20   megawatts, meaning that we have used approximately

21   21 percent of the cap.  Understand, the cap is

22   going to double come January 1 of '14.  So

23   hopefully, that gives you some perspective on this.

24           CHAIRMAN DANNER:  Thank you.

25           MR. MEYER:  Now, to answer your -- your

0037

1   question, should the -- should the Commission

2   address ownership of net-metered systems in this

3   docket?  Yes, it -- it should.  And I want to

4   reiterate at the outset, Avista does not oppose

5   third-party ownership of facilities.

6           Now, we do, of course -- the hope is that

7   as we promote this technology, there's a level

8   playing field, and that at some point, the

9   utilities themselves, in some fashion, may be able

10   to participate on an even footing, but we do not

11   oppose third-party ownership.

12           And to -- to remove confusion, I agree

13   with the comments expressed in the -- the matrix

14   that the rulemaking -- this rulemaking is the

15   appropriate place to address third-party ownership,

16   essentially, because there are no other net

17   metering rules in which to do it.

18           We're comfortable that the added

19   definition of third-party owner, as well as the

20   definition proposed in the rules of interconnection

21   customer, will get the job done.  So with that, we

22   are in agreement with the proposed rules.

23           COMMISSIONER JONES:  Mr. Meyer.

24           CHAIRMAN DANNER:  Thank you, Mr. Meyer.

25   Okay.  Mr. Jones.

0038

1           COMMISSIONER JONES:  I think the second

2   question was the definition of interconnection

3   customer and third-party owner in the definitional

4   section.

5           MR. MEYER:  Yes.

6           COMMISSIONER JONES:  So are you -- are you

7   comfortable with both those definitions?

8           MR. MEYER:  We are.

9           COMMISSIONER JONES:  And under third-party

10   owner, there is a prohibition, as I read it, on

11   retail wheeling, is there not?

12           MR. MEYER:  Yes, it -- words to the effect

13   of "shall not resell."

14           COMMISSIONER JONES:  And I would assume

15   that you would support that?

16           MR. MEYER:  We would, most certainly.

17           COMMISSIONER JONES:  Yes.  And on

18   interconnection customer, there is some red-lined

19   version from the previous version, but I think the

20   last sentence says, a net-metered interconnection

21   customer may lease a generating facility, that's

22   new, from or purchase power from a third-party

23   owner of an on-site generating facility.  So that

24   would encompass both a lease arrangement or a PPA

25   arrangement.

0039

1           MR. MEYER:  And we understand that to be

2   the case, and we are comfortable with that.  I will

3   address that distinction, to the extent it exists,

4   when we talk about the regulatory authority of this

5   Commission.

6           COMMISSIONER JONES:  Okay.  Thank you.

7           CHAIRMAN DANNER:  Thank you.  Any

8   questions?

9           COMMISSIONER GOLTZ:  No.

10           CHAIRMAN DANNER:  All right.  Thank you

11   very much.  I am again challenged here.  Thad

12   Culley from the Interstate Renewable Energy

13   Council.  Good afternoon.

14           MR. CULLEY:  Good afternoon, Mr. Chairman

15   and commissioners.  My name is Thad Culley.  I

16   apologize for my bad handwriting.  It runs in my

17   family.

18           CHAIRMAN DANNER:  Actually, it's

19   relatively good.

20           MR. CULLEY:  Thank you.  I'm here on

21   behalf of Interstate Renewable Energy Council, and

22   at Jason Keyes' request, who said I might be able

23   to pass for him if I got a haircut and acted

24   charming.

25           IREC supports the clarification of

0040

1   interconnection customer and would urge the

2   Commission to take this opportunity to connect the

3   dots with the net metering statute and the order.

4   IREC participates with the Vote Solar Initiative,

5   the Network For New Energy Choices in publishing

6   each year a grade of net metering and

7   interconnection standards for all 50 states.

8           Now, currently, there's a point added for

9   states that allow third-party ownership, or as we

10   stated, are presumed to allow.  Washington, with

11   its current net metering language, gets that point

12   for the word user of a net metering system.  So

13   IREC suggests this is an opportunity to connect the

14   dots and to clarify within the -- the definition of

15   interconnection customer, that the reference to RCW

16   80.60.010 to clarify that user also explicitly

17   includes third-party owned systems.  So that --

18   that is IREC's only -- only request on this point.

19           CHAIRMAN DANNER:  Okay.  Are there

20   questions for Mr. Culley?

21           COMMISSIONER JONES:  Which -- which part

22   of the rule are you referring to?  Which

23   definition?

24           MR. CULLEY:  All right.  I seem to have

25   pulled the wrong -- here we are.  So -- so this

0041

1   would be interconnection customer definition.

2           COMMISSIONER JONES:  Yes.

3           MR. CULLEY:  Subpart B.

4           COMMISSIONER JONES:  Okay.

5           MR. CULLEY:  And instead of changing any

6   language in the rule itself, we would just ask to

7   have a clarifying -- maybe a conclusion of law that

8   what is referred to in 80.60.010 is consistent with

9   the definition here.

10           COMMISSIONER JONES:  I see.  Okay.  Okay.

11   Thank you.

12           MR. CULLEY:  Okay.  Thank you.

13           CHAIRMAN DANNER:  Okay.  So let me ask

14   you, when you're talking about a point -- my wife

15   is a community college teacher, so when she talks

16   about points and grades, they're often different.

17   Is a point a grade, or does a point move us from a

18   D to a D plus?  I mean, what is a point?

19           MR. CULLEY:  The latter is the case.  It

20   -- it can play a part in moving the state from a C

21   to a B, which of course, there's -- there's grief

22   to be had if -- if we're on the wrong side of that

23   and we've made the wrong call.  So we're happy to

24   report there's a plus one for Washington.

25           CHAIRMAN DANNER:  Thank you very much.

0042

1           MR. CULLEY:  Thank you.

2           CHAIRMAN DANNER:  Okay.  Michael O'Brien

3   from RNP.

4           MR. O'BRIEN:  Good afternoon, Chairman,

5   Commissioners.  My name is Michael O'Brien, and I

6   work for Renewable Northwest Project.  I hope you

7   can understand my accent.  We support the proposed

8   inclusion of the rules of the various definitions

9   of third-party ownership.  We feel that they

10   complement the existing statutes to say the net

11   metering customer is the user rather than the owner

12   of a facility.  And all parties that I have heard

13   agree on it, that the net metering relationship is

14   between the utility and the customer generator, not

15   necessarily a third-party owner who either leases

16   the system or provides a PPA.

17           Now, as you have heard, Washington

18   currently has a cap of .25 percent of the 1996 peak

19   demand available for that metering.  After hearing

20   from the utilities, they're only reaching a

21   fraction of that so far.  Now, this is already

22   quite a low cap compared to other states, if

23   they're not managing to reach.  And as net metering

24   expands, many of the issues that you'll hear

25   throughout the state, we'll call on and will get a

0043

1   grip on them and discuss them.

2           In mature solar markets, where there is

3   the clarification that the third-party does not

4   fall under the jurisdiction of the state's

5   Commission, in terms of setting rates, et cetera,

6   third-party ownership counts for 80 to 90 percent

7   of the solar installations, and that idea we

8   figured.  So you can see how we're talking about 10

9   percent taking up the opportunity now, and so you

10   can see that there's a big gap.

11           And the data suggests that those people

12   who are taking up third-party ownerships, in terms

13   of PPAs, power purchase agreements, or leases,

14   they're from medium to lower income households.  So

15   this is part of making solar and the benefits of

16   net metering more accessible to the -- to everyone

17   in the community.

18           I'd like to point out that I'm very glad

19   that the Washington PUD Association is here,

20   because they have a solar system on top of their

21   headquarters here in Olympia, and they have a net

22   metering relationship that they enjoy with PSC.

23           Not everyone is fortunate enough to have

24   their solar panels donated to them by the industry

25   for -- so my colleagues will speak to community

0044

1   organizations and not-for-profits, and these people

2   on lower incomes who also want to be able to take

3   advantage of this.

4           Therefore, as I said, we agree with the

5   definitions, the proposed definitions and the

6   rulemaking, but we'd like to add that as you define

7   what a third -- an interconnection customer is, and

8   bring in the definition of third-party, that a

9   further clarification is needed over whether they

10   are a public service company and fall underneath

11   your jurisdiction.

12           As without that clarification, which my

13   legal colleagues will speak to, these companies

14   can't enter this state in any great level, as the

15   risk that regulation by you -- regulating a private

16   company is too great for them.

17           Thank you.  And I'm available to answer

18   any questions on the third-party ownership model or

19   any concerns on consumer protection that other

20   people might bring up, or existing contracts that

21   have been offered in other states.

22           CHAIRMAN DANNER:  I appreciate that.

23   Questions?

24           COMMISSIONER GOLTZ:  Yes.  Thank you.  So

25   of the third-party owners that you say constitute

0045

1   80 to 90 percent of the distributed generation

2   market --

3           MR. O'BRIEN:  In mature solar markets.

4           COMMISSIONER GOLTZ:  So I read that to be

5   California.

6           MR. O'BRIEN:  It's not just California.

7   It's also Massachusetts, Colorado and Arizona.

8           COMMISSIONER GOLTZ:  And what's the

9   business model in those states, those 80 to 90

10   percent?  How many are the -- is the equipment

11   leased by the third-party or to the property owner,

12   and how many is, in effect, purchased?

13           MR. O'BRIEN:  I don't know the exact

14   figures, but my intuition would tell me that it's

15   postly power purchase agreements.  And that's

16   because with a power purchase agreement, it means

17   that if you were a customer generator, say, you

18   might be a not-for-profit, you might be retired and

19   have a low income, or you might just be on a low

20   income, therefore, you can't monetize sufficiently

21   the federal investment tax credit of 30 percent.

22           So the third-party company comes in, and

23   comes along, takes the money, and that means -- I

24   mean, takes the tax credit -- sorry.  And that

25   means it can offer a lower PPA, which means the

0046

1   market opens up to more people.  But in terms of a

2   lease or PPA or buying outright, ultimately, we're

3   all talking about net metering systems, and it

4   depends on the individual circumstances.

5           COMMISSIONER GOLTZ:  So as I understand

6   what you're saying, that the choice -- actually,

7   some that are just leasing equipment and some that

8   enter into a PPA?

9           MR. O'BRIEN:  Some offer both.

10           COMMISSIONER GOLTZ:  Right.  Or both.

11           MR. O'BRIEN:  One or the other.

12           COMMISSIONER GOLTZ:  One or the other.

13   Okay.  Is it possible -- but are you saying that

14   the choice there is driven, in part, by federal tax

15   policy?

16           MR. O'BRIEN:  And your own personal

17   financial circumstances.  You may want to take

18   advantage of the investment tax credit yourself.

19   So with a PPA, you -- the -- the third-party owner

20   often provides a guarantee of the amount of

21   generation you'll get over a year, which gives them

22   an incentive to give you good equipment, and you

23   pay for the kilowatt hours that are produced.  Some

24   people like -- might enjoy that model.  Other

25   people might prefer to lease the equipment, and

0047

1   therefore, pay a fixed amount every month.

2           COMMISSIONER GOLTZ:  So this is another

3   question, if you know this.  I know that in some

4   lease arrangements just for property, sometimes the

5   least amount, in a general commercial lease, can be

6   a flat amount per month, or it can be a variable

7   amount, depending on how profitable the business

8   is.

9           So by that analogy, are there arrangements

10   whereby the homeowner or the business owner leases

11   the property, but the lease rate is determined, in

12   some part, by the amount of electricity it

13   produces?

14           MR. O'BRIEN:  That may be the case with

15   some companies, but for the companies that I can

16   speak to, I -- they -- it's a fixed, as far as I'm

17   aware, lease for the length of the contract, that

18   being 15 or 20 years, depending on what they want

19   to enter into.

20           COMMISSIONER GOLTZ:  Okay.  Thank you

21           CHAIRMAN DANNER:  Any other questions?

22           COMMISSIONER JONES:  No questions.

23           MR. O'BRIEN:  Thank you, Commissioners.

24           CHAIRMAN DANNER:  Mr. O'Brien, thank you

25   very much.  Lynne Dial from the Northwest Energy

0048

1   Coalition.  Good afternoon.

2           MS. DIAL:  Good afternoon.  My name is

3   Lynne Dial, and I'm a policy associate with the

4   Northwest Energy Coalition.  I'm going to try to

5   keep my comments brief, because I think it's going

6   to be pretty similar to a bunch of other

7   stakeholders that you're going to hear today.

8           We support the clarification of an

9   interconnection customer definition to include

10   third-party ownership.  We do think it drives and

11   democratizes a lot of solar ownership -- sorry,

12   solar use in mature markets.  And we think that

13   there's precedent for this in the intent section of

14   the net metering statute, which states that it is

15   in the public interest to encourage private

16   investment in renewable energy sources.

17           And we would just like to provide more

18   choices for customers, since it does seem to

19   provide access for more people.  And in particular,

20   community solar groups are having a really

21   difficult time right now with the lack of clarity,

22   because they're technically third-party owners

23   themselves, and if they can't sell the power back

24   to their host on government sites, they can't take

25   advantage of these tax credits, and it makes things

0049

1   more difficult for them.

2           We would just like to see the rules work

3   better, and this is a very limited and good first

4   step.  It doesn't address production incentives,

5   which most of these don't qualify for anyway.  The

6   net metering caps are still in place, but we feel

7   that this could really drive investment and growth

8   in our state, and we would like to see it.

9           CHAIRMAN DANNER:  Questions for Ms. Dial?

10   All right.  Thank you very much.  And Linda Irvine

11   from Northwest SEED.

12           MS. IRVINE:  Good afternoon, Chairman and

13   Commissioners.  My name is Linda Irvine.  I am a

14   project manager at Northwest Sustainable Energy for

15   Economic Development, and I have a sense of deja

16   vu, because I think it was two years ago, I spoke

17   at a UTC hearing about the very issue of third-

18   party ownership as it relates to community solar in

19   the state of Washington.

20           And in preface, I'd just like to say that

21   Northwest SEED supports the rules as they are

22   proposed, especially the clarification on the

23   definition of an interconnection customer, because

24   this affirms what's already in the law, that an

25   interconnection customer is a user of a net metered

0050

1   system.

2           And I'd like to give you just one example

3   of how this clarification could help further

4   community solar in Washington.  Northwest SEED

5   provides technical assistance to groups that like

6   -- would like to develop community solar, and the

7   legislature acknowledged the value -- or endorsed a

8   form of third-party ownership when it created the

9   Community Solar Incentive that allows customers to

10   band together, fund installations on local

11   government property and collect a production

12   incentive.

13           So Northwest SEED was involved with a

14   group on Whidbey Island.  36 people pooled their

15   money, went to the bank to say, can we get a loan

16   to build a bigger system on the Port of

17   Coupeville.  And the bank said, well, what's your

18   income?  They said, we've got this great production

19   incentive.  It's really great.  And they were,

20   like, yes, but that's not guaranteed.  You're

21   relying on Olympia to make sure you have that every

22   year.  So it wasn't bankable.

23           So we couldn't get a loan.  And then we

24   said, hey, but we could sell the power to the -- to

25   the port, and then we would have a bankable stream

0051

1   of income.  We were told that if we sold power to

2   the host, we could be subject to regulation by the

3   UTC as a utility, as a public service company.  And

4   so not wanting to take that risk, we ended up

5   building exactly what we could afford with our own

6   funds.

7           But that's just one example of how a

8   clarification would help community solar groups to

9   find a bankable source of income, and thereby,

10   increase their financing and build larger

11   projects.  Of course, we would ask that you take

12   the further step of clarifying that these third-

13   party owners are not subject to UTC regulation as a

14   utility.

15           And I would like to point out that under

16   current law, community solar is the only third-

17   party model in Washington that is eligible for

18   state incentives.  So other residential third-party

19   systems would not be eligible for state incentives,

20   so a clarification would not drastically change the

21   market right away.  It would, instead, move us

22   incrementally toward a regulatory environment where

23   customers have more options for financing

24   distributed generation.  So thank you.

25           CHAIRMAN DANNER:  All right.  Are there

0052

1   questions for Ms. Irvine?

2           COMMISSIONER JONES:  No.

3           CHAIRMAN DANNER:  All right.  Thank you

4   very much.  Okay.  Mr. Warren.  I took to heart

5   Mr. O'Brien's comments and just know that as soon

6   as we start regulating you, we will ask you to put

7   a solar panel up.

8           MR. WARREN:  Thank you, Mr. Chairman.  I

9   appreciate that.  For the record --

10           CHAIRMAN DANNER:  And again, for the

11   record, I'm joking.

12           MR. WARREN:  And for the record, I know

13   he's joking.  And for the record, at the time we

14   installed that 34 kilowatt system on top of our

15   headquarters, it was the third largest solar

16   project in the state, and with that, we are very

17   proud.  And yes, it was donated, but no, it did not

18   buy any influence.

19           So I'm not sure where to start here, but I

20   guess I'll start with the Chair's question about

21   the original definition.  And when I first read the

22   interpretation that the definition of customer

23   generator in the net metering statute refers to the

24   user of the net-metered system, and I think the

25   Commission's approach was to parse that to say that

0053

1   doesn't say it's the owner.

2           And then I got to thinking back -- and for

3   a little bit of a caveat, in the '90s, I was

4   executive director of another state's commission,

5   and was an advocate of the net metering rule at the

6   time we adopted net metering by rule.  So I'm

7   somewhat familiar with the development of the whole

8   concept, and I supported it at the time, and our

9   membership is not opposed to it.

10           But when you look at the statute, which

11   was passed in 1998, the term that is being defined

12   is customer, hyphen, generator.  Now, maybe people

13   with more of an English background than this

14   engineer could parse that, but to me, a hyphenated

15   noun is a single entity.  And by re-interpreting

16   user, rather than looking at the -- the purpose of

17   the term being defined, customer-generator, it

18   doesn't say customer or generator.  It says

19   customer-generator.  They're one and the same.

20           The net metering was always proposed as a

21   little more than a hobby, that an owner of a

22   premises putting a facility on their premises to

23   offset their load.  It was never about a business

24   model for somebody to come in as a third-party

25   owner to sell electricity to that person.  So I --

0054

1   I would -- I guess I would ask maybe some

2   consideration about the term customer-generator.

3   That's a single entity.  It's not two.

4           And by re-interpreting user to say it

5   doesn't have to be the owner, you have now -- there

6   are now two entities on the other side of the

7   meter.  The customer, which is both the

8   interconnection customer and the utility customer,

9   and the generator, who is now a separate entity,

10   and who sells power to the utility customer.

11           And to me, that's where the whole issue

12   revolves around in this interpretation, and by --

13   by interpreting that definition the way the

14   proposed rules do, that opens up the whole third-

15   party issue.  If you go back to the customer-

16   generator as a single entity that owns their

17   facility, they are the generator and the utility

18   customer, then this whole issue really should not

19   be dealt with, independent of whether or not -- and

20   we don't think this issue should be dealt with in

21   these rules, because these are technical rules.

22           And we had this discussion, again, in the

23   work group, and we decided, because third-party

24   ownership was a policy issue, not a technical

25   issue, that that was not appropriate to deal with

0055

1   them in these rules.  But fast forward, if -- if

2   the Commission does intend to go forward with this

3   definition -- and I'm not sure which is question

4   two and three, and which I'm supposed to address on

5   the trifurcated time I come up here -- did I get

6   that right, Mr. Chairman?

7           CHAIRMAN DANNER:  You'll be up again.

8           MR. WARREN:  Okay.  But we now, because if

9   the Commission goes forward with this and opens the

10   door to third-party ownership in these

11   interconnection rules, and then further, I think,

12   the rules propose that the utility police the

13   resale of electricity, or prohibit the resale,

14   well, I would ask you to consider, these third-

15   party owners will be serving our customers as

16   well.  You don't have the jurisdiction over us to

17   force us to police -- or prohibit the resale of

18   electricity.

19           So in essence, you're turning 55 percent

20   of the customers and 60 percent of the load in the

21   state out there for third-party owners to not be

22   policed on resale.  I would ask you to consider

23   that as well.  We now have -- in addition, this is

24   a new business model, that we'll be using subsidies

25   from our ratepayers, because it's only in net

0056

1   metering that this is addressed, not in all

2   instances in these rules.

3           Net metering takes subsidies from our

4   other customers.  So this is now a new business

5   model under a net metering statute that I don't

6   believe was ever written to include this, but that

7   now uses subsidies from our customers to make their

8   business plan whole.  And the rest of this tax

9   issue, I know somebody earlier dealt with, it's not

10   only investment tax credit, which a homeowner can

11   take advantage of, it's also accelerated

12   depreciation, which a homeowner cannot take

13   advantage of.

14           So those are sort of the boundaries around

15   this.  We do think, if you are going to move

16   forward, as we put in our written comments, and I

17   would ask you to look back at those, that you

18   consider the other consumer protection issues that

19   you normally regulate as an electric company,

20   because it's not just rates.

21           And I think -- but if you do that in this

22   rule, we would ask that you expand it to include

23   those issues as well, without just opening the

24   door.  We would prefer, if you're going to go

25   forward in this, to open a net metering rule.  I

0057

1   notice your staff comments in the matrix, so this

2   is the right rulemaking.  Because we don't have a

3   net metering rule, we would suggest this is complex

4   enough and multi-layered enough that we would

5   request you open a net metering rule and deal with

6   it there, and let's have a debate about what that

7   definition means and what level of regulation is

8   appropriate.

9           We're not necessarily saying they need to

10   be regulated as a full electric utility, but the

11   way I read the statute -- and remember, it's an

12   engineer, not an attorney reading it, but with 20

13   plus years in the legislative and regulatory

14   arenas, it seems to me we're trying to fit a square

15   peg in a round hole by -- by only interpreting user

16   as not meaning owner, and yet, not looking at

17   customer-generator.  And that opens the door.

18           So I don't know if I got to question two

19   that you wanted answered, and I have a chance at

20   question three, or if I should keep going, or -- or

21   where do you  want to parse this, Mr. Chairman?

22           CHAIRMAN DANNER:  Well, I'll leave it to

23   you.  The question about the Commission's

24   jurisdiction to regulate third-party owners as

25   public service companies is going to be the next

0058

1   one, so I'll leave that one subject.

2           MR. WARREN:  So did I cover, then, this

3   question that I think the definition in whether or

4   not it should be dealt with in this rule?

5           CHAIRMAN DANNER:  I think -- I think so.

6   Any other questions?

7           COMMISSIONER GOLTZ:  Well, so you say,

8   let's have a debate and different rulemaking.  What

9   facts, what arguments haven't we heard yet?

10           MR. WARREN:  Well, kind of --

11           COMMISSIONER GOLTZ:  It seems to me that

12   the -- this issue has been debated all along in

13   this rulemaking.  It's covered within the scope of

14   this, in -- in general terms.  So -- so what

15   besides delay would punting this to a new

16   rulemaking accomplish, when my reading of state

17   law, in general terms, is the legislature has

18   always wanted agencies to clarify things.

19           MR. WARREN:  Right.

20           COMMISSIONER GOLTZ:  And clarify things

21   somewhat promptly.  So I kind of am reluctant to

22   say we'll do that later, when it's obvious -- it

23   seems to me, one way or the other, there is a need

24   for some sort of interpretation of this statute.

25           MR. WARREN:  Well, in going back to -- you

0059

1   said this has been fully deliberated in this

2   proceeding.  The work group decided not to deal

3   with it.  We did not deliberate it.  Public power

4   did not deliberate it, the public power members of

5   that, and its impacts on public power.

6           You know, Klickitat, who co-signed our

7   comments on this, who has the highest percentage

8   penetration in the metered facilities in the state,

9   I think, and they're almost at a half percent

10   already.  They're very open to it.  They have very

11   strong concerns about third-party ownership and

12   what it -- what it will do.

13           So I don't think, from the public power

14   perspective and its impact on our customers and the

15   subsidies that would come from our customers in

16   that business model have really been fully

17   deliberated.  And I think it does now have an

18   impact.  Your actions have an impact on our

19   customers, and so I -- I -- I mean, we -- we're

20   going to have a discussion on it, my energy

21   committee, in two weeks about these impacts.

22           So I don't agree that it's been fully

23   vetted, and I think if you're going to go forward

24   with this -- and as you know, there was a bill to

25   remove third-party ownership from UTC

0060

1   jurisdiction.  So I do believe you have

2   jurisdiction, and I think it -- it's -- it's very

3   incomplete the way it's treated here.

4           And if you're going to go forward in this

5   rulemaking, which I acknowledge you may, then we

6   would request -- and maybe that's question three,

7   and we can deal with it, that you deal with the

8   rest of the issues that are out there in the

9   regulatory structure that's around this.

10           COMMISSIONER GOLTZ:  So your argument is

11   basically that the term customer-generator

12   implicitly means owner of equipment?

13           MR. WARRNE:  My argument was that

14   customer-generator, as a definition, is a -- is a

15   single term and refers to a single entity.  By --

16   by -- by looking at the word user, by saying that

17   the word user does not say owner, the customer-

18   generator, it's a hyphened term.  It's one entity.

19   It's not two.

20           The customer is the utility customer, and

21   in development of this law and the rules in the

22   '90s around these issues, and as you know, it was

23   in front of a lot of commissions and legislatures,

24   it was always looked at as the utility customer was

25   going to install rooftop solar -- that was

0061

1   typically what it was -- on their rooftop.

2           This new business model of third-party

3   owners is only coming in -- I guess another

4   question I would ask of all the 22 states, or

5   however many that are referred to that have this,

6   how many of those took legislative changes to open

7   the door.  That hasn't been discussed, and we think

8   -- we think you have the ability, if not the

9   obligation to regulate them at this point.

10           And in our comments, we put the rates,

11   terms, conditions of service, facilities,

12   properties, those sorts of things.  These are very

13   complex.  They're putting, in essence, a lien on a

14   homeowner's house, and we think those sorts of

15   issues, and consumer protection issues, need to be

16   dealt with, if you're going to do it in this rule.

17           COMMISSIONER GOLTZ:  But if I -- if I

18   wanted to put solar on my rooftop and be a net

19   metering customer, you're saying it's just fine if

20   I go out and I buy the equipment and install it?

21           MR. WARRNE:  I believe that was the intent

22   of the original --

23           COMMISSIONER GOLTZ:  What happens if I --

24   what happens if I say, oh, wow, this is expensive,

25   I can't afford to buy it, I'll lease it.  Does that

0062

1   -- does that make any difference?

2           MR. WARREN:  Well, I noticed in the

3   definition of electric company in 80.01 or 80.04,

4   it says, anybody that sells electricity or their

5   lessee, so I'm thinking -- and I have that in my

6   comments, and I thought that was question three,

7   but that -- that actually, in a lease arrangement

8   under my strict reading of the statute -- and I

9   have deliberately stayed away from interpreting the

10   statutes, but in the strict reading of that, does

11   that bring homeowner in as an electric company,

12   because they're the lessee of a seller of

13   electricity.

14           COMMISSIONER GOLTZ:  My question, though,

15   is, is that if you're saying that -- that the

16   customer-generator has to own the equipment, are

17   you, therefore, saying that the homeowner, like me

18   or you, wants to go out and lease the equipment,

19   that you can't -- then you aren't eligible for net

20   metering?

21           MR. WARREN:  It seems to me that the value

22   of the transaction to the lessor, in that case, is

23   the sale of electricity.  The generation and

24   production and sale of electricity when cash

25   changes hands, whether it's on a per kilowatt hour

0063

1   basis or on leased equipment.  It's the generation

2   of electricity which is covered in your statute.

3           COMMISSIONER GOLTZ:  So if the -- instead

4   of the people that donated and gave you the solar

5   panels just said here, why don't you just use them,

6   and we'll take them back after 20 years, you

7   wouldn't be eligible for net metering then?

8           MR. WARREN:  No cash changed hands.  The

9   donation -- we took ownership immediately.

10           COMMISSIONER GOLTZ:  I know that.  I'm

11   just --

12           MR. WARREN:  We may have even given them a

13   dollar.  I don't know.

14           COMMISSIOER GOLTZ:  It's a new

15   hypothetical.  I'm just saying, what if the solar

16   manufacturer said, instead of giving you the

17   property outright, they said, we'll give you --

18   almost as good, we'll give it to you for 20 years,

19   we'll loan it to you for 20 years at no charge,

20   we're giving it to you for 20 years, at the end of

21   that, we'll take it back.  So you would not own

22   those solar panels.  You're saying that you're not

23   eligible for net metering?

24           MR. WARREN:  Under your scenerio, I

25   believe we would own the -- the homeowner would own

0064

1   the solar panels, right, because you gave it to

2   them?

3           COMMISSIONER GOLTZ:  No, I'm saying all

4   the -- Washington PUD Association, whoever gave you

5   those solar panels, instead of giving them to you,

6   they said, we'll loan them to you.  They're still

7   ours.

8           MR. WARREN:  Right.

9           COMMISSIONER GOLTZ:  The solar

10   manufacturers say they're still ours, but we're

11   going to loan them to you, or maybe charge you

12   rent, for a penny a year for 20 years, and now, you

13   aren't the owner.

14           MR. WARREN:  Well, in that case -- again,

15   interpreting your statute, but also, the underlying

16   premise of that metering is once -- if cash didn't

17   change hands, that triggers a different regulatory

18   scheme than if it does.  Similar to net metering.

19   If -- and this was -- I think it went to FERC in a

20   couple of court cases, and it's a declaratory order

21   -- I've got it in here.  I can give you the

22   reference, but net metering was given to the states

23   -- FERC tested this, but was given to the states to

24   regulate, because they are a seller of electricity,

25   but no cash changed hands at the end of the billing

0065

1   cycle.

2           If cash changes hands, that generator is a

3   seller of electricity, and they sold to the

4   utility, and therefore, they're a reseller of

5   electricity, subject to FERC jurisdiction.  As long

6   as cash did not change hands, then the states had

7   jurisdiction.  And in your scenario, I believe,

8   under your statutes, it says generation for hire.

9   So once -- once --

10           COMMISSIONER GOLTZ:  I'm not talking about

11   jurisdiction.  I'm just saying, are you -- can you

12   be a customer-generator if you don't -- if you

13   lease the panels, or they're loaned to you, or --

14   as opposed to just buying them?  So you don't --

15   PUD Association, assume you don't own those

16   panels.  They're owned by someone else, but you --

17   they just loaned them to you.  Okay?

18           MR. WARREN:  Okay.

19           COMMISSIONER GOLTZ:  Or you leased them

20   for 20 years.

21           MR. WARREN:  Okay.

22           COMMISSIONER GOLTZ:  Can be a customer-

23   generator, even though you aren't the owner of the

24   plant.

25           MR. WARREN:  I think, if I understand your

0066

1   scenario correctly, it would revolve around a for

2   hire in the definition of electric company.  If

3   there was no cash changed hands, it would not be

4   for hire.  If it was just loaned and then given

5   back.  If it was cash changed hands, then it would

6   be for hire, and I -- I think that's where it would

7   revolve around.

8           COMMISSIONER GOLTZ:  On the jurisdictional

9   question?

10           MR. WARREN:  Right.  And then that

11   triggers the electric company, because they were

12   generating for our own generating plants for hire.

13           COMMISSIONER GOLTZ:  I may take this up

14   later.  Go ahead.  I'm done.

15           CHAIRMAN DANNER:  Mr. Jones, do you have

16   any questions?

17           COMMISSIONER JONES:  No.

18           CHAIRMAN DANNER:  Nor do I.

19           MR. WARREN:  Thank you, Mr. Chairman.

20   It's tough debating with a well seasoned attorney.

21           CHAIRMAN DANNER:  Okay.  Mr. Stearns.

22           MR. STEARNS:  Hello again.  I'm Tim

23   Stearns, senior policy specialist with Washington

24   Department of Commerce.  Your job, why are we

25   giving you these august positions is to

0067

1   periodically make us all unhappy, and that's a good

2   thing.  I think markets work better when they're

3   structured and when you -- when presidential

4   candidate Mitt Romney stated that regulation was

5   good for business, it was necessary, I think he --

6   he made me smile.

7           And being a bureaucrat, that normally

8   we're pilloried for being in the way, I think

9   creating clarity is one of the best things that we

10   can do.  Now, I will say I'm not a lawyer or an

11   engineer, and certainly not a strict

12   constructionist.  What I think the Commission can

13   do is help make -- bring maturity to this

14   situation.

15           Now, Congress unintentionally kind of

16   forced a business model change on you, to an

17   interesting degree, that -- I mean, never before

18   have I really seen other than with cars, but in

19   this the market, it introduced the notion of

20   depreciation.  Most of the installers that we have

21   don't own them, they don't get to accelerate

22   depreciation.  Only businesses.  So that began to

23   attract investors, and I think the worst thing you

24   could do is to punt, because ambiguity does create

25   problems.

0068

1           You didn't create this game board, but I

2   think you can bring some maturity to it.  Because

3   it's at least four-sided, and frankly, I think it's

4   foolish for us to forum shop, whether we hope that

5   FERC will rescue us or that we can start another

6   rulemaking, or the legislature.  I would call on

7   the Commission to provide that clarity, and if the

8   legislature wants to clarify it again, they can.

9           But I think you're the technology

10   specialists and -- you know, my -- my fear is that

11   we'll -- we have a cart with all our -- there's a

12   driver, milk that's going to spoil, a map, and the

13   longer we wait, we don't solve anything, we just

14   create ambiguity.  So this is about -- and I -- I

15   would be the first to go and say that one of the

16   most challenging issues of this whole distributed

17   generation question, all the way up to 20

18   megawatts, is you're being asked to rethink the

19   business model based on technological capabilities.

20           I mean, we recognize the discomfort of the

21   utility being the generator, transmitter,

22   distributor up to the meter and, you know, how do

23   we cross information and power.  I think the

24   biggest thing that the Commission can do is to

25   provide clarity.

0069

1           The last thing I will say is I wouldn't

2   have, a year ago, said I thought this was a great

3   idea, because I don't like Wall Street coming in to

4   solve problems.  I don't think they solve

5   problems.  I think they pick my pocket.  But in

6   this case, we have seen that it has so

7   substantially changed the market, and I think, to a

8   degree, for the good.

9           I mean, I'm not going to pledge and say

10   that I think SolarCity or SunRun are angels.  What

11   I do think they do is they provide an aggregation

12   that we've never had that creates enough systems

13   that can be maintained, that can bring costs down,

14   and can provide aggregation that utilities can plan

15   around.

16           Because I think the worst thing that

17   you're going to have is -- I would hate to be a

18   utility that would have every one of my customers

19   put on some different generator and not be able to

20   plan around it.  So then I'm expected to be able to

21   back it up or to provide service, because I can't

22   rely on these, and I certainly can't keep track of

23   all of them.  So I would urge you to continue with

24   clarity.

25           And one thing that I would say that came

0070

1   out of our discussions last summer was, as I

2   pondered the agony of Pacific Power, I would like

3   to ask them, well, which jurisdiction did it

4   right?  And they kind of said, well, that's the

5   last thing we're going to say, but I just wish they

6   would do it all right the same.  And so I would

7   urge you, and since we have President jones here,

8   we could do it all right together.  Thank you.

9           CHAIRMAN DANNER:  All right.  Wait,

10   Mr. Stearns.  Are there any questions for

11   Mr. Stearns?

12           MR. STEARNS:  I ought to run before any

13   questions.

14           CHAIRMAN DANNER:  Mr. Jones.

15           COMMISSIONER JONES:  Just on the

16   definition, Mr. Stearns, of interconnection

17   customer and third-party owner.  So you agree with

18   these definitions?

19           MR. STEARNS:  I think it's a good step

20   forward.

21           COMMISSIONER JONES:  Good step forward.

22   Okay.

23           MR. STEARNS:  Are they perfect?  We aren't

24   here to tell you what's perfect.  I don't want the

25   perfect to get in the way of the good or better.

0071

1   And frankly, I have a new administration that I

2   work for, and they haven't totally thought through

3   all these issues as well.  So it would be premature

4   for me to tell you what's perfect.

5           COMMISSIONER JONES:  I'm not asking for

6   the perfect.  I'm just saying, for this step, is it

7   adequate?  I mean, interconnection customer.

8           MR. STEARNS:  No, I -- I would say that --

9   you know, I'd quote what philosopher Garrison

10   Keillor, and I would say it's above average.  It's

11   what we all want.  No, it's a good step forward.

12   Thank you.

13           COMMISSIONER JONES:  Any comment on third-

14   party owners?  Do you think this is -- since we're

15   talking kind of at a higher level now, at this

16   wonderful policy level, if we do allow these rules

17   to go forward and third-party companies come into

18   the state, do you think -- I think it was the

19   person from RNP said that, probably, the

20   predominant business model would be a power

21   purchase agreement and not a lease arrangement.

22   Would that be your view, that PPA's would kind of

23   be the lead?

24           MR. STEARNS:  I think they would -- I

25   think that would probably be the most common, but

0072

1   -- you know, my -- my view of public policy, or the

2   reason I like public policy, and when I watch

3   those -- you know, the foolish lemmings that went

4   first, I always like to look and see what they did

5   and see, how do we catch the benefits and avoid the

6   problems?

7           I can assure you that some of our in-state

8   manufacturers and in-state installers are

9   uncomfortable with the large third-party players.

10   So with the Evergreen State solar partnership, we

11   convened a session to talk about third-party, as

12   much as anything, to go and say, okay, that's a

13   model we can adopt that others have done, or we can

14   build our own better model.

15           And that's part of what I want to provoke,

16   is let's do what keeps the benefits.  One of the

17   things that makes me the most uncomfortable about

18   what I've seen in Arizona, Colorado, California is

19   full disclosure.  It's, I don't know what -- if the

20   customer really knows what the choices are.

21           I will say Snohomish PUD, which is one of

22   our best solar programs, they offer both a low

23   interest loan and a rebate.  Most of their

24   customers, when given the choice, say, gee, I'll

25   take the rebate, because that lowers the cost of

0073

1   the overall system, and I'll find the other

2   financing.  But if you're low income or you're, you

3   know, less income -- and I don't know that

4   everybody is low income, but I think, you know,

5   people that have kids that are saving for college

6   or health care or other stuff, they're just not in

7   a position to do that.

8           So -- so I think that's where the -- the

9   work is.  My hope is that over the next year, the

10   administration will put forward a better production

11   incentive program or other way to fix that side of

12   the equation, but I think you guys would do us all

13   a great service by clarifying this one.  So make us

14   all mad and do that periodically, about every three

15   years.  Thank you.

16           CHAIRMAN DANNER:  Thank you.  No

17   questions?  All right.  We're going to go onto the

18   third question now.  Excuse me.  PacifiCorp, or

19   anyone else on the bridge line have comments on the

20   question of third-party ownership?

21           MR. ANDERSON:  No specific comments on

22   third-party ownership.  We do agree that there

23   should be some thought put into oversight.  We're

24   not sure that that's necessarily your

25   responsibility, but that it's -- you know, some

0074

1   consumer protection oversight, just to make sure

2   that there is no shady dealings, if this becomes a

3   large model in Washington, it would be appropriate,

4   but we don't have an opinion on where that's

5   properly housed.

6           CHAIRMAN DANNER:  Okay.  Could you

7   identify yourself, please?

8           MR. ANDERSON:  I'm sorry, Eric Anderson

9   with PacifiCorp.

10           MR. ZAKAI:  And their capacity, for the

11   record?

12           CHAIRMAN DANNER:  Mr. Anderson, what is

13   your position with PacifiCorp?

14           MR. ANDERSON:  I'm the customer generation

15   manager.

16           COMMISSIONER GOLTZ:  This is Commissioner

17   Goltz, and I think that question we got from our

18   staff is sort of -- we got it from Avista already,

19   but we wanted to hear the -- how you're going in

20   approaching your cap.  What is your current cap,

21   and where are you now in approaching that cap?

22           MR. ANDERSON:  Yes, this is Eric Anderson

23   again.  And in Washington, we currently have 110

24   systems installed for a total capacity of 785

25   kilowatts.  Under the cap, our cap would be 2.275

0075

1   megawatts, so we're at approximately 35 percent of

2   our cap currently.

3           COMMISSIONER GOLTZ:  Of the 110 systems,

4   do you have a breakdown as to -- are they all

5   solar, or whether they're tier 1?  Can you tell the

6   tier 1s on that?

7           MR. ANDERSON:  They are 99 percent solar.

8   We have one wind, small wind system.

9           COMMISSIONER GOLTZ:  Okay.  I think that's

10   all we need.  Thank you.

11           CHAIRMAN DANNER:  All right.  Is there

12   anyone else on the bridge line who wants to talk

13   about third-party ownership?  Okay.  Then we're

14   going to move on to the third of our subjects,

15   then.  Does the Commission have jurisdiction to

16   regulate third-party owners as public service

17   companies?  Mr. Meyer.  Mr. Meyer, you're up

18   again.  You're not going to read that whole pile,

19   are you?

20           MR. MEYER:  I was hoping if I stall long

21   enough, you would exercise your jurisdiction to

22   call a break.

23           CHAIRMAN DANNER:  Actually, that was a

24   discussion we had.  We were supposed to break at

25   3:00 -- we were supposed to be done at 3:00

0076

1   o'clock, but --

2           COMMISSIONER GOLTZ:  A break will be fine.

3           CHAIRMAN DANNER:  Do you want to take a

4   break?

5           COMMISSIONER GOLTZ:  Yes, five minutes.

6           CHAIRMAN DANNER:  Five minutes.  And then

7   you can decide what in that pile you want to talk

8   about.

9                    (A short recess was then taken.)

10           CHAIRMAN DANNER:  All right.  We are

11   back.  It is 10 after 3:00.  We were supposed to

12   end at 3:00, and we are now getting to the third

13   and final issue.  We will go as long as we need to,

14   but I ask that you try and get out of here by 4:00

15   o'clock, if we can.  So Mr. Meyer.

16           MR. MEYER:  Thank you, and thank you for

17   the break.

18           CHAIRMAN DANNER:  Thank you.

19           MR. MEYER:  We are making progress here.

20   This is, from a lawyer's perspective, of course,

21   the more interesting question to debate or discuss,

22   and I'll save you the suspense.  I'm going to give

23   you the short answer, and then I'm going to circle

24   back to the longer answer.

25           The short answer is that, in my view, in

0077

1   the view of Avista, this Commission does not have

2   the authority to regulate whether it's structured

3   as a lease or as a PPA.  And I'll explain myself in

4   a minute.

5           I want to reiterate, though, at the

6   outset, as I did before, we are not opposed to

7   third-party development of solar.  We agree with

8   the proposed rules.  We're in favor of renewables,

9   but we are also stewards of our customers.  And I

10   understand this rulemaking is not about cost

11   shifting or cross-subsidization, but that is going

12   to be an important element to consider so we send

13   the right, accurate and fair price signals to

14   customers who either lease or acquire through a

15   PPA.

16           And I would urge the Commission that when

17   it completes this step, and I think it needs to get

18   on this with step, that it, in some fashion through

19   some proceeding, address the -- the entire issue in

20   the basket of issues that surround cost shifting.

21   Because we don't want our customers to be

22   surprised, disappointed, upset, angry.  We want

23   them to be informed, and they can make a rational

24   decision.

25           So the -- and just as a further

0078

1   digression, I noticed just the other day the

2   critical consumer issues form issued a set of broad

3   principles for distributed energy resources.  They

4   did that a few days ago, on June 11th, and they

5   raised a whole host of issues for policymakers and

6   other stakeholders, everything from consumer

7   information to reliability, and these rules, in

8   part, do take a step forward in addressing

9   reliability, but they also surface the issue of

10   cost shifting.  An important issue, and I know

11   you're aware of that, but I -- please don't lose

12   sight of that, and that is a particular concern for

13   Avista as it watches out for its customers.

14           The Commission only has -- I'll state the

15   obvious -- jurisdiction over third-party providers

16   if they are deemed a public service provider.  And

17   under RCW 80.04.015, that is ultimately a question

18   of fact for this Commission to decide within the

19   framework of existing law.  Now, if the legislature

20   chooses to add further clarification or to

21   definitively answer this, so be it, but your task

22   is under existing law, how do you interpret whether

23   an entity is a public service provider or not, and

24   that is a question of fact.

25           And for a variety of reasons, I do not

0079

1   believe the Commission has jurisdiction to regulate

2   these providers.  And this answer would be easiest

3   to arrive at in a -- in a lease setting.  It's a

4   somewhat closer call with respect to a PPA, but the

5   answer, in my estmation, is still the same.  You

6   don't have authority to regulate.

7           As I said, we begin with the proposition

8   that the Commission regulates public service

9   companies, and that includes electrical companies,

10   by definition, and those, in turn, are defined as

11   entities that operate or maintain or own electrical

12   plant for hire.  And for hire, has been construed

13   to mean dedicated to public use.

14           In a string of cases, I've reviewed with

15   interest the briefing that was done by IREC, I

16   believe it was September of 2011.  I thought it was

17   particularly well reasoned, and IREC is -- I

18   believe it's International Renewable Energy

19   Council, is that right?

20           MR. ZAKAI:  Interstate.

21           CHAIRMAN DANNER:  Interstate.

22           MR. MEYER:  Interstate.  I broadened their

23   authority.  Now, they're international.  They're

24   just that good.

25           I have also gone through and reviewed

0080

1   cases, and the cases still seem to come back to the

2   same basic distinction.  Through time, the basic

3   principle is enunciated; does the entity hold

4   itself out to serve the public or some portion of

5   it as a class, or is it only serving particular

6   individuals of its own choosing?

7           And here, when we're dealing with a third-

8   party provider, that provider has no obligation to

9   serve any portion of the public.  It picks and

10   chooses if it will, when it will, how it will serve

11   the customer based on the particular circumstances

12   of the customer, what is the -- what type of

13   shading is involved, what's the orientation of the

14   house, is there structural support.  There are so

15   many particular circumstances that go into the

16   equation before you have a willing seller of the

17   service, the provider, and a willing purchaser of

18   the host, before they come together contractually.

19           Ultimately, it is a two-party contractual

20   transaction that is negotiated.  More

21   importantly -- more importantly, that customer --

22   this goes to the heart of regulation -- that

23   customer has other choices to receive its basic

24   service.  It's already connected to the utility.

25   That utility will be there.  It is providing an

0081

1   essential service that is and should be regulated.

2   We stand by to serve whenever and however much the

3   customer requires.

4           So there is adequate protection.  There

5   are adequate safeguards to assure that the public

6   interest is still being protected, if we get the

7   pricing signals right, as part of your regulation

8   of the utility.  Some analysis looks to whether or

9   not the provider intends to dedicate his property

10   to the public use.  Does the provider hold itself

11   out to the world with his property meant for public

12   use?

13           Here, a third-party is not intending --

14   the provider is not intending to serve the entire

15   public or even a recognizable portion of it.  It

16   simply will pick those customers that it can deal

17   with, that it transacts with.  So it's a much more

18   limited set of customers that will be involved in

19   the transaction.  There is not -- at the core of

20   this, there is not an overriding public interest to

21   even imply a public dedication.  As I said, that

22   customer has other avenues for getting basic

23   service.  We, the utilities, are there to serve

24   them.  They are not in need of further protection.

25   That is the key distinction.  The third-party

0082

1   distributed generator does not provide an essential

2   service for which there is no available

3   alternative.

4           So the -- the argument might be made,

5   well, should this, though, be deemed a common

6   carrier of sorts.  And as you go through the -- the

7   case law on this, you know, whether it's Nob Hill

8   or State v. Olson, you still get back to the basic

9   discussion -- it's a question of fact -- is, are

10   they holding themselves out to provide an essential

11   service, not just to a particular customer, but to

12   a class of customers?  That's not the situation

13   here.

14           So in the final analysis, what they're

15   getting is intermittent, as-available service.

16   That's what they're getting here, which is not

17   essential, not essential in this sense.  The

18   utility is there to backstop.  And that's where the

19   regulation -- the point of regulation should be.

20           So no, the Commission doesn't regulate,

21   shouldn't regulate, but it should very much

22   exercise its authority over getting the pricing

23   right on what that stand-by service is, and making

24   sure -- making sure that there are adequate

25   customer protections, the information flow is

0083

1   there, so the right decisions are made for the

2   right reasons.  So thank you.

3           CHAIRMAN DANNER:  All right.  Thank you.

4   Could you discuss a little bit the -- you made a

5   distinction between the lease arrangement and the

6   PPA.

7           MR. MEYER:  Yes.

8           CHAIRMAN DANNER:  And you said one was a

9   closer call than the other.  I'd like you -- could

10   you discuss it?

11           MR. MEYER:  Sure.  A lease -- I mean, that

12   should, I think, be a fairly straightforward

13   analysis.  In a lease situation, the customer has

14   the -- has the facility, if you will, has the

15   generating unit.  They're probably responsible for

16   maintaining it, for operating it.  It's a piece of

17   equipment.  That is -- that's the essence of the

18   deal, is they are leasing equipment.  And the

19   provider of that equipment, the lessor, is out of

20   it.

21           When it turns into a PPA, the onus of

22   maintaining it and owning the equipment is on the

23   third-party provider.  They, in turn, are then

24   selling a commodity, if you will, a kilowatt hour.

25   And once we talk in terms of selling kilowatt

0084

1   hours, and we think of electricity or therms for

2   gas, we all should pay closer attention.  I mean,

3   this starts to sound, starts to smell a little bit

4   more like something that ought to be regulated, but

5   in the final analysis, it shouldn't, for the

6   reasons I've explained.

7           Lease is an easy question.  PPA is the

8   closer question, but it's still not something you

9   should regulate.

10           CHAIRMAN DANNER:  So it gets down to,

11   again, the obligation to serve and the fact that

12   there's a utility backstop?

13           MR. MEYER:  Yes.

14           CHAIRMAN DANNER:  Okay.  Other questions?

15           COMMISSIONER GOLTZ:  So is the -- one of

16   the consequences of them not being third-party

17   owners, not being subject to our jurisdiction, is

18   that the provision in the state Consumer Protection

19   Act that allow that -- exempts entities otherwise

20   covered by the Consumer Protection Act, exempts

21   them if they're regulated by the Commission.

22           So Avista Corporation, for example, Avista

23   Utilities is not subject --

24           MR. MEYER:  Right.

25           COMMISSIONER GOLTZ:  -- to the Consumer

0085

1   Protection Act, but is subject to our consumer

2   protection folks.

3           MR. MEYER:  Sure.

4           COMMISSIONER GOLTZ:  If you're not -- if

5   you're a third-party owner not subject to our

6   jurisdiction, you don't deal with our consumer

7   protection folks, but you deal with the Attorney

8   General's Office and the civil liability that goes

9   along with it, in case you engage in unfair trade

10   practices.  So am I correct on that?

11           MR. MEYER:  You are.

12           COMMISSIONER GOLTZ:  And that may be a

13   stronger or lesser consumer protection issue,

14   depending, I guess, on how you view the Commission

15   and how you Attorney General's Office in that

16   regard.

17           MR. MEYER:  Sure.

18           COMMISSIONER GOLTZ:  Are there any other

19   differences here that if -- consequences of them --

20   if they were subject to our jurisdiction, they

21   would have to file a tariff, I presume?

22           MR. MEYER:  Yes.  And you would

23   essentially be -- they would submit to price

24   regulation.  They would no longer --

25           COMMISSIONER GOLTZ:  Even that could be

0086

1   flexible price regulation.

2           MR. MEYER:  It could be, as it is on the

3   telecom side.  But you would eliminate some of the

4   flexibility they would have to strike the kind of

5   deal that would make this -- this happen.  I mean,

6   truly, if we are proponents of encouraging

7   renewable energy in this state, we ought to

8   encourage each avenue without putting too many

9   obstacles in the way, mindful of the need -- not so

10   fast, but mindful of the need to also protect --

11   you know, consumer protection information.

12           The question, I think you raise, is an

13   interesting one.  Well, if you don't regulate, who

14   does?  Who regulates their -- their practices?  And

15   that may be the subject for further discussion at

16   the legislature.  You do not want a hole in that

17   process.

18           COMMISSIONER GOLTZ:  And in a lease

19   arrangement -- and I asked this earlier, a lease

20   arrangement between a third-party owner could be

21   for a fixed per month rate, or it could be

22   dependent upon how much is generated, couldn't it?

23   Couldn't you have a lease arrangement that's --

24   that's part monthly fee and part depending on the

25   output of the facility?

0087

1           MR. MEYER:  Yes.

2           COMMISSIONER GOLTZ:  In that case, under

3   your view, that would be more clearly not subject

4   to our jurisdiction.

5           MR. MEYER:  Yes.

6           COMMISSIONER GOLTZ:  Okay.  That's all.

7           MR. MEYER:  Okay.

8           CHAIRMAN DANNER:  Okay.  Mr. Jones?

9           COMMISSIONER JONES:  Well, this is not so

10   much a question as a comment.  But I read this

11   Keyes & Fox memo as well.  It was actually to NRAL,

12   and I think we have one of the authors in the room

13   today, Mr. Kelley.  It was an excellent piece, I

14   thought, but the conclusion that I came from these

15   various precedents and court tests is it takes us

16   all the way back to the 1910s, 20s and 30s.

17           MR. MEYER:  It does.

18           COMMISSIONER JONES:  And looking at towing

19   boat, logging companies, street car companies, and

20   takes us all the way back to the Munn test, which

21   is a grain elevator.

22           MR. MEYER:  Yes.

23           COMMISSIONER JONES:  So it's interesting

24   legal stuff and analysis --

25           MR. MEYER:  Yes.

0088

1           COMMISSIONER JONES:  -- but I just wonder

2   how relevant those cases are.  I mean, they are

3   precedents, obviously, that our state Supreme Court

4   has put down, but how -- how should we kind of tee

5   up these issues in the future for this particular

6   innovative form of technology?  Should we -- I -- I

7   guess what you're advocating is that we put some

8   language in the order to clarify this issue.

9           MR. MEYER:  Yes.

10           COMMISSIONER JONES:  And then maybe have

11   further process in the future to engage these legal

12   arguments that are over, you know, 80, 90, 100

13   years old.

14           MR. MEYER:  Well, two comments.  Yes, the

15   -- the -- the origins -- the cause law, there's a

16   string of cases that goes back to 1911, carries all

17   the way through every 20 years or so.  There's

18   another reiteration of the same principle.  I think

19   one of the more recent iterations of that was in

20   the Nob Hill case, which was a water case that was

21   in 1986, so we are getting closer to today.  And

22   there was, you know, a more recent case, too, that

23   enunciated the same principle.

24           The bigger point being I think you're

25   making is that how will you declare yourself one

0089

1   way or the other on this jurisdictional question in

2   the context of this rulemaking?  And clearly, you

3   don't write this into a rule, but I would suggest

4   that in the order itself that approves the rules,

5   in whatever form you approve them, speak to this

6   issue, and here's why.  Because there has been

7   enough uncertainty around this, and until or unless

8   the legislature acts on this issue, I think it's

9   important for there to be some level of certainty

10   out there.  I think you have first crack at it, and

11   we -- we need to move onto next steps in this

12   process.

13           COMMISSIONER JONES:  And so a corollary of

14   what you're saying, Mr. Meyer, is if we get it

15   wrong or the legislature or the powers that be

16   think we get it wrong, then they could take another

17   crack at it and another shot at it in the next

18   legislature and modify or overturn our decision.

19           MR. MEYER:  That follows, but my -- my

20   counsel to you, to the extent that I can or should

21   give you counsel, is to -- is to address this

22   issue, and that's let's -- let's move on.

23           COMMISSIONER JONES:  Under the principle

24   of business certainty?

25           MR. MEYER:  Yes.

0090

1           COMMISSIONER JONES:  Okay.

2           CHAIRMAN DANNER:  Any other questions?

3   Thank you very much.

4           MR. MEYER:  Thank you.

5           CHAIRMAN DANNER:  Okay.  Mr. Culley, from

6   the intergalactic renewable energy --

7           MR. CULLEY:  So long as it's only our

8   jurisdiction that's expanding that's -- I'm Thad

9   Culley with Interstate Renewable Energy Council.  I

10   had to catch myself.  I almost went there.

11           I think my comments are going to be

12   significantly shorter.  I appreciate Mr. Meyer's

13   very thorough laying out of the case, and agree

14   with his conclusions on the law, and would only

15   take -- actually, I would not take issue with his

16   parsing in seeing that it's a separate issue, any

17   -- any potential cost shift is a separate issue,

18   than this kind of clean legal issue before the

19   Commission.

20           And addressing the stale -- I don't think

21   it's stale law, necessarily.  It's a little

22   vintage.  IREC has had the opportunity to engage in

23   this kind of analysis with stakeholders and

24   regulators in many other states, including Arizona,

25   Utah, Illinois, Iowa, for example, at least working

0091

1   in doing some of the background research.  And

2   there's amazing commonalities between these

3   statutes, and each state has a little bit of a

4   different permutation.

5           And I think what makes Washington unique

6   among these other states is the focus on -- for the

7   definition of electrical company, the focus on

8   owning, operating or managing -- I'm going off the

9   top of my head here.  I'll have to verify that is

10   it what it says.  Owning, operating or managing any

11   electric plant for hire.  And as distinguished,

12   some states where it is providing the commodity

13   itself to afford the public for compensation.

14           So the significance of that is that you

15   look to the facility itself.  Is that facility

16   dedicated to public use?  Is that facility serving

17   a sufficient amount of the public to raise the

18   public interest?  Rather than, is it a commodity-

19   based analysis.  I -- I think that understanding or

20   that take on kind of framing the issue addresses

21   the lease question, where whether it's a lease or

22   not would not be the determinative fact.

23           If it's a lease and a person does not use

24   that electric plant for generating electricity and

25   puts it in their garage and lets it collect dust,

0092

1   they still have kind of done the same transaction

2   with a third-party owner, but they haven't

3   triggered anything significant.

4           Let's see.  And as Mr. Meyer discussed,

5   this Inland -- Inland Empire case, which for the

6   record, the citation is 199 Washington 527.  And

7   again, my handwriting, I can't tell if that's a

8   1934 or '39.  Indeed, 1939 -- clarified that for

9   hire is not a literal meaning that cash has changed

10   hands.  Therefore, the statute is triggered, and

11   the entity that is engaged in the activity is

12   automatically electrical company.  Indeed, Inland

13   Empire went on to say that there must first be a

14   public dedication or a dedication to a public use.

15           I would reach back, since we've already

16   covered much of this case law, and bring out a case

17   that we've -- we've found to be the basis for the

18   public dedication test that most states use, and

19   that is -- I'll give you the citation for you.

20   This is Thayer v. California Development Company.

21   Of course, it's a California Supremem Court case

22   from 1912.  The citation is 164 California 117.

23           And in that case, the -- the standard

24   test -- and I'm sorry, I'm doing some shuffling

25   around here.  I wanted to get this -- this on the

0093

1   record.  The standard test that the case that was

2   mentioned before, Clark, brings out -- I think, as

3   a source, and this case, Thayer.

4           So the test to be applied is whether or

5   not the petitioner held himself out, expressly or

6   impliedly, engaged the business of supplying water

7   to the public as a class, not necessarily to all of

8   the public, but any limited portion of it.  Such

9   portion, for example, has to be served by a system

10   as contradistinguished from holding himself out as

11   serving or ready to serve only particular

12   individuals, either as a matter of accommodation or

13   for other reasons peculiar and particular to them.

14           Now, turning to the Thayer California

15   Supreme Court case, which involved the use of, I

16   think, irrigation ditches, making the distinction

17   between a water utility and irrigation ditch, which

18   being an old case, this may have some relevance and

19   analogy to the current situation.  So I'll read

20   from that case.

21           In the case of the use of water in

22   villages, towns and cities, the right to use

23   usually extends to every inhabitant within the

24   range of its distributing system, or who can get

25   access thereto.  In the case of water for

0094

1   irrigation, the class is necessarily more select

2   and does not include the general public within the

3   area served.  This is because it is not every

4   inhabitant that can make use of that water.  Only

5   those occupying land can do so.  And for this

6   reason, it is held that while there may be a public

7   use for the benefit of landowners, the use of water

8   for irrigation is not public unless the water

9   itself is available as a right upon equal terms to

10   all landowners for the class and within the area to

11   be benefited.

12           COMMISSIONER GOLTZ:  Mr. Culley, excuse

13   me, but the distinction you're making, that if a

14   third-party owner puts solar panels on my house and

15   has the transaction with me, and that same third-

16   party owner has solar panels on Commissioner Jones'

17   house and has a transaction with him, and the same

18   one at Chairman Danner's house and has a

19   transaction with him, that is not for hire?  Each

20   of those -- each of those bits of electric plant

21   are -- are not for hire?  They're dedicated to the

22   use of a single customer?

23           Whereas, if that same third-party owner

24   had a big vacant lot and put up solar -- a large

25   solar structure and offered for sale to the whole

0095

1   neighborhood, that might be jurisdiction -- or that

2   would be jurisdiction?

3           MR. CULLEY:  I -- I -- I would say that

4   analysis wouldn't end there.  I think that brings

5   in the other aspects of the law; is it sufficient

6   to cloak that operation with the public interest?

7   So then we really get back to the old Munn test and

8   all of those cases.

9           COMMISSIONER GOLTZ:  At the very least,

10   the fact pattern of -- of separate bits of -- bits

11   isn't the right word, but pieces of electric plant

12   on each rooftop serving only individual customers,

13   is that kind of what you're saying?  That's clearly

14   on the side of no jurisdiction?

15           MR. CULLEY:  I would -- I would say yes.

16           COMMISSIONER GOLTZ:  Thank you.

17           CHAIRMAN DANNER:  Questions?  All right.

18   Do you have more?

19           MR. CULLEY:  I do not.  Any further

20   questions?

21           CHAIRMAN DANNER:  No, apparently not.  All

22   right.  Thank you.

23           MR. CULLEY:  Thank you.

24           CHAIRMAN DANNER:  Megan Decker from

25   Renewable Northwest Project.  Good afternoon.

0096

1           MS. DECKER:  Good afternoon, Chairman

2   Danner and commissioners.  I'm Megan Decker with

3   Renewable Northwest Project.  I'm here to address

4   question three, and I really couldn't do it as

5   eloquently as Mr. Meyer did, so I'm in the same

6   position as Mr. Culley of -- of trying to find the

7   elements of my remarks that are most significant to

8   the conversation without keeping us here any longer

9   than we need to be.

10           And so I'll say just a few things.  One is

11   that the opportunity the Commission has here in the

12   rule adoption order is to focus the conversation

13   and explain to the interested parties to the

14   legislature what the significance of this vintage

15   case law is to the modern generic circumstances

16   that have been presented to the Commission.  That's

17   something that is the Commission's job to do, and

18   will be a service to advancing the conversation.

19           So we urge the Commission to speak to the

20   question of jurisdiction in its rule adoption

21   order.  You may not reach every question, like

22   every factual scenario, but you will do a service

23   by speaking to those old cases.

24           The second thing I want to reiterate is

25   that it's a big deal to assert jurisdiction to

0097

1   regulate rates.  Tariff rates are for services that

2   the public is entitled to demand as -- as a right

3   on consistent terms with every other member of the

4   public, and I think there are probably

5   Constitutional dimensions to the question of

6   whether a private company can be regulated as a

7   public service company.  I'll just leave it there.

8           The -- the principles of the analysis, I

9   agree with Mr. Meyer and Mr. Culley, basically on

10   the principles that the Commission should draw from

11   the historic cases.  We need to see an applied

12   public dedication, an offer to serve the entire

13   public, insofar as the -- the service can be

14   provided to a portion of the public.

15           Even more importantly than -- or as

16   important as the principles that the Commission

17   will follow to -- to reach a conclusion in this

18   kind of case is -- is to speak to what does not

19   necessarily create a Public Service Commission -- a

20   public service company.  And I think it would be

21   helpful for the Commission to state that selling

22   kilowatt hours does not automatically make a

23   company a public service company.

24           There are examples in the vintage case law

25   of companies selling kilowatt hours, such as Inland

0098

1   Power & Light Company, Spokane -- the Spokane

2   Railway case.  Selling kilowatt hours doesn't

3   answer the question.  What answers the question is

4   whether there's been an implied dedication of

5   private property to public use and whether the --

6   that service is being offered to the public as a

7   whole.

8           Finally, I want to touch on the question

9   of lease versus PPA arrangement that a -- a net

10   metering customer might have with a third-party

11   owner.  I don't think it's relevant to the

12   Commission's jurisdiction to regulate the

13   companies.  One point -- one reason for that that

14   hasn't been necessarily discussed so far is that in

15   either situation, the customer owns the output of

16   the generator.  And it's the customer that has the

17   relationship with -- the net metering relationship

18   with the utility.

19           FERC has been very clear that a net

20   metering arrangement, so long as as there is a

21   netting over the relevant time period, is not a

22   sale, and that -- and that it doesn't matter

23   whether the customer engaged in net metering owns

24   the system or owns the generation through a lease

25   or a power purchase agreement with a third-party

0099

1   owner.

2           One final point.  I don't think you need

3   to see each system, each solar system on each

4   customer's home or business as a distinct piece of

5   electrical plant to reach the conclusion that the

6   three of us have been advocating.  It's an elegant

7   way to think about some situations, but I think

8   even in -- in a situation where you thought of a

9   company or a business model or a community solar

10   project that -- that was serving more -- more

11   customers, application of that applied public

12   dedication and offering service to the public as a

13   whole tests would lead you to the same conclusion.

14   So with that, I'm ready to address any questions,

15   and I'll stop and answer questions.

16           COMMISSIONER GOLTZ:  In that regard,

17   there's some -- obviously, some -- at some point,

18   you -- your community solar project becomes so big

19   that it's a utility, or I mean, at some point, if

20   it's serving, you know, a million people.

21           MS. DECKER:  I guess we'd have to go a

22   little bit deeper into the hypothetical, because I

23   start thinking about a Nob Hill.  That's not

24   jurisdictional to the UTC, even though it's selling

25   water to most of the people in a certain area.

0100

1           COMMISSIONER GOLTZ:  Yes.

2           MS. DECKER:  And Inland -- Inland Empire,

3   that is not jurisdictional, because its membership

4   is not the public as a whole.

5           COMMISSIONER GOLTZ:  Right.

6           MS. DECKER:  There might be points where

7   we cross the line to what you're describing, but --

8           COMMISSIONER GOLTZ:  Members are all

9   Washingtonians.

10           MS. DECKER:  Right.  Exactly.  I think

11   that -- I think that a community solar project that

12   had transmission to every household in the state

13   and offered to serve every household in the state

14   would be a utility.  Let's put it that way.

15           COMMISSIONER GOLTZ:  I know that you

16   appreciate the vintage cases.  I'm not sure

17   Commissioner Jones does, but I was thinking of the,

18   sort of, grain elevator situation.  The grain

19   elevator holds its storage services open to the

20   public, but if someone called, you know, Silo City

21   decided to put little, tiny silos in each little

22   farm, and offered to store grain for each farm,

23   that would not be a public utility, right?

24           MS. DECKER:  I think that's right.  And I

25   think that's -- that's, like I said, one way of --

0101

1   an elegant way of getting to one scenario.  It's

2   hard for me to imagine a world where a grain

3   storage is an essential public service, but --

4           COMMISSIONER GOLTZ:  It's because you

5   didn't grow up in the Midwest, probably.

6           MS. DECKER:  Yes.  You know, timber

7   towing, maybe I can get there, but, you know, I'm

8   from Aberdeen.

9           CHAIRMAN DANNER:  Actually, we were

10   talking about asserting jurisdiction over the cell

11   phone charging stations at the airport.

12           MS. DECKER:  I wouldn't want your job.

13           COMMISSIONER GOLTZ:  I just wanted to get

14   the vintage cases back into the discussion, and

15   into our order, adopting order, so Commissioner

16   Jones can sign it.

17           COMMISSIONER JONES:  Wait a minute.

18   Commissioner Goltz, I group grew up in Eastern

19   Washington right next to a bunch of grain

20   elevators.

21           MS. DECKER:  I think the thing that's

22   interesting to me about the grain elevator, the

23   sort of essential public service question is that,

24   you know, from my perspective, maybe rooftop solar

25   should be an essential public service, right?  I

0102

1   mean, I wouldn't be opposed to you folks requiring

2   that every utility offer rooftop solar as a -- as a

3   public right that anyone can demand.  Then maybe we

4   have a different conversation, but that's not where

5   we are.  We are at .25 percent.  We're at -- we're

6   in a different place.

7           One final thing I'll say about the vintage

8   cases is that I hope that -- that interest of these

9   vintage cases to the lawyers among us is evident,

10   and it just -- it just -- this kind of thing gets

11   people excited.  I'm hoping that's why Mr. Meyer

12   was so excited.  I'm not sure, though.

13           COMMISSIONER JONES:  Ms. Decker, I'm not

14   an attorney, but I can sense the enthusiasm in the

15   room.  It's palpable.  No, but Commissioner Goltz

16   kind of anticipated my question, should we -- I

17   mean, how far back should we go?  And I'm not

18   opposed to putting things in the order, you know,

19   if -- if we go that route.  But that's all the way

20   back to 1876, and it's a four-part test.

21           Do we want to go back all the way to Munn

22   and put these cases in?  I mean, some of the -- I

23   mean, there are four parts to the test, and one of

24   them is the question of transportation.  Well, we

25   aren't talking about transporting KWH from --

0103

1   intergalactically from Washington.  I mean, some of

2   these may be outdated, right?

3           But your point is that maybe we should go

4   back to Munn and Simpson and Clark and explain in

5   lay terms, or because the audience may be the

6   legislature, and it may be lay people, to try to

7   explain the importance of these historical cases

8   for the public dedication, the use to public

9   dedication and try to do that, is that your point?

10           MS. DECKER:  That is my point.

11           CHAIRMAN DANNER:  Okay.  So cases may be

12   old, but they're often very much alive in this

13   stare decisis world we live in.

14           MS. DECKER:  The principles are pretty

15   robust, and actually, the fact patterns are

16   interesting and more relevant to -- to this

17   situation than you might think.

18           CHAIRMAN DANNER:  Okay.  Thank you.  Any

19   other questions?

20           COMMISSIONER GOLTZ:  No.

21           CHAIRMAN DANNER:  All right.  Thank you

22   very much.  Lynn Logen from PSE.  You thought I

23   wasn't going to get to you.

24           MR. LOGEN:  Yes, I was hoping.  Good

25   afternoon, Chairman Danner, Commissioners Jones and

0104

1   Goltz Dan depend.  My name is Lynn Logen.  I'm with

2   PSE.  First off, I wanted to include PSE's

3   currently installed net metering capacity in my

4   comments.  These figures were pulled together by

5   Jake Wade, who is here in the audience today.  We

6   have 1,573 net metering installations to date, with

7   an installed capacity of 8,572 kilowatts, which is

8   77 percent of the cap, and our cap is 11.2

9   megawatts.

10           My comments aren't specifically about the

11   Commission's regulation of the third-party, but it

12   was the closest issue that I could come up on the

13   three that were on the sign-in there.  The issue

14   that I want to talk about is the last sentence of

15   the definition of third-party owner, and that

16   sentence is, the electrical company shall not allow

17   a third-party owner to resell the electricity

18   produced from a net metered generating facility.

19           This is problematic, I believe, for

20   several reasons.  One is that the utility is not a

21   party to the contract between the third-party and

22   the interconnection customer.  Therefore, we have

23   no way of knowing what the business arrangements is

24   there and whether or not there's any reselling.

25           Also, there's not any definition of what

0105

1   it means to resell in this rule or any of the WAC

2   rules.  And also, I'd like to point out that the

3   third-party owner may also be a customer of the

4   utility, because they will be receiving service at

5   some time from the -- from the utility.  Either

6   that, or the receiving service from the utility's

7   customer, and the utility's customer is reselling,

8   which is prohibited by WAC 480-100-103.  So there's

9   some interplay there that I think needs to be

10   resolved.

11           CHAIRMAN DANNER:  Do you have -- is it

12   your preference that the sentence just come out, or

13   do you have some alternate language?

14           MR. LOGEN:  That would be my preference,

15   that that sentence be removed.  And it's -- and

16   it's, in effect, asking utilities to regulate this

17   third-party, with the Commission is saying, you

18   have no jurisdiction -- or the comments here, which

19   I don't disagree with.  My experience in resales of

20   electricity in situations --

21           COMMISSIONER GOLTZ:  How could a third-

22   party owner sell the production from the net

23   metered generating facility without Puget knowing

24   about it?  Because that's going back into Puget's

25   system, right?  So who would buy it?

0106

1           MR. LOGEN:  The interconnection customer

2   is the first customer that's buying it.  The excess

3   flows out back through the meter, and we know it

4   after the fact, that there has been electrons that

5   have flowed onto our system.  Beyond that, it goes

6   to somewhere, and somebody uses it.  It's not --

7   it's not sold, as far as we know, unless there is

8   some other deal, that they put a large solar ray on

9   somebody's house and they sell some to the

10   neighbor.  We don't know.

11           COMMISSIONER GOLTZ:  What I mean is that

12   if -- I mean, are you saying that the only way they

13   could sell it would be going through you system,

14   isn't it?

15           MR. LOGEN:  Yes.

16           COMMISSIONER GOLTZ:  How could they sell

17   it without your knowledge?  Because you've got the

18   power, then, in your system.

19           MR. LOGEN:  Someone that wanted to buy,

20   basically, the green attributes of that power, I

21   would guess.  I mean, they -- the actual

22   electricity is going onto our system.  It's going

23   to go somewhere, and if the neighbor wants to think

24   they're buying that electricity, it's probably

25   likely they're getting it, because it's going to

0107

1   flow the shortest path.

2           COMMISSIONER GOLTZ:  Unless it's going to

3   go through -- unless they put it through a line,

4   it's going to go through your system and through

5   your meter into the neighbor --

6           MR. LOGEN: -- and we're going to sell it.

7   So I'm going to sell it there as well.  So in

8   effect, they're just getting the green attributes.

9           COMMISSIONER GOLTZ:  I'm not sure -- we'll

10   think about that.

11           CHAIRMAN DANNER:  You could also simply

12   clarify that the third-party owner would have to

13   sell the --

14           MR. LOGEN:  Again, you take out the

15   sentence.

16           COMMISSIONER GOLTZ:  Oh, sure.

17           COMMISSIONER JONES:  Yes, that would be

18   fine.

19           CHAIRMAN DANNER:  Okay.  Anything else.

20           MR. LOGEN:  That's it.  Do you have any

21   questions?

22           CHAIRMAN DANNER:  A question?  Okay.

23           MR. LOGEN:  Thank you.

24           CHAIRMAN DANNER:  So far, the three

25   lawyers who have provided legal analysis, do you

0108

1   have an opinion you want to share on that, or is

2   that --

3           MR. LOGEN:  From my limited knowledge in

4   dealing with commissioned staff, both in informal

5   and formal complaints, I agree with the comments.

6   They're consistent with the Commission's most

7   recent orders, for example, orders for formal

8   complaint.

9           CHAIRMAN DANNER:  Well, thank you.  Dave

10   Warren, PUD Association.  Three times in ten years.

11           MR. WARREN:  Thank you, Mr. Chairman.

12   Again, Dave Warren, and trying to come up with

13   something clever, thinking that if engineers relied

14   on vintage precedent, we would still be in horse

15   and buggies and other similar ancient technology.

16   So just to compare and contrast.

17           Another thing I wanted to get into the

18   record, somebody earlier had mentioned a FERC

19   order, and I did, too.  And just for the record, in

20   case you guys want to refer to it, it's a

21   declaratory order issued November 19th, 2009, in

22   docket number EL09-31-000.  It is good reading for

23   all of us, I think.  I parsed some of those issues,

24   federal versus state jurisdiction, net metering,

25   and some others.

0109

1           So in my sort of non-lawyerly common sense

2   thinking, I would like to -- Commissioner Goltz,

3   when you asked the question about putting the solar

4   panels in the field, and I was thinking along the

5   same line.  So I want to kind of give an example

6   and see where the boundaries are drawn.

7           As you know, in 1992, the Energy Policy

8   Act in 1992 opened up the grid to retail wheeling.

9   And states -- many states considered what that

10   meant, how do you open the markets to retail -- to

11   providers of electricity for retail sales.  And so

12   in the '90s, at the time I was a staff member of

13   NARUC, Mr. President, and there was a commissioner

14   named Brent Alderford from Colorado.  And after he

15   left the Colorado commission, he formed a company

16   named Community Wind Energy.

17           And he went back east, and he started

18   selling a wind product in states that had opened

19   their markets to the retail wheeling or retail

20   providers, non-utility retail providers.  He did

21   not offer service to the general public.  He had no

22   obligation to serve, the company didn't.  They were

23   for hire, in a common sense way.  They needed

24   utility backup.  And to me, the comparisons are the

25   same.  This is a non-regulated seller of

0110

1   electricity at the retail level.  So where do you

2   stop the boundary?

3           And Commissioner Goltz, in your example,

4   let's say you put the solar panel in the field and

5   decided to sell to all the neighboring property

6   owners, ran your own little wire just across to

7   their houses.  Is that regulatable?  They are not

8   offering service to the general public.  They have

9   no obligation to serve.  They have a very limited

10   customer offering.  They can check their credit

11   scores.  They may be able to even tie up their

12   property saying you can't sell your property

13   because they have a distribution wire running on it

14   until you pay me off or I agree to who your buyer

15   is, which is what some of these contracts do.

16           Where do you draw the line?  What about a

17   centralized solar conciliate that uses the

18   utilities distribution grid to sell to customers?

19   Retail wheeling.  They're still not holding

20   themselves out to the general public.  They have no

21   obligation to serve.  They have a limited customer

22   class, and they're using the utility distribution

23   wires.  Why is that similar or different?

24           Third-party owners of net metered

25   facilities are reliant on the utilities'

0111

1   distribution system as well, because as somebody

2   pointed out, they provide intermittent service.

3   They do not provide full time service.  The utility

4   has to be there.  The distribution system has to be

5   there.  The ratepayer subsidy is there.  Nobody has

6   offered to give back the non-power portion of the

7   bill on a net metering system in these business

8   models, so the utility ratepayer is integral to the

9   provider of electricity to this retail customer.

10           I'm not sure, from a common sense point,

11   how you can parse those, to say some subset of this

12   group is immune from regulation, and at some

13   critical mass of customers, of holding out to the

14   general public, of -- no obligation to serve.  I

15   mean, do they have an obligation to serve?  What if

16   this solar goes down and they don't serve?  Are the

17   utilities there to serve?  What does the contract

18   say?  Does the contracts say I have performance?  I

19   have an obligation to provide this many kilowatt

20   hours, is that an obligation to serve?

21           And I understand some of the parsing of

22   these terms and vintage legal precedent, but you

23   know, we're in the present day, and where do you

24   draw the line?  Could I come in as Dave's Wind

25   Service and offer to sell energy -- electricity to

0112

1   5 percent of the customers retail?  Get a wheeling

2   tariff distribution and not be regulated by you?

3   Then did not we not need the legislature to act on

4   retail wheel?

5           Then I guess the question is, where does

6   it stop?  Or are we sort of hiding behind the net

7   metered facility, because that's exempt from FERC

8   jurisdiction and sales, and because, presumably,

9   we're not using the utilities distribution grid?

10   We are.  These -- these projects do.

11           So the next logical question, perhaps, is

12   what about a non-grid connected house?  And they're

13   -- or Commissioner Goltz, I think your example may

14   be on point about the lease versus power purchase

15   agreement.  If -- if it's just a facility, if

16   they're leasing out, non-grid connected, somebody

17   is buying equipment, it's like a mini generator,

18   and that may be independent.  I think there, you

19   can probably clearly draw the line.

20           But when it's grid connected, I have to

21   ask the question, where does it stop?  Where do you

22   draw the line?  Number of customers?  Type of

23   electricity?  Where do you draw the line to say

24   they're no longer regulated?

25           And I would also, in response to your

0113

1   question with the previous speaker, to Lynn Logen,

2   what about if I was a third-party owner and I built

3   a 100 kilowatt system, and the customer there, the

4   -- the utility customer that I was selling to only

5   needed 5 kilowatts, and we net metered that.  And

6   then could I not offer for sale the other 95, get a

7   wheeling tariff from the utility, and by them

8   saying -- or them being required to not -- to

9   police the resale, which of course, my members you

10   can't say that, so they -- they may or may not do

11   that, but are we violating some non-discriminatory

12   open access provisions?

13           In other words, could that owner say, give

14   me a wheeling tariff over your distribution system,

15   because I want to sell the other 95 kilowatts.  I

16   guess there is a -- there is layers of questions

17   and complexities here that I'm not sure yet that --

18   I think you have an obligation to regulate, rather

19   than an exemption to regulate.

20           And I want to draw the comparison, I

21   guess, to the electric vehicle recharging bill,

22   house bill 1571 from 2011.  And I told her I was

23   going to do this, but your own leg. liaison

24   testified in that bill in a hearing, and she did

25   testify that this clarified the regulatory scheme

0114

1   around these.  These are -- these are retail sales,

2   and there was a lot of discussion in many -- I

3   think all three of you probably participated in

4   that -- about sellers of electricity, the end

5   users, and there was a lot of gray area, very

6   similar to this.

7           She said this clarified our involvement in

8   it.  She did say that it left some downstream

9   issues open regarding consumer protection, and

10   you've asked that question as well.  I think there

11   are huge consumer protection issues here.  Our

12   consumers own us, so therefore, we do have skin in

13   this.  And remember, electrical vehicle charging

14   stations, you can always take your Leaf to another

15   charging station or take it home.

16           Once you sign a contract with these third-

17   party providers, your real estate is tied up in

18   these contracts.  You can't often sell to a

19   different buyer unless the leaseholder agrees to

20   who your buyer is, or you buy it off.  And then you

21   don't get, necessarily, the -- the ownership of the

22   facility after it's done.  So what -- what if they

23   don't want to take it off your roof?  Or what if

24   they do and they leave big holes?

25           There is so many of these consumer

0115

1   protection issues that we would ask the Commission

2   take a look at this, and we think it could probably

3   be done fairly quickly, if you want to do it in

4   this the docket, to add some of those protections,

5   including ideas like market base rate versus cost

6   base rates.

7           You could give a company, just like FERC

8   does, market base rate authority.  And they could

9   go in, and there's a laudible presumption that it's

10   fair, just and reasonable, unless and until you get

11   a complaint that it's not, and then you could look

12   into it.  You could draw up some of these other

13   protections and facility regulations and other

14   things that you normally regulate, I think, fairly

15   quickly, if you're going to go that route, and that

16   would -- that would -- that would -- that would

17   close the vacuum that -- that's going to be around

18   regulation when these companies rush in.

19           And there will be a rush, because the

20   investment tax credit expires in 2016.  And I think

21   generally, you do have an obligation to regulate

22   unless and until the legislature acts, like they

23   did with charging stations, to exempt them from

24   this retail -- this particular specific retail sale

25   of electricity from jurisdiction.  Did I get

0116

1   question three?

2           CHAIRMAN DANNER:  Any other questions?

3           COMMISSIONER JONES:  So are you advocating

4   -- so what is your position here, Mr. Warren?  Are

5   you saying we should -- we should put some -- I

6   guess you're not saying that we should put

7   something in the order, because you seem to be

8   advocating for more process here, right?  You want

9   to either delay this rulemaking or put in further

10   process to look at the issues of market-based

11   rates, consumer protections, tax incentives and the

12   whole gamut of issues that I think Mr. Meyer was

13   trying to tee up?

14           MR. WARREN:  I think, Commissioner, I

15   would ask -- well, originally, we were suggesting

16   that the legislature really should act first.

17   Absent that, if the Commission goes forward, we --

18   we do request that you would open a separate net

19   metering rulemaking, that would be plan B.

20           Plan C would be if you go forward in this

21   docket, it has been open a year and a half already,

22   to give it a little more time, convene some

23   stakeholders, and maybe draw up a body of -- of

24   perhaps streamlined regulation.  You don't need a

25   full, perhaps, electric utility regulation on an

0117

1   Avista Pacific, or something like that, but there

2   might be some streamline processes that could get a

3   lot of the parties what they need and still provide

4   the protections necessary.

5           Frankly, I think it could be done fairly

6   quickly.  I think a lot of us know what the issues

7   are, and you guys and your staff have experience in

8   regulating these on many different levels.  So that

9   -- that would be -- it's not an attempt to delay or

10   a request -- we're not trying to delay this thing

11   forever, but to ask that you consider this avenue,

12   if you want to go there and open this door.

13           COMMISSIONER JONES:  I'm going say this

14   for the record.  This has taken two years, this

15   rulemaking.  It hasn't been easy and it hasn't been

16   quick.  It was supposed to focus on technical

17   issues, and I agree, it's morphed.  But I don't

18   understand what gives you confidence that getting

19   into these more policy-charged issues that I think

20   the CCIF and various national groups are teeing up

21   on, market based rates, incentives, I don't

22   understand what gives you confidence that we could

23   do that quickly.

24           MR. WARREN:  I guess, Commissioner, if

25   you're going to open the door, that part of the

0118

1   process hasn't taken two years.  And I think you

2   actually opened this in December '11, this

3   particular rulemaking, and part of it was you

4   accommodated public power and put us all together

5   in a room for a while.  We appreciate that.  So

6   that took some time.  We did get that out in July.

7           This issue has just been raised relatively

8   recently in a rulemaking, and we would ask, if

9   you're going to go forward with it in this

10   rulemaking, that you give it a little more time and

11   perhaps convene.  Maybe you have a first work group

12   and realize you can't get there, and then you move

13   forward.  Or maybe you've seen enough progress that

14   you say, this is worth an extra month.  Remember,

15   these contracts go for 5, 10, 15, 20 years.  These

16   have great impacts.  They're long term impacts.

17           COMMISSIONER JONES:  We're coming close to

18   4:30.

19           CHAIRMAN DANNER:  I understand.  I

20   understand.  Commissioner Goltz?

21           COMMISSIONER GOLTZ:  Yes, because I'm a

22   lawyer, so I'm more interested in this than you

23   think it should be, but it teams to me, though,

24   that what you're suggesting is a rule that would

25   allow -- accomodate the tariff requirement that

0119

1   these companies, the third-party owners who are

2   jurisdictional, to simply file a tariff adopting a

3   market-based rate, and it would be kind of an easy

4   way around more onerous tariff requirements?

5           MR. WARREN:  Correct, Commissioner.  I

6   assume that's one of their concerns, is that they

7   would have to file a tariff or a rate for every

8   single --

9           COMMISSIONER GOLTZ:  So then the

10   consequences of that, as near as I can think of,

11   off the top of my head, would be two.  They would

12   have to file a piece of paper that would just be a

13   tariff market base rate, assuming we could do it

14   under our existing statutes, I don't know that, but

15   assuming we could.

16           MR. WARREN:  Right.

17           COMMISSIONER GOLTZ:  And then that would

18   keep them under our consumer protection umbrella,

19   as opposed to the Attorney General's Office

20   consumer protection umbrella, and I don't know if

21   that's better for the public or not.

22           I mean, I know that the Consumer

23   Protection Act has some tools, if you're worried

24   about misleading -- unfair or deceptive trade

25   practices, they may have more tools than we have.

0120

1           Now, on the other hand, the other thing

2   that it might do is it might require the payment of

3   some regulatory fees to -- to us by these people,

4   which then, in turn, would -- would have, I

5   suppose, help fund consumer protection, but also

6   act as another barrier, another modest barrier to

7   -- to more deployment of distributed generation.

8           Other than that, what's the -- I mean, I

9   -- in one sense, there's not that big of a

10   difference.  If they're just going to do market

11   based rates, you know, they're going to file a

12   tariff.  You know, they probably can do it

13   electronically, and you're in business.  What other

14   consequences are there of this jurisdiction, and

15   what's the big deal, then?

16           MR. WARREN:  Well, for instance, there was

17   an article, I think, in the New York Times the

18   other day about 10 to 15 percent of the panels that

19   have flooded the market from the Chinese

20   manufacturers are defective.  In this case, you

21   would also have over -- oversight authority on the

22   facilities.

23           So that if a consumer gets a defective

24   panel, and I don't -- some of you look around my

25   age.  You might remember in the 1980s when the old

0121

1   federal investment tax credit was around solar, a

2   lot of bad equipment went out, and then installers

3   disappeared.  I'm not saying everybody is going to

4   disappear.  I'm not suggesting that, but a lot of

5   bad equipment went out.

6           There is apparently quite a bit of bad

7   equipment out there right now from the Chinese

8   market that was built up in response to this --

9   this Spanish and German feed-in tariffs.  When they

10   shut those down, there were a lot of panels out

11   there.  There's a lot of cheap panels, and that's

12   one of the reasons --

13           It's also regulating the facilities and

14   making sure that the consumer is protected from bad

15   equipment.  Perhaps they have a maintenance

16   agreement that says the homeowner can't touch it,

17   and yet, in the interconnection standards, we hold

18   the utility customer liable.  But if the utility

19   customer has something in their contract that says

20   they can't touch the facility, we, the utility, has

21   a question about it or we want it inspected or an

22   inverter changed out, or something, how do we get

23   to the third-party owner?

24           COMMISSIONER GOLTZ:  Isn't that right in

25   the wheelhouse of the Attorney General's Office?

0122

1   The Attorney General's Office applies the Consumer

2   Protection Act to used car salesmen, to new car

3   salespeople, to all sorts of businesses that have

4   -- that may put on the market -- and I'm just

5   hypothetical, but just put it on the market,

6   defective equipment, and they can bring class

7   actions and get refunds for the customers and get

8   -- and get damages and penalties, and their tools,

9   in that sort of a violation is, I think, greater

10   than what we can do.

11           You know, we have -- we resolve billing

12   disputes, you know, and we make things right, and

13   maybe there will be some civil penalties, but boy,

14   the Attorney General's Office, under the Consumer

15   Protection Act, seems to me as sort of, you know,

16   the possible sins you're describing, that's right

17   in their -- it's more in their wheelhouse than it

18   is in ours.

19           If the concern is consumers getting ripped

20   off, boy, I -- I might want to -- you know, the

21   AG's office ought to be -- might be better able to

22   effect some broad-based protections than we are.

23           MR. WARREN:  That, I'm obviously not

24   qualified to debate with you, Commissioner, as

25   you've lived in both worlds.  I'm highly

0123

1   knowledgeable in both.  I'm obviously familiar with

2   the world of utility regulation.  What I'm trying

3   to, I suppose, forestall is these folks would come

4   to our customers is what Commissioner Jones

5   actually asked about, which was, let's let them go

6   and then the legislature can always pull it back

7   in.

8           Well, that leaves that window open, and in

9   that window could be many long term contracts that

10   impact the consumer needlessly, and I would -- I

11   guess I would advocate to maybe keep ahold on it

12   right now until the legislature can look at this

13   thing and come up.  And maybe that avenue is a

14   better avenue.  I'm just not familiar enough with

15   those processes, Commissioner.

16           CHAIRMAN DANNER:  Questions?

17           COMMISSIONER JONES:  No.

18           CHAIRMAN DANNER:  All right.  Thank you

19   very much.

20           MR. WARREN:  Thank you.

21           CHAIRMAN DANNER:  And finally, Mr. Stearns

22   from Commerce.

23           MR. STEARNS:  Gentlemen, I think I would

24   do us all a grave disservice if I masqueraded as a

25   lawyer, so all I'm going to suggest is just because

0124

1   it's -- something is vintage just doesn't mean it's

2   wrong.  I try to remind my son that all the time.

3           I think all Commerce would suggest here is

4   we need a place to structure the marketplace for

5   quality and safety.  I'm not sure you're it, and I

6   would agree with Commissioner Goltz, that the

7   Attorney General may be better suited to do it.  I

8   think the biggest thing that you can do is to help

9   convene the different parties, and let's figure out

10   what's the right place to structure this

11   marketplace.

12           I'm dubious that you can extend your reach

13   to the Chinese panels.  I mean, I think we've got

14   to be -- figure out, okay, what are the tension

15   points?  What are the places that we actually can

16   play a role and do it productively?  So I just urge

17   you to be thoughtful and don't punt it.  And not

18   punting it may be -- I consider most of my career

19   has all been about cat herding, and I think maybe

20   that's what you need to do in this case.

21           Because, I think, clearly, technology is

22   overwhelming our common understanding of what the

23   utility industry was, the obligation to serve,

24   service territory, many of those notions that those

25   of us have spent 30 years in this, are becoming a

0125

1   bit obsolete, and we don't have control over it.

2   But I think that we need some responsible adults to

3   come in and say, hey, let's structure this

4   marketplace as it's transitioning.  Thank you.

5           CHAIRMAN DANNER:  All right.  Is there any

6   questions for Mr. Stearns?  All right.  Thank you.

7   Is there anyone on the bridge line who wishes to

8   comment?  All right.  Then, I think we have -- I

9   think we have concluded for the day.

10           Is there anything further that's to come

11   before the Commission this afternoon?  At the

12   beginning, I said that if there were any other

13   issues besides the three that we identified that

14   anyone wanted to bring forward, this would be a

15   good time to do so.

16           Okay.  Hearing none, then without further

17   adieu, we are adjourned.

18           (The proceedings concluded at 4:23 p.m.)

19

20

21

22

23

24

25

0126

1

2                       C E R T I F I C A T E

3

4   STATE OF WASHINGTON

5   COUNTY OF KING

6

7           I, Mary M. Paradise, a Certified Shorthand

8   Reporter in and for the State of Washington, do

9   hereby certify that the foregoing transcript of the

10   Rulemaking Adoption Hearing on June 13, 2013, is

11   true and accurate to the best of my knowledge,

12   skill and ability.

13

14           IN WITNESS WHEREOF, I have hereunto set my

15   hand this 17th day of June, 2013.

16

17

18

19                        ______________________________

20                        MARY M. PARADISE, CSR

21

22

23

24

25