## DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending MARCH 31.
Please file this report in docket UE-131883.
| Utility Name: | Puget Sound Energy
| Report Year APRIL 1, 2020- MARCH 31, | 2021
179.2 MW | Utility's current net metering requirement under RCW 80.60.020
50.36% | Percentage of current requirement installed
11139 | Total number of customers with net metering systems as of March 31, 2021
435 | Total number of customers with meter aggregation as of March 31, 2021
Net Metering Distributed Generation
Applicable to generation interconnected under Puget Sound Energy's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2021
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 1537 | 15463 | 10.0605 | 11088 | 89865 | 8.1047
Wind |  |  |  | 29 | 81 | 2.7931
Anaerobic Digester
Micro Hydro |  |  |  | 6 | 101 | 16.8333
Other † |  |  |  | 16 | 192 | 12
Totals | 1537 | 15463 |  | 11139 | 90239
Net Metering Credits
Total number of net metering credits expired on March 31, 2021. | [5 empty] | 2472129
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED***: | 68457458
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED***: | 28810289
kWh exported to Puget Sound Energy's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 47510252
***Only includes net metered systems that include production metering (80%).
See PSE data definitions and calculations on next tab
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Puget Sound Energy's net metering tariff
that are interconnected to Puget Sound Energy's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of MARCH 31, 2021
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Bio-Methane from Dairy Digester †† |  |  |  | 5 | 3290 | 658 | Schedule 91
Bio-Methane from Waste Water Treatment |  |  |  | 2 | 585 | 293
Landfill Methane |  |  |  | 2 | 5700 | 2850 | Schedule 91
Hydro | 1 | 24 | 24 | 7 | 11892 | 1699 | Schedule 91
PV | 2 | 350 | 175 | 10 | 1964 | 196 | Schedule 91
Wind |  |  |  | 3 | 4478 | 1493 | Schedule 91
Truck test facility2 |  |  |  | 2 | 6500 | 3250
Battery Storage |  |  |  | 1 | 2000 | 2000
Natural Gas Co-gen |  |  |  | 1 | 2500 | 2500
Totals | 3 | 374 |  | 33 | 38909
* Nameplate capacity reported in kW AC
†† Due to a rounding error in final paperwork, one digester actually has an ouput of 190 kW instead of 185 kW.
2 Truck test facility utilizes AC dynamometers for generative braking in multiple stationary test cells

## calcs for Annl Enrgy Prod table
| Internal PSE Term | Details | UTC Term on Report | All Net Metered systems with billed data in valid period | Systems where Metered Production > 0
|  | Number of systems in this data set |  | 10842 | 8682
A | Delivered | kWhs from Grid to Customer, measured by Register 1 of Net Meter | N/A | 133139989 | 112217494
B | Returned | kWhs from Customer to Grid, measured by Register 2 of Net Meter | Delivered | 47510252 | 39647169
C | Production | Sum Production Meters behind net meters (includes Production and Production Subtracted registers) | Produced | N/A | 68457458
| Self-consumed | Production (C ) - Returned (B) for all with Production > 0 | Consumed | N/A | 28810289
| Total Energy Use | A customer's total energy use is Production (C ) + Delivered from grid (A) - Returned to grid (B) | N/A | N/A | 141027783
PSE report pulls from energy BILLED during periods April 2020 - March 2021. "Valid From” field is interpreted as the Net Meter Installation Date. Further, it’s assumed that depending on the date, it takes a month or two for produced/delivered/returned energy to be reflected on a bill. Therefore, If the Net Meter installation is on or after the 7th of a month, then the billed data for the current month is excluded from the analysis.
As of March31, 2021, 20% of net metered systems in our data set do not include optional production metering. This number is growing rapidly since the WA State Renewable Energy Production Incentive Program is no longer available. While "Delivered" energy will continue to be known for all net metered systems, "self-consumed" energy can only be derived from systems with behind the load production metering. Thus a comparison of what is reported as PRODUCED energy to DELIVERED or CONSUMED is becoming increasingly less valid.