Second Revision of Sheet No. 85-n

Canceling First Revision

WN U-60	of Sheet No. 85-n

# PUGET SOUND ENERGY

Electric Tariff G

# SCHEDULE 85

LINE EXTENSIONS

(Including construction, ownership and maintenance of Company and

Customer/Applicant Owned Service Lines) (Continued)

- VOLTAGE FLICKER:  Voltage flicker is a momentary fluctuation in the voltage at the Point of Delivery caused by motor starting currents, switching currents or fault currents that exceed the Company's voltage limits under stable operating conditions.  The Company is responsible to provide service where the voltage does not deviate beyond certain standards with loads operating under stable conditions.  Applicants and Customers must control or operate their equipment in such a way that its motor starting and operating characteristics will not cause an instantaneous voltage drop of more than four percent of the standard voltage as measured at the Point of Delivery.  Should an Applicant’s or Customer's existing or planned equipment cause voltage flicker beyond Company limits at the Point of Delivery or at any other Customer's Point of Delivery, the Applicant or Customer must either install sufficient controls on equipment or reimburse the Company its costs of reducing voltage flicker to within Company limits.

- APPLICANT PROVIDED FACILITIES:  When the Applicant provides or installs any portion of the facilities to be owned by the Company that are described in this schedule, the cost of inspection of the facilities and/or their installation shall be included in the Company's costs to provide service under this schedule.  If such facilities and/or their installation are included in the charges to Applicant under this schedule, such charges shall be adjusted based on the facilities installed and/or provided by the Applicant.  Any such provision of facilities and/or installation by an Applicant or Customer shall be subject to approval by the Company and the Company has no obligation to allow such provision of facilities and/or their installation.

- APPLICANT UNABLE TO ACCEPT SERVICE:  If the Company shows up to a scheduled appointment to install a line extension or service line and the Applicant has not complied with Company specifications, such as having the construction route cleared and to grade, providing trench, or obtaining necessary inspections or permits, the Applicant may be charged a penalty of $250.00.

- SCHEDULE 87:  The installation of facilities under the provisions of this schedule shall be subject to the provisions of Schedule 87, Income Tax Rider.

- GENERAL RULES AND PROVISIONS:  Service under this schedule is subject to the General Rules and Provisions contained in this tariff.

(M) Transferred from Sheet No. 85-m       (K) Transferred to Sheet No. 85-o

(N)

(N)

(M)(K)

|    |

|    |

|    |

|    |  (N)

|    |

|    |

|    |  (N)

|    |

|    |  (N)

|    |

|    |

|    |

|    |  (C)

|    |

|    |

|    |

|    |  (C)

|    |    |

|    |  (C)

|    |

|    |

|    |  (C)

|    |  (C)

|    |

|    |  (C)

|    |

|    |

|    |

|    |

|    |

|    |

(M)(K)

## Issued:  December 19, 2005						Effective:  January 19, 2006

Advice No.:   2005-49

Issued By Puget Sound Energy

| By: |  | Tom DeBoer Title: Director, Rates & Regulatory Affairs |
| --- | --- | --- |