## DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending MARCH 31.
Please file this report in docket UE-131883.
| Utility Name: | Puget Sound Energy
| Report Year APRIL 1, 2021- MARCH 31, | 2022
179.2 MW | Utility's current net metering requirement under RCW 80.60.020
62.33% | Percentage of current requirement installed
13379 | Total number of customers with net metering systems as of March 31, 2022
506 | Total number of customers with meter aggregation as of March 31, 2022
Net Metering Distributed Generation
Applicable to generation interconnected under Puget Sound Energy's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2022
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 2270 | 21497 | 9.47 | 13328 | 111316 | 8.352
Wind |  |  |  | 28 | 78.5 | 2.8036
Anaerobic Digester
Micro Hydro | 1 | 30 | 30 | 7 | 131.11 | 18.73
Other † |  |  |  | 16 | 194.4 | 12.15
Totals | 2271 | 21527 |  | 13379 | 111720.01
† Other includes hybrid solar/wind behind single net meter
Net Metering Credits
Total number of net metering credits expired on March 31, 2022. | [5 empty] | 2918459
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED***: | 67902115
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED***: | 27874606
kWh exported to Puget Sound Energy's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 58388555
***67% of systems in the dataset include production metering. Comparison of what is measured/reported as PRODUCED from 67% of systems to what is measured/reported as DELIVERED from 100% of systems is not valid.
See PSE data definitions and calculations on next tab
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Puget Sound Energy's net metering tariff
that are interconnected to Puget Sound Energy's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of MARCH 31, 2022
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Bio-Methane from Dairy Digester †† |  |  |  | 5 | 3290 | 658 | Schedule 91
Bio-Methane from Waste Water Treatment |  |  |  | 2 | 585 | 293
Landfill Methane |  |  |  | 2 | 5700 | 2850 | Schedule 91
Hydro |  |  |  | 7 | 11892 | 1699 | Schedule 91
PV | 3 | 5374 | 1791 | 13 | 7338 | 564 | Schedule 91
Wind |  |  |  | 3 | 4478 | 1493 | Schedule 91
Truck test facility2 |  |  |  | 2 | 6500 | 3250
Battery Storage |  |  |  | 1 | 2000 | 2000
Natural Gas Co-gen |  |  |  | 1 | 2500 | 2500
Totals | 3 | 5374 |  | 36 | 44283
* Nameplate capacity reported in kW AC
2 Truck test facility utilizes AC dynamometers for generative braking in multiple stationary test cells

## calcs for Annl Enrgy Prod table
| Internal PSE Term | Details | UTC Term on Report | All Net Metered systems with billed data in valid period | Systems where Metered Production > 0
|  | Number of systems in this data set |  | 12908 | 8611
A | Delivered | kWhs from Grid to Customer, measured by Register 1 of Net Meter | N/A | 160519350 | 115312084
B | Returned | kWhs from Customer to Grid, measured by Register 2 of Net Meter | Delivered | 58388555 | 40027509
C | Production | Sum Production Meters behind net meters (includes Production and Production Subtracted registers) | Produced | N/A | 67902115
| Self-consumed | Production (C ) - Returned (B) for all with Production > 0 | Consumed | N/A | 27874606
| Total Energy Use | A customer's total energy use is Production (C ) + Delivered from grid (A) - Returned to grid (B) | N/A | N/A | 143186690
PSE report pulls from energy BILLED during periods April 2021 - March 2022. "Valid From” field is interpreted as the Net Meter Installation Date. Further, it’s assumed that depending on the date, it takes a month or two for produced/delivered/returned energy to be reflected on a bill. Therefore, If the Net Meter installation is on or after the 7th of a month, then the billed data for the current month is excluded from the analysis.
As of March 31, 2022, 33% of net metered systems in our data set do not include optional production metering. This number is growing rapidly since the WA State Renewable Energy Production Incentive Program is no longer available. While "Delivered" energy will continue to be known for all net metered systems, "self-consumed" energy can only be derived from systems with behind the load production metering. Thus a comparison of what is reported as PRODUCED energy to DELIVERED or CONSUMED is no longer valid.