Vashon Island

Emergency Response Plan

Table of Contents

Vashon

Users Guide	2

How it will be served	3

Regular business hours	3

After hours	3

## PSE Staff

Who reside on Island	4

Who work on Island	4

Live near ferry terminal	5

Facilities

Address and Driving Directions	5

Vashon Base	6

Gas Operations Map Key	7

Ferry

After Hours	3

Ferry Procedure	9

Ferry Terminals – Directions	10-12

Service Provider

Roles and Responsibilities	13

Material/Tool List	14

Agreement between PSE/Vashon Fire Department	15,16

Users Guide

Dispatch

PSE Staff	4

Facilities	5-7

Material / tool List	14

Ferry		3, 9-12

Map of distribution and supply system	8

Roles and responsibility of Service Providers	13

Agreement between PSE/Vashon Fire Department	15, 16

First Responders

PSE Staff	4

Facilities	5-7

Material / tool List	14

Ferry		3, 9-12

Map of distribution and supply system	8

Roles and responsibility of Service Providers	13

Agreement between PSE/Vashon Fire Department	15, 16

CFS

PSE Staff	4

Facilities	5-7

Material / tool List	14

Ferry		3, 9-12

Map of distribution and supply system	8

Roles and responsibility of Service Providers	13

Agreement between PSE/Vashon Fire Department	15, 16

Gas Control

PSE Staff	4

Facilities	5-7

Material / tool List	14

Ferry		3, 9-12

Map of distribution and supply system	8

Emergency Response Plan

# Vashon Island

#### How Vashon will be served

Regular business hours:

During regular business hours we will utilize employees who are working on the Island.  This could include Gas First Response personnel, SC&P, or Infrasource Contractors (IFS)

Personnel assigned to work on the island on a day to day basis will notify dispatch when they arrive on and leave the island.

After Hours:

PSE has one Electric employee who lives on the Island.  PSE has also identified those gas employees that live near the ferry terminals at Fauntleroy, Southworth and Tacoma.  Outside of normal business hours we will contact the Gas First Response employees living closest to the ferry terminals. If this fails, we will dispatch the First Responders per the standard callout process that moves the closest GFR personnel to the event.

Ferry Service after Hours:

If ferry service is needed outside the normal service hours, you can contact the System Manager at XXXXXX, XXXXXXXXXXXX or XXXXXXXXXXXX.  They have set up an arrangement with the Washington Ferry System to take PSE vehicles to the Island in case of emergencies (see After Hours Ferry Procedure page).

Alternative Access:

If access by conventional means is unavailable, you may be able to deliver personnel and materials to Vashon Island area by helicopter.  The System Manager at XXXXX, XXXXXXXXXXXX or XXXXXXXXXXXX on duty should be called to arrange helicopter support.

PUBLIC VERSION

#### PSE staff who reside on the Island

XXXXXXXXXXXXXXX

XXXXXXXXXXXXXX

Vashon, Wa 98070

PSE Cell XXXXXXXXXXXX

XXXXXXXXXXXXXXX

XXXXXXXXXXXXXX

Vashon, WA 98070

PSE Cell XXXXXXXXXXXX

#### PSE staff who Work on the Island

XXXXXXXXXXXXXXX

XXXXXXXXXXXXXX

Vashon, Wa 98070

PSE Cell XXXXXXXXXXXX

XXXXXXXXXXXXXXX

XXXXXXXXXXXXXX

Vashon, WA 98070

PSE Cell XXXXXXXXXXXX

XXXXXXXXXXXXXXXX (Supv. Community Services – Vashon)

XXXXXXXXXXXXXX

University Place, WA 98467

Home phone: XXXXXXXXXXXX

Verizon phone: XXXXXXXXXXXX

PUBLIC VERSION

###### PSE Staff who live near a ferry terminal

Fauntleroy

Georgetown/SKC personnel close to the Fauntleroy Ferry Terminal:

XXXXXXXXXX 		1st Response CFS		XXXXXXXXXXXX

XXXXXXXXXXXXXXX 	1st Response CFS		XXXXXXXXXXXXX

XXXXXXXXXX 		1st Response CFS 		XXXXXXXXXXXX

XXXXXXX 			1st Response CFS		XXXXXXXXXXXX

XXXXXXXXXXX		1st Response CFS		XXXXXXXXXXXX

Southworth

XXXXXXXXXXXX		Corrosion Control Fitter	XXXXXXXXXXXXX

XXXXXXXXXX		1st Response CFS		XXXXXXXXXXXXXXXXXX

XXXXXXXXXXXXXXXX	Corrosion Control Fitter	XXXXXXXXXXXXXXXXXX

Tacoma - Tahlaquah (Pt. Defiance)

XXXXXXXXXX		1st Response PI Inspector	XXXXXXXXXXX

XXXXXXXXXXXX		Corrosion Control Fitter	XXXXXXXXXXXX

XXXXXXXXXXXX		Pressure Control		XXXXXXXXXXXXXXXXX

XXXXXXXXXXXXXXXX	1st Response CFS		XXXXXXXXXXXXXX

## Facilities

Puget Sound Energy’s Vashon Service Center office is located just south of the town of Vashon on the main Highway.

Address

XXXXXXXXXXXXXXXXXXX

The building site sits back off the highway about 100 yards and is somewhat secluded.

Map and Driving Directions to Facility

The facility is located at XXXXXXXXXXXXXXXX (see page 7 for layout of Vashon facility).

The building sets back off the highway about 100 yards and is hard to see from the road.

You will need an authorized security access card to enter the facility.

PUBLIC VERSION

Hours of Operation

The Vashon Service Center hours of operation are between 9:00 a.m. to 4:00 p.m., Monday through Friday. The service center is closed on all company recognized holidays.

Gate Access

The gate for facility access is key card controlled.  The card reader pedestal is on the left-hand side of gate entrance.  To open gate personnel must have an authorized security access card.  All First Response personnel that may be called upon for response to the Island have received the necessary key card clearance.

Material

We will maintain a trailer at our Vashon facility, which will be used to carry materials needed in case of a gas emergency (see Material and Tool List Available at the Facility, page 14).

During emergencies this trailer will be picked up by the first PSE employee to respond, which may not necessarily be a gas employee.

REDACTED

PUBLIC VERSION

REDACTED

PUBLIC VERSION

# Ferry Procedure

WASHINGTON STATE FERRY SYSTEM (WSF)			       Adopted 12-22-98

# Current information: www.wsdot.wa.gov/ferries/schedules/current      Reviewed 06/02/06

## PRIORITY LOADING PROCEDURE - GAS EMERGENCY

This procedure addresses gas emergencies only.

There are no hard and fast rules relating to who qualifies for priority loading of utility vehicles on ferry routes.  The WSF Operations Watch Supervisor is the key contact person to arrange priority loading and will make the ultimate decision whether or not to approve such a request.

In order to reduce the possibility for abusing the system for personal benefit, the Operations Watch Supervisor will only accept loading requests from PSE’s Gas Operations Dispatchers.  Employees will not be able to arrange their own priority loading with the dock attendants.

The procedures to be followed are:

- The Gas Operations Dispatcher has the responsibility to determine if the emergency in question requires an immediate response necessitating priority loading on a Washington State ferry.

NOTE: In general, events such as broken and blowing lines, Class A leaks, inside odors, and possible CO poisoning would meet this test.  There may be other valid emergencies such as employee injuries or vehicle accidents, but these can adequately be covered by local emergency responders and probably don’t require special loading of PSE personnel.  The WSF Operations Watch Supervisor will rely on our Dispatchers to make proper judgments.

- If the emergency meets this test, the dispatcher shall contact the WSF Operations Watch Supervisor. Call XXXXXXXXXX

- Provide the following information.

Name and contact number of Gas Operations Dispatcher calling

Type of gas emergency necessitating priority boarding

Ferry route affected

Number and type of vehicles requiring priority loading

Estimated arrival time of vehicles at terminal

- Dispatcher shall obtain the following information from the WSF Operations Watch Supervisor.  Record the information on the Emergency Report form.  Communicate approval information to vehicles involved.

Name of Operations Watch Supervisor

Date and time of request for priority loading

Confirmation of approval of PSE’s request

- The Operations Watch Supervisor will contact the dock attendant at the affected terminal and communicate the information.

### If difficulties arise at the terminal, the dock attendant should be asked to contact the Operations Watch Supervisor.  PSE’s Dispatcher may also call as well to confirm the previously agreed to arrangements.  In no case shall PSE employees at the dock engage in arguments regarding loading.  All such difficulties, especially those resulting in a delayed response, shall be recorded on the Emergency Report form.

PUBLIC VERSION

### Driving Directions to Ferry Terminals

Southworth Terminal

11564 SE State Hwy 160

Southworth, WA  98386

Coming from the South:

- Take I-5 North

- Take exit 132 and proceed West on Hwy 16 approximately 35 miles to Hwy 160 exit

- Take Hwy 160 (Sedgwick road) exit

- Turn Right onto Hwy 160 at stop sign and proceed approximately 7 miles to yet another stop sign

- Turn right; ferry dock straight ahead.

Coming from the North:

- Take I-5 South

- Take the WA-16 West/SO 38th ST exit, exit #132, towards Gig Harbor/Bremerton.

- Keep Right at the fork in the ramp

- Merge onto WA-16 W

- Take Mullenix Road exit

- Turn Right onto SE Mullenix Road

- Turn Left onto Olalla Valley Rd SE

- Turn Left onto Banner Rd SE

- Turn Right onto Sedgwick Rd SE/WA-160

- Turn Right onto SE Southworth DR/WA-160

- Turn Left onto Rocky RD SE

- You’re there!

Fauntleroy Terminal

4829 SW Barton

Seattle, WA  98136

Coming from the South:

- Take I-5 North

- Take the WA-599 North exit, exit number 156, towards Tukwila/W. Marginal Way

- Merge onto WA-599 N

- Take WA-99 N

- Take the Des Moines Dr./14th Ave SO exit

- Keep Right at the fork in the ramp

- Turn Left onto 14th Ave S

- Turn Left onto S Cloverdale St

- S Cloverdale St becomes 1st AVE S

- Turn sight right onto Olson PL SW

- Turn slight Right onto SW Roxbury St

- Turn Right onto 35th AVE SW

- Turn Left onto SW Barton ST

- Turn Left onto California AVE SW

- California AVE SW becomes SW Brace Point DR

- Turn slight Right onto SW Wildwood PL

- Turn Right onto Fauntleroy Way SW

- Turn Left onto SW Barton ST

Coming from the North:

- Merge onto I-5 S

- Take the W SEATTLE FWY/COLUMBIAN WAY exit, exit number 163A.

- Keep RIGHT at the fork in the ramp

- Merge onto W SEATTLE BRIDGE

- Stay straight to go onto FAUNTLEROY WAY SW

- Turn RIGHT onto SW BARTON

Pt. Defiance / Tahlequah Terminal

5810 N. Pearl St.
Tacoma WA 98405

Coming from the South:

- Merge onto I-5 N

- Take the SO. 38 ST. exit – exit number 132 toward GIG HARBOR WA-16/BREMERTON

- Take the S 38 ST WEST ramp toward GIG HARBOR/WA-16 W/ BREMERTON/TACOMA MALL

- Keep left at the fork in the ramp

- Merge onto WA-16 W

- Take the 6th AVE exit toward WA-163

- Turn LEFT onto 6th AVE

- Turn RIGHT onto N PEARL ST

- Stay straight to go onto N PEARL ST/WA-163

Coming from the North:

- Merge onto I-5 S.

- Take the WA-16 W/SO. 38 ST. exit- exit number 132- towards GIG HARBOR/BREMERTON

- Keep RIGHT at the fork in the ramp

- Merge onto WA-16 W

- Take the 6th AVE exit toward WA-163

- Turn LEFT onto 6th AVE

- Turn RIGHT onto N PEARL ST

- Stay straight to go onto N PEARL ST/WA-163

Roles and Responsibilities of the Service Providers

Infrasource Contractors (IFS) performs the installation of new customer construction on both residential and commercial gas services.  They perform gas system upgrades and replacements, as well as, gas system operation and maintenance.  In addition, Infrasource Contractors (IFS) responds to breaks at the request of PSE Gas Dispatch.

Infrasource Contractors (IFS) notifies Gas Dispatch when they get on the ferry going to the island and again when they are leaving the island.

Material and Tool List

Available at the Facility

Vashon Reserve Emergency Supply

Parts and Equipment

# Weld Equipment

# Oxy/acetylene - Two bottles each of oxygen and acetylene will be stored at the facility.  If additional Oxy. Act. Is needed it can be obtained from XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX

#### Equipment store on the trailer at PSE’s facility

Squeeze Tools:

4” and 6” PE Squeeze Machines and Hydraulic pump

### Small steel squeeze machine

### Large steel squeeze machine

Valve keys:

One standard

One long (8’ or better)

Leak Clamps:

Full circle clamps - 2” by 12” long - two

Full circle clamps - 4” by 12” long - two

Full circle clamps - 6” by 12” long – two

Band clamps - ½”, ¾”, 1”, 1 ¼”, 2”, 4” and 6”

Shoring:

Two 24” spreaders and two - 4 X 4’ sheets of board

12’ ladder

Incidental equipment:

Wood plugs – variety of sizes

Environmental Packs (two)

Fire Extinguisher

PUBLIC VERSION

# Agreement between PSE and

# Vashon Fire Department

PSE Operations personnel initially met with the Vashon Fire department on December 17, 2001. As a result, the guidelines below were agreed to by both the Vashon Fire Department (VFD) and Puget Sound Energy.

Since that time, PSE has provided Emergency Responder Training every couple of years at the VFD Training facility. In addition, VFD personnel are invited to attend the same program at our PSE training sites in Tacoma and Georgetown annually. Also, our PI Inspector for Vashon visits the VFD facility occasionally throughout the year.

Response Coordination is discussed at each of these training sessions and meetings.

PSE Operations

- Communication with the Beachcomber

PSE is communicating with the Beachcomber and will continue to stay in touch with them.

- Emergency Center

PSE will participate with the Vashon Fire Department regarding Emergency Center Operations. PSE’s contact is XXXXXXXXXXX, Manager Operations Continuity, XXXXXXXXXXX

- Open House

PSE will participate in the Fire Department Open House. Our contact for this is either XXXXXXXXXXXXXXXXXXXXXXXXX or XXXX XXXXXXXXXXXXXXXXXXXXXX

- Natural Gas Training

PSE provides natural gas emergency training, our contact is:

Dennis Smedsrud, Community Affairs Program Manager, XXXXXXXXXXX

- Road Closed Signs:

PSE has 12 plastic barricades at our Vashon Facility, located next to the Oxygen/ Acetylene storage rack (see attached diagram).

The Fire Department can gain access by using the Knox box.

PUBLIC VERSION

- Direct Communication With Dispatch

Our dispatch numbers are:

ELECTRIC-

Fire and police hit line for direct access to Electric Dispatch

XXXXXXXXXXXX

XXXXXXXXXXXX - Use this number to gain record information

GAS

Fire & Police hot line for direct access to Gas Dispatch

XXXXXXXXXXXX

XXXXXXXXXXXX

Use this number to gain record information from Gas Dispatch

XXXXXXXXXXXX

- Vashon Response Time

PSE’s goal is to meet or exceed the 55-minute SQI (Service Quality Index) agreed to with the WUTC.

- Annual Valve Surveys

PSE’s Gas First Response PI (Public Improvement) Inspector will meet with the Vashon Fire Department annually. They will provide an updated service valve list and review the completed service valve survey results with the chief and his staff.

- Tools & Material

We will review the number of valve keys and wooden plugs they presently are equipped with, re-supply where needed.

PUBLIC VERSION