## 2024 DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending March 31.
Please file this report in docket UE-131883.
| Utility Name: | Avista
| Report Year Ending March 31, | 2024
48.1MW | Utility's current net metering requirement under RCW 80.60.020
59.45% | Percentage of current requirement installed
3817 | Total number of customers with net metering systems as of March 31, 2024
85 | Total number of customers with meter aggregation as of March 31, 2024
Net Metering Distributed Generation
Applicable to generation interconnected under Avista's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2024
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 1178 | 7672 | 6.52 | 3796 | 28422 | 7.04
Wind |  |  |  | 21 | 173 | 8.23
Anaerobic Digester
Micro Hydro
Other †
Totals | 1178 | 7672 |  | 3817 | 28595
Net Metering Credits
Total number of net metering credits expired after March 31, 2024. | [5 empty] | 844863
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED: | 12999692.435
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED: | 7147466.386
kWh exported to Avista's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 14073891.237
Note: Some customer-generators with net metering systems do not have a production meter.
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Avista's net metering tariff
that are interconnected to Avista's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2024
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Solar PV |  |  |  | 4 | 28760 | 7190
Hydro |  |  |  | 3 | 2360 | 786.7
Biomass |  |  |  | 1 | 825 | 825
Totals | 0 | 0 |  | 8 | 31945
Nameplate capacity reported in AC
† "Other" includes hybrid technologies interconnected as a single customer-generation system.

## 2023 DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending March 31.
Please file this report in docket UE-131883.
| Utility Name: | Avista
| Report Year Ending March 31, | 2023
48.1MW | Utility's current net metering requirement under RCW 80.60.020
43.73% | Percentage of current requirement installed
2894 | Total number of customers with net metering systems as of March 31, 2023
56 | Total number of customers with meter aggregation as of March 31, 2023
Net Metering Distributed Generation
Applicable to generation interconnected under Avista's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2023
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 1153 | 7716 | 6.6 | 2873 | 20862 | 7.034
Wind |  |  |  | 21 | 173 | 8
Anaerobic Digester
Micro Hydro
Other †
Totals | 1153 | 7716 |  | 2894 | 21035
Net Metering Credits
Total number of net metering credits expired after March 31, 2023. | [5 empty] | 415798
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED: | 11924637.013
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED: | 6809616.054
kWh exported to Avista's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 8708858.558
Note: Some customer-generators with net metering systems do not have a production meter.
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Avista's net metering tariff
that are interconnected to Avista's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2023
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Solar PV |  |  |  | 4 | 28760 | 7190
Hydro |  |  |  | 3 | 2360 | 786.7
Biomass |  |  |  | 1 | 825 | 825
Totals | 0 | 0 |  | 8 | 31945
Nameplate capacity reported in AC
† "Other" includes hybrid technologies interconnected as a single customer-generation system.

## 2022 DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending March 31.
Please file this report in docket UE-131883.
| Utility Name: | Avista
| Report Year Ending March 31, | 2022
48.1MW | Utility's current net metering requirement under RCW 80.60.020
27.71% | Percentage of current requirement installed
1716 | Total number of customers with net metering systems as of March 31, 2022
37 | Total number of customers with meter aggregation as of March 31, 2022
Net Metering Distributed Generation
Applicable to generation interconnected under Avista's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2022
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) *
Solar PV | 458 | 3150 | 6.88 | 1695 | 13156 | 7.58
Wind |  |  |  | 21 | 173 | 8.24
Anaerobic Digester
Micro Hydro
Other †
Totals | 458 | 3150 |  | 1716 | 13329
Net Metering Credits
Total number of net metering credits expired after March 31, 2022. | [5 empty] | 341377
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED: | 12409077.5
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED: | 7365293.644
kWh exported to Avista's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 5855201.175
Note: Some customer-generators with net metering systems do not have a production meter.
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Avista's net metering tariff
that are interconnected to Avista's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2022
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Solar PV | 1 | 205 | 205 | 4 | 28760 | 7190
Hydro |  |  |  | 3 | 2360 | 786.7
Biomass | 1 | 825 | 825 | 1 | 825 | 825
Totals | 2 | 1030 |  | 8 | 31945
Nameplate capacity reported in AC
† "Other" includes hybrid technologies interconnected as a single customer-generation system.

## 2021 DG Annual Report
Distributed Generation Annual Report
Report due by August 1 for the previous reporting year ending March 31.
Please file this report in docket UE-131883.
| Utility Name: | Avista
| Report Year Ending March 31, | 2021
48.1MW | Utility's current net metering requirement under RCW 80.60.020
21.17% | Percentage of current requirement installed
1258 | Total number of customers with net metering systems as of March 31, 2021
32 | Total number of customers with meter aggregation as of March 31, 2021
Net Metering Distributed Generation
Applicable to generation interconnected under Avista's Washington State net metering tariff.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2021
Technology | Number of systems | Total nameplate capacity of systems (kW) | Average system size (kW) | Number of systems | Total nameplate capacity of systems (kW) | Average system size (kW)
Solar PV | 199 | 1635.039 | 8.22 | 1237 | 10010.223 | 7.84
Wind |  |  |  | 21 | 173 | 8.24
Anaerobic Digester
Micro Hydro
Other †
Totals | 199 | 1635.039 |  | 1258 | 10183.223
Net Metering Credits
Total number of net metering credits expired after March 31, 2021. | [5 empty] | 317790
Annual Energy Production
Gross kWh produced by customer-generators with a production meter. |  |  |  |  | PRODUCED: | 10830076.838
Behind the meter consumption (kWh) for customer-generators with a production meter. |  |  |  |  | CONSUMED: | 7143917.827
kWh exported to Avista's system from all installed net metering systems. |  |  |  |  | DELIVERED: | 3858247.387
Note: Some customer-generators with net metering systems do not have a production meter.
Non-Net Metered Distributed Generation
Applies only to generation facilities not utilizing Avista's net metering tariff
that are interconnected to Avista's Washington state electric distribution system.
System Information
|  | New Systems Installed during Report Year |  |  | Total Installed Systems as of March 31, 2021
Technology | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Number of systems | Total nameplate capacity of systems (kW) * | Average system size (kW) * | Tariff
Solar PV | 1 | 132 | 132 | 3 | 28555 | 9518.3333
Hydro |  |  |  | 3 | 2360 | 786.7
Totals | 1 | 132 |  | 6 | 30915
Nameplate capacity reported in AC
† "Other" includes hybrid technologies interconnected as a single customer-generation system.