| "o.albro" <o.albro@comcast.net> 02/08/2007 03:15 PM |  |
| --- | --- |

To:  "Roger Kouchi" <rkouchi@wutc.wa.gov>

Cc:

Subject:  Additional comments

I'd like to thank you for the opportunity to comment this morning.  I do

have a couple additional thought I'd like to share.

There is a lot of sentiment to "underground" the T&D systems.  Although

distribution and some lower voltage transmission lines can be undergrounded,

that action alone does not necessarily mean better service. Reliability can

approach 100% with above ground lines if the IOU aggressively clear their

ROW of trees.  Not popular with land owners, but this is achievable.

High Voltage transmission line, likewise can be undergrounded, but their

reliability then goes down, not up.  230 KV lines have successfully be

undergrounded for years using oil filled cables, but they are prone to

failure due to moisture, heat, and age,  500 KV transmission has been

removed from towers and placed in SF-6 containers.  These "Busses" could

easily be undergrounded for a cost, but again the reliability goes down, and

the cost rises tremendously.  SF-6 itself is a green house gas and must be

closely monitored to prevent leaks.  When SF-6 equipment does fault, it

becomes a hazardous waste, and the clean up cost is very high.  Above ground

transmission can achieve very high reliability if the trees and brush is

kept under control and off ROW trees are removed it they can reach the

transmission line when the blow over, or otherwise fall.

If you'd check, you'd see that the BPA experienced very little loss of

transmission during this storm.  The outages along the Oregon coast were the

worst hit due to trees blowing into transmission lines.  They did lose a

couple structures, but their system remained intact for the most part.

There was some talk about installing generators in communities.  That should

be a community problem, but any such installation should be by permit only

so that safety of the public and utility workers is monitored.  Several

gasoline stations in the NW already have emergency plugs installed by BPA to

allow portable generators to power their pumps for emergency vehicles.  This

would be a prudent action for all utilities to pursue.

Loggers like to leave fringe trees near the transmission lines as they are

the hardest to cut due to the safety involved.  WU&TC could increase

reliability by getting the laws changed to prevent leaving fringe trees near

power lines..  If they don't fall, the utility is forced to remove them for

the safety of their lines.

Trees can be removed if a utility is willing to invest the necessary cost to

remove them.  Bonneville's historic worst performing transmission line has

been the Raymond-Cosmopolis 115 kV line on the Washington Coast.  The poor

performance was due to a very narrow old 34.5 kV line purchased in the early

40's and converted to 115 kV.  After reviewing it's outage history,

Weyhauser was approached and all the trees along the corridor were purchased

and removed.  Weyhauser was then allowed to plant slower growing species of

trees, and signed an agreement to log them when they reached a height that

would endanger the line.  The trees were sold to help offset the cost.