## REDACTED
SHADED INFORMATION IS DESIGNATED CONFIDENTIAL PER WAC 480-07-160
REDACTED VERSION

## (2)(a)(i) One Time (all)
PUGET SOUND ENERGY 2020 RPS REPORT | [6 empty] | Attachment 5
480-109-210(2)(a)(i) Utility must make a one-time calculation of incremental cost for each eligible resource at the time of acquisition or, for historic acquisitions, the best information available at the time of acquistion
Formula One Time Calculation of Incremental Cost: Energy-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Capacity-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Energy + Capacity = Incremental Cost
Resource | ENERGY | $ | Energy | Capacity | Capacity | $ | $
| Levelized Cost Eligible Renewable Resource ($/REC/MWh) | Total Annual Cost ($) | Levelized Cost Alternative ($/MWh) | Levelized Cost Alternative ($/kW-yr) | Total Alternative Cost ($) | Incremental Cost ($) | Washington Share
Baker River Project - Lower Baker Unit 3 | 78.5388 | 8600000 | 7.92 | 120.012 | 9290000 | -690000 | -690000
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 112.6917 | 3850000 | 2.44 | 64.824 | 3180000 | 670000 | 670000
Wild Horse - Wild Horse | 54.3404 | 34940000 | 26.53 | 281.196 | 29740000 | 5200000 | 5200000
Hopkins Ridge - Hopkins Ridge | 40.2006 | 18770000 | 19.26 | 149.796 | 20970000 | -2200000 | -2200000
Wild Horse - Wild Horse - Phase II | 109.0454 | 10030000 | 5.09 | 70.956 | 5900000 | 4130000 | 4130000
Hopkins Ridge - Hopkins Ridge Phase II | 60.8828 | 1280000 | 1.19 | 14.892 | 1360000 | -80000 | -80000
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 78.633 | 39330000 | 48.51 | 148.044 | 27960000 | 11370000 | 11370000
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 78.6467 | 31280000 | 48.51 | 148.044 | 22230000 | 9050000 | 9050000
Klondike III - Klondike Wind Power III LLC | 65.1319 | 10270000 | 8.98 | 81.468 | 9910000 | 360000 | 360000
[6 empty] | 0 | 0
[6 empty] | 0 | 0
Total Renewable Resource Cost |  | 158350000 |  |  | 130540000 | 27810000 | 27810000
Note 1: WAC 480-109-210 (2) (G): Legacy resources. Any eligible resource that the utility acquired prior to March 31, 1999, is deemed to have an incremental cost of zero. |  |  |  |  | Washington Share: | 100%
[5 empty] | ALL RESOURCES TOTAL INCREMENTAL COST = ENERGY + CAPACITY | 27810000
Note: Levelized cost of eligible renewable resource should include integration costs, where applicable.

## (R)(2)(a)(ii)Annual2020estimate
PUGET SOUND ENERGY 2020 RPS REPORT | [5 empty] | Attachment 5
2020 Estimated Data: Annual Calculation of Revenue Requirement Ratio
480-109-210(2)(a)(ii) Utility must annually calculate its revenue requirement ratio for 1) All Resources 2) Required Resources Target Year
Formula Annual Calculation of Incremental Cost (Revenue Requirement Ratio): 1) Total Incremental Cost All* Resources: {[sum of incremental costs of All* eligible resources + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement *required because of excess generation, Avista needs to report 2 incremental costs 2) Total Incremental Cost Required Resources for Target Year: {[sum of incremental costs of Target Year* eligible resources used for target year compliance + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement
Resource--Washington Only | ALL AVAILABLE RESOURCES ESTIMATED |  |  | TARGET YEAR: FORCAST SUBJECT TO CHANGE
| sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales/Note 1 | sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales/Note 1
Baker River Project - Lower Baker Unit 3 | -690000 |  |  | -690000
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 |  |  | 670000
Wild Horse - Wild Horse | 5200000 |  |  | 5200000 |  | XXXXX
Hopkins Ridge - Hopkins Ridge | -2200000 |  |  | -2200000
Wild Horse - Wild Horse - Phase II | 4130000 |  |  | 4130000
Hopkins Ridge - Hopkins Ridge Phase II | -80000 |  |  | -80000
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 11370000 |  |  | 11370000
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 9050000 |  |  | 9050000
Klondike III - Klondike Wind Power III LLC | 360000 |  |  | 360000 |  | XXXXX
Various REC Purchases - Note 4 |  |  |  |  | 671857.2 | 0
| 0 |  |  | 0
| 0 |  |  | 0
| 0 |  |  | 0 |  | 0
Total | 27810000 | 0 | 0 | 27810000 | 671857.2 | -837015
Total WA Only Resources | 27810000 | 0 | 0 | 27810000 | 671857.2 | -837015
| 0 | 0 | 0 | 0 | 0 | 0
Total WA Share of Costs | 27810000 | 0 | 0 | 27810000 | 671857.2 | -837015
Annual Revenue Requirement (most recent rate case) (Note 3) |  |  | 1996287283 |  |  | 1996287283
| CALCULATION 1 (Note 2): |  | 29134145.34 | CALCULATION 2 (Note 2): |  | 28961123.7165
| 1.459% |  |  | 1.451%
NOTES
Note 1: Includes only benefit of Vintage 2019 REC sales. Benefit of REC sales for Vintage 2012 through 2019 were considered and included in original one time calculation of incremental costs, therefore
it would not be appropriate to include again in annual costs. Additionally, no vintage 2020 RECS sold to date.
Note 2: To calculate revenue requirements all costs/revenues are multiplied by 1.047614 to account for Washington's share Excise Tax, Uncollectibles and Commission Fees.
Note 3: Figure reflects Revenue Requirement from PSE's 2017 General Rate Case, after adjusting for Tax Cuts and Job Acts ("Tax Reform") updates approved by the Commission in Docket UE-180282
Electric Revenue Requirement as originally approved in UE-170033 was $2,069,159,344. Utilizing the pre-tax reform revenue requirement results in a 1.408% revenue requirement ratio
Note 4: Purchased RECs are part of PSE's REC optimization strategy in order to reduce customer costs associated with RPS compliance.
PSE sold portion of PNW wind RECs at a premium and purchased lower costing I-937 compliant RECs. These savings are provided to customers through PSE's REC tracker.
Redacted
Version

## (2)(a)(iii)(A) and (B)
PUGET SOUND ENERGY 2020 RPS REPORT |  |  |  |  | Attachment 5
(iii)(A) & (B) Annual Reporting Summary Data: 2020
2020 | Utility must (A) report its total incremental cost as a dollar amount and in dollars per megawatt-hour of renewable energy generated by all eligible renewable resources in the calcualtion (a)(i) of this subsection; and (B) multiply the dollars per megawatt-hour cost calculated in (a)(iii)(A) of this subsection by the number of megawatt-hours needed for target year compliance.
| (A) |  |  | (B)
Resource | Total Incremental Cost (as dollar $ amt.) | MWh | Total Incremental Cost ($/MWh) | Number of Megawatt-hours Needed for Target Year Compliance | Total Incremental Cost ($/MWh) Multiplied by Number of Megawatt-hours Needed for Target Year Compliance
Baker River Project - Lower Baker Unit 3 | -690000 | 109500 | -6.3014 | 70693 | -445462.7397
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 | 34164 | 19.6113 | 17398 | 341197.1666
Wild Horse - Wild Horse | 5200000 | 642984 | 8.0873 | 343366 | 2776901.447
Hopkins Ridge - Hopkins Ridge | -2200000 | 466908 | -4.7118 | 324844 | -1530615.8815
Wild Horse - Wild Horse - Phase II ** (Vintages 2019 & 2020) | 4130000 | 91980 | 44.9011 | 190289 | 8544178.8432
Hopkins Ridge - Hopkins Ridge Phase II (Vintages 2019 & 2020) | -80000 | 21024 | -3.8052 | 33200 | -126331.8113
Lower Snake River - Dodge Junction - LSR-Dodge Junction** (Vintages 2019 & 2020) | 11370000 | 500172 | 22.7322 | 835891 | 19001624.7811
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch** (Vintages 2019 & 2020) | 9050000 | 397728 | 22.7542 | 608886 | 13854740.677
Klondike III - Klondike Wind Power III LLC (Vintages 2019 & 2020) | 360000 | 157680 | 2.2831 | 133498 | 304789.9543
Varioius REC Purchases (Note 1) |  |  | 2.9249 | 229704 | 671857.2
REC Sales |  |  |  |  | -837015
Apprenticeship Credits for Eligible Resources |  |  |  | 327014 | 0
Total Renewable Portfolio | 27810000 | 2422140 | 11.4816 | 3114783 | 42555864.6368
13.6625
**Note--These facilities qualify for apprenticeship credits therefore requiring less MWh for compliance |  |  |  |  | (Avg cost/MWH for resources used)
Note 1: Purchased RECs are part of PSE's REC optimization strategy in order to reduce customer costs associated with RPS compliance. PSE sold portion of PNW wind RECs at a premium and purchased lower costing I-937 compliant RECs.
These savings are provided to customers through PSE's REC tracker.

## (R) REC PURCHASES
SHADDED INFORMATION IS DESIGNATED CONFIDENTIAL PER WAC 480-07-160
|  | Cost/REC | RECs | Total Cost
|  | XXXXX | XXXXX | XXXXX
|  | XXXXX | XXXXX | XXXXX
|  | XXXXX | XXXXX | XXXXX
| Total Wind REC Purchases |  | 227343 | 665246.4
| Total Bio-Gas REC Purchases | XXXXX | 2361 | XXXXX
| Total REC Purchases |  | 229704 | 671857.2
|  |  | avg $/MWH | 2.9249
Redacted
Version