## OASIS Summary
Appendix H-3 Summary of OASIS Queue Positions
PacifiCorp 2022AS RFP
https://www.oasis.oati.com/ppw/index.html
Document Created: |  |  | December 27, 2021 (To be updated prior to RFP issuance)
| Generation Interconnection | --> | PacifiCorp OV11 Tariff | https://www.oasis.oati.com/woa/docs/PPW/PPWdocs/20211105_OATTMaster.pdf
| Generation Interconnection | --> | Serial Queue | https://www.oasis.oati.com/woa/docs/PPW/PPWdocs/pacificorplgiaq.htm
| Generation Interconnection | --> | Archive - Executed IA - Not in Service | https://www.oasis.oati.com/woa/docs/PPW/PPWdocs/pacificorplgiaqenis.htm
| Cluster Queue | --> | Transition Cluster | https://www.oasis.oati.com/woa/docs/PPW/PPWdocs/pacificorpcliaq.htm
| Cluster Queue | --> | Cluster Study 1 | https://www.oasis.oati.com/woa/docs/PPW/PPWdocs/pacificorpcliaq1.htm

## Serial Queue
Appendix H-3 Summary of OASIS Queue Positions
PacifiCorp 2022AS RFP
As of: | 2021-12-17 | Active: PacifiCorp Generation Interconnection Queue
Interconnect Request Information | [6 empty] | Max MW Output |  | Location of |  |  | Location of Interconnection |  |  | Reports
Generating Facility
Q# | Request Date | Request Status | Company Name | Service Type | Application Rules | Qualifying Facility Status | S | W | County | ST | Region | Point of Interconnection | Customer Requested Commercial Operations Date | Type | Feasibility Study / | System Impact Study | Facilities Study | Optional Study | Schedule Deviation
Fast Track
838 | 2016-12-08 | In Progress | 0 | NR | LGI | QF | 525 | 525 | Tooele | UT | PACE | Clover-Oquirrh transmission line | 2018-12-01 | Solar & Battery Storage |  | Available | Available |  | More info
1045 | 2018-07-05 | In Progress | 0 | NR | OGI | QF | 3 | 3 | Umatilla | OR | PACW | Circuit 5W406 out of Pilot Rock substation | 2019-12-31 | Solar |  | Available | Available
1234 | 2021-08-23 | In Progress | 0 | ER | OGI | NO | 1 | 1 | Jackson | OR | PACW | Circuit 5R76 out of White City substation | TBD | Biogas
Company Name: Only displayed after Interconnection Agreement has been signed or is an affiliate of PacifiCorp.
Affiliate Initial Scoping Meeting Notification: It is PacifiCorp's intention to hold initial scoping meetings for all projects listed that are associated with an affiliate per the relevant timing requirements.
Service Type: Not applicable to Large Generator Interconnection requests made prior to 01/20/2004, Small Generator Interconnection requests, or Qualifying Facility Interconnection requests.
ER: Energy Resource Interconnection Service
NR: Network Resource Interconnection Service
NR with ER: Network Resource Interconnection Service requested, but also studied as Energy Resource. Customer will choose Service Type (ER or NR) prior to Facilities Study.
Study Reports: Available in separate folder on OASIS
Study Schedule Deviation: If displayed, click "More Info" link to view PDF files.

## Executed IA - Not in Service
Appendix H-3 Summary of OASIS Queue Positions
PacifiCorp 2022AS RFP
As of: | 2021-12-17 | Archive: These projects are not considered as part of the generation interconnection queue
Executed, but NOT In Service
Interconnect Request Information | [6 empty] | Max MW Output |  | Location of |  |  | Location of Interconnection | In-Service Date |  |  | Reports
[9 empty] | Generating Facility |  |  |  | (Commercial
Operations)
Q# | Request Date | Request Status | Company Name | Service Type | Application Rules | Qualifying Facility Status | S | W | County | ST | Region | Point of Interconnection | Customer Requested Commercial Operations Date | Agreed to Commercial Operations Date | Type | Feasibility Study / | System Impact Study | Facilities Study | Optional Study | Schedule Deviation | Request Status Explanation
Fast Track
255 | 2008-12-23 | In Progress | Cedar Creek Wind, LLC | ER | LGI | NO | 151.8 | 151.8 | Bingham | ID | PACE | Goshen-Sugar Mill transmission line | 2010-07-01 | 2022-06-24 | Wind |  | Available | Available |  |  | IA signed 7/17/14
409 | 2012-01-26 | Suspended | Boswell Wind Project I, LLC | ER | LGI | No | 320 | 320 | Albany | WY | PACE | Freezeout substation | 2014-09-30 | 2023-12-31 | Wind | Available | Available | Available |  |  | IA signed 6/22/16, suspended 1/9/2020
443 | 2012-10-16 | Suspended | Ponderosa Solar, LLC | ER | LGI | NO | 34.56 | 34.56 | Crook | OR | PACW | Ponderosa substation | 2015-06-30 | 2020-12-01 | Solar & Battery Storage |  | Available | Available |  |  | IA signed June 4, 2015
524 | 2013-10-08 | In Progress | OREG 6, LLC | ER | SGI | NO | 6 | 6 | Salt Lake | UT | PACE | Terminal – Tooele 46kV | 2015-11-30 | 2023-07-01 | Waste Heat | Available | Available | Available |  |  | IA signed March 18, 2015
547 | 2014-02-10 | In Progress | Chopin Wind, LLC | NR | SGI | QF | 18 | 18 | Umatilla | OR | PACW | Weston P substation at 69 kV, on the line Athena side of the NO switch | 2015-11-30 | *10/15/2016 | Wind |  | Available | Available |  |  | IA signed 12/19/2014, *COD (10 MW) 10/15/16, (8 MW) 8/1/21
558 | 2014-03-18 | Suspended | US Magnesium, LLC | NR | LGI | QF | 19 | 21 | Tooele | UT | PACE | Rowley substation | 2015-03-31 | 2021-11-15 | Natural Gas |  | Available | Available |  | More Info | IA signed March 27, 2015,Suspended 7/8/2020
632 | 2014-11-12 | In Progress | Thermo No. 1 BE-01, LLC | NR | SGI | NO | 2.99 | 2.99 | Beaver | UT | PACE | Circuit SML21 out of South Milford substation | 2015-10-01 | 2017-05-31 | Solar |  | Available | Available |  |  | IA signed 11/30/15
634 | 2014-11-20 | In Progress | Fremont Solar, LLC | ER | LGI | NO | 99 | 99 | Beaver | UT | PACE | Parowan-Sigurd line | 2016-12-31 | 2023-09-25 | Solar |  | Available | Available |  |  | IA signed 9/9/16, Suspended 10/31/16
636 | 2014-12-03 | In Progress | Rush Lake Solar, LLC | ER | LGI | NO | 99 | 99 | Iron | UT | PACE | Parowan-West Cedar line | 2016-12-31 | 2023-09-29 | Solar |  | Available | Available |  |  | IA signed 9/9/16, Suspended 10/31/16
642 | 2015-02-09 | In Progress | Parowan Solar, LLC | ER | LGI | NO | 58 | 58 | Iron | UT | PACE | Parowan substation | 2016-10-01 | 2024-12-31 | Solar & Battery Storage |  | Available | Available |  | More Info | IA signed 9/8/16
650 | 2015-04-07 | In Progress | Orchard Windfarm 1, LLC | NR | OLGI | QF | 10 | 10 | Umatilla | OR | PACW | Hinkle substation | 2016-12-30 | 2020-12-18 | Wind |  | Available | Available |  | More Info | IA signed 5/31/16
651 | 2015-04-07 | In Progress | Orchard Windfarm 2, LLC | NR | OLGI | QF | 10 | 10 | Umatilla | OR | PACW | Hinkle substation | 2016-12-30 | 2020-12-18 | Wind |  | Available | Available |  | More Info | IA signed 5/31/16
652 | 2015-04-07 | In Progress | Orchard Windfarm 3, LLC | NR | OLGI | QF | 10 | 10 | Umatilla | OR | PACW | Hinkle substation | 2016-12-30 | 2020-12-18 | Wind |  | Available | Available |  | More Info | IA signed 5/31/16
653 | 2015-04-07 | In Progress | Orchard Windfarm 4, LLC | NR | OLGI | QF | 10 | 10 | Umatilla | OR | PACW | Hinkle substation | 2016-12-30 | 2020-12-18 | Wind |  | Available | Available |  | More Info | IA signed 5/31/16
666 | 2015-05-05 | In Progress | Sunthurst Energy, LLC | NR | OGI | QF | 1.98 | 1.98 | Umatilla | OR | PACW | Circuit 5W406, Pilot Rock City, out of Pilot Rock substation | 2015-12-31 | 2019-12-31 | Solar | Available | Available | Available |  |  | IA signed 3/14/16
687 | 2015-07-28 | In Progress | Swan Lake North Hydro, LLC | ER | LGI | NO | 415.8 | 415.8 | Klamath | OR | PACW | PacifiCorp's Malin 500 kV substation | 2022-12-31 | 2025-11-01 | Pump Storage | Available | Available | Available |  | More Info | IA executed 10/31/19
707 | 2015-09-04 | In Progress | PacifiCorp | ER | LGI | NO | 250 | 250 | Carbon | WY | PACE | Shirley Basin substation | 2020-11-01 | 2020-11-01 | Wind | Available | Available | Available |  | More Info | IA executed 2/19/19
708 | 2015-09-04 | In Progress | PacifiCorp | ER | LGI | NO | 250 | 250 | Carbon | WY | PACE | Shirley Basin substation | 2017-07-01 | 2020-11-01 | Wind | Available | Available | Available |  | More Info | IA executed 2/19/19
712 | 2015-10-09 | In Service | Cedar Springs Transmission LLC | ER | LGI | NO | 520 | 520 | Converse | WY | PACE | Windstar substation | 2021-01-01 | 2020-11-15 | Wind | Available | Available | Available |  | More info | IA executed 3/29/19
713 | 2015-10-12 | In Progress | Cedar Springs Transmission LLC | ER | LGI | NO | 350 | 350 | Converse | WY | PACE | Yellowcake – Antelope Mine line | 2021-01-01 | 2025-01-15 | Wind | Available | Available | Available |  | More info | IA executed 9/24/19
715 | 2015-10-29 | Suspended | Uinta Wind Energy, LLC | ER | LGI | NO | 120 | 120 | Uinta | WY | PACE | Canyon Compression-Railroad transmission line | 2017-07-01 | TBD | Wind | Available | Available | Available |  | More Info | IA executed 9/24/18, IA Suspended 1/22/19
719 | 2015-11-11 | In Progress | Two Rivers Wind, LLC | NR | LGI | QF | 280 | 280 | Albany | WY | PACE | Freezeout substation | 2018-12-31 | 2025-02-01 | Wind | Available | Available | Available | Available | More info | IA Executed 6/26/19
721 | 2015-11-14 | In Progress | Skysol, LLC | NR | OLGI | QF | 55 | 55 | Klamath | OR | PACW | Klamath Falls-Malin transmission line | 2017-06-30 | 2022-04-30 | Solar |  | Available | Available |  | More Info | IA signed 6/5/17
731 | 2016-03-04 | In Progress | Prineville Solar Energy LLC | ER | LGI | NO | 55 | 55 | Crook | OR | PACW | Baldwin Rd – Ponderosa transmission line | 2018-07-01 | TBD | Solar & Battery Storage |  | Available | Available |  | More Info | IA executed 11/5/18
734 | 2016-03-18 | Suspended | Aurora Solar, LLC | ER | LGI | NO | 62.3 | 62.3 | Crook | OR | PACW | Ponderosa substation | 2017-04-30 | 2022-11-01 | Solar | Available | Available | Available |  | More Info | IA signed 9/25/17, Suspended 8/13/20
741 | 2016-05-06 | In Progress | Sparrow Solar, LLC | NR | OLGI | QF | 40 | 40 | Klamath | OR | PACW | Klamath Falls-Lone Pine 230 kV transmission line | 2018-09-01 | 2024-09-01 | Solar |  | Available | Available |  | More Info | IA signed 12/6/17
752 | 2016-05-25 | In Progress | Castle Solar, LLC | ER | LGI | NO | 40 | 40 | Emery | UT | PACE | McFadden substation | 2018-12-31 | 2021-10-31 | Solar |  | Available | Available |  | More info | IA signed 2/1/18
753 | 2016-05-25 | In Progress | Rocket Solar, LLC | ER | LGI | NO | 80 | 80 | Box Elder | UT | PACE | Lampo substation | 2018-12-31 | 2022-07-31 | Solar |  | Available | Available |  | More Info | IA signed 3/6/18
754 | 2016-05-25 | In Progress | Steel Solar, LLC | ER | LGI | NO | 80 | 80 | Box Elder | UT | PACE | Wheelon-Nucor transmission line | 2018-12-31 | 2022-12-16 | Solar & Battery Storage |  | Available | Available |  | More Info | IA signed 6/28/18
763 | 2016-06-22 | In Progress | Appaloosa Solar I, LLC | ER | LGI | NO | 200 | 200 | Iron | UT | PACE | Three Peaks substation | 2018-11-15 | 2023-07-14 | Solar | Available | Available | Available | Available | More info | IA executed 1/7/19
764 | 2016-06-22 | In Progress | Graphite Solar I, LLC | ER | LGI | NO | 80 | 80 | Carbon | UT | PACE | Mathington substation | 2017-12-01 | 2021-11-17 | Solar |  | Available | Available |  | More info | IA signed 9/13/18
777 | 2016-07-13 | In Progress | Hornshadow, LLC | ER | LGI | NO | 100 | 100 | Emery | UT | PACE | Emery substation | 2018-12-31 | 2022-10-03 | Solar & Battery Storage | Available | Available |  |  | More info | IA executed 2/19/19
778 | 2016-07-13 | Suspended | Hornshadow, LLC | ER | LGI | NO | 200 | 200 | Emery | UT | PACE | Emery substation | 2018-12-31 | TBD | Solar & Battery Storage | Available | Available |  |  | More info | IA executed 2/20/19, suspended 2/21/19
781 | 2016-08-01 | In Progress | Elektron Solar, LLC | ER | LGI | NO | 80 | 80 | Tooele | UT | PACE | Craner Flat substation | 2018-12-31 | 2022-06-30 | Solar |  | Available | Available |  | More info | IA signed 10/2/18
783 | 2016-08-03 | In Progress | Dinosolar, LLC | ER | LGI | NO | 30 | 30 | Natrona | WY | PACE | Bar Nunn substation | 2020-06-30 | 2024-12-15 | Solar & Battery Storage |  | Available | Available |  | More info | IA executed 2/12/20
784 | 2016-08-04 | In Progress | Dinosolar, LLC | NR | LGI | NO | 80 | 80 | Natrona | WY | PACE | Casper substation | 2018-12-30 | 2024-12-31 | Solar & Battery Storage |  | Available | Available |  | More info | IA executed 5/22/19
785 | 2016-08-04 | In Progress | Anticline Wind, LLC | ER | LGI | NO | 100 | 100 | Natrona | WY | PACE | Claim Jumper – Casper 230 kV transmission line | 2019-12-31 | 2024-12-31 | Wind | Available | Available | Available |  | More info | IA executed 9/20/19
786 | 2016-08-04 | Suspended | Echo Divide Wind, LLC | ER | LGI | NO | 100 | 100 | Summit | UT | PACE | Evanston-Anschutz transmission line | 2018-12-31 | 2022-04-15 | Wind | Available | Available | Available |  | More info | IA executed 12/24/18, suspended 9/29/20
787 | 2016-08-08 | In Progress | Green River Solar I, LLC | ER | LGI | NO | 200 | 200 | Emery | UT | PACE | Emery-Sigurd #2 line | 2018-11-15 | 2024-08-15 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 5/13/19
788 | 2016-08-08 | In Progress | Green River Solar II, LLC | ER | LGI | NO | 200 | 200 | Emery | UT | PACE | Emery-Sigurd #2 line | 2018-11-15 | 2024-10-25 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 5/13/19
789 | 2016-08-08 | Suspended | Fresh Air Energy II, LLC | NR | LGI | QF | 74.9 | 74.9 | Fremont | WY | PACE | Riverton-Thermopolis transmission line | 2019-09-30 | 2023-10-20 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 10/8/20, suspended 6/17/21
792 | 2016-09-01 | Suspended | RC Solar Energy LLC | NR | LGI | NO | 80 | 80 | Carbon | UT | PACE | Mathington substation | 2019-12-01 | 2021-11-02 | Solar & Battery Storage | Available | Available | Available |  | More info | IA Executed 3/7/19, Suspended 6/28/19
799 | 2016-09-20 | In Progress | Steel Solar, LLC | ER | LGI | NO | 67 | 67 | Box Elder | UT | PACE | Wheelon - Nucor transmission line | 2019-06-30 | 2023-12-04 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 9/20/19
801 | 2016-09-20 | In Progress | Dinosolar, LLC | ER | LGI | NO | 80 | 80 | Natrona | WY | PACE | Bar Nunn substation | 2019-06-30 | 2024-12-15 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 2/12/20
802 | 2016-09-20 | In Progress | Dinosolar, LLC | ER | LGI | NO | 50 | 50 | Natrona | WY | PACE | Bar Nunn substation | 2019-06-30 | 2024-12-15 | Solar & Battery Storage | Available | Available | Available |  | More info | IA executed 2/12/20
805 | 2016-09-30 | In Progress | Glen Canyon Solar A, LLC | ER | LGI | NO | 95 | 95 | Kane | UT | PACE | Sigurd-Glen Canyon transmission line | 2019-12-19 | 2023-11-30 | Solar |  | Available | Available |  | More info | IA executed 4/8/20
807 | 2016-09-30 | In Progress | Elk Mountain Wind, LLC | ER | LGI | NO | 75.9 | 75.9 | Carbon | WY | PACE | Standpipe substation | 2019-08-31 | 2024-12-31 | Wind |  | Available | Available |  |  | IA executed 2/20/20
810 | 2016-10-20 | In Progress | Uinta Wind Energy LLC | ER | LGI | NO | 101 | 101 | Uinta | WY | PACE | Canyon Compression-Railroad transmission line | 2019-07-01 | TBD | Wind | Available | Available | Available |  | More info | IA Executed 11/19/18
815 | 2016-11-07 | In Progress | Uinta Wind Energy LLC | ER | SGI | NO | 20 | 20 | Emery | UT | PACE | Moore substation | 2020-02-01 | 2023-11-30 | Solar |  | Available | Available |  |  | IA executed 5/8/19
820 | 2016-11-15 | Suspended | PacifiCorp | ER | LGI | NO | 48 | 48 | Beaver | UT | PACE | South Milford substation | 2018-02-22 | 2021-11-15 | Solar | Available | Available | Available |  | More info | IA Executed 11/7/19, Suspended 3/20/2020
821 | 2016-11-15 | Suspended | PacifiCorp | ER | LGI | NO | 87 | 87 | Carbon | UT | PACE | Mathington substation | 2018-02-22 | 2023-09-15 | Solar | Available | Available | Available |  | More info | IA executed 1/21/2020, Suspended 3/20/2020
822 | 2016-11-15 | In Progress | PacifiCorp | ER | LGI | NO | 30 | 30 | Sanpete | UT | PACE | Gunnison-Sigurd #1 transmission line | 2018-02-22 | 2026-10-01 | Solar | Available | Available | Available |  | More info | IA executed 10/17/19
823 | 2016-11-15 | Suspended | PacifiCorp | ER | LGI | NO | 178 | 178 | Emery | UT | PACE | Emery substation | 2019-06-30 | 2027-02-01 | Solar | Available | Available | Available |  | More info | IA executed 1/21/2020, Suspended 3/20/2020
824 | 2016-11-14 | Suspended | Grass Butte Solar, LLC | ER | LGI | NO | 40 | 40 | Crook | OR | PACW | Ponderosa substation | 2018-12-31 | TBD | Solar | Available | Available | Available |  | More info | IA executed 1/21/2020, Suspended 10/9/2020
825 | 2016-11-21 | In Progress | Blue Marmot V LLC | ER | SGI | NO | 10 | 10 | Lake | OR | PACW | Bullard substation | 2019-11-30 | 2022-06-30 | Solar | Available | Available | Available |  |  | IA executed 10/1/19
826 | 2016-11-21 | In Progress | Blue Marmot VI LLC | ER | SGI | NO | 10 | 10 | Lake | OR | PACW | Bullard substation | 2019-11-30 | 2022-06-30 | Solar | Available | Available | Available |  |  | IA executed 10/1/19
827 | 2016-11-21 | In Progress | Blue Marmot VII LLC | ER | SGI | NO | 10 | 10 | Lake | OR | PACW | Bullard substation | 2019-11-30 | 2022-06-30 | Solar | Available | Available | Available |  |  | IA executed 10/1/19
829 | 2016-11-21 | In Progress | Blue Marmot IX LLC | ER | SGI | NO | 10 | 10 | Lake | OR | PACW | Bullard substation | 2019-11-30 | 2022-06-30 | Solar | Available | Available | Available |  |  | IA executed 10/1/19
830 | 2016-11-21 | In Progress | Blue Marmot XI LLC | ER | SGI | NO | 10 | 10 | Lake | OR | PACW | Bullard substation | 2019-11-30 | 2022-06-30 | Solar | Available | Available | Available |  |  | IA executed 10/1/19
835 | 2016-12-05 | In Progress | Rock Creek Wind, LLC | ER | LGI | NO | 190 | 190 | Carbon | WY | PACE | Foote Creek substation | 2020-10-01 | 2024-12-15 | Wind | Available | Available | Available |  |  | IA executed 3/25/2020
836 | 2016-12-05 | In Progress | Rock Creek Wind, LLC | ER | LGI | NO | 400 | 400 | Carbon | WY | PACE | Aeolus substation | 2023-10-01 | 2024-12-15 | Wind | Available | Available | Available |  |  | IA executed 3/25/2020
846 | 2017-01-10 | In Progress | Horseshoe Solar, LLC | ER | LGI | NO | 75 | 75 | Tooele | UT | PACE | Horseshoe substation | 2019-06-30 | 2022-07-31 | Solar | Available | Available | Available |  | More info | IA executed 4/26/19
849 | 2017-02-06 | In Progress | sPower Development Company, LLC | NR | OLGI | QF | 100 | 100 | Klamath | OR | PACW | Klamath Falls-Malin transmission line | 2019-12-31 | 2023-12-31 | Solar | Available | Available | Available |  |  | IA executed 5/13/19
862 | 2017-04-06 | In Progress | Rocket Solar, LLC | ER | LGI | NO | 45 | 45 | Box Elder | UT | PACE | Lampo substation | 2019-06-30 | 2023-12-15 | Solar & Battery Storage |  | Available | Available |  | More Info | IA executed 2/11/20
866 | 2017-04-17 | In Progress | Wyoming Machinery Company | ER | SGI | NO | 0.3 | 0.3 | Natrona | WY | PACE | Circuit 5H406 out of Fort Casper substation | 2017-08-01 | 2018-06-15 | Natural Gas | Available |  |  |  |  | IA signed 2/12/18
895 | 2017-06-20 | In Progress | Falls Creek HP, LP | ER | OGI | NO | 4.96 | 4.96 | Linn | OR | PACW | Circuit 4M94 out of Sweet Home substation | 2020-01-01 | 2020-01-01 | Hydro | Available | Available | Available |  |  | IA signed 4/3/18
905 | 2017-07-12 | Suspended | Fresh Air Energy II, LLC | NR | LGI | QF | 50 | 50 | Klamath | OR | PACW | Copco 2 - Westside Tap to Klamath Falls line (Line 18) | 2019-12-01 | 2023-02-01 | Solar & Battery Storage | Available | Available | Available |  |  | IA executed 1/20/21, suspended 2/18/21
906 | 2017-07-12 | Suspended | Fresh Air Energy II, LLC | ER | LGI | NO | 80 | 80 | Klamath | OR | PACW | Klamath Falls-Lone Pine transmission line | 2019-12-01 | 2023-07-01 | Solar & Battery Storage | Available | Available | Available |  |  | IA executed 3/24/2020, suspended 2/18/21
907 | 2017-07-12 | Suspended | Fresh Air Energy II, LLC | ER | LGI | NO | 80 | 80 | Klamath | OR | PACW | Klamath Falls-Lone Pine transmission line | 2019-12-01 | 2023-07-01 | Solar & Battery Storage | Available | Available | Available |  |  | IA executed 3/24/2020, suspended 2/18/21
941 | 2017-09-05 | Suspended | Little Mountain Solar, LLC | ER | LGI | NO | 45 | 45 | Weber | UT | PACE | Marquart-Little Mountain transmission line | 2019-12-31 | TBD | Solar | Available | Available | Available |  | More info | IA Executed 1/18/19, suspended 1/24/19
953 | 2017-09-27 | In Progress | High Top Solar, LLC | NR | LGI | NO | 80 | 80 | Yakima | WA | PACW | Union Gap - Midway transmission line | 2020-01-01 | 2023-12-01 | Solar | Available | Available | Available |  | More info | IA executed 3/17/2021
958 | 2017-10-11 | In Progress | Ormat Nevada, Inc. | ER | LGI | NO | 21.17 | 21.17 | Lincoln | WY | PACE | Lima substation | 2020-02-01 | 2024-06-10 | Waste Heat |  | Available | Available |  | More info | IA executed 6/6/19
971 | 2017-11-07 | In Progress | Rogue River Holdings, LLC | NR | OGI | QF | 2.7 | 2.7 | Klamath | OR | PACW | Turkey Hill substation | 2019-12-15 | 2022-04-01 | Solar |  | Available | Available |  |  | IA executed 6/24/2020
973 | 2017-11-14 | In Progress | City of Preston, Idaho | NR | SGI | QF | 0.41 | 0.41 | Franklin | ID | PACE | Circuit PRS13 out of Preston substation | 2018-01-01 | 2018-12-31 | Hydro |  | Available |  |  |  | IA Executed 9/5/18
974 | 2017-11-15 | In Progress | Lincoln Solar, LLC | NR | LGI | NO | 80 | 80 | Lincoln | WY | PACE | Naughton-Treasureton transmisison line | 2019-12-31 | 2023-12-15 | Solar |  | Available | Available |  |  | IA executed 9/14/2020
1008 | 2018-03-08 | In Progress | Black Rock Solar, LLC | NR | LGI | NO | 94 | 94 | Yakima | WA | PACW | Union Gap - Midway line | 2020-12-01 | 2023-11-20 | Solar & Battery Storage |  | Available | Available |  |  | IA executed 6/23/21
1012 | 2018-03-22 | In Progress | Deschutes Valley Water District | NR | OGI | QF | 4.3 | 4.3 | Jefferson | OR | PACW | Madras – Redmond, Opal Springs tap line | 2021-01-01 | 2020-12-15 | Hydro |  | Available | Available |  |  | IA executed 10/29/2018
1055 | 2018-07-27 | In Progress | Slate Creek Hydro Associates LP | NR | SGI | NO | 4.2 | 4.2 | Shasta | CA | PACW | Castella substation | 2018-12-31 | 2020-02-24 | Hydro |  | Available | Available |  |  | IA executed 4/25/2019
1186 | 2019-10-23 | In Progress | Commercial Energy Management, Inc. | NR | SGI | QF | 0.9 | 0.9 | Bannock | ID | PACE | Circuit LAV11 out of Lava substation | 2020-05-01 | 2021-01-22 | Hydro |  | Available |  |  |  | IA executed 3/24/2020
Company Name: Only displayed after Interconnection Agreement has been signed or is an affiliate of PacifiCorp.
Affiliate Initial Scoping Meeting Notification: It is PacifiCorp's intention to hold initial scoping meetings for all projects listed that are associated with an affiliate per the relevant timing requirements.
Service Type: Not applicable to Large Generator Interconnection requests made prior to 01/20/2004, Small Generator Interconnection requests, or Qualifying Facility Interconnection requests.
ER: Energy Resource Interconnection Service
NR: Network Resource Interconnection Service
NR with ER: Network Resource Interconnection Service requested, but also studied as Energy Resource. Customer will choose Service Type (ER or NR) prior to Facilities Study.
Study Reports: If displayed, click "Available" link to view PDF files.
Study Schedule Deviation: If displayed, click "More Info" link to view PDF files.
Deactivated Explanation
WITHDRAWN BY CUSTOMER: Interconnection Customer requested application be withdrawn from queue.
REMOVED-LACK OF PROGRESS: Removed by PacifiCorp due to lack of progress through procedures by Interconnection Customer.
REMOVED-ERROR IN ENTRY: Removed by Pacificorp due to entry error by PacifiCorp.

## Transition Cluster
Appendix H-3 Summary of OASIS Queue Positions
PacifiCorp 2022AS RFP
PacifiCorp Generation Interconnection Requests | [9 empty] | As of: | 2021-12-17
Interconnect Request Information | [9 empty] | Max MW Output |  | Location of |  |  | Location of Interconnection | In-Service Date
[12 empty] | Generating Facility |  |  |  | (Commercial
Operations)
Generation Interconnection Cluster Number | Cluster | Cluster Area | Former Serial Queue Number | Request Date | Request Status | Company Name | Service Type | Application Rules | Qualifying Facility | S | W | County | ST | Region | Point of Interconnection | Customer Requested Commercial Operations Date | Agreed to Commercial Operations Date | Type | Cluster Study | Facilities Study | Schedule Deviation | Request Status Explanation
TCS-01 | Transition Cluster | CA4 | 839 | 2016-12-08 | Withdrawn |  | NR | LGI | QF | 525 | 525 | Utah | UT | PACE | Clover-Oquirrh transmission line | 2018-12-01 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-02 | Transition Cluster | CA4 | 864 | 2017-04-12 | Withdrawn |  | NR | LGI | NO | 77.5 | 77.5 | Iron | UT | PACE | Three Peaks substation | 2023-12-01 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-03 | Transition Cluster | CA4 | 865 | 2017-04-12 | Withdrawn |  | NR | LGI | NO | 77.5 | 77.5 | Iron | UT | PACE | West Cedar substation | 2023-12-01 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-04 | Transition Cluster | NA | 882 | 2017-05-22 | Withdrawn |  | NR | SGI | QF | 15.32 | 15.32 | Carbon | WY | PACE | Freezeout substation | 2020-11-01 |  | Wind |  |  |  | Deemed Withdrawn - Lack of Progress
TCS-05 | Transition Cluster | CA4 | 898 | 2017-06-23 | Withdrawn |  | ER | LGI | NO | 201.6 | 201.6 | Juab | UT | PACE | Clover substation | 2023-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-06 | Transition Cluster | CA1 | 951 | 2017-09-20 | In Progress |  | NR | LGI | QF | 80 | 80 | Fremont | WY | PACE | Mustang - Spence transmission line | 2019-12-01 |  | Solar & Battery Storage | Available |  |  | 0
TCS-07 | Transition Cluster | CA4 | 966 | 2017-10-20 | In Progress |  | NR | UGI | QF | 20 | 20 | Juab | UT | PACE | Nebo-Vickers-Scipio line | 2022-10-01 |  | Solar | Available |  |  | 0
TCS-08 | Transition Cluster | CA4 | 975 | 2017-11-16 | Withdrawn |  | ER | LGI | NO | 100.8 | 100.8 | Juab | UT | PACE | Clover substation | 2023-12-31 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-09 | Transition Cluster | CA4 | 985 | 2017-11-30 | In Progress |  | ER | LGI | NO | 300 | 300 | Utah | UT | PACE | Camp Williams-Mona #1 line | 2023-11-30 |  | Solar & Battery Storage | Available |  |  | 0
TCS-10 | Transition Cluster | CA2 | 1010 | 2018-03-16 | Withdrawn |  | NR | LGI | QF | 32.75 | 32.75 | Box Elder | UT | PACE | Promontory Substation | 2023-11-01 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-11 | Transition Cluster | CA5 | 1065 | 2018-09-13 | In Progress |  | NR | LGI | NO | 600 | 600 | Butte | ID | PACE | Antelope substation | 1930-09-01 |  | Nuclear | Available |  |  | 0
TCS-12 | Transition Cluster | CA6 | 1068 | 2018-09-17 | In Progress |  | ER | WGI | NO | 3 | 3 | Yakima | WA | PACW | Circuit 5Y690 out of White Swan substation | 2021-12-30 |  | Solar | Available | Available |  | 0
TCS-13 | Transition Cluster | CA6 | 1069 | 2018-09-17 | In Progress |  | NR | SGI | QF | 5 | 5 | Yakima | WA | PACW | Circuit 5Y690 out of White Swan substation | 2021-12-30 |  | Solar | Available | Available |  | 0
TCS-14 | Transition Cluster | CA6 | 1071 | 2018-10-05 | In Progress |  | NR | SGI | QF | 2.99 | 2.99 | Yakima | WA | PACW | Circuit 5Y312 out of Sunnyside substation | 2020-12-31 |  | Solar | Available | Available |  | 0
TCS-15 | Transition Cluster | CA6 | 1072 | 2018-10-05 | In Progress |  | NR | SGI | QF | 2 | 2 | Yakima | WA | PACW | Circuit 5Y312 out of Sunnyside substation | 2020-12-31 |  | Solar | Available | Available |  | 0
TCS-16 | Transition Cluster | CA2 | 1078 | 2018-10-23 | Withdrawn |  | NR | LGI | NO | 80 | 80 | Lincoln | WY | PACE | Naughton – Treasureton transmission line | 2023-12-31 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-17 | Transition Cluster | CA2 | 1083 | 2018-11-05 | Withdrawn |  | NR | LGI | QF | 80 | 80 | Rich | UT | PACE | Birch Creek-Railroad transmission | 2023-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-18 | Transition Cluster | NA | 1084 | 2018-11-05 | Withdrawn |  | NR | SGI | NO | 2.99 | 2.99 | Yakima | WA | PACW | Circuit 5Y441 out of Hopland substation | 2020-12-31 |  | Solar |  |  |  | Withdrawn by Interconection Customer
TCS-19 | Transition Cluster | CA2 | 1085 | 2018-11-13 | Withdrawn |  | NR | LGI | QF | 80 | 80 | Sublette | WY | PACE | Chimney Butte substation | 2023-10-01 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-20 | Transition Cluster | CA9B | 1087 | 2018-11-26 | Withdrawn |  | NR/ER | LGI | NO | 50 | 50 | Lake | OR | PACW | Bullard substation | 2023-12-20 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-21 | Transition Cluster | CA4 | 1092 | 2018-12-06 | Withdrawn |  | NR | LGI | NO | 200 | 200 | Millard | UT | PACE | Pavant substation | 2023-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-22 | Transition Cluster | CA2 | 1094 | 2018-12-13 | Withdrawn |  | NR | LGI | QF | 80 | 80 | Rich | UT | PACE | Birch Creek-Railroad transmission line | 2022-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-23 | Transition Cluster | CA2 | 1095 | 2018-12-13 | Withdrawn |  | NR | LGI | NO | 50 | 50 | Sweetwater | WY | PACE | Raven substation | 2022-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-24 | Transition Cluster | NA | 1096 | 2018-12-28 | Withdrawn |  | NR | SGI | QF | 3.9 | 3.9 | Box Elder | UT | PACE | Cutler-El Monte Vulcraft Tap transmission line | 2019-02-01 |  | Solar |  |  |  | Deemed Withdrawn - Lack of Progress
TCS-25 | Transition Cluster | CA4 | 1103 | 2019-01-16 | In Progress |  | NR/ER | LGI | NO | 30 | 30 | Iron | UT | PACE | West Cedar-Red Butte transmission line | 2022-12-31 |  | Solar | Available |  |  | 0
TCS-26 | Transition Cluster | CA2 | 1116 | 2019-02-25 | Withdrawn |  | NR | LGI | QF | 50 | 50 | Uinta | WY | PACE | Croydon – Railroad transmission line | 2022-12-31 |  | Solar & Battery Storage | Available |  |  | Withdrawn by Interconection Customer
TCS-27 | Transition Cluster | CA3 | 1117 | 2019-02-26 | In Progress | NWQ, LLC | NR | LGI | QF | 60 | 60 | Salt Lake | UT | PACE | Terminal-Prison transmission line | 2021-12-31 |  | Solar & Battery Storage | Available | Available |  | LGIA executed 11/15/21
TCS-28 | Transition Cluster | CA9A | 1120 | 2019-03-11 | In Progress | Trailblazer Solar, LLC | NR | OGI | QF | 2.99 | 2.99 | Jackson | OR | PACW | Circuit 5R110 out of the Vilas Road substation | 2021-07-15 |  | Solar | Available | Available |  | SGIA executed 11/29/21
TCS-29 | Transition Cluster | NA | 1123 | 2019-03-29 | Withdrawn |  | NR | UGI | QF | 3 | 3 | Box Elder | UT | PACE | Circuit SNO12 out of Snowville substation | 2021-12-31 |  | Solar |  |  |  | Withdrawn by Interconection Customer
TCS-30 | Transition Cluster | CA9B | 1126 | 2019-04-08 | In Progress |  | NR | OGI | QF | 10 | 10 | Klamath | OR | PACW | Klamath Falls-Fishhole transmission line | 2021-06-01 |  | Geothermal | Available |  |  | 0
TCS-31 | Transition Cluster | CA2 | 1127 | 2019-04-08 | Withdrawn |  | NR | LGI | QF | 30 | 30 | Uinta | WY | PACE | Croydon – Railroad transmission line | 2022-12-31 |  | Solar & Battery Storage | Available |  |  | Withdrawn by Interconection Customer
TCS-32 | Transition Cluster | NA | 1132 | 2019-04-30 | Withdrawn |  | NR | UGI | QF | 3 | 3 | Box Elder | UT | PACE | Circuit BSH11 out of Bush substation | 2021-12-31 |  | Solar |  |  |  | Withdrawn by Interconection Customer
TCS-33 | Transition Cluster | CA5 | 1143 | 2019-06-14 | Withdrawn |  | NR | LGI | QF | 45 | 45 | Bonneville | ID | PACE | Sand Creek substation | 2021-10-21 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-34 | Transition Cluster | NA | 1144 | 2019-06-14 | Withdrawn |  | NR | LGI | QF | 50.4 | 50.4 | Bonneville | ID | PACE | Sand Creek substation | 2020-10-01 |  | WInd |  |  |  | Withdrawn by Interconection Customer
TCS-35 | Transition Cluster | NA | 1145 | 2019-06-15 | Withdrawn |  | NR | UGI | QF | 1 | 1 | Box Elder | UT | PACE | Circuit BLU11 out of the Blue Creek substation | 2021-12-31 |  | Solar |  |  |  | Withdrawn by Interconection Customer
TCS-36 | Transition Cluster | NA | 1146 | 2019-06-15 | Withdrawn |  | NR | UGI | QF | 2.999 | 2.999 | Box Elder | UT | PACE | Circuit RSH13 out of the Gold Rush substation | 2021-12-31 |  | Solar |  |  |  | Withdrawn by Interconection Customer
TCS-37 | Transition Cluster | CA9A | 1147 | 2019-06-25 | Withdrawn |  | NR | OGI | QF | 2.99 | 2.99 | Jackson | OR | PACW | Circuit 5R55 out of Oak Knoll substation | 2020-12-31 |  | Solar | Available |  |  | Withdrawn by Interconection Customer
TCS-38 | Transition Cluster | CA10 | 1149 | 2019-07-11 | In Progress |  | NR | OGI | NO | 0.3 | 0.3 | Benton | OR | PACW | Circuit 4M182 out of Hillview substation | 2021-09-01 |  | Solar | Available | Available |  | 0
TCS-39 | Transition Cluster | CA10 | 1150 | 2019-07-11 | In Progress |  | NR | OGI | NO | 0.15 | 0.15 | Benton | OR | PACW | Circuit 4M182 out of Hillview substation | 2021-09-01 |  | Solar | Available | Available |  | 0
TCS-40 | Transition Cluster | CA10 | 1151 | 2019-07-11 | In Progress |  | NR | OGI | NO | 0.8 | 0.8 | Benton | OR | PACW | Circuit 4M182 out of Hillview substation | 2021-09-01 |  | Solar | Available | Available |  | 0
TCS-41 | Transition Cluster | CA4 | 1159 | 2019-09-09 | In Progress |  | NR/ER | LGI | NO | 31.1 | 31.1 | Beaver | UT | PACE | South Milford substation | 2021-12-31 |  | Geothermal | Available |  |  | 0
TCS-42 | Transition Cluster | CA9B | 1160 | 2019-09-17 | Withdrawn |  | NR | LGI | NO | 60 | 60 | Modoc | CA | PACW | Clear Lake substation | 2023-12-31 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-43 | Transition Cluster | CA8 | 1161 | 2019-09-19 | In Progress |  | NR | OLGI | QF | 40 | 40 | Crook | OR | PACW | Stearns Butte substation | 2022-12-30 |  | Solar & Battery Storage | Available |  |  | 0
TCS-44 | Transition Cluster | CA8 | 1162 | 2019-09-19 | In Progress |  | NR | OLGI | QF | 80 | 80 | Crook | OR | PACW | Ponderosa substation | 2022-12-30 |  | Solar & Battery Storage | Available |  |  | 0
TCS-45 | Transition Cluster | CA8 | 1163 | 2019-09-19 | In Progress |  | NR | OLGI | QF | 40 | 40 | Crook | OR | PACW | Baldwin Road-Ponderosa transmission line | 2023-05-30 |  | Solar & Battery Storage | Available |  |  | 0
TCS-46 | Transition Cluster | CA8 | 1164 | 2019-09-19 | Withdrawn |  | NR | OLGI | QF | 80 | 80 | Crook | OR | PACW | Baldiwn Road-Ponderosa transmission line | 2024-05-30 |  | Solar & Battery Storage | Available |  |  | Withdrawn by Interconection Customer
TCS-47 | Transition Cluster | CA5 | 1172 | 2019-10-10 | Withdrawn |  | NR | LGI | NO | 450 | 450 | Bingham | ID | PACE | Goshen-Bonneville transmission line | 2023-09-30 |  | Wind | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-48 | Transition Cluster | CA3 | 1175 | 2019-10-11 | In Progress |  | NR | LGI | NO | 200 | 200 | Salt Lake | UT | PACE | Terminal substation | 2023-12-31 |  | Battery | Available | Available |  | 0
TCS-49 | Transition Cluster | NA | 1182 | 2019-10-11 | Withdrawn |  | NR | SGI | QF | 1.84 | 1.84 | Fremont | ID | PACE | Circuit STA13 out of St Anthony substation | TBD |  | Hydro |  |  |  | Deemed Withdrawn - Lack of Progress
TCS-50 | Transition Cluster | CA5 | 1190 | 2019-11-19 | Withdrawn |  | NR | LGI | NO | 200 | 200 | Clark | ID | PACE | Amps substation | 2022-08-01 |  | Solar & Battery Storage | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-51 | Transition Cluster | CA8 | 1204 | 2020-04-06 | Withdrawn |  | NR | SGI | QF | 9 | 9 | Crook | OR | PACW | Circuit 5D126 out of Prineville substation | 2023-05-01 |  | Solar | Available |  |  | Withdrawn by Interconection Customer
TCS-52 | Transition Cluster | CA8 | 1205 | 2020-04-06 | In Progress |  | NR | SGI | QF | 20 | 20 | Crook | OR | PACW | Baldwin Road-Ponderosa transmission line | 2023-05-01 |  | Solar | Available |  |  | 0
TCS-53 | Transition Cluster | CA8 | 1206 | 2020-04-06 | In Progress |  | NR | SGI | QF | 20 | 20 | Crook | OR | PACW | Ponderosa substation | 2023-05-01 |  | Solar | Available |  |  | 0
TCS-54 | Transition Cluster | CA8 | 1214 | 2020-04-13 | In Progress |  | NR | OLGI | QF | 40 | 40 | Crook | OR | PACW | Ponderosa substation | 2024-05-30 |  | Solar & Battery Storage | Available |  |  | 0
TCS-55 | Transition Cluster | CA7 | 1219 | 2020-04-20 | Withdrawn |  | NR | SGI | QF | 20 | 20 | Gilliam | OR | PACW | Circuit 4K16 out of Dalreed substation | 2023-06-01 |  | Solar | Available |  |  | Deemed Withdrawn - Lack of Progress
TCS-56 | Transition Cluster | NA | 1169 | 2019-09-20 | Withdrawn |  | ER | SGI | NO | 5 | 5 | Yakima | WA | PACW | Circuit 5Y312 out of Sunnyside substation | 2021-11-30 |  | Battery |  |  |  | Withdrawn by Interconection Customer
Company Name: Only displayed after Interconnection Agreement has been signed or is an affiliate of PacifiCorp.
Affiliate Initial Scoping Meeting Notification: It is PacifiCorp's intention to hold initial scoping meetings for all projects listed that are associated with an affiliate per the relevant timing requirements.
Study Reports: If displayed, click "Available" link to view PDF files.
Study Schedule Deviation: If displayed, click "More Info" link to view PDF files.

## Cluster Study 1
Appendix H-3 Summary of OASIS Queue Positions
PacifiCorp 2022AS RFP
PacifiCorp Generation Interconnection Requests | [8 empty] | As of: | 2021-12-17
Interconnect Request Information | [8 empty] | Max MW Output |  | Location of |  |  | Location of Interconnection | In-Service Date
[11 empty] | Generating Facility |  |  |  | (Commercial
Operations)
Generation Interconnection Cluster Number | Cluster | Cluster Area | Request Date | Request Status | Company Name | Service Type | Application Rules | Qualifying Facility | S | W | County | ST | Region | Point of Interconnection | Customer Requested Commercial Operations Date | Agreed to Commercial Operations Date | Type | Cluster Study | Facilities Study | Schedule Deviation | Request Status Explanation
C1-01 | Cluster 1 | CA08 | 2020-11-06 | Deactivated |  | NR | SGI | QF | 20 | 20 | Morrow | OR | PACW | Circuit 4K16 out of Dalreed substation | 2023-12-31 |  | Solar |  |  |  | WITHDRAWN
C1-02 | Cluster 1 | CA01 | 2021-04-01 | In Progress |  | NR | SGI | QF | 20 | 20 | Park | WY | PACE | Circuit 9H182 out of Frannie substation | 2025-12-31 |  | Solar | Available |  |  | 0
C1-03 | Cluster 1 | CA01 | 2021-04-01 | In Progress |  | NR | SGI | QF | 9 | 9 | Park | WY | PACE | Circuit 9H184 out of Frannie substation | 2025-12-31 |  | Solar | Available |  |  | 0
C1-04 | Cluster 1 | CA04A | 2021-04-01 | In Progress |  | ER | SGI |  | 6 | 6 | Salt Lake | UT | PACE | Circuit RKW17 out of Porter Rockwell substation | 2023-01-31 |  | Wind & Battery Storage | Available |  |  | 0
C1-05 | Cluster 1 | NA | 2021-04-06 | Deactivated |  | NR | LGI |  | 115 | 115 | Millard | UT | PACE | Blackrock substation | 2026-12-31 |  | Geothermal |  |  |  | WITHDRAWN
C1-06 | Cluster 1 | CA06 | 2021-04-15 | In Progress |  | NR/ER | LGI |  | 199.9 | 199.9 | San Juan | UT | PACE | Pinto substation | 2024-05-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-07 | Cluster 1 | CA06 | 2021-04-15 | In Progress |  | NR/ER | LGI |  | 199.9 | 199.9 | San Juan | UT | PACE | Pinto substation | 2024-05-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-08 | Cluster 1 | CA05 | 2021-04-15 | In Progress |  | NR/ER | LGI |  | 199.9 | 199.9 | Juab | UT | PACE | Clover substation | 2024-05-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-09 | Cluster 1 | CA05 | 2021-04-15 | In Progress |  | NR/ER | LGI |  | 199.9 | 199.9 | Juab | UT | PACE | Clover substation | 2024-05-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-10 | Cluster 1 | CA06 | 2021-04-21 | In Progress |  | NR/ER | LGI |  | 45 | 45 | Emery | UT | PACE | Moore substation | 2024-11-30 |  | Solar & Battery Storage | Available |  |  | 0
C1-11 | Cluster 1 | CA06 | 2021-04-21 | In Progress |  | NR/ER | LGI |  | 450 | 450 | Emery | UT | PACE | Huntington-Spanish Fork transmission line | 2024-11-30 |  | Solar & Battery Storage | Available |  |  | 0
C1-12 | Cluster 1 | CA06 | 2021-04-21 | In Progress |  | NR/ER | LGI |  | 25 | 25 | Carbon | UT | PACE | Helper-National SW Rack transmission line | 2024-11-30 |  | Solar & Battery Storage | Available |  |  | 0
C1-13 | Cluster 1 | CA06 | 2021-04-21 | In Progress |  | NR/ER | LGI |  | 35 | 35 | Carbon | UT | PACE | Columbia Junction substation | 2024-11-30 |  | Solar & Battery Storage | Available |  |  | 0
C1-14 | Cluster 1 | CA06 | 2021-04-21 | In Progress |  | NR/ER | LGI |  | 120 | 120 | Emery | UT | PACE | Emery-Sigurd #2 transmission line | 2024-11-30 |  | Solar & Battery Storage | Available |  |  | 0
C1-15 | Cluster 1 | CA13 | 2021-05-05 | In Progress | PacifiCorp | ER | OGI |  | 2.3 | 2.3 | Klamath | OR | PACW | Circuit 5L49 out of Lakeport substation | 2023-02-01 |  | Battery Storage | Available |  |  | 0
C1-16 | Cluster 1 | CA05 | 2021-05-07 | In Progress |  | NR | LGI |  | 199 | 199 | Millard | UT | PACE | Blackrock substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-17 | Cluster 1 | CA02 | 2021-05-07 | In Progress |  | NR | LGI |  | 199 | 199 | Box Elder | UT | PACE | Bridgerland substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-18 | Cluster 1 | CA08 | 2021-05-07 | Deactivated |  | NR/ER | LGI |  | 160 | 160 | Tooele | UT | PACE | Craner Flat substation | 2025-12-31 |  | Solar & Battery Storage |  |  |  | WITHDRAWN
C1-19 | Cluster 1 | CA11 | 2021-05-07 | In Progress |  | NR | LGI |  | 199 | 199 | Marion | OR | PACW | Parrish Gap substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-20 | Cluster 1 | CA11 | 2021-05-07 | In Progress |  | NR | LGI |  | 199 | 199 | Linn | OR | PACW | Diamond Hill substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-21 | Cluster 1 | CA03 | 2021-05-07 | In Progress |  | NR | LGI |  | 199 | 199 | Caribou | ID | PACE | Threemile Knoll substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-22 | Cluster 1 | CA07 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 400 | 400 | Iron | UT | PACE | Sigurd-Three Peaks transmission line | 2025-12-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-23 | Cluster 1 | CA12 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 300 | 300 | Klamath | OR | PACW | Chiloquin-LaPine transmission line | 2025-12-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-24 | Cluster 1 | CA12 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 400 | 400 | Klamath | OR | PACW | JC Boyle-Klamath Falls transmission line | 2025-12-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-25 | Cluster 1 | CA01 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 900 | 900 | Carbon | WY | PACE | Aeolus substation | 2028-05-01 |  | Pump Storage | Available |  |  | 0
C1-26 | Cluster 1 | CA06 | 2021-05-10 | In Progress |  | NR/ER | LGI |  | 100 | 100 | Carbon | UT | PACE | Columbia Junction substation | 2024-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-27 | Cluster 1 | CA10 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 100 | 100 | Benton | WA | PACW | Grandview substation | 2023-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-28 | Cluster 1 | CA07 | 2021-05-07 | In Progress |  | NR/ER | LGI |  | 199 | 199 | Iron | UT | PACE | Three Peaks substation | 2024-10-15 |  | Solar | Available |  |  | 0
C1-29 | Cluster 1 | CA07 | 2021-05-10 | In Progress |  | NR/ER | LGI |  | 40 | 40 | Beaver | UT | PACE | Blundell-Milford transmission line | 2025-01-01 |  | Geothermal | Available |  |  | 0
C1-30 | Cluster 1 | CA07 | 2021-05-10 | In Progress |  | NR/ER | LGI |  | 100 | 100 | Beaver | UT | PACE | Blundell-Milford transmission line | 2025-01-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-31 | Cluster 1 | CA12 | 2021-05-10 | Deactivated |  | NR/ER | LGI |  | 35 | 35 | Klamath | OR | PACE | Chiloquin-Mile Hi transmission line | 2025-01-01 |  | Solar & Battery Storage |  |  |  | WITHDRAWN
C1-32 | Cluster 1 | CA07 | 2021-05-10 | In Progress |  | NR/ER | LGI |  | 456 | 456 | Millard | UT | PACE | Red Butte-Sigurd #2 transmission line | 2024-12-31 |  | Wind | Available |  |  | 0
C1-33 | Cluster 1 | CA06 | 2021-05-12 | In Progress |  | NR | LGI |  | 100 | 100 | San Juan | UT | PACE | Pinto substation | 2024-10-15 |  | Solar | Available |  |  | 0
C1-34 | Cluster 1 | CA05 | 2021-05-12 | In Progress |  | NR/ER | LGI |  | 200 | 200 | Utah | UT | PACE | Mercer substation | 2024-12-31 |  | Solar | Available |  |  | 0
C1-35 | Cluster 1 | CA01 | 2021-05-13 | In Progress |  | ER | LGI |  | 500 | 500 | Carbon | WY | PACE | Aeolus substation | 2024-12-31 |  | Wind | Available |  |  | 0
C1-36 | Cluster 1 | CA09 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 199.99 | 199.99 | Franklin | WA | PACW | Walla Walla-Wanapum transmission line | 2024-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-37 | Cluster 1 | CA10 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 199.99 | 199.99 | Kittitas | WA | PACW | Pomona-Vantage transmission line | 2024-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-38 | Cluster 1 | CA02 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 199.99 | 199.99 | Uinta | WY | PACE | Muddy Creek substation | 2024-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-39 | Cluster 1 | CA07 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 300 | 300 | Washington | UT | PACE | Red Butte substation | 2023-06-15 |  | Solar & Battery Storage | Available |  |  | 0
C1-40 | Cluster 1 | CA10 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 150 | 150 | Yakima | WA | PACW | Midway-Union Gap transmission line | 2025-10-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-41 | Cluster 1 | CA12 | 2021-05-14 | Deactivated |  | NR | LGI |  | 60 | 60 | Modoc | CA | PACW | Clearlake Substation | 2023-12-31 |  | Solar & Battery Storage |  |  |  | WITHDRAWN
C1-42 | Cluster 1 | CA10 | 2021-05-14 | Deactivated |  | NR | LGI |  | 200 | 200 | Yakima | WA | PACW | Midway-Union Gap transmission line | 2023-12-31 |  | Solar & Battery Storage |  |  |  | WITHDRAWN
C1-43 | Cluster 1 | CA03 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 200 | 200 | Clark | ID | PACE | Amps substation | 2023-12-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-44 | Cluster 1 | CA14 | 2021-05-14 | In Progress |  | ER | LGI |  | 400 | 400 | Lake | OR | PACW | Burns-Summer Lake transmisison line | 2025-10-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-45 | Cluster 1 | CA09 | 2021-05-14 | Deactivated |  | ER | LGI |  | 100 | 100 | Morrow | OR | PACW | Dalreed subsation | 2024-10-01 |  | Solar & Battery Storage |  |  |  | WITHDRAWN
C1-46 | Cluster 1 | CA12 | 2021-05-14 | In Progress |  | ER | LGI |  | 198.75 | 198.75 | Klamath | OR | PACW | Chiloquin-LaPine transmission line | 2024-10-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-47 | Cluster 1 | CA07 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 300 | 300 | Iron | UT | PACE | Three Peaks substation | 2025-12-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-48 | Cluster 1 | CA01 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 600 | 600 | Sweetwater | WY | PACE | Jim Bridger substation | 2025-12-01 |  | Wind | Available |  |  | 0
C1-49 | Cluster 1 | CA03 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 308 | 308 | Bonneville | ID | PACE | Goshen-Bonneville transmission line | 2024-09-30 |  | Wind | Available |  |  | 0
C1-50 | Cluster 1 | CA05 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 400 | 400 | Utah | UT | PACE | Camp Williams-Mona #1 transmission line | 2024-12-15 |  | Solar & Battery Storage | Available |  |  | 0
C1-51 | Cluster 1 | CA05 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 300 | 300 | Juab | UT | PACE | Clover substation | 2024-10-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-52 | Cluster 1 | CA05 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 250 | 250 | Tooele | UT | PACE | Limber substation | 2024-10-01 |  | Solar & Battery Storage | Available |  |  | 0
C1-53 | Cluster 1 | CA01 | 2021-05-14 | In Progress |  | ER | LGI |  | 190 | 190 | Albany | WY | PACE | Aeolus substation | 2024-12-31 |  | Wind | Available |  |  | 0
C1-54 | Cluster 1 | CA05 | 2021-05-14 | In Progress |  | ER | LGI |  | 199 | 199 | Utah | UT | PACE | Camp Williams-Mona #1 transmission line | 2024-10-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-55 | Cluster 1 | CA01 | 2021-05-14 | In Progress |  | ER | LGI |  | 199 | 199 | Carbon | WY | PACE | Platte substation | 2025-12-31 |  | Solar & Battery Storage | Available |  |  | 0
C1-56 | Cluster 1 | CA04B | 2021-05-14 | In Progress |  | ER | LGI |  | 49 | 49 | Salt Lake | UT | PACE | Oquirrh substation | 2024-12-01 |  | Battery Storage | Available |  |  | 0
C1-57 | Cluster 1 | CA01 | 2021-05-14 | In Progress |  | ER | LGI |  | 100 | 100 | Carbon | WY | PACE | Shirley Basin substation | 2025-12-31 |  | Wind | Available |  |  | 0
C1-58 | Cluster 1 | CA04A | 2021-05-14 | In Progress |  | ER | SGI |  | 2 | 2 | Salt Lake | UT | PACE | Circuit RKW17 out of Porter Rockwell substation | 2023-01-31 |  | Wind | Available |  |  | 0
C1-59 | Cluster 1 | CA01 | 2021-05-14 | In Progress |  | NR/ER | LGI |  | 300 | 300 | Converse | WY | PACE | Windstar substation | 2024-06-01 |  | Solar & Battery Storage | Available |  |  | 0
Company Name: Only displayed after Interconnection Agreement has been signed or is an affiliate of PacifiCorp.
Affiliate Initial Scoping Meeting Notification: It is PacifiCorp's intention to hold initial scoping meetings for all projects listed that are associated with an affiliate per the relevant timing requirements.
Study Reports: If displayed, click "Available" link to view PDF files.
Study Schedule Deviation: If displayed, click "More Info" link to view PDF files.