## tbl 1 rates
Summary of Current, PSE Proposed, and Public Counsel Proposed Accrual Rates
Function | Original Cost as of September 30, 2016 | Current Approved Accrual Rate | PSE Proposed Accrual Rate | PC Proposed Accrual Rate | PC Proposed Difference from PSE Proposed
Electric Plant
Steam Production Plant | 1277134227.65 | 1.741% | 4.451% | 3.197% | -1.254%
Hydro Production Plant | 704883822.71 | 1.439% | 2.683% | 2.667% | -0.01536%
Other Production Plant | 1895861022.32 | 3.635% | 4.236% | 4.236% | 0%
Transmission Plant | 1408833111.48 | 2.286% | 2.232% | 2.139% | -0.09313%
Distribution Plant | 3556655872.51 | 2.826% | 3.349% | 3.131% | -0.2181%
General Plant | 215779074.55 | 7.276% | 5.76% | 5.76% | 0%
Total Electric Plant | 9059147131.22 | 2.757% | 3.522% | 3.244% | -0.2781%
Gas Plant
Production Plant | 6583872.23 | 0.9146% | 0.5549% | 0.5549% | 0%
Underground Storage Plant | 42322152.73 | 2.043% | 2.492% | 2.492% | 0%
Other Storage Plant | 12793443.07 | 3.195% | 2.807% | 2.807% | 0%
Distribution Plant | 3348858871.85 | 3.552% | 2.796% | 2.327% | -0.469%
General Plant | 35223866.69 | 11.93% | 3.398% | 3.398% | 0%
Total Gas Plant | 3445782206.57 | 3.613% | 2.795% | 2.339% | -0.4558%
Common Plant
General Plant | 280165405.32 | 8.899% | 7.176% | 7.176% | 0%
Total Common Plant | 280165405.32 | 8.899% | 7.176% | 7.176% | 0%
TOTAL | 12785094743.11 | 3.122% | 3.445% | 3.125% | -0.3199%

## tbl 2 accrual
Summary of Current, PSE Proposed, and Public Counsel Proposed Annual Accrual
Function | Original Cost as of September 30, 2016 | Accrual Amount at Current Depr. Rates | Accrual Amount at PSE Proposed Depr. Rates | Accrual Amount at PC Proposed Depr. Rates | PC Proposed Difference from PSE Proposed
Electric Plant
Steam Production Plant | 1277134227.65 | 22238734.6232 | 56840731 | 40826692.7185 | -16014038.2815
Hydro Production Plant | 704883822.71 | 10145475.0932 | 18909748 | 18801463.654 | -108284.346
Other Production Plant | 1895861022.32 | 68915889.9169 | 80310360 | 80310360 | 0
Transmission Plant | 1408833111.48 | 32210752.1352 | 31445954 | 30133884.3176 | -1312069.6824
Distribution Plant | 3556655872.51 | 100526253.247 | 119111992 | 111355148.6658 | -7756843.3342
General Plant | 215779074.55 | 15699122.9191 | 12429126 | 12429126 | 0
Total Electric Plant | 9059147131.22 | 249736227.9346 | 319047911 | 293856675.356 | -25191235.644
Gas Plant
Production Plant | 6583872.23 | 60213.7923 | 36534 | 36534 | 0
Underground Storage Plant | 42322152.73 | 864446.4942 | 1054584 | 1054584 | 0
Other Storage Plant | 12793443.07 | 408805.6177 | 359095 | 359095 | 0
Distribution Plant | 3348858871.85 | 118962961.1858 | 93646266 | 77939615.953 | -15706650.047
General Plant | 35223866.69 | 4203250.9684 | 1196831 | 1196831 | 0
Total Gas Plant | 3445782206.57 | 124499678.0585 | 96293310 | 80586659.953 | -15706650.047
Common Plant
General Plant | 280165405.32 | 24930601.0038 | 20103357 | 20103357 | 0
Total Common Plant | 280165405.32 | 24930601.0038 | 20103357 | 20103357 | 0
Unrecovered Reserve
Electric Plant | 0 | 0 | 2788097 | 2788097 | 0
Gas Plant | 0 | 0 | 566148 | 566148 | 0
Common Plant | 0 | 0 | 1657869 | 1657869 | 0
Total Unrecovered Reserve | 0 | 0 | 5012114 | 5012114 | 0
TOTAL | 12785094743.11 | 399166506.9969 | 440456692 | 399558806.3089 | -40897885.6911

## tbl 3 PSE acct 312 res
PSE's Accrual Increase in Account 312 Based on a Reserve Surplus
Plant Unit | 9/30/16 Book Reserve | PSE Calculated (Theoretical) Reserve | Book Reserve Surplus / (Deficiency) | PSE Remaining Life | Increase or (Decrease) in Accrual
A | B | C | D=B-C | E | F=-D/E
Colstrip 1 | 42279305.32 | 63433049 | -21153743.68 | 5.7 | 3711183.1018
Colstrip 2 | 36998691.5 | 60721457 | -23722765.5 | 5.7 | 4161888.6842
Colstrip 3 | 88664394.6 | 82086559 | 6577835.6 | 17.6 | -373740.6591
Colstrip 4 | 74762985.32 | 72613068 | 2149917.32 | 17.6 | -122154.3932
Colstrip 1-2 | 5184006.73 | 5766890 | -582883.27 | 5.6 | 104086.2982
Colstrip 3-4 | 10094597.47 | 10442054 | -347456.53 | 17.3 | 20084.1925
Encogen | 34057590.03 | 21846851 | 12210739.03 | 16 | -763171.1894
Frederickson 1/EPCOR | 7308605.07 | 6143948 | 1164657.07 | 24 | -48527.3779
Goldendale | 66841916.81 | 22846712 | 43995204.81 | 25.9 | -1698656.5564
Mint Farm | 3059103.69 | 5463024 | -2403920.31 | 28.5 | 84348.0811
Sumas | 13938346.76 | 5446472 | 8491874.76 | 16.2 | -524189.8
Ferndale | 30590588.72 | 9138763 | 21451825.72 | 17.2 | -1247199.1698
Total Account 312 | 413780132.02 | 365948847 | 47831285.02 |  | 3303951.212
PSE Calculated Accrued Reserve from pages 478-484 of Exh JJS-3r
PSE Remaining Life from page 57 of Exh JJS-3r

## tbl 4 PC acct 312 res
Public Counsel's Accrual Decrease in Account 312 Based on a Reserve Surplus
Plant Unit | 9/30/16 Book Reserve | PSE Calculated (Theoretical) Reserve | WDA Reallocated Book Reserve | Book Reserve Surplus / (Deficiency) after Reallocation | PSE Remaining Life | Increase or (Decrease) in Accrual
A | B | C | E | F=E-C | E | F=-D/E
Colstrip 1 | 42279305.32 | 63433049 | 71724055.4379 | 8291006.4379 | 5.7 | -1454562.533
Colstrip 2 | 36998691.5 | 60721457 | 68658045.2429 | 7936588.2429 | 5.7 | -1392383.9023
Colstrip 3 | 88664394.6 | 82086559 | 92815669.4536 | 10729110.4536 | 17.6 | -609608.5485
Colstrip 4 | 74762985.32 | 72613068 | 82103947.3405 | 9490879.3405 | 17.6 | -539254.508
Colstrip 1-2 | 5184006.73 | 5766890 | 6520650.4273 | 753760.4273 | 5.6 | -134600.0763
Colstrip 3-4 | 10094597.47 | 10442054 | 11806880.9838 | 1364826.9838 | 17.3 | -78891.7332
Encogen | 34057590.03 | 21846851 | 24702340.1361 | 2855489.1361 | 16 | -178468.071
Frederickson 1/EPCOR | 7308605.07 | 6143948 | 6946991.7323 | 803043.7323 | 24 | -33460.1555
Goldendale | 66841916.81 | 22846712 | 25832887.8068 | 2986175.8068 | 25.9 | -115296.3632
Mint Farm | 3059103.69 | 5463024 | 6177067.6707 | 714043.6707 | 28.5 | -25054.1639
Sumas | 13938346.76 | 5446472 | 6158352.2443 | 711880.2443 | 16.2 | -43943.225
Ferndale | 30590588.72 | 9138763 | 10333243.5438 | 1194480.5438 | 17.2 | -69446.5432
Total Account 312 | 413780132.02 | 365948847 | 413780132.02 | 47831285.02 |  | -4674969.823
PSE Calculated Accrued Reserve from pages 478-484 of Exh JJS-3r
In Column E WDA Reallocates 9/30/16 Book Reserve based on PSE Calculated Accrued amounts

## tbl 5 terminal NS
Calculation of Estimated Future Terminal Net Salvage Costs
Plant | PSE Calculated Terminal Net Salvage | Current Year | Plant Retirement Year | PSE Terminal Net Salvage Inflated to Retirement Year | Rate Year | WDA Terminal Net Salvage Inflated to Rate Year
A | B | C | D | E | F | G
Colstrip 1-2 | 28930000 | 2016 | 2022 | 33549930.5889 | 2018 | 30394581.25
Colstrip 3-4 | 36375000 | 2016 | 2035 | 58150900.503 | 2018 | 38216484.375
Lower Baker | 1150000 | 2016 | 2058 | 3244144.4745 | 2018 | 1208218.75
Upper Baker | 1000000 | 2016 | 2058 | 2820995.1952 | 2018 | 1050625
Snoqualmie #1 | 140000 | 2016 | 2044 | 279509.3026 | 2018 | 147087.5
Snoqualmie #2 | 400000 | 2016 | 2044 | 798598.0075 | 2018 | 420250
Source:
PSE file PSE - Production - Terminal Net Salvage Calculations provided in ICNU 27
PSE inflates using a 2.5% escalation rate (PSE Resp to PC DR 319)

## tbl 6 NG FNS%
Comparison of Natural Gas Future Net Salvage Percent Proposals
Account | Current Approved FNS % | PSE Proposed FNS % | PC Proposed FNS %
DISTRIBUTION PLANT
376.20, Mains-Plastic | -35% | -50% | -20%
376.40, Mains-Wrapped Steel | -50% | -50% | -20%
378.00, Measuring & Regulating Station Eq. | -20% | -50% | -20%
380.20, Services-Plastic | -75% | -75% | -60%
380.30, Services-Wrapped Steel | -75% | -75% | -60%

## tbl 7 NG Salv
Comparison of Actually Incurred Net Salvage and Net Salvage in Proposed Depreciation Rates
Account | Description | Five-Year Net Salvage Actually Incurred | Net Salvage Recovery included in PSE's Proposed Depr Rates | PSE Proposed / Actually Incurred | Net Salvage Recovery included in PC's Proposed Depr Rates | PC Proposed / Actually Incurred
A | B | C | D | E=D/C | F | G=F/C
NATURAL GAS PLANT
DISTRIBUTION PLANT
374.20 thru 374.30 | Easements | 0 | 0 | 0 | 0 | 0
375 | Struct. & Imrpov. | 1929.296 | 44081.7143 | 22.8486 | 44058.8375 | 22.8367
376.1 thru 376.4 and 376.6 | Mains | 1673594.484 | 13569877.6667 | 8.1082 | 4997268.3214 | 2.9859
376.5 | Mains - Cathodic Protection | 540.528 | 0 | 0 | 0 | 0
378 | Meas. & Reg. Station Eq. | 304316.044 | 1507047.3333 | 4.9522 | 568383.8202 | 1.8677
380 thru 380.5 | Services | 3723573.058 | 13810391.5714 | 3.7089 | 10632922.1638 | 2.8556
381 | Meters | 804971.238 | 644836.6 | 0.80107 | 645593.1142 | 0.80201
382 | Meter Installations | 230684.392 | 339582.2727 | 1.4721 | 339854.2851 | 1.4732
383 | House Regulators | 938.162 | 0 | 0 | 0 | 0
384 | House Regulators Installations | 466.634 | 0 | 0 | 0 | 0
385 | Indust. Meas. & Reg. St. Eq. | 343042.718 | 237175.9091 | 0.69139 | 236585.1212 | 0.68967
386 | Res. & Comm. WH & CB | 0 | 0 | 0 | 0 | 0
387 | Other Equipment | 0 | 0 | 0 | 0 | 0
TOTAL DISTRIBUTION PLANT |  | 7084056.554 | 30152993.0675 | 4.2565 | 17464665.6633 | 2.4653

## tbl 8 Elec FNS%
Comparison of Electric Future Net Salvage Percent Proposals
Account | Current Approved FNS % | PSE Proposed FNS % | PC Proposed FNS %
TRANSMISSION PLANT
355, Poles Towers, and Fixtures | -30% | -40% | -30%
356, Overhead Conductors & Devices | -20% | -10% | -5%
DISTRIBUTION PLANT
362, Station Equipment | -10% | -15% | -10%
367, Underground Conductors & Devices | -20% | -40% | -20%
369, Services | -20% | -60% | -50%

## tbl 9 Elec Salv
Comparison of Actually Incurred Net Salvage and Net Salvage in Proposed Depreciation Rates
Account | Description | Five-Year Net Salvage Actually Incurred | Net Salvage Recovery included in PSE's Proposed Depr Rates | PSE Proposed / Actually Incurred | Net Salvage Recovery included in PC's Proposed Depr Rates | PC Proposed / Actually Incurred
A | B | C | D | E=D/C | F | G=F/C
ELECTRIC PLANT
TRANSMISSION PLANT
350 thru 350.99 | Easements | 0 | 0 | 0 | 0 | 0
352 thru 352.9 | Struct. & Imrpov. | 0 | 6935.0952 | 0 | 6936.6911 | 0
353 thru 353.9 | Station Equipment | 613269.058 | 1270148.0909 | 2.0711 | 1269882.6638 | 2.0707
354 thru 354.9 | Tower and Fixtures | 0 | 150486.7826 | 0 | 150391.4844 | 0
355 thru 355.9 | Poles and Fixtures | 1057822.46 | 3208891.4286 | 3.0335 | 2364441.3627 | 2.2352
356 thru 356.9 | OH Conductors and Dev. | 123660.184 | 358404.7273 | 2.8983 | 172170.9403 | 1.3923
357 thru 357.7 | Underground Conduit | 0 | 0 | 0 | 0 | 0
358.7 thru 358.9 | UG Conductors and Dev. | 0 | 0 | 0 | 0 | 0
359 thru 359.99 | Roads and Trails | 0 | 0 | 0 | 0 | 0
TOTAL TRANSMISSION PLANT |  | 1794751.702 | 4994866.1246 | 2.783 | 3963823.1423 | 2.2086
DISTRIBUTION PLANT
360.1 | Easements | 0 | 0 | 0 | 0 | 0
361 | Struct. & Imrpov. | 6351.272 | 12772.6364 | 2.011 | 12778.5081 | 2.012
362 | Station Equipment | 272048.13 | 1157142 | 4.2534 | 759060.0127 | 2.7902
363 | Battery Storage Equipment | 0 | 0 | 0 | 0 | 0
364 | Poles, Towers, & Fixtures | 2600667.234 | 3571300.3333 | 1.3732 | 3567248.0549 | 1.3717
365 | OH Conductors and Dev. | 1936403.922 | 3061310.6 | 1.5809 | 3055618.189 | 1.578
366 | Underground Conduit | -5399.718 | 1082974.4545 | -200.5613 | 1082027.445 | -200.3859
367 | UG Conductors and Dev. | 1985431.088 | 9491712.2857 | 4.7807 | 4430301.8653 | 2.2314
368 | Line Transformers | 2352591.792 | 6268592.3333 | 2.6645 | 6262497.6974 | 2.662
369 | Services | 597977.936 | 2147849.625 | 3.5919 | 1710566.445 | 2.8606
370 | Meters | 1157315.118 | 1066402.9091 | 0.92145 | 1069988.1426 | 0.92454
373 | Street Light. & SS | 312465.494 | 332937.1304 | 1.0655 | 333803.1081 | 1.0683
TOTAL DISTRIBUTION PLANT |  | 11215852.268 | 28192994.3078 | 2.5137 | 22283889.4681 | 1.9868