AVAILABLE:

(C)

(D)(N)

(D)(N)

In all territory served by Company in Washington.

APPLICABLE:

To any Customer that owns or operates a generating facility interconnected or requested to be interconnected with, and operate in parallel with Company’s electric system, including without limitation net-metered facilities, with a capacity no more than 20 megawatts. This Schedule does not apply to interconnections or requests for interconnection that are subject to the jurisdiction of the Federal Energy Regulatory Commission. This Schedule does not apply to interconnection of, or electrical company services to, PURPA qualifying facilities pursuant to chapter 480-107 WAC. This Schedule does not apply to standby generators designed and used only to provide power to the customer when the local electric distribution company service is interrupted and that operate in parallel with the electric distribution company for less than 0.5 seconds both to and from emergency service. This Schedule does not govern the settlement, purchase or delivery of any power generated by an interconnection customer's net-metered or production-metered generating facility. This Schedule is offered in compliance with WAC 480-108-001 through WAC 480-108-999 *(*http://apps.leg.wa.gov/wac/default.aspx?cite=480)

DEFINITIONS:

**"Application"** means the written notice as defined in WAC 480-108-030 that the interconnection customer provides to the electrical company to start the interconnection process.

**"Business day"** means Monday through Friday excluding official federal and state holidays.

**"Certificate of completion"** means the form described in WAC 480-108-050(2) that must be completed by the interconnection customer's electrical inspector and approved by the electrical company indicating completion of installation and inspection of the interconnection.

**"Commission"** means the Washington utilities and transportation commission.

**"Electric system"** means all electrical wires, equipment, and other facilities owned by the electrical company used to transmit electricity to customers.

**"Electrical company"** means any public service company, as defined by RCW 80.04.010, engaged in the generation, distribution, sale or furnishing of electricity and subject to the jurisdiction of the commission.

**"Generating facility**" means a source of electricity owned, or whose electrical output is owned, by the interconnection customer that is located on the interconnection customer's side of the point of common coupling, and all ancillary and appurtenant facilities, including interconnection facilities, which the interconnection customer requests to interconnect to the electric system.

**"Initial operation"** means the first time the generating facility operates in parallel with the electric system.

**"Interconnection"** means the physical connection of a generating facility to the electric system so that parallel operation may occur.

**"Interconnection agreement"** means an agreement between an electrical company and the interconnection customer which outlines the interconnection requirements, costs and billing agreements, insurance requirements, and ongoing inspection, maintenance, and operational requirements.

**"Interconnection customer"** means the person, corporation, partnership, government agency, or other entity that proposes to interconnect, or has executed an interconnection agreement with the electrical company. The interconnection customer must: