WN U-60	Original Sheet No. 71-c

# PUGET SOUND ENERGY

Electric Tariff G

# SCHEDULE 71

CONVERSION TO UNDERGROUND SERVICE

IN COMMERCIAL AREAS

(Continued)

2. 	AVAILABILITY – The Company shall install an Underground Distribution System and will remove the existing overhead electric distribution system of 15,000 volts or less together with Company-owned poles following removal of all utility wires therefrom under this Schedule only when all of the following conditions are met:

- Sufficient equipment and materials are available.

- The Conversion Area contains a two or three phase electrical system.

- The Company has the right to render service in the Conversion Area pursuant to a franchise in a form and substance satisfactory to the Company.

- The Conversion Area is a minimum of two (2) contiguous city blocks in length.  In the absence of city blocks, a block shall be a minimum of 440 feet in length.

- All real property within the Conversion Area, including but not limited to, real property within a Public Thoroughfare within the Conversion Area, must receive electric service through Underground Service Lines or underground Primary voltage service from the Underground Distribution System, unless the Company explicitly agrees to other electric service arrangements.

Customers that are eligible to receive service under this schedule are not eligible for service under Schedule 70 of this tariff.

- NON-ELIGIBLE CONVERSIONS – IF PERMITTED BY COMPANY– Conversions of existing overhead distribution systems or portions thereof located on an easement or by prescriptive right and conversions of existing overhead distribution systems or portions thereof that do not meet the availability requirements in paragraph 2 above or of Schedule 70 shall be accomplished at the sole discretion of the Company and after payment by Customer to the Company of one hundred percent (100%) of the Company's estimated costs of such conversion.  If the actual costs of such conversion are less than the estimate by more than ten percent (10%) of the estimate or exceed the estimate by more than ten percent (10%) of the estimate, the Company shall, as applicable, refund any excess payment or bill the Customer for the difference between the actual and the estimated cost.  Non-eligible conversions, if allowed by the Company, shall be subject to paragraphs 5 through 16 of this schedule.

Issued:  November 26, 2001								Effective:  December 27, 2001

Advice No. 2001-48

Issued By Puget Sound Energy

By:	    						     Director, Rates & Regulation

Steve Secrist