## Sheet1 (hidden)
Residential | Yakima
Commercial | Walla Walla
Industrial
Irrigation
Other

## Requested and Completed Removal
[9 empty] | Estimated Removal Costs Provided To Customer | [7 empty] | Actual Removal Costs
Customer Reference | Date of Request | District | Request OR Work Order # | Customer Type | Annual kWH Energy Usage | Annual Revenue | Reason for Removal | Date Estimate Provided | Customer's I&R Costs | Customer's Net Book Value | Customer's Salvage Credit | Credit from Original Line Extension | Customer's Total Removal Costs | Description of Work Required for Removal | Date Customer Paid | Date Removal Completed | Customer's I&R Costs | Outstanding Invoice | Customer's Net Book Value | Customer's Salvage Credit | Credit from Original Line Extension | Final Customer Removal Costs | Customer Advance Payment | Invoice or Refund Amount | Date of Final Invoice / Refund | Final Company Removal Costs | Explanation of Company Removal Costs | Comments
Customer M | 2012-10-30 | Walla Walla | 5647296 & 5719384 | Irrigation | 174843 | 17426 | Going to another service provider | 2013-01-25 | 86091 | 19877 | -1792 | 0 | 104176 | Remove 1,420' three phase underground primary, 5 risers, 75kVA, 225 kVA, 300kVA transformers, service wire in 6 locations, 3 CT metering installations, 3 self contained meters, 3 vaults and approximately 1,995' of conduit. | [13 empty] | Pending outcome of formal commission complaint
| 2012-10-30 | Walla Walla | 5740221 | Commercial | 3228 | 469 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719388 | Commercial | 22716 | 2202 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719405 | Irrigation | 250 | 414 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719389 | Irrigation | 840 | 156 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719398 | Commercial | 584028 | 49656 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719404 | Commercial | 2172 | 1104 | Going to another service provider
| 2012-10-30 | Walla Walla | 5719395 | Commercial | 39168 | 3649 | Going to another service provider
| 2012-10-30 | Walla Walla | 5740219 | Commercial | 1356 | 272 | Going to another service provider
Customer U | 2013-11-05 | Walla Walla | 5844355 | Commercial | 589428 | 62988 | Going to another service provider | 2014-01-14 | 37738 | 18012 | -2426 | 0 | 53324 | REMOVE TWO CONDUCTORS FROM POLE 331202 TO 331100, AND CONVERT 3 PHASE LINE TO SINGLE PHASE CONSTRUCTION, REMOVING ALL CROSS-ARMS. REMOVE 1-480/277V PADMOUNT TRANSFORMER, 150'(INCL RISER)#2 SOL AL URD PRIMARY CABLE, 5 RUNS OF 350 QUAD SERVICES (25') C.T. METERING. | [13 empty] | Cancelled. No response from Customer.
| 2013-11-05 | Walla Walla | 5844352 | Commercial | 13662 | 1332 | Going to another service provider | 2014-01-14 | 952 | 61 | -10 | 0 | 1003 | REMOVE 65' 1/0 TX OH SERVICE, DEMAND METER.
| 2013-11-05 | Walla Walla | 5844359 | Commercial | 33996 | 4554 | Going to another service provider | 2014-01-14 | 18680 | 513 | 0 | 0 | 19193 | REMOVE 1-480/277V PADMOUNT TRANSFORMER, 150'(INCL RISER) #2 SOL AL URD PRIMARY CABLE, 5 RUNS OF 350 QUAD SERVICES (25') C.T. METERING
Customer V | 2013-02-11 | Walla Walla | 5749851 | Commercial | 192 | 144 | Going to another service provider | 2013-12-10 | 1531 | 1208 | -45 | 0 | 2694 | REMOVE 35' POLE, 130' 1/0 TX OH SECONDARY, 150' 1/0 TX OH SERVICE & METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749841 | Commercial | 768 | 201 | Going to another service provider | 2013-12-10 | 4840 | 3605 | -1082 | 0 | 7363 | REMOVE 1-45', 4-40', 2-35' POLES, 1625'(3)#6 CU, 545' #2AL PRIMARY NEUTRAL, 260'(2) #4ACSR PRIMARY AND NEUTRAL, 2-25 KVA POLE MOUNT TRANSFORMERS, 130' 1/0 OH TX SECONDARY, 50'#2 TX OH SERVICE. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749863 | Commercial | 14916 | 3090 | Going to another service provider | 2013-12-10 | 56737 | 9528 | -838 | 0 | 65427 | REMOVE 1-40' POLE, THREE PHASE RISER, 330' 3 phase #2 SOL URD PRIMARY CABLE, Pad Vault, 225 THREE PHASE 277/480V PADMOUNT TRANSFORMER 20'(2) 350 QUAD SERVICES, CT METERING. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5770373 | Industrial | 312252 | 30342 | Going to another service provider | 2013-12-10 | 5126 | 1815 | -543 | 0 | 6398 | REMOVE 3-40' POLES, 2-50 KVA POLE MOUNT TRANSFORMERS,870'(2) | [13 empty] | Cancelled. No response from Customer.
Customer V | 2013-02-11 | Walla Walla | 5749830 | Industrial | 312252 | 30354 | Going to another service provider | 2014-04-15 | 61988 | 2423 | -4456 | 0 | 59956 | REMOVE 1500 KVA 12.5-480V PADMOUNT TRANSFORMER, 960' 4/0 AL 15 KV PRIMARY CABLE, 40' POLE, DOWN GUY AND ANCHOR, 210' 350 QUAD SERVICE, 1500-5 C.T.'S AND METERING, 180' 1/0 ACSR PRIMARY OVERHEAD CONDUCTOR, 60' #2 ACSR PRIMARY NEUTRAL. EXTERNAL CONTRACTOR TO REMOVE 4" CONDUIT AT $ 150.00 A FOOT $42,750 PLUS OVERHEADS (285') EXTERNAL CRANE SERVICE NEEDED TO REMOVE PADMOUNT FROM INSIDE CUSTOMER COMPLEX, FLAGGING. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749811 | Commercial | 27336 | 2466 | Going to another service provider | 2014-04-15 | 5329 | 594 | -2 | 0 | 5921 | INSTALL DEADEND FRAMING ON POLE# 307900, DOWN GUY AND ANCHOR REMOVE 3-45' POLES, 1260'(3) 1/0 ACSR PRIMARY, 420' #2ACSR PRIMARY NEUTRAL, 37.5 KVA POLE MOUNT TRANSFORMER, 15' 1/0 QUAD SERVICE, C.T. METER AND C.T.'S | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749802 | Commercial | 71226 | 7110 | Going to another service provider | 2014-04-15 | 5991 | 3107 | 675 | 0 | 8422 | REMOVE 1440' #4ACSR PRIMARY WIRE, 1 45',1-40' POLES, 2 DOWN GUYS AND ANCHORS, 3-50 KVA 120-240V 7.2KV POLE MOUNT TRANS- FORMERS, 25' 4/0 QUAD SERVICE, C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749789 | Irrigation | 7425 | 832 | Going to another service provider | 2014-04-15 | 7804 | 10656 | -281 | 0 | 18207 | INSTALL DOWN GUY AND ANCHOR, THREE PHASE DEADEND FRAMING ON POLE# 020700 REMOVE 3-40' POLES, 3-10 KVA 120/240V POLE MOUNT TRANSFORMERS, 20' QUAD SERVICE, DEMAND METER, 965' #2AAAC PRIMARY NEUTRAL, 2895' #4ACSR PRIMARY, DOWN GUY AND ANCHOR. | [13 empty] | Cancelled. No response from Customer.
Customer V | 2013-02-11 | Walla Walla | 5749726 | Commercial | 10968 | 1298 | Going to another service provider | 2014-04-15 | 2498 | 97 | -14 | 0 | 2581 | REMOVE 10 KVA 120-240V TRANSFORMER, TRANSFORMER CUT OUT,8' SINGLE CROSSARM, 110' 1/0 QUAD SERVICE, DEMAND METER REHANG EXISTING 50 TRANSFORMER AND REFRAME LINE CUT OUT, RECONNECT 1/0 TX OVERHEAD SECONDARY CONDUCTOR FOR RESIDENTIAL CUSTOMERS TO THE SOUTH. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5731210 | Industrial | 63401 | 60204 | Going to another service provider | 2014-04-15 | 2156 | 233 | -50 | 0 | 2339 | REMOVE 3-100 KVA 277/480V POLE MOUNT TRANSFORMERS,100'(2) 4/0 QUAD SERVICES, C.T. METERING, | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749910 | Commercial | 1822308 | 2208 | Going to another service provider | 2014-04-15 | 962 | 485 | -16 | 0 | 1431 | REMOVE 100' #1/0 TX SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749906 | Commercial | 93672 | 7416 | Going to another service provider | 2014-04-15 | 1581 | 499 | -14 | 0 | 2066 | REMOVE 90' 1/0 TX OH SERVICE, 200A | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749904 | Commercial | 19056 | 1920 | Going to another service provider | 2014-04-15 | 936 | 92 | -6 | 0 | 1022 | REMOVE 65' #2 TX OVERHEAD SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749894 | Commercial | 60 | 136 | Going to another service provider | 2014-04-15 | 1018 | 101 | -151 | 0 | 968 | REMOVE 150' 1/0 TX OH SERVICE, 200A DEMAND METER, 10 KVA POLE MOUNT TRANSFORMER, TANGENT 40' POLE, 900'(3) #6BC PRIMARY, 300' #4ACSR PRIMARY NEUTRAL | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749891 | Commercial | 8676 | 1248 | Going to another service provider | 2014-04-15 | 3990 | 572 | -14 | 0 | 4548 | REMOVE 110' 1/0 QUAD SERVICE, DEMAND METER, 200:5, C.T.'S 900'(3) #6BC PRIMARY WIRE, 300' #4ASCR PRIMARY NEUTRAL INSTALL DOWN GUY AND ANCHOR, DEAD END PRIMARY CONSTRUCTION | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5749851 | Commercial | 192 | 141 | Going to another service provider | 2014-04-15 | 1531 | 1208 | -45 | 0 | 2694 | REMOVE 35' POLE, 130' 1/0 TX OH SECONDARY, 150' 1/0 TX OH SERVICE, METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | 5883319 | Irrigation | 0 | 165 | Going to another service provider | 2014-04-15 | 1299 | 589 | -3 | 0 | 1885 | REMOVE 45' POLE, 3-100 KVA 277/480V POLE MOUNT TRANSFORMERS, 20' 1/0 QUAD SERVICE, C.T.'S, C.T. METERING,60' #2ACSR,120' 1/0 ACSR PRIMARY CONDUCTOR | [13 empty] | Cancelled. No response from Customer.
| 2013-12-11 | Walla Walla | 5882606 | Commercial | 320676 | 33504 | Going to another service provider | 2014-04-15 | 3241 | 1214 | -270 | 0 | 4285 | REMOVE 40' POLE, 10 KVA POLE MOUNT TRANSFORMER, 300'(3)#6 BC PRIMARY, 300' #2AAAC | [13 empty] | Cancelled. No response from Customer.
Customer Y | 2014-02-06 | Walla Walla | 5873250 | Commercial | 8136 | 1090 | Going to another service provider | 11/07/2014 | 809 | 878 | -6 | 0 | 1681 | REMOVE 85' #4 TX OH SERVICE, NON DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | 5873248 | Commercial | 773136 | 56640 | Going to another service provider | 11/07/2014 | 2463 | 3945 | -1349 | 0 | 5059 | REMOVE 3-100 KVA POLE MOUNT TRANSFORMERS, (2) 4/0 QUAD SERVICES, 200:5 C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | 5873244 | Commercial | 75000 | 6468 | Going to another service provider | 11/07/2014 | 2526 | 2295 | -248 | 0 | 4573 | REMOVE 3-50 KVA POLE MOUNT TRANSFORMERS(120/240V), 20' (3) 4/0 QUAD SERVICES, 200-5 C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | 5873247 | Commercial | 238596 | 19008 | Going to another service provider | 11/07/2014 | 4641 | 5906 | -1338 | 0 | 9210 | REMOVE 75 KVA, 2-50 KVA POLE MOUNT TRANSFORMERS, 20' 500 QUAD SERVICE, AND C.T. METERING, INSTALL A 25 KVA POLE MOUNT TRANSFORMER. | [13 empty] | Cancelled. No response from Customer.
Customer Z | 2014-04-15 | Walla Walla | 5896176 | Residential | 1392 | 144 | Going to another service provider | 2014-07-01 | 4051 | 2603 | -917 | 0 | 5737 | REMOVE PRIMARY, SERVICE, TRANSFORMERS, SECONDARY, AND METER | [13 empty] | Cancelled. No response from Customer.
Customer AA | 2014-04-20 | Walla Walla | 5908668 | Residential | 30000 | 2472 | Going to another service provider | 2014-07-31 | 1124 | 131 | -28 | 0 | 1226 | REMOVE 170' #2 TX OH SECONDARY, 145' #2 TX OVERHEAD SERVICE, 200A NON DEMAND METER | [13 empty] | Cancelled per Customer request.
Customer AC | 2014-09-09 | Walla Walla | 5948875 | Commercial | 26592 | 2450 | Going to another service provider | 2014-11-05 | 26543 | 1187 | -1054 | 0 | 26676 | REMOVE 300' #2 SOL AL URD PRIMARY CABLE, 15 KVA RANCH RUNNER 50' 4/0 ALXLP U.G. SERVICE, 200A NON DEMAND METER.REMOVE 300' 2" PVC CONDUIT, 50' 3" PVC CONDUIT | [13 empty] | Cancelled. No response from Customer.
| 2014-09-09 | Walla Walla | 5948955 | Commercial | 0 | 144 | Going to another service provider | 2014-11-05 | 333 | 128 | -3 | 0 | 456 | REMOVE 30' #2 TX OH SERVICE, 200A DEMAND METER | [13 empty] | Cancelled. No response from Customer.
Customer AD | 2014-09-11 | Walla Walla | 5949952 | Commercial | 30264 | 3204 | Going to another service provider | 2014-01-21 | 1660 | 149 | -4 | 0 | 1805 | REMOVE 20' 4/0 ALXLP U.G. SERVICE, 200A DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | 5950110 | Commercial | 26328 | 2424 | Going to another service provider | 2014-01-21 | 21350 | 163 | -21 | 0 | 21492 | REMOVE 110' 4/0 ALXLP U.G. SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | 5950111 | Residential | 13200 | 1080 | Going to another service provider | 2014-01-21 | 1613 | 149 | -4 | 0 | 1758 | REMOVE 20' 4/0 ALXLP U.G. SERVICE, NON DEMAND METER, 20' 3" PVC CONDUIT | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | 5950114 | Commercial | 30684 | 2772 | Going to another service provider | 2014-01-21 | 54009 | 10637 | -618 | 0 | 64028 | REMOVE 50 KVA PADMOUNT 240/120V TRANSFORMER, 175' 4/0 ALXLP U.G. SERVICE, METER, 250' #2 SOL AL URD PRIMARY CABLE | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | 5950117 | Commercial | 9276 | 1080 | Going to another service provider | 2014-01-21 | 5786 | 157 | -14 | 0 | 5929 | REMOVE 75' 4/0 ALXLP U.G. SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
Customer AF | 2014-12-12 | Walla Walla | 5983617 | Commercial | 291252 | 24000 | Going to another service provider | 2015-01-23 | 36312 | 3022 | -1162 | 0 | 38172 | REMOVE 3 PHASE SLACK SPAN DEAD END POLE, 3-75KVA OVHD 120/208V TRANSFORMERS, 3-4" SERVICE RISERS, 3 RUNS OF 350-QD UNDERGROUND SERVICE, CT METERING, AND 20' OF 3 PHASE #2 PRIMARY. | [13 empty] | Waiting on Customer to proceed.
| 2014-12-12 | Walla Walla | 5983616 | Commercial | 131500 | 15120 | Going to another service provider | 2015-01-23 | 36312 | 3022 | -1181 | 0 | 38153 | REMOVE 3 PHASE DEAD END SLACK SPAN WITH 45' WOOD POLE, 3 PHASE 45' TANGEANT POLE, 3-50KVA OVHD 120/208V XFMRS, 2-4" SVC RISERS, 2 RUNS OF 115' OF 350-QD SVC UG, CT METERING, AND 75' 3 PHASE OVHD PRIMARY. | [13 empty] | Waiting on Customer to proceed.
Customer AG | 2015-03-12 | Walla Walla | 6015355 | Irrigation | 1500 | 150 | Going to another service provider | 2015-04-09 | 5715 | 2675 | -151 | 0 | 8239 | REPLACE WOOD CROSS ARM & PIN INSULATORS WITH FIBERGLASS ARM AND DEADENDS. REMOVE SIDE GUY & INSTALL NEW D/E GUY & ANCHOR. REMOVE 590' 2#4-ACSR PRIMARY AND NEUTRAL ACSR, 2-40' WOOD POLES, D/G AND ANCHOR, 2-10KVA OVERHEAD 120/240V 3 PHASE XFMRS, 140' #4-QUAD SVC OVERHEAD, AND METER. | [13 empty] | Cancelled. No response from Customer.
Customer AH | 2015-04-08 | Walla Walla | 6025899 | Irrigation | 4284 | 280.2 | Abandoned pump in developer's way |  | 1299 |  |  |  | NA | Remove UG service from 0736/321381 up to and including meter | [11 empty] | NA |  | Estimate for removal was not provided. Customer was not charged for removal.
Customer AI | 2015-02-17 | Walla Walla | 6006544 | Commercial | 23748 | 2500 | Going to another service provider | 2015-04-03 | 128 | 32 | -5 | 0 | 155 | Remove 60' #2 TX OH service and meter | 2015-04-21 | 2015-04-24 | 392.83 | ? | 32 | -5 | 155 | 420 | 155 | 265 | 2015-05-06 | 1516.64
Customer AJ | 2015-04-29 | Walla Walla | 6034318 | Commercial |  |  | Going to another service provider | 2015-06-11 | 4120 | 79 | -6 | 0 | 4193 | Remove 20' 4/0 Quad Service & 200A Demand Meter | [13 empty] | Cancelled. No response from Customer.
| 2015-04-29 | Walla Walla | 6034320 | Commercial |  |  | Going to another service provider | 2015-06-11 | 4091 | 79 | -131 | 0 | 4039 | Remove 20' 4/0ALXP service, 200A demand meter | [13 empty] | Cancelled. No response from Customer.
| 2015-04-29 | Walla Walla | 6034323 | Commercial |  |  | Going to another service provider | 2015-06-11 | 25331 | 3001 | -740 | 0 | 27592 | Remove 150kva padmount transformer (480/277v), 4/0 Quad (2) services, demand meters, install 3 phase sectionalizing cabinet. | [13 empty] | Cancelled. No response from Customer.
Customer AK | 2015-06-05 | Walla Walla | 6048243 | Commercial |  |  | Going to another service provider | [20 empty] | Cancelled. No response from Customer.
AL | 2015-05-29 | Walla Walla | 6045396 | Commercial |  |  | Went to another service provider to pump in the past. Customer building building under line. | 2015-08-25 | 3906 | 4168 | -477 | 0 | 7597 | Remove 575' (3) #6 BC primary and neutral conductor, 45' pole, 2-10KVA pole mount 120/240v transformers, 75' #2 quad service, 2- downguys and anchors. | [13 empty] | Cancelled. No response from Customer. However, due to safety concerns, the Company deenergized line over barn.
AM | 2015-07-22 | Walla Walla | 6067994 | Commercial |  |  | Going to another service provider | 2015-08-21 | 1438 | 2193 | -395 | 0 | 3237 | Remove secondary, 35' pole service, CT's and meter. | [13 empty] | Cancelled per Customer request.
AN | 2015-08-18 | Walla Walla | 6076961 | Residential | 32244 | 2987 | Going to another service provider | 2015-10-29 | 2963 | 2053 | -347 | 0 | 4670 | Remove 45', 1 phase D/E pole, down guy, 25kva ovhd 1 phase transformer, 30'1/0-TX ovhd service, meter, dbl arm with D/E's and 270' #4 ACSR primary and neutral. | 2015-12-14 | [12 empty] | Waiting on ground conditions to improve to complete removal of facilities.
AO | 2015-03-23 | Walla Walla | 6019711 | Commercial |  |  | Going to another service provider | 2015-11-24 | 2687 | 390 | -361 | 0 | 2687 | Rmv 415' (3) #6CW V Phase Pri & neut, 40' pole, 2-10 KVA 120/240V OH Transformers, 2 Dwn-guys & Anchors | [13 empty] | Cancelled. No response from Customer.
AP | 2015-12-17 | Walla Walla | 6128623 | Commercial |  |  | Temporary Service Disconnct | 2015-12-31 | 4570 | 4275 | -84 | 0 | 23761 | Remove 25KVA pad mt transformer, 180' 350 tx, secondary ped, 2 services, 2 meters, conduit and transf vault | [13 empty] | Waiting on Customer to proceed.
AQ | 2015-01-06 | Yakima | 5990035 | Irrigation | 24931 | 2147 | Wants to be served by Yakama Power | 2015-03-06 | 628 | 247 | 0 | 0 | 875 | REMOVE 46' OF #4-QX OH SERVICE AND DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2015-01-06 | Yakima | 5990038 | Irrigation | 52910 | 4153 | Wants to be served by Yakama Power | 2015-03-06 | 1215 | 2684 | 0 | 0 | 3899 | REMOVE 165' OF 1/0 QX OH SECONDARY, 2 SECONDARY POLES, 111' OF 1/0 QX OH SERVICE AND DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2015-01-06 | Yakima | 5990039 | Irrigation | 6174 | 592 | Wants to be served by Yakama Power | 2015-03-06 | 969 | 538 | 0 | 0 | 1507 | REMOVE 90' OF #4-QX OH SECONDARY, REMOVE 35' SECONDARY POLE REMOVE 84' OF #2-QX OH SERVICE AND METER 66622637 | [13 empty] | Cancelled. No response from Customer.
AR | 2015-09-09 | Yakima | 6087791 | Commercial | 8133 | 1000 | Wants to be served by Yakama Power | 2015-10-19 | 1338 | 2636 | 0 | 0 | 3974 | REMOVE 74' OF #2-TX OVERHEAD SECONDARY, REMOVE 35' SECONDARY POLE, REMOVE 149' OF #2-TX OH SVC AND 15' OF #2-TX OPH SERVICE AND METERS 66604213 AND 66604262 | [13 empty] | Cancelled. No response from Customer.
AS | 2015-10-13 | Yakima | 6102695 | Residential | 30472 | 3586 | Wants to be served by Yakama Power | 2015-02-05 | 6513 | 672.79 | 0 | 0 | 7186 | REMOVE 5 POLES, 1368' OF 3#4-AS,N#4-AS, 2 10KVA 120/240V OH XFRMR BANK. SERVICES AND METERS HAVE ALREADY BEEN REMOVED | [13 empty] | Company performed temporary disconnect on 10/23/15. After disconnect, Company confirmed Customer switched utility providers. Removal is being scheduled and Customerwill be invoiced for the actual removal costs.