Seventh Revised Sheet No. 85-c

Canceling Sixth Revised

WN U-60	Sheet No. 85-c

# PUGET SOUND ENERGY

Electric Tariff G

# SCHEDULE 85

LINE EXTENSIONS

(Continued)

  - The Margin Allowance may not be applied to costs of conversion to underground facilities, modification of existing facilities, or Customer requests to replace existing facilities that are sufficient to serve the Customer’s load.  However, the Margin Allowance may be applied to costs related to modification of existing facilities when the Customer is adding new load or requesting three phase service where such service is not available, subject to the conditions in this schedule.

  - The Margin Allowance is available only to offset the costs of facilities used (in the sole judgment of the Company) to provide service to a point at which the Company has the Operating Rights as described in this schedule necessary to extend the line to serve additional Customers.

  - Where a Customer will have little or no initial load or where kWh use is difficult to assess, the Company, in its sole judgment, may agree with the Customer to calculate and refund the Margin Allowance (subject to the limitations in this schedule) at a date up to two years after the line extension is energized.

Primary and Secondary Voltage Line Extension Costs

- The Customer is responsible for all permitting, trenching, backfill, excavation, and restoration, all to the Company’s specifications, required for the installation of the Company’s underground (UG) electric facilities.

- The Company shall provide electric line extensions for Single-Family Residences under the following fee schedule:

| Component / Type of Line Extension | Charge ($ / foot) |
| --- | --- |
| Single Phase UG | $18.20 / foot |
| Single Phase OH | $29.48 / foot |

However, the Company shall charge the Customer actual construction costs in the event that the residential Customer requires or requests three-phase service or requests a modification of Company facilities.

Issued:  November 26, 2001								Effective:  December 27, 2001

Advice No. 2001-48

Issued By Puget Sound Energy

By:	    						     Director, Rates & Regulation

Steve Secrist