## Slide 1: 2010 Integrated Resource Plan
Public Meeting before the Washington Utilities & Transportation Commission
April 25, 2011

## Slide 3: Planning Overview
Develop a 20 year assessment of firm load requirements
Analyze potential resources
  Conservation (Demand-side) Resources
  Supply Side Alternatives
Analysis of resource alternatives through the use of an optimization model

## Slide 4: 2010 Key Findings
Demand Forecast Results:
Customer Growth: 1.62% to 2.35%
Annual Load Growth: 1.31% to 1.89%
Peak Load Growth: 1.63% to 2.41%

## Slide 5: 2010 Key Findings (cont.)
Long Term Natural Gas Supply Outlook positive compared to 2008 IRP
  Long Term price forecasts estimated between $5 to $6 compared to $8 to $10 forecasted in 2008.
  Natural Gas Supplies estimated to be plentiful compared to diminishing supply outlook that was prevalent during 2008 planning cycle.

## Slide 6
Chart: Sumas Price Forecast Comparison 2008 vs 2010
| 40179 | 40210 | 40238 | 40269 | 40299 | 40330 | 40360 | 40391 | 40422 | 40452 | 40483 | 40513 | 40544 | 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122 | 41153 | 41183 | 41214 | 41244 | 41275 | 41306 | 41334 | 41365 | 41395 | 41426 | 41456 | 41487 | 41518 | 41548 | 41579 | 41609 | 41640 | 41671 | 41699 | 41730 | 41760 | 41791 | 41821 | 41852 | 41883 | 41913 | 41944 | 41974 | 42005 | 42036 | 42064 | 42095 | 42125 | 42156 | 42186 | 42217 | 42248 | 42278 | 42309 | 42339 | 42370 | 42401 | 42430 | 42461 | 42491 | 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739 | 43770 | 43800 | 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627 | 45658 | 45689 | 45717 | 45748 | 45778 | 45809 | 45839 | 45870 | 45901 | 45931 | 45962 | 45992 | 46023 | 46054 | 46082 | 46113 | 46143 | 46174 | 46204 | 46235 | 46266 | 46296 | 46327 | 46357 | 46388 | 46419 | 46447 | 46478 | 46508 | 46539 | 46569 | 46600 | 46631 | 46661 | 46692 | 46722 | 46753 | 46784 | 46813 | 46844 | 46874 | 46905 | 46935 | 46966 | 46997 | 47027 | 47058 | 47088 | 47119 | 47150 | 47178 | 47209 | 47239 | 47270 | 47300 | 47331 | 47362 | 47392 | 47423 | 47453 | 47484 | 47515 | 47543 | 47574 | 47604 | 47635 | 47665 | 47696 | 47727 | 47757 | 47788 | 47818
Sumas Price Forecast (LOW)
Sumas Price Forecast (HIGH)

## Slide 7
Chart: Rockies Price Forecast Comparison 2008 vs 2010
| 40179 | 40210 | 40238 | 40269 | 40299 | 40330 | 40360 | 40391 | 40422 | 40452 | 40483 | 40513 | 40544 | 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122 | 41153 | 41183 | 41214 | 41244 | 41275 | 41306 | 41334 | 41365 | 41395 | 41426 | 41456 | 41487 | 41518 | 41548 | 41579 | 41609 | 41640 | 41671 | 41699 | 41730 | 41760 | 41791 | 41821 | 41852 | 41883 | 41913 | 41944 | 41974 | 42005 | 42036 | 42064 | 42095 | 42125 | 42156 | 42186 | 42217 | 42248 | 42278 | 42309 | 42339 | 42370 | 42401 | 42430 | 42461 | 42491 | 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739 | 43770 | 43800 | 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627 | 45658 | 45689 | 45717 | 45748 | 45778 | 45809 | 45839 | 45870 | 45901 | 45931 | 45962 | 45992 | 46023 | 46054 | 46082 | 46113 | 46143 | 46174 | 46204 | 46235 | 46266 | 46296 | 46327 | 46357 | 46388 | 46419 | 46447 | 46478 | 46508 | 46539 | 46569 | 46600 | 46631 | 46661 | 46692 | 46722 | 46753 | 46784 | 46813 | 46844 | 46874 | 46905 | 46935 | 46966 | 46997 | 47027 | 47058 | 47088 | 47119 | 47150 | 47178 | 47209 | 47239 | 47270 | 47300 | 47331 | 47362 | 47392 | 47423 | 47453 | 47484 | 47515 | 47543 | 47574 | 47604 | 47635 | 47665 | 47696 | 47727 | 47757 | 47788 | 47818
Rockies Price Forecast (LOW)
Gas Supply Rockies Price Forecast (HIGH)

## Slide 8
Chart: AECO Price Forecast Comparison 2008 vs 2010
| 40179 | 40210 | 40238 | 40269 | 40299 | 40330 | 40360 | 40391 | 40422 | 40452 | 40483 | 40513 | 40544 | 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122 | 41153 | 41183 | 41214 | 41244 | 41275 | 41306 | 41334 | 41365 | 41395 | 41426 | 41456 | 41487 | 41518 | 41548 | 41579 | 41609 | 41640 | 41671 | 41699 | 41730 | 41760 | 41791 | 41821 | 41852 | 41883 | 41913 | 41944 | 41974 | 42005 | 42036 | 42064 | 42095 | 42125 | 42156 | 42186 | 42217 | 42248 | 42278 | 42309 | 42339 | 42370 | 42401 | 42430 | 42461 | 42491 | 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739 | 43770 | 43800 | 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627 | 45658 | 45689 | 45717 | 45748 | 45778 | 45809 | 45839 | 45870 | 45901 | 45931 | 45962 | 45992 | 46023 | 46054 | 46082 | 46113 | 46143 | 46174 | 46204 | 46235 | 46266 | 46296 | 46327 | 46357 | 46388 | 46419 | 46447 | 46478 | 46508 | 46539 | 46569 | 46600 | 46631 | 46661 | 46692 | 46722 | 46753 | 46784 | 46813 | 46844 | 46874 | 46905 | 46935 | 46966 | 46997 | 47027 | 47058 | 47088 | 47119 | 47150 | 47178 | 47209 | 47239 | 47270 | 47300 | 47331 | 47362 | 47392 | 47423 | 47453 | 47484 | 47515 | 47543 | 47574 | 47604 | 47635 | 47665 | 47696 | 47727 | 47757 | 47788 | 47818
AECO Price Forecast (LOW)
AECO Price Forecast (HIGH)

## Slide 9: 2010 Key Findings (cont.)
Energy Efficiency programs estimated cost effective at levelized cost of $.70 or less.
  Price uncertainty analysis indicates levelized costs could range between $.64 to $.79 per therm (w/o Carbon Adder)
  Includes “non-energy benefit” adders that range from 5% to 20% depending upon life of measures
  Effects of Carbon Adder would further increase cost-effectiveness limits by additional $.08 to $.16

## Slide 10: 2010 Key Findings (cont.)
Washington Conservation measures screened at $.70/therm
20 year planning horizon cumulative conservation savings anticipated to reach over 42 million therms system wide by 2030
  Washington by 2030 could reach 30 million therms

## Slide 11
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Medium Forecast-Avg Weather | 299590.6412 | 301936.71 | 305999.8658 | 311114.7964 | 317407.3411 | 323672.5032 | 329057.2652 | 334433.0766 | 340763.7995 | 347005.816 | 352434.6049 | 357596.9539 | 364161.7656 | 371846.1146 | 377601.2969 | 383526.0718 | 390247.8082 | 396326.8864 | 402197.4028 | 408205.9913
Adj for Conservation | 298437.7841 | 299511.6486 | 302101.993 | 305510.6881 | 309903.8733 | 314078.652 | 317204.8752 | 320257.8198 | 324210.8129 | 328036.3569 | 331009.931 | 333678.3226 | 337749.1769 | 342986.4335 | 346341.3883 | 349912.8007 | 354381.4242 | 358284.2066 | 362055.2442 | 366002.7626
Total System Demand-Medium Forecast

## Slide 12: 2010 Key Findings (cont.)
Additional capacity resources required to meet anticipated peak day requirements
  Incremental Storage with transportation
  Incremental Pipeline Capacity
    GTN (Backhaul)
    Vintage NWP/GTN capacity
  Satellite LNG in latter years

## Slide 13
Chart: SYSTEM Peak Day Demand & Existing Capacity Resources
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
NWP Capacity | 1914.01 | 1920.01 | 2002.01 | 2065.01 | 2103.01 | 2141.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01
GTN Capacity | 623.81 | 623.81 | 623.81 | 623.81 | 623.81 | 623.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81 | 587.81
SGS-1 (Storage) | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95
JP Expansion (Storage) | 0 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
LS-1 (Storage) | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
Core Peak Day Requirements | 3461 | 3538 | 3620 | 3705 | 3791 | 3878 | 3964 | 4051 | 4138 | 4226 | 4314 | 4400 | 4488 | 4574 | 4663 | 4751 | 4837 | 4925 | 5014 | 5102 | 5189

## Slide 14
Chart: Peak Day Demand & Capacity Resource Comparison Medium Load Forecast
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
NWP Capacity | 1920.01 | 2002.01 | 2065.01 | 2103.01 | 2141.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01 | 2332.01
SGS-1 (STORAGE) | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95 | 165.95
JP EXPANSION | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
LS-1 (STORAGE) | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
GTN Capacity | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 508.01 | 519.31 | 519.31 | 519.31 | 519.31 | 519.31
Conservation Resources | 6.3058 | 8.9377 | 12.4546 | 16.4898 | 20.8494 | 25.4694 | 30.4727 | 35.7826 | 41.0932 | 46.4044 | 51.7163 | 57.0289 | 62.3422 | 67.6523 | 70.6839 | 70.6839 | 70.6839 | 70.6839 | 70.6839 | 70.6839
Citygate/Cap Release | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 150 | 0 | 0 | 100 | 200 | 250 | 300 | 300 | 300 | 300 | 300
Incremental NOVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 300 | 300 | 400
GTN Backhaul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5
Incremental GTN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4 | 135.4
Satellite LNG | 4.9928 | 10.3519 | 26.2011 | 26.6321 | 27.6018 | 36.1878 | 39.8701 | 40.2849 | 33.9735 | 37.63 | 44.3148 | 43.3015 | 37.5027 | 30.6615 | 31.248 | 31.4766 | 32.1943 | 33.3536 | 34.5472 | 34.8963
Malin-Stanfield Exchange

## Slide 15
Chart: Annual Supply & Load Requirements
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
BASELOAD | 29518.2867 | 23072.5439 | 29697.0297 | 32735.3397 | 29322.9181 | 32303.6259 | 31364.664 | 31477.9037 | 31284.9736 | 36890.5796 | 42586.4414 | 37827.5513 | 41195.0215 | 39140.9014 | 45483.3963 | 44178.7158 | 44048.6307 | 43312.7016 | 48131.1423 | 63384.2703
DSM | 1912.7657 | 2712.4723 | 3754.6164 | 4998.0263 | 6318.5962 | 7751.7122 | 9237.4442 | 10845.4194 | 12450.9007 | 14122.4832 | 15668.1874 | 17280.0725 | 18886.3042 | 20588.8693 | 21406.4254 | 21403.4044 | 21377.5429 | 21494.7099 | 21403.9791 | 21407.1261
JUST IN TIME (SPOT) | 30000 | 27487.0135 | 26918.9855 | 26876.1748 | 27719.8779 | 27869.552 | 28164.6565 | 28466.312 | 29262.0019 | 29110.867 | 28798.833 | 28954.8637 | 29367.2258 | 30784.5146 | 30566.9014 | 31256.739 | 31906.129 | 32570.0394 | 32631.6287 | 31675.205
PEAKING/CITYGATE | 10000 | 6871.7534 | 6729.7464 | 6719.0437 | 6929.9695 | 6967.388 | 7041.1641 | 7116.578 | 7315.5005 | 7277.7168 | 7199.7082 | 7238.7159 | 7341.8065 | 7696.1287 | 7641.7254 | 7814.1848 | 7976.5323 | 8142.5098 | 8157.9072 | 7918.8013
SATL LNG/PK SHAVING | 599.1415 | 1242.2292 | 3144.1348 | 3195.8526 | 3312.2201 | 4342.5336 | 4784.4108 | 4834.1936 | 4076.8188 | 4515.6055 | 5317.7757 | 5196.176 | 4500.3243 | 3679.3793 | 3749.7602 | 3777.1976 | 3863.3138 | 4002.4338 | 4145.6686 | 4187.5581
SEASONAL/WTR | 212497.1125 | 233639.6145 | 228811.3767 | 228447.486 | 235618.9623 | 236891.1922 | 239399.5807 | 241963.6519 | 248727.0161 | 247442.3698 | 244790.0804 | 246116.3419 | 249621.4197 | 261668.3745 | 259818.662 | 265682.2816 | 271202.0967 | 276845.3348 | 277368.8439 | 269239.2427
STORAGE WD | 16352.1728 | 15764.1667 | 18051.1387 | 19256.8688 | 18743.3375 | 17690.5595 | 18667.676 | 19073.7861 | 18276.3714 | 18087.352 | 18199.5881 | 18198.1263 | 18165.5804 | 18265.5802 | 18234.9537 | 18222.4732 | 18165.5801 | 18182.8372 | 18165.5801 | 18165.5801

ANNUAL LOAD MEDIUM GROWTH SCENARIO | 300066.9622 | 301779.0498 | 306332.0965 | 311061.3326 | 317435.7064 | 323428.5884 | 329589.9363 | 334724.2336 | 340324.9274 | 347375.0657 | 352706.3473 | 357690.0647 | 364957.7404 | 371866.4646 | 377653.7936 | 382886.1014 | 390194.5927 | 394679.8203 | 400757.2561 | 405758.8804

## Slide 16
Chart: Annual Portfolio Cost
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Basecase Scenario-Medium Growth Forecast | 175291 | 207856 | 228726 | 243456 | 245807 | 250918 | 260760 | 269123 | 267971 | 276953 | 286941 | 299261 | 295024 | 293384 | 304775 | 316646 | 320376 | 329396 | 342175
Medium Growth- w/EE Case 1 | 175291 | 207856 | 228726 | 243456 | 245807 | 282388 | 294815 | 305853 | 307633 | 319953 | 333317 | 349221 | 349178 | 352008 | 368033 | 384793 | 394172 | 408719 | 427773
Medium Growth- w/EE Case 2 | 175291 | 207856 | 228726 | 243456 | 245807 | 291799 | 305030 | 316900 | 319596 | 332957 | 347379 | 364409 | 365682 | 369918 | 387403 | 405708 | 416871 | 433172 | 454216
Medium Growth w/EE 3 | 175291 | 207856 | 228726 | 243456 | 245807 | 310623 | 325459 | 338996 | 343522 | 358966 | 375504 | 394785 | 398690 | 405736 | 426143 | 447538 | 462271 | 482078 | 507103
MC-Average | 180035 | 200342 | 217210 | 235676 | 241942 | 249093 | 258246 | 269404 | 271192 | 280952 | 294159 | 308953 | 293885 | 298930 | 316163 | 333570 | 346000 | 361712 | 389285
Medium Growth-Expected High | 198159 | 222698 | 246025 | 264966 | 275635 | 282821 | 293172 | 305476 | 308124 | 322805 | 337514 | 353967 | 339275 | 343514 | 364796 | 386240 | 399997 | 416891 | 442975
Medium Growth-Expected Low | 163931 | 178876 | 190556 | 208138 | 210601 | 217108 | 226606 | 236048 | 236014 | 242182 | 254696 | 267905 | 253604 | 257414 | 271901 | 284974 | 297638 | 309265 | 339526

## Slide 17: 2-Yr Action Plan Highlights—Supply Side Resources
Proposed Regional Integrated Project
  Presents opportunity to increase access Rockies supplies
  Expect an open season later this year
  Palomar will revise the FERC Application (2011/2012)
  In service approximately 2016

## Slide 18: 2-Yr Action Plan Highlights—Supply Side Resources
  Continue to investigate Ruby Pipeline
    concerns regarding rate stacking may make long-term contracting unattractive.
  Even without entering into a long-term capacity contract, Ruby presents the opportunity to secure supplies from Ruby shippers at Malin
    Utilize existing secondary firm capacity on GTN
    Regional Project—Malin to the I-5 corridor maybe possibile depending upon ultimate design
    Firm GTN backhaul service

## Slide 19: 2-Yr Action Plan Highlights-Demand Side Resources
  Continue to explore the efficiency, availability and feasibility of integrating new conservation technologies into our portfolio as costs decline and these items become more prevalent.
    next generation water heaters
    alternative tiers of high efficiency combo systems and hearths
    cutting edge advancements such as high efficiency gas heat pump/gas cooling technologies.

## Slide 20: 2-Yr Action Plan Highlights-Demand Side Resources (cont.)
  Continue monitoring external developments at the state and national level with potential impacts to customer usage within our service territory.
    changes to code
    climate legislation
    other policies pertaining to and effecting the use of natural gas
  Continue to adopt a dynamic and innovative approach to delivery of DSM/conservation.
    Evolve programs to achieve all potential gas savings while realistically addressing obstacles to cost effectiveness such as the reduced cost of gas

## Slide 21
  Further improve assessment and review of achievable conservation potential to ensure a comprehensive and realistic assessment of such opportunities within our Washington service territory.
  Actively participate in regional and local coalitions to encourage market transformation and pro-active approaches to energy efficiency.
  Continue to monitor and adapt as appropriate to outcomes of Washington’s Climate Change Challenge.
2-Yr Action Plan Highlights-Demand Side Resources (cont.)

## Slide 22: Questions/Answers