## Slide 1
Puget Sound Energy
October 31, 2016

## Slide 2: Agenda
EIM Project
Market Performance

## Slide 3: PSE Overview and Service Area
Privileged and Confidential: For Internal Discussion Purposes Only
Headquarters: Bellevue, WA
Revenues: $3.19 billion
Assets: $10.8 billion
Employees: 2,700
Customers:
  More than 1 million electric
  More than 770,000 natural gas
Electric Load
  Average 2,585 MW
  Peak 4,912 MW
Gas Load
  Average 295,000 MMBTU
  Peak 838,834 MMBTU

## Slide 4: System Integration
Total PSE Applications Impacted: ~28
Total Number of Added/Changed Interfaces: ~97

## Slide 5: System Integration
Full Network Model
PSE Inputs:
  Real Time Load, Generation, Voltage, and Transmission Flow Values
CAISO Outputs:
  Pricing Nodes, CAISO State Estimator
Master File
Resource characteristics and costs (i.e., ramp time, start up, capacity)
Metering
5 minute (Generation Meters)
Settlement Quality Meter Data
ISOME or SCME

## Slide 6: Parallel Operations
Dry run for PSE’s 10/1 go-live cutover
Effective training for real-time staff
Opportunity to refine business process
and improve applications performance
Testing unit by unit to receive and operate to CAISO’s Dispatch Operating Target
Successfully Completed Readiness Criteria
  FERC filing August 24th

## Slide 7: Market Performance
Limited sufficiency test failures
  Balancing
  Flex Ramp
  Capacity
Very few FMM or RTD infeasibilities
ELAP prices are normal with a few exceptions
PSE participating generation consistently following Dispatch Operating Targets
Rate of Change Constraints

## Slide 8: Market Performance – EIM Transfers

## Slide 9: Market Performance – Dispatch Operating Targets

## Slide 10: Market Performance - Pricing

## Slide 11: Questions