| "Tony Smith" <TonySmith@Training.Ualocal32.com> 03/30/2005 07:18 AM |  |
| --- | --- |

To

"Sondra Walsh" <swalsh@wutc.wa.gov>

cc

Subject

RE: March 31 UTC meeting

Thank you for the information that you put together. I will be attending

the meeting tomorrow, but as an observer only. I will be meeting with

the PSE representatives immediately following the meeting to work out

any issues that may present themselves to us.

Thanks again,

Tony Smith

Weld Coordinator

UA Local 32

(206) 571-1132

tonysmith@training.ualocal32.com

-----Original Message-----

From: Sondra Walsh [mailto:swalsh@wutc.wa.gov]

Sent: Wednesday, March 23, 2005 1:29 PM

To: Tony Smith

Subject: Re: March 31 UTC meeting

Per our phone conversation this morning, I discussed your questions with

the technical staff.  I asked them to prepare a reply to the change from

12

to 6 month qualification requirement.  Please review the reply and let

us

know if you have any questions, need more information, want to discuss

further etc...

Thanks

Current draft requires that:

(iv)  Appendix  C  welders must be requalified at least twice annually,

but

not to exceed seven and one-half months between qualification tests.

Reasoning and intent behind this change.

1.    Title 49, CFR Part 192.229(b) puts the following limitation on all

welders:

(b)   No welder may weld with a particular welding process unless,

within

the preceding 6 calendar months, he has engaged in welding with that

process.

Oxyacetylene welders are generally tested and qualified to

appendix C

requirements.  Since Appendix C welders are only required to test

once per year, not to exceed 15 months, AND most operators

historically have not tracked production welds, operators were

unable

to show compliance with Part 192.229. Many operators use employees

for various other duties and since fusion accounts for the

majority

of joining, those employees may not weld with a particular process

therefore they lost their "qualification".

2.    The tests outlined in Appendix C are based on an outdated

criteria.

The Federal Office of Pipeline Safety is considering disallowing this

criteria.  Since this criteria is less stringent than ASME or API, Staff

feel it is warranted to require a higher frequency test interval than

that

specified in Appendix C.

3.    At the beginning of this rule making process Staff requested data

from all operators in Washington State.  The results of this data

indicated

that Appendix C (generally Oxyacetylene) welders had a higher failure

rate

than ASME and API welders.  Staff were concerned about the quality of

the

work of some welders that have welded all year and then could not pass

an

annual test.  Testing on a 6 month basis will ensure that poor quality

welds are not installed for longer periods of time.  It should also

provide

a better quality of welders.

4.    This new draft rule was a compromise reached after initial

comments

were received from operators.  The initial draft of the new state rules

eliminated any Appendix C welders and required all welders to qualify to

API or ASME criteria. The new draft rule still disallows the testing of

arc

welders using Appendix C.

Sondra Walsh

Senior Policy Strategist

Washington Utilities and Transportation Commission

1300 S Evergreen Park Dr. S.W.

Olympia, WA  98504

TEL (360) 664-1286

FAX (360) 586-1172

E-mail swalsh@wutc.wa.gov