Agenda Date: 	March 31, 2005

Item Number: 		C2

# Docket No.:		UG-011073

Rulemaking – Gas Companies - Safety

Staff:			Sondra Walsh - Team Lead

David Lyyken - Senior Pipeline Engineer

Scott Rukke – Pipeline Safety Engineer

Don Trotter – Assistant Attorney General

Ann Rendahl – Administrative Law Judge

Recommendation:

Consider proposal to repeal, amend and adopt rules in Chapter 480-93 WAC for adoption.

Discussion:

The Commission initiated this rulemaking on August 9, 2001 to comply with Governor Locke’s Executive Order 97-02.  The Commission filed a Preproposal Statement of Inquiry (CR-101) with the Office of the Code Reviser to initiate a review of the

Gas Companies - Safety rules in Chapter 480-93 of the Washington Administrative Code (WAC).

On July 21, 2004, the Commission directed the Commission Secretary to file a Notice of Proposed Rulemaking (CR-102) with the Code Reviser.  A notice dated July 23, 2004, informed stakeholders of the proposed rule changes and scheduled adoption hearing on October 27, 2004.  Further, the notice asked for written comments not later than August 27, 2004.  On October 18, 2004, a Notice of Continuation of Adoption Hearing was mailed to mailed informing stakeholders that the adoption hearing date was changed to February 9, 2005.  On January 5, 2005, a Supplemental Notice of Proposed Rulemaking was filed with the Code Reviser with a notice informing stakeholders of the proposed rule changes and change in the adoption hearing date to March 16, 2005.  Further, the notice asked for written comments not later than January 28, 2005.  On March 3, 2005, a Notice of Continuation of Adoption Hearing was mailed to stakeholders informing them that the adoption date had been rescheduled to March 31, 2005.

Chapter 80.28 RCW directs the Washington Utilities and Transportation Commission (WUTC) to adopt rules for pipeline safety standards for natural gas pipeline companies.  In addition, Staff reviewed the rules in Chapter 480-93 pursuant to Executive Order 97-02 for readability and content, with special attention given to need, effectiveness and efficiency, clarity, intent and statutory authority, coordination, cost and fairness.

In drafting new rules and reviewing the current rules, Staff endeavored to draft rules that:

1.	Are clearly written, in plain English, so that they are understandable to everyone.

2.	Are presented in a comprehensive, well-organized, and informative document.

3.	State clearly Commission policies, processes, and procedures.

4.	Facilitate voluntary compliance.

The proposed rules establish pipeline safety standards for the transportation of gas that is natural gas, flammable gas, or gas that is toxic or corrosive.  The intent of Chapter 80.28 RCW is to protect the health and safety of the citizens of the State of Washington.  The standards proposed in the rules are equal to, or more stringent than those adopted by the federal government.  The proposed rules require intrastate natural gas  companies to design, construct, operate and maintain their pipeline facilities safely and efficiently.  All affected companies have been directly notified of this rulemaking.

The Commission solicited written comments from all interested persons and held three stakeholder workshops that focused on design and construction, operation and maintenance and on reporting requirements.  The Commission sent notice of draft rules to all affected stakeholders on September 12, 2001, February 8, 2002, April  5, 2002, February 14, 2003, November 7, 2003, August 27, 2004, and January 5, 2005.

The proposed draft of Chapter 480-93 WAC are in Attachment A.  The following rules are proposed to be:

# Repealed

WAC 480-93-002   Application of rules

WAC 480-93-010   Compliance with federal standards

WAC 480-93-030   Proscribed areas

WAC 480-93-082   Qualification of employees

WAC 480-93-111   Noncathodically protected gas facilities

WAC 480-93-112   Corrosive control

WAC 480-93-120   Exposed pipelines

WAC 480-93-150   Station maintenance

WAC 480-93-183   Pipeline and system pressure reporting

WAC 480-93-184   Gas leak responsibility

WAC 480-93-190   Being aware of construction work near gas company facilities

WAC 480-93-210   Interruptions to service

WAC 480-93-220   Rule of Precedence

Amended

WAC 480-93-005  Definitions

WAC 480-93-015  Odorization of gas

WAC 480-93-017  Filing requirements for design, specification, and construction     procedures

WAC 480-930-18  Maps, drawings, and records of gas facilities

WAC 480-93-020  Proximity considerations

WAC 480-93-040  Location of gas compressor stations on gas pipelines

WAC 480-93-080  Welder and plastic joiner identification and qualification

WAC 480-93-100  Valves

WAC 480-93-110  Corrosion control

WAC 480-93-115  Casing of pipelines

WAC 480-93-124  Pipeline markers

WAC 480-93-130  Multistage pressure regulation

WAC 480-93-140  Service regulators

WAC  480-93-155  Increasing maximum allowable operating pressure

WAC 480-93-169  Reporting requirements of proposed construction

WAC 480-93-170  Tests and reports for pipelines

WAC 480-93-175  Moving and lowering metallic gas pipelines

WAC 480-93-180  Plan of operations and maintenance procedures; emergency policy; reporting requirements

WAC 480-93-185  Gas leak investigation

WAC 480-93-186  Leak evaluation

WAC 480-93-18601  Leak classification and action criteria – Grade-Definition-Priority of leak repair

WAC 480-93-187  Gas leak records

WAC 480-93-188  Gas leak surveys

WAC 480-93-200  Reporting requirements for operators of gas facilities

WAC 480-93-223  Civil penalty for violation of RCW 80.28.210

WAC 480-93-230  Exemptions from rules in chapter 480-93 WAC

WAC 480-93-999 Adoption by reference

Adopted

WAC 480-93-007  Application of rules

WAC 480-93-008  Additional requirements

WAC 480-93-009  Severability

WAC 480-93-012  Computation of time

WAC 480-93-178  Protection of plastic pipe

# Conclusion

In conclusion, Staff recommends that the Commission consider the proposal for adoption.

Attachments