Sondra,

This meets our needs and should satisfy the builder community.  Thank

you for taking the time to work with us to address the conduit issue.

Jim Hogan

Manager

Standards & Compliance Dept.

Puget Sound Energy

425-462-3957

-----Original Message-----

From: Sondra Walsh [mailto:swalsh@wutc.wa.gov]

Sent: Wednesday, April 20, 2005 8:04 AM

To: Hogan, Jim; Daugherty, Kaaren

Cc: Ann Rendahl

Subject: Gas rules

Here is the rule language change the Commission is making to WAC

480-93-178.

At this time the Commission is moving forward with adoption of the

rules.

If you have any questions please let me know.

I will be forwarding the language to the Building Industry Association

of

Washington (Trent Matson of BIAW)

Thanks

(4)  When  installing  plastic  pipelines  parallel  to  other

underground

utilities,  operators  must  ensure  there is a minimum of twelve inches

of

separation  from  the  other  utilities.   Where a minimum twelve inches

of

separation  is not possible, operators must take adequate precautions,

such

as  inserting  the  plastic  pipeline in conduit, to minimize any

potential

hazards resulting from the close proximity to the other utilities.

Sondra Walsh

Senior Policy Strategist

Washington Utilities and Transportation Commission

1300 S Evergreen Park Dr. S.W.

Olympia, WA  98504

TEL (360) 664-1286

FAX (360) 586-1172

E-mail swalsh@wutc.wa.gov