

**2015**

**Qualifying Events Report**

**November 17, 2015 Event**

Filed on Feburary 12, 2016

# **Table of Contents**

Table of Contents 2

Event Description 3

**Event Date and Time** 3

**Event Type** 3

**Number of Customers Affected** 3

**Summary of System Impacts** 3

**Mobilization Summary** 3

Active Outage Event Chart 4

Major Event Day – Qualification 5

Qualified Events - 2015 5

**Current Event – Calculation Detail** 5

**YTD Daily SAIDI Detail** 5

Event Restoration – Cost Summary 6

**2015 Restoration Costs Detail by Qualifying Event (updated)** 6

**2015 YTD Storm Restoration Costs Detail** 6

Detail Documents 7

**Restoration Cost Detail – Current Event** 8

**Detailed List of Outages - First TMED-Exceeding Day** 9

**Terms, Codes and Definitions Used on Detail Reports** 36

Media & Communication Coverage 37

# **Event Description**

### **Event Date and Time**

Start: November 17, 2015, 09:00

End: November 21, 2015, 19:00

### **Event Type**

Wind

**Service Areas Significantly Affected**

Thurston, Pierce, Kitsap, Vashon, South King, North King, Skagit, Whatcom, Island, and Kittitas

### **Number of Customers Affected**

System wide, approximately 381,109 customers were without power during the course of this event.

### **Summary of System Impacts**

|  |  |
| --- | --- |
| **Total Number of Outages** | **685** |

|  |  |
| --- | --- |
| Transmission Lines Affected | 25 |
| Substations Offline | 8 |

### **Mobilization Summary**


#### Operating Bases Placed In Emergency Status

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Base** | **Date Opened** | **Time Opened** | **Date Closed** | **Time Closed** |
| Whatcom/Skagit/Island | 11-17-2015 | 16:00 | 11-20-2015 | 19:00 |
| North King | 11-17-2015 | 10:00 | 11-19-2015 | 22:30 |
| South King | 11-17-2015 | 15:00 | 11-19-2015 | 24:00 |
| Pierce | 11-17-2015 | 14:30 | 11-19-2015 | 14:00 |
| Thurston | 11-17-2015 | 14:30 | 11-19-2015 | 18:00 |
| Kitsap | 11-17-2015 | 10:00 | 11-20-2015 | 10:30 |
| Vashon | 11-17-2015 | 10:00 | 11-20-2015 | 10:30 |
| Kittitas | 11-17-2015 | 10:00 | 11-19-2015 | 22:30 |

#### Emergency Coordination Center (ECC)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **ECC** | **Date Opened** | **Time Opened** | **Date Closed** | **Time Closed** |
|  | 11-17-2015 | 12:00 | 11-20-2015 | 11:00 |

# **Active Outage Event Chart**



# **Major Event Day – Qualification**

**IEEE[[1]](#footnote-1) Standard 1366**

IEEE Standard 1366 was established to present a set of terms and definitions which can be used to foster uniformity in the development of electric system service reliability indices, to identify factors which affect the indices, and to aid in consistent reporting practices among utilities. Also, it provides guidance for new personnel in the reliability area and tools for internal as well as external comparisons. The Major Event Day definition was created as part of IEEE Standard 1366 to allow for consistent calculation of reliability metrics between utilities and enable more valid comparisons with other utility reliability metrics.

|  |
| --- |
| **IEEE Major Event Day Calculation (2.5 BETA METHOD)**   1. A threshold on daily SAIDI[[2]](#footnote-2) is computed once a year, following year end 2. Assemble the 5 most recent years of historical values of SAIDI/day 3. Discard any days in the data set that has a SAIDI/day of zero 4. Find the natural logarithm of each value in the data set 5. Compute the average (Alpha) and the standard deviation (Beta) of the natural logarithms computed in step 4 6. Compute the threshold TMED where TMED = exp (Alpha + 2.5 \* Beta) 7. Any day in the next year with SAIDI > Tmed is a major event day |
| **Puget Sound Energy’s IEEE Major Event Threshold (TMED ) for 2015: 6.1 Minutes** |

# **Qualified Events - 2015**

### **Current Event – Calculation Detail**

|  |  |  |  |
| --- | --- | --- | --- |
| **Event Date, Time Range** | **Total Customer Minutes** | **Average Customer Count** | **Event SAIDI**  (Customer Minutes /Customer Count) |
| 11-17-2015, 09:00 to 11-21-2015, 19:00 | 229,200,144 | 1,117,148 | 205.2 |

### **YTD Daily SAIDI Detail**

(First day that daily SAIDI exceeded PSE’s TMED of 6.1 Minutes by qualifying event)

|  |  |  |
| --- | --- | --- |
| **Date** | **Daily SAIDI**  **(from midnight to midnight)** | **O&M[[3]](#footnote-3) Costs– Deferrable**  **Accumulation** |
| 1-18-2015 | 25.8 | $2,011,173 |
| 8-29-2015 | 208.8 | $5,988,827 |
| 10-10-2015 | 11.1 | $- |
| 11-17-2015 | 187.1 | $- |

# **Event Restoration – Cost Summary**

### **2015 Restoration Costs Detail by Qualifying Event (updated)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Event Date | Qualified Events Deferred Account | Capital Costs | O&M Costs Not Deferrable | O&M Costs  Deferrable  Accumulation | Total O&M Costs | Total |
| 01-18-2015 |  | $255,457 | $159,839 | $2,011,173 | $2,171,012 | $2,426,469 |
| 08-29-2015 | $5,514,151(r) | $933,263(r) | $1,006,272(r) | $5,988,827 | $12,509,250(r) | $13,442,514(r) |
| 10-10-2015 | $798,115(r) | $40,449(r) | $121,231 | $- | $121,231 | $959,794(r) |
| 11-17-2015 | $8,765,969 | $545,182 | $792,538 | $- | $792,538 | $10,103,689 |

(r) Revised

### **2015 YTD Storm Restoration Costs Detail**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Qualifying Events Deferred Account | Capital | O&M - Not Deferrable | O&M - Deferrable Accumulation | Total O&M | Total |
| $15,078,234 | $1,774,351 | $2,079,880 | $8,000,000 | $25,158,115 | $26,932,465 |

# **Detail Documents**

**Restoration Cost Detail – Current Event**

**Detailed List of Distribution Circuits with Outages**

**Terms, Codes and Definitions Used on Detail Reports**

**Newsprint Media Coverage**

### **Restoration Cost Detail – Current Event**



### **Detailed List of Outages** **- First TMED-Exceeding Day**

**November 17, 2015**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00230803-1 | 11/17/2015 | 1:01:00 AM | MCK-15 | EAA | EF | UPC | 8 | 2,361 |
| P00230806-1 | 11/17/2015 | 1:30:11 AM | OLD-26 | EAA | EF | UPC | 8 | 1,121 |
| P00230807-1 | 11/17/2015 | 2:52:00 AM | ROC-16 | ECC | TV | OCO | 22 | 4,421 |
| P00230809-1 | 11/17/2015 | 3:01:00 AM | SIN-23 | ECD | TV | OCO | 231 | 98,316 |
| P00230813-1 | 11/17/2015 | 3:07:00 AM | ORT-23 | ECA | EF | OPO | 61 | 17,907 |
| P00230816-1 | 11/17/2015 | 4:03:38 AM | EDG-12 | ECA | EF | OPO | 20 | 15,206 |
| P00230831-1 | 11/17/2015 | 4:31:39 AM | VAS-13 | EBL | TV | OCO | 1,079 | 81,338 |
| P00230844-1 | 11/17/2015 | 4:49:06 AM | LAB-25 | EAA | FI | OTF | 1 | 121 |
| P00230852-1 | 11/17/2015 | 6:02:12 AM | UHL-23 | EBD | UN | OCO | 13 | 1,712 |
| P00230853-1 | 11/17/2015 | 6:07:58 AM | GWR-13 | EBI | TV | OTR | 27 | 2,892 |
| P00230857-1 | 11/17/2015 | 6:20:00 AM | UHL-23 | EBD | TV | OCO | 14 | 3,154 |
| P00230862-1 | 11/17/2015 | 6:32:19 AM | BLU-13 | ECC | TV | OFU | 14 | 2,533 |
| P00230863-1 | 11/17/2015 | 6:46:02 AM | RAI-14 | ECC | EF | OTF | 1 | 86 |
| P00230870-1 | 11/17/2015 | 6:57:00 AM | NBE-15 | EBF | TV | OCO | 15 | 6,124 |
| P00230872-1 | 11/17/2015 | 7:02:19 AM | GLA-12 | EAA | TV | OCO | - | 631 |
| P00230874-1 | 11/17/2015 | 7:09:00 AM | ELD-27 | ECC | TV | OCO | 70 | 3,191 |
| P00230877-1 | 11/17/2015 | 7:17:00 AM | EPO-13 | ECD | TV | OCO | 1,347 | 195,876 |
| P00230880-1 | 11/17/2015 | 7:28:27 AM | LON-22 | ECC | EF | OJU | 70 | 24,414 |
| P00233123-1 | 11/17/2015 | 7:34:00 AM | TLN-0293 | ECD | TV | OCO | 5,393 | 10,744,056 |
| P00230904-1 | 11/17/2015 | 7:44:00 AM | TLN-0003 | EAA | TV | SCB | 1,071 | 66,384 |
| P00230889-1 | 11/17/2015 | 7:47:20 AM | MIR-13 | EBF | TV | OCO | 26 | 3,263 |
| P00230897-1 | 11/17/2015 | 7:54:00 AM | SOO-25 | EBI | TV | OCO | 20 | 3,232 |
| P00230900-1 | 11/17/2015 | 7:56:00 AM | ELD-23 | ECC | EF | UPC | 10 | 7,090 |
| P00230906-1 | 11/17/2015 | 8:01:33 AM | DUV-13 | EBD | UN | OTF | 3 | 94 |
| P00230913-1 | 11/17/2015 | 8:22:00 AM | BLU-16 | ECC | EF | OTR | 4 | 845 |
| P00230914-1 | 11/17/2015 | 8:24:00 AM | SAH-16 | EBD | EF | UPC | 8 | 3,185 |
| P00230916-1 | 11/17/2015 | 8:26:00 AM | GRI-13 | ECC | TV | OCO | 99 | 38,933 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00230905-1 | 11/17/2015 | 8:30:55 AM | LOL-23 | ECD | TV | OCO | 109 | 15,396 |
| P00230923-1 | 11/17/2015 | 8:34:54 AM | KLA-18 | EBF | TV | USV | 1 | 2,146 |
| P00230931-1 | 11/17/2015 | 8:38:00 AM | EPO-15 | ECD | TV | OCO | 106 | 32,459 |
| P00230929-1 | 11/17/2015 | 8:41:42 AM | TOL-15 | EBD | TV | OCO | 70 | 37,398 |
| P00230934-1 | 11/17/2015 | 8:43:23 AM | RDO-13 | EBJ | UN | SCB | 1,507 | 53,627 |
| P00230947-1 | 11/17/2015 | 8:59:00 AM | SKY-25 | EBD | TV | OCO | - | 109,038 |
| P00230949-1 | 11/17/2015 | 8:59:04 AM | CUS-15 | EAA | EF | OJU | 55 | 5,288 |
| P00230912-1 | 11/17/2015 | 9:00:30 AM | VAS-12 | EBL | TV | OCO | 3 | 169 |
| P00230951-1 | 11/17/2015 | 9:02:45 AM | LMD-16 | EBJ | TV | OSV | 1 | 193 |
| P00230958-1 | 11/17/2015 | 9:10:00 AM | WOL-26 | ECC | EF | USC | 1 | 675 |
| P00230959-1 | 11/17/2015 | 9:10:00 AM | MUR-13 | ECE | TV | OCO | 125 | 68,499 |
| P00231294-1 | 11/17/2015 | 9:11:00 AM | CHI-12 | ECD | TF | OCO | 2,879 | 4,247,972 |
| P00230937-1 | 11/17/2015 | 9:11:39 AM | BOW-26 | EBJ | SO | DNO | 23 | 33,473 |
| P00230910-1 | 11/17/2015 | 9:11:42 AM | OVE-13 | EBE | TV | OCO | 6 | 1,276 |
| P00230966-1 | 11/17/2015 | 9:12:00 AM | GLA-12 | EAA | TV | OCO | 35 | 50,358 |
| P00230967-1 | 11/17/2015 | 9:12:17 AM | ROC-16 | ECC | TV | OCO | 105 | 23,118 |
| P00230963-1 | 11/17/2015 | 9:15:00 AM | PMA-13 | ECE | TV | OCO | 1 | 3,690 |
| P00231576-1 | 11/17/2015 | 9:16:00 AM | LOL-25 | ECD | TV | OCO | 4,356 | 3,286,325 |
| P00230979-1 | 11/17/2015 | 9:21:42 AM | DUV-13 | EBD | TV | OCO | 1,300 | 62,595 |
| P00230989-1 | 11/17/2015 | 9:30:49 AM | NBE-13 | EBF | TV | OCO | 4 | 2,884 |
| P00231318-1 | 11/17/2015 | 9:31:08 AM | DUV-12 | EBD | TV | OCR | 848 | 760,046 |
| P00231000-1 | 11/17/2015 | 9:33:43 AM | PMA-16 | ECE | TV | OCO | 836 | 43,444 |
| P00231026-1 | 11/17/2015 | 9:34:02 AM | TLN-0232 | EBF | TV | OCO | 3,259 | 361,586 |
| P00231021-1 | 11/17/2015 | 9:35:00 AM | SCH-15 | EAA | TV | OCO | 62 | 24,104 |
| P00236438-1 | 11/17/2015 | 9:36:49 AM | MUR-15 | ECE | TV | OCO | 54 | 120,415 |
| P00231034-1 | 11/17/2015 | 9:37:58 AM | COT-15 | EBD | TV | OCO | 2,204 | 201,590 |
| P00231029-1 | 11/17/2015 | 9:38:00 AM | TRA-25 | ECE | TV | OCO | 9 | 31,758 |
| P00231038-1 | 11/17/2015 | 9:40:00 AM | SIL-15 | ECE | TV | OCO | 2,103 | 880,126 |
| P00231100-1 | 11/17/2015 | 9:41:00 AM | CHI-12 | ECD | TV | OCO | 396 | 357,564 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00231072-1 | 11/17/2015 | 9:43:00 AM | CHI-12 | ECD | TV | OCN | 191 | 169,992 |
| P00231073-1 | 11/17/2015 | 9:45:00 AM | MSI-24 | EBF | TV | OCO | 89 | 110,517 |
| P00231081-1 | 11/17/2015 | 9:47:00 AM | CWD-25 | EBD | TV | OCO | 1,423 | 126,907 |
| P00231090-1 | 11/17/2015 | 9:48:00 AM | BTR-22 | EBE | TV | OPO | 119 | 267,778 |
| P00231086-1 | 11/17/2015 | 9:51:00 AM | PMA-12 | ECE | UN | OCO | 24 | 78,262 |
| P00231143-1 | 11/17/2015 | 9:55:00 AM | MIL-23 | ECE | TV | OCO | 33 | 10,183 |
| P00231121-1 | 11/17/2015 | 9:56:37 AM | KWH-22 | EBE | TV | OCO | 272 | 148,808 |
| P00231140-1 | 11/17/2015 | 10:02:22 AM | CHI-12 | ECD | TV | OTF | - | 1,518 |
| P00237011-1 | 11/17/2015 | 10:02:22 AM | CHI-12 | ECD | TV | OCO | 16 | 51,188 |
| P00231128-1 | 11/17/2015 | 10:02:28 AM | RIT-17 | EAC | EF | OTF | 2 | 156 |
| P00231130-1 | 11/17/2015 | 10:04:00 AM | DUV-15 | EBD | TV | OCO | - | 236,606 |
| P00231134-1 | 11/17/2015 | 10:05:00 AM | SCH-15 | EAA | TV | OCO | 26 | 5,827 |
| P00231146-1 | 11/17/2015 | 10:09:45 AM | SKY-25 | EBD | TV | OCO | - | 278,500 |
| P00235559-1 | 11/17/2015 | 10:09:45 AM | TLN-0012 | EBD | TV | OCO | 644 | 2,067,570 |
| P00230876-1 | 11/17/2015 | 10:09:54 AM | MTH-15 | EBJ | SO | DNO | 1 | 2,923 |
| P00231150-1 | 11/17/2015 | 10:10:00 AM | BHL-13 | ECE | TV | OCO | 20 | 30,940 |
| P00233305-1 | 11/17/2015 | 10:10:04 AM | TLN-0271 | ECD | TV | OCO | - | 2,220,204 |
| P00233490-1 | 11/17/2015 | 10:12:00 AM | SKY-25 | EBD | TV | OCO | - | 193,603 |
| P00231162-1 | 11/17/2015 | 10:15:00 AM | SKI-12 | EBD | TV | OCO | 591 | 70,181 |
| P00231158-1 | 11/17/2015 | 10:16:45 AM | KLA-15 | EBD | TV | OCO | - | 2,622 |
| P00232483-1 | 11/17/2015 | 10:16:45 AM | KLA-15 | EBD | TV | OCR | 2,457 | 1,994,149 |
| P00231164-1 | 11/17/2015 | 10:18:00 AM | FAL-15 | EBF | TV | OCO | 76 | 19,488 |
| P00231170-1 | 11/17/2015 | 10:20:32 AM | MER-13 | EBE | TV | OFC | 17 | 34,004 |
| P00231177-1 | 11/17/2015 | 10:22:00 AM | LGY-12 | EAD | TV | OCO | 43 | 9,758 |
| P00231179-1 | 11/17/2015 | 10:25:00 AM | SHD-18 | EBI | TV | OCO | 6 | 947 |
| P00231212-1 | 11/17/2015 | 10:27:10 AM | SWD-11 | ECE | TV | OCO | 83 | 143,348 |
| P00231194-1 | 11/17/2015 | 10:29:00 AM | SWD-12 | ECE | UN | OCO | 104 | 316,108 |
| P00231196-1 | 11/17/2015 | 10:29:30 AM | FAL-13 | EBF | TV | OCO | - | 813 |
| P00231201-1 | 11/17/2015 | 10:30:00 AM | BLA-12 | EAA | FI | OCO | 305 | 13,673 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00233559-1 | 11/17/2015 | 10:30:32 AM | TLN-0073 | EBD | TV | OCO | 5,222 | 3,681,800 |
| P00231204-1 | 11/17/2015 | 10:31:45 AM | WOB-23 | EAA | TV | OCO | 372 | 93,534 |
| P00231824-1 | 11/17/2015 | 10:34:00 AM | DUV-15 | EBD | TV | OCO | 916 | 847,303 |
| P00231261-1 | 11/17/2015 | 10:35:00 AM | TOL-17 | EBD | TV | OCO | 101 | 63,325 |
| P00231224-1 | 11/17/2015 | 10:37:00 AM | MST-27 | EBJ | EF | UPC | 43 | 17,144 |
| P00231230-1 | 11/17/2015 | 10:38:00 AM | RAI-12 | ECC | TV | OCO | 39 | 12,301 |
| P00231238-1 | 11/17/2015 | 10:38:43 AM | VAS-23 | EBL | TV | OCO | 252 | 20,787 |
| P00231289-1 | 11/17/2015 | 10:39:00 AM | NBE-13 | EBF | TV | OCO | 54 | 57,805 |
| P00231239-1 | 11/17/2015 | 10:41:00 AM | WIN-13 | ECE | TV | OCO | 261 | 271,338 |
| P00231528-1 | 11/17/2015 | 10:41:00 AM | RPT-26 | ECD | TV | OCO | 77 | 227,436 |
| P00231273-1 | 11/17/2015 | 10:55:14 AM | UHL-23 | EBD | TV | OCO | 5 | 7,773 |
| P00231286-1 | 11/17/2015 | 10:59:49 AM | SCH-13 | EAA | EF | UTR | 92 | 12,272 |
| P00232574-1 | 11/17/2015 | 11:00:00 AM | TLN-0120 | EBD | TV | OCO | 6,318 | 9,237,886 |
| P00231519-1 | 11/17/2015 | 11:01:56 AM | EGT-27 | EBE | TV | OCO | 99 | 167,198 |
| P00231316-1 | 11/17/2015 | 11:05:16 AM | HWD-25 | EBD | TV | OCO | 241 | 573,017 |
| P00236747-1 | 11/17/2015 | 11:06:31 AM | PMA-16 | ECE | TV | OCO | 48 | 102,887 |
| P00231344-1 | 11/17/2015 | 11:13:11 AM | POU-15 | ECE | TV | OCO | 1,510 | 112,771 |
| P00231372-1 | 11/17/2015 | 11:20:09 AM | POU-15 | ECE | TV | OCO | 736 | 321,264 |
| P00231455-1 | 11/17/2015 | 11:20:47 AM | SWD-11 | ECE | TV | OCO | 36 | 3,823 |
| P00231534-1 | 11/17/2015 | 11:21:00 AM | TLN-0293 | ECD | TV | OCO | - | 402,595 |
| P00231542-1 | 11/17/2015 | 11:21:51 AM | SIL-16 | ECE | TV | OCO | 1,460 | 668,620 |
| P00231388-1 | 11/17/2015 | 11:23:03 AM | SIL-15 | ECE | TV | OCO | 17 | 37,705 |
| P00233455-1 | 11/17/2015 | 11:23:10 AM | TLN-0292 | ECD | TV | OCO | 2,475 | 2,734,351 |
| P00236390-1 | 11/17/2015 | 11:23:10 AM | MAN-12 | ECD | TV | OCO | 98 | 287,891 |
| P00231420-1 | 11/17/2015 | 11:25:00 AM | SKE-22 | ECE | TV | OCO | 13 | 27,703 |
| P00231515-1 | 11/17/2015 | 11:28:25 AM | EDG-16 | ECA | TV | OHR | 888 | 66,837 |
| P00232504-1 | 11/17/2015 | 11:29:00 AM | SIN-25 | ECD | TV | OCO | 778 | 908,375 |
| P00231508-1 | 11/17/2015 | 11:30:33 AM | MVW-15 | EBJ | TV | SCB | 2,525 | 114,180 |
| P00231728-1 | 11/17/2015 | 11:31:42 AM | FAL-13 | EBF | TV | OCO | 178 | 88,388 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00231545-1 | 11/17/2015 | 11:37:15 AM | SIL-13 | ECE | TV | OCO | 8 | 25,390 |
| P00234562-1 | 11/17/2015 | 11:38:00 AM | PMA-16 | ECE | TV | OCO | 9 | 18,575 |
| P00231558-1 | 11/17/2015 | 11:40:00 AM | SBE-26 | EBE | TV | OCO | 70 | 138,094 |
| P00231558-3 | 11/17/2015 | 11:40:00 AM | SBE-26 | EBE | TV | OCO | 70 | 138,094 |
| P00231871-1 | 11/17/2015 | 11:41:00 AM | SIN-24 | ECD | TV | OCO | 1,634 | 2,413,228 |
| P00231560-1 | 11/17/2015 | 11:44:00 AM | MIL-22 | ECE | TV | OCO | 799 | 267,723 |
| P00231559-1 | 11/17/2015 | 11:44:09 AM | BON-16 | ECA | OD | OCO | 1,473 | 78,290 |
| P00234068-1 | 11/17/2015 | 11:44:11 AM | NBE-15 | EBF | TV | OCO | 26 | 4,930 |
| P00233607-1 | 11/17/2015 | 11:49:31 AM | TLN-0019 | EBD | TV | OCO | 3,434 | 5,864,357 |
| P00231587-1 | 11/17/2015 | 11:52:00 AM | UHL-25 | EBD | TV | OCO | 448 | 238,060 |
| P00231601-1 | 11/17/2015 | 11:56:00 AM | TLN-0120 | EBD | TV | OCO | 5,130 | 187,589 |
| P00231600-1 | 11/17/2015 | 11:58:01 AM | VAS-12 | EBL | TV | OCO | 565 | 56,924 |
| P00231593-1 | 11/17/2015 | 11:58:22 AM | SEM-13 | EAA | TV | OTF | 1 | 14 |
| P00231609-1 | 11/17/2015 | 11:59:51 AM | SEM-13 | EAA | TV | SCB | 136 | 544 |
| P00231626-1 | 11/17/2015 | 12:00:19 PM | TLN-0120 | EBD | TV | OCO | 5,206 | 173,100 |
| P00231614-1 | 11/17/2015 | 12:01:00 PM | KEN-12 | EAA | TV | OCO | 12 | 5,783 |
| P00231667-1 | 11/17/2015 | 12:02:41 PM | FRU-26 | ECA | TV | OHR | 435 | 332,282 |
| P00238135-1 | 11/17/2015 | 12:04:06 PM | SIN-24 | ECD | TV | OCO | 36 | 73,879 |
| P00231653-1 | 11/17/2015 | 12:05:00 PM | MAP-15 | EBE | TV | OSV | 1 | 3,293 |
| P00231666-1 | 11/17/2015 | 12:06:00 PM | EGT-12 | EBE | TV | OCO | 34 | 15,497 |
| P00231669-1 | 11/17/2015 | 12:06:41 PM | HAW-14 | ECC | TV | OCO | 6 | 276 |
| P00234820-1 | 11/17/2015 | 12:08:38 PM | TLN-0246 | EBD | TV | OCO | 4,118 | 4,448,141 |
| P00233395-1 | 11/17/2015 | 12:10:57 PM | TLN-0098 | EBL | TV | OCO | 5,962 | 1,867,747 |
| P00232375-1 | 11/17/2015 | 12:12:00 PM | EDG-12 | ECA | TV | OCO | 30 | 8,182 |
| P00232551-1 | 11/17/2015 | 12:12:00 PM | CHI-16 | ECD | TV | OCO | 321 | 1,087,658 |
| P00231983-1 | 11/17/2015 | 12:12:24 PM | POU-16 | ECE | TV | OCO | 9 | 30,407 |
| P00235898-1 | 11/17/2015 | 12:13:00 PM | SIL-15 | ECE | TV | OCO | 4 | 11,878 |
| P00231741-1 | 11/17/2015 | 12:14:27 PM | SIN-23 | ECD | TV | OCO | 621 | 914,930 |
| P00232562-1 | 11/17/2015 | 12:16:32 PM | TLN-0120 | EBD | TV | OCO | 6,851 | 8,013,026 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00231797-1 | 11/17/2015 | 12:18:00 PM | ELD-27 | ECC | TV | OCO | 198 | 79,144 |
| P00231751-1 | 11/17/2015 | 12:18:07 PM | PHA-17 | EBE | TV | OSV | 2 | 5,702 |
| P00235748-1 | 11/17/2015 | 12:18:34 PM | LMD-16 | EBJ | TV | OTR | 2 | 3,031 |
| P00231767-1 | 11/17/2015 | 12:18:48 PM | FNW-13 | ECD | TV | OCO | 1,017 | 921,639 |
| P00242188-1 | 11/17/2015 | 12:18:48 PM | FNW-13 | ECD | TV | OCO | 2,034 | 1,040,221 |
| P00231761-1 | 11/17/2015 | 12:19:00 PM | SIL-13 | ECE | TV | OCO | 16 | 47,548 |
| P00233839-1 | 11/17/2015 | 12:19:55 PM | TLN-0085 | EBD | TV | OCO | 3,214 | 3,955,138 |
| P00231770-1 | 11/17/2015 | 12:20:00 PM | KEN-12 | EAA | TV | OCO | 27 | 2,492 |
| P00231778-1 | 11/17/2015 | 12:20:03 PM | FNW-15 | ECD | TV | OCO | - | 4,365,750 |
| P00231788-1 | 11/17/2015 | 12:23:00 PM | FAL-13 | EBF | TV | OCO | 6 | 18,717 |
| P00233190-1 | 11/17/2015 | 12:24:08 PM | SIL-15 | ECE | TV | USC | 1 | 2,807 |
| P00232720-1 | 11/17/2015 | 12:24:41 PM | SAH-15 | EBD | TV | OCO | 234 | 76,149 |
| P00231804-1 | 11/17/2015 | 12:26:00 PM | UHL-23 | EBD | TV | OCO | 13 | 10,602 |
| P00231828-1 | 11/17/2015 | 12:26:00 PM | SAH-13 | EBD | TV | OCO | 1,642 | 125,805 |
| P00231829-1 | 11/17/2015 | 12:26:00 PM | SAH-15 | EBD | TV | OCO | 1,369 | 104,021 |
| P00233869-1 | 11/17/2015 | 12:26:00 PM | SEQ-22 | EBJ | TV | OCO | 267 | 83,829 |
| P00231832-1 | 11/17/2015 | 12:28:19 PM | LWS-16 | EBJ | TV | SCB | 725 | 43,174 |
| P00232107-1 | 11/17/2015 | 12:31:00 PM | TLN-0191 | ECE | TV | OCO | - | 207,005 |
| P00233819-1 | 11/17/2015 | 12:32:17 PM | TLN-0246 | EBD | TV | OCO | 6,168 | 9,993,933 |
| P00233194-1 | 11/17/2015 | 12:33:00 PM | SIL-15 | ECE | TV | OCO | 149 | 382,137 |
| P00232087-1 | 11/17/2015 | 12:33:10 PM | SOM-16 | EBE | EF | OCO | 1,440 | 480,600 |
| P00231900-1 | 11/17/2015 | 12:33:39 PM | WIS-14 | EBF | TV | OCO | 434 | 268,892 |
| P00231875-1 | 11/17/2015 | 12:33:49 PM | HAZ-12 | EBE | TV | OCO | 3,371 | 1,087,951 |
| P00231858-1 | 11/17/2015 | 12:34:10 PM | SCH-13 | EAA | TV | OCO | 38 | 23,975 |
| P00233422-1 | 11/17/2015 | 12:34:41 PM | TLN-0098 | ECD | TV | OCO | - | 567,457 |
| P00238043-1 | 11/17/2015 | 12:34:41 PM | FRA-15 | ECD | TV | OCO | 22 | 72,640 |
| P00232353-1 | 11/17/2015 | 12:35:27 PM | TLN-0120 | EBD | TV | OCO | 5,206 | 6,156,321 |
| P00231909-1 | 11/17/2015 | 12:36:35 PM | KIN-22 | ECE | TV | OCO | 33 | 10,184 |
| P00232112-1 | 11/17/2015 | 12:37:38 PM | CEK-14 | ECE | TV | OCO | 739 | 308,409 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00231978-1 | 11/17/2015 | 12:38:00 PM | WOO-27 | ECA | TV | OCO | 40 | 7,147 |
| P00233971-1 | 11/17/2015 | 12:39:16 PM | TLN-0085 | EBD | TV | OCO | 8,546 | 11,751,408 |
| P00235593-1 | 11/17/2015 | 12:40:49 PM | PLA-23 | EBD | TV | OCO | 16 | 18,055 |
| P00232683-1 | 11/17/2015 | 12:41:13 PM | TLN-0191 | ECE | SO | OCO | 3,947 | 4,798,580 |
| P00237256-1 | 11/17/2015 | 12:41:36 PM | LOL-23 | ECD | TV | OCO | 4 | 2,579 |
| P00237306-1 | 11/17/2015 | 12:41:36 PM | FRA-13 | ECD | TV | OCO | - | 111,779 |
| P00232005-1 | 11/17/2015 | 12:42:50 PM | HOB-17 | EBI | TV | OSV | 1 | 1,338 |
| P00232655-1 | 11/17/2015 | 12:42:51 PM | CEK-16 | ECE | TV | OCO | 881 | 267,736 |
| P00232019-1 | 11/17/2015 | 12:43:00 PM | TLN-0157 | EBI | OD | SWT | 888 | 73,926 |
| P00232546-1 | 11/17/2015 | 12:43:00 PM | PMA-12 | ECE | TV | OCO | 40 | 121,428 |
| P00232008-1 | 11/17/2015 | 12:43:02 PM | PIN-23 | EBD | TV | OCO | 22 | 46,324 |
| P00232047-1 | 11/17/2015 | 12:44:25 PM | KWH-25 | EBE | TV | OCO | 393 | 526,133 |
| P00232042-1 | 11/17/2015 | 12:45:00 PM | CEK-15 | ECE | TV | OCO | 6 | 21,117 |
| P00232058-1 | 11/17/2015 | 12:45:00 PM | PAN-14 | EBJ | TV | OCO | 81 | 76,232 |
| P00232245-1 | 11/17/2015 | 12:45:05 PM | RPT-26 | ECD | SO | OCO | 36 | 57,974 |
| P00232055-1 | 11/17/2015 | 12:46:00 PM | SHA-15 | ECA | UN | OCO | 104 | 34,162 |
| P00232070-1 | 11/17/2015 | 12:46:00 PM | TLN-0048 | EBF | TV | OCO | 2,880 | 13,199 |
| P00239519-1 | 11/17/2015 | 12:49:50 PM | MUR-13 | ECE | TV | UPS | 43 | 101,334 |
| P00238887-1 | 11/17/2015 | 12:50:45 PM | MUR-13 | ECE | TV | OCO | 35 | 77,882 |
| P00233845-1 | 11/17/2015 | 12:50:59 PM | TLN-0085 | EBD | TV | OCO | 8,917 | 3,998,768 |
| P00232115-1 | 11/17/2015 | 12:53:55 PM | HAZ-16 | EBE | TV | OCO | 141 | 66,131 |
| P00232116-1 | 11/17/2015 | 12:54:00 PM | HAN-13 | EAA | TV | OCO | 4 | 1,621 |
| P00232121-1 | 11/17/2015 | 12:54:00 PM | CLV-16 | EAD | TV | OCO | 67 | 20,830 |
| P00232150-1 | 11/17/2015 | 12:55:47 PM | WIS-13 | EBF | TV | OCO | 35 | 46,825 |
| P00232140-1 | 11/17/2015 | 12:56:00 PM | HWD-25 | EBD | TV | OCO | - | 55,467 |
| P00232146-1 | 11/17/2015 | 12:56:21 PM | TOL-15 | EBD | TV | OCO | 86 | 42,799 |
| P00232287-1 | 11/17/2015 | 1:00:00 PM | TLN-0085 | EBD | TV | OCO | 4,171 | 40,805 |
| P00232160-1 | 11/17/2015 | 1:00:49 PM | DES-15 | EBJ | TV | OTF | 3 | 3,967 |
| P00232164-1 | 11/17/2015 | 1:01:06 PM | ING-16 | EBD | TV | OCR | - | 34,931 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00232197-1 | 11/17/2015 | 1:01:47 PM | LMC-25 | EBE | TV | OCO | 743 | 164,017 |
| P00232213-1 | 11/17/2015 | 1:04:00 PM | SIL-13 | ECE | TV | OCO | 5 | 14,774 |
| P00232595-1 | 11/17/2015 | 1:04:00 PM | BIG-15 | EAC | TV | OCO | 284 | 348,184 |
| P00232372-1 | 11/17/2015 | 1:05:00 PM | TLN-0120 | EBD | TV | OCO | 5,130 | 1,039,169 |
| P00232437-1 | 11/17/2015 | 1:05:00 PM | TLN-0120 | EBD | TV | OCO | 6,592 | 78,886 |
| P00232277-1 | 11/17/2015 | 1:05:12 PM | FRA-12 | ECD | TV | OCO | - | 228,203 |
| P00232242-1 | 11/17/2015 | 1:05:21 PM | KAP-16 | ECA | OD | OCO | 53 | 18,214 |
| P00232273-1 | 11/17/2015 | 1:06:25 PM | LAT-14 | EBJ | TV | OSV | 1 | 145 |
| P00232289-1 | 11/17/2015 | 1:06:41 PM | SHE-17 | ECE | TV | OCO | - | 2,127 |
| P00232442-1 | 11/17/2015 | 1:11:00 PM | PMA-13 | ECE | UN | OCO | 2 | 5,668 |
| P00232539-1 | 11/17/2015 | 1:11:00 PM | TLN-0003 | EAA | TV | OCO | 1,029 | 496,931 |
| P00232493-1 | 11/17/2015 | 1:11:20 PM | MER-13 | EBE | TV | OCO | 61 | 97,323 |
| P00233394-1 | 11/17/2015 | 1:12:41 PM | CHI-13 | ECD | TV | OCO | 126 | 245,356 |
| P00235673-1 | 11/17/2015 | 1:14:00 PM | MAN-16 | ECD | TV | OCO | 11 | 32,592 |
| P00238966-1 | 11/17/2015 | 1:14:24 PM | FAL-15 | EBF | TV | OCO | - | 8,872 |
| P00232489-1 | 11/17/2015 | 1:15:00 PM | YEL-27 | ECC | TV | OCO | 148 | 173,720 |
| P00232495-1 | 11/17/2015 | 1:16:24 PM | PIN-26 | EBD | TV | OCO | 13 | 37,524 |
| P00232502-1 | 11/17/2015 | 1:16:33 PM | WIN-12 | ECE | TV | OCO | 1,146 | 205,034 |
| P00232500-1 | 11/17/2015 | 1:17:26 PM | LAT-14 | EBJ | TV | OCO | 24 | 21,427 |
| P00232513-1 | 11/17/2015 | 1:19:00 PM | SIL-13 | ECE | TV | OCO | 7 | 23,246 |
| P00238364-1 | 11/17/2015 | 1:19:00 PM | PET-12 | EAC | TV | OCO | 5 | 14,901 |
| P00232532-1 | 11/17/2015 | 1:21:03 PM | RPT-23 | ECD | TV | OCO | 1,452 | 253,011 |
| P00234582-1 | 11/17/2015 | 1:24:00 PM | ROC-16 | ECC | TV | OPO | 539 | 403,508 |
| P00237048-1 | 11/17/2015 | 1:26:00 PM | DUV-13 | EBD | TV | OCO | 20 | 26,607 |
| P00232567-1 | 11/17/2015 | 1:27:52 PM | ZEN-23 | EBJ | TV | OTF | 4 | 7,044 |
| P00232637-1 | 11/17/2015 | 1:29:00 PM | PMA-12 | ECE | TV | OCO | 72 | 52,820 |
| P00232577-1 | 11/17/2015 | 1:29:19 PM | VAS-12 | EBL | TV | OCO | 348 | 190,858 |
| P00232584-1 | 11/17/2015 | 1:29:32 PM | BCH-15 | EAA | EF | OJU | 1 | 327 |
| P00235823-1 | 11/17/2015 | 1:30:00 PM | CRE-01 | EAD | TV | SCB | 366 | 72,279 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00232599-1 | 11/17/2015 | 1:31:00 PM | SHD-18 | EBI | TV | OCO | 38 | 14,058 |
| P00232600-1 | 11/17/2015 | 1:31:00 PM | BHS-14 | EAA | EF | OPO | 3 | 2,295 |
| P00232597-1 | 11/17/2015 | 1:31:02 PM | POU-16 | ECE | TV | OCO | 2 | 3,426 |
| P00237260-1 | 11/17/2015 | 1:31:52 PM | LOL-23 | ECD | TV | OCO | 182 | 227,949 |
| P00232608-1 | 11/17/2015 | 1:32:00 PM | MIL-17 | ECE | TV | OCO | 48 | 136,792 |
| P00232678-1 | 11/17/2015 | 1:32:00 PM | HAM-15 | EAC | TV | OCO | 1,041 | 669,873 |
| P00232617-1 | 11/17/2015 | 1:33:05 PM | HEM-16 | ECA | TV | OSV | 1 | 237 |
| P00232625-1 | 11/17/2015 | 1:33:22 PM | WLK-13 | ECA | TV | OCO | 18 | 27,484 |
| P00232635-1 | 11/17/2015 | 1:34:45 PM | MIR-16 | EBF | TV | OCO | 9 | 18,765 |
| P00232636-1 | 11/17/2015 | 1:34:57 PM | PMA-16 | ECE | TV | OTF | 3 | 8,054 |
| P00233187-1 | 11/17/2015 | 1:35:00 PM | SIL-15 | ECE | TV | OCO | 2 | 6,291 |
| P00232785-1 | 11/17/2015 | 1:36:00 PM | BRS-13 | EAC | TV | OCO | 38 | 111,177 |
| P00234399-1 | 11/17/2015 | 1:36:00 PM | BRS-13 | EAC | TV | OCO | 15 | 46,062 |
| P00232662-1 | 11/17/2015 | 1:38:04 PM | MAN-15 | ECD | TV | OCO | 1,868 | 1,298,914 |
| P00232663-1 | 11/17/2015 | 1:38:16 PM | ROS-15 | EBD | TV | OJU | 3 | 7,716 |
| P00232676-1 | 11/17/2015 | 1:39:59 PM | MAP-13 | EBE | TV | OCO | 25 | 24,184 |
| P00232691-1 | 11/17/2015 | 1:40:15 PM | SKE-22 | ECE | TV | OCO | 1,289 | 1,020,781 |
| P00233892-1 | 11/17/2015 | 1:42:01 PM | NBE-13 | EBF | TV | OCO | 130 | 46,867 |
| P00232083-1 | 11/17/2015 | 1:42:16 PM | SCH-16 | EAA | EF | OPO | 33 | 25,228 |
| P00234554-1 | 11/17/2015 | 1:42:39 PM | KNT-37 | EBJ | TV | OCR | 2,148 | 482,610 |
| P00233282-1 | 11/17/2015 | 1:43:14 PM | VAS-01 | EBL | TV | OCO | 228 | 533,253 |
| P00233802-1 | 11/17/2015 | 1:43:14 PM | VAS-23 | EBL | TV | OCO | - | 60,176 |
| P00232719-1 | 11/17/2015 | 1:44:46 PM | SHD-18 | EBI | TV | OFU | 81 | 9,470 |
| P00232730-1 | 11/17/2015 | 1:46:29 PM | GRI-16 | ECC | TV | OCO | 1 | 1,408 |
| P00237905-1 | 11/17/2015 | 1:46:50 PM | LOL-21 | ECD | TV | OCO | 4 | 8,628 |
| P00234862-1 | 11/17/2015 | 1:47:00 PM | PMA-12 | ECE | TV | OCO | 16 | 51,706 |
| P00232749-1 | 11/17/2015 | 1:48:00 PM | MUR-13 | ECE | TV | OCO | 26 | 16,294 |
| P00236324-1 | 11/17/2015 | 1:49:00 PM | BTR-22 | EBE | TV | OCO | 228 | 228,771 |
| P00232756-1 | 11/17/2015 | 1:49:47 PM | PET-12 | EAC | EF | OSV | 1 | 1,523 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00233165-1 | 11/17/2015 | 1:49:53 PM | BRS-13 | EAC | TV | OFU | 79 | 45,297 |
| P00232760-1 | 11/17/2015 | 1:49:59 PM | BTR-22 | EBE | TV | OCO | - | 5,085 |
| P00238024-1 | 11/17/2015 | 1:50:27 PM | MAP-13 | EBE | TV | OCO | 107 | 136,999 |
| P00238253-1 | 11/17/2015 | 1:51:28 PM | LOL-22 | ECD | TV | OCO | - | 176,913 |
| P00233107-1 | 11/17/2015 | 1:57:00 PM | TLN-0088 | EBJ | TV | SWT | 4,328 | 25,535 |
| P00233125-1 | 11/17/2015 | 1:57:00 PM | TLN-0088 | EBJ | TV | SWT | 2,743 | 12,527 |
| P00233875-1 | 11/17/2015 | 1:57:30 PM | MOT-14 | ECC | TV | OFU | 234 | 42,545 |
| P00233167-1 | 11/17/2015 | 1:58:00 PM | SKY-25 | EBD | TV | OCO | - | 423,038 |
| P00233417-1 | 11/17/2015 | 1:59:21 PM | BRS-24 | EAC | TV | OPO | 448 | 311,390 |
| P00237219-1 | 11/17/2015 | 1:59:21 PM | BRS-24 | EAC | TV | OCO | 100 | 138,873 |
| P00237315-1 | 11/17/2015 | 2:00:06 PM | BRS-24 | EAC | TV | OCO | 45 | 59,993 |
| P00237072-1 | 11/17/2015 | 2:00:08 PM | MUR-15 | ECE | TV | OCO | 112 | 78,762 |
| P00233251-1 | 11/17/2015 | 2:00:27 PM | CHI-15 | ECD | TV | OCO | 1,195 | 80,852 |
| P00233263-1 | 11/17/2015 | 2:01:33 PM | MAP-16 | EBE | OD | OJU | 54 | 94,370 |
| P00234636-1 | 11/17/2015 | 2:02:36 PM | BRS-24 | EAC | TV | OCO | 432 | 206,503 |
| P00237222-1 | 11/17/2015 | 2:03:02 PM | BRS-24 | EAC | TV | OCO | - | 175,945 |
| P00233357-1 | 11/17/2015 | 2:04:00 PM | TLN-0127 | ECA | TV | OCO | 4,564 | 75,121 |
| P00233313-1 | 11/17/2015 | 2:05:00 PM | WIN-13 | ECE | TV | OSV | 5 | 18,104 |
| P00233320-1 | 11/17/2015 | 2:05:00 PM | SMR-26 | ECA | UN | UPC | 8 | 11,053 |
| P00233315-1 | 11/17/2015 | 2:05:33 PM | SUM-22 | EAC | EF | OFU | 9 | 1,380 |
| P00233340-1 | 11/17/2015 | 2:06:00 PM | TLN-0127 | EBI | TV | SWT | 4,257 | 19,795 |
| P00233928-1 | 11/17/2015 | 2:07:19 PM | OVE-15 | EBE | TV | OCO | 54 | 73,956 |
| P00233347-1 | 11/17/2015 | 2:07:45 PM | MWD-15 | EBE | TV | OPO | 138 | 61,288 |
| P00233362-1 | 11/17/2015 | 2:08:29 PM | MHT-16 | EBJ | TV | SWT | 1 | 6 |
| P00234081-1 | 11/17/2015 | 2:09:17 PM | TLN-0157 | EBI | OD | OPO | 921 | 388,817 |
| P00233393-1 | 11/17/2015 | 2:10:00 PM | NNO-12 | EBJ | TV | OTR | 3 | 1,911 |
| P00233396-1 | 11/17/2015 | 2:11:00 PM | RPT-15 | ECD | TV | OCO | 1 | 3,147 |
| P00236259-1 | 11/17/2015 | 2:12:29 PM | BKB-12 | EAC | TV | OFU | 20 | 27,945 |
| P00233426-1 | 11/17/2015 | 2:12:56 PM | PMA-15 | ECE | TV | OCO | 68 | 120,658 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00233419-1 | 11/17/2015 | 2:13:30 PM | RPT-26 | ECD | TV | OSV | 8 | 13,445 |
| P00237302-1 | 11/17/2015 | 2:14:01 PM | BRS-24 | EAC | TV | OPO | 14 | 23,592 |
| P00233440-1 | 11/17/2015 | 2:14:28 PM | BON-15 | ECA | TV | OCO | 1,450 | 210,225 |
| P00233438-1 | 11/17/2015 | 2:15:00 PM | MHT-15 | EBJ | TV | OGD | 4 | 1,899 |
| P00239067-1 | 11/17/2015 | 2:16:26 PM | LLT-16 | EBD | TV | OCO | 100 | 229,092 |
| P00233837-1 | 11/17/2015 | 2:17:00 PM | CED-17 | ECA | UN | OHS | 130 | 97,032 |
| P00236127-1 | 11/17/2015 | 2:17:00 PM | WAY-16 | EBD | TV | OCO | 4,172 | 617,456 |
| P00237438-1 | 11/17/2015 | 2:17:33 PM | AVO-15 | EBD | TV | OCO | - | 573,904 |
| P00237326-1 | 11/17/2015 | 2:17:50 PM | WAY-12 | EBD | TV | OPO | - | 378,121 |
| P00233670-1 | 11/17/2015 | 2:17:51 PM | DUV-15 | EBD | TV | OCO | 59 | 81,346 |
| P00231534-2 | 11/17/2015 | 2:19:47 PM | TLN-0293 | ECD | TV | OCO | 129 | 246,705 |
| P00233677-1 | 11/17/2015 | 2:20:27 PM | PIP-22 | EBI | TV | OFU | 32 | 28,295 |
| P00233711-1 | 11/17/2015 | 2:21:00 PM | DGR-15 | ECA | TV | OCO | 650 | 170,321 |
| P00233796-1 | 11/17/2015 | 2:21:00 PM | HKX-16 | EAC | TV | OCO | 71 | 116,122 |
| P00234138-1 | 11/17/2015 | 2:21:48 PM | CRE-15 | EAD | TV | OPO | 12 | 1,514 |
| P00233768-1 | 11/17/2015 | 2:23:00 PM | PLA-21 | EBD | TV | OCO | 24 | 20,075 |
| P00233931-1 | 11/17/2015 | 2:30:00 PM | BEL-17 | EBJ | TV | OPO | 9 | 12,140 |
| P00233982-1 | 11/17/2015 | 2:33:00 PM | EDG-15 | ECA | TV | OCO | 20 | 13,210 |
| P00233988-1 | 11/17/2015 | 2:34:00 PM | STA-16 | EBJ | TV | OCO | 17 | 10,966 |
| P00234169-1 | 11/17/2015 | 2:35:00 PM | TLN-0035 | ECA | TV | OCO | 1,595 | 305,443 |
| P00234008-1 | 11/17/2015 | 2:35:13 PM | BHL-13 | ECE | TV | OTF | 2 | 3,140 |
| P00234020-1 | 11/17/2015 | 2:36:00 PM | DGR-15 | ECA | TV | OCO | 2 | 3,280 |
| P00238343-1 | 11/17/2015 | 2:37:08 PM | NHL-15 | EBD | TV | OCO | 9 | 14,934 |
| P00234091-1 | 11/17/2015 | 2:38:00 PM | TLN-0157 | ECA | TV | OCO | 2,650 | 522,050 |
| P00234758-1 | 11/17/2015 | 2:38:00 PM | NBE-15 | EBF | TV | OCO | 15 | 27,267 |
| P00234043-1 | 11/17/2015 | 2:38:32 PM | BRE-22 | ECE | TV | OCO | 17 | 26,924 |
| P00234060-1 | 11/17/2015 | 2:40:00 PM | FRG-25 | ECC | TV | OCO | 20 | 7,780 |
| P00238122-1 | 11/17/2015 | 2:40:00 PM | TLN-0157 | EBI | TV | OCO | 803 | 1,479,230 |
| P00234139-1 | 11/17/2015 | 2:41:00 PM | CRE-15 | EAD | TV | OCO | 18 | 7,559 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00234073-1 | 11/17/2015 | 2:41:54 PM | GRV-16 | ECA | TV | OSV | 8 | 12,022 |
| P00234075-1 | 11/17/2015 | 2:42:06 PM | PMA-12 | ECE | TV | OCO | 15 | 42,695 |
| P00234099-1 | 11/17/2015 | 2:42:49 PM | MIR-13 | EBF | TV | OCO | 381 | 57,124 |
| P00234102-1 | 11/17/2015 | 2:42:56 PM | RDO-13 | EBJ | TV | SCB | 1,507 | 92,631 |
| P00234134-1 | 11/17/2015 | 2:45:00 PM | TLN-0158 | EBI | TV | SWT | 8,649 | 22,920 |
| P00234115-1 | 11/17/2015 | 2:45:08 PM | NUG-25 | EAA | TV | OSV | 1 | 311 |
| P00237127-1 | 11/17/2015 | 2:47:00 PM | ORT-22 | ECA | TV | OCO | 4 | 2,411 |
| P00232708-1 | 11/17/2015 | 2:47:17 PM | BRS-13 | EAC | TV | OCO | 41 | 71,828 |
| P00234147-1 | 11/17/2015 | 2:47:24 PM | LWS-16 | EBJ | TV | OCO | 60 | 33,140 |
| P00234243-1 | 11/17/2015 | 2:47:35 PM | BDI-15 | EBI | TV | OHR | 168 | 93,046 |
| P00234168-1 | 11/17/2015 | 2:49:24 PM | BRS-13 | EAC | UN | PTF | 8 | 6,783 |
| P00234253-1 | 11/17/2015 | 2:50:00 PM | ALG-15 | EAA | TV | OCO | 39 | 27,254 |
| P00234177-1 | 11/17/2015 | 2:50:01 PM | STA-16 | EBJ | UN | OCN | 1 | 1,200 |
| P00234183-1 | 11/17/2015 | 2:50:40 PM | HOL-12 | ECA | TV | OSV | 1 | 1,952 |
| P00234195-1 | 11/17/2015 | 2:52:34 PM | PRI-13 | ECC | UN | OCO | 59 | 57,027 |
| P00234207-1 | 11/17/2015 | 2:53:00 PM | HAZ-13 | EBE | TV | OPO | 30 | 50,711 |
| P00234213-1 | 11/17/2015 | 2:53:32 PM | CRE-13 | EAD | TV | SCB | 573 | 57,777 |
| P00234219-1 | 11/17/2015 | 2:53:57 PM | PAN-15 | EBJ | TV | SCB | 1,809 | 168,961 |
| P00234237-1 | 11/17/2015 | 2:54:38 PM | BAR-13 | ECC | TV | OCO | 1,520 | 121,398 |
| P00234252-1 | 11/17/2015 | 2:55:04 PM | LAT-17 | EBJ | TV | OFU | 120 | 59,302 |
| P00234925-1 | 11/17/2015 | 2:56:00 PM | BDI-13 | EBI | TV | OCO | 248 | 61,639 |
| P00238416-1 | 11/17/2015 | 2:56:28 PM | BHL-13 | ECE | TV | OCO | 10 | 15,445 |
| P00234239-1 | 11/17/2015 | 2:56:44 PM | SIL-15 | ECE | TV | OCO | 367 | 89,383 |
| P00234246-1 | 11/17/2015 | 2:56:57 PM | SHE-26 | ECE | TV | OCO | 77 | 32,389 |
| P00234247-1 | 11/17/2015 | 2:57:12 PM | CRE-15 | EAD | TV | OSV | - | 333 |
| P00234302-1 | 11/17/2015 | 2:58:40 PM | BLU-16 | ECC | EF | OFU | 181 | 152,616 |
| P00235258-1 | 11/17/2015 | 2:59:00 PM | EDG-16 | ECA | TV | OFU | 147 | 142,053 |
| P00234266-1 | 11/17/2015 | 2:59:27 PM | MHT-15 | EBJ | TV | OFU | 108 | 3,648 |
| P00234268-1 | 11/17/2015 | 2:59:30 PM | POU-15 | ECE | TV | OCO | 1 | 3,433 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00237036-1 | 11/17/2015 | 2:59:32 PM | ELD-25 | ECC | EF | OTF | 1 | 1,422 |
| P00234534-1 | 11/17/2015 | 3:00:00 PM | TLN-0040 | ECA | TV | OCO | 4,586 | 653,267 |
| P00234558-1 | 11/17/2015 | 3:00:00 PM | TLN-0040 | ECA | TV | OCO | 5,227 | 573,752 |
| P00236019-1 | 11/17/2015 | 3:01:25 PM | BLU-17 | ECC | TV | OFU | 214 | 243,211 |
| P00234321-1 | 11/17/2015 | 3:02:58 PM | MST-27 | EBJ | TV | OCO | 367 | 167,456 |
| P00239078-1 | 11/17/2015 | 3:03:00 PM | LGY-12 | EAD | TV | OPO | 63 | 204,116 |
| P00234315-1 | 11/17/2015 | 3:03:29 PM | HOB-15 | EBI | TV | OFU | 20 | 22,985 |
| P00234716-1 | 11/17/2015 | 3:03:40 PM | CRE-12 | EAD | TV | OHR | 727 | 222,256 |
| P00234326-1 | 11/17/2015 | 3:04:00 PM | BLU-16 | ECC | TV | OCO | 1 | 1,516 |
| P00234508-1 | 11/17/2015 | 3:04:00 PM | TLN-0040 | ECA | TV | OCO | 4,062 | 184,687 |
| P00234343-1 | 11/17/2015 | 3:04:53 PM | FRU-25 | ECA | TV | OCO | 1,471 | 622,527 |
| P00234328-1 | 11/17/2015 | 3:05:14 PM | LYO-15 | EBJ | TV | OFU | 24 | 23,920 |
| P00236336-1 | 11/17/2015 | 3:05:44 PM | BLU-16 | ECC | TV | OFU | 28 | 44,247 |
| P00236118-1 | 11/17/2015 | 3:05:49 PM | TLN-0127 | ECA | TV | OCO | 6,010 | 1,786,172 |
| P00234373-1 | 11/17/2015 | 3:06:00 PM | FCH-26 | ECA | TV | OCO | 919 | 554,534 |
| P00234485-1 | 11/17/2015 | 3:06:00 PM | BLU-13 | ECC | TV | OCO | 230 | 90,896 |
| P00234840-1 | 11/17/2015 | 3:06:00 PM | LAT-13 | EBJ | TV | OCO | 1,199 | 278,134 |
| P00234839-1 | 11/17/2015 | 3:06:40 PM | ENU-17 | EBI | TV | OFU | 141 | 50,758 |
| P00235306-1 | 11/17/2015 | 3:06:55 PM | BDI-13 | EBI | TV | OHR | 769 | 129,359 |
| P00234578-1 | 11/17/2015 | 3:07:20 PM | HOB-16 | EBI | TV | OFU | 63 | 33,700 |
| P00234359-1 | 11/17/2015 | 3:07:29 PM | WIS-12 | EBF | TV | OSV | 1 | 383 |
| P00234789-1 | 11/17/2015 | 3:07:35 PM | PRI-13 | ECC | TV | OJU | 6 | 4,589 |
| P00234481-1 | 11/17/2015 | 3:07:36 PM | SHD-18 | EBI | TV | OCO | 15 | 11,232 |
| P00234393-1 | 11/17/2015 | 3:07:55 PM | CHA-15 | ECC | TV | OCO | 228 | 356,919 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00234379-1 | 11/17/2015 | 3:08:27 PM | PLG-17 | ECC | EF | OSV | 1 | 1,150 |
| P00234382-1 | 11/17/2015 | 3:08:40 PM | NBE-12 | EBF | TV | OSV | 1 | 1,131 |
| P00234411-1 | 11/17/2015 | 3:09:00 PM | KAP-15 | ECA | OD | OCO | 5 | 3,135 |
| P00234421-1 | 11/17/2015 | 3:09:00 PM | SHD-16 | EBI | TV | OCO | 598 | 147,529 |
| P00234449-1 | 11/17/2015 | 3:09:00 PM | MVW-13 | EBJ | TV | OHR | 701 | 322,343 |
| P00234468-1 | 11/17/2015 | 3:09:00 PM | AIR-22 | ECC | TV | OCO | - | 138,188 |
| P00234398-1 | 11/17/2015 | 3:09:15 PM | PLG-13 | ECC | TV | PTF | 1 | 72 |
| P00234547-1 | 11/17/2015 | 3:10:15 PM | MVW-16 | EBJ | TV | OCO | 58 | 50,856 |
| P00235061-1 | 11/17/2015 | 3:11:00 PM | BTN-36 | EAC | TV | OCO | 11 | 9,177 |
| P00234630-1 | 11/17/2015 | 3:11:11 PM | BKB-13 | EAC | TV | OFU | 40 | 59,553 |
| P00234579-1 | 11/17/2015 | 3:13:34 PM | ROC-16 | ECC | TV | OFU | 21 | 28,425 |
| P00234538-1 | 11/17/2015 | 3:13:48 PM | BRW-16 | EAC | TV | SCB | 2,638 | 68,633 |
| P00234552-1 | 11/17/2015 | 3:14:15 PM | LMD-16 | EBJ | TV | OFU | 24 | 24,156 |
| P00234584-1 | 11/17/2015 | 3:15:09 PM | BEL-25 | EBJ | TV | OHR | 191 | 130,042 |
| P00236514-1 | 11/17/2015 | 3:16:03 PM | SUM-21 | EAC | TV | OFU | 1 | 230 |
| P00234583-1 | 11/17/2015 | 3:16:41 PM | LYO-15 | EBJ | TV | OTR | 2 | 2,582 |
| P00234586-1 | 11/17/2015 | 3:17:00 PM | GAR-15 | ECA | TV | OCO | 6 | 6,220 |
| P00234592-1 | 11/17/2015 | 3:18:00 PM | BIG-15 | EAC | TV | OPO | 62 | 91,183 |
| P00234596-1 | 11/17/2015 | 3:18:00 PM | POU-13 | ECE | TV | OCO | 3 | 8,852 |
| P00234610-1 | 11/17/2015 | 3:18:00 PM | GRV-15 | ECA | TV | OCO | 5 | 8,662 |
| P00234594-1 | 11/17/2015 | 3:18:11 PM | MIR-16 | EBF | TV | OSV | 1 | 1,666 |
| P00234595-1 | 11/17/2015 | 3:18:16 PM | PAT-15 | ECC | TV | OCN | - | 44,418 |
| P00234601-1 | 11/17/2015 | 3:18:44 PM | RAI-11 | ECC | TV | OCO | 51 | 58,567 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00234775-1 | 11/17/2015 | 3:19:48 PM | FRG-23 | ECC | TV | OCO | 1,916 | 375,473 |
| P00234894-1 | 11/17/2015 | 3:20:00 PM | KIT-26 | EBH | OD | OPO | 178 | 171,485 |
| P00234650-1 | 11/17/2015 | 3:22:32 PM | CAM-25 | EBJ | TV | OFU | 30 | 15,191 |
| P00234662-1 | 11/17/2015 | 3:22:54 PM | LON-17 | ECC | TV | OCO | 1,415 | 1,831,671 |
| P00234656-1 | 11/17/2015 | 3:23:06 PM | BLU-16 | ECC | TV | OCO | 16 | 18,974 |
| P00234979-1 | 11/17/2015 | 3:23:10 PM | FRG-24 | ECC | TV | OCO | 949 | 106,114 |
| P00232083-2 | 11/17/2015 | 3:23:45 PM | SCH-16 | EAA | TV | OPO | 10 | 9 |
| P00234674-1 | 11/17/2015 | 3:23:56 PM | SUM-21 | EAC | TV | OTF | 3 | 665 |
| P00234737-1 | 11/17/2015 | 3:24:46 PM | FAL-15 | EBF | TV | OCO | 74 | 113,521 |
| P00234689-1 | 11/17/2015 | 3:25:00 PM | UHL-23 | EBD | TV | OCO | 10 | 27,888 |
| P00234705-1 | 11/17/2015 | 3:25:00 PM | HOB-15 | EBI | TV | OCO | 7 | 8,650 |
| P00234697-1 | 11/17/2015 | 3:25:35 PM | PMA-16 | ECE | TV | OCO | 1 | 2,448 |
| P00234703-1 | 11/17/2015 | 3:25:50 PM | ROC-15 | ECC | TV | OCO | 38 | 44,590 |
| P00235280-1 | 11/17/2015 | 3:26:00 PM | AIR-23 | ECC | TV | OCO | 19 | 13,540 |
| P00234709-1 | 11/17/2015 | 3:26:14 PM | CRE-15 | EAD | TV | OFU | 40 | 16,783 |
| P00237230-1 | 11/17/2015 | 3:26:55 PM | CAM-25 | EBJ | TV | OTF | 7 | 3,583 |
| P00234724-1 | 11/17/2015 | 3:27:22 PM | RAI-11 | ECC | TV | OCO | 13 | 14,258 |
| P00234726-1 | 11/17/2015 | 3:27:23 PM | GAR-13 | ECA | TV | OCO | 11 | 7 |
| P00234726-3 | 11/17/2015 | 3:27:23 PM | GAR-13 | ECA | TV | OCR | 11 | 7 |
| P00237685-1 | 11/17/2015 | 3:28:35 PM | FAL-15 | EBF | TV | OCO | 120 | 182,528 |
| P00234752-1 | 11/17/2015 | 3:28:43 PM | HEM-15 | ECA | UN | OCO | 2 | 1,302 |
| P00234763-1 | 11/17/2015 | 3:29:41 PM | PIN-27 | EBD | TV | OTF | 1 | 2,505 |
| P00235018-1 | 11/17/2015 | 3:30:00 PM | FRG-25 | ECC | TV | OCO | 1,351 | 145,142 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00236078-1 | 11/17/2015 | 3:31:00 PM | CPV-15 | EAD | TV | OPI | 3 | 1 |
| P00234780-1 | 11/17/2015 | 3:31:02 PM | CPV-12 | EAD | TV | OTF | 1 | 1,572 |
| P00236364-1 | 11/17/2015 | 3:31:09 PM | BRO-15 | EAD | TV | OFU | - | 82,045 |
| P00234803-1 | 11/17/2015 | 3:31:11 PM | BRW-16 | EAC | TV | SCB | 2,638 | 4,044 |
| P00234804-1 | 11/17/2015 | 3:31:16 PM | STA-13 | EBJ | TV | SCB | 1,067 | 131,935 |
| P00236047-1 | 11/17/2015 | 3:31:47 PM | BRO-15 | EAD | TV | SCB | 1,709 | 1,292,004 |
| P00236516-1 | 11/17/2015 | 3:31:47 PM | BRO-15 | EAD | TV | OCO | 352 | 571,235 |
| P00236247-1 | 11/17/2015 | 3:33:00 PM | GBK-15 | EAD | TV | OPI | 1,329 | 1,575,738 |
| P00234812-1 | 11/17/2015 | 3:33:23 PM | SHD-16 | EBI | TV | OTF | - | 539 |
| P00236443-1 | 11/17/2015 | 3:33:42 PM | BRO-15 | EAD | TV | OCO | 79 | 471,654 |
| P00234829-1 | 11/17/2015 | 3:34:24 PM | FCH-24 | ECA | TV | OCO | 165 | 101,560 |
| P00234842-1 | 11/17/2015 | 3:34:57 PM | ROC-26 | ECC | TV | OCO | 5 | 6,347 |
| P00234347-1 | 11/17/2015 | 3:35:36 PM | LON-23 | ECC | TV | OCO | 789 | 407,830 |
| P00235017-1 | 11/17/2015 | 3:37:18 PM | HOL-13 | ECA | TV | OCO | 553 | 255,274 |
| P00234882-1 | 11/17/2015 | 3:37:41 PM | FCR-14 | EBI | TV | OFU | 3 | 240 |
| P00234902-1 | 11/17/2015 | 3:37:47 PM | PEA-15 | EBJ | TV | SCB | 1,431 | 442,029 |
| P00234938-1 | 11/17/2015 | 3:38:53 PM | RAI-13 | ECC | TV | OCO | 133 | 70,690 |
| P00234907-1 | 11/17/2015 | 3:38:59 PM | CPV-12 | EAD | TV | OFU | 36 | 43,387 |
| P00235540-1 | 11/17/2015 | 3:39:00 PM | TLN-0151 | EAD | TV | SBF | 1,837 | 3,319,459 |
| P00235976-1 | 11/17/2015 | 3:39:00 PM | TLN-0059 | EAD | TV | OIN | - | 2,467 |
| P00235513-1 | 11/17/2015 | 3:39:23 PM | GLA-12 | EAA | TV | OCO | 4 | 2,494 |
| P00235991-1 | 11/17/2015 | 3:39:53 PM | TLN-0120 | EBD | TV | OPO | 5,130 | 5,400,377 |
| P00234928-1 | 11/17/2015 | 3:40:00 PM | PLU-24 | ECC | TV | OCO | 4 | 2,569 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00234942-1 | 11/17/2015 | 3:40:28 PM | TLN-0184 | EAD | TV | SCB | - | 937 |
| P00234940-1 | 11/17/2015 | 3:40:47 PM | ETN-15 | EBH | TV | OCO | 33 | 7,152 |
| P00236082-1 | 11/17/2015 | 3:40:55 PM | LGY-12 | EAD | TV | SCB | 1,835 | 3,136,015 |
| P00237263-1 | 11/17/2015 | 3:40:55 PM | LGY-12 | EAD | TV | OCR | - | 454,512 |
| P00235225-1 | 11/17/2015 | 3:41:00 PM | SEQ-22 | EBJ | TV | OCO | 177 | 97,931 |
| P00238682-1 | 11/17/2015 | 3:41:01 PM | HWD-25 | EBD | TV | OCO | - | 10,564 |
| P00235161-1 | 11/17/2015 | 3:41:15 PM | FLD-13 | EAD | TV | SCB | 874 | 1,321,029 |
| P00237286-1 | 11/17/2015 | 3:41:18 PM | FLD-13 | EAD | TV | OCO | 77 | 574,051 |
| P00234960-1 | 11/17/2015 | 3:41:39 PM | CLV-16 | EAD | TV | OSV | 2 | 3,432 |
| P00236068-1 | 11/17/2015 | 3:41:47 PM | BRO-16 | EAD | TV | SCB | 472 | 1,661,383 |
| P00234987-1 | 11/17/2015 | 3:42:00 PM | RHO-15 | ECA | TV | OCO | 13 | 15,256 |
| P00236090-1 | 11/17/2015 | 3:44:14 PM | LGY-13 | EAD | TV | SCB | 84 | 144,686 |
| P00235055-1 | 11/17/2015 | 3:44:36 PM | KAP-16 | ECA | OD | OCO | 1 | 731 |
| P00235104-1 | 11/17/2015 | 3:45:00 PM | PIP-23 | EBI | TV | OCO | 1,018 | 592,289 |
| P00235653-1 | 11/17/2015 | 3:45:45 PM | RDO-13 | EBJ | TV | OHR | 481 | 97,699 |
| P00235126-1 | 11/17/2015 | 3:47:00 PM | NBE-13 | EBF | TV | OCO | 143 | 85,966 |
| P00238840-1 | 11/17/2015 | 3:47:42 PM | FLD-12 | EAD | TV | OFU | 43 | 123,083 |
| P00237155-1 | 11/17/2015 | 3:48:25 PM | MWD-13 | EBE | TV | OCO | 317 | 157,871 |
| P00237304-1 | 11/17/2015 | 3:48:36 PM | BRO-16 | EAD | TV | OCO | 4 | 16,426 |
| P00235170-1 | 11/17/2015 | 3:49:23 PM | LAT-14 | EBJ | BA | OFU | 28 | 29,883 |
| P00239656-1 | 11/17/2015 | 3:50:05 PM | FLD-12 | EAD | TV | OCO | 33 | 169,373 |
| P00235185-1 | 11/17/2015 | 3:50:18 PM | HAM-15 | EAC | TV | OCO | 1 | 1,174 |
| P00236214-1 | 11/17/2015 | 3:51:00 PM | AIR-23 | ECC | TV | OFU | 127 | 83,195 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00239369-1 | 11/17/2015 | 3:51:42 PM | FLD-12 | EAD | TV | OCO | 47 | 142,405 |
| P00235229-1 | 11/17/2015 | 3:52:05 PM | LEA-16 | EBJ | TV | OFU | 39 | 13,827 |
| P00237278-1 | 11/17/2015 | 3:52:06 PM | FLD-13 | EAD | TV | OFU | 17 | 69,149 |
| P00235466-1 | 11/17/2015 | 3:53:00 PM | TLN-0151 | EAD | TV | SBF | 1,835 | 30,705 |
| P00235245-1 | 11/17/2015 | 3:53:28 PM | PIN-26 | EBD | TV | OCO | 10 | 19,579 |
| P00235273-1 | 11/17/2015 | 3:53:33 PM | FRA-16 | ECD | TV | OCO | 3,970 | 4,474,955 |
| P00235260-1 | 11/17/2015 | 3:54:00 PM | DUV-15 | EBD | TV | OTF | 3 | 873 |
| P00235276-1 | 11/17/2015 | 3:54:00 PM | LYO-12 | EBJ | TV | OCO | 40 | 35,739 |
| P00235279-1 | 11/17/2015 | 3:54:00 PM | FCR-12 | EBI | TV | OCO | 19 | 5,954 |
| P00237229-1 | 11/17/2015 | 3:54:19 PM | CAM-25 | EBJ | TV | OFU | 12 | 5,791 |
| P00235268-1 | 11/17/2015 | 3:54:26 PM | MER-15 | EBE | TV | OSV | 1 | 1,767 |
| P00236451-1 | 11/17/2015 | 3:56:34 PM | CLR-15 | EBH | TV | OCO | 17 | 6,101 |
| P00236115-1 | 11/17/2015 | 3:56:50 PM | FRG-25 | ECC | UN | OCO | 1 | 499 |
| P00235625-1 | 11/17/2015 | 3:57:53 PM | EDG-15 | ECA | TV | OCO | 107 | 43,851 |
| P00235340-1 | 11/17/2015 | 3:58:00 PM | CAS-15 | EBH | TV | OCO | 29 | 21,198 |
| P00235421-1 | 11/17/2015 | 3:59:00 PM | TLN-0094 | EBJ | TV | OCO | - | 1,697,398 |
| P00235379-1 | 11/17/2015 | 4:00:00 PM | CED-15 | ECA | TV | OPO | 60 | 68,682 |
| P00235379-3 | 11/17/2015 | 4:00:00 PM | CED-15 | ECA | TV | OSV | 60 | 68,682 |
| P00235369-1 | 11/17/2015 | 4:00:19 PM | SKI-13 | EBD | TV | OSV | 1 | 1,503 |
| P00235378-1 | 11/17/2015 | 4:00:33 PM | OBY-16 | ECC | TV | OSV | 1 | 604 |
| P00235384-1 | 11/17/2015 | 4:01:00 PM | LAC-15 | ECC | TV | OCO | 2 | 2,211 |
| P00236063-1 | 11/17/2015 | 4:07:00 PM | FCH-24 | ECA | TV | OCO | 23 | 10,084 |
| P00235482-1 | 11/17/2015 | 4:07:19 PM | KIN-24 | ECE | TV | OCO | 693 | 182,594 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00235557-1 | 11/17/2015 | 4:08:17 PM | PET-15 | EAC | TV | OPO | 1,507 | 303,555 |
| P00235499-1 | 11/17/2015 | 4:09:00 PM | LTA-17 | ECA | TV | OCN | 1 | 452 |
| P00236456-1 | 11/17/2015 | 4:09:00 PM | OSC-23 | EBI | TV | OCO | 11 | 12,673 |
| P00235496-1 | 11/17/2015 | 4:09:02 PM | NBE-12 | EBF | TV | OSV | 1 | 1,071 |
| P00236253-1 | 11/17/2015 | 4:09:28 PM | CPV-15 | EAD | TV | OHR | 666 | 340,585 |
| P00235509-1 | 11/17/2015 | 4:09:52 PM | MIR-15 | EBF | TV | OCO | 15 | 16,771 |
| P00235550-1 | 11/17/2015 | 4:12:25 PM | NOR-23 | EBD | TV | OCO | - | 152,058 |
| P00236561-1 | 11/17/2015 | 4:13:12 PM | EDG-16 | ECA | UN | OCO | 92 | 76,385 |
| P00235585-1 | 11/17/2015 | 4:17:24 PM | PRI-13 | ECC | TV | OCO | 3 | 3,460 |
| P00235587-1 | 11/17/2015 | 4:17:31 PM | OBY-17 | ECC | EF | OFU | 5 | 5,427 |
| P00235888-1 | 11/17/2015 | 4:17:42 PM | GLA-12 | EAA | TV | OCO | 5 | 2,798 |
| P00235590-1 | 11/17/2015 | 4:17:51 PM | SWA-16 | EAD | TV | OCO | 4 | 1,669 |
| P00235592-1 | 11/17/2015 | 4:18:00 PM | SIL-15 | ECE | TV | OSV | 3 | 11,196 |
| P00235611-1 | 11/17/2015 | 4:19:05 PM | KNM-23 | EBD | TV | OCO | - | 157,993 |
| P00235613-1 | 11/17/2015 | 4:20:38 PM | NBE-13 | EBF | TV | OCO | 10 | 4,707 |
| P00235614-1 | 11/17/2015 | 4:20:41 PM | FWD-17 | EBJ | UN | OFU | 52 | 36,982 |
| P00237245-1 | 11/17/2015 | 4:20:46 PM | CPV-15 | EAD | TV | OPI | 19 | 11,170 |
| P00238854-1 | 11/17/2015 | 4:21:26 PM | SOO-25 | EBI | TV | OFU | 4 | 6,607 |
| P00235643-1 | 11/17/2015 | 4:23:00 PM | LAT-14 | EBJ | TV | OCO | 38 | 23,629 |
| P00235641-1 | 11/17/2015 | 4:23:17 PM | HKX-16 | EAC | UN | OFU | 25 | 10,072 |
| P00235644-1 | 11/17/2015 | 4:23:34 PM | EGT-27 | EBE | TV | OCO | 7 | 9,596 |
| P00235657-1 | 11/17/2015 | 4:25:02 PM | CPV-15 | EAD | TV | OFU | 7 | 11,652 |
| P00235704-1 | 11/17/2015 | 4:30:05 PM | PAN-15 | EBJ | TV | OHR | 802 | 203,147 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00235706-1 | 11/17/2015 | 4:31:42 PM | LWS-15 | EBJ | TV | OTF | 3 | 3,936 |
| P00235722-1 | 11/17/2015 | 4:32:00 PM | PGA-13 | ECE | TV | OCO | 1,185 | 752,752 |
| P00235735-1 | 11/17/2015 | 4:33:00 PM | KAP-16 | ECA | OD | OCO | 4 | 5,015 |
| P00235781-1 | 11/17/2015 | 4:35:27 PM | ELD-23 | ECC | TV | OCO | 1,081 | 100,659 |
| P00235785-1 | 11/17/2015 | 4:36:37 PM | MIL-16 | ECE | TV | OCO | 341 | 158,417 |
| P00235777-1 | 11/17/2015 | 4:36:51 PM | CHA-13 | ECC | OD | OSV | 1 | 309 |
| P00236640-1 | 11/17/2015 | 4:38:14 PM | CLE-11 | EBH | TV | OCO | 998 | 510,310 |
| P00235820-1 | 11/17/2015 | 4:42:54 PM | ELD-25 | ECC | TV | OCO | 7 | 5,013 |
| P00235837-1 | 11/17/2015 | 4:43:33 PM | MAP-15 | EBE | EF | OCO | 3,393 | 1,196,484 |
| P00235826-1 | 11/17/2015 | 4:43:35 PM | SWA-16 | EAD | TV | OTF | 3 | 8,300 |
| P00235892-1 | 11/17/2015 | 4:47:54 PM | ROC-16 | ECC | TV | OFU | 15 | 18,228 |
| P00235992-1 | 11/17/2015 | 4:51:46 PM | ROC-17 | ECC | TV | OFC | 338 | 373,410 |
| P00235895-1 | 11/17/2015 | 4:52:00 PM | BHL-12 | ECE | TV | OCO | 2 | 6,910 |
| P00235906-1 | 11/17/2015 | 4:54:22 PM | ROC-25 | ECC | TV | OSV | 1 | 484 |
| P00235961-1 | 11/17/2015 | 4:57:59 PM | PRI-13 | ECC | TV | OFU | 233 | 102,415 |
| P00235940-1 | 11/17/2015 | 4:58:29 PM | ING-17 | EBD | TV | OCO | - | 379,558 |
| P00235951-1 | 11/17/2015 | 4:58:59 PM | BAR-15 | ECC | TV | OCO | 1,056 | 693,975 |
| P00235959-1 | 11/17/2015 | 4:59:24 PM | WOO-25 | ECA | TV | OCO | 1,083 | 221,583 |
| P00235953-1 | 11/17/2015 | 5:00:00 PM | ELD-27 | ECC | TV | OFU | 13 | 32,719 |
| P00237228-1 | 11/17/2015 | 5:00:51 PM | CAM-25 | EBJ | TV | OFU | 5 | 2,083 |
| P00235967-1 | 11/17/2015 | 5:01:00 PM | KIN-24 | ECE | TV | OCO | 13 | 35,043 |
| P00235989-1 | 11/17/2015 | 5:03:09 PM | KAP-16 | ECA | TV | OCO | 1,179 | 26,724 |
| P00235972-1 | 11/17/2015 | 5:03:11 PM | CRE-16 | EAD | EF | OFC | 3 | 3,740 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00235986-1 | 11/17/2015 | 5:04:17 PM | BDI-15 | EBI | TV | OCE | 2 | 2,543 |
| P00236289-1 | 11/17/2015 | 5:07:13 PM | MOT-14 | ECC | TV | OCO | 807 | 180,001 |
| P00236013-1 | 11/17/2015 | 5:07:40 PM | FLD-12 | EAD | TV | OIN | 85 | 2,386,232 |
| P00236152-1 | 11/17/2015 | 5:08:44 PM | MOT-14 | ECC | TV | OFU | 48 | 33,201 |
| P00236131-1 | 11/17/2015 | 5:09:00 PM | PET-13 | EAC | TV | OCO | 161 | 92,678 |
| P00236033-1 | 11/17/2015 | 5:10:29 PM | GRI-15 | ECC | TV | OCO | 5 | 5,338 |
| P00236044-1 | 11/17/2015 | 5:11:00 PM | PRI-23 | ECC | TV | OCO | 66 | 196,062 |
| P00236042-1 | 11/17/2015 | 5:11:44 PM | CHI-16 | ECE | TV | OCO | 348 | 13,468 |
| P00236171-1 | 11/17/2015 | 5:15:00 PM | PRI-23 | ECC | TV | OPO | 228 | 396,807 |
| P00236076-1 | 11/17/2015 | 5:15:21 PM | NOR-24 | EBD | TV | OSV | 1 | 2,120 |
| P00231196-2 | 11/17/2015 | 5:15:47 PM | FAL-13 | EBF | TV | OCO | 19 | 297 |
| P00236413-1 | 11/17/2015 | 5:16:45 PM | KNT-37 | EBJ | TV | OSV | 1 | 1,264 |
| P00236098-1 | 11/17/2015 | 5:18:52 PM | PLA-21 | EBD | TV | OCO | 3 | 986 |
| P00236109-1 | 11/17/2015 | 5:20:21 PM | FLD-15 | EAD | TV | SCB | - | 2,370 |
| P00236112-1 | 11/17/2015 | 5:20:25 PM | CRE-15 | EAD | TV | OFU | 4 | 1,533 |
| P00236132-1 | 11/17/2015 | 5:21:59 PM | BKB-14 | EAC | TV | OFU | 21 | 35,892 |
| P00236125-1 | 11/17/2015 | 5:22:00 PM | MIL-23 | ECE | TV | OCO | 65 | 157,507 |
| P00236123-1 | 11/17/2015 | 5:22:07 PM | ENU-18 | EBI | TV | OTF | 4 | 6,918 |
| P00236124-1 | 11/17/2015 | 5:22:16 PM | HLC-23 | EAD | TV | OFC | - | 25,169 |
| P00236126-1 | 11/17/2015 | 5:22:26 PM | WOL-25 | ECC | TV | OFU | 5 | 6,244 |
| P00236135-1 | 11/17/2015 | 5:23:00 PM | SHE-17 | ECE | TV | OCO | 91 | 109,170 |
| P00236141-1 | 11/17/2015 | 5:23:16 PM | AVO-15 | EBD | TV | OCO | 2,691 | 1,391,409 |
| P00236130-1 | 11/17/2015 | 5:23:29 PM | CRE-16 | EAD | TV | OCO | - | 964 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00236136-1 | 11/17/2015 | 5:24:02 PM | CRE-15 | EAD | TV | OPO | 12 | 3,845 |
| P00236256-1 | 11/17/2015 | 5:25:00 PM | TLN-0134 | ECC | TV | OCO | 1,161 | 123,865 |
| P00236144-1 | 11/17/2015 | 5:25:06 PM | BHL-12 | ECE | TV | OCO | 7 | 18,480 |
| P00236156-1 | 11/17/2015 | 5:26:00 PM | TLN-0174 | EBD | TV | OCO | 4,184 | 5,560,988 |
| P00236161-1 | 11/17/2015 | 5:26:42 PM | EPO-12 | ECD | TV | OCO | 5,157 | 1,683,314 |
| P00236169-1 | 11/17/2015 | 5:27:00 PM | AIR-22 | ECC | TV | OCO | - | 346,481 |
| P00236197-1 | 11/17/2015 | 5:27:30 PM | CRE-15 | EAD | TV | OHR | 217 | 3,873 |
| P00236174-1 | 11/17/2015 | 5:30:00 PM | ORC-13 | EBJ | TV | OFC | 1 | 1,006 |
| P00236178-1 | 11/17/2015 | 5:30:44 PM | BRS-24 | EAC | TV | OFU | 2 | 7,754 |
| P00236199-1 | 11/17/2015 | 5:32:42 PM | OSC-22 | EBI | TV | OTF | 1 | 1,388 |
| P00236206-1 | 11/17/2015 | 5:33:00 PM | CED-17 | ECA | TV | OCO | 19 | 29,341 |
| P00236223-1 | 11/17/2015 | 5:35:14 PM | KAP-16 | ECA | TV | OCO | - | 5,084 |
| P00236242-1 | 11/17/2015 | 5:36:57 PM | OBY-17 | ECC | UN | OFU | 4 | 3,906 |
| P00236251-1 | 11/17/2015 | 5:37:20 PM | PET-12 | EAC | TV | OFU | 7 | 10,465 |
| P00237137-1 | 11/17/2015 | 5:41:23 PM | CRE-12 | EAD | TV | OCO | 117 | 119,915 |
| P00236280-1 | 11/17/2015 | 5:41:49 PM | KIN-24 | ECE | TV | OCO | 848 | 116,558 |
| P00236299-1 | 11/17/2015 | 5:45:00 PM | KIN-22 | ECE | TV | OCO | 33 | 64,307 |
| P00236847-1 | 11/17/2015 | 5:46:57 PM | LMD-16 | EBJ | TV | OFU | 8 | 7,777 |
| P00236320-1 | 11/17/2015 | 5:50:00 PM | BIG-16 | EAC | TV | OCO | 5 | 7,108 |
| P00237265-1 | 11/17/2015 | 5:50:58 PM | KNM-23 | EBD | TV | OCO | 171 | 269,408 |
| P00237981-1 | 11/17/2015 | 5:52:50 PM | ING-13 | EBD | TV | OCR | 800 | 1,040,328 |
| P00236333-1 | 11/17/2015 | 5:53:00 PM | PGA-13 | ECE | TV | OCO | 54 | 57,719 |
| P00238912-1 | 11/17/2015 | 5:53:51 PM | BRO-16 | EAD | TV | OCO | 4 | 16,047 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00236342-1 | 11/17/2015 | 5:55:43 PM | ETN-13 | EBH | TV | OCO | 776 | 19,180 |
| P00237227-1 | 11/17/2015 | 6:00:20 PM | CAM-25 | EBJ | TV | OFU | 3 | 1,073 |
| P00236382-1 | 11/17/2015 | 6:09:00 PM | CRE-15 | EAD | TV | OCO | 20 | 10,084 |
| P00236403-1 | 11/17/2015 | 6:15:00 PM | BRS-13 | EAC | TV | OCO | 43 | 58,548 |
| P00236410-1 | 11/17/2015 | 6:18:24 PM | PRI-23 | ECC | TV | OSV | 1 | 1,168 |
| P00236425-1 | 11/17/2015 | 6:18:41 PM | TLN-0120 | EBD | TV | OCO | - | 28,813 |
| P00236515-1 | 11/17/2015 | 6:30:00 PM | WOO-26 | ECA | TV | OCO | 59 | 50,888 |
| P00236450-1 | 11/17/2015 | 6:31:15 PM | FRG-24 | ECC | TV | OTR | 2 | 2,730 |
| P00237122-1 | 11/17/2015 | 6:31:43 PM | CLR-15 | EBH | TV | OCO | 1 | 190 |
| P00236457-1 | 11/17/2015 | 6:33:48 PM | AIR-23 | ECC | TV | OCO | 1,721 | 649,713 |
| P00236465-1 | 11/17/2015 | 6:40:07 PM | MOT-14 | ECC | TV | OSV | 1 | 1,121 |
| P00236693-1 | 11/17/2015 | 6:41:21 PM | BRW-16 | EAC | EF | PMF | 125 | 49,573 |
| P00236493-1 | 11/17/2015 | 6:52:00 PM | CPV-15 | EAD | EF | OPO | 52 | 104,128 |
| P00236498-1 | 11/17/2015 | 6:52:47 PM | HLC-23 | EAD | TV | OCO | 132 | 164,435 |
| P00236506-1 | 11/17/2015 | 6:56:09 PM | LUH-14 | ECC | EF | OTF | 2 | 2,081 |
| P00236519-1 | 11/17/2015 | 6:59:00 PM | HLC-23 | EAD | TV | OCO | 2 | 8,527 |
| P00236521-1 | 11/17/2015 | 7:00:04 PM | SWA-15 | EAD | TV | OFC | 48 | 107,988 |
| P00237275-1 | 11/17/2015 | 7:03:19 PM | SIL-17 | ECE | TV | OCO | 3 | 7,827 |
| P00236538-1 | 11/17/2015 | 7:06:00 PM | FRG-23 | ECC | EF | UOT | 20 | 12,306 |
| P00236549-1 | 11/17/2015 | 7:12:00 PM | CEK-16 | ECE | TV | OTR | 8 | 18,223 |
| P00236553-1 | 11/17/2015 | 7:13:00 PM | PMA-13 | ECE | TV | OCO | 1 | 1,610 |
| P00236563-1 | 11/17/2015 | 7:16:25 PM | SWA-12 | EAD | TV | OTF | 2 | 306 |
| P00236574-1 | 11/17/2015 | 7:17:33 PM | BRS-24 | EAC | TV | OPO | 12 | 11,092 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00236593-1 | 11/17/2015 | 7:20:59 PM | FRG-23 | ECC | OD | OSW | 9 | 7,620 |
| P00236615-1 | 11/17/2015 | 7:25:14 PM | FWY-11 | EBJ | TV | OFU | 1 | 1,155 |
| P00236618-1 | 11/17/2015 | 7:25:55 PM | ELD-27 | ECC | TV | OCO | 5 | 6,423 |
| P00236625-1 | 11/17/2015 | 7:29:39 PM | FRG-23 | ECC | EF | OTF | 4 | 3,358 |
| P00236631-1 | 11/17/2015 | 7:32:23 PM | BRS-24 | EAC | TV | OPO | 277 | 43,639 |
| P00236738-1 | 11/17/2015 | 7:35:15 PM | VAS-23 | EBL | TV | OCO | 176 | 80,382 |
| P00236663-1 | 11/17/2015 | 7:35:16 PM | VAS-23 | EBL | TV | OCO | 29 | 10,535 |
| P00232577-2 | 11/17/2015 | 7:37:32 PM | VAS-12 | EBL | TV | OCO | 396 | 108,313 |
| P00236809-1 | 11/17/2015 | 7:37:55 PM | KIT-26 | EBH | TV | OCO | 28 | 28,289 |
| P00236656-1 | 11/17/2015 | 7:39:20 PM | AVO-13 | EBD | TV | OCO | 137 | 234,366 |
| P00237297-1 | 11/17/2015 | 7:41:00 PM | VAS-12 | EBL | TV | OCO | 229 | 118,946 |
| P00235715-1 | 11/17/2015 | 7:43:13 PM | NBE-13 | EBF | TV | OCO | 130 | 13,844 |
| P00236696-1 | 11/17/2015 | 7:46:00 PM | BRS-24 | EAC | TV | OCO | 144 | 174,571 |
| P00237168-1 | 11/17/2015 | 7:47:22 PM | VAS-23 | EBL | TV | OCO | 9 | 1,525 |
| P00236711-1 | 11/17/2015 | 7:48:52 PM | VAS-12 | EBL | TV | OCO | 10 | 936 |
| P00236715-1 | 11/17/2015 | 7:49:39 PM | CRE-13 | EAD | EF | OTF | 4 | 10,637 |
| P00236716-1 | 11/17/2015 | 7:50:00 PM | BHL-13 | ECE | TV | OCO | 10 | 25,725 |
| P00236753-1 | 11/17/2015 | 7:51:21 PM | FAL-15 | EBF | TV | OCO | 200 | 35,567 |
| P00237707-1 | 11/17/2015 | 7:51:24 PM | SIL-15 | ECE | TV | OCO | 2,093 | 1,807,375 |
| P00236736-1 | 11/17/2015 | 7:54:02 PM | LYO-15 | EBJ | TV | OFU | 4 | 2,308 |
| P00236750-1 | 11/17/2015 | 7:57:21 PM | THO-13 | EBH | TV | OTF | 5 | 4,680 |
| P00236762-1 | 11/17/2015 | 8:00:00 PM | HEM-15 | ECA | UN | OTR | 37 | 38,905 |
| P00236762-3 | 11/17/2015 | 8:00:00 PM | HEM-15 | ECA | UN | UPT | 37 | 38,905 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00236771-1 | 11/17/2015 | 8:03:07 PM | VAS-12 | EBL | TV | OCO | 36 | 3,650 |
| P00236797-1 | 11/17/2015 | 8:05:16 PM | MVW-13 | EBJ | TV | SWT | 6,885 | 1,025,759 |
| P00236802-1 | 11/17/2015 | 8:07:21 PM | THO-25 | EBH | TV | OCO | 7 | 7,805 |
| P00236808-1 | 11/17/2015 | 8:08:30 PM | KIN-24 | ECE | TV | OCO | 35 | 15,699 |
| P00236815-1 | 11/17/2015 | 8:10:00 PM | RPT-23 | ECD | TV | OCO | 7 | 18,659 |
| P00236814-1 | 11/17/2015 | 8:10:07 PM | HAM-15 | EAC | TV | OCO | 85 | 100,010 |
| P00236817-1 | 11/17/2015 | 8:11:25 PM | NBE-15 | EBF | TV | OCO | 29 | 30,204 |
| P00236828-1 | 11/17/2015 | 8:17:00 PM | FAL-13 | EBF | TV | OCO | 11 | 18,553 |
| P00236832-1 | 11/17/2015 | 8:18:41 PM | CEK-14 | ECE | TV | OCO | 3 | 7,801 |
| P00236837-1 | 11/17/2015 | 8:19:00 PM | WLK-13 | ECA | TV | OCO | 243 | 99,379 |
| P00236837-3 | 11/17/2015 | 8:19:00 PM | WLK-13 | ECA | TV | OCO | 243 | 99,379 |
| P00237082-1 | 11/17/2015 | 8:20:06 PM | BON-15 | ECA | OD | OCO | 108 | 98,075 |
| P00236853-1 | 11/17/2015 | 8:25:38 PM | GLA-12 | EAA | TV | SCB | - | 65,711 |
| P00236852-1 | 11/17/2015 | 8:26:35 PM | BON-15 | ECA | TV | OCO | 74 | 3,474 |
| P00236958-1 | 11/17/2015 | 8:28:00 PM | TLN-0146 | EBI | TV | SWT | 4,934 | 174,994 |
| P00236963-1 | 11/17/2015 | 8:28:00 PM | TLN-0146 | EBI | TV | SWT | 6,485 | 238,324 |
| P00236967-1 | 11/17/2015 | 8:28:00 PM | TLN-0146 | EBI | TV | SWT | 2,424 | 90,456 |
| P00237324-1 | 11/17/2015 | 8:33:00 PM | BON-15 | ECA | TV | OCO | 55 | 34,931 |
| P00236977-1 | 11/17/2015 | 8:40:00 PM | KIN-24 | ECE | TV | OCO | 54 | 55,072 |
| P00236979-1 | 11/17/2015 | 8:41:59 PM | VAS-13 | EBL | TV | OSV | 3 | 506 |
| P00236986-1 | 11/17/2015 | 8:43:00 PM | KIN-24 | ECE | TV | OCO | 16 | 15,530 |
| P00236981-1 | 11/17/2015 | 8:43:01 PM | KIN-24 | ECE | TV | OCO | 76 | 12,792 |
| P00237007-1 | 11/17/2015 | 8:53:00 PM | PAN-15 | EBJ | UN | OCO | 209 | 103,646 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00237003-1 | 11/17/2015 | 8:53:17 PM | SHD-18 | EBI | TV | OCO | 3 | 1,950 |
| P00237210-1 | 11/17/2015 | 8:53:28 PM | MOT-14 | ECC | TV | OCO | 807 | 205,058 |
| P00231158-2 | 11/17/2015 | 8:56:31 PM | KLA-15 | EBD | TV | OCO | - | 564,792 |
| P00237029-1 | 11/17/2015 | 8:57:37 PM | VAS-13 | EBL | TV | OCO | 7 | 1,516 |
| P00237033-1 | 11/17/2015 | 8:58:00 PM | FRG-23 | ECC | TV | OSV | 2 | 1,172 |
| P00237041-1 | 11/17/2015 | 9:03:00 PM | FAL-13 | EBF | TV | OCO | 53 | 53,789 |
| P00237054-1 | 11/17/2015 | 9:06:21 PM | PEA-15 | EBJ | EF | OFC | 3 | 2,502 |
| P00236505-1 | 11/17/2015 | 9:08:30 PM | WAY-13 | EBD | TV | OPO | 106 | 99,525 |
| P00237063-1 | 11/17/2015 | 9:09:00 PM | KIN-24 | ECE | TV | OCO | 3 | 8,038 |
| P00237079-1 | 11/17/2015 | 9:17:03 PM | LUH-14 | ECC | EF | OTF | 1 | 900 |
| P00236533-2 | 11/17/2015 | 9:18:25 PM | SWA-12 | EAD | TV | OCO | 183 | 17,052 |
| P00237086-1 | 11/17/2015 | 9:21:20 PM | TOL-15 | EBD | TV | OCO | 8 | 120 |
| P00237303-1 | 11/17/2015 | 9:22:53 PM | UHL-25 | EBD | TV | OCO | 201 | 42,843 |
| P00237093-1 | 11/17/2015 | 9:26:11 PM | BRS-24 | EAC | TV | OFU | 26 | 188 |
| P00237115-1 | 11/17/2015 | 9:27:00 PM | EGT-25 | EBE | TV | OCO | 38 | 36,788 |
| P00237110-1 | 11/17/2015 | 9:36:55 PM | FCR-12 | EBI | TV | OTF | 3 | 2,721 |
| P00237123-1 | 11/17/2015 | 9:42:00 PM | BON-16 | ECA | TV | OCO | 5 | 2,508 |
| P00237386-1 | 11/17/2015 | 9:43:00 PM | CHI-12 | ECD | TV | OCO | 15 | 35,826 |
| P00237135-1 | 11/17/2015 | 9:50:21 PM | BRO-15 | EAD | TV | OFU | - | 1,580 |
| P00237143-1 | 11/17/2015 | 9:52:26 PM | SKY-25 | EBD | TV | OCO | - | 5,474 |
| P00237147-1 | 11/17/2015 | 9:53:00 PM | ETN-15 | EBH | TV | OCO | 33 | 49,413 |
| P00231424-2 | 11/17/2015 | 9:54:34 PM | KLA-17 | EBD | TV | OCO | - | 69,829 |
| P00237152-1 | 11/17/2015 | 9:55:00 PM | ETN-13 | EBI | TV | OCO | 6 | 36,080 |
| **NUMBER** | **DATE** | **TIME** | **CKT** | **MPG** | **CAZ** | **EQT** | **CUST.OUT** | **CUST.MIN** |
| P00237169-1 | 11/17/2015 | 10:04:47 PM | GBK-15 | EAD | TV | OCO | - | 15,849 |
| P00237176-1 | 11/17/2015 | 10:08:12 PM | MVW-15 | EBJ | TV | OFU | 11 | 6,826 |
| P00237188-1 | 11/17/2015 | 10:14:43 PM | ROC-16 | ECC | TV | OCO | 105 | 158,956 |
| P00239327-1 | 11/17/2015 | 10:24:13 PM | GWR-16 | EBI | TV | OCO | 13 | 36,015 |
| P00237207-1 | 11/17/2015 | 10:36:39 PM | VAS-13 | EBL | TV | OTF | 3 | 247 |
| P00236136-3 | 11/17/2015 | 10:44:39 PM | CRE-15 | EAD | TV | OPO | 12 | 4,772 |
| P00237389-1 | 11/17/2015 | 10:50:59 PM | EPO-15 | ECD | TV | OCO | 467 | 397,426 |
| P00236631-2 | 11/17/2015 | 10:56:36 PM | BRS-24 | EAC | TV | OPO | - | 45,972 |
| P00237235-1 | 11/17/2015 | 11:04:22 PM | SKE-22 | ECE | TV | OSV | 4 | 8,089 |
| P00237243-1 | 11/17/2015 | 11:09:16 PM | WIS-14 | EBF | TV | OCO | 82 | 55,239 |
| P00237334-1 | 11/17/2015 | 11:10:37 PM | BRO-15 | EAD | TV | OCO | - | 4,705 |
| P00237248-1 | 11/17/2015 | 11:18:22 PM | CHI-12 | ECD | TV | OCO | 335 | 732,969 |
| P00237249-1 | 11/17/2015 | 11:18:41 PM | CPV-15 | EAD | TV | OTF | - | 1 |
| P00237267-1 | 11/17/2015 | 11:36:15 PM | FWD-17 | EBJ | TV | OFU | 1 | 411 |
| P00237368-1 | 11/17/2015 | 11:39:26 PM | CHI-12 | ECD | TV | OCO | 175 | 254,815 |
| P00237281-1 | 11/17/2015 | 11:52:24 PM | RPT-17 | ECD | TV | OSV | 3 | 7,542 |

### **Terms, Codes and Definitions Used on Detail Reports**

|  |  |  |
| --- | --- | --- |
| Notification (NUMBER) | A number assigned by SAP, identifying the outage record | |
| **Date (DATE)** | The date of the outage | |
| **Time (TIME)** | The time of the outage | |
| **Circuit (CKT)** | The circuit identifier for the affected circuit | |
| **Area (MPG)** | **Maintenance Planner Group** A code representing the energy, region and service center | |
| EAA – Bellingham | EBJ – South King |
| EAC – Skagit | EBL – Vashon |
| EAD – Whidbey | ECA – Puyallup |
| EBD – Redmond | ECC – Olympia |
| EBE – Factoria | ECD – Port Orchard |
| EBF – Snoqualmie | ECE – Poulsbo |
| EBI – Enumclaw |  |
| **Cause (CAZ)** | **Cause of Outage** | |
| AO – Accident Other | EF – Equipment Failure |
| BA – Bird or Animal | EO – Electrical Overload |
| CP – Car Pole | FI – Faulty Installation |
| CR – Customer Request | TF – Tree Off Right-of-Way |
| DU – Dig-up Underground | TO – Tree On Right-of-Way |
| TV – Trees/Vegetation | SO – Scheduled Outage |
| UN – Unknown |  |
| Equipment (EQT) | | **Affected by, or involved in the outage** | |
| OCN – Connector | OSW – Overhead Switch |
| OCO – Overhead Conductor | OTF – Overhead Transformer Fuse |
| OCR – Crossarm | OTR – Overhead Transformer |
| OFC – Overhead Cut-out | OUP – OH to UG Primary |
| OFS – Overhead Fire Signal | OUS – OH to UG Secondary Service |
| OFU – Fuse Link/OH Line Fuse | SBF – High-side Bank Fuse |
| OGS – Span Guy | SCB – Power Circuit Breaker |
| OHR – Overhead Recloser | UOT – Underground Outdoor Term |
| OIN – Insulator | UPC – Underground Primary Cable |
| OJU- Jump Wire | UPT – Padmount Transformer |
| OPI – Overhead Pin Insulator | USV – Underground Service |
| OPO – Pole | UTC – Underground Terminal Fuse |
| OSV – Overhead Service | UTR – Submersible Transformer |
| ORE – Regulator |  |
| **CUST OUT (CUST.OUT)** | | **Customer Out,** The number of customers without power for any given outage record | |
| **CUST MIN (CUST. MIN)** | | **Customer Minutes,** The total number of minutes customers were without power for any given record | |

# **Media & Communication Coverage**

**Four Dead, 1 Million Lose Power in Destructive Northwest Windstorm**

Published: Nov 18 2015 01:00PM EST By Eric Chaney weather.com

At least three people are dead and more than 1 million lost power Tuesday as powerful winds raked the Pacific Northwest and parts of the interior Northwest.

Winds were clocked as high as 119 mph in the mountains of Washington State while urban centers were buffeted by winds strong enough to cause extensive damage to trees and buildings, knocking out power to hundreds of thousands of people in the Seattle and Spokane areas.

Heavy rain is also causing its share of problems, contributing to serious flooding in parts of western Washington.

Here are the latest impacts from this system.

Falling trees were blamed for three deaths, extensive power outages and structural damage Tuesday in Washington.

The Washington Department of Transportation shut down a 17-mile stretch of Interstate 90 from the Vantage Bridge to Adams Road, five miles east of George, Tuesday afternoon due to poor visibility from blowing dust.

The DOT told Reuters that a mudslide closed parts of State Route 20, north of Seattle, while flooding and downed trees forced the closure of a stretch of U.S. Route 2.

A 119-mph wind gust was clocked by an anemometer on White Pass in the Cascade Range Tuesday afternoon. White Pass is located about 80 miles southeast of Seattle. Several other mountain locations gusted over 110 mph Tuesday.

Heavy rain from this windstorm, in addition to rain from another strong Pacific storm last week, sent rivers above flood stage in western Washington, with the worst flooding occurring north and northeast of Seattle.

The Skykomish River in Snohomish County near Gold Bar crested at its third highest level on record late Tuesday, over 7 feet above flood stage, the highest level since the record-setting November 2006 flood.Flood waters swamped the town of Sultan, about six miles downstream from Gold Bar, Tuesday night, prompting of a rescue of one woman forced to climb out her front window, according to King5.com.

1. IEEE: Institute of Electrical and Electronics Engineers [↑](#footnote-ref-1)
2. SAIDI: System Average Interruption Duration Index [↑](#footnote-ref-2)
3. O&M: Operations and Maintenance

   (r): Revised [↑](#footnote-ref-3)