## Index
DOCKETS UE-240004/UG-240005 (consol.)
ISSUES MATRIX
Updated 10/25/2024
Scope: This issues list reflects the parties' positions based on the direct testimony and exhibits filed by Puget Sound Energy (PSE) on February 15, 2024, the response testimony and exhibits filed on August 6, 2024 by Commission Staff, Public Counsel, The Energy Project, AWEC, NWEC, JEA, NUCOR, FEA, Kroger, Microsoft, and Walmart, and PSE's rebuttal testimony and exhibits and any cross-answering testimony and exhibits filed on September 18, 2024.
Disclaimer: This issues list is for general information and reference purposes only and is non-binding. A party’s failure to provide a position on an issue in this document does not constitute agreement by that party to the position of any other party nor is it a waiver of a party's ability to take a position on an issue. Party positions are determined on the basis of the evidentiary record, pleadings and briefs on file in the record. Any references to testimony or exhibits herein is for convenience only and is not intended to be comprehensive.
1 | Index
2 | Cost of Capital
3 | Electric Adjustments
4 | Gas Adjustments
5 | Electric Cost of Service and Rate Spread
6 | Gas Cost of Service and Rate Spread
7 | Electric Rate Design
8 | Gas Rate Design
9 | Other Common Issues
10 | Other Electric Issues
11 | Other Gas Issues

## Cost of Capital
CAPITAL STRUCTURE / COST OF CAPITAL
No. | CAPITAL STRUCTURE | PSE | STAFF | PUBLIC COUNSEL |  | THE ENERGY PROJECT | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
1 | Short-Term Debt | CY 2025: 1.81% CY 2026: 1.19% | CY 2025: 2.04% CY 2026: 1.18% | CY 2025: 1.55% CY 2026: 1.55% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2 | Long-Term Debt Component | CY 2025: 48.19% CY 2026: 47.81% | CY 2025: 49.46% CY 2026: 50.32% | CY 2025: 49.45% CY 2026: 49.45% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
3 | Equity Component | CY 2025: 50.00% CY 2026: 51.00% | CY 2025: 48.50% CY 2026: 48.50% | CY 2025: 49.00% CY 2026: 49.00% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CY 2025: 49.00% CY 2026: 49.00%
No. | COST OF CAPITAL | PSE | STAFF | PUBLIC COUNSEL |  | THE ENERGY PROJECT | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
4 | Short-Term Debt Cost | CY 2025: 5.07% CY 2026: 4.08% | CY 2025: 5.07% CY 2026: 4.08% | CY 2025: 4.575% CY 2026: 4.575% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
5 | Long-Term Debt Cost | CY 2025: 5.27% CY 2026: 5.36% | CY 2025: 5.27% CY 2026: 5.36% | CY 2025: 4.698% CY 2026: 4.698% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
6 | Return on Equity | CY 2025: 9.95% CY 2026: 10.50% | CY 2025: 9.50% CY 2026: 9.50% | CY 2025: 9.375% CY 2026: 9.375% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CY 2025: 9.40% CY 2026: 9.40%
7 | Rate of Return | CY 2025: 7.65% CY 2026: 7.99% | CY 2025: 7.36% CY 2026: 7.37% | CY 2025: 6.99% CY 2026: 6.99% |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Electric Adjustments
ELECTRIC ADJUSTMENTS |  |  |  | PSE |  |  |  | Staff (Bold indicates where staff number is different from company) |  |  |  |  | Public Counsel |  | TEP |  | AWEC |  | NWEC |  | JEA |  | NUCOR |  | FEA |  | Kroger |  | Microsoft |  | Walmart
|  |  |  | 2025 |  | 2026 |  | 2025 |  | 2026
No. | Adj. | Issue | Description | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base |  | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base
8 |  | Test Year |  | 311728415.29 | 5583764449.6288 | -83596979.7488 | 6606402751.5609 | 311728415 | 5583764449.6288 | 43908040 | 6818435901.6288 | As addressed in DPK-1Tr; DPK-5r; DPK-6r. | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
9 | 6.01 | Revenues and Expenses | As addressed in SEF-1T. | -90027747.0071 | 0 | 20437052.0729 | 0 | -88558282 | 0 | 20458564 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
10 | 6.02 | Pass-Through Revenue & Expense | As addressed in SEF-1T. | -11409274.8126 | 0 | 0 | 0 | -11645872 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
11 | 6.03 | Temperature Normalization | As addressed in SEF-1T. | -45679111.8964 | 0 | 0 | 0 | -47282248 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
12 | 6.04 | Federal Income Tax | As addressed in SEF-1T. | 5699600.689 | 0 | 560044.4514 | 0 | 5699601 | 0 | 560044 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
13 | 6.05 | Tax Benefit of Interest | As addressed in SEF-1T. | 37042100.228 | 0 | 3921908.0189 | 0 | 39376467 | 0 | 6980921 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
14 | 6.06 | Bad Debt Expense | As addressed in SEF-1T. | 359714.4808 | 0 | 0 | 0 | 359714 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
15 | 6.07 | Rate Case Expense | As addressed in SEF-1T. | 179028.7662 | 0 | 0 | 0 | 179029 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
16 | 6.08 | Excise Tax | As addressed in SEF-1T. | -21645.1398 | 0 | 0 | 0 | -21645 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
17 | 6.09 | Employee Insurance | As addressed in SEF-1T. | -499205.7027 | 0 | 0 | 0 | -499206 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
18 | 6.1 | Injuries & Damages | As addressed in SEF-1T. | 131970.0173 | 0 | 0 | 0 | 131970 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
19 | 6.11 | Incentive Pay | As addressed in SEF-1T, 28T. | 2081749.1084 | 0 | -4069.3607 | 0 | 2081749 | 0 | -4069 | 0 | As addressed in GRM-1CT. | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
20 | 6.12 | Investment Plan | As addressed in SEF-1T. | -397201.3674 | 0 | 0 | 0 | -397201 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
21 | 6.13 | Interest on Customer Deposits | As addressed in SEF-1T. | -131317.9369 | 0 | 0 | 0 | -131318 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
22 | 6.14 | Property and Liability Insurance | As addressed in SEF-1T. | -818378.2309 | 0 | 0 | 0 | -818378 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
23 | 6.15 | Deferred Gains and Losses on Property Sales | As addressed in SEF-1T. | -1145237.5014 | 0 | 0 | 0 | -1145238 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
24 | 6.16 | D&O Insurance | As addressed in SEF-1T. | 18267.6322 | 0 | 0 | 0 | 18268 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
25 | 6.17 | Pension Plan | As addressed in SEF-1T; 28T. | -2936475.9188 | 0 | 0 | 0 | -2936476 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
26 | 6.18 | Wage Increase | As addressed in SEF-1T. | -6595418.7966 | 0 | 0 | 0 | -6595419 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
27 | 6.19 | AMA to EOP Rate Base | As addressed in SEF-1T. | 0 | 23410353.1238 | 0 | 0 | - | 23410353 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
28 | 6.2 | Update and Annualize Depreciation Rates | As addressed in SEF-1T. | 3150854.0515 | 3150854.0515 | 0 | 0 | 3150854 | 3150854 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
29 | 6.21 | WUTC Filing Fee (now 32.21) | As addressed in SEF-1T. | -2412351.6838 | 0 | 0 | 0 | -227035 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
30 | 6.22 | Pro Forma O&M | As addressed in SEF-1T. | -24075305.6053 | 0 | -16378519.0567 | 0 | -10002590 | 0 | -16279670 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
31 | 6.23 | AMR Regulatory Asset | As addressed in SEF-1T. | 3737464.7042 | -60657666.7627 | 0 | 0 | 3737465 | -60657667 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
32 | 6.24 | AMI Plant and Deferral | As addressed in SEF-1T. | -13445251.077 | 0 | 0 | 0 | -13451356 | 0 | 0 | 0 | As addressed in GRM-1CT | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
33 | 6.25 | Environmental Remediation | As addressed in SEF-1T. | 186301.4125 | 0 | 391700.9837 | 0 | 186301 | 0 | 391701 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
34 | 6.26 | Estimated Plant Retirements Rate Base | As addressed in SEF-1T. | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
35 | 6.27 | Test Year Plant Roll Forward | As addressed in SEF-1T. | 7196282.9789 | -780416921.1011 | 17358777.8765 | -352250228.5432 | 7196283 | -780416921 | 17358778 | -352250229 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
36 | 6.28 | Provisional Pro forma Retirements Depreciation | As addressed in SEF-1T. | 2738288.7412 | 3513838.6 | 1373709.4488 | 4335624.65 | 2738289 | 3513839 | 1373709 | 4335625 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
37 | 6.29 | Programmatic Provisional Proforma | As addressed in SEF-1T. | -34868225.9252 | 706681309.0741 | -20647116.1464 | 418971407.6223 | -34868226 | 706681309 | -20647116 | 418971408 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
38 | 6.3 | Customer Driven Programmatic Provisional Proforma | As addressed in SEF-1T. | -5465266.7127 | 225233495.31 | -3227884.0601 | 125773795 | -5465267 | 225233495 | -3227884 | 125773795 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
39 | 6.31 | Specific Provisional Proforma | As addressed in SEF-1T. | -8828627.7148 | 462980458.89 | -8420360.8756 | 419038070.0002 | -8828628 | 462980459 | -8420361 | 419038070 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
40 | 6.32 | Projected Provisional Proforma | As addressed in SEF-1T. | -30944138.868 | 333430915.7802 | -23599334.2947 | 230764921.5072 | -30944139 | 333430916 | -23599334 | 230764922 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
41 | 6.33 | Remove Test Year Deferrals | As addressed in SEF-1T. | -74914559.2259 | 0 | 0 | 0 | -74914593 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
42 | 6.34 | Regulatory Filing Fee Deferral (now 32.34) | As addressed in SEF-1T. | -12399278.0745 | 0 | 0 | 0 | -10450964 | 0 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
43 | 6.35 | Participatory Funding Grants | As addressed in SEF-1T. | -7999.54 | 0 | 0 | 0 | -8000 | 0 | 0 | 0 | As addressed in JDW-1T and JDW-24T | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
44 | 6.36 | Targeted Electrification Activities Deferral Amortization | As addressed in SEF-1T. | -6034575.5201 | 8887500 | 0 | -5925000 | -6034576 | 8887500 | 0 | -5925000 |  | N/A |  | As addressed in SNS-1T. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
45 | 6.37 | Long Term Incentive Plan | As addressed in SEF-1T. | -444846.3825 | 0 | -15569.6234 | 0 | -444846 | 0 | -15570 | 0 |  | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
46 | 6.38 | Power Costs Updated on rebuttal. Net revenue change requested is an increase of $192.1 million in 2025 and incremental decrease of $91.6 million for 2026. This is due to power cost update on rebuttal. | As addressed in SEF-1T. | -108290843.059 | 0 | -25931610.4897 | 0 | 36548450 | 0 | -94574316 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
47 | 6.39 | Wild Horse Solar | As addressed in SEF-1T. | 173457.14 | -939271.7498 | 0 | 42899.1425 | 173457 | -939272 | 0 | 42899 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
48 | 6.4 | Storm Expense Normalization | As addressed in SEF-1T. | -1966845.0578 | 0 | 0 | 0 | -1966845 | 0 | 0 | 0 |  | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
49 | 6.41 | Electric Regulatory Assets & Liab | As addressed in SEF-1T. | 3132570.5554 | 8284026.6125 | 6991937.3693 | -24066779.19 | 3132571 | 8284027 | 6991937 | -24066779 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
50 | 6.42 | Green Direct | As addressed in SEF-1T. | 93226.7624 | -92162.3658 | 0 | 0 | 93227 | -92162 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
51 | 6.43 | Storm Deferral Amortization | As addressed in SEF-1T. | -966300.0362 | 0 | 7839374.2829 | 0 | -966300 | 0 | 7839374 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
52 | 6.44 | Colstrip Removal | As addressed in SEF-1T. | 28347227.5521 | 100713505.5187 | 0 | 0 | 28326478 | 100713506 | 0 | 0 |  | N/A |  | N/A |  | As addressed in BGM-1T. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
53 | 6.45 | Acquisition Adjustment | As addressed in SEF-1T. | 698603.4622 | -11522986.32 | 1.1176e-08 | -5761493.16 | 698603 | -11522986 | 0 | -5761493 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
54 | 6.46 | TEP Tracker | As addressed in SEF-1T. | -1008.4296 | -530374.6464 | 0 | 0 | -2602 | -530375 | 0 | 0 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
55 | 6.47 | CETA DR PPA Deferrals | As addressed in SEF-1T. | -687531.0692 | 511427.9169 | 0 | -340951.9446 | -358000 | 511428 |  | -340952 |  | N/A |  | As addressed in SNS-1T. |  | As addressed in BGM-6CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
56 | 6.48 | CEIP Deferral | As addressed in SEF-1T. | -2872034.0353 | 0 | 0 | 0 | -2872066 | 0 |  | 0 | As Addressed in WF-1T. | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
57 | 6.49 | Finance Leases | As addressed in SEF-1T. | -2006100.9934 | 0 | -1002479.256 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
| S-6.49 | Restore CGR Tracker Costs | As Addressed in CRM-1T |  |  |  |  | -19301153 | 194497868 | -14435686 | 297714966
| S-6.50 | Restore Dcarb Tracker Costs | As Addressed in CRM-1T |  |  |  |  | -5765163 | 0 |  | 0
| S-6.51 | Restore Wildfire Tracker Costs | As Addressed in CRM-1T |  |  |  |  | -14745519 | 17535281 | -2211284 | 42561696
58 | 32.21 | Updated WUTC Filing Fee | As addressed in SEF-28T. | 0 | 0 | 0 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
59 | 32.34 | Updated Regulatory Filing Fee Deferral | As addressed in SEF-28T. | 0 | 0 | 0 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
60 | 32.41 | Updated Electric Regulatory Assets & Liab | As addressed in SEF-28T. | 0 | 0 | 0 | 0 | [5 empty] | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
61 | 32.49 | Finance Leases | As addressed in SEF-28T. | 0 | 0 | 0 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
62 | N/A | Change to Base Rates |  | -83596979.7488 | 6606402751.5609 | -123949418.4077 | 7416985016.6453 | 43908040 | 6818435901.6288 | -77552222 | 7969294829.6288 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
|  |  | Check=> | 0 | 0 | 0 | 0

## Gas Adjustments
|  |  | GAS ADJUSTMENTS | PSE |  |  |  | Staff (Bold indicates where staff number is different from company) |  |  |  |  | Public Counsel |  | TEP |  | AWEC |  | NWEC |  | JEA |  | NUCOR |  | FEA |  | Kroger |  | Microsoft |  | Walmart
|  |  |  | 2025 |  | 2026 |  | 2025 |  | 2026
No. | Adj. | Issue | Description | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base |  | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base | NOI | Rate Base
63 |  | Test Year |  | 182074206.59 | 2948894387.0453 | 30177041.7304 | 2866503992.9497 | 182074207 | 2948894387 | 52591914 | 2866503993 | As addressed in DPK-1Tr; DPK-7r; DPK-8r. | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
64 | 11.01 | Revenues and Expenses | As addressed in SEF-1T. Rebuttal to Staff's gas residential sales and base rate revenues as addressed in Exh. AEJ-1T. | -26003078.6127 | 0 | -2071178.517 | 0 | -14440221 | 0 | -367107 | - | As addressed in GAW-1T. | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
65 | 11.02 | Pass-Through Revenue & Expense | As addressed in SEF-1T. | 2650763.4854 | 0 | 0 | 0 | 2084412 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
66 | 11.03 | Temperature Normalization | As addressed in SEF-1T. | -18034062.461 | 0 | 0 | 0 | -8047741 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
67 | 11.04 | Federal Income Tax | As addressed in SEF-1T. | 1376973.6276 | 0 | 184598.5966 | 0 | 1376974 | - | 184599 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
68 | 11.05 | Tax Benefit of Interest | As addressed in SEF-1T. | 16072487.8885 | 0 | -259430.3085 | 0 | 16554061 | - | 100757 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
69 | 11.06 | Bad Debt Expense | As addressed in SEF-1T. | 213041.1707 | 0 | 0 | 0 | 213041 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
70 | 11.07 | Rate Case Expense | As addressed in SEF-1T. | -183413.519 | 0 | 0 | 0 | -183414 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
71 | 11.08 | Excise Tax | As addressed in SEF-1T. | -678.4116 | 0 | 0 | 0 | -678 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
72 | 11.09 | Employee Insurance | As addressed in SEF-1T. | -189924.2017 | 0 | 0 | 0 | -189924 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
73 | 11.1 | Injuries & Damages | As addressed in SEF-1T. | 18993.6543 | 0 | 0 | 0 | 18994 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
74 | 11.11 | Incentive Pay | As addressed in SEF-1T. | 819811.8885 | 0 | -1522.7486 | 0 | 819812 | - | -1523 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
75 | 11.12 | Investment Plan | As addressed in SEF-1T. | -151116.3678 | 0 | 0 | 0 | -151116 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
76 | 11.13 | Interest on Customer Deposits | As addressed in SEF-1T. | -30503.7428 | 0 | 0 | 0 | -30504 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
77 | 11.14 | Property and Liability Insurance | As addressed in SEF-1T. | -435005.0623 | 0 | 0 | 0 | -435005 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
78 | 11.15 | Deferred Gains and Losses on Property Sales | As addressed in SEF-1T. | -778045.67 | 0 | 1483149.1866 | 0 | -778046 | - | 1483149 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
79 | 11.16 | D&O Insurance | As addressed in SEF-1T. | 13098.4945 | 0 | 0 | 0 | 13098 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
80 | 11.17 | Pension Plan | As addressed in SEF-1T. | -1117190.4517 | 0 | 0 | 0 | -1117190 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
81 | 11.18 | Wage Increase | As addressed in SEF-1T. | -2924834.9278 | 0 | 0 | 0 | -2924835 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
82 | 11.19 | AMA to EOP Rate Base | As addressed in SEF-1T. | 0 | 50455434.082 | 0 | 0 | - | 50455434 | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
83 | 11.2 | Update and Annualize Depreciation Rates | As addressed in SEF-1T. | -6824350.6487 | -6824350.6487 | 0 | 0 | -6824351 | -6824351 | - | - |  | As addressed in DJG-1T. |  | As addressed in SNS-1T. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
84 | 11.21 | WUTC Filing Fee (now 36.21) | As addressed in SEF-1T. | -1028549.4788 | 0 | 0 | 0 | 14420 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
85 | 11.22 | Pro Forma O&M | As addressed in SEF-1T. | -7802542.1941 | 0 | -6512079.5518 | 0 | -3301999 | - | -6093010 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
86 | 11.23 | AMR Regulatory Asset | As addressed in SEF-1T. | 2295831.8296 | -28019480.8755 | 0 | 0 | 2295832 | -28019481 | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
87 | 11.24 | AMI Plant and Deferral | As addressed in SEF-1T. | -6623860.4047 | 0 | 0 | 0 | -6626897 | - | - | - |  | As addressed in GRM-1CT. |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
88 | 11.25 | Environmental Remediation | As addressed in SEF-1T. | 1098767.7232 | 0 | 1413394.9515 | 0 | 1098768 | - | 1413395 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
89 | 11.26 | Estimated Plant Retirements Rate Base | As addressed in SEF-1T. | 0 | 0 | 0 | 0 | - | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
90 | 11.27 | Test Year Plant Roll Forward | As addressed in SEF-1T. | -51987981.6967 | -365385185.9982 | 7125267.9251 | -212142643.3598 | -51987982 | -365385186 | 7125268 | -212142643 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
91 | 11.28 | Provisional Pro forma Retirements Depreciation | As addressed in SEF-1T. | 731955.6427 | 764076.15 | 497104.1741 | 1154341.16 | 731956 | 764076 | 497104 | 1154341 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
92 | 11.29 | Programmatic Provisional Proforma | As addressed in SEF-1T. | -14425763.0903 | 242441535.0459 | -8356860.5955 | 122407421.2177 | -14425763 | 242441535 | -8356861 | 122407421 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
93 | 11.3 | Customer Driven Programmatic Provisional Proforma | As addressed in SEF-1T. | -6198052.7086 | 162179866.02 | -1812642.6049 | 43611657.55 | -6198053 | 162179866 | -1812643 | 43611658 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
94 | 11.31 | Specific Provisional Proforma | As addressed in SEF-1T. | -367929.228 | 12806672 | -192576.3229 | 1774798.5898 | -367929 | 12806672 | -192576 | 1774799 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
95 | 11.32 | Projected Provisional Proforma | As addressed in SEF-1T. | -12370885.9664 | 105495394.1399 | -6593048.6902 | 44104526.9728 | -12370886 | 105495394 | -6593049 | 44104527 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
96 | 11.33 | Remove Test Year Deferrals | As addressed in SEF-1T. | -1702914.1353 | 0 | 0 | 0 | -1702914 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
97 | 11.34 | Regulatory Filing Fee Deferral (now 36.34) | As addressed in SEF-1T. | -3892292.5431 | 0 | 0 | 0 | -3174366 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
98 | 11.35 | Participatory Funding Grants | As addressed in SEF-1T. | 20111.03 | 0 | 0 | 0 | 20111 | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
99 | 11.36 | Targeted Electrification Activities Deferral Amortization | As addressed in SEF-1T. | 0 | 0 | 0 | 0 | - | - | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
100 | 11.37 | Long Term Incentive Plan | As addressed in SEF-1T. | -318969.5215 | 0 | -11163.9333 | 0 | -318970 | - | -11164 | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
101 | 11.38 | Tacoma LNG Upgrades Plant and Deferral | As addressed in SEF-1T. | -15129569.3861 | -244980865.4539 | 0 | 0 | -15145433 | -244980865 | - | - |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
102 | 11.39 | Regulatory Assets and Liabilities | As addressed in SEF-1T. | -390424.273 | 10876368.6361 | 4573331.9479 | -5437988.3142 | -390424 | 10876369 | 4573332 | -5437988 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
103 | 11.4 | Removal of Tacoma LNG Project 4 mile 16 Inch Pipeline | As addressed in SEF-1T. | 2176032.3171 | -22199857.1931 | 684799.5703 | 1152189.4359 | 2176032 | -22199857 | 684800 | 1152189 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
104 | 11.49 | Finance Leases | As addressed in SEF-1T. | -473094.908 | 0 | -517474.029 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
105 | 36.21 | Updated WUTC Filing Fee | As addressed in SEF-28T. | - | - | - | - | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
106 | 36.34 | Updated Regulatory Filing Fee Deferral | As addressed in SEF-28T. | - | - | - | - | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
107 | 36.49 | Finance Leases | As addressed in SEF-28T. | - | 0 | 0 | 0 | [5 empty] | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
| S-6.49 | Restore CGR Tracker Costs | As Addressed in CRM-1T |  |  |  |  | -5765163 | - | 0 | 0
108 | N/A | Change to Base Rates |  | 30177041.7304 | 2866503992.9497 | 19810710.7808 | 2863128296.2018 | 52591914 | 2866503993 | 45226385 | 2863128297 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
|  |  | Check=> | 0 | 0 | 0 | 0

## Electric COS & Rate Spread
No. | ELECTRIC COST OF SERVICE (Parity Ratios) | PSE* | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
109 | Residential (Rate Schedule 7) | 0.99 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 0.96 | N/A | N/A | N/A
110 | Secondary General Service (Rate Schedules 8 and 24) | 1.05 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.07 | N/A | N/A | N/A
111 | Small Secondary General Service (Rate Schedules 7A, 11, and 25) | 0.99 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.04 | N/A | N/A | N/A
112 | Large Secondary General Service (Rate Schedules 12 and 26) | 0.99 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.03 | As addressed in JB-1T. | N/A | As addressed in JB-1T; JM-1T.
113 | Primary General Service (Rate Schedules 10 and 31) | 1 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.06 | N/A | N/A | N/A
114 | Primary Irrigation & Pumping Service (Rate Schedule 35) | 0.52 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 0.41 | N/A | N/A | N/A
115 | Primary All Electric Schools (Rate Schedule 43) | 0.99 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.11 | N/A | N/A | N/A
116 | High Voltage Interruptible and General Service (Rate Schedules 46 and 49) | 1.08 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.22* | N/A | N/A | N/A
117 | Retail Wheeling Transportation (Rate Schedules 449 and 459) | 1.44 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.71 | N/A | N/A | N/A
118 | Special Contract Service (Special Contract) | 0.8 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 0.51 | N/A | As addressed in CDW-1T. | N/A
119 | Street and Area Lighting Service (Rate Schedules 50 - 59) | 1.03 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 1.03 | N/A | N/A | N/A
120 | Wholesale for Resale (Rate Schedule 5) | 1.36 | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | 0.87 | N/A | N/A | N/A
|  | *Reflects updated parity ratios per PSE response to MSFT DR 003 | [7 empty] | *FEA proposes 1.00 parity for schedules 449 and 459, but uses a proposed COS with these parity ratios.
No. | APPLIED ELECTRIC RATE SPREAD | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
121 | Residential (Rate Schedule 7) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
122 | Secondary General Service (Rate Schedules 8 and 24) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
123 | Small Secondary General Service (Rate Schedules 7A, 11, and 25) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
124 | Large Secondary General Service (Rate Schedules 12, 26, and 26P) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | As addressed in JB-1T. | N/A | As addressed in JB-1T; JM-1T.
125 | Primary General Service (Rate Schedules 10 and 31) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
126 | Primary Irrigation & Pumping Service (Rate Schedule 35) | 150% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
127 | Primary All Electric Schools (Rate Schedule 43) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
128 | High Voltage Interruptible Service (Rate Schedules 46 & 49) | 90% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
129 | Retail Wheeling Transportation (Rate Schedules 449 and 459) | N/A | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
130 | Special Contract Service (Special Contract) | N/A | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | As addressed in CDW-1T. | N/A
131 | Street and Area Lighting Service (Rate Schedules 50 - 59) | 100% | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A
132 | Wholesale for Resale (Rate Schedule 5) | N/A | Agreed with PSE. | As addressed in DED-1T. | N/A | Agreed with PSE. | N/A | N/A | N/A | As addressed in AZA-1T and AZA-9T. | N/A | N/A | N/A

## Gas COS & Rate Spread
No. | GAS COST OF SERVICE (Parity Ratios) [1] | PSE* | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
133 | Residential (Rate Schedules 16, 23, and 53) | 1.08 | Agreed with PSE. | As addressed in DED-1T. | N/A | 1.08 | N/A | N/A | 1.09 | N/A | N/A | N/A | N/A
134 | Commercial & Industrial (Rate Schedules 31 and 31T) | 0.85 | Agreed with PSE. | As addressed in DED-1T. | N/A | 0.82 | N/A | N/A | 0.81 | N/A | N/A | N/A | N/A
135 | Large Volume (Rate Schedules 41 and 41T) | 0.96 | Agreed with PSE. | As addressed in DED-1T. | N/A | 0.95 | N/A | N/A | 0.93 | N/A | N/A | N/A | N/A
136 | Interruptible (Rate Schedules 85 and 85T) | 0.88 | Agreed with PSE. | As addressed in DED-1T. | N/A | 0.85 | N/A | N/A | 0.92 | N/A | N/A | N/A | N/A
137 | Limited Interruptible (Rate Schedules 86 and 86T) | 1.23 | Agreed with PSE. | As addressed in DED-1T. | N/A | 1.31 | N/A | N/A | 1.42 | N/A | N/A | N/A | N/A
138 | Non-exclusive Interruptible (Rate Schedules 87 and 87T) | 0.62 | Agreed with PSE. | As addressed in DED-1T. | N/A | 1.49 | N/A | N/A | 0.91 | N/A | N/A | N/A | N/A
139 | Exclusive Interruptible (88T) | 1 | Agreed with PSE. | As addressed in DED-1T. | N/A | 1.17 | N/A | N/A | 0.45 | N/A | N/A | N/A | N/A
140 | Special Contract | 2.05 | Agreed with PSE. | As addressed in DED-1T. | N/A | 2.3 | N/A | N/A | 2.26 | N/A | N/A | N/A | N/A
No. | APPLIED GAS RATE SPREAD [2] | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
141 | Residential (Rate Schedules 16, 23, and 53) | 0.9 | Agreed with PSE. | 0.9 | N/A | 100% | N/A | N/A | 0.9 | N/A | N/A | N/A | N/A
142 | Commercial & Industrial (Rate Schedules 31 and 31T) | 1.24 | Agreed with PSE. | 1.25 | N/A | 125% | N/A | N/A | 1.25 | N/A | N/A | N/A | N/A
143 | Large Volume (Rate Schedules 41 and 41T) | 1.09 | Agreed with PSE. | 1.15 | N/A | 100% | N/A | N/A | 1.1 | N/A | N/A | N/A | N/A
144 | Interruptible (Rate Schedules 85 and 85T) | 1.24 | Agreed with PSE. | 1.25 | N/A | 125% | N/A | N/A | 1.1 | N/A | N/A | N/A | N/A
145 | Limited Interruptible (Rate Schedules 86 and 86T) | 0.75 | Agreed with PSE. | 0.75 | N/A | 25% | N/A | N/A | 0.7 | N/A | N/A | N/A | N/A
146 | Non-exclusive Interruptible (Rate Schedules 87 and 87T) | 1.49 | Agreed with PSE. | 1.25 | N/A | 25% | N/A | N/A | 1.1 | N/A | N/A | N/A | N/A
147 | Exclusive Interruptible (88T) | 6.36 | Agreed with PSE. | 0 | N/A | 75% | N/A | N/A | Full Cost | N/A | N/A | N/A | N/A
148 | Special Contract | 0.17 | Agreed with PSE. | 0.34 | N/A | N/A | N/A | N/A | Per Contract | N/A | N/A | N/A | N/A
149 | Equal Percent of Margin: Apply equal percent of magin rate increases to rate schedules. | 1 | Agreed with PSE. | N/A | N/A | N/A | N/A | N/A | 1 | N/A | N/A | N/A | N/A
|  | JDT-11T |  | DED-8 provided the relative increase as a multiple. |  | LDK-1CT, Table 8: Recommended Gas Rate Change as Percent of Average.
[1] This document incorporates parity ratios based on the cost allocation set forth in the Company’s as filed case, those ratios are used for illustrative purposes only; this matrix says nothing (explicitly or implicitly) about any party’s position on the Company’s cost allocation.
[2] Figures represent base rates increase resulting from rate spread.

## Electric Rate Design
No. | ELECTRIC RATE DESIGN | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
150 | Residential (Rate Schedule 7) | • CY 2025: Increase customer charge by 30%; increase energy charge by 0.027079 cents per kWh. • CY 2026: Increase customer charge by 30%; increase energy charge by 0.009159 cents per kWh | As addressed in GAW-1T. | As addressed in DED-1T | As addressed in RDC-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
151 | General Service, 51 - 350 kW (Rate Schedule 25) | • This class has a basic charge rate, two-tier seasonal energy rates and a two-tier seasonal demand rate. • The first 50 kW tier of billing demand has no demand charge and the demand related costs are recovered in the first tier of the energy rate. • CY2025: increase customer charge by 30%, increase seasonal demand charges by 30%, and increase the energy charge by 0.020089 cents per kWh. • CY2026: increase customer charge by 30 percent, increase seasonal demand charegs by 30 percent, increase energy charge by 0.005087 cents per kWh. • The base energy charges are decreased by the adjusted average decrease of 2.29 percent for all the rates in this class. | As addressed in GAW-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
152 | General Service, < 51 kW (Rate Schedules 8 and 24) | • This class has a monthly basic charge and a single-tier energy rate that varies by season. • The rate schedule for this class does not have a demand charge. • CY 2025: increase customer charge 30%; increase energy charge by 0.024459 cents per kWh; CY 2026: increase customer charge by 30%; increase energy charge by 0.008616 cents per kWh | As addressed in GAW-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
153 | General Service, > 350 kW (Rate Schedules 26 and 31) | • These schedules have basic charges, a single-tier energy charge, and a seasonally-differentiated demand charges. • Schedule 26: CY2025: increase customer charge by 30%, increase seaosnal demand charges by 30%, increase energy charge by 0.014864 cents per kWh; CY2026: increase customer charge by 30%, increase seasonal demand charges by 30%, decrease by 0.000149 cents per kWh. • Schedule 31: CY2025: increase customer charge by 30%, increase seasonal demand charges by 30%, increase energy charge by 0.014407 cents per kWh; CY2026: increase customer charge by 30%, increase seasonal demand charge by 30%, increase energy charge by 0.000311. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | As addressed in JB-1T. | N/A | N/A
154 | Primary Service, > Gen & Irr. (Rate Schedule 35) | • CY2025: increase customer charge by 30%, increase seasonal demand charges by 30%, increase energy charge by 0.027618 cents per kWh. • CY2026: increase customer charge by 30%, increase seasonal demand charges by 30%, increase energy charge by 0.007840 cents per kWh | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
155 | Primary Service, Schools (Rate Schedule 43) | • CY2025: increase customer charge by 30%, increase seasonal demand charges by 30%, increase energy charge by 0.014905 cents per kWh. • CY2026: increase customer charge by 30%, increase seasonal demand charges by 30%, increase energy charge by 0.000789 cents per kWh | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
156 | High Voltage (Rate Schedules 46 and 49) | • These customers are served under two schedules: High Voltage General Service (Schedule 49) and High Voltage Interruptible Service (Schedule 46). Both schedules have demand charges and a single-block energy charge. The energy rates for these schedules are tied together, and only the demand charge differs to reflect the lower cost of providing interruptible service. • CY2025: increase demand charge by 30% and increase energy charge (Schedule 46 by 0.011558 cents per kWh; Schedule 49 by 0.011572 cents per kWh) • CY2026: increase demand charge by 30% and increase energy charge (Schedule 46 by 0.001592 cents per kWh; Schedule 49 0.001671 cents per kWh) | N/A | N/A | N/A | N/A | N/A | N/A | As addressed in AZA-1T. | N/A | N/A | N/A
157 | Lighting Service (Rate Schedules 50 - 59) | PSE is proposing to update overall lighting rates to better reflect cost causation and consolidate lighting schedules into wattage ranges to enhance tariff efficiency and future proof the lighting tariff as lighting equipment and bulb types keep changing. Consolidating lighting schedules into wattage ranges enhances tariff efficiency and future proofing. PSE plans to fully implement the consolidated lighting approach in January 2026, as part of the second-rate year increase. During the first-rate year increase, the current lighting structure will be in place to allow time for IT and billing system configurations. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
158 | Choice/Retail Wheeling (Rate Schedules 448 and 449) | • Set the only charge, a basic charge, for Power Supplier Choice and Retail Wheeling Service (Schedules 448 and 449) at its cost of service. This is an increase of $2,202.45 per month. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
159 | Special Contract | • There are two charges that PSE proposes to set for the special contract – the customer charge and distribution service charges for specific campuses served under the special contract. The customer charge is proposed to be set at its cost of service, which is $471.56 per month or an increase of $164.56. The distribution rate for each of the four campuses is designed to recover customer-specific distribution costs on a levelized basis. PSE reviewed the distribution service charge for each campus and adjusted the distribution transformer, circuit, feeder, and substation costs based on plant additions and retirements that have occurred since PSE’s last 2022 general rate case proceeding. These updates will be made in the special contract contemporaneously with rate changes resulting from this proceeding. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
160 | Wildfire Prevention Tracker (Schedule 141WFP) | PSE proposes creating Schedule 141WFP, focusing on recovering costs associated with the Company’s Wildfire Mitigation and Response Plan. This includes expenses such as wildfire liability insurance premiums, amortization of previous deferrals from Docket UE-231048, O&M expense, and depreciation and return on rate base projects or services related to wildfire prevention. | As addressed in GAW-1T. | As addressed in CRM-1Tr; BGM-1CT. | N/A | As addressed in LDK-1T; BGM-1T. | N/A | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
161 | Decarbonization Rate Adjustment (Schedule 141DCARB) | PSE proposes to create Schedule 141DCARB, to focus on recovering costs associated with the Company’s targeted electrification strategy and decarbonization pilots. This includes projects and services related to low-income heat pump direct installs, gas constrained areas, income-qualified fuel-switching rebates, small business direct installs, multi-family rebates, and the commercial and industrial custom grant pilot, as well as O&M expenses and capital expenses that enable decarbonization implementation. | As addressed in CRM-1Tr. | As addressed in LDK-1T, BGM-1T | As addressed in SNS-1T. | As addressed in BGM-1T; LDK-8T. | As addressed in BTC-1T. | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
162 | Clean Generation Resources Rate Adjustment (Schedules 141CGR) | PSE proposes to create Schedule 141CGR, to focus on recovering costs associated with the Company’s clean generation resources to meet the requirements of CETA. Cost recovery will include (i) financing costs incurred during construction, (ii) construction work in progress (“CWIP”) in rate base before the resources are in service, (iii) amounts already accrued as allowance for funds used during construction, and (iv) return on CWIP. | As addressed in CRM-1Tr, CRM-10T. | As addressed in MPG-1CT. | N/A | As addressed in BGM-1T. | As addressed in WAG-1T; WAG-4T. | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A

## Gas Rate Design
No. | GAS RATE DESIGN | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
163 | Residential (Rate Schedules 16, 23, and 53) | Delivery Charge 16 - no change 23, 25 - CY 2025: increase 53.3%; CY 2026: decrease 2.9% Basic Charge 16 - CY 2025: increase 41.8%; CY 2026: increase 4.5% 23, 25 - CY 2025: increase 18.9%; CY 2026: increase 18.9% | As addressed in GAW-1T. | As addressed in DED-1T. | As addressed in RDC-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
164 | Commercial & Industrial (Rate Schedules 31 and 31T) | Delivery Charge Both Schedules: CY 2025: increase 67.5%; CY2026: decrease 1.9% Basic Charge Schedule 31: CY2025: increase 30%; CY2026: increase 30% Schedule 31T: no change Procurement Charge Schedule 31: CY2025: increase 24.7%; CY2026: no change Schedule 31T: no change | As addressed in GAW-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
165 | Large Volume (Rate Schedules 41 and 41T) | Delivery Charge Both Schedules: CY 2025: increase 82.5%; CY2026: decrease 6.3% Basic Charge Schedule 41: CY2025: increase 30%; CY2026: increase 30% Schedule 41T: no change Minimum Bill Both Schedules: CY2025: increase 82.5; CY2026: decrease 6.3% Procurement Charge Schedule 41: CY2025: increase 34.9%; CY2026: no change Demand Charge Both Schedules: CY2025: increase 18.2%; CY2026: increase 17.9% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
166 | Interruptible (Rate Schedules 85 and 85T) | Delivery Charge Both Schedules: CY 2025: increase 71.1%; CY2026: increase 0.9% Basic Charge Schedule 85: CY2025: increase 30%; CY2026: increase 30% Schedule 85T: CY2025: increase 14.6%; CY2026: increase 14.6% Procurement Charge Schedule 85: CY2025: increase 55.6%; CY2026: no change Demand Charge Both Schedules: CY2025: increase 18.1%; CY2026: increase 18.2% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
167 | Limited Interruptible (Rate Schedules 86 and 86T) | Delivery Charge Both Schedules: CY 2025: increase 38.3%; CY2026: decrease 2.8% Basic Charge Schedule 86: CY2025: increase 30%; CY2026: increase 30% Schedule 86T: no change Procurement Charge Schedule 86: CY2025: increase 34.9%; CY2026: increase 3.8% Schedule 86T: no change Demand Charge Both Schedules: CY2025: increase 17.8%; CY2026: increase 18.2% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
168 | Non-exclusive Interruptible (Rate Schedules 87 and 87T) | Delivery Charge Both Schedules: CY2025: increase 77.9%; CY2026: increase 3.7% Basic Charge Schedule 87: CY2025: increase 30%; CY2026: increase 30% Schedule 87T: CY2025: increase 5.6%; CY2026: increase 5.6% Procurement Charge Schedule 87: CY2025: increase 39.3%; CY2026: increase 0% Schedule 87T: no change Demand Charge Both Schedules: CY2025: increase 17.9%; CY2026: increase 18.1% | N/A | N/A | N/A | As addressed in LDK-1T. | N/A | As addressed in KCH-1T. | N/A | N/A | N/A | N/A
169 | Non-exclusive Interruptible (Rate Schedule 88T) | Delivery Charge CY2025: increase 65.8%; CY2026: decrease 20.9% Basic Charge CY2025: increase 797.4%; CY2026: increase 0.0% Demand Charge CY2025: increase 17.9%; CY2026: increase 18.1% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Common Issues
No. | OTHER COMMON ISSUES | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
170 | AMI (Automated Metering Infrastructure) | As addressed in RBB-1T; SEF-1T. | N/A | As addressed in GRM-1CT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
171 | Bill Discount Rate Program | As addressed in BDJ-1T; CLW-1T. | N/A | N/A | N/A | As addressed in BGM-6CT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
172 | Climate Commitment Act (CCA)/Decarbonization | As addressed in JJJ-1T; JM-1T. | As addressed in WF-1T; CRM-1Tr; JDW-24T. | As addressed in RLE-6T. | N/A | As addressed in BGM-6CT. | N/A | As addressed in BTC-1T. | N/A | N/A | N/A | N/A | N/A
173 | CEIP (Clean Energy Implementation Plan) | As addressed in SEF-1T. | As addressed in WF-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
174 | Decarbonization Rate Adjustment | As addressed in SEF-1T; JM-1CT. | As addressed in WF-1T; CRM-1Tr. | As addressed in MPG-1CT. | As addressed in SNS-1T. | As addressed in LDK-1T; BGM-1T; LDK-8T. | N/A | As addressed in BTC-1T. | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
175 | Disconnections | As addressed in CLW-1T. | N/A | N/A | As addressed in SNS-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
176 | Energy Burden Analysis | As addressed in BDJ-1T. | As addressed in BLH-1T. | N/A | As addressed in RDC-1T; RDC-3T. | N/A | N/A | As addressed in MT-CT-1T. | N/A | N/A | N/A | N/A | N/A
177 | Equity | As addressed in TAH-1T; MM-1T. | As addressed in WF-1T; BLH-1T. | N/A | As addressed in RDC-1T; SNS-1T. | As addressed in LDK-1T, BGM-6CT. | N/A | As addressed in MT-CT-1T; MT-CT-6T. | N/A | N/A | N/A | N/A | As addressed in JLM-1T.
178 | Long Duration Energy Storage Pilot | As addressed in JM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
179 | Low Income | As addressed in BDJ-1T; CLW-1T. | N/A | N/A | As addressed in RDC-1T; SNS-1T. | N/A | N/A | As addressed in MT-CT-1T; BTC-18T. | N/A | N/A | N/A | N/A | N/A
180 | Multi Year Rate Plan Structure/Annual Review | As addressed in SEF-1T, SEF-28T. | As addressed in CRM-1Tr. | As addressed in GRM-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
181 | O&M (pro forma) - RY1 | As addressed in SEF-1T. | As addressed in CRM-1Tr. | As addressed in GRM-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
182 | O&M (pro forma) - RY2 | As addressed in SEF-1T. | As addressed in CRM-1Tr. | As addressed in GRM-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
183 | Performance Metrics | As addressed in MS-1T; MS-4T. | As addressed in CRM-1Tr; PK-1T. | N/A | As addressed in SNS-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
184 | Plant Additions (pro forma) - RY1 | As addressed in SEF-1T. | As addressed in DPK-1T; CRM-1Tr. |  | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
185 | Plant Additions (pro forma) - RY2 | As addressed in SEF-1T. | As addressed in DPK-1T; CRM-1Tr. |  | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
186 | Revenue Requirement Generally | As addressed in SEF-1T; SEF-28T. | As addressed in DPK-1T. | As addressed in GRM-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | As addressed in JLM-1T.
187 | Trackers Generally | As addressed in SEF-1T; SEF-28T; JLM-1CTr, MS-4T. | As addressed in CRM-1Tr. | As addressed in MPG-1CT; RLE-6T. | N/A | N/A | N/A | N/A | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | As addressed in JLM-1T.
188 | Wildfire Prevention Tracker | As addressed in SEF-1T; CGP-1CT; JLM-1CTr. | As addressed in DPK-1T; CRM-1Tr. | As addressed in MPG-1CT. | N/A | As addressed in LDK-1T; BGM-1T. | N/A | N/A | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
189 | Wildfire Insurance Premium Deferral Amortization | As addressed in SEF-28T. | As addressed in CRM-1Tr. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
190 | Updated Conversion Factors | As addressed in SEF-28T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Electric Issues
No. | OTHER ELECTRIC ISSUES | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | Walmart
191 | Baker Dam | As addressed in JPH-1CT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
192 | Beaver Creek | As addressed in CPC-1HCT; JPH-1CT; CJP-1T. | As addressed in CRM-1Tr, CRM-10T. | N/A | N/A | N/A | N/A | As addressed in WAG-4T. | N/A | N/A | N/A | N/A | N/A
193 | Chelan Power Sales Agreement | As addressed in CJP-1T; ZCY-1T. | As addressed in JDW-1CT. | As addressed in RLE-1CT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
194 | Clean Generation Resources Rate Adjustment | As addressed in CGP-1CT; SEF-1T. | As addressed in CRM-1Tr, CRM-10T. | As addressed in MPG-1CT. | N/A | As addressed in BGM-1T; BGM-6CT. | N/A | As addressed in WAG-1T; WAG 4-T. | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
195 | CWIP in Rate Base | As addressed in DAD-1CT; CGP-1CT; SEF-1T. | As addressed in CRM-1Tr. | As addressed in MPG-1CT. | As addressed in SNS-1T. | As addressed in BGM-1T, BGM-6CT. | N/A | As addressed in WAG-1T; WAG-4T. | N/A | N/A | N/A | N/A | N/A
195 | Demand Response Programs | As addressed in GA-1T. | As addressed in PK-1T. | N/A | As addressed in SNS-1T. | As addressed in BGM-1T. | N/A | N/A. | N/A | N/A | N/A | N/A | N/A
196 | Demand Response PIM | As addressed in GA-1T. | As addressed in PK-1T; PK-6T. | N/A | As addressed in SNS-1T. | As addressed in BGM-1T; BGM-6CT; LDK-8T. | N/A | As addressed in LCM-1T. | N/A | N/A | N/A | N/A | N/A
197 | Frederickson Tolling Agreement | As addressed in SJS-1CT; CJP-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
198 | Power Costs | As addressed in BDM-1T. | As addressed in JDW-1CT. | As addressed in RLE-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
199 | Power Cost Adjustment | As addressed in BDM-1T; CTM-1T. | As addressed in JDW-1CT. | As addressed in RLE-1CT. | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
200 | Power Purchase Agreements ROR | As addressed in GA-1T; DAD-ICT; SEF-1T. | As addressed in WF-1T; CRM-1Tr; PK-1T. | As addressed in MPG-1CT. | As addressed SNS-1T. | As addressed in BGM-1T. | N/A | As addressed in LCM-1T. | N/A | N/A | N/A | N/A | N/A
201 | Time Varying Rate Pilot | As addressed in BDJ-1T. | N/A | N/A | As addressed SNS-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
202 | Vantage Wind PPA | As addressed in CPC-1HCT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
203 | Production O&M and Generation Capital Costs | As addressed in MAC-1CT. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
204 | Colstrip Tracker | As addressed in SEF-28T | N/A | N/A | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A
205 | Schedule 137 REC Tracker | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
206 | Schedule 141PFG - Intervenor Funding | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
207 | Schedule 141CEI - Clean Energy Implementation | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
208 | Schedule 141N - Rates Not Subject to Refund | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
209 | Schedule 141R - Rates Not Subject to Refund | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
207 | FERC Account 565 - Transmission of Electricity by Other" Exemption Request | As addressed in CTM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | As addressed in AZA-1T and 9T. | N/A | N/A | N/A
208 | Colstrip Regulatory Liability Balances | As addressed in SEF-28T | N/A | N/A | N/A | As addressed in BGM-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Gas Issues
No. | OTHER GAS ISSUES | PSE | STAFF | PUBLIC COUNSEL | TEP | AWEC | NWEC | JEA | NUCOR | FEA | KROGER | MICROSOFT | WALMART
209 | Depreciation Expense | As addressed in NWA-1T. | As addressed in CRM-1Tr. | As addressed in DJG-1T; RLE-1CT. | As addressed in SNS-1T. | As addressed in LDK-1T; LDK-8T. | N/A | As addressed in WAG-1T; WAG-4T. | N/A | N/A | N/A | N/A | N/A
210 | Gas Capital Investments | As addressed in DJL-1Tr. | N/A | N/A | N/A | N/A | N/A | As addressed in BTC-1T. | N/A | N/A | N/A | N/A | N/A
211 | Renewable Natural Gas/Hydrogen/ Alternate Fuels Readiness Program | As addressed in DJL-1Tr. | N/A | N/A | N/A | N/A | N/A | As addressed in BTC-1T. | N/A | N/A | N/A | N/A | N/A
212 | Targeted Electrification Pilot | As addressed in JM-1T. | As addressed in WF-1T. | N/A | As addressed in SNS-1T. | As addressed in LDK-1T; LDK-8T. | N/A | As addressed in MT-CT-1T; BTC-1T; BTC-18T. | N/A | N/A | N/A | N/A | N/A
213 | Adjustment to Pro Forma Gas Revenues Schedule-88T | As addressed in SEF-28T; JDT-8T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
214 | FERC Account 870 - Exemption Request | As addressed in JDT-1T. | As addressed in GAW-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
215 | Reduced ROE for Growth-Related Gas Capital Investments | As addressed in JLM-1CTr. | N/A | N/A | N/A | N/A | N/A | As addressed in BTC-1T. | N/A | N/A | N/A | N/A | N/A
216 | Electrification PIM | As addressed in JM-9T. | N/A | N/A | N/A | N/A | N/A | As addressed in BTC-1T. | N/A | N/A | N/A | N/A | N/A
217 | Schedule 88T Errors | As addressed in JDT-8T. | N/A | N/A | N/A | As addressed in LDK-1T. | N/A | N/A | N/A | N/A | N/A | N/A | N/A