Ref. No. Docket UG-020230 & UG-020232

# CERTIFIED MAIL

June 19, 2002

Kevin Weber, President

Basin Frozen Foods, Inc.

PO Box 747

Warden, WA 98857

Dear Mr. Weber:

Subject:   2002 Intrastate Natural Gas Standard Inspection and Drug and Alcohol Inspection

The Washington Utilities and Transportation Commission (WUTC) is responsible for the enforcement of the pipeline safety rules pertaining to the construction, maintenance, and operation of pipelines that transport natural gas in the state of Washington (RCW 80.28).  The Commission has adopted the Code of Federal Regulations (CFR) Title 49 Parts 191, 192, 199 and the Washington Administrative Code (WAC) 480-93.

Any gas company, which violates any public safety provision of RCW 80.28.210 or regulation issued thereunder, is subject to a civil penalty not to exceed twenty-five thousand dollars for each violation for each day that the violation persists.  The maximum civil penalty under WAC 480-93-223 is five hundred thousand dollars.

On April 15, 16, and 17, 2002, Commission staff conducted a pipeline safety inspection of Basin Frozen Foods, Inc. (Basin) six-inch natural gas transmission pipeline system in Warden.  The standard intrastate natural gas transmission pipeline inspection and drug and alcohol inspection of Basin was to review the operations and maintenance (O&M) manual, records, facilities and to conduct field tests to verify compliance with federal and state codes.  The purpose of the inspection was to ensure public safety and safe pipeline operations.  It is not to be assumed that the inspections detected all violations of federal and state regulations. It is incumbent upon the operator to determine and remediate all areas of non-compliance.

Staff finds that Basin has 26 violations pertaining to the operation of the transmission pipeline.  Of the 26 violations, 11 were found to be repeat violations from the 2001 inspections.  These violations result in a staff recommended penalty of $111,000.

We want to offer Basin an opportunity to talk with Staff and potentially reach an agreement with Staff on appropriate sanctions against the company for its apparent unlawful acts, as well as action required to achieve immediate and future compliance with federal law, state law, and Commission rules.  If Basin is interested in pursuing such an opportunity, a representative of your company may contact Doug Kilpatrick, Pipeline Safety Director, no later than July 3, 2002.  Mr. Kilpatrick can be reached at (360) 664-1154 or by e-mail at dkilpatr@wutc.wa.gov.  If Mr. Kilpatrick does not here from you by July 3rd, the recommended penalty of $111,000 will be taken before the Commission.

If you have any questions regarding this matter, you may contact Mr. Kilpatrick directly.

Sincerely,

Carole J. Washburn

Executive Director

Enclosure

| Proposed Recommended Penalty |  |
| --- | --- |
| Violation 1 | $1,000 |
| Violation 2 | $1,000 |
| Violation 3 | $1,000 |
| Violation 4 | $1,000 |
| Violation 5 | $1,000 |
| Violation 6 | $2,000 |
| Violation 7 | $2,000 |
| Violation 8 | $1,000 |
| Violation 9 | $1,000 |
| Violation 10 | $5,000 |
| Violation 11 | $2,000 |
| Violation 12 | $10,000 |
| Violation 13 | $10,000 |
| Violation 14 | $1,000 |
| Violation 15 | $1,000 |
| Violation 16 | $5,000 |
| Violation 17 | $10,000 |
| Violation 18 | $10,000 |
| Violation 19 | $25,000 |
| Violation 20 | $1,000 |
| Violation 21 | $10,000 |
| Violation 22 | $2,000 |
| Violation 23 | $1,000 |
| Violation 24 | $5,000 |
| Violation 25 | $1,000 |
| Violation 26 | $1,000 |
| TOTAL | $111,000 |