Ref. No. Docket UG-020218 & UG-020575

# CERTIFIED MAIL

August 2, 2002

Michael Faulkenberry, P.E.

Chief Gas Engineer

Avista Utilities Corporation

East 1411 Mission

Spokane, Washington  99220

Dear Mr. Faulkenberry;

Subject:    Standard Natural Gas Safety Inspection, Spokane/Ritzville and Goldendale/Stevenson

The Washington Utilities and Transportation Commission (Commission) has the authority to enforce the minimum safety regulations per Chapter 480-93 of the Washington Administrative Code (WAC) pertaining to the construction, maintenance and operation of pipelines transporting natural gas in the state of Washington.  In addition the Commission adopts the Code of Federal Regulations (CFR) Title 49 Part 191 and 192.

Per WAC 480-93-223 (1) Any gas company, which violates any public safety provision of RCW 80.28.210 or regulation issued thereunder, is subject to a civil penalty not to exceed twenty-five thousand dollars for each violation for each day that the violation persists.  The maximum civil penalty is five hundred thousand dollars.

Between February 6, 2002 and February 22, 2002, in the Spokane/Ritzville district and June 17 through June 22, 2002 in the Goldendale Stevenson district, Commission staff conducted standard pipeline safety inspections of Avista Utilities Inc. (Avista) facilities and operations.  The inspections included a review of Avista’s operations and maintenance procedures manual, records, facilities and field operations to verify compliance with state and federal pipeline safety codes and to ensure public safety and safe pipeline operations.  It is not to be assumed that the inspections detected all violations of federal and state regulations. It is incumbent upon the operator to determine any and all areas of non-compliance.

Avista Utilities Corporation

Docket Nos. UG-020218 & UG-020575

August 2, 2002

Page 2

Staff finds that Avista has 12 violations pertaining to the operation and maintenance of Avista facilities.  Of the 12 violations, 5 were found to be repeat violations from the 2001 inspections.  These violations result in a staff recommended penalty of $81,000.

Staff would like to offer Avista an opportunity to discuss and reach a potential settlement agreement on appropriate sanctions against the company for its apparent unlawful acts, as well as action required to achieve immediate and future compliance with federal law, state law, and Commission rules.  If Avista is interested in pursuing such an opportunity, a representative of your company may contact Doug Kilpatrick, Pipeline Safety Director, no later than August 16, 2002.  Mr. Kilpatrick can be reached at (360) 664-1154 or by e-mail at dkilpatr@wutc.wa.gov.  If Mr. Kilpatrick does not hear from you by August 16,2002, the recommended penalty of $81,000 will be taken before the Commission.

If you have any questions regarding this matter, you may contact Mr. Kilpatrick directly.

Sincerely,

Carole J. Washburn

Executive Director

Enclosure

Avista Utilities Corporation

Docket Nos. UG-020218 & UG-020575

August 2, 2002

Page 3

| ## PROPOSED RECOMMENDED PENALTY |  |  |  |
| --- | --- | --- | --- |
| VIOLATION 1 | WAC 480-93-015 |  | $1,000 |
| VIOLATION 2 | WAC 480-93-110 | ## REPEAT | $25,000 |
| VIOLATION 3 | WAC 480-93-110 | REPEAT | $25,000 |
| VIOLATION 4 | WAC 480-93-183 |  | $1,000 |
| VIOLATION 5 | WAC 480-93-186(1)(c) | REPEAT | $10,000 |
| VIOLATION 6 | WAC 480-93-186(b) |  | $1,000 |
| VIOLATION 7 | WAC 480-93-187(2) | REPEAT | $5,000 |
| VIOLATION 8 | WAC 480-93-188(6) |  | $1,000 |
| VIOLATION 9 | CFR PART 192.469 | REPEAT | $10,000 |
| VIOLATION 10 | CFR PART 192.383(e) |  | $500 |
| VIOLATION 11 | CFR PART 192.467(d) |  | $1,000 |
| VIOLATION 12 | CFR PART 192.491(c) |  | $500 |
| TOTAL |  |  | $81,000 |