AMENDATORY SECTION (Amending Docket No. A-050271, General Order No. R-521, filed 10/10/05, effective 11/10/05)

WAC 480-75-999  Adoption by reference.  In this chapter, the commission adopts by reference all or portions of regulations and standards identified below.  They are available for inspection at the commission branch of the Washington state library.  The publications, effective dates, references within this chapter, and availability of the resources are as follows:

(1) Title 49 Code of Federal Regulations, cited as 49 CFR, Parts 195 and 199 including all appendices and amendments except for 195.0, 195.1, 199.1 and 199.2 published by the United States Government Printing Office.

(a) The commission adopts the version in effect on October 1, ((2004)) 2005.

(b) This publication is referenced in WAC 480-75-370 (Design factor (F) for steel pipe), WAC 480-75-630 (Incident reporting), and WAC 480-75-660 (Operations safety plan requirements).

(c) Copies of Title 49 Code of Federal Regulations are available from the U.S. Government Online Bookstore, http://bookstore.gpo.gov/, and from various third-party vendors.

(2) The American Society of Mechanical Engineers (ASME) B31.4, 1998 edition.

(a) This publication is referenced in WAC 480-75-350 (Design specifications for new pipeline projects), WAC 480-75-440 (Pipeline repairs), and WAC 480-75-450 (Construction specifications).

(b) Copies of ASME B31.4 are available from The American Society of Mechanical Engineers, Park Avenue New York, New York.

(3) The 2001 edition of Section IX of the ASME Boiler and Pressure Vessel Code.

(a) This publication is referenced in WAC 480-75-430 (Welding procedures).

(b) Copies of Section IX of the ASME Boiler and Pressure Vessel Code are available from The American Society of Mechanical Engineers, Park Avenue, New York, New York.

(4) The commission adopts American Petroleum Institute (API) standard 1104  19th edition.

(a) This publication is referenced in WAC 480-75-430 (Welding procedures) and WAC 480-75-460 (Welding inspection requirements).

(b) Copies of API standard 1104 19th edition are available from the Office of API Publishing Services in Washington DC.

(5) The commission adopts API RP standard 1117 Second Edition, August 1996.

(a) This publication is referenced in WAC 480-75-500 (Moving and lowering hazardous liquid pipelines).

(b) Copies of API standard 1117 Second Edition are available from Global Engineering Documents in Englewood, Colorado.