## Customer Analysis
Washington |  |  | 2010-07-18 | through | 2010-07-18
07/18/2010 to 07/18/2010 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | MAIFI
PacifiCorp | 23114 | 1% | 578381 | 36 | 1805261 | 8264 | 22862 | 252 |  |  |  |  | 99% | 0.32 | 0.01 | 0
Pacific Power | 23114 | 3% | 578381 | 36 | 770366 | 8264 | 22862 | 252 |  |  |  |  | 99% | 0.75 | 0.03 | 0.01
Washington | 23114 | 17% | 578381 | 36 | 132616 | 8264 | 22862 | 252 |  |  |  |  | 99% | 4.36 | 0.17 | 0.06
SUNNYSIDE | 2 | 0.008227% | 37.0167 | 2 | 24309 |  | 2 | [5 empty] | 100% | 0.0015228 | 8.2274e-05
WALLA WALLA | 3 | 0.01069% | 168.8 | 1 | 28059 |  | 3 | [5 empty] | 100% | 0.0060159 | 0.00010692
YAKIMA | 23109 | 28.8% | 578175.2833 | 33 | 80248 | 8264 | 22857 | 252 |  |  |  |  | 98.91% | 7.2049 | 0.28797 | 0.10298
Customer Interrupted by Date
| 2010-07-18 | through | 2010-07-18 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Total Sustained Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2010-07-18 | 23114 | 100% | 578381 | 36 | 23114 | 8264 | 22862 | 252 |  |  |  |  | 99%
Data as/of
2010-12-30

## SSM by Op Area
Washington | Event |  | 2010-07-18 | through | 2010-07-18 |  | Month |  | 2010-07-01 | through | 2010-07-31 |  | YTD | FY2011 | 2010-01-01 | through | 2010-07-31
07/18/2010 to 07/18/2010 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSM by Op Area | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI
PacifiCorp | 2.1 | 0.02 | 0.02 | 1.78 | 0.01 | 0.01 | 21.08 | 0.2 | 0.33 | 19.23 | 0.18 | 0.33 | 133.65 | 1.07 | 1.58 | 103.39 | 0.97 | 1.51
Pacific Power | 2.28 | 0.04 | 0.03 | 1.53 | 0.01 | 0.02 | 17.56 | 0.19 | 0.5 | 15.21 | 0.14 | 0.49 | 147.16 | 0.92 | 2.27 | 91.66 | 0.81 | 2.14
Washington | 4.3613 | 0.17429 | 0.062315 |  |  |  | 12.4 | 0.2135 | 0.39323 | 8.0386 | 0.039211 | 0.33092 | 59.3939 | 0.53977 | 1.6068 | 55.0326 | 0.36548 | 1.5444
SUNNYSIDE | 0.0015228 | 8.2274e-05 |  |  |  |  | 7.9384 | 0.035008 | 0.43613 | 7.9369 | 0.034925 | 0.43613 | 70.5824 | 0.42996 | 2.2056 | 70.5808 | 0.42988 | 2.2056
WALLA WALLA | 0.0060159 | 0.00010692 |  |  |  |  | 6.0111 | 0.042838 | 0 | 6.0051 | 0.042731 | 0 | 44.1637 | 0.35529 | 0.074771 | 44.1577 | 0.35518 | 0.074771
YAKIMA | 7.2049 | 0.28797 | 0.10298 |  |  |  | 15.9854 | 0.32725 | 0.51773 | 8.7805 | 0.039278 | 0.41475 | 61.33 | 0.63754 | 1.961 | 54.1251 | 0.34957 | 1.858
Data as/of
2010-12-30

## SSM by State
Washington | Event |  | 2010-07-18 | through | 2010-07-18 |  | Month |  | 2010-07-01 | through | 2010-07-31 |  | YTD | FY2011 | 2010-01-01 | through | 2010-07-31
07/18/2010 to 07/18/2010 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSM by State | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI | SAIDI | SAIFI | MAIFI
PacifiCorp | 2.1 | 0.02 | 0.02 | 1.78 | 0.01 | 0.01 | 21.08 | 0.2 | 0.33 | 19.23 | 0.18 | 0.33 | 133.65 | 1.07 | 1.58 | 103.39 | 0.97 | 1.51
Pacific Power | 2.28 | 0.04 | 0.03 | 1.53 | 0.01 | 0.02 | 17.56 | 0.19 | 0.5 | 15.21 | 0.14 | 0.49 | 147.16 | 0.92 | 2.27 | 91.66 | 0.81 | 2.14
Washington | 4.3613 | 0.17429 | 0.062315 |  |  |  | 12.4 | 0.2135 | 0.39323 | 8.0386 | 0.039211 | 0.33092 | 59.3939 | 0.53977 | 1.6068 | 55.0326 | 0.36548 | 1.5444
SUNNYSIDE | 0.00027913 | 1.5081e-05 |  |  |  |  | 1.4551 | 0.006417 | 0.079945 | 1.4549 | 0.0064019 | 0.079945 | 12.938 | 0.078814 | 0.4043 | 12.9377 | 0.078799 | 0.4043
WALLA WALLA | 0.0012728 | 2.2622e-05 |  |  |  |  | 1.2718 | 0.0090638 | 0 | 1.2706 | 0.0090411 | 0 | 9.3442 | 0.075172 | 0.01582 | 9.3429 | 0.075149 | 0.01582
YAKIMA | 4.3598 | 0.17425 | 0.062315 |  |  |  | 9.673 | 0.19802 | 0.31329 | 5.3132 | 0.023768 | 0.25097 | 37.1117 | 0.38578 | 1.1866 | 32.7519 | 0.21153 | 1.1243
Data as/of
2010-12-30