## Customer Analysis
Washington |  |  | 2013-02-18 | through | 2013-02-19
02/18/2013 to 02/18/2013 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 7261 | 0% | 2157935 | 15 | 1863510 | 1756 | 1562 | 5699 | 0 | 0 | 0 | 0 | 22% | 1.16 | 0 | 297
Pacific Power | 7261 | 1% | 2157935 | 15 | 783825 | 1756 | 1562 | 5699 | 0 | 0 | 0 | 0 | 22% | 2.75 | 0.01 | 297
Washington | 7261 | 5% | 2157935 | 15 | 135475 | 1756 | 1562 | 5699 | 0 | 0 | 0 | 0 | 22% | 15.93 | 0.05 | 297
YAKIMA | 7261 | 9% | 2157935 | 15 | 82265 | 1756 | 1562 | 5699 | 0 | 0 | 0 | 0 | 22% | 26.23 | 0.09 | 297
Customer Interrupted by Date
| 2013-02-18 | through | 2013-02-19 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2013-02-18 | 7261 | 5% | 2157935 | 15 | 135475 | 1756 | 1562 | 5699 | 0 | 0 | 0 | 0 | 22%

## SSC by Op Area
Washington | Event |  | 2013-02-18 | through | 2013-02-19 |  | Month |  | 2013-02-01 | through | 2013-02-28 |  | YTD | FY2013 | 2013-01-01 | through | 2013-02-28
02/18/2013 to 02/18/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.59 | 0.01 | 189 | 0.42 | 0 | 93.12 | 7.07 | 0.05 | 145.76 | 5.89 | 0.04 | 132.31 | 17.48 | 0.16 | 110.29 | 14.55 | 0.15 | 99.29
Pacific Power | 2.8215 | 0.016039 | 175.9142 | 0.068456 | 0.0067757 | 10.1031 | 9.355 | 0.055105 | 169.7651 | 6.6019 | 0.045842 | 144.0145 | 18.3278 | 0.17813 | 102.8903 | 15.5747 | 0.16887 | 92.2312
Washington | 15.9287 | 0.053597 | 297.1953 |  |  |  | 18.1257 | 0.082665 | 219.2674 | 2.197 | 0.029068 | 75.5818 | 22.1233 | 0.11506 | 192.2731 | 6.1946 | 0.061465 | 100.7828
SUNNYSIDE | [6 empty] | 0.17175 | 0.002583 | 66.4906 | 0.17175 | 0.002583 | 66.4906 | 1.4514 | 0.085321 | 17.0111 | 1.4514 | 0.085321 | 17.0111
WALLA WALLA | [6 empty] | 2.9717 | 0.039289 | 75.6366 | 2.9717 | 0.039289 | 75.6366 | 5.1267 | 0.04752 | 107.8843 | 5.1267 | 0.04752 | 107.8843
YAKIMA | 26.2315 | 0.088263 | 297.1953 |  |  |  | 28.7709 | 0.12178 | 236.2582 | 2.5393 | 0.033514 | 75.7706 | 34.224 | 0.14737 | 232.2396 | 7.9925 | 0.059102 | 135.2334

## SSC by State
Washington | Event |  | 2013-02-18 | through | 2013-02-19 |  | Month |  | 2013-02-01 | through | 2013-02-28 |  | YTD | FY2013 | 2013-01-01 | through | 2013-02-28
02/18/2013 to 02/18/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.59 | 0.01 | 189 | 0.42 | 0 | 93.12 | 7.13 | 0.05 | 139.87 | 5.96 | 0.05 | 126.65 | 17.55 | 0.16 | 108.98 | 14.61 | 0.15 | 98.06
Pacific Power | 2.8215 | 0.016039 | 175.9142 | 0.068456 | 0.0067757 | 10.1031 | 9.5047 | 0.060942 | 155.9634 | 6.7517 | 0.051679 | 130.6471 | 18.4775 | 0.18397 | 100.44 | 15.7244 | 0.1747 | 90.0071
Washington | 15.9287 | 0.053597 | 297.1953 |  |  |  | 18.1326 | 0.082731 | 219.1751 | 2.2039 | 0.029135 | 75.6473 | 22.1302 | 0.11513 | 192.2224 | 6.2016 | 0.061532 | 100.7866
SUNNYSIDE | [6 empty] | 0.031411 | 0.00047241 | 66.4906 | 0.031411 | 0.00047241 | 66.4906 | 0.26545 | 0.015604 | 17.0111 | 0.26545 | 0.015604 | 17.0111
WALLA WALLA | [6 empty] | 0.62363 | 0.0082451 | 75.6366 | 0.62363 | 0.0082451 | 75.6366 | 1.0759 | 0.0099723 | 107.8843 | 1.0759 | 0.0099723 | 107.8843
YAKIMA | 15.9287 | 0.053597 | 297.1953 |  |  |  | 17.4776 | 0.074014 | 236.1398 | 1.5489 | 0.020417 | 75.8635 | 20.7889 | 0.089552 | 232.1447 | 4.8603 | 0.035955 | 135.1763