## Customer Analysis
Washington |  |  | 2013-03-11 | through | 2013-03-12
03/11/2013 to 03/11/2013 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 6167 | 0% | 2034375 | 9 | 1863510 | 865 | 2 | 6165 | 0 | 0 | 0 | 0 | 0% | 1.09 | 0 | 330
Pacific Power | 6167 | 1% | 2034375 | 9 | 783825 | 865 | 2 | 6165 | 0 | 0 | 0 | 0 | 0% | 2.6 | 0.01 | 330
Washington | 6167 | 5% | 2034375 | 9 | 135475 | 865 | 2 | 6165 | 0 | 0 | 0 | 0 | 0% | 15.02 | 0.05 | 330
SUNNYSIDE | 5 | 0% | 1963 | 2 | 24777 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 40% | 0.08 | 0 | 393
YAKIMA | 6162 | 7% | 2032412 | 7 | 82265 | 865 | 0 | 6162 | 0 | 0 | 0 | 0 | 0% | 24.71 | 0.07 | 330
Customer Interrupted by Date
| 2013-03-11 | through | 2013-03-12 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | 2012 Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2013-03-11 | 6167 | 5% | 2034375 | 9 | 135475 | 865 | 2 | 6165 | 0 | 0 | 0 | 0 | 0%

## SSC by Op Area
Washington | Event |  | 2013-03-11 | through | 2013-03-12 |  | Month |  | 2013-03-01 | through | 2013-03-31 |  | YTD | FY2014 | 2013-01-01 | through | 2013-03-31
03/11/2013 to 03/11/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.32 | 0.01 | 254 | 0.23 | 0 | 121 | 9.85 | 0.07 | 136 | 8.75 | 0.07 | 127 | 27.47 | 0.23 | 118 | 22.08 | 0.22 | 103
Pacific Power | 2.62 | 0.01 | 324 | 0.03 | 0 | 120 | 8.08 | 0.05 | 156 | 5.49 | 0.04 | 125 | 27.05 | 0.24 | 113 | 18.35 | 0.21 | 86
Washington | 15.0166 | 0.045521 | 329.8808 |  |  |  | 23.9568 | 0.1113 | 215.2502 | 8.9402 | 0.065776 | 135.9183 | 46.4644 | 0.22736 | 204.362 | 15.5191 | 0.12825 | 121.0112
SUNNYSIDE | 0.079213 | 0.0002018 | 392.5334 |  |  |  | 6.2184 | 0.046898 | 132.5926 | 6.1392 | 0.046697 | 131.4693 | 9.7024 | 0.13726 | 70.6838 | 9.6232 | 0.13706 | 70.21
WALLA WALLA | [6 empty] | 3.8154 | 0.019099 | 199.7652 | 3.8154 | 0.019099 | 199.7652 | 8.9421 | 0.06662 | 134.2261 | 8.9421 | 0.06662 | 134.2261
YAKIMA | 24.7057 | 0.074904 | 329.83 |  |  |  | 36.2608 | 0.16256 | 223.0612 | 11.5552 | 0.087656 | 131.8243 | 70.5056 | 0.31006 | 227.394 | 19.5684 | 0.14689 | 133.2168

## SSC by State
Washington | Event |  | 2013-03-11 | through | 2013-03-12 |  | Month |  | 2013-03-01 | through | 2013-03-31 |  | YTD | FY2014 | 2013-01-01 | through | 2013-03-31
03/11/2013 to 03/11/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.32 | 0.01 | 254 | 0.23 | 0 | 121 | 9.85 | 0.07 | 136 | 8.75 | 0.07 | 127 | 27.47 | 0.23 | 118 | 22.08 | 0.22 | 103
Pacific Power | 2.62 | 0.01 | 324 | 0.03 | 0 | 120 | 8.08 | 0.05 | 156 | 5.49 | 0.04 | 125 | 27.05 | 0.24 | 113 | 18.35 | 0.21 | 86
Washington | 15.0166 | 0.045521 | 329.8808 |  |  |  | 23.9568 | 0.1113 | 215.2502 | 8.9402 | 0.065776 | 135.9183 | 46.4644 | 0.22736 | 204.362 | 15.5191 | 0.12825 | 121.0112
SUNNYSIDE | 0.014487 | 3.6907e-05 | 392.5334 |  |  |  | 1.1373 | 0.0085772 | 132.5926 | 1.1228 | 0.0085403 | 131.4693 | 1.7745 | 0.025104 | 70.6838 | 1.76 | 0.025067 | 70.21
WALLA WALLA | [6 empty] | 0.80068 | 0.0040081 | 199.7652 | 0.80068 | 0.0040081 | 199.7652 | 1.8765 | 0.01398 | 134.2261 | 1.8765 | 0.01398 | 134.2261
YAKIMA | 15.0021 | 0.045484 | 329.83 |  |  |  | 22.0188 | 0.098712 | 223.0612 | 7.0167 | 0.053227 | 131.8243 | 42.8134 | 0.18828 | 227.394 | 11.8826 | 0.089197 | 133.2168