## Customer Analysis
Washington |  |  | 2013-09-05 | through | 2013-09-07
09/05/2013 to 09/06/2013 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 11821 | 0.6343% | 5223697.851 | 136 | 1863510 | 11734 | 3895 | 7529 | 397 | 0 | 0 | 0 | 32.95% | 2.8031 | 0.0063434 | 441.8998
Pacific Power | 11821 | 1.508% | 5223697.851 | 136 | 783825 | 11734 | 3895 | 7529 | 397 | 0 | 0 | 0 | 32.95% | 6.6644 | 0.015081 | 441.8998
Washington | 11821 | 8.726% | 5223697.851 | 136 | 135475 | 11734 | 3895 | 7529 | 397 | 0 | 0 | 0 | 32.95% | 38.5584 | 0.087256 | 441.8998
SUNNYSIDE | 72 | 0.2906% | 9292.717 | 9 | 24777 | 0 | 68 | 4 | 0 | 0 | 0 | 0 | 94.44% | 0.37505 | 0.0029059 | 129.0655
WALLA WALLA | 8313 | 29.24% | 4642715.266 | 101 | 28430 | 6086 | 1210 | 6714 | 389 | 0 | 0 | 0 | 14.56% | 163.3034 | 0.2924 | 558.4885
YAKIMA | 3436 | 4.177% | 571689.868 | 26 | 82265 | 5648 | 2617 | 811 | 8 | 0 | 0 | 0 | 76.16% | 6.9494 | 0.041767 | 166.3824
Customer Interrupted by Date
| 2013-09-05 | through | 2013-09-07 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2013-09-05 | 10831 | 7.995% | 4763165.649 | 85 | 135475 | 11713 | 3547 | 6973 | 311 | 0 | 0 | 0 | 32.75%
2013-09-06 | 990 | 0.7308% | 460532.202 | 51 | 135475 | 21 | 348 | 556 | 86 | 0 | 0 | 0 | 35.15%

## SSC by Op Area
Washington | Event |  | 2013-09-05 | through | 2013-09-07 |  | Month |  | 2013-09-01 | through | 2013-09-30 |  | YTD | FY2014 | 2013-01-01 | through | 2013-09-30
09/05/2013 to 09/06/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 6.6953 | 0.030974 | 216.1572 | 2.3276 | 0.015144 | 153.7017 | 37.1526 | 0.20883 | 177.9057 | 32.7848 | 0.193 | 169.8678 | 159.0715 | 1.1626 | 136.8232 | 141.024 | 1.0764 | 131.0139
Pacific Power | 12.0102 | 0.049921 | 240.5861 | 1.6261 | 0.012283 | 132.3788 | 39.4062 | 0.19302 | 204.1599 | 29.022 | 0.15538 | 186.7822 | 145.1891 | 1.0357 | 140.1888 | 110.3707 | 0.87277 | 126.4608
Washington | 38.5584 | 0.087256 | 441.8998 |  |  |  | 66.4165 | 0.26637 | 249.3427 | 27.8581 | 0.17911 | 155.5361 | 164.6863 | 0.83956 | 196.1585 | 95.1826 | 0.65318 | 145.7211
SUNNYSIDE | 0.37505 | 0.0029059 | 129.0655 |  |  |  | 57.2479 | 0.26496 | 216.0596 | 56.8729 | 0.26206 | 217.0243 | 115.3851 | 0.82161 | 140.4381 | 114.9309 | 0.8185 | 140.4163
WALLA WALLA | 163.3034 | 0.2924 | 558.4885 |  |  |  | 192.2455 | 0.55501 | 346.3805 | 28.9421 | 0.26261 | 110.2094 | 245.8999 | 0.98551 | 249.5158 | 82.5965 | 0.69311 | 119.1687
YAKIMA | 6.9494 | 0.041767 | 166.3824 |  |  |  | 25.6944 | 0.16703 | 153.828 | 18.745 | 0.12527 | 149.642 | 151.4737 | 0.79454 | 190.6427 | 93.5871 | 0.58961 | 158.728

## SSC by State
Washington | Event |  | 2013-09-05 | through | 2013-09-07 |  | Month |  | 2013-09-01 | through | 2013-09-30 |  | YTD | FY2014 | 2013-01-01 | through | 2013-09-30
09/05/2013 to 09/06/2013 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 6.6953 | 0.030974 | 216.1572 | 2.3276 | 0.015144 | 153.7017 | 37.1729 | 0.20883 | 178.003 | 32.8051 | 0.193 | 169.973 | 159.0918 | 1.1626 | 136.8406 | 141.0443 | 1.0764 | 131.0328
Pacific Power | 12.0102 | 0.049921 | 240.5861 | 1.6261 | 0.012283 | 132.3788 | 41.405 | 0.19989 | 207.1358 | 31.0208 | 0.16226 | 191.1849 | 147.1879 | 1.0425 | 141.1813 | 112.3695 | 0.87964 | 127.7445
Washington | 38.5584 | 0.087256 | 441.8998 |  |  |  | 66.4899 | 0.26709 | 248.9421 | 27.9315 | 0.17983 | 155.3184 | 164.7596 | 0.84028 | 196.077 | 95.256 | 0.65391 | 145.6721
SUNNYSIDE | 0.068594 | 0.00053146 | 129.0655 |  |  |  | 10.4911 | 0.048585 | 215.9344 | 10.4225 | 0.048053 | 216.8952 | 21.1238 | 0.15039 | 140.4607 | 21.0407 | 0.14982 | 140.439
WALLA WALLA | 34.2699 | 0.061362 | 558.4885 |  |  |  | 40.3897 | 0.11702 | 345.1587 | 6.1198 | 0.055656 | 109.9582 | 51.6494 | 0.20736 | 249.0815 | 17.3795 | 0.146 | 119.0394
YAKIMA | 4.2199 | 0.025363 | 166.3824 |  |  |  | 15.6086 | 0.10148 | 153.8099 | 11.3887 | 0.076117 | 149.6208 | 91.986 | 0.48252 | 190.635 | 56.8354 | 0.35808 | 158.7222