## Customer Analysis
Washington |  |  | 2013-10-28 | through | 2013-10-29
2013-10-28 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 4147 | 0.2225% | 875873.566 | 39 | 1863510 | 7885 | 2133 | 2014 | 0 | 0 | 0 | 0 | 51.43% | 0.47001 | 0.0022254 | 211.2066
Pacific Power | 4147 | 0.5291% | 875873.566 | 39 | 783825 | 7885 | 2133 | 2014 | 0 | 0 | 0 | 0 | 51.43% | 1.1174 | 0.0052907 | 211.2066
Washington | 4147 | 3.061% | 875873.566 | 39 | 135475 | 7885 | 2133 | 2014 | 0 | 0 | 0 | 0 | 51.43% | 6.4652 | 0.030611 | 211.2066
SUNNYSIDE | 3319 | 13.4% | 736856.683 | 25 | 24777 | 4405 | 1764 | 1555 | 0 | 0 | 0 | 0 | 53.15% | 29.7395 | 0.13395 | 222.0117
WALLA WALLA | 1 | 0.003517% | 100.683 | 1 | 28430 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0035414 | 3.5174e-05 | 100.683
YAKIMA | 827 | 1.005% | 138916.2 | 13 | 82265 | 3480 | 368 | 459 | 0 | 0 | 0 | 0 | 44.5% | 1.6886 | 0.010053 | 167.9761
Customer Interrupted by Date
| 2013-10-28 | through | 2013-10-29 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2013-10-28 | 4147 | 3.061% | 875873.566 | 39 | 135475 | 7885 | 2133 | 2014 | 0 | 0 | 0 | 0 | 51.43%

## SSC by Op Area
Washington | Event |  | 2013-10-28 | through | 2013-10-29 |  | Month |  | 2013-10-01 | through | 2013-10-31 |  | YTD |  | 2013-01-01 | through | 2013-10-31
2013-10-28 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.4294 | 0.0084448 | 169.2666 | 0.95941 | 0.0062194 | 154.2601 | 26.3531 | 0.10103 | 260.8521 | 10.6852 | 0.081382 | 131.2962 | 185.5782 | 1.264 | 146.8169 | 138.0711 | 1.0958 | 125.9965
Pacific Power | 1.2441 | 0.006254 | 198.9234 | 0.12662 | 0.00096322 | 131.4556 | 9.0231 | 0.069745 | 129.3727 | 7.9057 | 0.064454 | 122.6554 | 156.1885 | 1.1123 | 140.4213 | 102.1941 | 0.87105 | 117.3223
Washington | 6.4652 | 0.030611 | 211.2066 |  |  |  | 17.8098 | 0.10255 | 173.6687 | 11.3446 | 0.07194 | 157.696 | 182.5679 | 0.94282 | 193.6395 | 91.5687 | 0.65462 | 139.8818
PORTLAND | [6 empty] | 606.6667 | 0.33333 | 1820 | 606.6667 | 0.33333 | 1820 | 626.6667 | 0.66667 | 940 | 626.6667 | 0.66667 | 940
SUNNYSIDE | 29.7395 | 0.13395 | 222.0117 |  |  |  | 45.5829 | 0.24854 | 183.4049 | 15.8433 | 0.11458 | 138.2707 | 161.083 | 1.0708 | 150.4279 | 74.6954 | 0.67631 | 110.445
WALLA WALLA | 0.0035414 | 3.5174e-05 | 100.683 |  |  |  | 1.0164 | 0.0083714 | 121.4114 | 1.0128 | 0.0083363 | 121.4989 | 247.1366 | 0.99648 | 248.0089 | 66.088 | 0.60447 | 109.3326
YAKIMA | 1.6886 | 0.010053 | 167.9761 |  |  |  | 15.2271 | 0.09112 | 167.1099 | 13.5384 | 0.081067 | 167.0025 | 166.7083 | 0.88574 | 188.2146 | 105.4371 | 0.66541 | 158.4543

## SSC by State
Washington | Event |  | 2013-10-28 | through | 2013-10-28 |  | Month |  | 2013-10-01 | through | 2013-10-31 |  | YTD |  | 2013-01-01 | through | 2013-10-31
2013-10-28 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 1.4294 | 0.0084448 | 169.2666 | 0.95941 | 0.0062194 | 154.2601 | 26.3531 | 0.10103 | 260.8521 | 10.6852 | 0.081382 | 131.2962 | 185.5782 | 1.264 | 146.8169 | 138.0711 | 1.0958 | 125.9965
Pacific Power | 1.2441 | 0.006254 | 198.9234 | 0.12662 | 0.00096322 | 131.4556 | 9.0231 | 0.069745 | 129.3727 | 7.9057 | 0.064454 | 122.6554 | 156.1885 | 1.1123 | 140.4213 | 102.1941 | 0.87105 | 117.3223
Washington | 6.4652 | 0.030611 | 211.2066 |  |  |  | 17.8098 | 0.10255 | 173.6687 | 11.3446 | 0.07194 | 157.696 | 182.5679 | 0.94282 | 193.6395 | 91.5687 | 0.65462 | 139.8818
PORTLAND | [6 empty] | 0.013434 | 7.3814e-06 | 1820 | 0.013434 | 7.3814e-06 | 1820 | 0.013877 | 1.4763e-05 | 940 | 0.013877 | 1.4763e-05 | 940
SUNNYSIDE | 5.4391 | 0.024499 | 222.0117 |  |  |  | 8.3366 | 0.045455 | 183.4049 | 2.8976 | 0.020956 | 138.2707 | 29.4604 | 0.19584 | 150.4279 | 13.661 | 0.12369 | 110.445
WALLA WALLA | 0.00074319 | 7.3814e-06 | 100.683 |  |  |  | 0.21329 | 0.0017568 | 121.4114 | 0.21255 | 0.0017494 | 121.4989 | 51.8626 | 0.20912 | 248.0089 | 13.8688 | 0.12685 | 109.3326
YAKIMA | 1.0254 | 0.0061044 | 167.9761 |  |  |  | 9.2464 | 0.055331 | 167.1099 | 8.221 | 0.049227 | 167.0025 | 101.2309 | 0.53785 | 188.2146 | 64.025 | 0.40406 | 158.4543