## Legend
Date
Data as/of | 2015-12-15
Fiscal Year | FY2016
Event Begin Date/Time | 2015-11-25 13:16 | Event Begin Time
Event End Date/Time | 2015-11-26 13:17 | Event End Time
Month Begin | 2015-11-01
Month End | 2015-11-30
Year Begin | 2015-01-01
Year End | 2015-11-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2015-11-25 13:16 | through | 2015-11-26 13:17
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 4622 | 0% | 2086025 | 8 | 1887237 | 0 | 1495 | 3127 | 0 | 0 | 0 | 0 | 32% | 1.1053 | 0.002 | 451
PP | Pacific Power | 4622 | 1% | 2086025 | 8 | 793118 | 0 | 1495 | 3127 | 0 | 0 | 0 | 0 | 32% | 2.6302 | 0.006 | 451
WA | Washington | 4622 | 3% | 2086025 | 8 | 137313 | 0 | 1495 | 3127 | 0 | 0 | 0 | 0 | 32% | 15.192 | 0.002 | 451
WA | SUNNYSIDE | 8 | 0% | 6017 | 1 | 25181 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0% | 0.24 | 0 | 752
WA | WALLA WALLA | 12 | 0% | 6034 | 2 | 28719 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0% | 0.21 | 0 | 503
WA | YAKIMA | 4602 | 6% | 2073974 | 5 | 83410 | 0 | 1495 | 3107 | 0 | 0 | 0 | 0 | 32% | 24.86 | 0.055 | 451
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions durring the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2015-11-25 13:16 | through | 2015-11-26 13:17 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2015-11-25 | 3116 | 2% | 2012459 | 4 | 137313 | 0 | 0 | 3116 | 0 | 0 | 0 | 0 | 0% | 14.66 | 0.023 | 646
| 2015-11-26 | 1506 | 1% | 73566 | 4 | 137313 | 0 | 1495 | 11 | 0 | 0 | 0 | 0 | 99% | 0.54 | 0.011 | 49
Data as of
2015-12-15

## SSC by State
| Washington | Event |  | 2015-11-25 13:16 | through | 2015-11-26 13:17 |  | Month |  | 2015-11-01 | through | 2015-11-30 |  | YTD | FY2016 | 2015-01-01 | through | 2015-11-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 1.6429 | 0.008 | 204 | 0.53762 | 0.006 | 96 | 13.61 | 0.1 | 136 | 10 | 0.08 | 124 | 180.92 | 1.234 | 147 | 130.63 | 1.038 | 126
PP | Pacific Power | 3.4761 | 0.013 | 258 | 0.84598 | 0.008 | 111 | 16.77 | 0.11 | 152 | 8.18 | 0.064 | 128 | 178.13 | 1.166 | 153 | 106.64 | 0.873 | 122
WA | Washington | 15.4409 | 0.037 | 422 | 0.24916 | 0.003 | 86 | 35.84 | 0.137 | 261 | 7.25 | 0.053 | 136 | 128.52 | 1.032 | 125 | 80.05 | 0.647 | 124
WA | SUNNYSIDE | 0.2841 | 0.003 | 98 | 0 | 0 | 0 | 5.72 | 0.034 | 170 | 5.03 | 0.032 | 156 | 20.37 | 0.167 | 122 | 19.67 | 0.166 | 118
WA | WALLA WALLA | 0.04394 | 0 | 503 | 0 | 0 | 0 | 3.87 | 0.018 | 217 | 0.47 | 0.003 | 152 | 18.17 | 0.111 | 163 | 14.7 | 0.096 | 153
WA | YAKIMA | 15.1129 | 0.034 | 450 | 0 | 0 | 0 | 26.25 | 0.086 | 307 | 1.75 | 0.018 | 97 | 89.98 | 0.753 | 120 | 45.68 | 0.385 | 119
*may include other regional major event exclusions durring the same period.
Data as/of
2015-12-15