## Legend
Date
Data as/of | 2016-01-06
Fiscal Year | FY2016
Event Begin Date/Time | 2015-12-12 15:15 | Event Begin Time
Event End Date/Time | 2015-12-13 15:15 | Event End Time
Month Begin | 2015-12-01
Month End | 2015-12-31
Year Begin | 2015-01-01
Year End | 2015-12-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2015-12-12 15:15 | through | 2015-12-13 15:15
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 6424 | 0% | 1391154 | 17 | 1887237 | 926 | 3053 | 3371 | 0 | 0 | 0 | 0 | 48% | 0.7371 | 0.003 | 217
PP | Pacific Power | 6424 | 1% | 1391154 | 17 | 793118 | 926 | 3053 | 3371 | 0 | 0 | 0 | 0 | 48% | 1.754 | 0.008 | 217
WA | Washington | 6424 | 5% | 1391154 | 17 | 137313 | 926 | 3053 | 3371 | 0 | 0 | 0 | 0 | 48% | 10.131 | 0.003 | 217
WA | SUNNYSIDE | 2651 | 11% | 757171 | 3 | 25181 | 926 | 926 | 1725 | 0 | 0 | 0 | 0 | 35% | 30.07 | 0.105 | 286
WA | WALLA WALLA | 1834 | 6% | 317182 | 4 | 28719 | 0 | 760 | 1074 | 0 | 0 | 0 | 0 | 41% | 11.04 | 0.064 | 173
WA | YAKIMA | 1939 | 2% | 316801 | 10 | 83410 | 0 | 1367 | 572 | 0 | 0 | 0 | 0 | 71% | 3.8 | 0.023 | 163
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions durring the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2015-12-12 15:15 | through | 2015-12-13 15:15 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2015-12-12 | 5501 | 4% | 1355544 | 10 | 137313 | 926 | 2166 | 3335 | 0 | 0 | 0 | 0 | 39% | 9.87 | 0.04 | 246
| 2015-12-13 | 923 | 1% | 35610 | 7 | 137313 | 0 | 887 | 36 | 0 | 0 | 0 | 0 | 96% | 0.26 | 0.007 | 39
Data as of
2016-01-06

## SSC by State
| Washington | Event |  | 2015-12-12 15:15 | through | 2015-12-13 15:15 |  | Month |  | 2015-12-01 | through | 2015-12-31 |  | YTD | FY2016 | 2015-01-01 | through | 2015-12-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 23.3294 | 0.041 | 566 | 22.1114 | 0.037 | 591 | 45.7837 | 0.185 | 248 | 40.9624 | 0.158 | 259 | 226.699 | 1.418 | 160 | 171.597 | 1.196 | 143
PP | Pacific Power | 55.3166 | 0.09 | 617 | 52.4182 | 0.081 | 651 | 83.986 | 0.248 | 338 | 81.0857 | 0.239 | 339 | 262.115 | 1.415 | 185 | 187.726 | 1.112 | 169
WA | Washington | 10.1914 | 0.047 | 216 | 0.06012 | 0 | 127 | 25.369 | 0.144 | 176 | 15.2378 | 0.098 | 156 | 153.887 | 1.176 | 131 | 95.3016 | 0.744 | 128
WA | SUNNYSIDE | 5.5162 | 0.019335 | 285.2883 | 0.0019627 | 2.9131e-05 | 67.375 | 7.7033 | 0.038 | 200 | 2.1891 | 0.019 | 114 | 28.0729 | 0.206 | 136 | 21.8716 | 0.185 | 118
WA | WALLA WALLA | 2.3167 | 0.0134 | 172.8888 | 0.0067954 | 4.3696e-05 | 155.5167 | 5.6475 | 0.034 | 167 | 3.3376 | 0.02 | 163 | 23.815 | 0.145 | 164 | 18.0419 | 0.116 | 155
WA | YAKIMA | 2.3585 | 0.014522 | 162.4142 | 0.051363 | 0.00040054 | 128.2327 | 12.0144 | 0.072 | 167 | 9.7072 | 0.058 | 167 | 101.996 | 0.825 | 124 | 55.3843 | 0.443 | 125
*may include other regional major event exclusions during the same period.
Data as/of
2016-01-06