## Legend
Date
Data as/of | 2016-07-14
Fiscal Year | FY2017
Event Begin Date/Time | 2016-06-08 | Event Begin Time
Event End Date/Time | 2016-06-08 23:59 | Event End Time
Month Begin | 2016-06-01
Month End | 2016-06-30
Year Begin | 2016-01-01
Year End | 2016-06-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-06-08 | through | 2016-06-08 23:59
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 4169 | 0.2231% | 423286.617 | 7 | 1868631 | 0 | 3006 | 1163 | 0 | 0 | 0 | 0 | 72.1% | 0.22652 | 0.002231 | 101.5319
PP | Pacific Power | 4169 | 0.5406% | 423286.617 | 7 | 771210 | 0 | 3006 | 1163 | 0 | 0 | 0 | 0 | 72.1% | 0.54886 | 0.0054058 | 101.5319
WA | Washington | 4169 | 3.129% | 423286.617 | 7 | 133235 | 0 | 3006 | 1163 | 0 | 0 | 0 | 0 | 72.1% | 3.177 | 0.031291 | 101.5319
WA | WALLA WALLA | 4169 | 14.73% | 423286.617 | 7 | 28310 | 0 | 3006 | 1163 | 0 | 0 | 0 | 0 | 72.1% | 14.9518 | 0.14726 | 101.5319
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-06-08 | through | 2016-06-08 23:59 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-06-08 | 4169 | 3.129% | 423286.617 | 7 | 133235 | 0 | 3006 | 1163 | 0 | 0 | 0 | 0 | 72.1% | 3.177 | 0.031291 | 101.5319
Data as of
2016-07-14

## SSC by State
| Washington | Event |  | 2016-06-08 | through | 2016-06-08 23:59 |  | Month |  | 2016-06-01 | through | 2016-06-30 |  | YTD | FY2017 | 2016-01-01 | through | 2016-06-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.61222 | 0.0055848 | 109.6217 | 0.3857 | 0.0033538 | 115.0033 | 14.5377 | 0.12138 | 119.7716 | 13.6042 | 0.11462 | 118.6919 | 108.3623 | 0.73727 | 146.9769 | 58.5841 | 0.52393 | 111.8166
PP | Pacific Power | 1.1234 | 0.010465 | 107.3406 | 0.5745 | 0.0050596 | 113.5468 | 15.6355 | 0.13969 | 111.9323 | 13.3737 | 0.12331 | 108.4591 | 100.4099 | 0.70098 | 143.2427 | 57.1494 | 0.52403 | 109.0566
WA | Washington | 3.2295 | 0.031471 | 102.6193 | 0.052511 | 0.00018013 | 291.5111 | 11.6552 | 0.080039 | 145.619 | 8.4782 | 0.048748 | 173.9175 | 50.1565 | 0.41816 | 119.9446 | 41.4387 | 0.32702 | 126.7176
WA | WALLA WALLA | 3.177 | 0.031291 | 101.5319 | 0 | 0 | 0 | 4.4975 | 0.046242 | 97.2619 | 1.3206 | 0.014951 | 88.3252 | 12.9151 | 0.12451 | 103.7277 | 7.652 | 0.061883 | 123.6519
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-07-14