## Legend
Date
Data as/of | 2016-08-15
Fiscal Year | FY2017
Event Begin Date/Time | 2016-07-22 | Event Begin Time
Event End Date/Time | 2016-07-23 | Event End Time
Month Begin | 2016-07-01
Month End | 2016-07-31
Year Begin | 2016-01-01
Year End | 2016-07-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-07-22 | through | 2016-07-23
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 15206 | 0.8138% | 187013.067 | 15 | 1868631 | 0 | 15206 | 0 | 0 | 0 | 0 | 0 | 100% | 0.10008 | 0.0081375 | 12.2986
PP | Pacific Power | 15206 | 1.972% | 187013.067 | 15 | 771210 | 0 | 15206 | 0 | 0 | 0 | 0 | 0 | 100% | 0.24249 | 0.019717 | 12.2986
WA | Washington | 15206 | 11.41% | 187013.067 | 15 | 133235 | 0 | 15206 | 0 | 0 | 0 | 0 | 0 | 100% | 1.4036 | 0.11413 | 12.2986
WA | SUNNYSIDE | 11025 | 45.34% | 136195.4 | 8 | 24317 | 0 | 11025 | 0 | 0 | 0 | 0 | 0 | 100% | 5.6008 | 0.45339 | 12.3533
WA | YAKIMA | 4181 | 5.187% | 50817.667 | 7 | 80605 | 0 | 4181 | 0 | 0 | 0 | 0 | 0 | 100% | 0.63045 | 0.05187 | 12.1544
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-07-22 | through | 2016-07-23 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-07-22 | 15206 | 11.41% | 187013.067 | 15 | 133235 | 0 | 15206 | 0 | 0 | 0 | 0 | 0 | 100% | 1.4036 | 0.11413 | 12.2986
Data as of
2016-08-15

## SSC by State
| Washington | Event |  | 2016-07-22 | through | 2016-07-23 |  | Month |  | 2016-07-01 | through | 2016-07-31 |  | YTD | FY2017 | 2016-01-01 | through | 2016-07-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.26186 | 0.0093041 | 28.144 | 0.16177 | 0.0011666 | 138.6687 | 19.3204 | 0.17046 | 113.3394 | 15.1589 | 0.13106 | 115.6678 | 127.447 | 0.90278 | 141.1718 | 73.5387 | 0.65149 | 112.8771
PP | Pacific Power | 0.38105 | 0.020489 | 18.5982 | 0.13856 | 0.00077151 | 179.5917 | 13.3978 | 0.14426 | 92.8697 | 11.9444 | 0.119 | 100.3731 | 113.7416 | 0.84499 | 134.6078 | 69.0277 | 0.64278 | 107.3896
WA | Washington | 1.4036 | 0.11413 | 12.2986 | 0.23213 | 0.0040484 | 57.3389 | 5.9791 | 0.14855 | 40.2502 | 4.5755 | 0.03442 | 132.9303 | 56.1356 | 0.56671 | 99.0547 | 46.0142 | 0.36144 | 127.3092
WA | SUNNYSIDE | 1.0222 | 0.082749 | 12.3533 | 0 | 0 | 0 | 2.3102 | 0.088258 | 26.1755 | 1.288 | 0.0055091 | 233.7906 | 15.1285 | 0.19338 | 78.2317 | 10.6516 | 0.082111 | 129.7223
WA | WALLA WALLA | 0 | 0 | 0 | 0 | 0 | 0 | 0.60652 | 0.0026269 | 230.8832 | 0.60652 | 0.0026269 | 230.8832 | 13.5216 | 0.12714 | 106.3551 | 8.2585 | 0.06451 | 128.0186
WA | YAKIMA | 0.38141 | 0.031381 | 12.1544 | 0 | 0 | 0 | 3.0624 | 0.057665 | 53.1075 | 2.681 | 0.026284 | 102.0009 | 27.4856 | 0.2462 | 111.6407 | 27.1042 | 0.21482 | 126.1738
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-08-15