## Legend
Date
Data as/of | 2016-09-23
Fiscal Year | FY2017
Event Begin Date/Time | 2016-08-13 | Event Begin Time
Event End Date/Time | 2016-08-14 | Event End Time
Month Begin | 2016-08-01
Month End | 2016-08-31
Year Begin | 2016-01-01
Year End | 2016-08-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-08-13 | through | 2016-08-14
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 17238 | 0.9225% | 332149.617 | 24 | 1868631 | 0 | 17213 | 25 | 0 | 0 | 0 | 0 | 99.85% | 0.17775 | 0.0092249 | 19.2685
PP | Pacific Power | 17238 | 2.235% | 332149.617 | 24 | 771210 | 0 | 17213 | 25 | 0 | 0 | 0 | 0 | 99.85% | 0.43069 | 0.022352 | 19.2685
WA | Washington | 17238 | 12.94% | 332149.617 | 24 | 133235 | 0 | 17213 | 25 | 0 | 0 | 0 | 0 | 99.85% | 2.493 | 0.12938 | 19.2685
WA | SUNNYSIDE | 10327 | 42.47% | 212999.684 | 11 | 24317 | 0 | 10325 | 2 | 0 | 0 | 0 | 0 | 99.98% | 8.7593 | 0.42468 | 20.6255
WA | YAKIMA | 6911 | 8.574% | 119149.933 | 13 | 80605 | 0 | 6888 | 23 | 0 | 0 | 0 | 0 | 99.67% | 1.4782 | 0.085739 | 17.2406
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-08-13 | through | 2016-08-14 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-08-13 | 17238 | 12.94% | 332149.617 | 24 | 133235 | 0 | 17213 | 25 | 0 | 0 | 0 | 0 | 99.85% | 2.493 | 0.12938 | 19.2685
Data as of
2016-09-23

## SSC by State
| Washington | Event |  | 2016-08-13 | through | 2016-08-14 |  | Month |  | 2016-08-01 | through | 2016-08-31 |  | YTD | FY2017 | 2016-01-01 | through | 2016-08-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.4039 | 0.01205 | 33.5187 | 0.22615 | 0.0028251 | 80.0513 | 12.2807 | 0.12115 | 101.3715 | 9.8342 | 0.090682 | 108.4478 | 139.6569 | 1.0239 | 136.3957 | 83.3097 | 0.74221 | 112.2456
PP | Pacific Power | 0.55259 | 0.023226 | 23.7919 | 0.1219 | 0.00087395 | 139.4813 | 14.1727 | 0.14 | 101.2323 | 10.3855 | 0.087846 | 118.2235 | 127.9143 | 0.98499 | 129.8639 | 79.4132 | 0.73062 | 108.6922
WA | Washington | 2.4934 | 0.12939 | 19.2706 | 0.00041631 | 7.5055e-06 | 55.467 | 21.1847 | 0.21841 | 96.9948 | 5.6 | 0.040605 | 137.9134 | 77.3204 | 0.78512 | 98.4817 | 51.6142 | 0.40204 | 128.3802
WA | SUNNYSIDE | 1.5987 | 0.07751 | 20.6255 | 0 | 0 | 0 | 15.6371 | 0.12981 | 120.4634 | 0.94895 | 0.0039104 | 242.6756 | 30.7656 | 0.32319 | 95.194 | 11.6005 | 0.086021 | 134.857
WA | WALLA WALLA | 0.00041631 | 7.5055e-06 | 55.467 | 0.00041631 | 7.5055e-06 | 55.467 | 2.1835 | 0.017443 | 125.1777 | 2.1827 | 0.017435 | 125.1873 | 15.705 | 0.14458 | 108.6259 | 10.4412 | 0.081945 | 127.4162
WA | YAKIMA | 0.89428 | 0.051871 | 17.2406 | 0 | 0 | 0 | 3.3582 | 0.071152 | 47.1977 | 2.4624 | 0.019252 | 127.9063 | 30.8438 | 0.31735 | 97.192 | 29.5666 | 0.23407 | 126.3163
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-09-23