## Legend
Date
Data as/of | 2016-09-23
Fiscal Year | FY2017
Event Begin Date/Time | 2016-08-15 | Event Begin Time
Event End Date/Time | 2016-08-16 | Event End Time
Month Begin | 2016-08-01
Month End | 2016-08-31
Year Begin | 2016-01-01
Year End | 2016-08-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-08-15 | through | 2016-08-16
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 6452 | 0.3453% | 1744288.116 | 13 | 1868631 | 0 | 57 | 6395 | 0 | 0 | 0 | 0 | 0.8834% | 0.93346 | 0.0034528 | 270.3484
PP | Pacific Power | 6452 | 0.8366% | 1744288.116 | 13 | 771210 | 0 | 57 | 6395 | 0 | 0 | 0 | 0 | 0.8834% | 2.2618 | 0.0083661 | 270.3484
WA | Washington | 6452 | 4.843% | 1744288.116 | 13 | 133235 | 0 | 57 | 6395 | 0 | 0 | 0 | 0 | 0.8834% | 13.0918 | 0.048426 | 270.3484
WA | SUNNYSIDE | 6447 | 26.51% | 1743980.1 | 11 | 24317 | 0 | 52 | 6395 | 0 | 0 | 0 | 0 | 0.8066% | 71.7186 | 0.26512 | 270.5103
WA | WALLA WALLA | 1 | 0.003532% | 102.883 | 1 | 28310 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0036342 | 3.5323e-05 | 102.883
WA | YAKIMA | 4 | 0.004962% | 205.133 | 1 | 80605 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0025449 | 4.9625e-05 | 51.2833
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-08-15 | through | 2016-08-16 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-08-15 | 6452 | 4.843% | 1744288.116 | 13 | 133235 | 0 | 57 | 6395 | 0 | 0 | 0 | 0 | 0.8834% | 13.0918 | 0.048426 | 270.3484
Data as of
2016-09-23

## SSC by State
| Washington | Event |  | 2016-08-15 | through | 2016-08-16 |  | Month |  | 2016-08-01 | through | 2016-08-31 |  | YTD | FY2017 | 2016-01-01 | through | 2016-08-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.2378 | 0.0066985 | 184.788 | 0.30434 | 0.0032457 | 93.7681 | 12.2807 | 0.12115 | 101.3715 | 9.8342 | 0.090682 | 108.4478 | 139.6569 | 1.0239 | 136.3957 | 83.3097 | 0.74221 | 112.2456
PP | Pacific Power | 2.4489 | 0.010908 | 224.5148 | 0.18715 | 0.0025415 | 73.638 | 14.1727 | 0.14 | 101.2323 | 10.3855 | 0.087846 | 118.2235 | 127.9143 | 0.98499 | 129.8639 | 79.4132 | 0.73062 | 108.6922
WA | Washington | 13.0918 | 0.048426 | 270.3484 | 0 | 0 | 0 | 21.1847 | 0.21841 | 96.9948 | 5.6 | 0.040605 | 137.9134 | 77.3204 | 0.78512 | 98.4817 | 51.6142 | 0.40204 | 128.3802
WA | SUNNYSIDE | 13.0895 | 0.048388 | 270.5103 | 0 | 0 | 0 | 15.6371 | 0.12981 | 120.4634 | 0.94895 | 0.0039104 | 242.6756 | 30.7656 | 0.32319 | 95.194 | 11.6005 | 0.086021 | 134.857
WA | WALLA WALLA | 0.00077219 | 7.5055e-06 | 102.883 | 0 | 0 | 0 | 2.1835 | 0.017443 | 125.1777 | 2.1827 | 0.017435 | 125.1873 | 15.705 | 0.14458 | 108.6259 | 10.4412 | 0.081945 | 127.4162
WA | YAKIMA | 0.0015396 | 3.0022e-05 | 51.2833 | 0 | 0 | 0 | 3.3582 | 0.071152 | 47.1977 | 2.4624 | 0.019252 | 127.9063 | 30.8438 | 0.31735 | 97.192 | 29.5666 | 0.23407 | 126.3163
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-09-23