## Estimate Form - WWS to Manage
Fill this out first:
[6 empty] | SYSTEM NAME | Artondale
[6 empty] | PROJECT DISCRIPTION | Elementary Extension
[6 empty] | COUNTY | Pierce County
[6 empty] | ENG. FILE # | xxxx
[6 empty] | PROJECT TYPE | FALSE
Artondale | [6 empty] | TRUE
Elementary Extension | [5 empty] | TCJA RATE | 21%
2022-05-24 | [5 empty] | WWS OH RATE | 37%
(Projected Cost Good for 30-Days) | [5 empty] | STATE B/O | 1.5%
|  |  |  | Engineering File # | xxxx
*** Construction Materials ***
Unit of Property | Description | Quantity | Unit of Measure | Unit Cost | Total
103240 | Construction Materials, Pipe, Valves, Fittings, Etc | 1 | LS | 24217.4856 | 24217.4856 | Edit Unit of Property as Needed in All Categories
NOTE:
[5 empty] | 0 | The 21% Federal Income Tax per the "Tax Cuts & Jobs Act" of 2017 applies to CICA projects ONLY.
[5 empty] | 0 | State B&O Tax tax applies to CICA projects only.
|  | Sub-Total |  |  | 24217.4856
|  | Contingency |  | 10% | 2421.7486
|  | Sales Tax |  | 9% | 1591.0888 | INVENTORY COST SHEET LINK
|  | SUB Total - Materials |  |  | 28230.323
|  | Rounded Up Value |  |  | 28300
*** Construction Labor ***
Unit of Property | Description | Quantity | Unit of Measure | Unit Cost | Total
103240 | Construction Labor - Hot Taps | 1 | LS | 3600 | 3600
103240 | Construction Labor - Watermain Inspections | 1 | LS | 4500 | 4500
103240 | WWS Engineering and Construction Management | 1 | LS | 8445 | 8445
0
0
16545
|  | Contingency |  | 10% | 1654.5
|  | Sub-Total - Construction Labor |  |  | 18199.5
|  | Rounded Up Value |  |  | 18200
*** Outside Contractor ***
Unit of Property | Description | Quantity | Unit of Measure | Unit Cost | Total
| County Permits (Encroachment) | 1 | LS | 685 | 685
| DOH Review Fees | 1 | LS | 1370 | 1370
| Land Surveyor - Staking and Easements | 1 | LS | 3836 | 3836
| Construction Contract | 1 | LS | 135630 | 135630
[6 empty] | 50% of total project cost | 129950
|  | SUB TOTAL |  |  | 141521
|  | Contingency |  | 10% | 14152.1
|  | Sub-Total - Outside Contractor |  |  | 155673.1 | total cost of watermains | 202200
|  | Rounded Up Value |  |  | 155700
enter footage below
|  | Project Subtotal = |  |  | 202200 | 1064 | LF | 190.0376 | $/LF Pre Tax
|  | Federal Tax per the TCJA= |  |  | 53749.3671
|  | State B&O Tax = |  |  | 3897.7061
|  | Projected Funds Required = |  |  | 259900
Assumptions:
1) This document is intended to forecast approximate construction costs based upon current information and similar projects, and is not
intended to accurately represent actual design or construction components or prices.
2) Totals are rounded to nearest $100
CAPITAL PROJECT
CIAC PROJECT

## Materials Worksheet
DESCRIPTION: |  | 8" Main Extension
|  | Total Unit Cost For This Sheet: | 17677
|  | Total Number of Units Required: | 1
Base Unit:
Updated: Inventory Cost Sheet_2019-07-01
Materials
Item | Inventory # | Item Description (AutoFill) | Hrs\Qty | Rate(AutoFill) | Total | Notes
1 | 10800138 | 8" PVC PIPE, C900-165, DR25 | 1100 | 6.9761 | 7673.666
2 | 30800045 | 8" MJ 45 ELBOW | 4 | 110.8221 | 443.2886
3 | 30800022 | 8" MJ 22 1/2 ELBOW | 3 | 102.2263 | 306.6788
4 | 30800011 | 8" MJ 11-1/4 ELBOW | 1 | 95.381 | 95.381
5 | 30800095 | 8" MJ 90 ELBOW | 1 | 139.5247 | 139.5247
6 | 30800029 | 8" MEGALUG PK/KIT (PVC) | 13 | 90.7625 | 1179.9119
7 | 125058000 | GRAVEL 5/8 | 120 | 12.5 | 1500
8 | CONCRETE MIX | CONCRETE MIX | 28 | 13.47 | 377.16
9 | 125001000 | BEDDING SAND | 133 | 7.2168 | 959.8371
10 | 51400155 | LOCATOR WIRE, # 14 | 1500 | 0.10686 | 160.2861
11
12 |  |  |  | 0 | 0
13 |  |  |  | 0 | 0
14 |  |  |  | 0 | 0
15 |  |  |  | 0 | 0
Hot Tap
Item | LaborID | Labor Description (Auto Fill) | Qty | Rate (Auto Fill) | Total | Type of work (ie. Trenching) | Total On-Site
1 | 30800192 | 8 x 8 TAPPING SLEEVE | 2 | 1106.6033 | 2213.2067 |  | 0
2 | 30800029 | 8" MEGALUG PK/KIT (PVC) | 2 | 90.7625 | 181.5249 |  | 0
3 | 40800285 | 8" MJ x FLG GATE VALVE | 2 | 1111.5188 | 2223.0376 |  | 0
4 | 60600081 | 18" VALVE BOX RISER w/LID | 2 | 50.4891 | 100.9783 |  | 0
5 | 60600082 | VALVE BOX BOTTOM CI | 2 | 28.7576 | 57.5153 |  | 0 | # Men On-Site | 0
[5 empty] | 0 |  | 0 | # Total Hours (ALL MEN On-Site) | 12
7 | 30800030 | 8" FLG BOLT & GSKT KIT | 2 | 32.5 | 65 |  | 0 | Estimated Crew Prep Time (AM/PM) [1.5/8*# Total Hours On-Site] | 2.25
8 |  |  |  | 0 | 0 |  | 0 | Estimated Hours Required Per Item
9 |  |  |  | 0 | 0 |  | 0
10 |  |  |  | 0 | 0 |  | 0
11 |  |  |  | 0 | 0 |  | 0
|  |  | Sub Total | Main Materials | 12835.7341 | 12835.7341
|  |  |  | Hot Tap Materials | 4841.2627 | 4841.2627
|  |  | Total |  | 17676.9968 | 17676.9968
| Labor Calculation Per LFt. |  | Total | Total | Feet | Cost
|  | Description | On-Site | HRS | Per day | Per Ft
| 1MBCK | 1 MAN & BACKHOE (Trenching) | 1 | 0.026667 | 300 | 2.4591
| 2MTRCK | 2 MEN & TRUCK (Pipe Laying) | 2 | 0.053333 | 300 | 0.40339
| 1MBCK | 1 MAN & BACKHOE (Backfilling & Compacting) | 1 | 0.053333 | 300 | 4.9182
| 1MDMP | 1 MAN & TRUCK (Dumptruck) | 1 | 0.053333 | 300 | 4.9182
[5 empty] | 300 | 0 |  | 0
|  |  | 5 | 0.18667 |  | 12.699
|  |  | Depth & Width | Length | CY/Yds | Cost/inplace
|  | Bedding and Backfill material | 6 | 1 | 0.22115 | 15
|  | yards per 100 feet |  |  | 22.1145
Total yards
Note on C9: INVENTORY #: SEE COST SHEET TAB for list of Inventory Items.
Note on D9: Item Description: DO NOT TYPE IN THIS SECTION. CELLS WILL AUTOMATICALLY UPDATED BASED ON COST SHEET TAB.
Note on F9: Rate: DO NOT TYPE IN THIS SECTION. CELLS WILL AUTOMATICALLY UPDATED BASED ON COST SHEET TAB.
Note on C27: LaborID: SEE LABOR TABLE TAB for list of LaborIDs.
Note on D27: Labor Description: DO NOT TYPE IN THIS SECTION. CELLS WILL AUTOMATICALLY UPDATED BASED ON LABOR TABLE TAB.
Note on F27: Rate: DO NOT TYPE IN THIS SECTION. CELLS WILL AUTOMATICALLY UPDATED BASED ON LABOR TABLE TAB.

## Construction Labor
Artondale
|  | Pierce County County |  |  |  | Eng. File # | xxxx
Elementary Extension
Engineer's Opinion of Projected Construction Materials Costs
2022-05-24
WWS Construction Crew for CICA Projects - Watermain | [7 empty] | WWS Construction Crew for CICA Projects - Services |  |  |  |  | WWS Construction Crew for CICA Projects - Hydrants
|  |  |  | Rate | Sub-Total | [5 empty] | Rate | Sub-Total |  |  | Rate | Sub-Total
1 Man & Vac Truck |  |  | HRS | 125 | 0 |  |  | 1 Man & Vac Truck |  | HRS | 125 | 0 | 1 Man & Vac Truck | HRS | 125 | 0
1 Man & Boom Truck |  |  | HRS | 125 | 0 |  |  | 1 Man & Boom Truck |  | HRS | 125 | 0 | 1 Man & Boom Truck | HRS | 125 | 0
1 Man & Backhoe - Trench |  |  | HRS | 125 | 0 |  |  | 1 Man & Backhoe - Trench |  | HRS | 125 | 0 | 1 Man & Backhoe - Trench | HRS | 125 | 0
1 Man & Backhoe - Comp |  |  | HRS | 125 | 0 |  |  | 1 Man & Backhoe - Comp |  | HRS | 125 | 0 | 1 Man & Backhoe - Comp | HRS | 125 | 0
1 Man & Truck |  |  | HRS | 75 | 0 |  |  | 1 Man & Truck |  | HRS | 75 | 0 | 1 Man & Truck | HRS | 75 | 0
2 Men & Truck |  |  | HRS | 150 | 0 |  |  | 2 Men & Truck |  | HRS | 150 | 0 | 2 Men & Truck | HRS | 150 | 0
1 Electrician & Truck |  |  | HRS | 101 | 0 |  |  | 1 Electrician & Truck |  | HRS | 101 | 0 | 1 Electrician & Truck | HRS | 101 | 0
2 Electricians & Truck |  |  | HRS | 202 | 0 |  |  | 2 Electricians & Truck |  | HRS | 202 | 0 | 2 Electricians & Truck | HRS | 202 | 0
[5 empty] | 0 | [6 empty] | 0 |  |  |  | 0
|  |  |  | Total | 0 | [5 empty] | Total | 0 |  |  | Total | 0
WWS Construction Crew for WWS Capital Projects - Main Inspection | [7 empty] | WWS Construction Crew for WWS Capital Projects - Hot Taps |  |  |  |  | WWS Construction Crew for WWS Capital Projects -Hydrants
|  |  |  | Rate | Sub-Total | [5 empty] | Rate | Sub-Total |  |  | Rate | Sub-Total
1 Man & Vac Truck |  |  | HRS | 75 | 0 |  |  | 1 Man & Vac Truck |  | HRS | 75 | 0 | 1 Man & Vac Truck | HRS | 75 | 0
1 Man & Boom Truck |  |  | HRS | 75 | 0 |  |  | 1 Man & Boom Truck |  | HRS | 75 | 0 | 1 Man & Boom Truck | HRS | 75 | 0
1 Man & Backhoe - Trench |  |  | HRS | 75 | 0 |  |  | 1 Man & Backhoe - Trench |  | HRS | 75 | 0 | 1 Man & Backhoe - Trench | HRS | 75 | 0
1 Man & Backhoe - Comp |  |  | HRS | 75 | 0 |  |  | 1 Man & Backhoe - Comp |  | HRS | 75 | 0 | 1 Man & Backhoe - Comp | HRS | 75 | 0
1 Man & Truck |  | 60 | HRS | 75 | 4500 |  |  | 1 Man & Truck | 16 | HRS | 75 | 1200 | 1 Man & Truck | HRS | 75 | 0
2 Men & Truck |  |  | HRS | 150 | 0 |  |  | 2 Men & Truck | 16 | HRS | 150 | 2400 | 2 Men & Truck | HRS | 150 | 0
1 Electrician & Truck |  |  | HRS | 80 | 0 |  |  | 1 Electrician & Truck |  | HRS | 80 | 0 | 1 Electrician & Truck | HRS | 80 | 0
2 Electricians & Truck |  |  | HRS | 160 | 0 |  |  | 2 Electricians & Truck |  | HRS | 160 | 0 | 2 Electricians & Truck | HRS | 160 | 0
[5 empty] | 0 | [6 empty] | 0 |  |  |  | 0
|  |  |  | Total | 4500 | [5 empty] | Total | 3600 |  |  | Total | 0
Outside Contractor - No Pilot Car
1-Flagger | HRS | 24 | 0
2-Flaggers | HRS | 48 | 0
|  | Sub-total | 0
Sanitary Facility Rental (Portable Toilet)
|  | Days |  | 75 | 0

## Eng Labor
Artondale |  |  | Eng. File # | xxxx
Pierce County County
Elementary Extension
Engineer's Opinion of Projected Construction Materials Costs
2022-05-24
Employee
Task | Hours | Classification | Rate | Total
Facility Design
Project Setup |  | Engineer | 85 | 0
Route Topo |  | Engineer | 85 | 0
Develop Base Drawings from Topo Info |  | Engineer | 85 | 0
Design & Draft Watermain Construction Documents |  | Engineer | 85 | 0
Sub-Total | 0 |  |  | 0
Revisions per Peer Review Comments
P.E. Peer Review | 2 | Principle Eng | 115 | 230
Revisions to Construction Documents per Peer Review Comments |  | Engineer | 85 | 0
Coping & Re-Submittal of Project Report & Construction Documents |  | Clerical | 60 | 0
Sub-Total | 2 |  |  | 230
Construction
Construction Management | 50 | Principle Engr | 115 | 5750
Pre-Construction Conference with Engineering & Contractor | 2 | Engineer | 85 | 170
Construction Inspection & Pressure Test | 8 | Engineer | 85 | 680
Sub-Total | 60 |  |  | 6600
Record Documents
As-Built Drawings & Testing Validations along with Project Certification Document Preparation | 4 | Engineer | 85 | 340
P.E. Project Certification | 1 | Principle Eng | 115 | 115
Updating Base Maps & Site Piping | 8 | Engineer | 85 | 680
Coping, Binding & Submittal of Project Certification to File & Rosario | 8 | Clerical | 60 | 480
Sub Total | 21 |  |  | 1615
Projected Total Hours | 83 |  |  | 8445